## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6300-18_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6300-18_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6300-18_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6300-18_0_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_6300-18_0_2_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_6300-18_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6300-18_0_2_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_6300-18_0_2_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_6300-18_0_2_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_6300-18_0_2_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_6300-18_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6300-18_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6300-18_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6300-18_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_6300-18_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6300-18_0_2_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_6300-18_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6300-18_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6300-18_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6300-18_0_2_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6300-18_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_6300-18_0_2_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_6300-18_0_2_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_6300-18_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_6300-18_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6300-18_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_6300-18_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6300-18_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_6300-18_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_6300-18_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6300-18_0_2_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_6300-18_0_2_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_6300-18_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_6300-18_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_6300-18_0_2_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_6300-18_0_2_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_6300-18_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_6300-18_0_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_6300-18_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_6300-18_0_2_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_6300-18_0_2_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_6300-18_0_2_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_6300-18_0_2_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_6300-18_0_2_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_6300-18_0_2_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_6300-18_0_2_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_6300-18_0_2_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_6300-18_0_2_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_6300-18_0_2_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_6300-18_0_2_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_6300-18_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6300-18_0_2_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6300-18_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6300-18_0_2_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_6300-18_0_2_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_6300-18_0_2_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_6300-18_0_2_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6300-18_0_2_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_6300-18_0_2_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_6300-18_0_2_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6300-18_0_2_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_6300-18_0_2_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_6300-18_0_2_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_6300-18_0_2_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_6300-18_0_2_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_6300-18_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_6300-18_0_2_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_6300-18_0_2_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_6300-18_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_MV_282_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6300-18_0_2_load_0 | 0 | 0.027471 | 0.006885 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6300-18_0_2_load_2 | 2 | 0.0063976 | 0.0016034 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6300-18_0_2_load_8 | 3 | 0.0034465 | 0.00086377 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6300-18_0_2_load_22 | 4 | 0.0035276 | 0.0008841 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6300-18_0_2_load_6 | 5 | 0.0094824 | 0.0023765 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6300-18_0_2_load_67 | 6 | 0.0023603 | 0.00059155 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6300-18_0_2_load_3 | 8 | 0.0036673 | 0.00091912 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6300-18_0_2_load_4 | 9 | 0.0053499 | 0.0013408 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6300-18_0_2_load_5 | 10 | 0.0063587 | 0.0015936 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6300-18_0_2_load_7 | 11 | 0.0046146 | 0.0011565 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6300-18_0_2_load_13 | 13 | 0.0042751 | 0.0010714 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6300-18_0_2_load_11 | 14 | 0.0039452 | 0.00098876 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6300-18_0_2_load_23 | 15 | 0.0032563 | 0.00081611 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6300-18_0_2_load_10 | 17 | 0.0070294 | 0.0017617 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6300-18_0_2_load_12 | 18 | 0.0036218 | 0.00090772 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6300-18_0_2_load_20 | 19 | 0.0067005 | 0.0016793 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6300-18_0_2_load_59 | 22 | 0.00072251 | 0.00018108 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6300-18_0_2_load_15 | 23 | 0.0018677 | 0.00046808 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6300-18_0_2_load_17 | 25 | 0.001246 | 0.00031229 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6300-18_0_2_load_19 | 26 | 0.0016856 | 0.00042245 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6300-18_0_2_load_24 | 27 | 0.0020186 | 0.0005059 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6300-18_0_2_load_26 | 28 | 0.0013323 | 0.00033391 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6300-18_0_2_load_25 | 29 | 0.0018764 | 0.00047027 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6300-18_0_2_load_30 | 30 | 0.0012547 | 0.00031446 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6300-18_0_2_load_47 | 31 | 0.0019561 | 0.00049024 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6300-18_0_2_load_31 | 33 | 0.00076782 | 0.00019243 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6300-18_0_2_load_37 | 35 | 0.0015376 | 0.00038536 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6300-18_0_2_load_38 | 36 | 0.0046789 | 0.0011726 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6300-18_0_2_load_28 | 37 | 0.0011798 | 0.00029568 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6300-18_0_2_load_41 | 39 | 0.0013979 | 0.00035034 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6300-18_0_2_load_42 | 40 | 0.0012672 | 0.00031759 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6300-18_0_2_load_46 | 41 | 0.0013767 | 0.00034504 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6300-18_0_2_load_33 | 42 | 0.00087835 | 0.00022013 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6300-18_0_2_load_34 | 43 | 0.00083977 | 0.00021047 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6300-18_0_2_load_35 | 44 | 0.00091467 | 0.00022924 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6300-18_0_2_load_36 | 45 | 0.00088939 | 0.0002229 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6300-18_0_2_load_48 | 46 | 0.0012917 | 0.00032373 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6300-18_0_2_load_62 | 47 | 0.00082688 | 0.00020724 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6300-18_0_2_load_49 | 48 | 0.0008315 | 0.00020839 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6300-18_0_2_load_63 | 49 | 0.0015877 | 0.00039792 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6300-18_0_2_load_40 | 51 | 0.0069184 | 0.0017339 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6300-18_0_2_load_45 | 52 | 0.0025872 | 0.00064842 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6300-18_0_2_load_43 | 53 | 0.0015735 | 0.00039437 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6300-18_0_2_load_44 | 54 | 0.0023657 | 0.00059291 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6300-18_0_2_load_69 | 55 | 0.0020464 | 0.00051287 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6300-18_0_2_load_50 | 56 | 0.0011089 | 0.00027793 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6300-18_0_2_load_51 | 57 | 0.0013849 | 0.00034709 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6300-18_0_2_load_52 | 58 | 0.0020409 | 0.00051149 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6300-18_0_2_load_55 | 61 | 0.0015742 | 0.00039453 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6300-18_0_2_load_56 | 62 | 0.0008965 | 0.00022468 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6300-18_0_2_load_68 | 66 | 0.0013105 | 0.00032845 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6300-18_0_2_load_64 | 67 | 0.00089203 | 0.00022356 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6300-18_0_2_load_65 | 68 | 0.0014688 | 0.00036813 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6300-18_0_2_line_0 |  | 0 | 1 | 0.16199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6300-18_0_2_line_1 |  | 1 | 2 | 0.031586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6300-18_0_2_line_2 |  | 2 | 6 | 0.14974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6300-18_0_2_line_3 |  | 3 | 4 | 0.09289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6300-18_0_2_line_4 |  | 3 | 5 | 0.024137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6300-18_0_2_line_5 |  | 4 | 15 | 0.0052876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6300-18_0_2_line_6 |  | 5 | 9 | 0.027163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6300-18_0_2_line_7 |  | 6 | 7 | 0.021714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6300-18_0_2_line_8 |  | 7 | 68 | 0.011615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6300-18_0_2_line_9 |  | 7 | 67 | 0.011711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6300-18_0_2_line_10 |  | 8 | 9 | 0.0069129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6300-18_0_2_line_11 |  | 8 | 10 | 0.0020114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6300-18_0_2_line_12 |  | 10 | 11 | 0.0096225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6300-18_0_2_line_13 |  | 11 | 12 | 0.047149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6300-18_0_2_line_14 |  | 12 | 13 | 0.020213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6300-18_0_2_line_15 |  | 12 | 14 | 0.043653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6300-18_0_2_line_16 |  | 13 | 16 | 0.092754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6300-18_0_2_line_17 |  | 14 | 17 | 0.034262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6300-18_0_2_line_18 |  | 15 | 33 | 0.011581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6300-18_0_2_line_19 |  | 16 | 23 | 0.063619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6300-18_0_2_line_20 |  | 16 | 24 | 0.074233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6300-18_0_2_line_21 |  | 17 | 18 | 0.0053962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6300-18_0_2_line_22 |  | 19 | 20 | 0.038145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6300-18_0_2_line_23 |  | 20 | 21 | 0.067801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6300-18_0_2_line_24 |  | 21 | 22 | 0.059334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6300-18_0_2_line_25 |  | 22 | 64 | 0.050138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6300-18_0_2_line_26 |  | 23 | 25 | 0.12399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6300-18_0_2_line_27 |  | 24 | 26 | 0.061893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6300-18_0_2_line_28 |  | 25 | 27 | 0.011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6300-18_0_2_line_29 |  | 26 | 28 | 0.063047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6300-18_0_2_line_30 |  | 27 | 29 | 0.0050556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6300-18_0_2_line_31 |  | 28 | 32 | 0.0074999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6300-18_0_2_line_32 |  | 29 | 35 | 0.0056527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6300-18_0_2_line_33 |  | 30 | 31 | 0.018173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6300-18_0_2_line_34 |  | 31 | 40 | 0.0086148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6300-18_0_2_line_35 |  | 32 | 37 | 0.045037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6300-18_0_2_line_36 |  | 32 | 38 | 0.000773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6300-18_0_2_line_37 |  | 33 | 34 | 0.039607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6300-18_0_2_line_38 |  | 34 | 42 | 0.022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6300-18_0_2_line_39 |  | 34 | 43 | 0.038808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6300-18_0_2_line_40 |  | 35 | 36 | 0.22492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6300-18_0_2_line_41 |  | 36 | 50 | 0.070607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6300-18_0_2_line_42 |  | 37 | 39 | 0.013307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6300-18_0_2_line_43 |  | 38 | 40 | 0.012832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6300-18_0_2_line_44 |  | 39 | 41 | 0.011492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6300-18_0_2_line_45 |  | 41 | 52 | 0.039148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6300-18_0_2_line_46 |  | 42 | 44 | 0.013859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6300-18_0_2_line_47 |  | 43 | 45 | 0.0067593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6300-18_0_2_line_48 |  | 44 | 46 | 0.014964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6300-18_0_2_line_49 |  | 45 | 47 | 0.00078633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6300-18_0_2_line_50 |  | 46 | 48 | 0.035392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6300-18_0_2_line_51 |  | 47 | 49 | 0.012972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6300-18_0_2_line_52 |  | 48 | 55 | 0.15189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6300-18_0_2_line_53 |  | 49 | 67 | 0.014736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6300-18_0_2_line_54 |  | 50 | 51 | 0.080093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6300-18_0_2_line_55 |  | 52 | 53 | 0.0076353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6300-18_0_2_line_56 |  | 53 | 54 | 0.0083069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6300-18_0_2_line_57 |  | 55 | 66 | 0.0021213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6300-18_0_2_line_58 |  | 56 | 57 | 0.016014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6300-18_0_2_line_59 |  | 56 | 58 | 0.003444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6300-18_0_2_line_60 |  | 57 | 59 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6300-18_0_2_line_61 |  | 59 | 60 | 0.012666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6300-18_0_2_line_62 |  | 59 | 61 | 0.039921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6300-18_0_2_line_63 |  | 60 | 62 | 0.012776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6300-18_0_2_line_64 |  | 61 | 63 | 0.014803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6300-18_0_2_line_65 |  | 63 | 65 | 0.027893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6300-18_0_2_line_66 |  | 63 | 64 | 0.036061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6300-18_0_2_line_67 |  | 65 | 66 | 0.050619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6300-18_0_2_trafo_4 | 0.63 MVA 20/0.4 kV | 69 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2625384.8185 | 1095389.7929 | 2625535.7513 | 1095330.9823
1 | 2625384.8185 | 1095389.7929 | 2625384.4116 | 1095394.5048 | 2625385.4445 | 1095410.584 | 2625384.4859 | 1095421.2855
2 | 2625275.6895 | 1095524.1671 | 2625384.4859 | 1095421.2855
3 | 2625452.3577 | 1095617.6586 | 2625438.2055 | 1095610.3402 | 2625437.161 | 1095606.3449 | 2625437.9139 | 1095598.5774 | 2625435.5342 | 1095595.2768 | 2625430.8647 | 1095594.9572 | 2625413.7411 | 1095601.767 | 2625403.822 | 1095612.0976 | 2625398.147 | 1095613.2968 | 2625389.1285 | 1095611.9807 | 2625381.2845 | 1095608.4276
4 | 2625452.3577 | 1095617.6586 | 2625452.3577 | 1095617.6586 | 2625455.4563 | 1095630.556 | 2625462.3048 | 1095639.0003
5 | 2625376.4679 | 1095606.2458 | 2625381.2845 | 1095608.4276
6 | 2625462.3048 | 1095639.0003 | 2625465.3895 | 1095642.8038 | 2625484.9887 | 1095653.369 | 2625484.9887 | 1095653.369
7 | 2625261.2077 | 1095536.7214 | 2625262.836 | 1095528.8574 | 2625275.4733 | 1095524.263 | 2625275.6895 | 1095524.1671
8 | 2625261.2077 | 1095536.7214 | 2625249.7713 | 1095534.6912
9 | 2625261.2077 | 1095536.7214 | 2625267.8101 | 1095537.8938 | 2625272.1808 | 1095540.3337
10 | 2625489.8805 | 1095658.2534 | 2625484.9887 | 1095653.369
11 | 2625491.3037 | 1095659.6747 | 2625490.959 | 1095659.3303 | 2625489.8805 | 1095658.2534
12 | 2625498.1101 | 1095666.4766 | 2625491.3037 | 1095659.6747
13 | 2625538.1009 | 1095688.6873 | 2625533.4469 | 1095688.3899 | 2625511.5696 | 1095679.9272 | 2625498.1101 | 1095666.4766
14 | 2625538.1009 | 1095688.6873 | 2625558.2733 | 1095689.9615
15 | 2625538.1009 | 1095688.6873 | 2625517.6434 | 1095705.5436 | 2625510.3346 | 1095715.8739 | 2625506.3902 | 1095718.0208
16 | 2625640.2652 | 1095709.5383 | 2625635.7185 | 1095707.696 | 2625633.4581 | 1095707.353 | 2625629.9097 | 1095707.5715 | 2625619.1164 | 1095710.2274 | 2625589.8759 | 1095715.8074 | 2625577.5588 | 1095708.7632 | 2625558.2733 | 1095689.9615
17 | 2625476.1665 | 1095726.2264 | 2625480.3561 | 1095729.4109 | 2625485.5534 | 1095729.4327 | 2625489.712 | 1095727.7937 | 2625504.2946 | 1095719.1614 | 2625506.3902 | 1095718.0208
18 | 2625365.9192 | 1095601.4675 | 2625376.4679 | 1095606.2458
19 | 2625640.2652 | 1095709.5383 | 2625655.1098 | 1095704.9762 | 2625668.0993 | 1095697.6605 | 2625697.2806 | 1095681.8672
20 | 2625640.2652 | 1095709.5383 | 2625646.9984 | 1095710.8673 | 2625683.0625 | 1095714.5878 | 2625707.8485 | 1095712.847 | 2625712.0818 | 1095713.7098 | 2625713.6012 | 1095715.2503
21 | 2625471.8705 | 1095722.961 | 2625476.1665 | 1095726.2264
22 | 2625302.6214 | 1095821.0172 | 2625319.3495 | 1095817.874 | 2625340.3903 | 1095816.0029
23 | 2625238.8267 | 1095843.8977 | 2625277.1928 | 1095830.2942 | 2625291.0035 | 1095824.6264 | 2625302.6214 | 1095821.0172
24 | 2625238.8267 | 1095843.8977 | 2625213.0886 | 1095840.0336 | 2625187.2728 | 1095830.622 | 2625182.5173 | 1095827.2505
25 | 2625144.4407 | 1095794.7155 | 2625173.8503 | 1095821.106 | 2625182.5173 | 1095827.2505
26 | 2625817.013 | 1095657.564 | 2625790.595 | 1095667.4512 | 2625754.4211 | 1095673.1789 | 2625715.6691 | 1095673.104 | 2625707.2119 | 1095676.4923 | 2625697.2806 | 1095681.8672
27 | 2625713.6012 | 1095715.2503 | 2625716.8096 | 1095716.6868 | 2625719.8708 | 1095718.1227 | 2625721.954 | 1095720.0547 | 2625724.7448 | 1095723.1681 | 2625725.5459 | 1095726.0619 | 2625727.4419 | 1095728.3044 | 2625728.5779 | 1095728.9206 | 2625734.6528 | 1095732.059 | 2625739.8026 | 1095734.1596 | 2625743.6416 | 1095738.4891 | 2625748.5777 | 1095741.6672 | 2625756.3372 | 1095745.7354 | 2625759.319 | 1095749.4611 | 2625760.709 | 1095752.2906 | 2625760.709 | 1095752.2906
28 | 2625817.013 | 1095657.564 | 2625827.5914 | 1095653.605
29 | 2625727.6774 | 1095782.6568 | 2625727.6417 | 1095781.8327 | 2625727.1731 | 1095779.0849 | 2625725.7066 | 1095777.867 | 2625722.8875 | 1095775.9541 | 2625717.7996 | 1095773.876 | 2625719.9973 | 1095772.529 | 2625723.8366 | 1095769.4659 | 2625729.0376 | 1095766.7865 | 2625734.7647 | 1095762.3973 | 2625740.4593 | 1095760.198 | 2625747.2782 | 1095755.9135 | 2625753.0868 | 1095754.2261 | 2625760.709 | 1095752.2906
30 | 2625827.5914 | 1095653.605 | 2625830.3632 | 1095652.5676 | 2625832.4014 | 1095652.0784
31 | 2625728.0016 | 1095790.1497 | 2625727.6774 | 1095782.6568
32 | 2625837.8979 | 1095650.7592 | 2625832.4014 | 1095652.0784
33 | 2625687.7791 | 1095792.144 | 2625695.4136 | 1095790.6346 | 2625705.8035 | 1095790.537
34 | 2625705.8035 | 1095790.537 | 2625714.4178 | 1095790.456
35 | 2625728.0016 | 1095790.1497 | 2625772.9809 | 1095787.8612
36 | 2625728.0016 | 1095790.1497 | 2625727.2495 | 1095790.3355
37 | 2625336.9997 | 1095574.5222 | 2625349.113 | 1095584.1331 | 2625365.9192 | 1095601.4675 | 2625365.9192 | 1095601.4675
38 | 2625336.9997 | 1095574.5222 | 2625324.7 | 1095570.5913 | 2625315.1673 | 1095570.6559
39 | 2625336.9997 | 1095574.5222 | 2625326.1983 | 1095564.2165 | 2625304.1189 | 1095555.1235
40 | 2625837.8979 | 1095650.7592 | 2626036.499 | 1095545.1905
41 | 2626086.2371 | 1095499.3679 | 2626077.1231 | 1095500.4516 | 2626066.208 | 1095506.0856 | 2626060.9106 | 1095513.1332 | 2626039.9761 | 1095539.6018 | 2626036.499 | 1095545.1905
42 | 2625786.2685 | 1095787.8431 | 2625780.2496 | 1095787.4914 | 2625772.9809 | 1095787.8612
43 | 2625727.2495 | 1095790.3355 | 2625714.4178 | 1095790.456
44 | 2625786.2685 | 1095787.8431 | 2625797.7408 | 1095788.5133
45 | 2625797.7408 | 1095788.5133 | 2625836.8225 | 1095790.7967
46 | 2625301.3242 | 1095570.1149 | 2625302.4708 | 1095570.1987 | 2625311.4773 | 1095570.6808 | 2625315.1673 | 1095570.6559
47 | 2625297.8689 | 1095552.5495 | 2625304.1189 | 1095555.1235
48 | 2625301.3242 | 1095570.1149 | 2625291.5059 | 1095569.3972 | 2625289.8113 | 1095574.2278
49 | 2625297.1418 | 1095552.2501 | 2625297.8689 | 1095552.5495
50 | 2625257.66 | 1095581.5409 | 2625267.4272 | 1095579.7804 | 2625277.7985 | 1095578.0226 | 2625284.107 | 1095579.1049 | 2625288.4645 | 1095578.0669 | 2625289.8113 | 1095574.2278
51 | 2625297.1418 | 1095552.2501 | 2625285.1476 | 1095547.3105
52 | 2625257.66 | 1095581.5409 | 2625188.5414 | 1095716.7909
53 | 2625272.1808 | 1095540.3337 | 2625283.359 | 1095546.5739 | 2625285.1476 | 1095547.3105
54 | 2626060.426 | 1095557.5874 | 2626075.0075 | 1095547.7003 | 2626084.187 | 1095538.5237 | 2626095.7601 | 1095529.3575 | 2626097.4325 | 1095527.7082 | 2626098.3705 | 1095525.7446 | 2626098.5885 | 1095523.6778 | 2626093.3635 | 1095506.5688 | 2626091.9193 | 1095503.7723 | 2626086.2371 | 1095499.3679
55 | 2625844.4468 | 1095791.1944 | 2625843.0281 | 1095791.1593 | 2625836.8225 | 1095790.7967
56 | 2625844.4468 | 1095791.1944 | 2625852.7512 | 1095791.4
57 | 2625188.5414 | 1095716.7909 | 2625187.1738 | 1095718.4125
58 | 2625083.4564 | 1095697.0217 | 2625082.9828 | 1095713.0285
59 | 2625083.5583 | 1095693.5792 | 2625083.4564 | 1095697.0217
60 | 2625087.7926 | 1095726.1689 | 2625082.8564 | 1095717.2996 | 2625082.9828 | 1095713.0285
61 | 2625092.5621 | 1095737.9057 | 2625087.7926 | 1095726.1689
62 | 2625087.7926 | 1095726.1689 | 2625106.3992 | 1095742.7652 | 2625118.2592 | 1095751.9299
63 | 2625092.5621 | 1095737.9057 | 2625094.6405 | 1095750.5116
64 | 2625128.4701 | 1095762.5886 | 2625120.66 | 1095753.7852 | 2625118.2592 | 1095751.9299
65 | 2625128.4701 | 1095762.5886 | 2625142.566 | 1095738.5011
66 | 2625144.4407 | 1095794.7155 | 2625131.7545 | 1095766.293 | 2625128.4701 | 1095762.5886
67 | 2625142.566 | 1095738.5011 | 2625157.358 | 1095737.1837 | 2625171.76 | 1095730.9066 | 2625182.291 | 1095724.2022 | 2625187.1738 | 1095718.4125

## bus_geodata
| x | y | coords
0 | 2625535.7513 | 1095330.9823
1 | 2625384.8185 | 1095389.7929
2 | 2625384.4859 | 1095421.2855
3 | 2625452.3577 | 1095617.6586
4 | 2625381.2845 | 1095608.4276
5 | 2625462.3048 | 1095639.0003
6 | 2625275.6895 | 1095524.1671
7 | 2625261.2077 | 1095536.7214
8 | 2625489.8805 | 1095658.2534
9 | 2625484.9887 | 1095653.369
10 | 2625491.3037 | 1095659.6747
11 | 2625498.1101 | 1095666.4766
12 | 2625538.1009 | 1095688.6873
13 | 2625558.2733 | 1095689.9615
14 | 2625506.3902 | 1095718.0208
15 | 2625376.4679 | 1095606.2458
16 | 2625640.2652 | 1095709.5383
17 | 2625476.1665 | 1095726.2264
18 | 2625471.8705 | 1095722.961
19 | 2625340.3903 | 1095816.0029
20 | 2625302.6214 | 1095821.0172
21 | 2625238.8267 | 1095843.8977
22 | 2625182.5173 | 1095827.2505
23 | 2625697.2806 | 1095681.8672
24 | 2625713.6012 | 1095715.2503
25 | 2625817.013 | 1095657.564
26 | 2625760.709 | 1095752.2906
27 | 2625827.5914 | 1095653.605
28 | 2625727.6774 | 1095782.6568
29 | 2625832.4014 | 1095652.0784
30 | 2625687.7791 | 1095792.144
31 | 2625705.8035 | 1095790.537
32 | 2625728.0016 | 1095790.1497
33 | 2625365.9192 | 1095601.4675
34 | 2625336.9997 | 1095574.5222
35 | 2625837.8979 | 1095650.7592
36 | 2626036.499 | 1095545.1905
37 | 2625772.9809 | 1095787.8612
38 | 2625727.2495 | 1095790.3355
39 | 2625786.2685 | 1095787.8431
40 | 2625714.4178 | 1095790.456
41 | 2625797.7408 | 1095788.5133
42 | 2625315.1673 | 1095570.6559
43 | 2625304.1189 | 1095555.1235
44 | 2625301.3242 | 1095570.1149
45 | 2625297.8689 | 1095552.5495
46 | 2625289.8113 | 1095574.2278
47 | 2625297.1418 | 1095552.2501
48 | 2625257.66 | 1095581.5409
49 | 2625285.1476 | 1095547.3105
50 | 2626086.2371 | 1095499.3679
51 | 2626060.426 | 1095557.5874
52 | 2625836.8225 | 1095790.7967
53 | 2625844.4468 | 1095791.1944
54 | 2625852.7512 | 1095791.4
55 | 2625188.5414 | 1095716.7909
56 | 2625083.4564 | 1095697.0217
57 | 2625082.9828 | 1095713.0285
58 | 2625083.5583 | 1095693.5792
59 | 2625087.7926 | 1095726.1689
60 | 2625092.5621 | 1095737.9057
61 | 2625118.2592 | 1095751.9299
62 | 2625094.6405 | 1095750.5116
63 | 2625128.4701 | 1095762.5886
64 | 2625144.4407 | 1095794.7155
65 | 2625142.566 | 1095738.5011
66 | 2625187.1738 | 1095718.4125
67 | 2625272.1808 | 1095540.3337
68 | 2625249.7713 | 1095534.6912
69 | 2625538.1009 | 1095688.6873

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1