## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6300-27_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6300-27_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6300-27_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6300-27_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6300-27_0_4_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_6300-27_0_4_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_6300-27_0_4_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_6300-27_0_4_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_6300-27_0_4_node_60 | 0.4 | n |  | TRUE
9 | bus_LV_6300-27_0_4_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_6300-27_0_4_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_6300-27_0_4_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_6300-27_0_4_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_6300-27_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_6300-27_0_4_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_6300-27_0_4_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_6300-27_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6300-27_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6300-27_0_4_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_6300-27_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6300-27_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6300-27_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6300-27_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_6300-27_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6300-27_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_6300-27_0_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_6300-27_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_6300-27_0_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_6300-27_0_4_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_6300-27_0_4_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_6300-27_0_4_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_6300-27_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_6300-27_0_4_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_6300-27_0_4_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_6300-27_0_4_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_6300-27_0_4_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_6300-27_0_4_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_6300-27_0_4_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_6300-27_0_4_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_6300-27_0_4_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_6300-27_0_4_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_6300-27_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_6300-27_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_6300-27_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_6300-27_0_4_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_6300-27_0_4_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_6300-27_0_4_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_6300-27_0_4_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_6300-27_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_6300-27_0_4_node_68 | 0.4 | n |  | TRUE
50 | bus_LV_6300-27_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_6300-27_0_4_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_6300-27_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_6300-27_0_4_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_6300-27_0_4_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_6300-27_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_6300-27_0_4_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_6300-27_0_4_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_6300-27_0_4_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_6300-27_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_6300-27_0_4_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_6300-27_0_4_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_6300-27_0_4_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_6300-27_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_6300-27_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_6300-27_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_6300-27_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_6300-27_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_6300-27_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_6300-27_0_4_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_6300-27_0_4_node_74 | 0.4 | n |  | TRUE
71 | bus_MV_282_0_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6300-27_0_4_load_0 | 0 | 0.0086464 | 0.002167 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6300-27_0_4_load_1 | 1 | 0.0025074 | 0.0006284 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6300-27_0_4_load_2 | 2 | 0.0069793 | 0.0017492 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6300-27_0_4_load_64 | 5 | 0.0022942 | 0.00057497 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6300-27_0_4_load_61 | 7 | 0.018726 | 0.0046933 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6300-27_0_4_load_60 | 8 | 0.0042041 | 0.0010537 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6300-27_0_4_load_40 | 11 | 0.0011571 | 0.00028999 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6300-27_0_4_load_19 | 13 | 0.0010814 | 0.00027103 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6300-27_0_4_load_5 | 14 | 0.0014156 | 0.00035478 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6300-27_0_4_load_8 | 16 | 0.0007124 | 0.00017854 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6300-27_0_4_load_10 | 17 | 0.0024973 | 0.00062589 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6300-27_0_4_load_11 | 19 | 0.0031057 | 0.00077837 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6300-27_0_4_load_9 | 22 | 0.0049829 | 0.0012488 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6300-27_0_4_load_43 | 25 | 0.0017357 | 0.000435 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6300-27_0_4_load_38 | 26 | 0.0016531 | 0.0004143 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6300-27_0_4_load_36 | 28 | 0.0040493 | 0.0010149 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6300-27_0_4_load_57 | 29 | 0.0039882 | 0.00099953 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6300-27_0_4_load_48 | 32 | 0.034636 | 0.0086806 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6300-27_0_4_load_63 | 34 | 0.031822 | 0.0079752 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6300-27_0_4_load_15 | 35 | 0.0076003 | 0.0019048 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6300-27_0_4_load_16 | 36 | 0.0011855 | 0.0002971 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6300-27_0_4_load_72 | 39 | 0.0018089 | 0.00045336 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6300-27_0_4_load_18 | 40 | 0.0025343 | 0.00063515 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6300-27_0_4_load_27 | 42 | 0.0053262 | 0.0013349 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6300-27_0_4_load_24 | 43 | 0.0010772 | 0.00026997 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6300-27_0_4_load_65 | 44 | 0.0026763 | 0.00067075 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6300-27_0_4_load_73 | 45 | 0.0020054 | 0.0005026 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6300-27_0_4_load_25 | 46 | 0.0035611 | 0.0008925 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6300-27_0_4_load_68 | 49 | 0.027629 | 0.0069245 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6300-27_0_4_load_67 | 50 | 0.02826 | 0.0070827 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6300-27_0_4_load_69 | 51 | 0.012779 | 0.0032027 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6300-27_0_4_load_59 | 52 | 0.0039934 | 0.0010008 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6300-27_0_4_load_29 | 53 | 0.0047547 | 0.0011916 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6300-27_0_4_load_30 | 54 | 0.0015536 | 0.00038937 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6300-27_0_4_load_32 | 55 | 0.0046221 | 0.0011584 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6300-27_0_4_load_34 | 56 | 0.00076693 | 0.00019221 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6300-27_0_4_load_35 | 57 | 0.0026168 | 0.00065584 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6300-27_0_4_load_71 | 58 | 0.0027742 | 0.00069527 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6300-27_0_4_load_46 | 59 | 0.016317 | 0.0040895 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6300-27_0_4_load_62 | 60 | 0.035763 | 0.008963 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6300-27_0_4_load_47 | 61 | 0.035927 | 0.0090042 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6300-27_0_4_load_49 | 62 | 0.018498 | 0.004636 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6300-27_0_4_load_51 | 63 | 0.020749 | 0.0052002 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6300-27_0_4_load_55 | 64 | 0.0081368 | 0.0020393 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6300-27_0_4_load_56 | 65 | 0.0075487 | 0.0018919 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6300-27_0_4_load_52 | 66 | 0.0077525 | 0.001943 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6300-27_0_4_load_53 | 67 | 0.0079155 | 0.0019838 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6300-27_0_4_load_54 | 68 | 0.013996 | 0.0035078 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6300-27_0_4_load_70 | 69 | 0.011825 | 0.0029636 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6300-27_0_4_load_74 | 70 | 0.0020739 | 0.00051977 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6300-27_0_4_line_0 |  | 0 | 1 | 0.026548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6300-27_0_4_line_1 |  | 0 | 2 | 0.070183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6300-27_0_4_line_2 |  | 2 | 3 | 0.048791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6300-27_0_4_line_3 |  | 3 | 4 | 0.078289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6300-27_0_4_line_4 |  | 3 | 5 | 0.062847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6300-27_0_4_line_5 |  | 4 | 12 | 0.11208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6300-27_0_4_line_6 |  | 4 | 13 | 0.04156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6300-27_0_4_line_7 |  | 5 | 10 | 0.057069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6300-27_0_4_line_8 |  | 6 | 7 | 0.18983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6300-27_0_4_line_9 |  | 6 | 8 | 0.19013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6300-27_0_4_line_10 |  | 8 | 42 | 0.0046566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6300-27_0_4_line_11 |  | 9 | 10 | 0.007313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6300-27_0_4_line_12 |  | 9 | 11 | 0.16025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6300-27_0_4_line_13 |  | 12 | 44 | 0.1557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6300-27_0_4_line_14 |  | 12 | 38 | 0.11366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6300-27_0_4_line_15 |  | 12 | 41 | 0.057395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6300-27_0_4_line_16 |  | 13 | 40 | 0.028429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6300-27_0_4_line_17 |  | 14 | 15 | 0.058552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6300-27_0_4_line_18 |  | 15 | 16 | 0.018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6300-27_0_4_line_19 |  | 15 | 17 | 0.052335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6300-27_0_4_line_20 |  | 16 | 21 | 0.059089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6300-27_0_4_line_21 |  | 17 | 19 | 0.014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6300-27_0_4_line_22 |  | 18 | 19 | 0.090467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6300-27_0_4_line_23 |  | 18 | 20 | 0.074053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6300-27_0_4_line_24 |  | 20 | 24 | 0.025214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6300-27_0_4_line_25 |  | 21 | 23 | 0.062886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6300-27_0_4_line_26 |  | 22 | 23 | 0.01673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6300-27_0_4_line_27 |  | 23 | 25 | 0.022942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6300-27_0_4_line_28 |  | 24 | 26 | 0.012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6300-27_0_4_line_29 |  | 24 | 27 | 0.41446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6300-27_0_4_line_30 |  | 24 | 28 | 0.033508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6300-27_0_4_line_31 |  | 25 | 29 | 0.079254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6300-27_0_4_line_32 |  | 27 | 58 | 0.12713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6300-27_0_4_line_33 |  | 28 | 57 | 0.059515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6300-27_0_4_line_34 |  | 29 | 33 | 0.0046566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6300-27_0_4_line_35 |  | 30 | 31 | 0.17966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6300-27_0_4_line_36 |  | 30 | 32 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6300-27_0_4_line_37 |  | 31 | 33 | 0.042773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6300-27_0_4_line_38 |  | 31 | 34 | 0.052586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6300-27_0_4_line_39 |  | 32 | 59 | 0.024516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6300-27_0_4_line_40 |  | 33 | 52 | 0.016119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6300-27_0_4_line_41 |  | 34 | 60 | 0.011327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6300-27_0_4_line_42 |  | 35 | 36 | 0.08403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6300-27_0_4_line_43 |  | 36 | 37 | 0.020084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6300-27_0_4_line_44 |  | 37 | 38 | 0.084234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6300-27_0_4_line_45 |  | 38 | 39 | 0.05268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6300-27_0_4_line_46 |  | 39 | 45 | 0.0013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6300-27_0_4_line_47 |  | 41 | 42 | 0.02728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6300-27_0_4_line_48 |  | 41 | 43 | 0.13117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6300-27_0_4_line_49 |  | 43 | 46 | 0.098101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6300-27_0_4_line_50 |  | 45 | 70 | 0.00062563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6300-27_0_4_line_51 |  | 46 | 47 | 0.065714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_6300-27_0_4_line_52 |  | 47 | 48 | 0.021701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6300-27_0_4_line_53 |  | 48 | 49 | 0.030097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6300-27_0_4_line_54 |  | 48 | 50 | 0.021241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6300-27_0_4_line_55 |  | 49 | 51 | 0.0076752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6300-27_0_4_line_56 |  | 50 | 52 | 0.045857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6300-27_0_4_line_57 |  | 51 | 69 | 0.0040682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6300-27_0_4_line_58 |  | 53 | 54 | 0.032475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6300-27_0_4_line_59 |  | 54 | 55 | 0.016579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6300-27_0_4_line_60 |  | 55 | 56 | 0.019113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6300-27_0_4_line_61 |  | 56 | 57 | 0.0445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6300-27_0_4_line_62 |  | 59 | 61 | 0.0099011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6300-27_0_4_line_63 |  | 61 | 62 | 0.012382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6300-27_0_4_line_64 |  | 62 | 63 | 0.019097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6300-27_0_4_line_65 |  | 63 | 64 | 0.021466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6300-27_0_4_line_66 |  | 64 | 65 | 0.02669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6300-27_0_4_line_67 |  | 65 | 68 | 0.043115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6300-27_0_4_line_68 |  | 66 | 67 | 0.016133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6300-27_0_4_line_69 |  | 67 | 68 | 0.034247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6300-27_0_4_trafo_70 | 0.63 MVA 20/0.4 kV | 71 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2623280.9726 | 1095590.8277 | 2623285.835 | 1095616.9265
1 | 2623280.9726 | 1095590.8277 | 2623279.1632 | 1095581.116 | 2623268.4444 | 1095574.6495 | 2623252.7619 | 1095573.8559 | 2623237.9959 | 1095576.4898 | 2623221.3708 | 1095580.4237
2 | 2623173.333 | 1095578.5558 | 2623192.6834 | 1095582.3313 | 2623208.6822 | 1095583.4261 | 2623221.3708 | 1095580.4237
3 | 2623193.9906 | 1095552.3098 | 2623177.1794 | 1095546.8541 | 2623171.0726 | 1095541.5504 | 2623165.3589 | 1095540.8061 | 2623156.3776 | 1095554.0232 | 2623158.1121 | 1095562.3118 | 2623167.4313 | 1095570.2291 | 2623173.333 | 1095578.5558
4 | 2623173.333 | 1095578.5558 | 2623183.6669 | 1095588.5113 | 2623195.485 | 1095595.1708 | 2623212.8932 | 1095602.4408 | 2623225.7534 | 1095612.0725
5 | 2623193.9906 | 1095552.3098 | 2623219.346 | 1095549.5049 | 2623286.7783 | 1095514.0218 | 2623283.9505 | 1095504.0392
6 | 2623193.9906 | 1095552.3098 | 2623205.1177 | 1095547.194 | 2623215.5515 | 1095535.0163 | 2623218.4908 | 1095527.9795 | 2623218.391 | 1095522.3297
7 | 2623247.692 | 1095664.2274 | 2623239.3842 | 1095634.9029 | 2623225.7534 | 1095612.0725
8 | 2623409.5096 | 1095738.7295 | 2623410.9839 | 1095736.0227 | 2623413.5292 | 1095730.7631 | 2623411.5079 | 1095720.6168 | 2623410.9755 | 1095709.9982 | 2623411.3055 | 1095692.6572 | 2623412.4181 | 1095687.3477 | 2623416.2443 | 1095683.3714 | 2623440.7307 | 1095668.7581 | 2623470.6736 | 1095653.2654 | 2623486.3116 | 1095647.4671 | 2623509.7937 | 1095646.2904 | 2623539.3143 | 1095647.9497
9 | 2623409.5096 | 1095738.7295 | 2623404.7721 | 1095725.8936 | 2623395.0962 | 1095714.1838 | 2623385.531 | 1095707.9105 | 2623351.6761 | 1095675.1417 | 2623322.5676 | 1095642.7469 | 2623315.9541 | 1095630.2263 | 2623312.3848 | 1095615.6607 | 2623309.282 | 1095598.629 | 2623309.8831 | 1095585.9594
10 | 2623309.8831 | 1095585.9594 | 2623310.1038 | 1095581.3081
11 | 2623247.692 | 1095664.2274 | 2623252.6131 | 1095669.6489
12 | 2623252.6131 | 1095669.6489 | 2623248.63 | 1095672.1461 | 2623241.2664 | 1095671.4399 | 2623233.2874 | 1095673.7106 | 2623224.3652 | 1095671.4199 | 2623211.31 | 1095672.3706 | 2623195.8054 | 1095669.6769 | 2623178.9798 | 1095664.0433 | 2623167.5917 | 1095664.5002 | 2623161.6355 | 1095662.3987 | 2623150.9753 | 1095658.8342 | 2623141.334 | 1095654.1841 | 2623124.7854 | 1095648.9852 | 2623117.9322 | 1095648.5146 | 2623113.2296 | 1095646.7069 | 2623109.3116 | 1095638.1654 | 2623105.9789 | 1095633.4651
13 | 2623283.9505 | 1095504.0392 | 2623290.5479 | 1095500.5626 | 2623290.4327 | 1095486.1103 | 2623304.3882 | 1095452.4353 | 2623302.8746 | 1095449.2167 | 2623310.2508 | 1095426.4221 | 2623312.4598 | 1095426.0859 | 2623331.4936 | 1095373.0649 | 2623323.8646 | 1095364.79
14 | 2623283.9505 | 1095504.0392 | 2623286.3613 | 1095469.1194 | 2623292.2432 | 1095448.1755 | 2623294.7624 | 1095439.6141 | 2623294.0042 | 1095431.2736 | 2623290.4002 | 1095425.7347 | 2623279.7727 | 1095425.6941 | 2623262.7948 | 1095431.3766 | 2623258.2694 | 1095431.8152
15 | 2623283.9505 | 1095504.0392 | 2623286.7783 | 1095514.0218 | 2623290.7847 | 1095519.6622 | 2623305.6001 | 1095544.6539 | 2623311.3968 | 1095554.0587
16 | 2623213.1665 | 1095494.4928 | 2623217.1048 | 1095509.5425 | 2623218.3187 | 1095518.2405 | 2623218.391 | 1095522.3297
17 | 2623576.306 | 1095312.376 | 2623583.188 | 1095307.5112 | 2623589.7805 | 1095299.3881 | 2623592.3607 | 1095287.2141 | 2623592.5184 | 1095270.5061 | 2623590.0838 | 1095260.283
18 | 2623576.306 | 1095312.376 | 2623581.7034 | 1095324.8143 | 2623584.3165 | 1095328.7764
19 | 2623576.306 | 1095312.376 | 2623575.3742 | 1095302.9342 | 2623568.658 | 1095280.9858 | 2623565.7911 | 1095271.1697 | 2623562.5603 | 1095262.0569
20 | 2623623.9581 | 1095371.0017 | 2623615.0258 | 1095357.2823 | 2623597.1667 | 1095346.3297 | 2623588.488 | 1095335.1014 | 2623584.3165 | 1095328.7764
21 | 2623562.5603 | 1095262.0569 | 2623562.1207 | 1095260.8168 | 2623560.2049 | 1095247.4137
22 | 2623536.2138 | 1095167.4354 | 2623540.7974 | 1095182.0384 | 2623554.4043 | 1095192.9744 | 2623563.3165 | 1095204.0034 | 2623562.2706 | 1095222.0642 | 2623560.2049 | 1095247.4137
23 | 2623486.5402 | 1095114.0942 | 2623504.2676 | 1095131.2602 | 2623514.9736 | 1095151.234 | 2623530.7222 | 1095163.2454 | 2623536.2138 | 1095167.4354
24 | 2623480.29 | 1095089.6686 | 2623486.5402 | 1095114.0942
25 | 2623599.3049 | 1095426.2346 | 2623600.0066 | 1095405.082 | 2623612.4694 | 1095387.2767 | 2623615.1694 | 1095382.1734 | 2623620.5379 | 1095376.08 | 2623623.9581 | 1095371.0017
26 | 2623599.3049 | 1095426.2346 | 2623589.1681 | 1095427.5182 | 2623582.6871 | 1095426.8817
27 | 2623599.3049 | 1095426.2346 | 2623602.9433 | 1095430.8177 | 2623605.7878 | 1095447.6698
28 | 2623480.29 | 1095089.6686 | 2623468.8322 | 1095087.8236 | 2623467.7887 | 1095088.3483
29 | 2623480.29 | 1095089.6686 | 2623505.9699 | 1095101.6627 | 2623530.0212 | 1095108.1033 | 2623560.774 | 1095116.3263 | 2623632.6581 | 1095147.1427 | 2623700.363 | 1095184.7361 | 2623756.9754 | 1095261.7627 | 2623769.7601 | 1095268.8496 | 2623778.1577 | 1095242.9134 | 2623777.1682 | 1095206.6687
30 | 2623480.29 | 1095089.6686 | 2623476.9828 | 1095056.3244
31 | 2623605.7878 | 1095447.6698 | 2623605.9344 | 1095448.5384 | 2623603.8229 | 1095451.7096 | 2623600.7818 | 1095456.9005 | 2623601.75 | 1095460.9174 | 2623609.7541 | 1095464.2835 | 2623623.3704 | 1095468.594 | 2623630.4872 | 1095465.0753 | 2623643.7426 | 1095466.5831 | 2623646.2088 | 1095469.8165 | 2623650.2759 | 1095471.6888 | 2623655.1546 | 1095472.0413 | 2623661.8709 | 1095472.5406
32 | 2623777.1682 | 1095206.6687 | 2623682.8933 | 1095121.38
33 | 2623449.7348 | 1095010.7337 | 2623473.8771 | 1095025.0107 | 2623476.9828 | 1095056.3244
34 | 2623666.5147 | 1095472.8858 | 2623661.8709 | 1095472.5406
35 | 2623696.2275 | 1095620.4771 | 2623708.5053 | 1095602.4156 | 2623712.6913 | 1095599.5971 | 2623732.082 | 1095596.8934 | 2623740.7058 | 1095576.3498 | 2623743.352 | 1095563.1755 | 2623745.4308 | 1095534.6245 | 2623744.3144 | 1095522.9586 | 2623743.4058 | 1095511.6271 | 2623739.8523 | 1095507.1665 | 2623734.3682 | 1095503.1653 | 2623701.8075 | 1095496.3017
36 | 2623696.2275 | 1095620.4771 | 2623684.3475 | 1095619.6894
37 | 2623701.8075 | 1095496.3017 | 2623688.6467 | 1095490.403 | 2623678.8003 | 1095484.7619 | 2623666.5147 | 1095472.8858
38 | 2623701.8075 | 1095496.3017 | 2623703.1024 | 1095525.8219 | 2623680.5207 | 1095530.3809 | 2623680.5207 | 1095530.3809
39 | 2623659.8855 | 1095618.0675 | 2623684.3475 | 1095619.6894
40 | 2623666.5147 | 1095472.8858 | 2623650.8736 | 1095476.7804
41 | 2623671.7783 | 1095537.5832 | 2623680.5207 | 1095530.3809
42 | 2623161.9578 | 1095270.7013 | 2623188.2171 | 1095321.0803 | 2623200.4353 | 1095345.4023
43 | 2623209.4511 | 1095363.3495 | 2623200.4353 | 1095345.4023
44 | 2623209.4511 | 1095363.3495 | 2623240.1782 | 1095402.4422 | 2623254.8913 | 1095427.967 | 2623258.2694 | 1095431.8152
45 | 2623258.2694 | 1095431.8152 | 2623245.9983 | 1095436.2373 | 2623235.2364 | 1095440.9542 | 2623231.6369 | 1095446.4099 | 2623229.706 | 1095453.0616 | 2623230.3942 | 1095459.4897 | 2623233.4867 | 1095463.07 | 2623236.4284 | 1095464.3994
46 | 2623236.4284 | 1095464.3994 | 2623237.6799 | 1095464.965
47 | 2623311.3968 | 1095554.0587 | 2623310.1038 | 1095581.3081
48 | 2623311.3968 | 1095554.0587 | 2623324.2137 | 1095530.4734 | 2623333.7431 | 1095515.8134 | 2623342.5911 | 1095507.1985 | 2623353.9834 | 1095497.6261 | 2623364.8291 | 1095491.2311 | 2623370.3988 | 1095489.118 | 2623410.3689 | 1095498.5353
49 | 2623410.3689 | 1095498.5353 | 2623410.6417 | 1095498.5995 | 2623445.604 | 1095505.4486 | 2623506.0778 | 1095509.2724 | 2623507.5735 | 1095508.7065
50 | 2623237.6799 | 1095464.965 | 2623238.25 | 1095465.2226
51 | 2623569.3506 | 1095488.3283 | 2623558.7077 | 1095488.3093 | 2623542.6381 | 1095495.4398 | 2623507.5735 | 1095508.7065
52 | 2623569.3506 | 1095488.3283 | 2623584.8327 | 1095490.9006 | 2623590.8968 | 1095491.1687
53 | 2623590.8968 | 1095491.1687 | 2623595.5609 | 1095520.902
54 | 2623590.8968 | 1095491.1687 | 2623600.4608 | 1095489.7605 | 2623612.0279 | 1095489.3771
55 | 2623595.5609 | 1095520.902 | 2623595.5609 | 1095520.902 | 2623592.4607 | 1095527.9232
56 | 2623650.8736 | 1095476.7804 | 2623643.0835 | 1095478.7201 | 2623634.7587 | 1095490.1492 | 2623626.8557 | 1095492.6643 | 2623616.6753 | 1095489.2231 | 2623612.0279 | 1095489.3771
57 | 2623590.8175 | 1095531.6447 | 2623592.4607 | 1095527.9232
58 | 2623396.7739 | 1094950.818 | 2623392.5627 | 1094945.8796 | 2623372.2027 | 1094929.7343
59 | 2623396.7739 | 1094950.818 | 2623407.5313 | 1094963.4329
60 | 2623419.9328 | 1094977.9757 | 2623407.5313 | 1094963.4329
61 | 2623419.9328 | 1094977.9757 | 2623445.9676 | 1095008.5059 | 2623449.7348 | 1095010.7337
62 | 2623659.8855 | 1095618.0675 | 2623655.6187 | 1095617.7846 | 2623650.0716 | 1095618.7173
63 | 2623650.0716 | 1095618.7173 | 2623645.4728 | 1095619.4905 | 2623637.8879 | 1095620.9214
64 | 2623637.8879 | 1095620.9214 | 2623619.1216 | 1095624.4616
65 | 2623598.0503 | 1095621.9754 | 2623603.7212 | 1095623.8531 | 2623616.5441 | 1095624.9478 | 2623619.1216 | 1095624.4616
66 | 2623598.0503 | 1095621.9754 | 2623589.4871 | 1095619.14 | 2623574.8561 | 1095609.2333
67 | 2623574.8561 | 1095609.2333 | 2623563.1659 | 1095601.3179 | 2623554.9162 | 1095597.4062 | 2623547.6265 | 1095591.6195 | 2623541.8127 | 1095588.7512 | 2623537.7355 | 1095588.7814
68 | 2623488.0307 | 1095595.3697 | 2623500.2126 | 1095591.9478 | 2623503.6615 | 1095591.487
69 | 2623503.6615 | 1095591.487 | 2623523.098 | 1095588.8901 | 2623537.7355 | 1095588.7814

## bus_geodata
| x | y | coords
0 | 2623280.9726 | 1095590.8277
1 | 2623285.835 | 1095616.9265
2 | 2623221.3708 | 1095580.4237
3 | 2623173.333 | 1095578.5558
4 | 2623193.9906 | 1095552.3098
5 | 2623225.7534 | 1095612.0725
6 | 2623409.5096 | 1095738.7295
7 | 2623539.3143 | 1095647.9497
8 | 2623309.8831 | 1095585.9594
9 | 2623252.6131 | 1095669.6489
10 | 2623247.692 | 1095664.2274
11 | 2623105.9789 | 1095633.4651
12 | 2623283.9505 | 1095504.0392
13 | 2623218.391 | 1095522.3297
14 | 2623590.0838 | 1095260.283
15 | 2623576.306 | 1095312.376
16 | 2623584.3165 | 1095328.7764
17 | 2623562.5603 | 1095262.0569
18 | 2623536.2138 | 1095167.4354
19 | 2623560.2049 | 1095247.4137
20 | 2623486.5402 | 1095114.0942
21 | 2623623.9581 | 1095371.0017
22 | 2623582.6871 | 1095426.8817
23 | 2623599.3049 | 1095426.2346
24 | 2623480.29 | 1095089.6686
25 | 2623605.7878 | 1095447.6698
26 | 2623467.7887 | 1095088.3483
27 | 2623777.1682 | 1095206.6687
28 | 2623476.9828 | 1095056.3244
29 | 2623661.8709 | 1095472.5406
30 | 2623696.2275 | 1095620.4771
31 | 2623701.8075 | 1095496.3017
32 | 2623684.3475 | 1095619.6894
33 | 2623666.5147 | 1095472.8858
34 | 2623680.5207 | 1095530.3809
35 | 2623161.9578 | 1095270.7013
36 | 2623200.4353 | 1095345.4023
37 | 2623209.4511 | 1095363.3495
38 | 2623258.2694 | 1095431.8152
39 | 2623236.4284 | 1095464.3994
40 | 2623213.1665 | 1095494.4928
41 | 2623311.3968 | 1095554.0587
42 | 2623310.1038 | 1095581.3081
43 | 2623410.3689 | 1095498.5353
44 | 2623323.8646 | 1095364.79
45 | 2623237.6799 | 1095464.965
46 | 2623507.5735 | 1095508.7065
47 | 2623569.3506 | 1095488.3283
48 | 2623590.8968 | 1095491.1687
49 | 2623595.5609 | 1095520.902
50 | 2623612.0279 | 1095489.3771
51 | 2623592.4607 | 1095527.9232
52 | 2623650.8736 | 1095476.7804
53 | 2623372.2027 | 1094929.7343
54 | 2623396.7739 | 1094950.818
55 | 2623407.5313 | 1094963.4329
56 | 2623419.9328 | 1094977.9757
57 | 2623449.7348 | 1095010.7337
58 | 2623682.8933 | 1095121.38
59 | 2623659.8855 | 1095618.0675
60 | 2623671.7783 | 1095537.5832
61 | 2623650.0716 | 1095618.7173
62 | 2623637.8879 | 1095620.9214
63 | 2623619.1216 | 1095624.4616
64 | 2623598.0503 | 1095621.9754
65 | 2623574.8561 | 1095609.2333
66 | 2623488.0307 | 1095595.3697
67 | 2623503.6615 | 1095591.487
68 | 2623537.7355 | 1095588.7814
69 | 2623590.8175 | 1095531.6447
70 | 2623238.25 | 1095465.2226
71 | 2623590.8968 | 1095491.1687

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1