## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_768-15_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_768-15_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_768-15_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_768-15_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_768-15_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_768-15_0_5_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_768-15_0_5_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_768-15_0_5_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_768-15_0_5_node_87 | 0.4 | n |  | TRUE
9 | bus_LV_768-15_0_5_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_768-15_0_5_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_768-15_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_768-15_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_768-15_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_768-15_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_768-15_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_768-15_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_768-15_0_5_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_768-15_0_5_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_768-15_0_5_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_768-15_0_5_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_768-15_0_5_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_768-15_0_5_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_768-15_0_5_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_768-15_0_5_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_768-15_0_5_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_768-15_0_5_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_768-15_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_768-15_0_5_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_768-15_0_5_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_768-15_0_5_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_768-15_0_5_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_768-15_0_5_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_768-15_0_5_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_768-15_0_5_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_768-15_0_5_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_768-15_0_5_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_768-15_0_5_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_768-15_0_5_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_768-15_0_5_node_94 | 0.4 | n |  | TRUE
40 | bus_LV_768-15_0_5_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_768-15_0_5_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_768-15_0_5_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_768-15_0_5_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_768-15_0_5_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_768-15_0_5_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_768-15_0_5_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_768-15_0_5_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_768-15_0_5_node_89 | 0.4 | n |  | TRUE
49 | bus_LV_768-15_0_5_node_22 | 0.4 | n |  | TRUE
50 | bus_LV_768-15_0_5_node_21 | 0.4 | n |  | TRUE
51 | bus_LV_768-15_0_5_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_768-15_0_5_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_768-15_0_5_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_768-15_0_5_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_768-15_0_5_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_768-15_0_5_node_25 | 0.4 | n |  | TRUE
57 | bus_LV_768-15_0_5_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_768-15_0_5_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_768-15_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_768-15_0_5_node_28 | 0.4 | n |  | TRUE
61 | bus_LV_768-15_0_5_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_768-15_0_5_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_768-15_0_5_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_768-15_0_5_node_35 | 0.4 | n |  | TRUE
65 | bus_LV_768-15_0_5_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_768-15_0_5_node_99 | 0.4 | n |  | TRUE
67 | bus_LV_768-15_0_5_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_768-15_0_5_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_768-15_0_5_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_768-15_0_5_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_768-15_0_5_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_768-15_0_5_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_768-15_0_5_node_103 | 0.4 | n |  | TRUE
74 | bus_LV_768-15_0_5_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_768-15_0_5_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_768-15_0_5_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_768-15_0_5_node_96 | 0.4 | n |  | TRUE
78 | bus_LV_768-15_0_5_node_51 | 0.4 | n |  | TRUE
79 | bus_LV_768-15_0_5_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_768-15_0_5_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_768-15_0_5_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_768-15_0_5_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_768-15_0_5_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_768-15_0_5_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_768-15_0_5_node_61 | 0.4 | n |  | TRUE
86 | bus_LV_768-15_0_5_node_93 | 0.4 | n |  | TRUE
87 | bus_LV_768-15_0_5_node_62 | 0.4 | n |  | TRUE
88 | bus_LV_768-15_0_5_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_768-15_0_5_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_768-15_0_5_node_97 | 0.4 | n |  | TRUE
91 | bus_LV_768-15_0_5_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_768-15_0_5_node_75 | 0.4 | n |  | TRUE
93 | bus_LV_768-15_0_5_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_768-15_0_5_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_768-15_0_5_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_768-15_0_5_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_768-15_0_5_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_768-15_0_5_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_768-15_0_5_node_101 | 0.4 | n |  | TRUE
100 | bus_MV_118_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_768-15_0_5_load_0 | 0 | 0.0012941 | 0.00032433 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_768-15_0_5_load_1 | 1 | 0.0029502 | 0.00073939 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_768-15_0_5_load_2 | 2 | 0.00131 | 0.00032831 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_768-15_0_5_load_4 | 4 | 0.0014239 | 0.00035686 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_768-15_0_5_load_36 | 6 | 0.003361 | 0.00084234 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_768-15_0_5_load_71 | 7 | 0.0014543 | 0.00036448 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_768-15_0_5_load_87 | 8 | 0.023916 | 0.005994 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_768-15_0_5_load_70 | 10 | 0.0027556 | 0.00069062 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_768-15_0_5_load_5 | 11 | 0.0045076 | 0.0011297 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_768-15_0_5_load_6 | 12 | 0.0025409 | 0.00063681 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_768-15_0_5_load_8 | 14 | 0.0010398 | 0.00026059 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_768-15_0_5_load_95 | 19 | 0.0026186 | 0.00065629 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_768-15_0_5_load_40 | 21 | 0.0028439 | 0.00071274 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_768-15_0_5_load_30 | 22 | 0.0070169 | 0.0017586 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_768-15_0_5_load_27 | 23 | 0.026204 | 0.0065672 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_768-15_0_5_load_52 | 24 | 0.011282 | 0.0028277 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_768-15_0_5_load_49 | 25 | 0.015417 | 0.0038638 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_768-15_0_5_load_23 | 26 | 0.0025408 | 0.00063678 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_768-15_0_5_load_24 | 27 | 0.0029648 | 0.00074304 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_768-15_0_5_load_11 | 28 | 0.025092 | 0.0062887 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_768-15_0_5_load_14 | 31 | 0.0015615 | 0.00039135 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_768-15_0_5_load_16 | 33 | 0.033039 | 0.0082803 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_768-15_0_5_load_17 | 34 | 0.013965 | 0.0034999 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_768-15_0_5_load_65 | 37 | 0.0026954 | 0.00067552 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_768-15_0_5_load_69 | 38 | 0.030177 | 0.0075631 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_768-15_0_5_load_94 | 39 | 0.016653 | 0.0041736 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_768-15_0_5_load_46 | 40 | 0.0015746 | 0.00039463 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_768-15_0_5_load_41 | 41 | 0.00097598 | 0.0002446 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_768-15_0_5_load_47 | 42 | 0.0028011 | 0.00070201 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_768-15_0_5_load_18 | 44 | 0.0032887 | 0.00082422 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_768-15_0_5_load_19 | 45 | 0.0033356 | 0.00083599 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_768-15_0_5_load_90 | 47 | 0.0039844 | 0.00099858 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_768-15_0_5_load_89 | 48 | 0.0048755 | 0.0012219 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_768-15_0_5_load_22 | 49 | 0.028887 | 0.0072397 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_768-15_0_5_load_21 | 50 | 0.003723 | 0.00093307 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_768-15_0_5_load_88 | 52 | 0.0022567 | 0.00056557 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_768-15_0_5_load_53 | 55 | 0.022224 | 0.0055698 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_768-15_0_5_load_64 | 57 | 0.0019353 | 0.00048503 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_768-15_0_5_load_68 | 58 | 0.0016057 | 0.00040243 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_768-15_0_5_load_50 | 59 | 0.013889 | 0.0034808 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_768-15_0_5_load_28 | 60 | 0.0012094 | 0.0003031 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_768-15_0_5_load_31 | 61 | 0.003113 | 0.00078018 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_768-15_0_5_load_35 | 64 | 0.004083 | 0.0010233 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_768-15_0_5_load_37 | 65 | 0.0037634 | 0.0009432 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_768-15_0_5_load_99 | 66 | 0.0025928 | 0.00064982 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_768-15_0_5_load_84 | 67 | 0.0033723 | 0.00084518 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_768-15_0_5_load_73 | 68 | 0.001135 | 0.00028446 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_768-15_0_5_load_79 | 69 | 0.0039049 | 0.00097866 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_768-15_0_5_load_74 | 70 | 0.0029643 | 0.00074293 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_768-15_0_5_load_72 | 72 | 0.001322 | 0.00033134 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_768-15_0_5_load_103 | 73 | 0.00081056 | 0.00020314 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_768-15_0_5_load_45 | 76 | 0.0021692 | 0.00054364 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_768-15_0_5_load_96 | 77 | 0.001227 | 0.00030752 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_768-15_0_5_load_51 | 78 | 0.0058876 | 0.0014756 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_768-15_0_5_load_54 | 79 | 0.0025897 | 0.00064903 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_768-15_0_5_load_67 | 80 | 0.0033903 | 0.0008497 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_768-15_0_5_load_66 | 81 | 0.0033392 | 0.00083689 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_768-15_0_5_load_86 | 82 | 0.0042356 | 0.0010615 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_768-15_0_5_load_59 | 83 | 0.05576 | 0.013975 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_768-15_0_5_load_61 | 85 | 0.005826 | 0.0014601 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_768-15_0_5_load_93 | 86 | 0.019304 | 0.0048381 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_768-15_0_5_load_80 | 89 | 0.012686 | 0.0031794 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_768-15_0_5_load_97 | 90 | 0.015122 | 0.0037899 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_768-15_0_5_load_75 | 92 | 0.0059106 | 0.0014813 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_768-15_0_5_load_85 | 93 | 0.0046093 | 0.0011552 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_768-15_0_5_load_76 | 94 | 0.0043433 | 0.0010885 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_768-15_0_5_load_92 | 97 | 0.0051616 | 0.0012936 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_768-15_0_5_load_91 | 98 | 0.0088546 | 0.0022192 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_768-15_0_5_load_101 | 99 | 0.0065546 | 0.0016427 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_768-15_0_5_line_0 |  | 0 | 1 | 0.013418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_768-15_0_5_line_1 |  | 0 | 2 | 0.0016612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_768-15_0_5_line_2 |  | 1 | 3 | 0.024667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_768-15_0_5_line_3 |  | 2 | 4 | 0.0022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_768-15_0_5_line_4 |  | 3 | 5 | 0.003817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_768-15_0_5_line_5 |  | 3 | 6 | 0.012737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_768-15_0_5_line_6 |  | 4 | 7 | 0.0039069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_768-15_0_5_line_7 |  | 5 | 8 | 0.042685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_768-15_0_5_line_8 |  | 6 | 9 | 0.024364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_768-15_0_5_line_9 |  | 7 | 10 | 0.011712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_768-15_0_5_line_10 |  | 8 | 82 | 0.048126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_768-15_0_5_line_11 |  | 9 | 65 | 0.025802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_768-15_0_5_line_12 |  | 9 | 61 | 0.0097839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_768-15_0_5_line_13 |  | 10 | 75 | 0.02526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_768-15_0_5_line_14 |  | 11 | 12 | 0.053201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_768-15_0_5_line_15 |  | 11 | 13 | 0.018597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_768-15_0_5_line_16 |  | 12 | 14 | 0.0053091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_768-15_0_5_line_17 |  | 13 | 15 | 0.043602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_768-15_0_5_line_18 |  | 13 | 16 | 0.030979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_768-15_0_5_line_19 |  | 14 | 17 | 0.021216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_768-15_0_5_line_20 |  | 15 | 18 | 0.01846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_768-15_0_5_line_21 |  | 15 | 19 | 0.016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_768-15_0_5_line_22 |  | 16 | 20 | 0.009938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_768-15_0_5_line_23 |  | 17 | 21 | 0.030045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_768-15_0_5_line_24 |  | 18 | 22 | 0.0084157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_768-15_0_5_line_25 |  | 18 | 23 | 0.020724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_768-15_0_5_line_26 |  | 20 | 24 | 0.0065091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_768-15_0_5_line_27 |  | 20 | 25 | 0.0069961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_768-15_0_5_line_28 |  | 21 | 72 | 0.0093321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_768-15_0_5_line_29 |  | 22 | 36 | 0.017079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_768-15_0_5_line_30 |  | 23 | 60 | 0.014307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_768-15_0_5_line_31 |  | 24 | 53 | 0.030158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_768-15_0_5_line_32 |  | 25 | 59 | 0.008757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_768-15_0_5_line_33 |  | 26 | 27 | 0.020242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_768-15_0_5_line_34 |  | 27 | 56 | 0.021042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_768-15_0_5_line_35 |  | 28 | 29 | 0.002614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_768-15_0_5_line_36 |  | 28 | 30 | 0.028972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_768-15_0_5_line_37 |  | 29 | 31 | 0.017141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_768-15_0_5_line_38 |  | 29 | 32 | 0.01566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_768-15_0_5_line_39 |  | 30 | 33 | 0.014126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_768-15_0_5_line_40 |  | 30 | 34 | 0.023618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_768-15_0_5_line_41 |  | 31 | 35 | 0.011698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_768-15_0_5_line_42 |  | 32 | 36 | 0.014471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_768-15_0_5_line_43 |  | 32 | 37 | 0.014877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_768-15_0_5_line_44 |  | 33 | 38 | 0.0035224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_768-15_0_5_line_45 |  | 34 | 39 | 0.019288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_768-15_0_5_line_46 |  | 35 | 40 | 0.020702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_768-15_0_5_line_47 |  | 35 | 41 | 0.021493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_768-15_0_5_line_48 |  | 36 | 42 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_768-15_0_5_line_49 |  | 39 | 43 | 0.0092512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_768-15_0_5_line_50 |  | 40 | 77 | 0.005215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_768-15_0_5_line_51 |  | 41 | 74 | 0.0081662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_768-15_0_5_line_52 |  | 43 | 88 | 0.025944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_768-15_0_5_line_53 |  | 43 | 84 | 0.018675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_768-15_0_5_line_54 |  | 44 | 45 | 0.0226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_768-15_0_5_line_55 |  | 44 | 46 | 0.009412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_768-15_0_5_line_56 |  | 44 | 47 | 0.011252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_768-15_0_5_line_57 |  | 45 | 48 | 0.009736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_768-15_0_5_line_58 |  | 46 | 49 | 0.019299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_768-15_0_5_line_59 |  | 48 | 52 | 0.012145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_768-15_0_5_line_60 |  | 49 | 53 | 0.012969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_768-15_0_5_line_61 |  | 50 | 51 | 0.03332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_768-15_0_5_line_62 |  | 50 | 52 | 0.003868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_768-15_0_5_line_63 |  | 51 | 54 | 0.003796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_768-15_0_5_line_64 |  | 53 | 55 | 0.0058819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_768-15_0_5_line_65 |  | 54 | 80 | 0.0091786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_768-15_0_5_line_66 |  | 55 | 79 | 0.023993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_768-15_0_5_line_67 |  | 56 | 57 | 0.010887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_768-15_0_5_line_68 |  | 57 | 58 | 0.02109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_768-15_0_5_line_69 |  | 58 | 81 | 0.0020451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_768-15_0_5_line_70 |  | 59 | 78 | 0.0013072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_768-15_0_5_line_71 |  | 61 | 62 | 0.021755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_768-15_0_5_line_72 |  | 62 | 63 | 0.01506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_768-15_0_5_line_73 |  | 62 | 64 | 0.031671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_768-15_0_5_line_74 |  | 63 | 66 | 0.013231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_768-15_0_5_line_75 |  | 64 | 67 | 0.028648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_768-15_0_5_line_76 |  | 65 | 68 | 0.0047534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_768-15_0_5_line_77 |  | 67 | 69 | 0.01687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_768-15_0_5_line_78 |  | 68 | 70 | 0.017953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_768-15_0_5_line_79 |  | 69 | 95 | 0.0047578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_768-15_0_5_line_80 |  | 70 | 92 | 0.022269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_768-15_0_5_line_81 |  | 71 | 72 | 0.015955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_768-15_0_5_line_82 |  | 71 | 73 | 0.18833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_768-15_0_5_line_83 |  | 74 | 75 | 0.011629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_768-15_0_5_line_84 |  | 74 | 76 | 0.010669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_768-15_0_5_line_85 |  | 80 | 81 | 0.023664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_768-15_0_5_line_86 |  | 83 | 84 | 0.03597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_768-15_0_5_line_87 |  | 83 | 85 | 0.012427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_768-15_0_5_line_88 |  | 84 | 86 | 0.026871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_768-15_0_5_line_89 |  | 87 | 88 | 0.011227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_768-15_0_5_line_90 |  | 87 | 89 | 0.024889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_768-15_0_5_line_91 |  | 88 | 90 | 0.041047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_768-15_0_5_line_92 |  | 89 | 91 | 0.016519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_768-15_0_5_line_93 |  | 90 | 99 | 0.033408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_768-15_0_5_line_94 |  | 91 | 96 | 0.027908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_768-15_0_5_line_95 |  | 92 | 93 | 0.006772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_768-15_0_5_line_96 |  | 94 | 95 | 0.026192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_768-15_0_5_line_97 |  | 96 | 97 | 0.0025016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_768-15_0_5_line_98 |  | 97 | 98 | 0.014566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_768-15_0_5_trafo_17 | 0.63 MVA 20/0.4 kV | 100 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2617433.8887 | 1170229.4387 | 2617444.1384 | 1170220.7787
1 | 2617433.8887 | 1170229.4387 | 2617432.6198 | 1170230.5108
2 | 2617464.0217 | 1170206.4228 | 2617463.0873 | 1170206.7759 | 2617461.5478 | 1170207.3495 | 2617454.9481 | 1170211.6548 | 2617452.5246 | 1170213.6932 | 2617444.1384 | 1170220.7787
3 | 2617430.9252 | 1170231.9426 | 2617432.6198 | 1170230.5108
4 | 2617464.0217 | 1170206.4228 | 2617467.6516 | 1170205.2105
5 | 2617464.0217 | 1170206.4228 | 2617471.201 | 1170216.9431
6 | 2617430.9252 | 1170231.9426 | 2617430.7972 | 1170232.0507 | 2617427.8059 | 1170234.2946
7 | 2617467.6516 | 1170205.2105 | 2617470.6457 | 1170204.2965 | 2617482.1484 | 1170200.3501 | 2617486.1079 | 1170198.9276 | 2617491.5005 | 1170196.6976 | 2617498.1536 | 1170192.4481 | 2617505.1697 | 1170186.108
8 | 2617485.0641 | 1170236.9771 | 2617481.2008 | 1170231.5965 | 2617471.201 | 1170216.9431
9 | 2617418.4367 | 1170241.3231 | 2617427.8059 | 1170234.2946
10 | 2617547.2556 | 1170166.4138 | 2617546.7538 | 1170167.7548 | 2617545.5492 | 1170168.9519 | 2617541.8029 | 1170170.6974 | 2617524.4037 | 1170173.8484 | 2617518.0014 | 1170175.9975 | 2617515.0897 | 1170177.5231 | 2617513.7024 | 1170178.3973 | 2617505.1697 | 1170186.108
11 | 2617485.0641 | 1170236.9771 | 2617506.8025 | 1170223.0775
12 | 2617485.0641 | 1170236.9771 | 2617490.4056 | 1170244.4074 | 2617490.7798 | 1170244.9178
13 | 2617398.3487 | 1170256.636 | 2617406.0089 | 1170250.6662 | 2617413.2008 | 1170245.2509 | 2617418.4367 | 1170241.3231
14 | 2617282.4065 | 1170141.596 | 2617281.7031 | 1170140.8975 | 2617277.605 | 1170137.2839 | 2617272.3012 | 1170132.5997 | 2617267.2002 | 1170129.2056 | 2617257.9007 | 1170125.1992 | 2617249.0985 | 1170121.2053 | 2617240.5028 | 1170117.2009 | 2617236.6392 | 1170115.3869
15 | 2617295.6031 | 1170154.6999 | 2617282.4065 | 1170141.596
16 | 2617236.6392 | 1170115.3869 | 2617231.8334 | 1170113.1305
17 | 2617295.6031 | 1170154.6999 | 2617301.9002 | 1170149.2041 | 2617304.425 | 1170146.4989 | 2617308.8028 | 1170151.3028 | 2617310.4025 | 1170153.6975 | 2617311.1995 | 1170155.9009 | 2617314.9383 | 1170175.3659
18 | 2617295.6031 | 1170154.6999 | 2617301.9002 | 1170149.2041 | 2617304.425 | 1170146.4989 | 2617306.8975 | 1170143.4044 | 2617311.5004 | 1170136.403 | 2617313.9509 | 1170130.2958
19 | 2617211.9033 | 1170106.8028 | 2617214.9027 | 1170106.7002 | 2617220.8973 | 1170107.9958 | 2617231.8334 | 1170113.1305
20 | 2617314.9383 | 1170175.3659 | 2617314.9989 | 1170175.5995 | 2617315.8024 | 1170178.2031 | 2617318.2968 | 1170183.4018 | 2617322.5997 | 1170190.2954 | 2617323.5293 | 1170191.6099
21 | 2617314.9383 | 1170175.3659 | 2617301.0851 | 1170183.3706
22 | 2617323.8078 | 1170129.3459 | 2617320.3016 | 1170130.1029 | 2617316.2991 | 1170130.5027 | 2617313.9509 | 1170130.2958
23 | 2617211.9033 | 1170106.8028 | 2617210.6528 | 1170105.354 | 2617208.4523 | 1170104.3028 | 2617188.697 | 1170099.2994 | 2617183.5981 | 1170097.8064 | 2617183.5981 | 1170097.8064
24 | 2617323.5293 | 1170191.6099 | 2617328.5036 | 1170198.3981
25 | 2617323.5293 | 1170191.6099 | 2617307.5415 | 1170204.796
26 | 2617323.8078 | 1170129.3459 | 2617330.1103 | 1170127.7193
27 | 2617323.8078 | 1170129.3459 | 2617328.3794 | 1170134.6417
28 | 2617183.5981 | 1170097.8064 | 2617181.5986 | 1170106.8052 | 2617181.5776 | 1170106.9171
29 | 2617340.068 | 1170210.9116 | 2617336.3973 | 1170207.6994 | 2617328.8028 | 1170198.8064 | 2617328.5036 | 1170198.3981
30 | 2617296.5043 | 1170213.899 | 2617307.5415 | 1170204.796
31 | 2617357.7009 | 1170116.0034 | 2617347.6996 | 1170121.8998 | 2617338.7996 | 1170125.2981 | 2617332.4979 | 1170127.1031 | 2617330.1103 | 1170127.7193
32 | 2617328.3794 | 1170134.6417 | 2617334.1018 | 1170141.2705
33 | 2617292.1044 | 1170071.8681 | 2617297.9123 | 1170077.9345 | 2617306.097 | 1170086.4956
34 | 2617278.2972 | 1170056.0005 | 2617288.4994 | 1170068.1025 | 2617292.1044 | 1170071.8681
35 | 2617358.4752 | 1170203.0384 | 2617359.2003 | 1170201.0061 | 2617359.3543 | 1170200.5767
36 | 2617370.0665 | 1170173.6681 | 2617367.5023 | 1170179.3969 | 2617361.4986 | 1170194.5984 | 2617359.3543 | 1170200.5767
37 | 2617358.4752 | 1170203.0384 | 2617364.1986 | 1170205.4561 | 2617363.751 | 1170206.7999 | 2617362.5001 | 1170210.7984 | 2617364.0503 | 1170211.8033 | 2617366.3282 | 1170214.4272
38 | 2617352.8787 | 1170217.663 | 2617353.1019 | 1170217.1967 | 2617357.9745 | 1170204.2487 | 2617358.4752 | 1170203.0384
39 | 2617370.0665 | 1170173.6681 | 2617357.5501 | 1170167.1187
40 | 2617370.0665 | 1170173.6681 | 2617373.6989 | 1170166.2971 | 2617381.6266 | 1170153.0941
41 | 2617373.6946 | 1170223.5037 | 2617370.6004 | 1170219.3482 | 2617366.3282 | 1170214.4272
42 | 2617352.8787 | 1170217.663 | 2617344.5056 | 1170213.5035 | 2617341.0986 | 1170211.7039 | 2617340.068 | 1170210.9116
43 | 2617352.8787 | 1170217.663 | 2617346.1021 | 1170230.3054 | 2617345.783 | 1170230.7317
44 | 2617354.4291 | 1170165.4856 | 2617357.5501 | 1170167.1187
45 | 2617381.6266 | 1170153.0941 | 2617381.8017 | 1170152.8025 | 2617387.9006 | 1170144.4048 | 2617393.3829 | 1170137.8188
46 | 2617373.6946 | 1170223.5037 | 2617386.784 | 1170207.4645
47 | 2617373.6946 | 1170223.5037 | 2617386.5239 | 1170240.7482
48 | 2617340.068 | 1170210.9116 | 2617326.9038 | 1170218.7193
49 | 2617399.3016 | 1170130.7085 | 2617393.3829 | 1170137.8188
50 | 2617390.0812 | 1170203.4242 | 2617386.784 | 1170207.4645
51 | 2617391.3983 | 1170247.3001 | 2617386.5239 | 1170240.7482
52 | 2617399.3016 | 1170130.7085 | 2617400.023 | 1170129.9213 | 2617406.3471 | 1170123.0472 | 2617416.961 | 1170111.6611
53 | 2617399.3016 | 1170130.7085 | 2617414.0188 | 1170142.2569
54 | 2617378.0072 | 1170087.6967 | 2617376.9985 | 1170085.9994 | 2617368.6015 | 1170071.5012 | 2617366.6418 | 1170068.1625
55 | 2617382.8155 | 1170095.7878 | 2617378.0072 | 1170087.6967
56 | 2617378.0072 | 1170087.6967 | 2617380.1728 | 1170076.6555
57 | 2617366.6418 | 1170068.1625 | 2617366.7206 | 1170058.4268
58 | 2617382.8155 | 1170095.7878 | 2617368.2044 | 1170108.3965
59 | 2617359.5092 | 1170048.6548 | 2617366.7206 | 1170058.4268
60 | 2617357.7009 | 1170116.0034 | 2617368.2044 | 1170108.3965
61 | 2617338.9012 | 1170020.9013 | 2617355.7679 | 1170049.6368
62 | 2617355.7679 | 1170049.6368 | 2617359.5092 | 1170048.6548
63 | 2617335.2033 | 1170021.8022 | 2617338.9012 | 1170020.9013
64 | 2617357.7009 | 1170116.0034 | 2617356.9611 | 1170115.1786 | 2617355.9529 | 1170114.5976 | 2617354.7749 | 1170114.5275 | 2617352.7929 | 1170114.6552 | 2617352.3555 | 1170114.7328
65 | 2617335.2033 | 1170021.8022 | 2617328.9008 | 1170023.7962 | 2617326.6157 | 1170024.9686
66 | 2617332.0971 | 1170104.2015 | 2617337.2016 | 1170108.9964 | 2617346.2511 | 1170114.8031 | 2617348.5982 | 1170115.3991 | 2617352.3555 | 1170114.7328
67 | 2617278.2972 | 1170056.0005 | 2617281.7975 | 1170051.9974 | 2617283.8987 | 1170050.3026 | 2617286.3831 | 1170048.8655
68 | 2617286.3831 | 1170048.8655 | 2617292.1984 | 1170045.5017 | 2617304.5182 | 1170038.1011
69 | 2617306.2713 | 1170037.048 | 2617304.5182 | 1170038.1011
70 | 2617334.1018 | 1170141.2705 | 2617334.9559 | 1170142.26
71 | 2617501.6042 | 1170263.5051 | 2617500.0059 | 1170258.0088 | 2617498.8033 | 1170255.8598 | 2617490.7798 | 1170244.9178
72 | 2617501.6042 | 1170263.5051 | 2617492.1536 | 1170266.846 | 2617487.6027 | 1170269.0895
73 | 2617501.6042 | 1170263.5051 | 2617506.9261 | 1170261.8753 | 2617531.7599 | 1170253.8282
74 | 2617487.6027 | 1170269.0895 | 2617482.5001 | 1170271.5982 | 2617476.1993 | 1170275.7487
75 | 2617555.6862 | 1170238.6174 | 2617551.4024 | 1170242.3059 | 2617546.0968 | 1170246.2036 | 2617538.1393 | 1170251.761 | 2617531.7599 | 1170253.8282
76 | 2617510.8073 | 1170220.5169 | 2617506.8025 | 1170223.0775
77 | 2617555.6862 | 1170238.6174 | 2617568.4702 | 1170227.6098
78 | 2617510.8073 | 1170220.5169 | 2617525.9326 | 1170210.8457
79 | 2617571.9508 | 1170224.3679 | 2617569.4036 | 1170226.8061 | 2617568.4702 | 1170227.6098
80 | 2617525.9326 | 1170210.8457 | 2617544.6944 | 1170198.8495
81 | 2617179.6023 | 1170122.6964 | 2617179.703 | 1170116.9049 | 2617181.5776 | 1170106.9171
82 | 2617179.6023 | 1170122.6964 | 2616991.5769 | 1170111.9024
83 | 2617391.3983 | 1170247.3001 | 2617398.3487 | 1170256.636
84 | 2617391.3983 | 1170247.3001 | 2617399.0017 | 1170239.7961
85 | 2617306.2713 | 1170037.048 | 2617325.0008 | 1170025.7971 | 2617326.6157 | 1170024.9686
86 | 2617414.0188 | 1170142.2569 | 2617412.8516 | 1170143.7543 | 2617409.8987 | 1170148.9483 | 2617408.2015 | 1170153.8014 | 2617406.6995 | 1170167.9042 | 2617405.1485 | 1170175.1034 | 2617404.6264 | 1170176.411
87 | 2617398.099 | 1170186.8 | 2617401.6527 | 1170182.8527 | 2617402.852 | 1170180.8552 | 2617404.6264 | 1170176.411
88 | 2617414.0188 | 1170142.2569 | 2617438.5449 | 1170153.234
89 | 2617416.961 | 1170111.6611 | 2617423.9987 | 1170117.3065 | 2617425.3974 | 1170117.7997 | 2617426.1394 | 1170117.8463
90 | 2617426.1394 | 1170117.8463 | 2617428.2513 | 1170117.7523 | 2617432.3042 | 1170115.7964 | 2617446.91 | 1170104.8127
91 | 2617416.961 | 1170111.6611 | 2617417.3141 | 1170111.2841 | 2617444.8794 | 1170081.5704
92 | 2617460.198 | 1170095 | 2617448.2525 | 1170103.8032 | 2617446.91 | 1170104.8127
93 | 2617444.8794 | 1170081.5704 | 2617427.9037 | 1170052.7963
94 | 2617482.5508 | 1170093.3306 | 2617475.0985 | 1170101.402 | 2617464.8515 | 1170099.6492 | 2617460.198 | 1170095
95 | 2617550.3997 | 1170195.2015 | 2617544.6944 | 1170198.8495
96 | 2617571.9508 | 1170224.3679 | 2617583.8978 | 1170212.3967 | 2617588.8988 | 1170207.9979 | 2617591.023 | 1170206.4663
97 | 2617482.5508 | 1170093.3306 | 2617484.2583 | 1170091.5023
98 | 2617494.1999 | 1170080.8566 | 2617484.2583 | 1170091.5023

## bus_geodata
| x | y | coords
0 | 2617433.8887 | 1170229.4387
1 | 2617444.1384 | 1170220.7787
2 | 2617432.6198 | 1170230.5108
3 | 2617464.0217 | 1170206.4228
4 | 2617430.9252 | 1170231.9426
5 | 2617467.6516 | 1170205.2105
6 | 2617471.201 | 1170216.9431
7 | 2617427.8059 | 1170234.2946
8 | 2617505.1697 | 1170186.108
9 | 2617485.0641 | 1170236.9771
10 | 2617418.4367 | 1170241.3231
11 | 2617282.4065 | 1170141.596
12 | 2617236.6392 | 1170115.3869
13 | 2617295.6032 | 1170154.6999
14 | 2617231.8334 | 1170113.1305
15 | 2617314.9383 | 1170175.3659
16 | 2617313.9509 | 1170130.2958
17 | 2617211.9033 | 1170106.8028
18 | 2617323.5293 | 1170191.6099
19 | 2617301.0851 | 1170183.3706
20 | 2617323.8078 | 1170129.3459
21 | 2617183.5981 | 1170097.8064
22 | 2617328.5036 | 1170198.3981
23 | 2617307.5415 | 1170204.796
24 | 2617330.1103 | 1170127.7193
25 | 2617328.3794 | 1170134.6417
26 | 2617306.097 | 1170086.4956
27 | 2617292.1044 | 1170071.8681
28 | 2617359.3543 | 1170200.5767
29 | 2617358.4752 | 1170203.0384
30 | 2617370.0665 | 1170173.6681
31 | 2617366.3282 | 1170214.4272
32 | 2617352.8787 | 1170217.663
33 | 2617357.5501 | 1170167.1187
34 | 2617381.6266 | 1170153.0941
35 | 2617373.6946 | 1170223.5037
36 | 2617340.068 | 1170210.9116
37 | 2617345.783 | 1170230.7317
38 | 2617354.4291 | 1170165.4856
39 | 2617393.3829 | 1170137.8188
40 | 2617386.784 | 1170207.4645
41 | 2617386.5239 | 1170240.7482
42 | 2617326.9038 | 1170218.7193
43 | 2617399.3016 | 1170130.7085
44 | 2617378.0072 | 1170087.6967
45 | 2617366.6418 | 1170068.1625
46 | 2617382.8155 | 1170095.7878
47 | 2617380.1728 | 1170076.6555
48 | 2617366.7206 | 1170058.4268
49 | 2617368.2044 | 1170108.3965
50 | 2617355.7679 | 1170049.6368
51 | 2617338.9012 | 1170020.9013
52 | 2617359.5092 | 1170048.6548
53 | 2617357.7009 | 1170116.0034
54 | 2617335.2033 | 1170021.8022
55 | 2617352.3555 | 1170114.7328
56 | 2617278.2972 | 1170056.0005
57 | 2617286.3831 | 1170048.8655
58 | 2617304.5182 | 1170038.1011
59 | 2617334.1018 | 1170141.2705
60 | 2617296.5043 | 1170213.899
61 | 2617490.7798 | 1170244.9178
62 | 2617501.6042 | 1170263.5051
63 | 2617487.6027 | 1170269.0895
64 | 2617531.7599 | 1170253.8282
65 | 2617506.8025 | 1170223.0775
66 | 2617476.1993 | 1170275.7487
67 | 2617555.6862 | 1170238.6174
68 | 2617510.8072 | 1170220.5169
69 | 2617568.4702 | 1170227.6098
70 | 2617525.9326 | 1170210.8457
71 | 2617179.6023 | 1170122.6964
72 | 2617181.5776 | 1170106.9171
73 | 2616991.5769 | 1170111.9024
74 | 2617391.3983 | 1170247.3001
75 | 2617398.3487 | 1170256.636
76 | 2617399.0017 | 1170239.796
77 | 2617390.0812 | 1170203.4242
78 | 2617334.9559 | 1170142.26
79 | 2617332.0971 | 1170104.2015
80 | 2617326.6157 | 1170024.9686
81 | 2617306.2713 | 1170037.048
82 | 2617547.2556 | 1170166.4138
83 | 2617404.6264 | 1170176.411
84 | 2617414.0188 | 1170142.2569
85 | 2617398.099 | 1170186.8
86 | 2617438.5449 | 1170153.234
87 | 2617426.1394 | 1170117.8463
88 | 2617416.961 | 1170111.6611
89 | 2617446.91 | 1170104.8127
90 | 2617444.8794 | 1170081.5704
91 | 2617460.198 | 1170095
92 | 2617544.6944 | 1170198.8495
93 | 2617550.3997 | 1170195.2015
94 | 2617591.023 | 1170206.4663
95 | 2617571.9508 | 1170224.3679
96 | 2617482.5508 | 1170093.3306
97 | 2617484.2583 | 1170091.5023
98 | 2617494.1999 | 1170080.8566
99 | 2617427.9037 | 1170052.7963
100 | 2617370.0665 | 1170173.6681

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1