## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_768-16_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_768-16_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_768-16_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_768-16_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_768-16_0_5_node_115 | 0.4 | n |  | TRUE
5 | bus_LV_768-16_0_5_node_114 | 0.4 | n |  | TRUE
6 | bus_LV_768-16_0_5_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_768-16_0_5_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_768-16_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_768-16_0_5_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_768-16_0_5_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_768-16_0_5_node_123 | 0.4 | n |  | TRUE
12 | bus_LV_768-16_0_5_node_124 | 0.4 | n |  | TRUE
13 | bus_LV_768-16_0_5_node_84 | 0.4 | n |  | TRUE
14 | bus_LV_768-16_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_768-16_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_768-16_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_768-16_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_768-16_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_768-16_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_768-16_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_768-16_0_5_node_131 | 0.4 | n |  | TRUE
22 | bus_LV_768-16_0_5_node_116 | 0.4 | n |  | TRUE
23 | bus_LV_768-16_0_5_node_117 | 0.4 | n |  | TRUE
24 | bus_LV_768-16_0_5_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_768-16_0_5_node_141 | 0.4 | n |  | TRUE
26 | bus_LV_768-16_0_5_node_142 | 0.4 | n |  | TRUE
27 | bus_LV_768-16_0_5_node_132 | 0.4 | n |  | TRUE
28 | bus_LV_768-16_0_5_node_140 | 0.4 | n |  | TRUE
29 | bus_LV_768-16_0_5_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_768-16_0_5_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_768-16_0_5_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_768-16_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_768-16_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_768-16_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_768-16_0_5_node_94 | 0.4 | n |  | TRUE
36 | bus_LV_768-16_0_5_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_768-16_0_5_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_768-16_0_5_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_768-16_0_5_node_102 | 0.4 | n |  | TRUE
40 | bus_LV_768-16_0_5_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_768-16_0_5_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_768-16_0_5_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_768-16_0_5_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_768-16_0_5_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_768-16_0_5_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_768-16_0_5_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_768-16_0_5_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_768-16_0_5_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_768-16_0_5_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_768-16_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_768-16_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_768-16_0_5_node_96 | 0.4 | n |  | TRUE
53 | bus_LV_768-16_0_5_node_127 | 0.4 | n |  | TRUE
54 | bus_LV_768-16_0_5_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_768-16_0_5_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_768-16_0_5_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_768-16_0_5_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_768-16_0_5_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_768-16_0_5_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_768-16_0_5_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_768-16_0_5_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_768-16_0_5_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_768-16_0_5_node_30 | 0.4 | n |  | TRUE
64 | bus_LV_768-16_0_5_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_768-16_0_5_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_768-16_0_5_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_768-16_0_5_node_130 | 0.4 | n |  | TRUE
68 | bus_LV_768-16_0_5_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_768-16_0_5_node_37 | 0.4 | n |  | TRUE
70 | bus_LV_768-16_0_5_node_38 | 0.4 | n |  | TRUE
71 | bus_LV_768-16_0_5_node_39 | 0.4 | n |  | TRUE
72 | bus_LV_768-16_0_5_node_40 | 0.4 | n |  | TRUE
73 | bus_LV_768-16_0_5_node_41 | 0.4 | n |  | TRUE
74 | bus_LV_768-16_0_5_node_42 | 0.4 | n |  | TRUE
75 | bus_LV_768-16_0_5_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_768-16_0_5_node_91 | 0.4 | n |  | TRUE
77 | bus_LV_768-16_0_5_node_118 | 0.4 | n |  | TRUE
78 | bus_LV_768-16_0_5_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_768-16_0_5_node_119 | 0.4 | n |  | TRUE
80 | bus_LV_768-16_0_5_node_45 | 0.4 | n |  | TRUE
81 | bus_LV_768-16_0_5_node_46 | 0.4 | n |  | TRUE
82 | bus_LV_768-16_0_5_node_47 | 0.4 | n |  | TRUE
83 | bus_LV_768-16_0_5_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_768-16_0_5_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_768-16_0_5_node_52 | 0.4 | n |  | TRUE
86 | bus_LV_768-16_0_5_node_53 | 0.4 | n |  | TRUE
87 | bus_LV_768-16_0_5_node_54 | 0.4 | n |  | TRUE
88 | bus_LV_768-16_0_5_node_55 | 0.4 | n |  | TRUE
89 | bus_LV_768-16_0_5_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_768-16_0_5_node_57 | 0.4 | n |  | TRUE
91 | bus_LV_768-16_0_5_node_59 | 0.4 | n |  | TRUE
92 | bus_LV_768-16_0_5_node_58 | 0.4 | n |  | TRUE
93 | bus_LV_768-16_0_5_node_128 | 0.4 | n |  | TRUE
94 | bus_LV_768-16_0_5_node_113 | 0.4 | n |  | TRUE
95 | bus_LV_768-16_0_5_node_129 | 0.4 | n |  | TRUE
96 | bus_LV_768-16_0_5_node_112 | 0.4 | n |  | TRUE
97 | bus_LV_768-16_0_5_node_134 | 0.4 | n |  | TRUE
98 | bus_LV_768-16_0_5_node_135 | 0.4 | n |  | TRUE
99 | bus_LV_768-16_0_5_node_60 | 0.4 | n |  | TRUE
100 | bus_LV_768-16_0_5_node_111 | 0.4 | n |  | TRUE
101 | bus_LV_768-16_0_5_node_65 | 0.4 | n |  | TRUE
102 | bus_LV_768-16_0_5_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_768-16_0_5_node_126 | 0.4 | n |  | TRUE
104 | bus_LV_768-16_0_5_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_768-16_0_5_node_125 | 0.4 | n |  | TRUE
106 | bus_LV_768-16_0_5_node_66 | 0.4 | n |  | TRUE
107 | bus_LV_768-16_0_5_node_67 | 0.4 | n |  | TRUE
108 | bus_LV_768-16_0_5_node_69 | 0.4 | n |  | TRUE
109 | bus_LV_768-16_0_5_node_70 | 0.4 | n |  | TRUE
110 | bus_LV_768-16_0_5_node_71 | 0.4 | n |  | TRUE
111 | bus_LV_768-16_0_5_node_72 | 0.4 | n |  | TRUE
112 | bus_LV_768-16_0_5_node_108 | 0.4 | n |  | TRUE
113 | bus_LV_768-16_0_5_node_109 | 0.4 | n |  | TRUE
114 | bus_LV_768-16_0_5_node_106 | 0.4 | n |  | TRUE
115 | bus_LV_768-16_0_5_node_133 | 0.4 | n |  | TRUE
116 | bus_LV_768-16_0_5_node_107 | 0.4 | n |  | TRUE
117 | bus_LV_768-16_0_5_node_76 | 0.4 | n |  | TRUE
118 | bus_LV_768-16_0_5_node_77 | 0.4 | n |  | TRUE
119 | bus_LV_768-16_0_5_node_78 | 0.4 | n |  | TRUE
120 | bus_LV_768-16_0_5_node_79 | 0.4 | n |  | TRUE
121 | bus_LV_768-16_0_5_node_80 | 0.4 | n |  | TRUE
122 | bus_LV_768-16_0_5_node_81 | 0.4 | n |  | TRUE
123 | bus_LV_768-16_0_5_node_99 | 0.4 | n |  | TRUE
124 | bus_LV_768-16_0_5_node_85 | 0.4 | n |  | TRUE
125 | bus_LV_768-16_0_5_node_86 | 0.4 | n |  | TRUE
126 | bus_LV_768-16_0_5_node_87 | 0.4 | n |  | TRUE
127 | bus_LV_768-16_0_5_node_88 | 0.4 | n |  | TRUE
128 | bus_LV_768-16_0_5_node_92 | 0.4 | n |  | TRUE
129 | bus_LV_768-16_0_5_node_93 | 0.4 | n |  | TRUE
130 | bus_LV_768-16_0_5_node_95 | 0.4 | n |  | TRUE
131 | bus_LV_768-16_0_5_node_100 | 0.4 | n |  | TRUE
132 | bus_LV_768-16_0_5_node_101 | 0.4 | n |  | TRUE
133 | bus_LV_768-16_0_5_node_110 | 0.4 | n |  | TRUE
134 | bus_LV_768-16_0_5_node_104 | 0.4 | n |  | TRUE
135 | bus_LV_768-16_0_5_node_120 | 0.4 | n |  | TRUE
136 | bus_LV_768-16_0_5_node_121 | 0.4 | n |  | TRUE
137 | bus_LV_768-16_0_5_node_122 | 0.4 | n |  | TRUE
138 | bus_LV_768-16_0_5_node_138 | 0.4 | n |  | TRUE
139 | bus_LV_768-16_0_5_node_137 | 0.4 | n |  | TRUE
140 | bus_LV_768-16_0_5_node_139 | 0.4 | n |  | TRUE
141 | bus_LV_768-16_0_5_node_136 | 0.4 | n |  | TRUE
142 | bus_MV_118_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_768-16_0_5_load_0 | 0 | 0.017994 | 0.0045096 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_768-16_0_5_load_1 | 1 | 0.031017 | 0.0077736 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_768-16_0_5_load_2 | 2 | 0.0055639 | 0.0013945 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_768-16_0_5_load_3 | 3 | 0.018722 | 0.0046921 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_768-16_0_5_load_114 | 5 | 0.0044884 | 0.0011249 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_768-16_0_5_load_75 | 6 | 0.00091979 | 0.00023052 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_768-16_0_5_load_4 | 8 | 0.0021427 | 0.00053701 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_768-16_0_5_load_123 | 11 | 0.0039296 | 0.00098484 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_768-16_0_5_load_124 | 12 | 0.008856 | 0.0022195 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_768-16_0_5_load_84 | 13 | 0.00085 | 0.00021303 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_768-16_0_5_load_6 | 14 | 0.0021611 | 0.00054163 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_768-16_0_5_load_7 | 15 | 0.0059806 | 0.0014989 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_768-16_0_5_load_9 | 17 | 0.0027941 | 0.00070027 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_768-16_0_5_load_10 | 18 | 0.0030234 | 0.00075774 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_768-16_0_5_load_12 | 19 | 0.0019415 | 0.00048659 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_768-16_0_5_load_13 | 20 | 0.00079778 | 0.00019994 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_768-16_0_5_load_131 | 21 | 0.0090772 | 0.0022749 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_768-16_0_5_load_116 | 22 | 0.0007007 | 0.00017561 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_768-16_0_5_load_117 | 23 | 0.00057713 | 0.00014464 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_768-16_0_5_load_73 | 24 | 0.00094866 | 0.00023776 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_768-16_0_5_load_142 | 26 | 0.00018495 | 4.6352e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_768-16_0_5_load_132 | 27 | 0.013092 | 0.0032812 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_768-16_0_5_load_89 | 29 | 0.00073164 | 0.00018337 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_768-16_0_5_load_15 | 30 | 0.0033162 | 0.00083112 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_768-16_0_5_load_16 | 31 | 0.0022681 | 0.00056844 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_768-16_0_5_load_18 | 33 | 0.0032773 | 0.00082138 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_768-16_0_5_load_94 | 35 | 0.0027906 | 0.00069939 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_768-16_0_5_load_64 | 36 | 0.0037628 | 0.00094305 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_768-16_0_5_load_102 | 39 | 0.0033694 | 0.00084445 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_768-16_0_5_load_63 | 40 | 0.0029658 | 0.00074329 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_768-16_0_5_load_61 | 41 | 0.0052075 | 0.0013051 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_768-16_0_5_load_20 | 42 | 0.002095 | 0.00052505 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_768-16_0_5_load_21 | 43 | 0.0020881 | 0.00052334 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_768-16_0_5_load_23 | 45 | 0.00055742 | 0.0001397 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_768-16_0_5_load_25 | 47 | 0.00075329 | 0.00018879 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_768-16_0_5_load_26 | 48 | 0.00086209 | 0.00021606 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_768-16_0_5_load_27 | 49 | 0.0010035 | 0.00025149 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_768-16_0_5_load_28 | 50 | 0.002039 | 0.00051102 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_768-16_0_5_load_127 | 53 | 0.0010221 | 0.00025616 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_768-16_0_5_load_50 | 55 | 0.0010452 | 0.00026196 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_768-16_0_5_load_105 | 56 | 0.0013862 | 0.00034741 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_768-16_0_5_load_97 | 57 | 0.001488 | 0.00037294 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_768-16_0_5_load_36 | 59 | 0.0013999 | 0.00035084 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_768-16_0_5_load_32 | 60 | 0.0012768 | 0.00031999 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_768-16_0_5_load_48 | 61 | 0.0013591 | 0.00034063 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_768-16_0_5_load_68 | 62 | 0.0015932 | 0.00039929 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_768-16_0_5_load_30 | 63 | 0.0010307 | 0.00025832 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_768-16_0_5_load_31 | 64 | 0.0011323 | 0.00028378 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_768-16_0_5_load_33 | 65 | 0.0021364 | 0.00053543 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_768-16_0_5_load_35 | 66 | 0.00099562 | 0.00024953 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_768-16_0_5_load_130 | 67 | 0.0041783 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_768-16_0_5_load_83 | 68 | 0.0014089 | 0.00035309 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_768-16_0_5_load_37 | 69 | 0.0014685 | 0.00036803 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_768-16_0_5_load_38 | 70 | 0.0015996 | 0.0004009 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_768-16_0_5_load_39 | 71 | 0.0026593 | 0.00066649 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_768-16_0_5_load_40 | 72 | 0.0020845 | 0.00052242 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_768-16_0_5_load_42 | 74 | 0.002889 | 0.00072406 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_768-16_0_5_load_44 | 75 | 0.0025087 | 0.00062875 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_768-16_0_5_load_91 | 76 | 0.0043555 | 0.0010916 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_768-16_0_5_load_118 | 77 | 0.0023968 | 0.00060069 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_768-16_0_5_load_90 | 78 | 0.0038371 | 0.00096167 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_768-16_0_5_load_119 | 79 | 0.0066332 | 0.0016624 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_768-16_0_5_load_45 | 80 | 0.0010689 | 0.00026789 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_768-16_0_5_load_46 | 81 | 0.0022475 | 0.00056328 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_768-16_0_5_load_49 | 83 | 0.001203 | 0.0003015 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_768-16_0_5_load_51 | 84 | 0.0022975 | 0.00057581 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_768-16_0_5_load_52 | 85 | 0.0019121 | 0.00047921 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_768-16_0_5_load_53 | 86 | 0.00073739 | 0.00018481 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_768-16_0_5_load_55 | 88 | 0.00073036 | 0.00018304 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_768-16_0_5_load_74 | 89 | 0.0025391 | 0.00063636 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_768-16_0_5_load_57 | 90 | 0.0020588 | 0.00051598 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_768-16_0_5_load_59 | 91 | 0.0018904 | 0.00047378 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_768-16_0_5_load_58 | 92 | 0.0013538 | 0.0003393 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_768-16_0_5_load_129 | 95 | 0.0035742 | 0.00089578 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_768-16_0_5_load_134 | 97 | 0.0023178 | 0.00058088 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_768-16_0_5_load_135 | 98 | 0.001338 | 0.00033533 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_768-16_0_5_load_60 | 99 | 0.0025814 | 0.00064697 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_768-16_0_5_load_111 | 100 | 0.0021585 | 0.00054096 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_768-16_0_5_load_98 | 102 | 0.0031553 | 0.0007908 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_768-16_0_5_load_126 | 103 | 0.010158 | 0.0025458 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_768-16_0_5_load_103 | 104 | 0.0024255 | 0.00060789 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_768-16_0_5_load_66 | 106 | 0.0054269 | 0.0013601 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_768-16_0_5_load_67 | 107 | 0.0014675 | 0.0003678 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_768-16_0_5_load_69 | 108 | 0.0026885 | 0.0006738 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_768-16_0_5_load_72 | 111 | 0.00038035 | 9.5324e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_768-16_0_5_load_108 | 112 | 0.00045769 | 0.00011471 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_768-16_0_5_load_109 | 113 | 0.0026276 | 0.00065853 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_768-16_0_5_load_106 | 114 | 0.0026755 | 0.00067055 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_768-16_0_5_load_107 | 116 | 0.0010987 | 0.00027537 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_768-16_0_5_load_76 | 117 | 0.00084166 | 0.00021094 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_768-16_0_5_load_77 | 118 | 0.00066404 | 0.00016642 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_768-16_0_5_load_79 | 120 | 0.00067453 | 0.00016905 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_768-16_0_5_load_80 | 121 | 0.00083434 | 0.0002091 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_768-16_0_5_load_81 | 122 | 0.0012493 | 0.00031312 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_768-16_0_5_load_99 | 123 | 0.0019448 | 0.0004874 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_768-16_0_5_load_85 | 124 | 0.00048714 | 0.00012209 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_768-16_0_5_load_88 | 127 | 0.00054794 | 0.00013733 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_768-16_0_5_load_92 | 128 | 0.0003951 | 9.9022e-05 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_768-16_0_5_load_93 | 129 | 0.0014248 | 0.00035709 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_768-16_0_5_load_95 | 130 | 0.0034371 | 0.00086142 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_768-16_0_5_load_100 | 131 | 0.00073536 | 0.0001843 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_768-16_0_5_load_110 | 133 | 0.00072643 | 0.00018206 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_768-16_0_5_load_120 | 135 | 0.0014409 | 0.00036113 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_768-16_0_5_load_121 | 136 | 0.0013125 | 0.00032894 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_768-16_0_5_load_122 | 137 | 0.00092179 | 0.00023102 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_768-16_0_5_load_138 | 138 | 0.0099674 | 0.0024981 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_768-16_0_5_load_137 | 139 | 0.010456 | 0.0026205 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_768-16_0_5_load_136 | 141 | 0.0016761 | 0.00042007 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 123 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_768-16_0_5_line_0 |  | 0 | 1 | 0.0084416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_768-16_0_5_line_1 |  | 0 | 2 | 0.032623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_768-16_0_5_line_2 |  | 1 | 3 | 0.017965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_768-16_0_5_line_3 |  | 3 | 4 | 0.067844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_768-16_0_5_line_4 |  | 4 | 5 | 0.01729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_768-16_0_5_line_5 |  | 5 | 9 | 0.071452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_768-16_0_5_line_6 |  | 6 | 7 | 0.037546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_768-16_0_5_line_7 |  | 7 | 89 | 0.062315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_768-16_0_5_line_8 |  | 7 | 87 | 0.0066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_768-16_0_5_line_9 |  | 8 | 9 | 0.030341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_768-16_0_5_line_10 |  | 9 | 10 | 0.11189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_768-16_0_5_line_11 |  | 10 | 20 | 0.019376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_768-16_0_5_line_12 |  | 10 | 16 | 0.013473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_768-16_0_5_line_13 |  | 11 | 12 | 0.01315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_768-16_0_5_line_14 |  | 11 | 13 | 0.1494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_768-16_0_5_line_15 |  | 12 | 105 | 0.016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_768-16_0_5_line_16 |  | 13 | 124 | 0.050696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_768-16_0_5_line_17 |  | 13 | 125 | 0.027103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_768-16_0_5_line_18 |  | 14 | 15 | 0.0097053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_768-16_0_5_line_19 |  | 14 | 16 | 0.039829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_768-16_0_5_line_20 |  | 15 | 17 | 0.039298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_768-16_0_5_line_21 |  | 16 | 18 | 0.026371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_768-16_0_5_line_22 |  | 17 | 19 | 0.015703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_768-16_0_5_line_23 |  | 19 | 21 | 0.02494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_768-16_0_5_line_24 |  | 20 | 25 | 0.089379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_768-16_0_5_line_25 |  | 20 | 26 | 0.024766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_768-16_0_5_line_26 |  | 21 | 27 | 0.012919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_768-16_0_5_line_27 |  | 22 | 23 | 0.032919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_768-16_0_5_line_28 |  | 22 | 24 | 0.018633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_768-16_0_5_line_29 |  | 23 | 123 | 0.055544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_768-16_0_5_line_30 |  | 24 | 88 | 0.042921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_768-16_0_5_line_31 |  | 25 | 28 | 0.018186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_768-16_0_5_line_32 |  | 26 | 29 | 0.007233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_768-16_0_5_line_33 |  | 28 | 140 | 0.061481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_768-16_0_5_line_34 |  | 29 | 126 | 0.036129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_768-16_0_5_line_35 |  | 30 | 31 | 0.0036689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_768-16_0_5_line_36 |  | 31 | 32 | 0.011874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_768-16_0_5_line_37 |  | 32 | 33 | 0.013267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_768-16_0_5_line_38 |  | 32 | 34 | 0.005348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_768-16_0_5_line_39 |  | 33 | 35 | 0.015881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_768-16_0_5_line_40 |  | 34 | 36 | 0.012629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_768-16_0_5_line_41 |  | 34 | 37 | 0.029183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_768-16_0_5_line_42 |  | 35 | 38 | 0.001783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_768-16_0_5_line_43 |  | 36 | 39 | 0.022196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_768-16_0_5_line_44 |  | 37 | 40 | 0.0066254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_768-16_0_5_line_45 |  | 37 | 41 | 0.036439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_768-16_0_5_line_46 |  | 38 | 76 | 0.023548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_768-16_0_5_line_47 |  | 38 | 73 | 0.009348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_768-16_0_5_line_48 |  | 39 | 104 | 0.010344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_768-16_0_5_line_49 |  | 40 | 101 | 0.021782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_768-16_0_5_line_50 |  | 42 | 43 | 0.016844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_768-16_0_5_line_51 |  | 42 | 44 | 0.03226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_768-16_0_5_line_52 |  | 43 | 45 | 0.019202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_768-16_0_5_line_53 |  | 44 | 46 | 0.007256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_768-16_0_5_line_54 |  | 44 | 47 | 0.11968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_768-16_0_5_line_55 |  | 45 | 48 | 0.037657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_768-16_0_5_line_56 |  | 46 | 49 | 0.019146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_768-16_0_5_line_57 |  | 46 | 50 | 0.013941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_768-16_0_5_line_58 |  | 47 | 51 | 0.0037982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_768-16_0_5_line_59 |  | 48 | 52 | 0.0073584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_768-16_0_5_line_60 |  | 49 | 53 | 0.0026981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_768-16_0_5_line_61 |  | 50 | 54 | 0.0091216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_768-16_0_5_line_62 |  | 51 | 55 | 0.011322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_768-16_0_5_line_63 |  | 51 | 56 | 0.024164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_768-16_0_5_line_64 |  | 52 | 57 | 0.040445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_768-16_0_5_line_65 |  | 52 | 58 | 0.007856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_768-16_0_5_line_66 |  | 54 | 59 | 0.019476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_768-16_0_5_line_67 |  | 54 | 60 | 0.057465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_768-16_0_5_line_68 |  | 55 | 61 | 0.052533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_768-16_0_5_line_69 |  | 56 | 62 | 0.044357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_768-16_0_5_line_70 |  | 57 | 102 | 0.0063855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_768-16_0_5_line_71 |  | 58 | 123 | 0.025716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_768-16_0_5_line_72 |  | 58 | 120 | 0.047115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_768-16_0_5_line_73 |  | 59 | 68 | 0.0010699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_768-16_0_5_line_74 |  | 60 | 63 | 0.015732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_768-16_0_5_line_75 |  | 61 | 81 | 0.0040383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_768-16_0_5_line_76 |  | 62 | 107 | 0.04244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_768-16_0_5_line_77 |  | 63 | 64 | 0.020402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_768-16_0_5_line_78 |  | 64 | 65 | 0.0088308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_768-16_0_5_line_79 |  | 65 | 66 | 0.0082881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_768-16_0_5_line_80 |  | 66 | 67 | 0.0092955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_768-16_0_5_line_81 |  | 69 | 70 | 0.0079456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_768-16_0_5_line_82 |  | 69 | 71 | 0.010593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_768-16_0_5_line_83 |  | 70 | 72 | 0.016348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_768-16_0_5_line_84 |  | 71 | 73 | 0.011854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_768-16_0_5_line_85 |  | 72 | 74 | 0.014939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_768-16_0_5_line_86 |  | 73 | 75 | 0.032084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_768-16_0_5_line_87 |  | 75 | 77 | 0.0061447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_768-16_0_5_line_88 |  | 76 | 78 | 0.0087039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_768-16_0_5_line_89 |  | 77 | 79 | 0.011033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_768-16_0_5_line_90 |  | 78 | 128 | 0.0028288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_768-16_0_5_line_91 |  | 80 | 81 | 0.016648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_768-16_0_5_line_92 |  | 80 | 82 | 0.014525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_768-16_0_5_line_93 |  | 82 | 83 | 0.02438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_768-16_0_5_line_94 |  | 83 | 84 | 0.026632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_768-16_0_5_line_95 |  | 85 | 86 | 0.025162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_768-16_0_5_line_96 |  | 86 | 87 | 0.067115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_768-16_0_5_line_97 |  | 87 | 88 | 0.067211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_768-16_0_5_line_98 |  | 90 | 91 | 9.3683e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_768-16_0_5_line_99 |  | 91 | 94 | 0.012942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_768-16_0_5_line_100 |  | 92 | 93 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_768-16_0_5_line_101 |  | 93 | 97 | 0.033098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_768-16_0_5_line_102 |  | 93 | 98 | 0.012742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_768-16_0_5_line_103 |  | 93 | 94 | 0.023816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_768-16_0_5_line_104 |  | 94 | 95 | 0.015585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_768-16_0_5_line_105 |  | 94 | 96 | 0.003796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_768-16_0_5_line_106 |  | 95 | 115 | 0.05128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_768-16_0_5_line_107 |  | 96 | 100 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_768-16_0_5_line_108 |  | 96 | 99 | 0.026499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_768-16_0_5_line_109 |  | 98 | 141 | 0.010077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_768-16_0_5_line_110 |  | 100 | 133 | 0.012245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_768-16_0_5_line_111 |  | 101 | 102 | 0.033498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_768-16_0_5_line_112 |  | 101 | 103 | 0.036315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
113 | LV_768-16_0_5_line_113 |  | 103 | 105 | 0.0081083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_768-16_0_5_line_114 |  | 104 | 134 | 0.012308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_768-16_0_5_line_115 |  | 106 | 107 | 0.31514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_768-16_0_5_line_116 |  | 108 | 109 | 0.035656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_768-16_0_5_line_117 |  | 109 | 110 | 0.048724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_768-16_0_5_line_118 |  | 109 | 111 | 0.032533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_768-16_0_5_line_119 |  | 110 | 112 | 0.046181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_768-16_0_5_line_120 |  | 110 | 113 | 0.10046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_768-16_0_5_line_121 |  | 111 | 114 | 0.0073841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_768-16_0_5_line_122 |  | 113 | 115 | 0.03892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_768-16_0_5_line_123 |  | 114 | 116 | 0.011082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_768-16_0_5_line_124 |  | 117 | 118 | 0.026093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_768-16_0_5_line_125 |  | 117 | 119 | 0.021654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_768-16_0_5_line_126 |  | 118 | 120 | 0.012242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_768-16_0_5_line_127 |  | 119 | 121 | 0.022335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_768-16_0_5_line_128 |  | 119 | 122 | 0.089861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_768-16_0_5_line_129 |  | 125 | 126 | 0.01016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
130 | LV_768-16_0_5_line_130 |  | 126 | 127 | 0.013811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_768-16_0_5_line_131 |  | 128 | 129 | 0.015791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_768-16_0_5_line_132 |  | 129 | 130 | 0.009788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_768-16_0_5_line_133 |  | 130 | 131 | 0.010432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_768-16_0_5_line_134 |  | 131 | 132 | 0.0059704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_768-16_0_5_line_135 |  | 132 | 133 | 0.0019254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_768-16_0_5_line_136 |  | 134 | 135 | 0.011117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_768-16_0_5_line_137 |  | 134 | 136 | 0.0091033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_768-16_0_5_line_138 |  | 135 | 137 | 0.015539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_768-16_0_5_line_139 |  | 138 | 139 | 0.049553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_768-16_0_5_line_140 |  | 139 | 140 | 0.044078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_768-16_0_5_trafo_99 | 0.63 MVA 20/0.4 kV | 142 | 123 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2617862.4712 | 1170118.0446 | 2617860.4141 | 1170119.9744 | 2617856.4108 | 1170123.9201
1 | 2617862.4712 | 1170118.0446 | 2617873.5028 | 1170107.6959 | 2617886.7539 | 1170096.2699
2 | 2617856.4108 | 1170123.9201 | 2617848.6741 | 1170131.5455 | 2617843.755 | 1170136.6684
3 | 2617861.8538 | 1170202.0534 | 2617843.755 | 1170136.6684
4 | 2617861.8538 | 1170202.0534 | 2617860.4399 | 1170201.5712 | 2617858.8492 | 1170201.3553 | 2617856.9051 | 1170201.6497 | 2617855.1513 | 1170202.2559 | 2617847.7984 | 1170207.6035 | 2617846.7042 | 1170208.2628
5 | 2617787.6394 | 1170231.5599 | 2617788.6544 | 1170229.7953 | 2617796.1984 | 1170216.6999 | 2617799.9983 | 1170212.3534 | 2617801.6539 | 1170211.3466 | 2617804.9526 | 1170210.9006 | 2617810.7871 | 1170211.8961 | 2617821.7527 | 1170213.7517 | 2617828.453 | 1170214.3051 | 2617832.2483 | 1170214.1052 | 2617838.4042 | 1170212.5003 | 2617843.1538 | 1170210.4022 | 2617846.7042 | 1170208.2628
6 | 2617754.8383 | 1169853.5947 | 2617763.6134 | 1169866.8161 | 2617777.9475 | 1169883.0784
7 | 2617754.8383 | 1169853.5947 | 2617765.0801 | 1169854.6254 | 2617800.614 | 1169861.6782 | 2617816.3519 | 1169864.3928
8 | 2617754.8383 | 1169853.5947 | 2617748.2526 | 1169852.9305
9 | 2617787.6394 | 1170231.5599 | 2617790.068 | 1170201.3158
10 | 2617710.9517 | 1170189.1459 | 2617717.9987 | 1170191.5012 | 2617737.4629 | 1170199.0067 | 2617755.2993 | 1170205.896 | 2617766.0595 | 1170209.9409 | 2617800.1665 | 1170222.7702 | 2617800.6403 | 1170222.9495 | 2617797.5985 | 1170227.0537 | 2617796.5336 | 1170227.5508 | 2617791.8987 | 1170229.6493 | 2617787.6394 | 1170231.5599
11 | 2617710.9517 | 1170189.1459 | 2617709.7517 | 1170188.7533 | 2617699.9968 | 1170186.2456 | 2617692.0056 | 1170184.9548
12 | 2617710.9517 | 1170189.1459 | 2617714.0989 | 1170180.4063 | 2617715.2583 | 1170176.3855
13 | 2617531.2042 | 1170048.0047 | 2617526.8494 | 1170051.1491 | 2617523.4517 | 1170053.9962 | 2617521.1343 | 1170056.4091
14 | 2617531.2042 | 1170048.0047 | 2617634.6238 | 1170155.8224
15 | 2617509.4635 | 1170068.0071 | 2617511.2499 | 1170066.7005 | 2617521.1343 | 1170056.4091
16 | 2617668.2021 | 1170117.8956 | 2617645.4005 | 1170142.1966 | 2617634.6238 | 1170155.8224
17 | 2617622.0646 | 1170179.1914 | 2617622.0001 | 1170177.7016 | 2617622.3988 | 1170174.8013 | 2617623.2009 | 1170172.6025 | 2617626.6 | 1170166.5983 | 2617629.4969 | 1170162.3046 | 2617634.6238 | 1170155.8224
18 | 2617729.6604 | 1170139.2897 | 2617733.4118 | 1170130.3387
19 | 2617715.2583 | 1170176.3855 | 2617718.2015 | 1170166.8004 | 2617728.1027 | 1170143.0064 | 2617729.6604 | 1170139.2897
20 | 2617749.6767 | 1170094.5672 | 2617735.3992 | 1170125.5969 | 2617733.4118 | 1170130.3387
21 | 2617715.2583 | 1170176.3855 | 2617717.3021 | 1170176.0469 | 2617721.4015 | 1170173.9023 | 2617722.8717 | 1170173.4842 | 2617725.299 | 1170172.8021 | 2617729.1025 | 1170172.402 | 2617731.5043 | 1170172.598 | 2617734.3021 | 1170173.3955 | 2617735.8981 | 1170174.4008 | 2617739.166 | 1170177.6291
22 | 2617749.6767 | 1170094.5672 | 2617751.5001 | 1170090.6044 | 2617756.695 | 1170080.523
23 | 2617767.7323 | 1170058.1613 | 2617761.6034 | 1170071.0021 | 2617761.1263 | 1170071.9233 | 2617756.695 | 1170080.523
24 | 2617692.0056 | 1170184.9548 | 2617689.899 | 1170196.2988 | 2617688.3 | 1170201.4967 | 2617684.7978 | 1170208.7012 | 2617656.1983 | 1170250.9053 | 2617649.0575 | 1170262.3124
25 | 2617692.0056 | 1170184.9548 | 2617690.7515 | 1170184.751 | 2617671.004 | 1170182.5031 | 2617667.3852 | 1170182.4078
26 | 2617773.2973 | 1170046.502 | 2617767.7323 | 1170058.1613
27 | 2617637.0855 | 1169917.7595 | 2617609.0681 | 1169935.0414
28 | 2617637.0855 | 1169917.7595 | 2617652.9442 | 1169907.9774
29 | 2617609.0681 | 1169935.0414 | 2617601.3192 | 1169939.8211 | 2617587.9145 | 1169947.7193 | 2617576.7194 | 1169956.1687 | 2617569.2013 | 1169960.4489 | 2617562.1809 | 1169964.6936
30 | 2617689.4138 | 1169885.3459 | 2617662.3239 | 1169902.1917 | 2617652.9442 | 1169907.9774
31 | 2617652.6011 | 1170280.0984 | 2617651.1989 | 1170270.4005 | 2617649.8035 | 1170266.2054 | 2617649.0575 | 1170262.3124
32 | 2617667.3852 | 1170182.4078 | 2617661.5026 | 1170182.2529 | 2617660.157 | 1170182.338
33 | 2617652.6011 | 1170280.0984 | 2617652.5977 | 1170286.5016 | 2617651.9998 | 1170289.5014 | 2617651.0008 | 1170290.9992 | 2617649.6508 | 1170292.207 | 2617654.438 | 1170295.5004 | 2617659.5994 | 1170299.0618 | 2617661.3478 | 1170300.2675 | 2617674.1169 | 1170307.9755 | 2617690.6434 | 1170317.9179
34 | 2617624.8286 | 1170188.9266 | 2617631.4994 | 1170186.5005 | 2617641.0005 | 1170184.2494 | 2617649.749 | 1170182.9966 | 2617660.157 | 1170182.338
35 | 2617436.0291 | 1169995.5522 | 2617432.8921 | 1169997.4547
36 | 2617446.1816 | 1169989.395 | 2617436.0291 | 1169995.5522
37 | 2617446.1816 | 1169989.395 | 2617440.7994 | 1169980.0525 | 2617439.4221 | 1169977.9845
38 | 2617448.7617 | 1169994.0826 | 2617446.1816 | 1169989.395
39 | 2617439.4221 | 1169977.9845 | 2617435.7031 | 1169972.4006 | 2617429.676 | 1169965.4863
40 | 2617448.7617 | 1169994.0826 | 2617452.0026 | 1169989.8454 | 2617455.5504 | 1169985.3534 | 2617456.5104 | 1169984.1108
41 | 2617448.7617 | 1169994.0826 | 2617457.1968 | 1170008.6033 | 2617460.998 | 1170014.3505 | 2617464.4283 | 1170018.6737
42 | 2617428.5045 | 1169964.1422 | 2617429.676 | 1169965.4863
43 | 2617456.5104 | 1169984.1108 | 2617458.9525 | 1169980.95 | 2617465.8998 | 1169972.9549 | 2617471.7687 | 1169968.1105
44 | 2617464.4283 | 1170018.6737 | 2617466.6476 | 1170021.1481 | 2617468.9902 | 1170023.4746
45 | 2617464.4283 | 1170018.6737 | 2617444.5026 | 1170030.1996 | 2617436.797 | 1170035.9024 | 2617433.9489 | 1170038.4683
46 | 2617428.5045 | 1169964.1422 | 2617422.1974 | 1169967.7036 | 2617408.1747 | 1169976.0237
47 | 2617428.5045 | 1169964.1422 | 2617422.7537 | 1169957.9002 | 2617422.1127 | 1169957.3092
48 | 2617479.746 | 1169961.5256 | 2617471.7687 | 1169968.1105
49 | 2617484.7374 | 1170038.5204 | 2617477.9999 | 1170032.2533 | 2617473.5517 | 1170028.0049 | 2617468.9902 | 1170023.4746
50 | 2617515.2146 | 1169912.4631 | 2617509.1725 | 1169896.7399
51 | 2617497.6006 | 1169866.6266 | 2617509.1725 | 1169896.7399
52 | 2617515.2146 | 1169912.4631 | 2617519.493 | 1169923.5967 | 2617521.9485 | 1169930.4444
53 | 2617490.4279 | 1169867.8508 | 2617497.6006 | 1169866.6266
54 | 2617497.6006 | 1169866.6266 | 2617480.4809 | 1169823.2439 | 2617468.09 | 1169790.2247 | 2617457.7425 | 1169764.8708 | 2617455.5357 | 1169758.0832 | 2617455.0081 | 1169754.8689
55 | 2617531.1813 | 1169966.7713 | 2617530.6498 | 1169959.8475 | 2617527.1507 | 1169944.952 | 2617521.9485 | 1169930.4444
56 | 2617490.4279 | 1169867.8508 | 2617488.9531 | 1169864.6005 | 2617486.8033 | 1169861.904 | 2617477.9274 | 1169853.6394
57 | 2617490.4279 | 1169867.8508 | 2617488.2543 | 1169868.1002 | 2617479.4512 | 1169869.5977 | 2617476.7898 | 1169870.5412
58 | 2617454.3929 | 1169751.1208 | 2617455.0081 | 1169754.8689
59 | 2617530.8914 | 1169974.1109 | 2617531.2985 | 1169968.298 | 2617531.1813 | 1169966.7713
60 | 2617475.9527 | 1169851.8008 | 2617477.9274 | 1169853.6394
61 | 2617468.1925 | 1169873.5892 | 2617476.7898 | 1169870.5412
62 | 2617454.3929 | 1169751.1208 | 2617448.6394 | 1169748.4028 | 2617447.2128 | 1169744.3077 | 2617447.3534 | 1169743.7018
63 | 2617454.3929 | 1169751.1208 | 2617454.9055 | 1169740.5726 | 2617457.8624 | 1169731.4321 | 2617459.7613 | 1169727.9161
64 | 2617530.8914 | 1169974.1109 | 2617530.8521 | 1169974.4554 | 2617529.6978 | 1169979.3545 | 2617526.3512 | 1169988.3493 | 2617522.8522 | 1169994.4533 | 2617520.8703 | 1169997.1934 | 2617517.6516 | 1170001.653 | 2617511.4883 | 1170008.9488
65 | 2617538.718 | 1169974.2004 | 2617535.7024 | 1169974.6029 | 2617530.8914 | 1169974.1109
66 | 2617468.1925 | 1169873.5892 | 2617466.8503 | 1169877.3539 | 2617464.7029 | 1169879.1041 | 2617462.3506 | 1169880.2979 | 2617457.4494 | 1169881.8512 | 2617452.5209 | 1169881.7273
67 | 2617468.1925 | 1169873.5892 | 2617466.7527 | 1169874.0964 | 2617461.8544 | 1169874.6492 | 2617459.353 | 1169874.453 | 2617456.3485 | 1169873.655 | 2617445.1018 | 1169868.2308 | 2617436.2006 | 1169863.9473 | 2617431.0038 | 1169861.8979 | 2617425.9044 | 1169860.5714 | 2617423.1521 | 1169859.8519 | 2617413.9477 | 1169858.3494
68 | 2617447.3534 | 1169743.7018 | 2617449.9169 | 1169732.6541 | 2617447.2519 | 1169730.8121 | 2617455.2282 | 1169705.7782 | 2617444.7892 | 1169700.5428
69 | 2617484.1486 | 1169690.8914 | 2617481.9183 | 1169694.4054 | 2617469.7322 | 1169712.0345 | 2617461.8548 | 1169724.0399 | 2617459.7613 | 1169727.9161
70 | 2617511.4883 | 1170008.9488 | 2617507.3676 | 1170013.8268
71 | 2617538.718 | 1169974.2004 | 2617540.6468 | 1169973.9503 | 2617543.9533 | 1169973.5042 | 2617547.8039 | 1169972.7483 | 2617551.2511 | 1169971.3021 | 2617562.1809 | 1169964.6936
72 | 2617538.718 | 1169974.2004 | 2617538.5032 | 1169969.1528 | 2617538.2016 | 1169965.0054 | 2617537.8539 | 1169960.9023 | 2617535.1484 | 1169949.3997 | 2617533.2563 | 1169939.6782 | 2617535.1174 | 1169933.7584 | 2617538.1938 | 1169928.7701
73 | 2617451.4514 | 1169881.7004 | 2617452.5209 | 1169881.7273
74 | 2617398.8019 | 1169860.4729 | 2617401.7017 | 1169858.7005 | 2617406.0039 | 1169857.9014 | 2617413.6539 | 1169858.3015 | 2617413.9477 | 1169858.3494
75 | 2617441.1794 | 1169698.7325 | 2617444.7892 | 1169700.5428
76 | 2617502.6945 | 1169652.7811 | 2617490.4758 | 1169680.1008 | 2617486.3765 | 1169687.3814 | 2617484.1486 | 1169690.8914
77 | 2617398.8019 | 1169860.4729 | 2617398.0993 | 1169860.9023 | 2617390.9357 | 1169866.9625 | 2617384.1305 | 1169859.3701
78 | 2617378.2364 | 1169852.7942 | 2617384.1305 | 1169859.3701
79 | 2617378.2364 | 1169852.7942 | 2617372.7044 | 1169846.6224
80 | 2617366.5002 | 1169839.7005 | 2617372.7044 | 1169846.6224
81 | 2617407.0527 | 1169934.2108 | 2617406.9538 | 1169934.2982 | 2617405.5516 | 1169937.6514 | 2617405.4996 | 1169939.7523 | 2617406.0523 | 1169941.7549 | 2617406.0523 | 1169941.7549
82 | 2617413.3352 | 1169949.3427 | 2617407.4536 | 1169944.0046 | 2617406.0523 | 1169941.7549
83 | 2617407.0527 | 1169934.2108 | 2617419.3057 | 1169923.3891
84 | 2617422.1127 | 1169957.3092 | 2617413.3352 | 1169949.3427
85 | 2617430.5025 | 1169913.5002 | 2617419.3057 | 1169923.3891
86 | 2617422.1127 | 1169957.3092 | 2617446.3142 | 1169936.2461
87 | 2617450.8077 | 1169932.0575 | 2617447.8543 | 1169934.9057 | 2617446.3142 | 1169936.2461
88 | 2617400.6892 | 1169980.4651 | 2617408.1747 | 1169976.0237
89 | 2617458.7492 | 1169924.3986 | 2617450.8077 | 1169932.0575
90 | 2617400.6892 | 1169980.4651 | 2617398.2564 | 1169981.9086
91 | 2617441.1794 | 1169698.7325 | 2617426.2979 | 1169691.2691
92 | 2617413.3139 | 1169684.7574 | 2617426.2979 | 1169691.2691
93 | 2617413.3139 | 1169684.7574 | 2617401.804 | 1169706.2496
94 | 2617390.3008 | 1169730.2572 | 2617391.7511 | 1169727.6501 | 2617400.5515 | 1169708.5881 | 2617401.804 | 1169706.2496
95 | 2617785.1895 | 1169797.1585 | 2617786.194 | 1169796.1026 | 2617798.3259 | 1169786.7337 | 2617805.8326 | 1169783.0181
96 | 2617748.2526 | 1169852.9305 | 2617777.03 | 1169805.7359 | 2617785.1895 | 1169797.1585
97 | 2617748.2526 | 1169852.9305 | 2617704.6887 | 1169875.8472 | 2617689.4138 | 1169885.3459
98 | 2617333.1361 | 1170009.0262 | 2617333.0889 | 1170008.9453
99 | 2617335.2033 | 1170021.8022 | 2617333.1361 | 1170009.0262
100 | 2617321.5322 | 1170002.7978 | 2617321.8364 | 1169985.2767
101 | 2617344.8975 | 1169981.7544 | 2617324.8026 | 1169993.6025 | 2617323.3491 | 1169996.1997 | 2617321.5322 | 1170002.7978
102 | 2617321.5322 | 1170002.7978 | 2617320.7984 | 1170002.5511 | 2617317.402 | 1170002.3523 | 2617315.5494 | 1170002.7027 | 2617309.6693 | 1170005.8721
103 | 2617335.2033 | 1170021.8022 | 2617327.8017 | 1170009.597 | 2617324.8013 | 1170004.697 | 2617322.6023 | 1170003.1455 | 2617321.5322 | 1170002.7978
104 | 2617335.2033 | 1170021.8022 | 2617328.9008 | 1170023.7962 | 2617325.0008 | 1170025.7971 | 2617321.0653 | 1170028.1612
105 | 2617335.2033 | 1170021.8022 | 2617338.9012 | 1170020.9013
106 | 2617278.2972 | 1170056.0005 | 2617281.7975 | 1170051.9974 | 2617283.8987 | 1170050.3026 | 2617292.1984 | 1170045.5017 | 2617321.0653 | 1170028.1612
107 | 2617338.9012 | 1170020.9013 | 2617347.4968 | 1170017.0018 | 2617352.5763 | 1170014.0678
108 | 2617338.9012 | 1170020.9013 | 2617354.7181 | 1170042.1625
109 | 2617300.7986 | 1170010.6533 | 2617309.6693 | 1170005.8721
110 | 2617363.18 | 1170007.9431 | 2617352.5763 | 1170014.0678
111 | 2617484.7374 | 1170038.5204 | 2617500.701 | 1170021.4026 | 2617505.698 | 1170015.8031 | 2617507.3676 | 1170013.8268
112 | 2617484.7374 | 1170038.5204 | 2617513.3456 | 1170060.8885
113 | 2617509.4635 | 1170068.0071 | 2617513.3456 | 1170060.8885
114 | 2617489.2376 | 1169953.6907 | 2617479.746 | 1169961.5256
115 | 2617502.6945 | 1169652.7811 | 2617657.6959 | 1169378.3946
116 | 2617302.6283 | 1169898.3797 | 2617305.0992 | 1169893.2064 | 2617315.9886 | 1169865.335
117 | 2617271.0913 | 1169935.5302 | 2617299.8006 | 1169902.5959 | 2617301.8977 | 1169899.7005 | 2617302.6283 | 1169898.3797
118 | 2617302.6283 | 1169898.3797 | 2617311.603 | 1169903.697 | 2617313.5976 | 1169904.5032 | 2617318.0035 | 1169904.9049 | 2617322.4001 | 1169903.2056 | 2617326.1039 | 1169900.3037 | 2617328.0003 | 1169897.9968 | 2617329.5381 | 1169895.2811
119 | 2617271.0913 | 1169935.5302 | 2617278.515 | 1169916.0861 | 2617284.0127 | 1169906.586 | 2617292.0109 | 1169897.5821 | 2617292.4132 | 1169895.2684
120 | 2617271.0913 | 1169935.5302 | 2617250.803 | 1169958.806 | 2617248.4968 | 1169962.6013 | 2617246.2028 | 1169967.4973 | 2617244.4968 | 1169972.8062 | 2617242.802 | 1169982.206 | 2617242.8015 | 1169990.3991 | 2617243.9985 | 1169997.2059 | 2617245.303 | 1170001.2006 | 2617247.0594 | 1170005.0186 | 2617249.8043 | 1170010.9962 | 2617254.0032 | 1170019.5014 | 2617256.4797 | 1170023.884
121 | 2617335.2588 | 1169893.4932 | 2617331.061 | 1169892.5918 | 2617329.5381 | 1169895.2811
122 | 2617278.2972 | 1170056.0005 | 2617274.0038 | 1170051.1079 | 2617265.5072 | 1170039.2109 | 2617261.4024 | 1170032.5958 | 2617256.4797 | 1170023.884
123 | 2617337.0561 | 1169904.3928 | 2617336.7553 | 1169899.8896 | 2617335.2588 | 1169893.4932
124 | 2617554.3525 | 1169894.2278 | 2617554.3525 | 1169894.2278 | 2617550.105 | 1169907.7333 | 2617544.2732 | 1169918.1467
125 | 2617564.4236 | 1169875.0586 | 2617554.3525 | 1169894.2278
126 | 2617538.1938 | 1169928.7701 | 2617539.6068 | 1169926.4789 | 2617544.2732 | 1169918.1467
127 | 2617564.4236 | 1169875.0586 | 2617564.8545 | 1169874.2372 | 2617571.1055 | 1169863.7279 | 2617577.8567 | 1169857.4778
128 | 2617564.4236 | 1169875.0586 | 2617557.8505 | 1169867.4801 | 2617539.8569 | 1169858.9789 | 2617534.8552 | 1169852.9836 | 2617533.354 | 1169811.4805 | 2617536.8567 | 1169801.4856
129 | 2617624.8286 | 1170188.9266 | 2617622.4012 | 1170181.8048 | 2617622.0646 | 1170179.1914
130 | 2617624.8286 | 1170188.9266 | 2617621.9714 | 1170190.1078 | 2617613.7523 | 1170193.4966 | 2617612.1281 | 1170194.3378
131 | 2617385.7643 | 1169991.4318 | 2617390.5973 | 1169986.7997 | 2617393.2041 | 1169984.9063 | 2617398.2564 | 1169981.9086
132 | 2617385.7643 | 1169991.4318 | 2617378.6978 | 1169998.2045
133 | 2617378.6978 | 1169998.2045 | 2617378.6978 | 1169998.2045 | 2617372.8027 | 1170002.2006 | 2617369.9651 | 1170003.9054
134 | 2617364.8473 | 1170006.9801 | 2617369.9651 | 1170003.9054
135 | 2617364.8473 | 1170006.9801 | 2617363.18 | 1170007.9431
136 | 2617489.2376 | 1169953.6907 | 2617491.5468 | 1169956.799 | 2617493.2043 | 1169960.4056 | 2617494.005 | 1169963.5822
137 | 2617489.2376 | 1169953.6907 | 2617496.2098 | 1169947.8376
138 | 2617497.8031 | 1169978.6504 | 2617494.005 | 1169963.5822
139 | 2617715.2997 | 1170281.458 | 2617736.6301 | 1170248.0067 | 2617728.4463 | 1170242.4722
140 | 2617690.6434 | 1170317.9179 | 2617696.3783 | 1170311.1314 | 2617715.2997 | 1170281.458

## bus_geodata
| x | y | coords
0 | 2617862.4712 | 1170118.0446
1 | 2617856.4108 | 1170123.9201
2 | 2617886.7539 | 1170096.2699
3 | 2617843.755 | 1170136.6684
4 | 2617861.8538 | 1170202.0534
5 | 2617846.7042 | 1170208.2628
6 | 2617777.9475 | 1169883.0784
7 | 2617754.8383 | 1169853.5947
8 | 2617790.068 | 1170201.3158
9 | 2617787.6394 | 1170231.5599
10 | 2617710.9517 | 1170189.1459
11 | 2617531.2042 | 1170048.0047
12 | 2617521.1343 | 1170056.4091
13 | 2617634.6238 | 1170155.8224
14 | 2617729.6604 | 1170139.2897
15 | 2617733.4118 | 1170130.3387
16 | 2617715.2583 | 1170176.3855
17 | 2617749.6767 | 1170094.5672
18 | 2617739.166 | 1170177.6291
19 | 2617756.695 | 1170080.523
20 | 2617692.0056 | 1170184.9548
21 | 2617767.7323 | 1170058.1613
22 | 2617637.0855 | 1169917.7595
23 | 2617609.0681 | 1169935.0414
24 | 2617652.9442 | 1169907.9774
25 | 2617649.0575 | 1170262.3124
26 | 2617667.3852 | 1170182.4078
27 | 2617773.2973 | 1170046.502
28 | 2617652.6011 | 1170280.0984
29 | 2617660.157 | 1170182.338
30 | 2617432.8921 | 1169997.4547
31 | 2617436.0291 | 1169995.5522
32 | 2617446.1816 | 1169989.395
33 | 2617439.4221 | 1169977.9845
34 | 2617448.7617 | 1169994.0826
35 | 2617429.676 | 1169965.4863
36 | 2617456.5104 | 1169984.1108
37 | 2617464.4283 | 1170018.6737
38 | 2617428.5045 | 1169964.1422
39 | 2617471.7687 | 1169968.1105
40 | 2617468.9902 | 1170023.4746
41 | 2617433.9489 | 1170038.4683
42 | 2617509.1725 | 1169896.7399
43 | 2617515.2146 | 1169912.4631
44 | 2617497.6006 | 1169866.6266
45 | 2617521.9485 | 1169930.4444
46 | 2617490.4279 | 1169867.8508
47 | 2617455.0081 | 1169754.8689
48 | 2617531.1813 | 1169966.7713
49 | 2617477.9274 | 1169853.6394
50 | 2617476.7898 | 1169870.5412
51 | 2617454.3929 | 1169751.1208
52 | 2617530.8914 | 1169974.1109
53 | 2617475.9527 | 1169851.8008
54 | 2617468.1925 | 1169873.5892
55 | 2617447.3534 | 1169743.7018
56 | 2617459.7613 | 1169727.9161
57 | 2617511.4883 | 1170008.9488
58 | 2617538.718 | 1169974.2004
59 | 2617452.5209 | 1169881.7273
60 | 2617413.9477 | 1169858.3494
61 | 2617444.7892 | 1169700.5428
62 | 2617484.1486 | 1169690.8914
63 | 2617398.8019 | 1169860.4729
64 | 2617384.1305 | 1169859.3701
65 | 2617378.2364 | 1169852.7942
66 | 2617372.7044 | 1169846.6224
67 | 2617366.5002 | 1169839.7005
68 | 2617451.4514 | 1169881.7004
69 | 2617406.0523 | 1169941.7549
70 | 2617407.0527 | 1169934.2108
71 | 2617413.3352 | 1169949.3427
72 | 2617419.3057 | 1169923.3891
73 | 2617422.1127 | 1169957.3092
74 | 2617430.5025 | 1169913.5002
75 | 2617446.3142 | 1169936.2461
76 | 2617408.1747 | 1169976.0237
77 | 2617450.8077 | 1169932.0575
78 | 2617400.6892 | 1169980.4651
79 | 2617458.7492 | 1169924.3986
80 | 2617426.2979 | 1169691.2691
81 | 2617441.1794 | 1169698.7325
82 | 2617413.3139 | 1169684.7574
83 | 2617401.804 | 1169706.2496
84 | 2617390.3008 | 1169730.2572
85 | 2617805.8326 | 1169783.0181
86 | 2617785.1895 | 1169797.1585
87 | 2617748.2526 | 1169852.9305
88 | 2617689.4138 | 1169885.3459
89 | 2617816.3519 | 1169864.3928
90 | 2617333.0889 | 1170008.9453
91 | 2617333.1361 | 1170009.0262
92 | 2617321.8364 | 1169985.2767
93 | 2617321.5322 | 1170002.7978
94 | 2617335.2033 | 1170021.8022
95 | 2617321.0653 | 1170028.1612
96 | 2617338.9012 | 1170020.9013
97 | 2617344.8975 | 1169981.7544
98 | 2617309.6693 | 1170005.8721
99 | 2617354.7181 | 1170042.1625
100 | 2617352.5763 | 1170014.0678
101 | 2617484.7374 | 1170038.5204
102 | 2617507.3676 | 1170013.8268
103 | 2617513.3456 | 1170060.8885
104 | 2617479.746 | 1169961.5256
105 | 2617509.4635 | 1170068.0071
106 | 2617657.6959 | 1169378.3946
107 | 2617502.6945 | 1169652.7811
108 | 2617315.9886 | 1169865.335
109 | 2617302.6283 | 1169898.3797
110 | 2617271.0913 | 1169935.5302
111 | 2617329.5381 | 1169895.2811
112 | 2617292.4132 | 1169895.2684
113 | 2617256.4797 | 1170023.884
114 | 2617335.2588 | 1169893.4932
115 | 2617278.2972 | 1170056.0005
116 | 2617337.0561 | 1169904.3928
117 | 2617554.3525 | 1169894.2278
118 | 2617544.2732 | 1169918.1467
119 | 2617564.4236 | 1169875.0586
120 | 2617538.1938 | 1169928.7701
121 | 2617577.8567 | 1169857.4778
122 | 2617536.8567 | 1169801.4856
123 | 2617562.1809 | 1169964.6936
124 | 2617668.2021 | 1170117.8956
125 | 2617622.0646 | 1170179.1914
126 | 2617624.8286 | 1170188.9266
127 | 2617612.1281 | 1170194.3378
128 | 2617398.2564 | 1169981.9086
129 | 2617385.7643 | 1169991.4318
130 | 2617378.6978 | 1169998.2045
131 | 2617369.9651 | 1170003.9054
132 | 2617364.8473 | 1170006.9801
133 | 2617363.18 | 1170007.9431
134 | 2617489.2376 | 1169953.6907
135 | 2617494.005 | 1169963.5822
136 | 2617496.2098 | 1169947.8376
137 | 2617497.8031 | 1169978.6504
138 | 2617728.4463 | 1170242.4722
139 | 2617715.2997 | 1170281.458
140 | 2617690.6434 | 1170317.9179
141 | 2617300.7986 | 1170010.6533
142 | 2617538.718 | 1169974.2004

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1