## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_768-18_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_768-18_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_768-18_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_768-18_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_768-18_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_768-18_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_768-18_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_768-18_0_5_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_768-18_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_768-18_0_5_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_768-18_0_5_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_768-18_0_5_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_768-18_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_768-18_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_768-18_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_768-18_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_768-18_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_768-18_0_5_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_768-18_0_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_768-18_0_5_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_768-18_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_768-18_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_768-18_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_768-18_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_768-18_0_5_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_768-18_0_5_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_768-18_0_5_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_768-18_0_5_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_768-18_0_5_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_768-18_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_768-18_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_768-18_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_768-18_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_768-18_0_5_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_768-18_0_5_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_768-18_0_5_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_768-18_0_5_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_768-18_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_768-18_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_768-18_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_768-18_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_768-18_0_5_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_768-18_0_5_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_768-18_0_5_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_768-18_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_768-18_0_5_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_768-18_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_768-18_0_5_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_768-18_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_768-18_0_5_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_768-18_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_768-18_0_5_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_768-18_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_768-18_0_5_node_100 | 0.4 | n |  | TRUE
54 | bus_LV_768-18_0_5_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_768-18_0_5_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_768-18_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_768-18_0_5_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_768-18_0_5_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_768-18_0_5_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_768-18_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_768-18_0_5_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_768-18_0_5_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_768-18_0_5_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_768-18_0_5_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_768-18_0_5_node_99 | 0.4 | n |  | TRUE
66 | bus_LV_768-18_0_5_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_768-18_0_5_node_81 | 0.4 | n |  | TRUE
68 | bus_LV_768-18_0_5_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_768-18_0_5_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_768-18_0_5_node_88 | 0.4 | n |  | TRUE
71 | bus_LV_768-18_0_5_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_768-18_0_5_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_768-18_0_5_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_768-18_0_5_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_768-18_0_5_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_768-18_0_5_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_768-18_0_5_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_768-18_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_768-18_0_5_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_768-18_0_5_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_768-18_0_5_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_768-18_0_5_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_768-18_0_5_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_768-18_0_5_node_97 | 0.4 | n |  | TRUE
85 | bus_LV_768-18_0_5_node_98 | 0.4 | n |  | TRUE
86 | bus_LV_768-18_0_5_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_768-18_0_5_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_768-18_0_5_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_768-18_0_5_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_768-18_0_5_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_768-18_0_5_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_768-18_0_5_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_768-18_0_5_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_768-18_0_5_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_768-18_0_5_node_91 | 0.4 | n |  | TRUE
96 | bus_MV_118_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_768-18_0_5_load_0 | 0 | 0.0036533 | 0.0009156 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_768-18_0_5_load_1 | 1 | 0.0031497 | 0.00078939 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_768-18_0_5_load_3 | 3 | 0.0030922 | 0.00077498 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_768-18_0_5_load_4 | 4 | 0.0075869 | 0.0019015 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_768-18_0_5_load_5 | 5 | 0.0029836 | 0.00074777 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_768-18_0_5_load_6 | 6 | 0.0080853 | 0.0020264 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_768-18_0_5_load_22 | 7 | 0.0024763 | 0.00062062 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_768-18_0_5_load_23 | 9 | 0.0051704 | 0.0012958 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_768-18_0_5_load_25 | 11 | 0.014897 | 0.0037336 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_768-18_0_5_load_8 | 12 | 0.0026936 | 0.00067507 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_768-18_0_5_load_9 | 13 | 0.0027147 | 0.00068038 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_768-18_0_5_load_10 | 14 | 0.0033799 | 0.00084709 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_768-18_0_5_load_11 | 15 | 0.0027314 | 0.00068455 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_768-18_0_5_load_12 | 16 | 0.0034101 | 0.00085465 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_768-18_0_5_load_13 | 20 | 0.0022148 | 0.00055508 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_768-18_0_5_load_15 | 22 | 0.0090807 | 0.0022758 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_768-18_0_5_load_85 | 24 | 0.0014692 | 0.00036821 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_768-18_0_5_load_35 | 25 | 0.0024952 | 0.00062536 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_768-18_0_5_load_33 | 27 | 0.0035076 | 0.00087909 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_768-18_0_5_load_28 | 28 | 0.016516 | 0.0041394 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_768-18_0_5_load_19 | 30 | 0.0027361 | 0.00068573 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_768-18_0_5_load_20 | 31 | 0.0027526 | 0.00068987 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_768-18_0_5_load_21 | 32 | 0.0032795 | 0.00082191 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_768-18_0_5_load_55 | 33 | 0.0033007 | 0.00082724 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_768-18_0_5_load_24 | 35 | 0.0043536 | 0.0010911 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_768-18_0_5_load_30 | 36 | 0.0042409 | 0.0010629 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_768-18_0_5_load_31 | 37 | 0.0041971 | 0.0010519 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_768-18_0_5_load_29 | 38 | 0.015349 | 0.0038468 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_768-18_0_5_load_51 | 41 | 0.0030405 | 0.00076201 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_768-18_0_5_load_36 | 42 | 0.00244 | 0.00061152 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_768-18_0_5_load_52 | 43 | 0.003342 | 0.0008376 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_768-18_0_5_load_34 | 44 | 0.002423 | 0.00060725 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_768-18_0_5_load_37 | 45 | 0.016936 | 0.0042446 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_768-18_0_5_load_61 | 49 | 0.012274 | 0.0030761 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_768-18_0_5_load_96 | 51 | 0.016698 | 0.0041848 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_768-18_0_5_load_100 | 53 | 0.0071184 | 0.001784 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_768-18_0_5_load_64 | 55 | 0.081374 | 0.020394 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_768-18_0_5_load_59 | 56 | 0.0084495 | 0.0021176 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_768-18_0_5_load_45 | 58 | 0.0073402 | 0.0018396 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_768-18_0_5_load_46 | 59 | 0.0012837 | 0.00032172 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_768-18_0_5_load_48 | 61 | 0.0022292 | 0.00055869 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_768-18_0_5_load_82 | 64 | 0.018661 | 0.0046769 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_768-18_0_5_load_99 | 65 | 0.024164 | 0.006056 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_768-18_0_5_load_78 | 68 | 0.011739 | 0.0029421 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_768-18_0_5_load_95 | 71 | 0.0073304 | 0.0018372 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_768-18_0_5_load_58 | 72 | 0.0051012 | 0.0012785 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_768-18_0_5_load_63 | 75 | 0.0063655 | 0.0015953 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_768-18_0_5_load_72 | 76 | 0.0037018 | 0.00092776 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_768-18_0_5_load_73 | 77 | 0.0035791 | 0.000897 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_768-18_0_5_load_66 | 78 | 0.0023681 | 0.0005935 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_768-18_0_5_load_67 | 79 | 0.0028312 | 0.00070956 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_768-18_0_5_load_69 | 81 | 0.002099 | 0.00052606 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_768-18_0_5_load_71 | 83 | 0.0021734 | 0.0005447 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_768-18_0_5_load_97 | 84 | 0.0038395 | 0.00096227 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_768-18_0_5_load_98 | 85 | 0.0022759 | 0.0005704 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_768-18_0_5_load_75 | 87 | 0.0025037 | 0.00062749 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_768-18_0_5_load_76 | 88 | 0.0021793 | 0.00054619 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_768-18_0_5_load_80 | 89 | 0.005088 | 0.0012752 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_768-18_0_5_load_92 | 90 | 0.0051786 | 0.0012979 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_768-18_0_5_load_90 | 91 | 0.0051006 | 0.0012783 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_768-18_0_5_load_94 | 92 | 0.0033201 | 0.00083209 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_768-18_0_5_load_87 | 93 | 0.0020681 | 0.00051831 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_768-18_0_5_load_89 | 94 | 0.0051893 | 0.0013006 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_768-18_0_5_load_91 | 95 | 0.0092656 | 0.0023222 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_768-18_0_5_line_0 |  | 0 | 1 | 0.020394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_768-18_0_5_line_1 |  | 0 | 2 | 0.010703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_768-18_0_5_line_2 |  | 1 | 3 | 0.010575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_768-18_0_5_line_3 |  | 2 | 4 | 0.018614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_768-18_0_5_line_4 |  | 2 | 5 | 0.0027951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_768-18_0_5_line_5 |  | 4 | 6 | 0.0030431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_768-18_0_5_line_6 |  | 5 | 7 | 0.0058095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_768-18_0_5_line_7 |  | 6 | 8 | 0.019259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_768-18_0_5_line_8 |  | 7 | 9 | 0.018307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_768-18_0_5_line_9 |  | 8 | 10 | 0.044294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_768-18_0_5_line_10 |  | 9 | 35 | 0.0058822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_768-18_0_5_line_11 |  | 10 | 11 | 0.0056862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_768-18_0_5_line_12 |  | 11 | 29 | 0.018471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_768-18_0_5_line_13 |  | 12 | 13 | 0.00048243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_768-18_0_5_line_14 |  | 12 | 14 | 0.00064751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_768-18_0_5_line_15 |  | 13 | 15 | 0.006382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_768-18_0_5_line_16 |  | 14 | 16 | 0.0010729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_768-18_0_5_line_17 |  | 16 | 17 | 0.028223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_768-18_0_5_line_18 |  | 17 | 18 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_768-18_0_5_line_19 |  | 17 | 19 | 0.006077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_768-18_0_5_line_20 |  | 18 | 28 | 0.024003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_768-18_0_5_line_21 |  | 19 | 45 | 0.01587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_768-18_0_5_line_22 |  | 20 | 21 | 0.018821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_768-18_0_5_line_23 |  | 21 | 22 | 0.048547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_768-18_0_5_line_24 |  | 21 | 23 | 0.01797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_768-18_0_5_line_25 |  | 22 | 24 | 0.01907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_768-18_0_5_line_26 |  | 23 | 25 | 0.013437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_768-18_0_5_line_27 |  | 24 | 26 | 0.010836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_768-18_0_5_line_28 |  | 25 | 27 | 0.0039083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_768-18_0_5_line_29 |  | 26 | 93 | 0.008861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_768-18_0_5_line_30 |  | 27 | 44 | 0.028324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_768-18_0_5_line_31 |  | 28 | 29 | 0.017659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_768-18_0_5_line_32 |  | 29 | 38 | 0.026905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_768-18_0_5_line_33 |  | 30 | 31 | 0.0012449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_768-18_0_5_line_34 |  | 31 | 32 | 0.0022845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_768-18_0_5_line_35 |  | 32 | 33 | 0.0012437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_768-18_0_5_line_36 |  | 33 | 34 | 0.0080506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_768-18_0_5_line_37 |  | 34 | 50 | 0.029387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_768-18_0_5_line_38 |  | 35 | 36 | 0.0035566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_768-18_0_5_line_39 |  | 36 | 37 | 0.020736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_768-18_0_5_line_40 |  | 37 | 39 | 0.014701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_768-18_0_5_line_41 |  | 39 | 40 | 0.01555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_768-18_0_5_line_42 |  | 39 | 41 | 0.073775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_768-18_0_5_line_43 |  | 40 | 42 | 0.014777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_768-18_0_5_line_44 |  | 41 | 43 | 0.0021865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_768-18_0_5_line_45 |  | 42 | 44 | 0.018658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_768-18_0_5_line_46 |  | 43 | 69 | 0.038931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_768-18_0_5_line_47 |  | 45 | 46 | 0.0011464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_768-18_0_5_line_48 |  | 46 | 47 | 0.02096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_768-18_0_5_line_49 |  | 47 | 52 | 0.03427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_768-18_0_5_line_50 |  | 47 | 53 | 0.012088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_768-18_0_5_line_51 |  | 47 | 48 | 0.003987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_768-18_0_5_line_52 |  | 48 | 49 | 0.015193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_768-18_0_5_line_53 |  | 49 | 56 | 0.0052514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_768-18_0_5_line_54 |  | 50 | 51 | 0.017225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_768-18_0_5_line_55 |  | 51 | 54 | 0.006861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_768-18_0_5_line_56 |  | 52 | 54 | 0.007808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_768-18_0_5_line_57 |  | 52 | 55 | 0.053083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_768-18_0_5_line_58 |  | 54 | 57 | 0.01362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_768-18_0_5_line_59 |  | 56 | 72 | 0.018164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_768-18_0_5_line_60 |  | 57 | 67 | 0.006422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_768-18_0_5_line_61 |  | 58 | 59 | 0.027908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_768-18_0_5_line_62 |  | 58 | 60 | 0.064631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_768-18_0_5_line_63 |  | 59 | 61 | 0.0040707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_768-18_0_5_line_64 |  | 60 | 62 | 0.076687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_768-18_0_5_line_65 |  | 62 | 63 | 0.074461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_768-18_0_5_line_66 |  | 62 | 64 | 0.038937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_768-18_0_5_line_67 |  | 63 | 65 | 0.003453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_768-18_0_5_line_68 |  | 63 | 66 | 0.050095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_768-18_0_5_line_69 |  | 66 | 67 | 0.024085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_768-18_0_5_line_70 |  | 66 | 68 | 0.014118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_768-18_0_5_line_71 |  | 67 | 90 | 0.021677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_768-18_0_5_line_72 |  | 68 | 89 | 0.0050932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_768-18_0_5_line_73 |  | 69 | 70 | 0.018051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_768-18_0_5_line_74 |  | 70 | 71 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_768-18_0_5_line_75 |  | 71 | 92 | 0.042036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_768-18_0_5_line_76 |  | 72 | 73 | 0.025613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_768-18_0_5_line_77 |  | 73 | 74 | 0.002555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_768-18_0_5_line_78 |  | 73 | 75 | 0.046604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_768-18_0_5_line_79 |  | 74 | 76 | 0.090661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_768-18_0_5_line_80 |  | 76 | 77 | 0.021547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_768-18_0_5_line_81 |  | 77 | 86 | 0.011936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_768-18_0_5_line_82 |  | 78 | 79 | 0.017631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_768-18_0_5_line_83 |  | 78 | 80 | 0.010343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_768-18_0_5_line_84 |  | 79 | 81 | 0.0065354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_768-18_0_5_line_85 |  | 80 | 82 | 0.006075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_768-18_0_5_line_86 |  | 80 | 83 | 0.017015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_768-18_0_5_line_87 |  | 82 | 84 | 0.021802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_768-18_0_5_line_88 |  | 82 | 85 | 0.019207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_768-18_0_5_line_89 |  | 83 | 86 | 0.038187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_768-18_0_5_line_90 |  | 86 | 87 | 0.016004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_768-18_0_5_line_91 |  | 87 | 88 | 0.02428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_768-18_0_5_line_92 |  | 90 | 91 | 0.0061944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_768-18_0_5_line_93 |  | 91 | 94 | 0.0062004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_768-18_0_5_line_94 |  | 94 | 95 | 0.00065813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_768-18_0_5_trafo_56 | 0.63 MVA 20/0.4 kV | 96 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2618352.1834 | 1170264.9518 | 2618372.0492 | 1170260.3389
1 | 2618341.7576 | 1170267.3727 | 2618352.1834 | 1170264.9518
2 | 2618382.3498 | 1170257.9472 | 2618372.0492 | 1170260.3389
3 | 2618341.7576 | 1170267.3727 | 2618351.0464 | 1170283.5034
4 | 2618341.7576 | 1170267.3727 | 2618341.0622 | 1170264.6655
5 | 2618351.0464 | 1170283.5034 | 2618352.565 | 1170286.1405
6 | 2618339.617 | 1170259.0386 | 2618341.0622 | 1170264.6655
7 | 2618362.176 | 1170302.8305 | 2618352.565 | 1170286.1405
8 | 2618339.617 | 1170259.0386 | 2618335.0626 | 1170241.3068
9 | 2618362.176 | 1170302.8305 | 2618342.5497 | 1170316.2553 | 2618342.3518 | 1170320.946 | 2618341.8014 | 1170323.301 | 2618332.6672 | 1170333.1893
10 | 2618335.0626 | 1170241.3068 | 2618333.5993 | 1170235.6096 | 2618333.5993 | 1170235.6096
11 | 2618332.6672 | 1170333.1893 | 2618329.9984 | 1170330.2797 | 2618328.6047 | 1170331.3181
12 | 2618313.7733 | 1170342.3254 | 2618314.2025 | 1170342.0488 | 2618328.6047 | 1170331.3181
13 | 2618264.2466 | 1170327.1852 | 2618264.7286 | 1170327.1657
14 | 2618264.7286 | 1170327.1657 | 2618265.3756 | 1170327.1396
15 | 2618257.8895 | 1170326.9083 | 2618261.3288 | 1170327.3031 | 2618264.2466 | 1170327.1852
16 | 2618266.4476 | 1170327.0962 | 2618265.3756 | 1170327.1396
17 | 2618264.2134 | 1170354.9369 | 2618263.9987 | 1170352.5461 | 2618264.3009 | 1170351.302 | 2618265.7522 | 1170347.0042 | 2618266.1469 | 1170345.5046 | 2618266.6539 | 1170342.3046 | 2618266.4476 | 1170327.0962
18 | 2618264.2134 | 1170354.9369 | 2618265.2008 | 1170354.7509 | 2618268.0008 | 1170354.8038 | 2618276.0038 | 1170357.107
19 | 2618264.2134 | 1170354.9369 | 2618261.8016 | 1170355.5521 | 2618259.103 | 1170357.4004 | 2618258.8804 | 1170357.6443
20 | 2618276.0038 | 1170357.107 | 2618277.3256 | 1170355.1768 | 2618279.653 | 1170354.628 | 2618281.4275 | 1170354.7556 | 2618282.6971 | 1170354.8707 | 2618286.8974 | 1170354.8056 | 2618293.3001 | 1170352.5461 | 2618297.9969 | 1170350.2509
21 | 2618258.8804 | 1170357.6443 | 2618252.7007 | 1170354.5018 | 2618243.8281 | 1170353.4305
22 | 2618396.0251 | 1170221.6595 | 2618412.0559 | 1170211.7982
23 | 2618396.0251 | 1170221.6595 | 2618404.3712 | 1170269.4758
24 | 2618393.1108 | 1170203.9305 | 2618396.0251 | 1170221.6595
25 | 2618404.3712 | 1170269.4758 | 2618417.5806 | 1170255.7213
26 | 2618393.1108 | 1170203.9305 | 2618380.2106 | 1170207.6908
27 | 2618425.0862 | 1170247.906 | 2618417.5806 | 1170255.7213
28 | 2618376.4585 | 1170208.7845 | 2618380.2106 | 1170207.6908
29 | 2618425.0862 | 1170247.906 | 2618431.005 | 1170241.2985
30 | 2618376.4585 | 1170208.7845 | 2618367.1443 | 1170211.4995 | 2618365.5782 | 1170208.2487 | 2618359.7938 | 1170198.3816 | 2618356.7926 | 1170196.4369
31 | 2618313.7733 | 1170342.3254 | 2618310.2788 | 1170344.2491 | 2618297.9969 | 1170350.2509
32 | 2618301.4905 | 1170318.376 | 2618311.126 | 1170337.3482 | 2618313.7733 | 1170342.3254
33 | 2618222.0887 | 1170318.9195 | 2618223.2282 | 1170319.4208
34 | 2618225.3193 | 1170320.3408 | 2618223.2282 | 1170319.4208
35 | 2618225.3193 | 1170320.3408 | 2618226.4577 | 1170320.8416
36 | 2618233.9971 | 1170323.5962 | 2618230.8017 | 1170322.7527 | 2618226.4577 | 1170320.8416
37 | 2618233.9971 | 1170323.5962 | 2618228.226 | 1170344.656 | 2618227.4258 | 1170346.1766 | 2618224.8524 | 1170347.1026 | 2618223.6273 | 1170349.9559
38 | 2618333.0759 | 1170232.0916 | 2618333.5993 | 1170235.6096
39 | 2618333.0759 | 1170232.0916 | 2618330.0246 | 1170211.5811
40 | 2618327.8639 | 1170197.0393 | 2618328.6736 | 1170202.5001 | 2618330.0246 | 1170211.5811
41 | 2618327.8639 | 1170197.0393 | 2618327.5304 | 1170190.9797 | 2618327.1821 | 1170184.7755 | 2618326.9778 | 1170181.5176
42 | 2618327.8639 | 1170197.0393 | 2618319.4383 | 1170200.2931 | 2618311.4345 | 1170200.6801 | 2618302.1971 | 1170201.6747 | 2618285.3484 | 1170207.3487 | 2618276.3114 | 1170210.3894 | 2618260.908 | 1170216.279 | 2618257.4833 | 1170217.4956
43 | 2618326.9778 | 1170181.5176 | 2618336.8512 | 1170185.2273 | 2618340.5719 | 1170187.2396
44 | 2618257.4833 | 1170217.4956 | 2618255.4229 | 1170218.2276
45 | 2618356.7926 | 1170196.4369 | 2618352.8301 | 1170193.8692 | 2618340.5719 | 1170187.2396
46 | 2618228.9286 | 1170195.9608 | 2618230.2042 | 1170196.6428 | 2618235.7769 | 1170200.6951 | 2618244.4862 | 1170217.4521 | 2618250.6375 | 1170219.9275 | 2618255.4229 | 1170218.2276
47 | 2618242.6899 | 1170353.293 | 2618243.8281 | 1170353.4305
48 | 2618241.0527 | 1170370.9526 | 2618237.6317 | 1170368.8523 | 2618241.7495 | 1170363.2063 | 2618242.5228 | 1170355.4047 | 2618242.6899 | 1170353.293
49 | 2618241.0527 | 1170370.9526 | 2618237.6317 | 1170368.8523 | 2618219.7019 | 1170357.8035 | 2618219.152 | 1170357.4795 | 2618211.8209 | 1170353.0662
50 | 2618237.4989 | 1170382.4031 | 2618239.253 | 1170379.1513 | 2618241.0527 | 1170370.9526
51 | 2618241.0527 | 1170370.9526 | 2618244.4508 | 1170373.0528
52 | 2618244.4508 | 1170373.0528 | 2618250.5984 | 1170376.6955 | 2618257.4975 | 1170380.8377
53 | 2618261.9997 | 1170383.5408 | 2618257.4975 | 1170380.8377
54 | 2618207.8272 | 1170342.9935 | 2618223.6273 | 1170349.9559
55 | 2618204.9929 | 1170349.2436 | 2618207.1032 | 1170344.6032 | 2618207.8272 | 1170342.9935
56 | 2618204.9929 | 1170349.2436 | 2618211.8209 | 1170353.0662
57 | 2618211.8209 | 1170353.0662 | 2618205.8257 | 1170359.7292 | 2618194.0504 | 1170372.8003 | 2618189.061 | 1170375.7645 | 2618175.5031 | 1170383.8054 | 2618171.8939 | 1170387.2077
58 | 2618192.4004 | 1170344.103 | 2618198.9041 | 1170346.4016 | 2618199.9813 | 1170346.8829 | 2618203.8014 | 1170348.6064 | 2618204.9929 | 1170349.2436
59 | 2618273.1773 | 1170397.5185 | 2618268.7518 | 1170392.2028 | 2618267.0044 | 1170388.1955 | 2618264.6485 | 1170385.4981 | 2618262.0991 | 1170383.6005 | 2618261.9997 | 1170383.5408
60 | 2618192.4004 | 1170344.103 | 2618187.9671 | 1170342.8112 | 2618186.2166 | 1170342.3057
61 | 2618031.4639 | 1170210.9882 | 2618031.9042 | 1170210.0973 | 2618032.7994 | 1170207.4987 | 2618033.3975 | 1170204.499 | 2618033.1971 | 1170199.896 | 2618032.501 | 1170197.3038 | 2618027.068 | 1170184.6009
62 | 2618011.8642 | 1170272.4466 | 2618015.2035 | 1170261.0064 | 2618018.0027 | 1170251.0987 | 2618023.7547 | 1170231.0613 | 2618026.0973 | 1170222.8975 | 2618027.7015 | 1170218.6001 | 2618031.4639 | 1170210.9882
63 | 2618025.7146 | 1170180.7655 | 2618026.5977 | 1170183.5013 | 2618027.068 | 1170184.6009
64 | 2618011.8642 | 1170272.4466 | 2618023.6988 | 1170275.3057 | 2618024.5396 | 1170275.5417 | 2618043.7021 | 1170281.402 | 2618065.2518 | 1170289.693 | 2618065.802 | 1170289.9058 | 2618071.6013 | 1170292.4023 | 2618075.603 | 1170294.8044 | 2618076.1068 | 1170295.1838 | 2618079.3356 | 1170297.6503 | 2618081.1679 | 1170293.8206
65 | 2618081.1679 | 1170293.8206 | 2618079.3356 | 1170297.6503 | 2618079.8012 | 1170297.9963 | 2618092.3026 | 1170310.5958 | 2618097.1482 | 1170314.7458 | 2618101.0029 | 1170317.7033 | 2618106.3017 | 1170321.2543 | 2618120.5977 | 1170329.8016 | 2618123.8664 | 1170331.6902 | 2618125.6459 | 1170332.7072 | 2618131.2391 | 1170322.3299
66 | 2618081.1679 | 1170293.8206 | 2618092.401 | 1170270.1979 | 2618097.8929 | 1170258.6589
67 | 2618131.2391 | 1170322.3299 | 2618132.8778 | 1170319.2888
68 | 2618131.2391 | 1170322.3299 | 2618125.6459 | 1170332.7072 | 2618135.7975 | 1170337.996 | 2618141.9042 | 1170340.0042 | 2618145.6968 | 1170340.7049 | 2618151.3573 | 1170340.9776 | 2618156.0005 | 1170341.2029 | 2618162.2589 | 1170341.1106
69 | 2618186.2166 | 1170342.3057 | 2618184.4968 | 1170341.8002 | 2618178.8005 | 1170340.7047 | 2618175.2972 | 1170340.5051 | 2618162.2589 | 1170341.1106
70 | 2618162.2589 | 1170341.1106 | 2618163.1491 | 1170337.6559 | 2618165.6989 | 1170334.4064 | 2618167.7998 | 1170332.8564 | 2618171.3006 | 1170331.3551
71 | 2618186.2166 | 1170342.3057 | 2618196.9985 | 1170323.4998
72 | 2618176.3519 | 1170330.7034 | 2618171.3006 | 1170331.3551
73 | 2618241.0266 | 1170182.5796 | 2618233.8775 | 1170191.2623 | 2618228.9286 | 1170195.9608
74 | 2618233.4936 | 1170174.0191 | 2618241.0266 | 1170182.5796
75 | 2618233.4936 | 1170174.0191 | 2618246.1622 | 1170133.9372
76 | 2618289.8073 | 1170416.9014 | 2618287.4013 | 1170413.1033 | 2618280.599 | 1170405.9012 | 2618278.4478 | 1170403.8492 | 2618273.1773 | 1170397.5185
77 | 2618289.8073 | 1170416.9014 | 2618291.1011 | 1170419.1064
78 | 2618289.8073 | 1170416.9014 | 2618291.3033 | 1170413.0039 | 2618293.0987 | 1170401.2034 | 2618294.2037 | 1170397.605 | 2618295.5997 | 1170393.8962 | 2618299.4972 | 1170387.7049 | 2618302.1005 | 1170384.5001 | 2618310.6748 | 1170377.1076
79 | 2618291.1011 | 1170419.1064 | 2618286.1972 | 1170421.6484 | 2618280.248 | 1170425.7546 | 2618250.0023 | 1170449.6972 | 2618247.7038 | 1170450.8019 | 2618243.6475 | 1170451.3455 | 2618241.1008 | 1170451.0487 | 2618238.6025 | 1170449.9517 | 2618236.6016 | 1170448.8006 | 2618230.1484 | 1170445.0459 | 2618226.0526 | 1170443.4549 | 2618221.1039 | 1170443.1064 | 2618218.2477 | 1170443.9538 | 2618216.8524 | 1170444.9501 | 2618214.404 | 1170447.5551
80 | 2618214.404 | 1170447.5551 | 2618203.1238 | 1170465.9133
81 | 2618196.875 | 1170476.0832 | 2618203.1238 | 1170465.9133
82 | 2618137.5497 | 1170465.0866 | 2618135.6985 | 1170467.4055 | 2618126.1013 | 1170478.4924
83 | 2618145.2118 | 1170458.5074 | 2618142.5998 | 1170459.5556 | 2618140.8513 | 1170460.951 | 2618137.5497 | 1170465.0866
84 | 2618121.8239 | 1170483.4336 | 2618126.1013 | 1170478.4924
85 | 2618145.2118 | 1170458.5074 | 2618145.0039 | 1170456.4057 | 2618145.8188 | 1170452.5284
86 | 2618145.2118 | 1170458.5074 | 2618146.299 | 1170458.1994 | 2618149.3526 | 1170457.8529 | 2618151.0502 | 1170458.1025 | 2618161.6067 | 1170461.5212
87 | 2618145.8188 | 1170452.5284 | 2618143.3986 | 1170450.8981 | 2618141.4017 | 1170448.4019 | 2618138.9005 | 1170438.1003 | 2618136.7034 | 1170433.5025
88 | 2618154.6987 | 1170435.5021 | 2618146.0043 | 1170451.9064 | 2618145.8188 | 1170452.5284
89 | 2618196.875 | 1170476.0832 | 2618169.1027 | 1170463.9488 | 2618161.6067 | 1170461.5212
90 | 2618196.875 | 1170476.0832 | 2618192.9001 | 1170482.5967 | 2618187.9739 | 1170489.3672
91 | 2618187.9739 | 1170489.3672 | 2618184.6033 | 1170493.9996 | 2618182.0008 | 1170497.0044 | 2618171.5177 | 1170507.132
92 | 2618200.0794 | 1170318.126 | 2618196.9985 | 1170323.4998
93 | 2618203.1634 | 1170312.7469 | 2618200.0794 | 1170318.126
94 | 2618203.4907 | 1170312.1759 | 2618203.1634 | 1170312.7469

## bus_geodata
| x | y | coords
0 | 2618352.1834 | 1170264.9518
1 | 2618372.0492 | 1170260.3389
2 | 2618341.7576 | 1170267.3727
3 | 2618382.3498 | 1170257.9472
4 | 2618351.0464 | 1170283.5034
5 | 2618341.0622 | 1170264.6655
6 | 2618352.565 | 1170286.1405
7 | 2618339.617 | 1170259.0386
8 | 2618362.176 | 1170302.8305
9 | 2618335.0626 | 1170241.3068
10 | 2618332.6672 | 1170333.1893
11 | 2618328.6047 | 1170331.3181
12 | 2618264.7286 | 1170327.1657
13 | 2618264.2466 | 1170327.1852
14 | 2618265.3756 | 1170327.1396
15 | 2618257.8895 | 1170326.9083
16 | 2618266.4476 | 1170327.0962
17 | 2618264.2134 | 1170354.9369
18 | 2618276.0038 | 1170357.107
19 | 2618258.8804 | 1170357.6443
20 | 2618412.0559 | 1170211.7982
21 | 2618396.0251 | 1170221.6595
22 | 2618404.3712 | 1170269.4758
23 | 2618393.1108 | 1170203.9305
24 | 2618417.5806 | 1170255.7213
25 | 2618380.2106 | 1170207.6908
26 | 2618425.0862 | 1170247.906
27 | 2618376.4585 | 1170208.7845
28 | 2618297.9969 | 1170350.2509
29 | 2618313.7733 | 1170342.3254
30 | 2618222.0887 | 1170318.9195
31 | 2618223.2282 | 1170319.4208
32 | 2618225.3193 | 1170320.3408
33 | 2618226.4577 | 1170320.8416
34 | 2618233.9971 | 1170323.5962
35 | 2618333.5993 | 1170235.6096
36 | 2618333.0759 | 1170232.0916
37 | 2618330.0246 | 1170211.5811
38 | 2618301.4905 | 1170318.376
39 | 2618327.8639 | 1170197.0393
40 | 2618326.9778 | 1170181.5176
41 | 2618257.4833 | 1170217.4956
42 | 2618340.5719 | 1170187.2396
43 | 2618255.4229 | 1170218.2276
44 | 2618356.7926 | 1170196.4369
45 | 2618243.8281 | 1170353.4305
46 | 2618242.6899 | 1170353.293
47 | 2618241.0528 | 1170370.9526
48 | 2618244.4508 | 1170373.0528
49 | 2618257.4975 | 1170380.8377
50 | 2618223.6273 | 1170349.9559
51 | 2618207.8272 | 1170342.9935
52 | 2618211.8209 | 1170353.0662
53 | 2618237.4989 | 1170382.4031
54 | 2618204.9929 | 1170349.2436
55 | 2618171.8939 | 1170387.2077
56 | 2618261.9997 | 1170383.5408
57 | 2618192.4004 | 1170344.103
58 | 2618031.4639 | 1170210.9882
59 | 2618027.068 | 1170184.6009
60 | 2618011.8642 | 1170272.4466
61 | 2618025.7146 | 1170180.7655
62 | 2618081.1679 | 1170293.8206
63 | 2618131.2391 | 1170322.3299
64 | 2618097.8929 | 1170258.6589
65 | 2618132.8778 | 1170319.2888
66 | 2618162.2589 | 1170341.1106
67 | 2618186.2166 | 1170342.3057
68 | 2618171.3006 | 1170331.3551
69 | 2618228.9286 | 1170195.9608
70 | 2618241.0266 | 1170182.5796
71 | 2618233.4936 | 1170174.0191
72 | 2618273.1773 | 1170397.5185
73 | 2618289.8073 | 1170416.9014
74 | 2618291.1011 | 1170419.1064
75 | 2618310.6748 | 1170377.1076
76 | 2618214.404 | 1170447.5551
77 | 2618203.1238 | 1170465.9133
78 | 2618137.5497 | 1170465.0866
79 | 2618126.1013 | 1170478.4924
80 | 2618145.2118 | 1170458.5074
81 | 2618121.8239 | 1170483.4336
82 | 2618145.8188 | 1170452.5284
83 | 2618161.6067 | 1170461.5212
84 | 2618136.7034 | 1170433.5025
85 | 2618154.6987 | 1170435.5021
86 | 2618196.875 | 1170476.0832
87 | 2618187.9739 | 1170489.3672
88 | 2618171.5177 | 1170507.132
89 | 2618176.3519 | 1170330.7034
90 | 2618196.9985 | 1170323.4998
91 | 2618200.0794 | 1170318.126
92 | 2618246.1622 | 1170133.9372
93 | 2618431.005 | 1170241.2985
94 | 2618203.1634 | 1170312.7469
95 | 2618203.4907 | 1170312.1759
96 | 2618238.8602 | 1170324.4669

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1