## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_768-19_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_768-19_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_768-19_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_768-19_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_768-19_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_768-19_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_768-19_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_768-19_0_4_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_768-19_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_768-19_0_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_768-19_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_768-19_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_768-19_0_4_node_89 | 0.4 | n |  | TRUE
13 | bus_LV_768-19_0_4_node_124 | 0.4 | n |  | TRUE
14 | bus_LV_768-19_0_4_node_125 | 0.4 | n |  | TRUE
15 | bus_LV_768-19_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_768-19_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_768-19_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_768-19_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_768-19_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_768-19_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_768-19_0_4_node_111 | 0.4 | n |  | TRUE
22 | bus_LV_768-19_0_4_node_112 | 0.4 | n |  | TRUE
23 | bus_LV_768-19_0_4_node_109 | 0.4 | n |  | TRUE
24 | bus_LV_768-19_0_4_node_113 | 0.4 | n |  | TRUE
25 | bus_LV_768-19_0_4_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_768-19_0_4_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_768-19_0_4_node_97 | 0.4 | n |  | TRUE
28 | bus_LV_768-19_0_4_node_123 | 0.4 | n |  | TRUE
29 | bus_LV_768-19_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_768-19_0_4_node_99 | 0.4 | n |  | TRUE
31 | bus_LV_768-19_0_4_node_95 | 0.4 | n |  | TRUE
32 | bus_LV_768-19_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_768-19_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_768-19_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_768-19_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_768-19_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_768-19_0_4_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_768-19_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_768-19_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_768-19_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_768-19_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_768-19_0_4_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_768-19_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_768-19_0_4_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_768-19_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_768-19_0_4_node_82 | 0.4 | n |  | TRUE
47 | bus_LV_768-19_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_768-19_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_768-19_0_4_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_768-19_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_768-19_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_768-19_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_768-19_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_768-19_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_768-19_0_4_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_768-19_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_768-19_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_768-19_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_768-19_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_768-19_0_4_node_122 | 0.4 | n |  | TRUE
61 | bus_LV_768-19_0_4_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_768-19_0_4_node_120 | 0.4 | n |  | TRUE
63 | bus_LV_768-19_0_4_node_88 | 0.4 | n |  | TRUE
64 | bus_LV_768-19_0_4_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_768-19_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_768-19_0_4_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_768-19_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_768-19_0_4_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_768-19_0_4_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_768-19_0_4_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_768-19_0_4_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_768-19_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_768-19_0_4_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_768-19_0_4_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_768-19_0_4_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_768-19_0_4_node_114 | 0.4 | n |  | TRUE
77 | bus_LV_768-19_0_4_node_131 | 0.4 | n |  | TRUE
78 | bus_LV_768-19_0_4_node_119 | 0.4 | n |  | TRUE
79 | bus_LV_768-19_0_4_node_128 | 0.4 | n |  | TRUE
80 | bus_LV_768-19_0_4_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_768-19_0_4_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_768-19_0_4_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_768-19_0_4_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_768-19_0_4_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_768-19_0_4_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_768-19_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_768-19_0_4_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_768-19_0_4_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_768-19_0_4_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_768-19_0_4_node_65 | 0.4 | n |  | TRUE
91 | bus_LV_768-19_0_4_node_66 | 0.4 | n |  | TRUE
92 | bus_LV_768-19_0_4_node_67 | 0.4 | n |  | TRUE
93 | bus_LV_768-19_0_4_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_768-19_0_4_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_768-19_0_4_node_70 | 0.4 | n |  | TRUE
96 | bus_LV_768-19_0_4_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_768-19_0_4_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_768-19_0_4_node_129 | 0.4 | n |  | TRUE
99 | bus_LV_768-19_0_4_node_71 | 0.4 | n |  | TRUE
100 | bus_LV_768-19_0_4_node_72 | 0.4 | n |  | TRUE
101 | bus_LV_768-19_0_4_node_78 | 0.4 | n |  | TRUE
102 | bus_LV_768-19_0_4_node_77 | 0.4 | n |  | TRUE
103 | bus_LV_768-19_0_4_node_86 | 0.4 | n |  | TRUE
104 | bus_LV_768-19_0_4_node_85 | 0.4 | n |  | TRUE
105 | bus_LV_768-19_0_4_node_75 | 0.4 | n |  | TRUE
106 | bus_LV_768-19_0_4_node_76 | 0.4 | n |  | TRUE
107 | bus_LV_768-19_0_4_node_91 | 0.4 | n |  | TRUE
108 | bus_LV_768-19_0_4_node_92 | 0.4 | n |  | TRUE
109 | bus_LV_768-19_0_4_node_93 | 0.4 | n |  | TRUE
110 | bus_LV_768-19_0_4_node_118 | 0.4 | n |  | TRUE
111 | bus_LV_768-19_0_4_node_116 | 0.4 | n |  | TRUE
112 | bus_LV_768-19_0_4_node_117 | 0.4 | n |  | TRUE
113 | bus_LV_768-19_0_4_node_96 | 0.4 | n |  | TRUE
114 | bus_LV_768-19_0_4_node_98 | 0.4 | n |  | TRUE
115 | bus_LV_768-19_0_4_node_100 | 0.4 | n |  | TRUE
116 | bus_LV_768-19_0_4_node_126 | 0.4 | n |  | TRUE
117 | bus_LV_768-19_0_4_node_101 | 0.4 | n |  | TRUE
118 | bus_LV_768-19_0_4_node_115 | 0.4 | n |  | TRUE
119 | bus_LV_768-19_0_4_node_102 | 0.4 | n |  | TRUE
120 | bus_LV_768-19_0_4_node_103 | 0.4 | n |  | TRUE
121 | bus_LV_768-19_0_4_node_104 | 0.4 | n |  | TRUE
122 | bus_LV_768-19_0_4_node_105 | 0.4 | n |  | TRUE
123 | bus_LV_768-19_0_4_node_106 | 0.4 | n |  | TRUE
124 | bus_LV_768-19_0_4_node_107 | 0.4 | n |  | TRUE
125 | bus_LV_768-19_0_4_node_108 | 0.4 | n |  | TRUE
126 | bus_LV_768-19_0_4_node_110 | 0.4 | n |  | TRUE
127 | bus_LV_768-19_0_4_node_127 | 0.4 | n |  | TRUE
128 | bus_LV_768-19_0_4_node_121 | 0.4 | n |  | TRUE
129 | bus_MV_118_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_768-19_0_4_load_0 | 0 | 0.0014971 | 0.00037522 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_768-19_0_4_load_1 | 1 | 0.0019553 | 0.00049004 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_768-19_0_4_load_3 | 3 | 0.00054648 | 0.00013696 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_768-19_0_4_load_4 | 4 | 0.00046398 | 0.00011629 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_768-19_0_4_load_5 | 5 | 0.0055366 | 0.0013876 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_768-19_0_4_load_6 | 6 | 0.00030727 | 7.7009e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_768-19_0_4_load_44 | 7 | 0.0018607 | 0.00046634 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_768-19_0_4_load_45 | 9 | 0.0017405 | 0.0004362 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_768-19_0_4_load_8 | 10 | 0.00074237 | 0.00018605 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_768-19_0_4_load_9 | 11 | 0.00059954 | 0.00015026 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_768-19_0_4_load_89 | 12 | 0.0015822 | 0.00039653 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_768-19_0_4_load_124 | 13 | 0.0011986 | 0.00030039 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_768-19_0_4_load_10 | 15 | 0.00097232 | 0.00024369 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_768-19_0_4_load_13 | 18 | 0.00061307 | 0.00015365 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_768-19_0_4_load_14 | 19 | 0.00064644 | 0.00016201 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_768-19_0_4_load_16 | 20 | 0.0018605 | 0.00046628 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_768-19_0_4_load_111 | 21 | 0.0014567 | 0.00036509 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_768-19_0_4_load_112 | 22 | 0.00044823 | 0.00011234 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_768-19_0_4_load_109 | 23 | 0.00040896 | 0.00010249 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_768-19_0_4_load_40 | 26 | 0.00057571 | 0.00014429 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_768-19_0_4_load_123 | 28 | 0.0013118 | 0.00032876 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_768-19_0_4_load_28 | 29 | 0.0010926 | 0.00027382 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_768-19_0_4_load_99 | 30 | 0.0010159 | 0.00025461 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_768-19_0_4_load_95 | 31 | 0.0020059 | 0.00050272 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_768-19_0_4_load_17 | 32 | 0.00077921 | 0.00019529 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_768-19_0_4_load_18 | 33 | 0.00068097 | 0.00017067 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_768-19_0_4_load_19 | 34 | 0.00075465 | 0.00018913 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_768-19_0_4_load_21 | 36 | 0.001685 | 0.00042231 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_768-19_0_4_load_81 | 37 | 0.0014627 | 0.00036658 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_768-19_0_4_load_32 | 40 | 0.0020205 | 0.00050639 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_768-19_0_4_load_22 | 42 | 0.0014088 | 0.00035309 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_768-19_0_4_load_23 | 43 | 0.0012054 | 0.00030211 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_768-19_0_4_load_24 | 44 | 0.0014409 | 0.00036114 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_768-19_0_4_load_26 | 45 | 0.0010551 | 0.00026444 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_768-19_0_4_load_82 | 46 | 0.0024705 | 0.00061916 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_768-19_0_4_load_35 | 47 | 0.00066327 | 0.00016623 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_768-19_0_4_load_27 | 49 | 0.00053607 | 0.00013435 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_768-19_0_4_load_29 | 50 | 0.0039708 | 0.00099516 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_768-19_0_4_load_48 | 54 | 0.00069222 | 0.00017349 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_768-19_0_4_load_90 | 55 | 0.0047158 | 0.0011819 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_768-19_0_4_load_49 | 58 | 0.0005045 | 0.00012644 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_768-19_0_4_load_39 | 59 | 0.0005977 | 0.0001498 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_768-19_0_4_load_122 | 60 | 0.00043886 | 0.00010999 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_768-19_0_4_load_120 | 62 | 0.00026012 | 6.5191e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_768-19_0_4_load_88 | 63 | 0.0034481 | 0.00086418 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_768-19_0_4_load_87 | 64 | 0.003149 | 0.00078922 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_768-19_0_4_load_52 | 65 | 0.012254 | 0.003071 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_768-19_0_4_load_46 | 66 | 0.00058672 | 0.00014705 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_768-19_0_4_load_53 | 67 | 0.0075247 | 0.0018859 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_768-19_0_4_load_42 | 69 | 0.00061449 | 0.00015401 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_768-19_0_4_load_43 | 70 | 0.00063423 | 0.00015895 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_768-19_0_4_load_47 | 71 | 0.00081592 | 0.00020449 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_768-19_0_4_load_57 | 72 | 0.0013891 | 0.00034813 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_768-19_0_4_load_55 | 73 | 0.0022091 | 0.00055366 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_768-19_0_4_load_54 | 74 | 0.004804 | 0.001204 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_768-19_0_4_load_58 | 75 | 0.0031899 | 0.00079946 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_768-19_0_4_load_114 | 76 | 0.0033516 | 0.00083999 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_768-19_0_4_load_131 | 77 | 0.0043094 | 0.00108 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_768-19_0_4_load_119 | 78 | 0.0083715 | 0.0020981 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_768-19_0_4_load_128 | 79 | 0.0071638 | 0.0017954 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_768-19_0_4_load_59 | 80 | 0.00066079 | 0.00016561 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_768-19_0_4_load_60 | 81 | 0.0033608 | 0.00084229 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_768-19_0_4_load_62 | 83 | 0.0012005 | 0.00030086 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_768-19_0_4_load_63 | 84 | 0.0021995 | 0.00055124 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_768-19_0_4_load_64 | 85 | 0.0017851 | 0.00044738 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_768-19_0_4_load_79 | 86 | 0.0030798 | 0.00077186 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_768-19_0_4_load_65 | 90 | 0.00048439 | 0.0001214 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_768-19_0_4_load_66 | 91 | 0.00032889 | 8.2427e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_768-19_0_4_load_70 | 95 | 0.00057774 | 0.0001448 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_768-19_0_4_load_83 | 96 | 0.00028013 | 7.0208e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_768-19_0_4_load_84 | 97 | 0.00026178 | 6.5608e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_768-19_0_4_load_129 | 98 | 0.00036541 | 9.1579e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_768-19_0_4_load_71 | 99 | 0.00040918 | 0.00010255 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_768-19_0_4_load_86 | 103 | 0.00045237 | 0.00011337 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_768-19_0_4_load_85 | 104 | 0.00035714 | 8.9509e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_768-19_0_4_load_75 | 105 | 0.00067242 | 0.00016852 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_768-19_0_4_load_76 | 106 | 0.00046329 | 0.00011611 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_768-19_0_4_load_91 | 107 | 0.0014259 | 0.00035737 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_768-19_0_4_load_92 | 108 | 0.0012659 | 0.00031725 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_768-19_0_4_load_118 | 110 | 0.0017538 | 0.00043954 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_768-19_0_4_load_117 | 112 | 0.00054746 | 0.00013721 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_768-19_0_4_load_98 | 114 | 0.001058 | 0.00026515 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_768-19_0_4_load_100 | 115 | 0.0010762 | 0.00026972 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_768-19_0_4_load_126 | 116 | 0.00042193 | 0.00010575 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_768-19_0_4_load_101 | 117 | 0.0019586 | 0.00049087 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_768-19_0_4_load_102 | 119 | 0.0010187 | 0.00025532 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_768-19_0_4_load_103 | 120 | 0.0040181 | 0.001007 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_768-19_0_4_load_104 | 121 | 0.00065765 | 0.00016482 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_768-19_0_4_load_105 | 122 | 0.0037096 | 0.00092972 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_768-19_0_4_load_106 | 123 | 0.00083552 | 0.0002094 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_768-19_0_4_load_107 | 124 | 0.0023825 | 0.00059711 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_768-19_0_4_load_108 | 125 | 0.00039414 | 9.8781e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_768-19_0_4_load_110 | 126 | 0.0031606 | 0.00079213 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_768-19_0_4_load_127 | 127 | 0.0018138 | 0.00045457 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_768-19_0_4_load_121 | 128 | 0.00061167 | 0.0001533 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_768-19_0_4_line_0 |  | 0 | 1 | 0.020427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_768-19_0_4_line_1 |  | 0 | 2 | 0.047371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_768-19_0_4_line_2 |  | 1 | 3 | 0.01518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_768-19_0_4_line_3 |  | 2 | 4 | 0.0256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_768-19_0_4_line_4 |  | 2 | 5 | 0.08532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_768-19_0_4_line_5 |  | 4 | 6 | 0.027042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_768-19_0_4_line_6 |  | 5 | 7 | 0.0028026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_768-19_0_4_line_7 |  | 6 | 8 | 0.047212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_768-19_0_4_line_8 |  | 7 | 9 | 0.0019296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_768-19_0_4_line_9 |  | 8 | 10 | 0.029031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_768-19_0_4_line_10 |  | 8 | 11 | 0.0022964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_768-19_0_4_line_11 |  | 9 | 66 | 0.0032372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_768-19_0_4_line_12 |  | 10 | 12 | 0.02586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_768-19_0_4_line_13 |  | 11 | 13 | 0.035213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_768-19_0_4_line_14 |  | 13 | 14 | 0.063168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_768-19_0_4_line_15 |  | 14 | 70 | 0.01443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_768-19_0_4_line_16 |  | 15 | 16 | 0.032695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_768-19_0_4_line_17 |  | 15 | 17 | 0.011135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_768-19_0_4_line_18 |  | 16 | 18 | 0.029749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_768-19_0_4_line_19 |  | 16 | 19 | 0.061208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_768-19_0_4_line_20 |  | 17 | 20 | 0.023285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_768-19_0_4_line_21 |  | 18 | 21 | 0.023877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_768-19_0_4_line_22 |  | 19 | 22 | 0.067684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_768-19_0_4_line_23 |  | 21 | 23 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_768-19_0_4_line_24 |  | 22 | 24 | 0.10815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_768-19_0_4_line_25 |  | 23 | 126 | 0.075976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_768-19_0_4_line_26 |  | 23 | 125 | 0.0090869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_768-19_0_4_line_27 |  | 24 | 118 | 0.075266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_768-19_0_4_line_28 |  | 24 | 111 | 0.024857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_768-19_0_4_line_29 |  | 25 | 26 | 0.0061207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_768-19_0_4_line_30 |  | 25 | 27 | 0.016775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_768-19_0_4_line_31 |  | 25 | 28 | 0.029062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_768-19_0_4_line_32 |  | 25 | 29 | 0.068148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_768-19_0_4_line_33 |  | 26 | 59 | 0.14511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_768-19_0_4_line_34 |  | 27 | 30 | 0.069011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_768-19_0_4_line_35 |  | 27 | 31 | 0.10454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_768-19_0_4_line_36 |  | 28 | 60 | 0.057713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_768-19_0_4_line_37 |  | 29 | 49 | 0.036671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_768-19_0_4_line_38 |  | 30 | 116 | 0.0012276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_768-19_0_4_line_39 |  | 31 | 113 | 0.1196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_768-19_0_4_line_40 |  | 32 | 33 | 0.0031167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_768-19_0_4_line_41 |  | 32 | 34 | 0.018569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_768-19_0_4_line_42 |  | 33 | 35 | 0.0092827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_768-19_0_4_line_43 |  | 34 | 36 | 0.010273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_768-19_0_4_line_44 |  | 35 | 37 | 0.011345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_768-19_0_4_line_45 |  | 37 | 41 | 0.023883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_768-19_0_4_line_46 |  | 38 | 39 | 0.02653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_768-19_0_4_line_47 |  | 38 | 40 | 0.039028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_768-19_0_4_line_48 |  | 39 | 63 | 0.028457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_768-19_0_4_line_49 |  | 39 | 56 | 0.044685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_768-19_0_4_line_50 |  | 39 | 64 | 0.012741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_768-19_0_4_line_51 |  | 40 | 48 | 0.028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_768-19_0_4_line_52 |  | 41 | 46 | 0.030184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_768-19_0_4_line_53 |  | 41 | 43 | 0.0086711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_768-19_0_4_line_54 |  | 42 | 43 | 0.020473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_768-19_0_4_line_55 |  | 42 | 44 | 0.012854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_768-19_0_4_line_56 |  | 44 | 45 | 0.0080954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_768-19_0_4_line_57 |  | 45 | 47 | 0.022373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_768-19_0_4_line_58 |  | 47 | 48 | 0.025392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_768-19_0_4_line_59 |  | 48 | 61 | 0.11973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_768-19_0_4_line_60 |  | 50 | 51 | 0.11112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_768-19_0_4_line_61 |  | 51 | 52 | 0.008685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_768-19_0_4_line_62 |  | 51 | 53 | 0.038756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_768-19_0_4_line_63 |  | 51 | 54 | 0.020906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_768-19_0_4_line_64 |  | 52 | 55 | 0.029516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_768-19_0_4_line_65 |  | 52 | 56 | 0.082354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_768-19_0_4_line_66 |  | 53 | 57 | 0.027733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_768-19_0_4_line_67 |  | 54 | 58 | 0.013444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_768-19_0_4_line_68 |  | 56 | 65 | 0.025991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_768-19_0_4_line_69 |  | 57 | 72 | 0.12422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_768-19_0_4_line_70 |  | 57 | 73 | 0.059351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_768-19_0_4_line_71 |  | 59 | 68 | 0.06281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_768-19_0_4_line_72 |  | 60 | 128 | 0.013451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_768-19_0_4_line_73 |  | 61 | 62 | 0.11182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_768-19_0_4_line_74 |  | 64 | 66 | 0.12422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_768-19_0_4_line_75 |  | 65 | 67 | 0.019514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_768-19_0_4_line_76 |  | 67 | 74 | 0.048986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_768-19_0_4_line_77 |  | 68 | 69 | 0.014524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_768-19_0_4_line_78 |  | 68 | 70 | 0.032009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_768-19_0_4_line_79 |  | 69 | 71 | 0.025205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_768-19_0_4_line_80 |  | 72 | 78 | 0.0090424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_768-19_0_4_line_81 |  | 73 | 77 | 0.10591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_768-19_0_4_line_82 |  | 74 | 75 | 0.024856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_768-19_0_4_line_83 |  | 75 | 76 | 0.02634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_768-19_0_4_line_84 |  | 78 | 79 | 0.017366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_768-19_0_4_line_85 |  | 79 | 94 | 0.09293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_768-19_0_4_line_86 |  | 80 | 81 | 0.0011594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_768-19_0_4_line_87 |  | 80 | 82 | 0.018191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_768-19_0_4_line_88 |  | 81 | 83 | 0.12088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_768-19_0_4_line_89 |  | 82 | 84 | 0.049988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_768-19_0_4_line_90 |  | 82 | 85 | 0.030542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_768-19_0_4_line_91 |  | 82 | 86 | 0.1744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_768-19_0_4_line_92 |  | 85 | 88 | 0.035339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_768-19_0_4_line_93 |  | 86 | 87 | 0.020691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_768-19_0_4_line_94 |  | 87 | 94 | 0.022328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_768-19_0_4_line_95 |  | 88 | 89 | 0.12781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_768-19_0_4_line_96 |  | 89 | 98 | 0.023486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_768-19_0_4_line_97 |  | 90 | 91 | 0.0027685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_768-19_0_4_line_98 |  | 91 | 92 | 0.018424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_768-19_0_4_line_99 |  | 92 | 96 | 0.0014268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_768-19_0_4_line_100 |  | 93 | 94 | 0.080795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_768-19_0_4_line_101 |  | 93 | 95 | 0.19372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_768-19_0_4_line_102 |  | 95 | 99 | 0.050716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_768-19_0_4_line_103 |  | 96 | 97 | 0.024263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_768-19_0_4_line_104 |  | 97 | 104 | 0.030005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_768-19_0_4_line_105 |  | 99 | 100 | 0.011089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_768-19_0_4_line_106 |  | 100 | 101 | 0.084507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_768-19_0_4_line_107 |  | 100 | 102 | 0.002504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_768-19_0_4_line_108 |  | 101 | 103 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_768-19_0_4_line_109 |  | 101 | 104 | 0.045317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_768-19_0_4_line_110 |  | 102 | 105 | 0.034589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_768-19_0_4_line_111 |  | 105 | 106 | 0.072808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_768-19_0_4_line_112 |  | 107 | 108 | 0.027141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_768-19_0_4_line_113 |  | 107 | 109 | 0.069831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_768-19_0_4_line_114 |  | 109 | 110 | 0.15442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_768-19_0_4_line_115 |  | 110 | 111 | 0.12542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_768-19_0_4_line_116 |  | 111 | 112 | 0.098377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_768-19_0_4_line_117 |  | 113 | 114 | 0.13958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_768-19_0_4_line_118 |  | 114 | 115 | 0.012805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_768-19_0_4_line_119 |  | 115 | 117 | 0.018459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_768-19_0_4_line_120 |  | 116 | 118 | 0.023638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_768-19_0_4_line_121 |  | 118 | 127 | 0.026605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_768-19_0_4_line_122 |  | 119 | 120 | 0.067086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_768-19_0_4_line_123 |  | 119 | 121 | 0.015507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_768-19_0_4_line_124 |  | 120 | 122 | 0.05036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_768-19_0_4_line_125 |  | 121 | 123 | 0.016025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_768-19_0_4_line_126 |  | 122 | 124 | 0.0041978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_768-19_0_4_line_127 |  | 123 | 125 | 0.010934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_768-19_0_4_trafo_54 | 0.63 MVA 20/0.4 kV | 129 | 74 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2616903.6966 | 1172337.6881 | 2616911.9015 | 1172334.9014 | 2616917.1009 | 1172332.6037 | 2616922.5141 | 1172329.8418
1 | 2616857.5028 | 1172342.6973 | 2616870.7002 | 1172338.2987 | 2616878.0005 | 1172336.7962 | 2616896.3035 | 1172339.0042 | 2616900.7019 | 1172338.7052 | 2616903.6966 | 1172337.6881
2 | 2616935.402 | 1172321.9053 | 2616931.2019 | 1172325.1062 | 2616927.5018 | 1172327.2969 | 2616922.5141 | 1172329.8418
3 | 2616857.5028 | 1172342.6973 | 2616858.9995 | 1172340.8006 | 2616859.9987 | 1172339.0025 | 2616861.3033 | 1172334.7039 | 2616861.6995 | 1172324.2998 | 2616862.1022 | 1172322.5 | 2616863.1029 | 1172320.2016 | 2616864.4119 | 1172318.8638
4 | 2616857.5028 | 1172342.6973 | 2616855.5022 | 1172344.3037 | 2616825.0005 | 1172364.1062 | 2616794.5988 | 1172386.4994 | 2616791.404 | 1172388.5026 | 2616787.1775 | 1172390.8986
5 | 2616878.7021 | 1172296.6 | 2616878.7021 | 1172296.6 | 2616877.3024 | 1172302.0989 | 2616876.0009 | 1172305.2969 | 2616872.3989 | 1172310.7006 | 2616864.4119 | 1172318.8638
6 | 2616784.7394 | 1172392.2807 | 2616787.1775 | 1172390.8986
7 | 2616911.7041 | 1172266.2995 | 2616888.8978 | 1172279.8979 | 2616883.2038 | 1172284.0063 | 2616881.4998 | 1172286.2026 | 2616880.3005 | 1172288.4004 | 2616878.7021 | 1172296.6
8 | 2616784.7394 | 1172392.2807 | 2616783.0608 | 1172393.2323
9 | 2616911.7041 | 1172266.2995 | 2616916.4041 | 1172273.0049 | 2616919.9975 | 1172281.5972 | 2616920.9032 | 1172285.9019 | 2616921.9028 | 1172286.7051 | 2616923.6001 | 1172286.8988 | 2616927.3971 | 1172285.2494
10 | 2616911.7041 | 1172266.2995 | 2616910.2471 | 1172264.5245
11 | 2616783.0608 | 1172393.2323 | 2616780.2446 | 1172394.8287
12 | 2616949.6982 | 1172272.1981 | 2616944.503 | 1172275.6964 | 2616928.2022 | 1172284.8997 | 2616927.3971 | 1172285.2494
13 | 2616910.2471 | 1172264.5245 | 2616908.5029 | 1172262.3996 | 2616903.1038 | 1172256.8039 | 2616898.8975 | 1172251.3004 | 2616896.4027 | 1172246.402 | 2616894.1016 | 1172237.9024 | 2616892.8027 | 1172234.6971
14 | 2616866.9289 | 1172177.4846 | 2616883.602 | 1172221.0978 | 2616886.7996 | 1172226.2982 | 2616890.9005 | 1172231.2011 | 2616892.8027 | 1172234.6971
15 | 2616866.9289 | 1172177.4846 | 2616861.7467 | 1172164.0169
16 | 2616718.4955 | 1172113.5052 | 2616719.5993 | 1172112.5966 | 2616725.5969 | 1172106.5991 | 2616741.0407 | 1172089.8493
17 | 2616750.561 | 1172084.524 | 2616750.1018 | 1172084.6005 | 2616747.2009 | 1172085.404 | 2616744.3975 | 1172086.8969 | 2616742.098 | 1172088.7026 | 2616741.0407 | 1172089.8493
18 | 2616718.4955 | 1172113.5052 | 2616707.3044 | 1172122.4008 | 2616702.1013 | 1172125.9993 | 2616694.2593 | 1172130.6685
19 | 2616718.4955 | 1172113.5052 | 2616680.5975 | 1172075.203 | 2616676.0014 | 1172069.4985
20 | 2616764.1043 | 1172065.8967 | 2616755.9038 | 1172074.7005 | 2616753.8004 | 1172077.4961 | 2616751.5022 | 1172081.6029 | 2616750.561 | 1172084.524
21 | 2616694.2593 | 1172130.6685 | 2616693.1994 | 1172131.2996 | 2616672.9477 | 1172141.4276
22 | 2616676.0014 | 1172069.4985 | 2616676.0014 | 1172069.4985 | 2616674.3968 | 1172066.2035 | 2616673.0973 | 1172060.3969 | 2616672.1986 | 1172039.7062 | 2616672.3989 | 1172036.4051 | 2616673.1032 | 1172033.4055 | 2616675.5034 | 1172028.3985 | 2616677.4999 | 1172025.5026 | 2616681.1978 | 1172021.3996 | 2616693.093 | 1172010.1428
23 | 2616661.181 | 1172146.5626 | 2616671.8007 | 1172142.0013 | 2616672.9477 | 1172141.4276
24 | 2616775.8543 | 1171941.5554 | 2616769.1994 | 1171947.3064 | 2616758.8003 | 1171951.802 | 2616747.1981 | 1171959.896 | 2616730.8998 | 1171973.5021 | 2616709.2031 | 1171994.8972 | 2616693.093 | 1172010.1428
25 | 2616661.181 | 1172146.5626 | 2616689.6784 | 1172216.992
26 | 2616661.181 | 1172146.5626 | 2616652.8317 | 1172150.1488
27 | 2616775.8543 | 1171941.5554 | 2616779.7423 | 1171937.8643 | 2616797.4016 | 1171929.9984 | 2616805.5989 | 1171925.1967 | 2616829.5039 | 1171907.4989 | 2616833.4991 | 1171903.797 | 2616837.3974 | 1171899.2056
28 | 2616760.5968 | 1171921.903 | 2616764.0031 | 1171926.4036 | 2616772.5008 | 1171937.2994 | 2616775.8543 | 1171941.5554
29 | 2616910.6258 | 1171936.7408 | 2616911.5492 | 1171937.4549 | 2616912.0974 | 1171938.3457 | 2616912.2508 | 1171940.903 | 2616911.903 | 1171942.2027 | 2616911.903 | 1171942.2027
30 | 2616910.6258 | 1171936.7408 | 2616906.7563 | 1171933.784 | 2616913.9953 | 1171924.3329
31 | 2616910.6258 | 1171936.7408 | 2616921.2974 | 1171922.3968 | 2616928.1631 | 1171913.5681
32 | 2616910.6258 | 1171936.7408 | 2616902.1038 | 1171948.2005 | 2616876.2041 | 1171981.7004 | 2616869.2469 | 1171990.8856
33 | 2616853.942 | 1172073.2477 | 2616854.6988 | 1172071.1965 | 2616859.7027 | 1172062.306 | 2616862.7981 | 1172057.6012 | 2616870.3034 | 1172048.5955 | 2616876.5041 | 1172038.3965 | 2616879.2976 | 1172032.3013 | 2616883.3041 | 1172021.7961 | 2616894.6032 | 1171999.1052 | 2616897.1984 | 1171992.7981 | 2616898.2013 | 1171986.998 | 2616898.9033 | 1171976.7059 | 2616899.9002 | 1171970.3055 | 2616905.5968 | 1171954.5023 | 2616909.5978 | 1171945.9981 | 2616911.903 | 1171942.2027
34 | 2616913.9953 | 1171924.3329 | 2616911.5535 | 1171922.3028 | 2616909.9994 | 1171920.0973 | 2616907.554 | 1171911.197 | 2616905.2527 | 1171908.1557 | 2616902.9473 | 1171906.5484 | 2616900.6026 | 1171905.3523 | 2616897.4541 | 1171904.3986 | 2616893.6998 | 1171903.999 | 2616888.697 | 1171904.2517 | 2616886.9972 | 1171904.9029 | 2616880.3009 | 1171908.9973 | 2616875.9031 | 1171911.6974 | 2616873.001 | 1171912.901 | 2616868.1032 | 1171913.8989 | 2616865.7027 | 1171913.5031 | 2616863.5024 | 1171912.5965 | 2616859.4588 | 1171910.0209
35 | 2616913.9953 | 1171924.3329 | 2616961.0988 | 1171863.101 | 2616977.6747 | 1171841.4286
36 | 2616963.852 | 1171868.2144 | 2616949.5998 | 1171886.0024 | 2616928.1631 | 1171913.5681
37 | 2616847.1052 | 1172020.1178 | 2616869.2469 | 1171990.8856
38 | 2616858.4234 | 1171909.3615 | 2616859.4588 | 1171910.0209
39 | 2617050.3358 | 1171746.4272 | 2616977.6747 | 1171841.4286
40 | 2616589.6796 | 1172456.9195 | 2616592.1959 | 1172455.0806
41 | 2616574.9235 | 1172468.1853 | 2616581.9006 | 1172462.6043 | 2616589.6796 | 1172456.9195
42 | 2616599.5727 | 1172449.4463 | 2616593.4031 | 1172454.1984 | 2616592.1959 | 1172455.0806
43 | 2616566.9009 | 1172474.6025 | 2616574.9235 | 1172468.1853
44 | 2616599.5727 | 1172449.4463 | 2616606.8561 | 1172458.1444
45 | 2616622.1891 | 1172476.4557 | 2616606.8561 | 1172458.1444
46 | 2616640.102 | 1172414.8962 | 2616637.3968 | 1172411.3536 | 2616634.5969 | 1172406.0988 | 2616633.6065 | 1172401.9495 | 2616645.4357 | 1172402.6937
47 | 2616640.102 | 1172414.8962 | 2616663.0974 | 1172443.1518 | 2616664.8314 | 1172445.0859
48 | 2616645.4357 | 1172402.6937 | 2616645.751 | 1172399.3039 | 2616645.5036 | 1172397.5023 | 2616641.3981 | 1172380.4046 | 2616639.8228 | 1172374.9786
49 | 2616600.8378 | 1172403.8712 | 2616631.5035 | 1172401.8992 | 2616633.6065 | 1172401.9495 | 2616645.4357 | 1172402.6937
50 | 2616645.4357 | 1172402.6937 | 2616652.1035 | 1172403.1012 | 2616658.1628 | 1172403.2226
51 | 2616683.7145 | 1172465.7314 | 2616681.001 | 1172462.4556 | 2616672.8504 | 1172453.4507 | 2616669.9516 | 1172450.7969 | 2616664.8314 | 1172445.0859
52 | 2616622.1891 | 1172476.4557 | 2616601.1973 | 1172498.1977
53 | 2616622.1891 | 1172476.4557 | 2616627.856 | 1172483.0188
54 | 2616640.8874 | 1172498.8051 | 2616632.5036 | 1172488.4013 | 2616627.856 | 1172483.0188
55 | 2616649.2039 | 1172508.6021 | 2616649.2039 | 1172508.6021 | 2616644.1036 | 1172502.7962 | 2616640.8874 | 1172498.8051
56 | 2616649.2039 | 1172508.6021 | 2616654.9281 | 1172502.8776
57 | 2616654.9281 | 1172502.8776 | 2616655.0016 | 1172502.8041 | 2616670.0788 | 1172486.4151
58 | 2616683.7145 | 1172465.7314 | 2616682.4977 | 1172471.5532 | 2616680.3 | 1172475.3046 | 2616670.0788 | 1172486.4151
59 | 2616683.7145 | 1172465.7314 | 2616684.5529 | 1172466.7565 | 2616693.8018 | 1172476.7983 | 2616717.7026 | 1172506.5463 | 2616736.3013 | 1172528.7536 | 2616744.1505 | 1172538.8028 | 2616745.4445 | 1172540.9964 | 2616747.0259 | 1172541.5899 | 2616749.5031 | 1172541.8525 | 2616767.2659 | 1172545.5594
60 | 2616513.4315 | 1172389.5793 | 2616515.8968 | 1172385.8064 | 2616524.5005 | 1172374.7022 | 2616527.3002 | 1172371.6972 | 2616535.6021 | 1172364.7053 | 2616544.2032 | 1172354.6016 | 2616560.5009 | 1172337.9046 | 2616568.1973 | 1172331.4002 | 2616588.1003 | 1172316.403 | 2616592.9048 | 1172312.8009
61 | 2616520.6453 | 1172394.446 | 2616513.4315 | 1172389.5793
62 | 2616513.4315 | 1172389.5793 | 2616508.3551 | 1172386.1304 | 2616519.5027 | 1172370.4974 | 2616527.9898 | 1172360.1043
63 | 2616513.4315 | 1172389.5793 | 2616504.5993 | 1172403.1064 | 2616502.3961 | 1172407.3161
64 | 2616520.6453 | 1172394.446 | 2616530.3003 | 1172379.2982 | 2616533.7009 | 1172374.7052 | 2616536.8994 | 1172371.3011 | 2616537.8189 | 1172370.5833
65 | 2616520.6453 | 1172394.446 | 2616524.8976 | 1172397.2035 | 2616531.9009 | 1172400.8023 | 2616537.8981 | 1172403.0977 | 2616546.0996 | 1172404.7989 | 2616556.1999 | 1172405.7049 | 2616570.7994 | 1172405.8006 | 2616600.8378 | 1172403.8712
66 | 2616506.6089 | 1172342.3701 | 2616527.9898 | 1172360.1043
67 | 2616502.3961 | 1172407.3161 | 2616496.1618 | 1172419.2275
68 | 2616600.8378 | 1172403.8712 | 2616601.0374 | 1172377.8812
69 | 2616506.6089 | 1172342.3701 | 2616499.5523 | 1172344.2962 | 2616480.7488 | 1172351.6484 | 2616477.5497 | 1172352.4957 | 2616471.299 | 1172353.3457 | 2616464.4996 | 1172353.505 | 2616461.0971 | 1172353.1955 | 2616435.7972 | 1172347.8015 | 2616430.1017 | 1172346.9967 | 2616421.2992 | 1172346.906 | 2616414.802 | 1172348.4001 | 2616411.5022 | 1172349.7029 | 2616406.001 | 1172353.4009 | 2616401.6982 | 1172357.9026 | 2616400.3 | 1172360.1999 | 2616398.697 | 1172364.6979 | 2616398.1991 | 1172370.5995
70 | 2616506.6089 | 1172342.3701 | 2616492.8973 | 1172330.8045 | 2616486.6978 | 1172326.8966 | 2616470.7975 | 1172318.6045 | 2616463.0015 | 1172314.0031 | 2616459.797 | 1172311.204 | 2616457.9491 | 1172309.0421
71 | 2616850.7602 | 1172133.9617 | 2616848.9 | 1172129.0985 | 2616844.8997 | 1172115.5027 | 2616844.6017 | 1172112.7004 | 2616845.7044 | 1172103.9991 | 2616853.404 | 1172074.7058 | 2616853.942 | 1172073.2477
72 | 2616972.0459 | 1171857.5477 | 2616965.703 | 1171865.9042 | 2616963.852 | 1171868.2144
73 | 2616767.2659 | 1172545.5594 | 2616783.8969 | 1172530.0867 | 2616797.25 | 1172521.7753 | 2616811.1237 | 1172513.2875 | 2616838.9649 | 1172498.3354 | 2616856.9266 | 1172491.1709 | 2616862.5776 | 1172488.6855
74 | 2616658.1628 | 1172403.2226 | 2616666.9013 | 1172403.3978 | 2616691.3996 | 1172402.5985 | 2616699.0013 | 1172402.6974 | 2616735.2984 | 1172405.2995 | 2616744.1008 | 1172405.4017 | 2616753.9994 | 1172404.5955 | 2616766.902 | 1172401.5966 | 2616771.3043 | 1172399.8968 | 2616780.2446 | 1172394.8287
75 | 2616601.0374 | 1172377.8812 | 2616601.1003 | 1172369.6991 | 2616601.9039 | 1172358.3956
76 | 2616601.9039 | 1172358.3956 | 2616601.9039 | 1172358.3956 | 2616603.0026 | 1172353.7963 | 2616604.9974 | 1172348.6992 | 2616607.2971 | 1172344.0032 | 2616609.9014 | 1172339.7971 | 2616615.7973 | 1172331.6981 | 2616619.6012 | 1172327.8956 | 2616624.4995 | 1172323.7959 | 2616630.0347 | 1172319.8052
77 | 2616850.7602 | 1172133.9617 | 2616855.8001 | 1172131.2967 | 2616861.9004 | 1172126.9004 | 2616862.8902 | 1172126.0524
78 | 2616850.7602 | 1172133.9617 | 2616855.9995 | 1172147.5055 | 2616859.7005 | 1172158.6993 | 2616861.7467 | 1172164.0169
79 | 2616881.8042 | 1172109.4029 | 2616877.3027 | 1172113.7036 | 2616862.8902 | 1172126.0524
80 | 2616401.6031 | 1172378.8018 | 2616399.5001 | 1172375.9057 | 2616398.1991 | 1172370.5995
81 | 2616457.9491 | 1172309.0421 | 2616406.2972 | 1172216.5769
82 | 2616651.2298 | 1172306.865 | 2616634.8985 | 1172316.2986 | 2616630.0347 | 1172319.8052
83 | 2616651.2298 | 1172306.865 | 2616660.6981 | 1172301.3957 | 2616665.5025 | 1172298.0962 | 2616672.113 | 1172291.1661
84 | 2616401.6031 | 1172378.8018 | 2616415.8009 | 1172388.8011
85 | 2616415.8009 | 1172388.8011 | 2616414.2534 | 1172395.3557 | 2616404.2524 | 1172419.7519 | 2616399.9002 | 1172428.4 | 2616382.2511 | 1172458.5562 | 2616379.6478 | 1172465.2969 | 2616378.6549 | 1172473.2427
86 | 2616396.4439 | 1172703.9509 | 2616396.1866 | 1172705.0813
87 | 2616400.5974 | 1172686.2991 | 2616400.0023 | 1172691.4001 | 2616397.503 | 1172699.2973 | 2616396.4439 | 1172703.9509
88 | 2616371.3012 | 1172817.9973 | 2616365.8997 | 1172810.501 | 2616364.7979 | 1172807.8967 | 2616364.1978 | 1172803.604 | 2616364.9021 | 1172797.7029 | 2616366.9028 | 1172790.3046 | 2616368.4973 | 1172786.0957 | 2616385.2979 | 1172752.6022 | 2616388.4005 | 1172744.9957 | 2616391.7969 | 1172727.7962 | 2616393.1995 | 1172718.2063 | 2616396.1866 | 1172705.0813
89 | 2616400.5974 | 1172686.2991 | 2616382.5034 | 1172686.3055 | 2616371.6041 | 1172686.8984 | 2616368.2982 | 1172687.7009 | 2616364.1025 | 1172689.5015 | 2616357.4012 | 1172693.0963 | 2616352.9859 | 1172696.2164
90 | 2616400.5974 | 1172686.2991 | 2616409.5993 | 1172686.0013 | 2616412.6039 | 1172686.2985 | 2616417.1968 | 1172687.5005 | 2616419.7017 | 1172688.7969 | 2616422.3037 | 1172690.905 | 2616427.3399 | 1172696.5952
91 | 2616392.0749 | 1172512.1058 | 2616400.5974 | 1172686.2991
92 | 2616455.4012 | 1172693.9969 | 2616441.5981 | 1172702.1967 | 2616435.4017 | 1172705.7038 | 2616427.3399 | 1172696.5952
93 | 2616389.4187 | 1172491.6702 | 2616392.3026 | 1172508.2976 | 2616392.0749 | 1172512.1058
94 | 2616378.6549 | 1172473.2427 | 2616379.1036 | 1172477.0014 | 2616381.0992 | 1172482.7986 | 2616382.4001 | 1172485.3034 | 2616385.9982 | 1172489.6043 | 2616389.4187 | 1172491.6702
95 | 2616455.4012 | 1172693.9969 | 2616456.9026 | 1172695.902 | 2616468.1001 | 1172706.5046 | 2616475.301 | 1172715.9958 | 2616476.8998 | 1172718.6014 | 2616477.9016 | 1172721.4056 | 2616478.2023 | 1172723.2963 | 2616477.7986 | 1172725.4963 | 2616470.5993 | 1172743.3968 | 2616469.4994 | 1172748.4963 | 2616469.7015 | 1172750.0977 | 2616470.5987 | 1172752.0011 | 2616478.5981 | 1172760.305 | 2616479.5024 | 1172762.3974 | 2616479.8031 | 1172764.2992 | 2616478.9029 | 1172766.2977 | 2616476.5019 | 1172769.0037 | 2616470.0028 | 1172779.7469 | 2616461.7534 | 1172795.7547 | 2616456.5 | 1172801.2542
96 | 2616436.2027 | 1172812.9047 | 2616447.2512 | 1172807.999 | 2616456.5 | 1172801.2542
97 | 2615983.1177 | 1172404.6905 | 2615985.4546 | 1172406.1749
98 | 2616002.0459 | 1172413.7896 | 2615997.697 | 1172412.7554 | 2615992.5021 | 1172410.6516 | 2615985.4546 | 1172406.1749
99 | 2616002.0459 | 1172413.7896 | 2616002.4551 | 1172412.4228
100 | 2616378.6549 | 1172473.2427 | 2616342.0977 | 1172473.5992 | 2616328.2009 | 1172473.8728 | 2616315.0009 | 1172473.8815 | 2616308.7226 | 1172473.6866 | 2616298.4983 | 1172473.3921 | 2616297.6415 | 1172473.4787
101 | 2616297.6415 | 1172473.4787 | 2616152.4228 | 1172345.267
102 | 2616152.4228 | 1172345.267 | 2616151.7026 | 1172341.0521 | 2616151.0483 | 1172336.926 | 2616150.6977 | 1172330.7776 | 2616149.2042 | 1172325.8711 | 2616138.5528 | 1172307.9223 | 2616135.0035 | 1172302.4545 | 2616132.7287 | 1172299.6832
103 | 2616002.4551 | 1172412.4228 | 2616009.4145 | 1172389.1791
104 | 2616021.5877 | 1172361.9404 | 2616016.1018 | 1172370.9498 | 2616013.7024 | 1172375.9459 | 2616011.3981 | 1172382.5542 | 2616009.4145 | 1172389.1791
105 | 2616124.7984 | 1172292.0553 | 2616129.0041 | 1172295.1459 | 2616132.7287 | 1172299.6832
106 | 2616048.6953 | 1172325.7247 | 2616051.0028 | 1172323.652 | 2616052.8568 | 1172322.4786 | 2616059.8973 | 1172317.9506 | 2616064.5993 | 1172315.6509 | 2616073.0973 | 1172312.3496 | 2616106.5034 | 1172303.8456 | 2616113.1035 | 1172301.0508 | 2616116.2978 | 1172299.1472 | 2616122.198 | 1172294.9498 | 2616124.7984 | 1172292.0553
107 | 2616126.2035 | 1172289.9802 | 2616124.7984 | 1172292.0553
108 | 2616030.7033 | 1172324.3539 | 2616038.5002 | 1172325.8532 | 2616041.3988 | 1172325.8498 | 2616045.2014 | 1172325.2485 | 2616048.6953 | 1172325.7247
109 | 2616048.6953 | 1172325.7247 | 2616045.0987 | 1172329.3503 | 2616028.1983 | 1172351.75 | 2616024.1981 | 1172357.6534 | 2616021.5877 | 1172361.9404
110 | 2616126.2035 | 1172289.9802 | 2616109.1523 | 1172282.831 | 2616105.7004 | 1172280.9764 | 2616095.5835 | 1172274.1919
111 | 2616095.5835 | 1172274.1919 | 2616091.0043 | 1172271.121 | 2616079.6474 | 1172265.2211 | 2616043.7485 | 1172250.5291 | 2616029.514 | 1172243.8885
112 | 2616668.7242 | 1171791.6453 | 2616662.3972 | 1171795.0665 | 2616646.4279 | 1171802.9708 | 2616644.5356 | 1171803.9481
113 | 2616729.4836 | 1171759.1564 | 2616726.9052 | 1171762.2175 | 2616720.1404 | 1171768.9243 | 2616709.0806 | 1171774.3964 | 2616696.8004 | 1171778.6423 | 2616686.3618 | 1171783.5047 | 2616675.9173 | 1171787.7557 | 2616668.7242 | 1171791.6453
114 | 2616858.7008 | 1171843.7038 | 2616729.4836 | 1171759.1564
115 | 2616858.7008 | 1171843.7038 | 2616840.2044 | 1171860.9052 | 2616827.1043 | 1171871.196 | 2616820.8035 | 1171876.1031 | 2616778.4985 | 1171909.402 | 2616770.9038 | 1171914.8058 | 2616767.0969 | 1171916.7963 | 2616760.5968 | 1171921.903
116 | 2616760.5968 | 1171921.903 | 2616755.2984 | 1171926.7018 | 2616743.9018 | 1171940.5993 | 2616731.3026 | 1171952.4037 | 2616721.5974 | 1171960.403 | 2616716.4029 | 1171963.6013 | 2616702.7984 | 1171968.3993 | 2616695.3995 | 1171972.203 | 2616689.3989 | 1171976.4996 | 2616683.8103 | 1171981.0207
117 | 2617050.3358 | 1171746.4272 | 2617047.9995 | 1171744.9531 | 2617046.4477 | 1171744.6486 | 2617044.0529 | 1171744.8975 | 2617041.449 | 1171746.1018 | 2617038.947 | 1171749.0963 | 2617035.2034 | 1171755.7002 | 2617021.3013 | 1171773.5032 | 2617016.8528 | 1171777.8484 | 2617009.8011 | 1171783.1534 | 2617000.1541 | 1171789.2959 | 2616991.3986 | 1171793.9514 | 2616985.2501 | 1171796.3019 | 2616968.3015 | 1171801.4456 | 2616954.8985 | 1171807.8 | 2616937.6101 | 1171818.5362
118 | 2616937.6101 | 1171818.5362 | 2616926.7321 | 1171825.2916
119 | 2616910.6372 | 1171834.3227 | 2616924.0514 | 1171826.9563 | 2616926.7321 | 1171825.2916
120 | 2616837.3974 | 1171899.2056 | 2616845.6979 | 1171903.9979 | 2616851.8974 | 1171905.2047 | 2616858.4234 | 1171909.3615
121 | 2616855.0979 | 1171879.4006 | 2616846.0024 | 1171888.1018 | 2616837.3974 | 1171899.2056
122 | 2616615.332 | 1172169.5806 | 2616603.5997 | 1172178.7983 | 2616583.5995 | 1172195.5961 | 2616563.9813 | 1172212.7298
123 | 2616615.332 | 1172169.5806 | 2616623.1985 | 1172163.4001 | 2616628.208 | 1172161.123
124 | 2616563.9813 | 1172212.7298 | 2616558.3996 | 1172217.6046 | 2616555.501 | 1172220.3981 | 2616554.7003 | 1172222.2968 | 2616554.3026 | 1172225.0972 | 2616554.4036 | 1172227.2985 | 2616555.0034 | 1172228.901 | 2616566.601 | 1172238.9046 | 2616567.6993 | 1172239.9971 | 2616568.399 | 1172241.3997 | 2616568.8005 | 1172242.8015 | 2616569.4394 | 1172253.0106
125 | 2616642.797 | 1172154.4916 | 2616628.208 | 1172161.123
126 | 2616569.7016 | 1172257.2002 | 2616569.4394 | 1172253.0106
127 | 2616642.797 | 1172154.4916 | 2616644.1043 | 1172153.8974 | 2616652.8317 | 1172150.1488

## bus_geodata
| x | y | coords
0 | 2616903.6966 | 1172337.6881
1 | 2616922.5141 | 1172329.8418
2 | 2616857.5028 | 1172342.6973
3 | 2616935.402 | 1172321.9053
4 | 2616864.4119 | 1172318.8638
5 | 2616787.1775 | 1172390.8986
6 | 2616878.7021 | 1172296.6
7 | 2616784.7394 | 1172392.2807
8 | 2616911.7041 | 1172266.2995
9 | 2616783.0608 | 1172393.2323
10 | 2616927.3971 | 1172285.2494
11 | 2616910.2471 | 1172264.5245
12 | 2616949.6982 | 1172272.1981
13 | 2616892.8027 | 1172234.6971
14 | 2616866.9289 | 1172177.4846
15 | 2616741.0407 | 1172089.8493
16 | 2616718.4955 | 1172113.5052
17 | 2616750.561 | 1172084.524
18 | 2616694.2593 | 1172130.6685
19 | 2616676.0014 | 1172069.4985
20 | 2616764.1043 | 1172065.8967
21 | 2616672.9477 | 1172141.4276
22 | 2616693.093 | 1172010.1428
23 | 2616661.181 | 1172146.5626
24 | 2616775.8543 | 1171941.5554
25 | 2616910.6258 | 1171936.7408
26 | 2616911.903 | 1171942.2027
27 | 2616913.9953 | 1171924.3329
28 | 2616928.1631 | 1171913.5681
29 | 2616869.2469 | 1171990.8856
30 | 2616859.4588 | 1171910.0209
31 | 2616977.6747 | 1171841.4286
32 | 2616589.6796 | 1172456.9195
33 | 2616592.1959 | 1172455.0806
34 | 2616574.9235 | 1172468.1853
35 | 2616599.5727 | 1172449.4463
36 | 2616566.9009 | 1172474.6025
37 | 2616606.8561 | 1172458.1444
38 | 2616640.102 | 1172414.8962
39 | 2616645.4357 | 1172402.6937
40 | 2616664.8314 | 1172445.0859
41 | 2616622.1891 | 1172476.4557
42 | 2616640.8874 | 1172498.805
43 | 2616627.856 | 1172483.0188
44 | 2616649.2039 | 1172508.6021
45 | 2616654.9281 | 1172502.8776
46 | 2616601.1973 | 1172498.1977
47 | 2616670.0788 | 1172486.4151
48 | 2616683.7145 | 1172465.7314
49 | 2616847.1052 | 1172020.1178
50 | 2616592.9048 | 1172312.8009
51 | 2616513.4315 | 1172389.5793
52 | 2616520.6453 | 1172394.446
53 | 2616527.9898 | 1172360.1043
54 | 2616502.3961 | 1172407.3161
55 | 2616537.8189 | 1172370.5833
56 | 2616600.8378 | 1172403.8712
57 | 2616506.6089 | 1172342.3701
58 | 2616496.1618 | 1172419.2275
59 | 2616853.942 | 1172073.2477
60 | 2616963.852 | 1171868.2144
61 | 2616767.2659 | 1172545.5594
62 | 2616862.5776 | 1172488.6855
63 | 2616639.8228 | 1172374.9786
64 | 2616658.1628 | 1172403.2226
65 | 2616601.0374 | 1172377.8812
66 | 2616780.2446 | 1172394.8287
67 | 2616601.9039 | 1172358.3956
68 | 2616850.7602 | 1172133.9617
69 | 2616862.8902 | 1172126.0524
70 | 2616861.7467 | 1172164.0169
71 | 2616881.8042 | 1172109.4029
72 | 2616398.1991 | 1172370.5995
73 | 2616457.9491 | 1172309.0421
74 | 2616630.0347 | 1172319.8052
75 | 2616651.2298 | 1172306.865
76 | 2616672.113 | 1172291.1661
77 | 2616406.2972 | 1172216.5769
78 | 2616401.6031 | 1172378.8018
79 | 2616415.8009 | 1172388.8011
80 | 2616396.4439 | 1172703.9509
81 | 2616396.1866 | 1172705.0813
82 | 2616400.5974 | 1172686.2991
83 | 2616371.3012 | 1172817.9973
84 | 2616352.9859 | 1172696.2164
85 | 2616427.3399 | 1172696.5952
86 | 2616392.0749 | 1172512.1058
87 | 2616389.4187 | 1172491.6702
88 | 2616455.4012 | 1172693.9969
89 | 2616456.5 | 1172801.2542
90 | 2615983.1177 | 1172404.6905
91 | 2615985.4546 | 1172406.1749
92 | 2616002.0459 | 1172413.7896
93 | 2616297.6415 | 1172473.4787
94 | 2616378.6549 | 1172473.2427
95 | 2616152.4228 | 1172345.267
96 | 2616002.4551 | 1172412.4228
97 | 2616009.4145 | 1172389.1791
98 | 2616436.2027 | 1172812.9047
99 | 2616132.7287 | 1172299.6832
100 | 2616124.7984 | 1172292.0553
101 | 2616048.6953 | 1172325.7247
102 | 2616126.2035 | 1172289.9802
103 | 2616030.7033 | 1172324.3539
104 | 2616021.5877 | 1172361.9404
105 | 2616095.5835 | 1172274.1919
106 | 2616029.514 | 1172243.8885
107 | 2616668.7242 | 1171791.6453
108 | 2616644.5356 | 1171803.9481
109 | 2616729.4836 | 1171759.1564
110 | 2616858.7008 | 1171843.7038
111 | 2616760.5968 | 1171921.903
112 | 2616683.8103 | 1171981.0207
113 | 2617050.3358 | 1171746.4272
114 | 2616937.6101 | 1171818.5362
115 | 2616926.7321 | 1171825.2916
116 | 2616858.4234 | 1171909.3615
117 | 2616910.6372 | 1171834.3227
118 | 2616837.3974 | 1171899.2056
119 | 2616615.332 | 1172169.5806
120 | 2616563.9813 | 1172212.7298
121 | 2616628.208 | 1172161.123
122 | 2616569.4394 | 1172253.0106
123 | 2616642.797 | 1172154.4916
124 | 2616569.7016 | 1172257.2002
125 | 2616652.8317 | 1172150.1488
126 | 2616689.6784 | 1172216.992
127 | 2616855.0979 | 1171879.4006
128 | 2616972.0459 | 1171857.5477
129 | 2616677.8977 | 1172285.1017

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1