## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_768-21_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_768-21_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_768-21_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_768-21_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_768-21_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_768-21_0_2_node_158 | 0.4 | n |  | TRUE
6 | bus_LV_768-21_0_2_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_768-21_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_768-21_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_768-21_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_768-21_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_768-21_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_768-21_0_2_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_768-21_0_2_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_768-21_0_2_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_768-21_0_2_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_768-21_0_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_768-21_0_2_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_768-21_0_2_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_768-21_0_2_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_768-21_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_768-21_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_768-21_0_2_node_138 | 0.4 | n |  | TRUE
23 | bus_LV_768-21_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_768-21_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_768-21_0_2_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_768-21_0_2_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_768-21_0_2_node_119 | 0.4 | n |  | TRUE
28 | bus_LV_768-21_0_2_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_768-21_0_2_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_768-21_0_2_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_768-21_0_2_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_768-21_0_2_node_150 | 0.4 | n |  | TRUE
33 | bus_LV_768-21_0_2_node_102 | 0.4 | n |  | TRUE
34 | bus_LV_768-21_0_2_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_768-21_0_2_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_768-21_0_2_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_768-21_0_2_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_768-21_0_2_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_768-21_0_2_node_120 | 0.4 | n |  | TRUE
40 | bus_LV_768-21_0_2_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_768-21_0_2_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_768-21_0_2_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_768-21_0_2_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_768-21_0_2_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_768-21_0_2_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_768-21_0_2_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_768-21_0_2_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_768-21_0_2_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_768-21_0_2_node_76 | 0.4 | n |  | TRUE
50 | bus_LV_768-21_0_2_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_768-21_0_2_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_768-21_0_2_node_78 | 0.4 | n |  | TRUE
53 | bus_LV_768-21_0_2_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_768-21_0_2_node_134 | 0.4 | n |  | TRUE
55 | bus_LV_768-21_0_2_node_86 | 0.4 | n |  | TRUE
56 | bus_LV_768-21_0_2_node_87 | 0.4 | n |  | TRUE
57 | bus_LV_768-21_0_2_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_768-21_0_2_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_768-21_0_2_node_90 | 0.4 | n |  | TRUE
60 | bus_LV_768-21_0_2_node_91 | 0.4 | n |  | TRUE
61 | bus_LV_768-21_0_2_node_92 | 0.4 | n |  | TRUE
62 | bus_LV_768-21_0_2_node_93 | 0.4 | n |  | TRUE
63 | bus_LV_768-21_0_2_node_94 | 0.4 | n |  | TRUE
64 | bus_LV_768-21_0_2_node_133 | 0.4 | n |  | TRUE
65 | bus_LV_768-21_0_2_node_98 | 0.4 | n |  | TRUE
66 | bus_LV_768-21_0_2_node_95 | 0.4 | n |  | TRUE
67 | bus_LV_768-21_0_2_node_132 | 0.4 | n |  | TRUE
68 | bus_LV_768-21_0_2_node_96 | 0.4 | n |  | TRUE
69 | bus_LV_768-21_0_2_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_768-21_0_2_node_100 | 0.4 | n |  | TRUE
71 | bus_LV_768-21_0_2_node_101 | 0.4 | n |  | TRUE
72 | bus_LV_768-21_0_2_node_131 | 0.4 | n |  | TRUE
73 | bus_LV_768-21_0_2_node_139 | 0.4 | n |  | TRUE
74 | bus_LV_768-21_0_2_node_159 | 0.4 | n |  | TRUE
75 | bus_LV_768-21_0_2_node_162 | 0.4 | n |  | TRUE
76 | bus_MV_118_0_node_71 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_768-21_0_2_load_0 | 0 | 0.0053463 | 0.0013399 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_768-21_0_2_load_1 | 1 | 0.0053489 | 0.0013406 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_768-21_0_2_load_2 | 2 | 0.0024216 | 0.0006069 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_768-21_0_2_load_3 | 3 | 0.0021791 | 0.00054613 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_768-21_0_2_load_4 | 4 | 0.0042417 | 0.0010631 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_768-21_0_2_load_26 | 6 | 0.0043408 | 0.0010879 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_768-21_0_2_load_5 | 7 | 0.0043623 | 0.0010933 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_768-21_0_2_load_6 | 8 | 0.0043654 | 0.0010941 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_768-21_0_2_load_7 | 9 | 0.002524 | 0.00063257 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_768-21_0_2_load_9 | 11 | 0.0043749 | 0.0010965 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_768-21_0_2_load_32 | 12 | 0.0044487 | 0.001115 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_768-21_0_2_load_28 | 13 | 0.0043668 | 0.0010944 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_768-21_0_2_load_17 | 14 | 0.0043811 | 0.001098 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_768-21_0_2_load_18 | 15 | 0.0024909 | 0.00062429 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_768-21_0_2_load_29 | 18 | 0.0025092 | 0.00062886 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_768-21_0_2_load_20 | 19 | 0.0024707 | 0.00061921 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_768-21_0_2_load_21 | 20 | 0.0024632 | 0.00061735 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_768-21_0_2_load_22 | 21 | 0.0024677 | 0.00061847 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_768-21_0_2_load_138 | 22 | 0.0016893 | 0.00042339 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_768-21_0_2_load_23 | 23 | 0.002469 | 0.00061879 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_768-21_0_2_load_27 | 24 | 0.0043562 | 0.0010918 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_768-21_0_2_load_30 | 25 | 0.0024851 | 0.00062284 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_768-21_0_2_load_68 | 26 | 0.0030981 | 0.00077646 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_768-21_0_2_load_119 | 27 | 0.0043985 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_768-21_0_2_load_50 | 28 | 0.0047071 | 0.0011797 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_768-21_0_2_load_51 | 29 | 0.0094199 | 0.0023608 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_768-21_0_2_load_52 | 30 | 0.0072762 | 0.0018236 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_768-21_0_2_load_150 | 32 | 0.0057579 | 0.0014431 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_768-21_0_2_load_58 | 36 | 0.0060354 | 0.0015126 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_768-21_0_2_load_59 | 37 | 0.0097869 | 0.0024528 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_768-21_0_2_load_64 | 38 | 0.0050421 | 0.0012637 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_768-21_0_2_load_120 | 39 | 0.0054143 | 0.0013569 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_768-21_0_2_load_85 | 40 | 0.001708 | 0.00042806 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_768-21_0_2_load_69 | 41 | 0.0026949 | 0.00067541 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_768-21_0_2_load_70 | 42 | 0.0020738 | 0.00051974 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_768-21_0_2_load_71 | 43 | 0.0010441 | 0.00026168 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_768-21_0_2_load_72 | 44 | 0.0024753 | 0.00062036 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_768-21_0_2_load_73 | 45 | 0.0025893 | 0.00064893 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_768-21_0_2_load_99 | 46 | 0.0035559 | 0.00089119 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_768-21_0_2_load_74 | 48 | 0.0023771 | 0.00059576 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_768-21_0_2_load_80 | 50 | 0.0023107 | 0.00057911 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_768-21_0_2_load_79 | 53 | 0.0028287 | 0.00070893 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_768-21_0_2_load_134 | 54 | 0.010841 | 0.0027169 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_768-21_0_2_load_88 | 57 | 0.0050612 | 0.0012685 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_768-21_0_2_load_89 | 58 | 0.011533 | 0.0028905 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_768-21_0_2_load_93 | 62 | 0.0087894 | 0.0022028 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_768-21_0_2_load_94 | 63 | 0.014245 | 0.00357 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_768-21_0_2_load_133 | 64 | 0.011568 | 0.0028992 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_768-21_0_2_load_132 | 67 | 0.0089687 | 0.0022478 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_768-21_0_2_load_96 | 68 | 0.012979 | 0.0032527 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_768-21_0_2_load_97 | 69 | 0.010788 | 0.0027036 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_768-21_0_2_load_100 | 70 | 0.0041214 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_768-21_0_2_load_101 | 71 | 0.0023405 | 0.00058659 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_768-21_0_2_load_131 | 72 | 0.010733 | 0.0026899 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_768-21_0_2_load_139 | 73 | 0.0017724 | 0.00044421 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_768-21_0_2_load_162 | 75 | 0.0029452 | 0.00073813 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_768-21_0_2_line_0 |  | 0 | 1 | 5.3139e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_768-21_0_2_line_1 |  | 0 | 2 | 0.016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_768-21_0_2_line_2 |  | 1 | 3 | 0.012633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_768-21_0_2_line_3 |  | 2 | 4 | 0.028175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_768-21_0_2_line_4 |  | 3 | 5 | 0.057714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_768-21_0_2_line_5 |  | 4 | 6 | 0.0072132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_768-21_0_2_line_6 |  | 5 | 74 | 0.055063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_768-21_0_2_line_7 |  | 6 | 24 | 0.013792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_768-21_0_2_line_8 |  | 7 | 8 | 0.0072918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_768-21_0_2_line_9 |  | 7 | 9 | 0.0088637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_768-21_0_2_line_10 |  | 8 | 10 | 0.0061102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_768-21_0_2_line_11 |  | 9 | 11 | 0.004755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_768-21_0_2_line_12 |  | 10 | 12 | 0.015228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_768-21_0_2_line_13 |  | 10 | 13 | 0.0076465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_768-21_0_2_line_14 |  | 11 | 14 | 0.0072938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_768-21_0_2_line_15 |  | 12 | 27 | 0.012162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_768-21_0_2_line_16 |  | 13 | 24 | 0.0072965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_768-21_0_2_line_17 |  | 14 | 15 | 0.0029201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_768-21_0_2_line_18 |  | 15 | 16 | 0.016501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_768-21_0_2_line_19 |  | 16 | 17 | 0.009583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_768-21_0_2_line_20 |  | 16 | 18 | 0.015765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_768-21_0_2_line_21 |  | 17 | 23 | 0.017887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_768-21_0_2_line_22 |  | 18 | 25 | 0.00020347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_768-21_0_2_line_23 |  | 19 | 20 | 4.9827e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_768-21_0_2_line_24 |  | 19 | 21 | 8.8933e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_768-21_0_2_line_25 |  | 20 | 22 | 0.076336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_768-21_0_2_line_26 |  | 21 | 23 | 4.8841e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_768-21_0_2_line_27 |  | 22 | 73 | 0.0086189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_768-21_0_2_line_28 |  | 22 | 35 | 0.02157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_768-21_0_2_line_29 |  | 25 | 26 | 0.04958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_768-21_0_2_line_30 |  | 26 | 40 | 0.032629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_768-21_0_2_line_31 |  | 27 | 71 | 0.014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_768-21_0_2_line_32 |  | 28 | 29 | 0.060062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_768-21_0_2_line_33 |  | 28 | 30 | 0.020463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_768-21_0_2_line_34 |  | 29 | 31 | 0.010328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_768-21_0_2_line_35 |  | 30 | 32 | 0.037758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_768-21_0_2_line_36 |  | 31 | 33 | 0.006401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_768-21_0_2_line_37 |  | 32 | 56 | 0.024819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_768-21_0_2_line_38 |  | 33 | 64 | 0.0090323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_768-21_0_2_line_39 |  | 33 | 72 | 0.014426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_768-21_0_2_line_40 |  | 34 | 35 | 0.034721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_768-21_0_2_line_41 |  | 34 | 36 | 0.018807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_768-21_0_2_line_42 |  | 34 | 37 | 0.023254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_768-21_0_2_line_43 |  | 38 | 39 | 0.034645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_768-21_0_2_line_44 |  | 39 | 66 | 0.040531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_768-21_0_2_line_45 |  | 40 | 55 | 0.01367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_768-21_0_2_line_46 |  | 41 | 42 | 0.002517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_768-21_0_2_line_47 |  | 41 | 43 | 0.0072507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_768-21_0_2_line_48 |  | 42 | 44 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_768-21_0_2_line_49 |  | 43 | 45 | 0.0095908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_768-21_0_2_line_50 |  | 44 | 46 | 0.0024134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_768-21_0_2_line_51 |  | 45 | 47 | 0.0086046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_768-21_0_2_line_52 |  | 46 | 70 | 0.017953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_768-21_0_2_line_53 |  | 47 | 49 | 0.031431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_768-21_0_2_line_54 |  | 47 | 48 | 0.016142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_768-21_0_2_line_55 |  | 49 | 50 | 0.01919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_768-21_0_2_line_56 |  | 51 | 52 | 0.032929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_768-21_0_2_line_57 |  | 51 | 53 | 0.027702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_768-21_0_2_line_58 |  | 52 | 54 | 0.025078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_768-21_0_2_line_59 |  | 54 | 61 | 0.020853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_768-21_0_2_line_60 |  | 55 | 56 | 0.019113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_768-21_0_2_line_61 |  | 55 | 57 | 0.030009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_768-21_0_2_line_62 |  | 58 | 59 | 0.029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_768-21_0_2_line_63 |  | 58 | 60 | 0.017714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_768-21_0_2_line_64 |  | 59 | 61 | 0.009822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_768-21_0_2_line_65 |  | 59 | 62 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_768-21_0_2_line_66 |  | 60 | 63 | 0.040483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_768-21_0_2_line_67 |  | 61 | 64 | 0.02412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_768-21_0_2_line_68 |  | 62 | 65 | 0.029394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_768-21_0_2_line_69 |  | 65 | 69 | 0.0039522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_768-21_0_2_line_70 |  | 66 | 67 | 0.030148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_768-21_0_2_line_71 |  | 67 | 72 | 0.017469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_768-21_0_2_line_72 |  | 68 | 69 | 0.013302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_768-21_0_2_line_73 |  | 70 | 71 | 0.018944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_768-21_0_2_line_74 |  | 74 | 75 | 0.054708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_768-21_0_2_trafo_88 | 0.63 MVA 20/0.4 kV | 76 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2618098.7432 | 1170510.8375 | 2618098.7011 | 1170510.805 | 2618098.7011 | 1170510.805
1 | 2618098.7432 | 1170510.8375 | 2618111.8978 | 1170521.0054 | 2618111.8978 | 1170521.0054
2 | 2618106.6684 | 1170501.0015 | 2618098.7011 | 1170510.805
3 | 2618095.2242 | 1170543.7172 | 2618111.8978 | 1170521.0054
4 | 2618145.2118 | 1170458.5074 | 2618142.5998 | 1170459.5556 | 2618140.8513 | 1170460.951 | 2618135.6985 | 1170467.4055 | 2618115.1011 | 1170491.2 | 2618109.5972 | 1170497.3977 | 2618106.6684 | 1170501.0015
5 | 2618095.2242 | 1170543.7172 | 2618090.9556 | 1170549.5317
6 | 2618145.2118 | 1170458.5074 | 2618146.299 | 1170458.1994 | 2618149.3526 | 1170457.8529 | 2618151.0502 | 1170458.1025 | 2618169.1027 | 1170463.9488 | 2618196.875 | 1170476.0832
7 | 2618082.7934 | 1170560.6498 | 2618090.9556 | 1170549.5317
8 | 2618066.0189 | 1170583.4984 | 2618070.3342 | 1170577.6206
9 | 2618066.0189 | 1170583.4984 | 2618060.7732 | 1170590.6432
10 | 2618073.9503 | 1170572.6953 | 2618070.3342 | 1170577.6206
11 | 2618057.9592 | 1170594.4761 | 2618060.7732 | 1170590.6432
12 | 2618073.9503 | 1170572.6953 | 2618086.2042 | 1170580.9029 | 2618086.6041 | 1170581.1666
13 | 2618073.9503 | 1170572.6953 | 2618078.4754 | 1170566.5315
14 | 2618057.9592 | 1170594.4761 | 2618053.6426 | 1170600.3555
15 | 2618086.6041 | 1170581.1666 | 2618088.9987 | 1170582.7456 | 2618092.2533 | 1170584.2005 | 2618097.9509 | 1170584.7957
16 | 2618078.4754 | 1170566.5315 | 2618082.7934 | 1170560.6498
17 | 2618051.9144 | 1170602.7094 | 2618053.6426 | 1170600.3555
18 | 2618042.1487 | 1170616.0108 | 2618051.9144 | 1170602.7094
19 | 2618036.4721 | 1170623.7421 | 2618042.1487 | 1170616.0108
20 | 2618042.1487 | 1170616.0108 | 2618054.7079 | 1170625.5399
21 | 2618036.4721 | 1170623.7421 | 2618022.6016 | 1170613.7956 | 2618021.9441 | 1170613.3076
22 | 2618054.7079 | 1170625.5399 | 2618054.87 | 1170625.6629
23 | 2618021.8335 | 1170613.2255 | 2618021.7934 | 1170613.1958
24 | 2618021.9049 | 1170613.2785 | 2618021.8335 | 1170613.2255
25 | 2618021.7934 | 1170613.1958 | 2617988.3135 | 1170544.594
26 | 2618021.9441 | 1170613.3076 | 2618021.9049 | 1170613.2785
27 | 2617993.2997 | 1170537.6029 | 2617989.6029 | 1170543.3058 | 2617988.3135 | 1170544.594
28 | 2617969.2531 | 1170551.0601 | 2617970.1012 | 1170551.3962 | 2617972.1041 | 1170551.9024 | 2617976.0972 | 1170552.0032 | 2617978.1028 | 1170551.5979 | 2617982.4997 | 1170549.699 | 2617984.999 | 1170547.9055 | 2617988.3135 | 1170544.594
29 | 2618054.87 | 1170625.6629 | 2618087.549 | 1170662.9484
30 | 2618119.3717 | 1170655.9225 | 2618110.0489 | 1170657.5466 | 2618094.5019 | 1170660.7459 | 2618087.549 | 1170662.9484
31 | 2618111.629 | 1170580.2885 | 2618106.7479 | 1170582.4988 | 2618101.9995 | 1170584.252 | 2618097.9509 | 1170584.7957 | 2618097.9509 | 1170584.7957
32 | 2618194.8847 | 1170716.6269 | 2618197.2988 | 1170718.0957 | 2618200.1483 | 1170719.4049 | 2618201.8541 | 1170719.4545 | 2618206.9528 | 1170718.2027 | 2618210.1006 | 1170717.0004 | 2618214.2011 | 1170714.456 | 2618216.4519 | 1170711.3501 | 2618217.0481 | 1170709.0063 | 2618217.2034 | 1170705.7051 | 2618216.8479 | 1170699.3008 | 2618217.4519 | 1170696.9014 | 2618218.797 | 1170694.8044 | 2618234.1206 | 1170685.3421
33 | 2618182.2025 | 1170701.2971 | 2618188.9985 | 1170713.0458 | 2618194.8847 | 1170716.6269
34 | 2618242.3149 | 1170679.1121 | 2618237.751 | 1170683.1003 | 2618234.1206 | 1170685.3421
35 | 2618182.2025 | 1170701.2971 | 2618146.097 | 1170690.2494
36 | 2618247.2996 | 1170675.1029 | 2618243.8034 | 1170677.6492 | 2618242.3149 | 1170679.1121
37 | 2618134.3773 | 1170669.8816 | 2618146.602 | 1170685.1483 | 2618146.9529 | 1170688.0064 | 2618146.097 | 1170690.2494
38 | 2618247.2996 | 1170675.1029 | 2618251.4014 | 1170667.0557
39 | 2618247.2996 | 1170675.1029 | 2618250.6984 | 1170676.903 | 2618253.0023 | 1170679 | 2618258.3035 | 1170684.152 | 2618258.3538 | 1170684.2034
40 | 2617969.2531 | 1170551.0601 | 2617967.404 | 1170550.2987 | 2617965.3043 | 1170548.9028 | 2617959.2023 | 1170542.8038 | 2617954.6988 | 1170539.3997 | 2617941.4216 | 1170530.489
41 | 2617941.4216 | 1170530.489 | 2617925.8115 | 1170519.9999
42 | 2617941.4216 | 1170530.489 | 2617953.5497 | 1170510.6484
43 | 2618243.6298 | 1170774.2277 | 2618244.0014 | 1170773.8984 | 2618248.0983 | 1170769.9978 | 2618262.7022 | 1170754.801 | 2618267.4323 | 1170749.0909
44 | 2618291.9105 | 1170716.8037 | 2618290.4968 | 1170718.8005 | 2618274.3038 | 1170740.7958 | 2618267.4323 | 1170749.0909
45 | 2618132.8503 | 1170653.6465 | 2618130.2481 | 1170654.0278 | 2618119.3717 | 1170655.9225
46 | 2618166.1632 | 1170555.3724 | 2618163.9035 | 1170556.4812
47 | 2618172.4997 | 1170551.8635 | 2618169.1526 | 1170553.9055 | 2618166.1632 | 1170555.3724
48 | 2618147.4393 | 1170564.0729 | 2618160.3035 | 1170558.2477 | 2618163.9035 | 1170556.4812
49 | 2618172.4997 | 1170551.8635 | 2618180.6872 | 1170546.8686
50 | 2618145.2408 | 1170565.0684 | 2618147.4393 | 1170564.0729
51 | 2618187.9689 | 1170542.2898 | 2618186.451 | 1170543.3524 | 2618180.6872 | 1170546.8686
52 | 2618145.2408 | 1170565.0684 | 2618128.8861 | 1170572.4741
53 | 2618187.9689 | 1170542.2898 | 2618195.5974 | 1170536.8545 | 2618200.1983 | 1170533.2999 | 2618212.8446 | 1170523.0107
54 | 2618187.9689 | 1170542.2898 | 2618198.2306 | 1170554.7505
55 | 2618212.8446 | 1170523.0107 | 2618224.5193 | 1170538.2408
56 | 2618264.0105 | 1170600.8939 | 2618239.4557 | 1170622.9084
57 | 2618264.0105 | 1170600.8939 | 2618267.0637 | 1170598.1128 | 2618284.6435 | 1170582.4093
58 | 2618239.4557 | 1170622.9084 | 2618242.3534 | 1170625.9965 | 2618244.8475 | 1170628.4497 | 2618247.0525 | 1170630.4018 | 2618253.4032 | 1170635.1012 | 2618258.6495 | 1170638.152 | 2618258.9562 | 1170638.4541
59 | 2618271.2 | 1170654.3982 | 2618270.8978 | 1170650.6065 | 2618269.1524 | 1170648.5002 | 2618258.9562 | 1170638.4541
60 | 2618132.8503 | 1170653.6465 | 2618135.4975 | 1170656.1002 | 2618137.5977 | 1170659.7973 | 2618137.9981 | 1170661.4993 | 2618137.7972 | 1170664.7004 | 2618137.0029 | 1170666.799 | 2618135.5972 | 1170668.6957 | 2618134.3773 | 1170669.8816
61 | 2618132.8503 | 1170653.6465 | 2618134.7331 | 1170653.3298 | 2618142.2494 | 1170652.0518 | 2618150.6021 | 1170649.8981 | 2618158.3483 | 1170648.4985 | 2618162.3239 | 1170648.3507
62 | 2618279.6394 | 1170659.004 | 2618290.1028 | 1170669.6967 | 2618293.6529 | 1170674.5988 | 2618295.2502 | 1170675.1039 | 2618299.5497 | 1170675.0503 | 2618301.3153 | 1170676.0143
63 | 2618310.6488 | 1170690.514 | 2618308.201 | 1170687.9498 | 2618307.0519 | 1170685.9564 | 2618304.8522 | 1170679.7465 | 2618302.9483 | 1170676.906 | 2618301.3153 | 1170676.0143
64 | 2618279.6394 | 1170659.004 | 2618278.3505 | 1170657.6994 | 2618272.9514 | 1170654.5481 | 2618271.2 | 1170654.3982
65 | 2618279.6394 | 1170659.004 | 2618281.6493 | 1170657.1536 | 2618284.9024 | 1170654.0508 | 2618287.5043 | 1170651.2461 | 2618289.2008 | 1170649.3058 | 2618289.638 | 1170648.9924
66 | 2618310.6488 | 1170690.514 | 2618319.8991 | 1170677.5023 | 2618334.4521 | 1170657.7704
67 | 2618271.2 | 1170654.3982 | 2618270.4044 | 1170654.3958 | 2618266.9521 | 1170655.0968 | 2618263.5512 | 1170656.4983 | 2618260.5997 | 1170658.546 | 2618251.4014 | 1170667.0557
68 | 2618308.4476 | 1170626.953 | 2618305.2021 | 1170632.6016 | 2618297.1513 | 1170643.6049 | 2618289.638 | 1170648.9924
69 | 2618308.4476 | 1170626.953 | 2618305.5856 | 1170624.2274
70 | 2618291.9105 | 1170716.8037 | 2618286.2024 | 1170712.1507 | 2618282.8031 | 1170708.005 | 2618278.797 | 1170702.1454 | 2618274.6504 | 1170699.6983 | 2618271.8496 | 1170694.954 | 2618271.8496 | 1170694.954
71 | 2618271.8496 | 1170694.954 | 2618269.2543 | 1170693.0563 | 2618265.2512 | 1170691.2544 | 2618258.3538 | 1170684.2034
72 | 2618305.5856 | 1170624.2274 | 2618295.9529 | 1170615.0535
73 | 2618111.629 | 1170580.2885 | 2618128.8861 | 1170572.4741
74 | 2618196.875 | 1170476.0832 | 2618192.9001 | 1170482.5967 | 2618184.6033 | 1170493.9996 | 2618182.0008 | 1170497.0044 | 2618161.1005 | 1170517.196

## bus_geodata
| x | y | coords
0 | 2618098.7432 | 1170510.8375
1 | 2618098.7011 | 1170510.805
2 | 2618111.8978 | 1170521.0054
3 | 2618106.6684 | 1170501.0015
4 | 2618095.2242 | 1170543.7172
5 | 2618145.2118 | 1170458.5074
6 | 2618090.9556 | 1170549.5317
7 | 2618066.0189 | 1170583.4984
8 | 2618070.3342 | 1170577.6206
9 | 2618060.7732 | 1170590.6432
10 | 2618073.9503 | 1170572.6953
11 | 2618057.9592 | 1170594.4761
12 | 2618086.6041 | 1170581.1666
13 | 2618078.4754 | 1170566.5315
14 | 2618053.6426 | 1170600.3555
15 | 2618051.9144 | 1170602.7094
16 | 2618042.1487 | 1170616.0108
17 | 2618036.4721 | 1170623.7421
18 | 2618054.7079 | 1170625.5399
19 | 2618021.8335 | 1170613.2255
20 | 2618021.7934 | 1170613.1958
21 | 2618021.9049 | 1170613.2785
22 | 2617988.3135 | 1170544.594
23 | 2618021.9441 | 1170613.3076
24 | 2618082.7934 | 1170560.6498
25 | 2618054.87 | 1170625.6629
26 | 2618087.549 | 1170662.9484
27 | 2618097.9509 | 1170584.7957
28 | 2618194.8847 | 1170716.6269
29 | 2618234.1206 | 1170685.3421
30 | 2618182.2025 | 1170701.2971
31 | 2618242.3149 | 1170679.1121
32 | 2618146.097 | 1170690.2494
33 | 2618247.2996 | 1170675.1029
34 | 2617941.4216 | 1170530.489
35 | 2617969.2531 | 1170551.0601
36 | 2617925.8115 | 1170519.9999
37 | 2617953.5497 | 1170510.6484
38 | 2618243.6298 | 1170774.2277
39 | 2618267.4323 | 1170749.0909
40 | 2618119.3717 | 1170655.9225
41 | 2618166.1632 | 1170555.3724
42 | 2618163.9035 | 1170556.4812
43 | 2618172.4997 | 1170551.8635
44 | 2618147.4393 | 1170564.0728
45 | 2618180.6872 | 1170546.8686
46 | 2618145.2408 | 1170565.0684
47 | 2618187.9689 | 1170542.2898
48 | 2618198.2306 | 1170554.7505
49 | 2618212.8446 | 1170523.0107
50 | 2618224.5193 | 1170538.2408
51 | 2618264.0105 | 1170600.8938
52 | 2618239.4557 | 1170622.9084
53 | 2618284.6435 | 1170582.4093
54 | 2618258.9562 | 1170638.4541
55 | 2618132.8503 | 1170653.6465
56 | 2618134.3773 | 1170669.8816
57 | 2618162.3239 | 1170648.3507
58 | 2618301.3153 | 1170676.0143
59 | 2618279.6394 | 1170659.004
60 | 2618310.6488 | 1170690.514
61 | 2618271.2 | 1170654.3982
62 | 2618289.638 | 1170648.9924
63 | 2618334.4521 | 1170657.7704
64 | 2618251.4014 | 1170667.0557
65 | 2618308.4476 | 1170626.953
66 | 2618291.9105 | 1170716.8037
67 | 2618271.8496 | 1170694.954
68 | 2618295.9529 | 1170615.0535
69 | 2618305.5856 | 1170624.2274
70 | 2618128.8861 | 1170572.4741
71 | 2618111.629 | 1170580.2885
72 | 2618258.3538 | 1170684.2034
73 | 2617993.2997 | 1170537.6029
74 | 2618196.875 | 1170476.0832
75 | 2618161.1005 | 1170517.196
76 | 2618132.8503 | 1170653.6465

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1