## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_768-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_768-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_768-23_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_768-23_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_768-23_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_768-23_0_4_node_109 | 0.4 | n |  | TRUE
6 | bus_LV_768-23_0_4_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_768-23_0_4_node_110 | 0.4 | n |  | TRUE
8 | bus_LV_768-23_0_4_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_768-23_0_4_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_768-23_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_768-23_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_768-23_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_768-23_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_768-23_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_768-23_0_4_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_768-23_0_4_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_768-23_0_4_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_768-23_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_768-23_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_768-23_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_768-23_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_768-23_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_768-23_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_768-23_0_4_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_768-23_0_4_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_768-23_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_768-23_0_4_node_158 | 0.4 | n |  | TRUE
28 | bus_LV_768-23_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_768-23_0_4_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_768-23_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_768-23_0_4_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_768-23_0_4_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_768-23_0_4_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_768-23_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_768-23_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_768-23_0_4_node_135 | 0.4 | n |  | TRUE
37 | bus_LV_768-23_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_768-23_0_4_node_150 | 0.4 | n |  | TRUE
39 | bus_LV_768-23_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_768-23_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_768-23_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_768-23_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_768-23_0_4_node_149 | 0.4 | n |  | TRUE
44 | bus_LV_768-23_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_768-23_0_4_node_147 | 0.4 | n |  | TRUE
46 | bus_LV_768-23_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_768-23_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_768-23_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_768-23_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_768-23_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_768-23_0_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_768-23_0_4_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_768-23_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_768-23_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_768-23_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_768-23_0_4_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_768-23_0_4_node_124 | 0.4 | n |  | TRUE
58 | bus_LV_768-23_0_4_node_123 | 0.4 | n |  | TRUE
59 | bus_LV_768-23_0_4_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_768-23_0_4_node_122 | 0.4 | n |  | TRUE
61 | bus_LV_768-23_0_4_node_116 | 0.4 | n |  | TRUE
62 | bus_LV_768-23_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_768-23_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_768-23_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_768-23_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_768-23_0_4_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_768-23_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_768-23_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_768-23_0_4_node_139 | 0.4 | n |  | TRUE
70 | bus_LV_768-23_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_768-23_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_768-23_0_4_node_132 | 0.4 | n |  | TRUE
73 | bus_LV_768-23_0_4_node_138 | 0.4 | n |  | TRUE
74 | bus_LV_768-23_0_4_node_159 | 0.4 | n |  | TRUE
75 | bus_LV_768-23_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_768-23_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_768-23_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_768-23_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_768-23_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_768-23_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_768-23_0_4_node_130 | 0.4 | n |  | TRUE
82 | bus_LV_768-23_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_768-23_0_4_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_768-23_0_4_node_136 | 0.4 | n |  | TRUE
85 | bus_LV_768-23_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_768-23_0_4_node_125 | 0.4 | n |  | TRUE
87 | bus_LV_768-23_0_4_node_126 | 0.4 | n |  | TRUE
88 | bus_LV_768-23_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_768-23_0_4_node_133 | 0.4 | n |  | TRUE
90 | bus_LV_768-23_0_4_node_137 | 0.4 | n |  | TRUE
91 | bus_LV_768-23_0_4_node_143 | 0.4 | n |  | TRUE
92 | bus_LV_768-23_0_4_node_142 | 0.4 | n |  | TRUE
93 | bus_LV_768-23_0_4_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_768-23_0_4_node_148 | 0.4 | n |  | TRUE
95 | bus_LV_768-23_0_4_node_107 | 0.4 | n |  | TRUE
96 | bus_LV_768-23_0_4_node_111 | 0.4 | n |  | TRUE
97 | bus_LV_768-23_0_4_node_112 | 0.4 | n |  | TRUE
98 | bus_LV_768-23_0_4_node_113 | 0.4 | n |  | TRUE
99 | bus_LV_768-23_0_4_node_140 | 0.4 | n |  | TRUE
100 | bus_LV_768-23_0_4_node_141 | 0.4 | n |  | TRUE
101 | bus_LV_768-23_0_4_node_145 | 0.4 | n |  | TRUE
102 | bus_LV_768-23_0_4_node_144 | 0.4 | n |  | TRUE
103 | bus_LV_768-23_0_4_node_160 | 0.4 | n |  | TRUE
104 | bus_LV_768-23_0_4_node_185 | 0.4 | n |  | TRUE
105 | bus_MV_118_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_768-23_0_4_load_0 | 0 | 0.0041866 | 0.0010493 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_768-23_0_4_load_1 | 1 | 0.0099727 | 0.0024994 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_768-23_0_4_load_2 | 2 | 0.0027046 | 0.00067784 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_768-23_0_4_load_3 | 3 | 0.0098831 | 0.0024769 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_768-23_0_4_load_4 | 4 | 0.0025884 | 0.00064872 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_768-23_0_4_load_54 | 8 | 0.0026434 | 0.00066251 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_768-23_0_4_load_50 | 9 | 0.001974 | 0.00049473 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_768-23_0_4_load_5 | 10 | 0.0032456 | 0.00081343 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_768-23_0_4_load_6 | 11 | 0.003807 | 0.00095411 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_768-23_0_4_load_7 | 12 | 0.0035532 | 0.00089052 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_768-23_0_4_load_8 | 13 | 0.0026494 | 0.00066401 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_768-23_0_4_load_9 | 14 | 0.002464 | 0.00061753 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_768-23_0_4_load_35 | 15 | 0.0045193 | 0.0011327 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_768-23_0_4_load_63 | 16 | 0.003066 | 0.00076842 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_768-23_0_4_load_27 | 17 | 0.0066494 | 0.0016665 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_768-23_0_4_load_28 | 18 | 0.0035877 | 0.00089917 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_768-23_0_4_load_10 | 19 | 0.0047844 | 0.0011991 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_768-23_0_4_load_11 | 20 | 0.0048883 | 0.0012251 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_768-23_0_4_load_12 | 21 | 0.00072459 | 0.0001816 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_768-23_0_4_load_14 | 23 | 0.002458 | 0.00061604 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_768-23_0_4_load_65 | 25 | 0.0035037 | 0.00087812 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_768-23_0_4_load_158 | 27 | 0.002224 | 0.00055738 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_768-23_0_4_load_21 | 28 | 0.0025195 | 0.00063146 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_768-23_0_4_load_34 | 29 | 0.0034103 | 0.00085469 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_768-23_0_4_load_24 | 30 | 0.0022166 | 0.00055553 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_768-23_0_4_load_15 | 31 | 0.0064144 | 0.0016076 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_768-23_0_4_load_16 | 32 | 0.0017352 | 0.00043488 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_768-23_0_4_load_19 | 35 | 0.0046863 | 0.0011745 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_768-23_0_4_load_135 | 36 | 0.0027251 | 0.00068297 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_768-23_0_4_load_20 | 37 | 0.0015167 | 0.00038011 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_768-23_0_4_load_150 | 38 | 0.0047111 | 0.0011807 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_768-23_0_4_load_22 | 39 | 0.0021522 | 0.00053939 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_768-23_0_4_load_23 | 40 | 0.0026736 | 0.00067007 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_768-23_0_4_load_29 | 42 | 0.0020845 | 0.00052243 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_768-23_0_4_load_149 | 43 | 0.0028134 | 0.00070511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_768-23_0_4_load_33 | 44 | 0.0046091 | 0.0011551 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_768-23_0_4_load_147 | 45 | 0.0027309 | 0.00068442 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_768-23_0_4_load_30 | 46 | 0.0045028 | 0.0011285 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_768-23_0_4_load_31 | 47 | 0.0025688 | 0.00064381 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_768-23_0_4_load_32 | 48 | 0.0023726 | 0.00059463 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_768-23_0_4_load_36 | 49 | 0.0017431 | 0.00043685 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_768-23_0_4_load_57 | 52 | 0.0019282 | 0.00048326 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_768-23_0_4_load_40 | 53 | 0.0021301 | 0.00053386 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_768-23_0_4_load_61 | 54 | 0.0028003 | 0.00070182 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_768-23_0_4_load_42 | 55 | 0.0033055 | 0.00082842 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_768-23_0_4_load_115 | 56 | 0.0025434 | 0.00063744 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_768-23_0_4_load_124 | 57 | 0.0032678 | 0.00081898 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_768-23_0_4_load_123 | 58 | 0.0038594 | 0.00096725 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_768-23_0_4_load_108 | 59 | 0.0028074 | 0.0007036 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_768-23_0_4_load_122 | 60 | 0.0032621 | 0.00081755 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_768-23_0_4_load_116 | 61 | 0.0066824 | 0.0016748 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_768-23_0_4_load_47 | 62 | 0.0021002 | 0.00052637 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_768-23_0_4_load_48 | 63 | 0.0021916 | 0.00054927 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_768-23_0_4_load_52 | 66 | 0.0022772 | 0.00057072 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_768-23_0_4_load_59 | 67 | 0.0014255 | 0.00035726 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_768-23_0_4_load_55 | 68 | 0.00087992 | 0.00022053 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_768-23_0_4_load_139 | 69 | 0.0017749 | 0.00044484 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_768-23_0_4_load_56 | 70 | 0.00087559 | 0.00021944 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_768-23_0_4_load_64 | 71 | 0.0018649 | 0.00046739 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_768-23_0_4_load_132 | 72 | 0.00074582 | 0.00018692 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_768-23_0_4_load_138 | 73 | 0.0019381 | 0.00048574 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_768-23_0_4_load_67 | 75 | 0.0023121 | 0.00057948 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_768-23_0_4_load_68 | 76 | 0.0021435 | 0.00053722 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_768-23_0_4_load_70 | 78 | 0.0025654 | 0.00064295 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_768-23_0_4_load_71 | 79 | 0.0032703 | 0.00081963 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_768-23_0_4_load_130 | 81 | 0.0023039 | 0.00057741 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_768-23_0_4_load_73 | 82 | 0.0026313 | 0.00065947 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_768-23_0_4_load_136 | 84 | 0.0024041 | 0.00060252 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_768-23_0_4_load_74 | 85 | 0.0014849 | 0.00037215 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_768-23_0_4_load_125 | 86 | 0.002867 | 0.00071854 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_768-23_0_4_load_89 | 88 | 0.0053948 | 0.0013521 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_768-23_0_4_load_133 | 89 | 0.0021632 | 0.00054216 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_768-23_0_4_load_137 | 90 | 0.0026622 | 0.00066721 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_768-23_0_4_load_143 | 91 | 0.0024463 | 0.0006131 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_768-23_0_4_load_142 | 92 | 0.0029682 | 0.00074391 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_768-23_0_4_load_87 | 93 | 0.0038241 | 0.00095841 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_768-23_0_4_load_148 | 94 | 0.0081772 | 0.0020494 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_768-23_0_4_load_107 | 95 | 0.0030626 | 0.00076755 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_768-23_0_4_load_111 | 96 | 0.0069073 | 0.0017311 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_768-23_0_4_load_112 | 97 | 0.0069275 | 0.0017362 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_768-23_0_4_load_113 | 98 | 0.009067 | 0.0022724 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_768-23_0_4_load_140 | 99 | 0.0063895 | 0.0016013 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_768-23_0_4_load_141 | 100 | 0.0045549 | 0.0011416 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_768-23_0_4_load_145 | 101 | 0.016359 | 0.0040999 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_768-23_0_4_load_144 | 102 | 0.0020819 | 0.00052177 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_768-23_0_4_load_185 | 104 | 0.0022779 | 0.0005709 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_768-23_0_4_line_0 |  | 0 | 1 | 0.018364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_768-23_0_4_line_1 |  | 0 | 2 | 0.0024508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_768-23_0_4_line_2 |  | 1 | 3 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_768-23_0_4_line_3 |  | 2 | 4 | 0.021972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_768-23_0_4_line_4 |  | 3 | 5 | 0.0037965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_768-23_0_4_line_5 |  | 4 | 6 | 0.027409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_768-23_0_4_line_6 |  | 5 | 7 | 0.042433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_768-23_0_4_line_7 |  | 6 | 8 | 0.010746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_768-23_0_4_line_8 |  | 6 | 9 | 0.027874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_768-23_0_4_line_9 |  | 7 | 96 | 0.0123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_768-23_0_4_line_10 |  | 7 | 60 | 0.037377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_768-23_0_4_line_11 |  | 8 | 34 | 0.01719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_768-23_0_4_line_12 |  | 9 | 63 | 0.010815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_768-23_0_4_line_13 |  | 10 | 11 | 0.018009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_768-23_0_4_line_14 |  | 10 | 12 | 0.046198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_768-23_0_4_line_15 |  | 11 | 13 | 0.015933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_768-23_0_4_line_16 |  | 12 | 14 | 0.018572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_768-23_0_4_line_17 |  | 13 | 15 | 0.0092233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_768-23_0_4_line_18 |  | 13 | 16 | 0.046974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_768-23_0_4_line_19 |  | 14 | 17 | 0.02015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_768-23_0_4_line_20 |  | 15 | 18 | 0.028269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_768-23_0_4_line_21 |  | 16 | 57 | 0.01227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_768-23_0_4_line_22 |  | 16 | 54 | 0.032893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_768-23_0_4_line_23 |  | 18 | 41 | 0.024399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_768-23_0_4_line_24 |  | 19 | 20 | 0.0049063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_768-23_0_4_line_25 |  | 19 | 21 | 0.00081971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_768-23_0_4_line_26 |  | 20 | 22 | 0.021569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_768-23_0_4_line_27 |  | 21 | 23 | 0.016941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_768-23_0_4_line_28 |  | 22 | 24 | 0.027548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_768-23_0_4_line_29 |  | 22 | 25 | 0.011465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_768-23_0_4_line_30 |  | 23 | 26 | 0.002476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_768-23_0_4_line_31 |  | 24 | 27 | 0.0021011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_768-23_0_4_line_32 |  | 25 | 28 | 0.0072423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_768-23_0_4_line_33 |  | 26 | 29 | 0.035945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_768-23_0_4_line_34 |  | 26 | 30 | 0.012242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_768-23_0_4_line_35 |  | 27 | 74 | 0.074194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_768-23_0_4_line_36 |  | 28 | 37 | 0.011342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_768-23_0_4_line_37 |  | 29 | 44 | 0.018879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_768-23_0_4_line_38 |  | 30 | 39 | 0.016969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_768-23_0_4_line_39 |  | 31 | 32 | 0.0040979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_768-23_0_4_line_40 |  | 31 | 33 | 0.0061943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_768-23_0_4_line_41 |  | 32 | 34 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_768-23_0_4_line_42 |  | 33 | 35 | 0.025782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_768-23_0_4_line_43 |  | 34 | 36 | 0.013328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_768-23_0_4_line_44 |  | 35 | 37 | 0.021618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_768-23_0_4_line_45 |  | 36 | 38 | 0.024731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_768-23_0_4_line_46 |  | 39 | 40 | 0.0061083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_768-23_0_4_line_47 |  | 40 | 41 | 0.0094111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_768-23_0_4_line_48 |  | 41 | 42 | 0.017323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_768-23_0_4_line_49 |  | 42 | 43 | 0.021317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_768-23_0_4_line_50 |  | 43 | 45 | 0.0047773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_768-23_0_4_line_51 |  | 44 | 47 | 0.020272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_768-23_0_4_line_52 |  | 45 | 94 | 0.022297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_768-23_0_4_line_53 |  | 46 | 47 | 0.0089589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_768-23_0_4_line_54 |  | 46 | 48 | 0.0060136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_768-23_0_4_line_55 |  | 49 | 50 | 0.088462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_768-23_0_4_line_56 |  | 50 | 51 | 0.23332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_768-23_0_4_line_57 |  | 51 | 52 | 0.041604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_768-23_0_4_line_58 |  | 52 | 65 | 0.012364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_768-23_0_4_line_59 |  | 53 | 54 | 0.013917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_768-23_0_4_line_60 |  | 55 | 56 | 0.02336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_768-23_0_4_line_61 |  | 55 | 57 | 0.0070014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_768-23_0_4_line_62 |  | 56 | 58 | 0.0036424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_768-23_0_4_line_63 |  | 56 | 59 | 0.029668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_768-23_0_4_line_64 |  | 58 | 61 | 0.022182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_768-23_0_4_line_65 |  | 59 | 95 | 0.0024741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_768-23_0_4_line_66 |  | 62 | 63 | 0.0087455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_768-23_0_4_line_67 |  | 62 | 64 | 0.030719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_768-23_0_4_line_68 |  | 64 | 65 | 0.009417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_768-23_0_4_line_69 |  | 64 | 66 | 0.016112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_768-23_0_4_line_70 |  | 65 | 67 | 0.0089613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_768-23_0_4_line_71 |  | 66 | 68 | 0.0057434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_768-23_0_4_line_72 |  | 67 | 69 | 0.00076916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_768-23_0_4_line_73 |  | 68 | 70 | 0.015887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_768-23_0_4_line_74 |  | 69 | 73 | 0.0029594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_768-23_0_4_line_75 |  | 70 | 71 | 0.011097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_768-23_0_4_line_76 |  | 71 | 72 | 0.0098338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_768-23_0_4_line_77 |  | 73 | 99 | 0.01733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_768-23_0_4_line_78 |  | 74 | 103 | 0.016537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_768-23_0_4_line_79 |  | 75 | 76 | 0.0094378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_768-23_0_4_line_80 |  | 75 | 77 | 0.024232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_768-23_0_4_line_81 |  | 76 | 78 | 0.018868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_768-23_0_4_line_82 |  | 77 | 79 | 0.017232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_768-23_0_4_line_83 |  | 77 | 80 | 0.018169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_768-23_0_4_line_84 |  | 78 | 81 | 0.0047058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_768-23_0_4_line_85 |  | 79 | 82 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_768-23_0_4_line_86 |  | 80 | 83 | 0.0058862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_768-23_0_4_line_87 |  | 80 | 84 | 0.077442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_768-23_0_4_line_88 |  | 82 | 85 | 0.0054235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_768-23_0_4_line_89 |  | 83 | 86 | 0.031529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_768-23_0_4_line_90 |  | 83 | 87 | 0.052887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_768-23_0_4_line_91 |  | 83 | 88 | 0.038721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_768-23_0_4_line_92 |  | 84 | 90 | 0.017895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_768-23_0_4_line_93 |  | 85 | 91 | 0.0026448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_768-23_0_4_line_94 |  | 86 | 94 | 0.0031063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_768-23_0_4_line_95 |  | 87 | 89 | 0.024007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_768-23_0_4_line_96 |  | 88 | 93 | 0.041989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_768-23_0_4_line_97 |  | 91 | 92 | 0.014015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_768-23_0_4_line_98 |  | 92 | 102 | 0.0074342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_768-23_0_4_line_99 |  | 96 | 97 | 0.0059171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_768-23_0_4_line_100 |  | 97 | 98 | 0.0052874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_768-23_0_4_line_101 |  | 99 | 100 | 0.02256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_768-23_0_4_line_102 |  | 100 | 101 | 0.0063203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_768-23_0_4_line_103 |  | 103 | 104 | 0.019932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_768-23_0_4_trafo_7 | 0.63 MVA 20/0.4 kV | 105 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2619480.6361 | 1170292.5505 | 2619494.5759 | 1170296.9635 | 2619497.9745 | 1170298.5293
1 | 2619480.6361 | 1170292.5505 | 2619478.2995 | 1170291.8108
2 | 2619513.4342 | 1170305.6522 | 2619497.9745 | 1170298.5293
3 | 2619456.5521 | 1170288.7966 | 2619477.2269 | 1170291.4712 | 2619478.2995 | 1170291.8108
4 | 2619516.8823 | 1170307.2409 | 2619513.4342 | 1170305.6522
5 | 2619429.3697 | 1170285.2802 | 2619456.5521 | 1170288.7966
6 | 2619554.6508 | 1170326.7844 | 2619519.4872 | 1170308.4388 | 2619516.8823 | 1170307.2409
7 | 2619429.3697 | 1170285.2802 | 2619419.3588 | 1170281.3737
8 | 2619429.3697 | 1170285.2802 | 2619442.5525 | 1170260.7207
9 | 2619554.6508 | 1170326.7844 | 2619557.4362 | 1170314.8035
10 | 2619554.6508 | 1170326.7844 | 2619558.9902 | 1170363.9088
11 | 2619403.3445 | 1170275.1245 | 2619419.3588 | 1170281.3737
12 | 2619442.5525 | 1170260.7207 | 2619444.3093 | 1170257.4477 | 2619446.8378 | 1170250.8126
13 | 2619447.751 | 1170395.3561 | 2619458.0989 | 1170400.8536 | 2619463.1328 | 1170404.6271
14 | 2619447.751 | 1170395.3561 | 2619442.0987 | 1170392.3532 | 2619437.848 | 1170384.3466 | 2619452.1391 | 1170357.1388
15 | 2619463.1328 | 1170404.6271 | 2619466.0972 | 1170406.8492 | 2619471.8309 | 1170412.8485 | 2619473.0046 | 1170416.5986 | 2619473.0046 | 1170416.5986
16 | 2619462.8477 | 1170342.3505 | 2619459.0977 | 1170345.1064 | 2619456.0995 | 1170349.599 | 2619452.1391 | 1170357.1388
17 | 2619473.0046 | 1170416.5986 | 2619472.6229 | 1170421.0663 | 2619470.597 | 1170425.3508 | 2619470.597 | 1170425.3508
18 | 2619473.0046 | 1170416.5986 | 2619519.5377 | 1170410.1797
19 | 2619477.853 | 1170353.349 | 2619471.1013 | 1170345.1008 | 2619467.3478 | 1170341.8537 | 2619462.8477 | 1170342.3505
20 | 2619443.8316 | 1170419.8771 | 2619451.1026 | 1170423.3313 | 2619464.8002 | 1170427.0218 | 2619470.597 | 1170425.3508
21 | 2619519.5377 | 1170410.1797 | 2619517.7409 | 1170401.08 | 2619518.0037 | 1170398.0969
22 | 2619519.5377 | 1170410.1797 | 2619520.157 | 1170413.3163 | 2619524.0757 | 1170424.6014 | 2619531.2142 | 1170433.8403 | 2619537.2751 | 1170433.4412
23 | 2619421.793 | 1170409.4074 | 2619443.8316 | 1170419.8771
24 | 2619365.9747 | 1170376.3171 | 2619362.2294 | 1170373.1479
25 | 2619366.6005 | 1170376.8466 | 2619366.6005 | 1170376.8466 | 2619365.9747 | 1170376.3171
26 | 2619345.7637 | 1170359.2152 | 2619362.2294 | 1170373.1479
27 | 2619366.6005 | 1170376.8466 | 2619380.5602 | 1170386.4452
28 | 2619345.7637 | 1170359.2152 | 2619322.5425 | 1170374.1371
29 | 2619345.7637 | 1170359.2152 | 2619352.2414 | 1170349.7558
30 | 2619382.6004 | 1170387.8481 | 2619380.5602 | 1170386.4452
31 | 2619322.5425 | 1170374.1371 | 2619320.7744 | 1170375.2721
32 | 2619356.3334 | 1170343.7803 | 2619352.2414 | 1170349.7558
33 | 2619382.6004 | 1170387.8481 | 2619394.3401 | 1170353.8745
34 | 2619382.6004 | 1170387.8481 | 2619393.3269 | 1170393.7486
35 | 2619258.3381 | 1170415.3523 | 2619320.7744 | 1170375.2721
36 | 2619356.3334 | 1170343.7803 | 2619362.742 | 1170334.4218
37 | 2619403.2613 | 1170337.4209 | 2619396.748 | 1170346.9062 | 2619394.3401 | 1170353.8745
38 | 2619408.1952 | 1170401.9275 | 2619393.3269 | 1170393.7486
39 | 2619395.3379 | 1170286.8198 | 2619393.0229 | 1170290.2012
40 | 2619389.5237 | 1170295.3124 | 2619393.0229 | 1170290.2012
41 | 2619403.3445 | 1170275.1245 | 2619395.3379 | 1170286.8198
42 | 2619389.5237 | 1170295.3124 | 2619374.9565 | 1170316.585
43 | 2619403.3445 | 1170275.1245 | 2619391.748 | 1170268.556
44 | 2619362.742 | 1170334.4218 | 2619374.9565 | 1170316.585
45 | 2619391.748 | 1170268.556 | 2619387.613 | 1170266.2138 | 2619372.164 | 1170253.5465
46 | 2619408.1952 | 1170401.9275 | 2619413.5472 | 1170404.8715
47 | 2619421.793 | 1170409.4074 | 2619413.5472 | 1170404.8715
48 | 2619421.793 | 1170409.4074 | 2619431.4398 | 1170423.7953
49 | 2619443.3111 | 1170441.5009 | 2619431.4398 | 1170423.7953
50 | 2619443.3111 | 1170441.5009 | 2619445.9716 | 1170445.4689
51 | 2619403.2613 | 1170337.4209 | 2619410.9989 | 1170326.1528 | 2619416.5848 | 1170322.6327
52 | 2619445.9716 | 1170445.4689 | 2619448.2583 | 1170448.8795 | 2619447.195 | 1170463.061 | 2619446.9865 | 1170467.0251
53 | 2619424.1643 | 1170317.8563 | 2619416.5848 | 1170322.6327
54 | 2619429.2519 | 1170314.6502 | 2619424.1643 | 1170317.8563
55 | 2619474.3084 | 1169935.4374 | 2619474.8313 | 1169934.6386 | 2619482.9942 | 1169925.3937 | 2619491.933 | 1169917.5742 | 2619498.2218 | 1169912.97 | 2619505.13 | 1169908.4457 | 2619517.3987 | 1169902.4713 | 2619533.2846 | 1169897.0756 | 2619544.8255 | 1169893.7447 | 2619549.4103 | 1169892.2867
56 | 2619486.079 | 1170168.4599 | 2619474.3084 | 1169935.4374
57 | 2619486.079 | 1170168.4599 | 2619489.328 | 1170173.9621 | 2619480.967 | 1170187.7531 | 2619474.1722 | 1170205.5893
58 | 2619469.7708 | 1170217.1429 | 2619474.1722 | 1170205.5893
59 | 2619537.2751 | 1170433.4412 | 2619525.3554 | 1170426.2576
60 | 2619518.6179 | 1170391.1224 | 2619518.9165 | 1170387.7326 | 2619520.0944 | 1170373.6404 | 2619520.391 | 1170367.8323
61 | 2619518.0037 | 1170398.0969 | 2619518.6179 | 1170391.1224
62 | 2619520.2053 | 1170371.4699 | 2619520.391 | 1170367.8323
63 | 2619510.0512 | 1170340.0242 | 2619520.391 | 1170367.8323
64 | 2619520.2053 | 1170371.4699 | 2619537.3073 | 1170357.3436
65 | 2619510.0512 | 1170340.0242 | 2619510.9139 | 1170337.7054
66 | 2619449.9521 | 1170242.6403 | 2619446.8378 | 1170250.8126
67 | 2619460.8911 | 1170213.9348 | 2619449.9521 | 1170242.6403
68 | 2619460.8911 | 1170213.9348 | 2619469.7708 | 1170217.1429
69 | 2619460.8911 | 1170213.9348 | 2619445.3929 | 1170209.5298
70 | 2619469.7708 | 1170217.1429 | 2619478.1998 | 1170220.1854
71 | 2619445.3929 | 1170209.5298 | 2619439.8683 | 1170207.9596
72 | 2619478.9233 | 1170220.4465 | 2619478.1998 | 1170220.1854
73 | 2619439.8683 | 1170207.9596 | 2619433.4351 | 1170206.1311 | 2619424.2863 | 1170205.1681
74 | 2619481.7069 | 1170221.4513 | 2619478.9233 | 1170220.4465
75 | 2619424.2863 | 1170205.1681 | 2619413.2507 | 1170204.0065
76 | 2619403.4709 | 1170202.977 | 2619413.2507 | 1170204.0065
77 | 2619481.7069 | 1170221.4513 | 2619485.6198 | 1170222.8637 | 2619498.1192 | 1170227.0127
78 | 2619258.3381 | 1170415.3523 | 2619269.737 | 1170427.3615
79 | 2619399.8428 | 1170516.5594 | 2619391.3672 | 1170520.7109
80 | 2619421.6041 | 1170505.9001 | 2619399.8428 | 1170516.5594
81 | 2619391.3672 | 1170520.7109 | 2619374.4233 | 1170529.0106
82 | 2619421.6041 | 1170505.9001 | 2619418.0666 | 1170489.0353
83 | 2619439.2215 | 1170501.5325 | 2619428.9568 | 1170503.278 | 2619421.6041 | 1170505.9001
84 | 2619374.4233 | 1170529.0106 | 2619370.1972 | 1170531.0806 | 2619370.1972 | 1170531.0806
85 | 2619418.0666 | 1170489.0353 | 2619417.754 | 1170487.5451 | 2619414.9405 | 1170474.4417
86 | 2619439.2215 | 1170501.5325 | 2619443.1852 | 1170501.2896 | 2619445.0738 | 1170501.607
87 | 2619439.2215 | 1170501.5325 | 2619439.3663 | 1170513.5724 | 2619438.4628 | 1170539.8605 | 2619438.7005 | 1170561.0276 | 2619436.3277 | 1170563.7769 | 2619433.0437 | 1170564.3888 | 2619422.0885 | 1170564.6029
88 | 2619413.802 | 1170469.1391 | 2619414.9405 | 1170474.4417
89 | 2619445.0738 | 1170501.607 | 2619446.2087 | 1170481.8117 | 2619446.8233 | 1170470.1271
90 | 2619440.657 | 1170552.1516 | 2619440.7578 | 1170546.9827 | 2619441.395 | 1170539.1808 | 2619441.9764 | 1170510.7794 | 2619443.1852 | 1170501.2896 | 2619445.0738 | 1170501.607
91 | 2619445.0738 | 1170501.607 | 2619468.8667 | 1170506.175 | 2619483.3467 | 1170506.8111
92 | 2619422.0885 | 1170564.6029 | 2619404.1971 | 1170564.9526
93 | 2619413.2468 | 1170466.5532 | 2619413.2468 | 1170466.5532 | 2619413.802 | 1170469.1391
94 | 2619446.8233 | 1170470.1271 | 2619446.9865 | 1170467.0251
95 | 2619440.657 | 1170552.1516 | 2619439.7726 | 1170565.4221 | 2619438.8153 | 1170576.0861
96 | 2619520.614 | 1170498.6901 | 2619511.1238 | 1170502.4321 | 2619509.1376 | 1170503.9153 | 2619506.7484 | 1170506.9647 | 2619505.506 | 1170507.9278 | 2619500.4524 | 1170509.2899 | 2619489.128 | 1170509.8869 | 2619484.6252 | 1170508.8829 | 2619483.4651 | 1170508.0565 | 2619483.3467 | 1170506.8111 | 2619483.3467 | 1170506.8111
97 | 2619413.2468 | 1170466.5532 | 2619413.751 | 1170452.5478
98 | 2619411.2489 | 1170445.5473 | 2619413.751 | 1170452.5478
99 | 2619557.4362 | 1170314.8035 | 2619558.7761 | 1170309.0401
100 | 2619559.9734 | 1170303.8901 | 2619558.7761 | 1170309.0401
101 | 2619498.1192 | 1170227.0127 | 2619519.5301 | 1170234.1196
102 | 2619525.5286 | 1170236.1107 | 2619519.5301 | 1170234.1196
103 | 2619283.9218 | 1170441.4029 | 2619269.737 | 1170427.3615

## bus_geodata
| x | y | coords
0 | 2619480.6361 | 1170292.5505
1 | 2619497.9745 | 1170298.5293
2 | 2619478.2995 | 1170291.8108
3 | 2619513.4342 | 1170305.6522
4 | 2619456.5521 | 1170288.7966
5 | 2619516.8823 | 1170307.2409
6 | 2619429.3697 | 1170285.2802
7 | 2619554.6508 | 1170326.7844
8 | 2619419.3588 | 1170281.3737
9 | 2619442.5525 | 1170260.7207
10 | 2619447.751 | 1170395.3561
11 | 2619463.1328 | 1170404.6271
12 | 2619452.1391 | 1170357.1388
13 | 2619473.0046 | 1170416.5986
14 | 2619462.8477 | 1170342.3505
15 | 2619470.597 | 1170425.3508
16 | 2619519.5377 | 1170410.1797
17 | 2619477.853 | 1170353.349
18 | 2619443.8316 | 1170419.8771
19 | 2619365.9747 | 1170376.3171
20 | 2619362.2294 | 1170373.1479
21 | 2619366.6005 | 1170376.8466
22 | 2619345.7637 | 1170359.2152
23 | 2619380.5602 | 1170386.4452
24 | 2619322.5425 | 1170374.1371
25 | 2619352.2414 | 1170349.7558
26 | 2619382.6004 | 1170387.8481
27 | 2619320.7744 | 1170375.2721
28 | 2619356.3334 | 1170343.7803
29 | 2619394.3401 | 1170353.8745
30 | 2619393.3269 | 1170393.7486
31 | 2619393.0229 | 1170290.2012
32 | 2619395.3379 | 1170286.8198
33 | 2619389.5237 | 1170295.3124
34 | 2619403.3445 | 1170275.1245
35 | 2619374.9565 | 1170316.585
36 | 2619391.748 | 1170268.556
37 | 2619362.742 | 1170334.4218
38 | 2619372.164 | 1170253.5465
39 | 2619408.1952 | 1170401.9275
40 | 2619413.5472 | 1170404.8715
41 | 2619421.793 | 1170409.4074
42 | 2619431.4398 | 1170423.7953
43 | 2619443.3111 | 1170441.5009
44 | 2619403.2613 | 1170337.4209
45 | 2619445.9716 | 1170445.4689
46 | 2619424.1643 | 1170317.8563
47 | 2619416.5848 | 1170322.6327
48 | 2619429.2519 | 1170314.6502
49 | 2619549.4103 | 1169892.2867
50 | 2619474.3084 | 1169935.4374
51 | 2619486.079 | 1170168.4599
52 | 2619474.1722 | 1170205.5893
53 | 2619525.3554 | 1170426.2576
54 | 2619537.2751 | 1170433.4412
55 | 2619518.6179 | 1170391.1224
56 | 2619520.391 | 1170367.8323
57 | 2619518.0037 | 1170398.0969
58 | 2619520.2053 | 1170371.4699
59 | 2619510.0512 | 1170340.0242
60 | 2619558.9902 | 1170363.9088
61 | 2619537.3073 | 1170357.3436
62 | 2619449.9521 | 1170242.6403
63 | 2619446.8378 | 1170250.8126
64 | 2619460.8911 | 1170213.9348
65 | 2619469.7708 | 1170217.1429
66 | 2619445.3929 | 1170209.5298
67 | 2619478.1998 | 1170220.1854
68 | 2619439.8683 | 1170207.9596
69 | 2619478.9233 | 1170220.4465
70 | 2619424.2863 | 1170205.1681
71 | 2619413.2507 | 1170204.0065
72 | 2619403.4709 | 1170202.977
73 | 2619481.7069 | 1170221.4513
74 | 2619258.3381 | 1170415.3523
75 | 2619399.8428 | 1170516.5594
76 | 2619391.3672 | 1170520.7109
77 | 2619421.6041 | 1170505.9001
78 | 2619374.4233 | 1170529.0106
79 | 2619418.0666 | 1170489.0353
80 | 2619439.2215 | 1170501.5325
81 | 2619370.1972 | 1170531.0806
82 | 2619414.9405 | 1170474.4417
83 | 2619445.0738 | 1170501.607
84 | 2619422.0885 | 1170564.6029
85 | 2619413.802 | 1170469.1391
86 | 2619446.8233 | 1170470.1271
87 | 2619440.657 | 1170552.1516
88 | 2619483.3467 | 1170506.8111
89 | 2619438.8153 | 1170576.0861
90 | 2619404.1971 | 1170564.9526
91 | 2619413.2468 | 1170466.5532
92 | 2619413.751 | 1170452.5478
93 | 2619520.614 | 1170498.6901
94 | 2619446.9865 | 1170467.0251
95 | 2619510.9139 | 1170337.7054
96 | 2619557.4362 | 1170314.8035
97 | 2619558.7761 | 1170309.0401
98 | 2619559.9734 | 1170303.8901
99 | 2619498.1192 | 1170227.0127
100 | 2619519.5301 | 1170234.1196
101 | 2619525.5286 | 1170236.1107
102 | 2619411.2489 | 1170445.5473
103 | 2619269.737 | 1170427.3615
104 | 2619283.9218 | 1170441.4029
105 | 2619477.853 | 1170353.349

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1