## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_768-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_768-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_768-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_768-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_768-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_768-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_768-2_0_3_node_62 | 0.4 | n |  | TRUE
7 | bus_LV_768-2_0_3_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_768-2_0_3_node_67 | 0.4 | n |  | TRUE
9 | bus_LV_768-2_0_3_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_768-2_0_3_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_768-2_0_3_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_768-2_0_3_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_768-2_0_3_node_82 | 0.4 | n |  | TRUE
14 | bus_LV_768-2_0_3_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_768-2_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_768-2_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_768-2_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_768-2_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_768-2_0_3_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_768-2_0_3_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_768-2_0_3_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_768-2_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_768-2_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_768-2_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_768-2_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_768-2_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_768-2_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_768-2_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_768-2_0_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_768-2_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_768-2_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_768-2_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_768-2_0_3_node_89 | 0.4 | n |  | TRUE
34 | bus_LV_768-2_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_768-2_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_768-2_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_768-2_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_768-2_0_3_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_768-2_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_768-2_0_3_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_768-2_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_768-2_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_768-2_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_768-2_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_768-2_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_768-2_0_3_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_768-2_0_3_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_768-2_0_3_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_768-2_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_768-2_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_768-2_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_768-2_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_768-2_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_768-2_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_768-2_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_768-2_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_768-2_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_768-2_0_3_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_768-2_0_3_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_768-2_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_768-2_0_3_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_768-2_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_768-2_0_3_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_768-2_0_3_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_768-2_0_3_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_768-2_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_768-2_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_768-2_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_768-2_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_768-2_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_768-2_0_3_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_768-2_0_3_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_768-2_0_3_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_768-2_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_768-2_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_768-2_0_3_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_768-2_0_3_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_768-2_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_768-2_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_768-2_0_3_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_768-2_0_3_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_768-2_0_3_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_768-2_0_3_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_768-2_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_MV_118_0_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_768-2_0_3_load_0 | 0 | 0.012263 | 0.0030734 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_768-2_0_3_load_1 | 1 | 0.0051846 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_768-2_0_3_load_4 | 4 | 0.00095933 | 0.00024043 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_768-2_0_3_load_5 | 5 | 0.0019813 | 0.00049656 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_768-2_0_3_load_85 | 7 | 0.0019429 | 0.00048695 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_768-2_0_3_load_67 | 8 | 0.0010209 | 0.00025586 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_768-2_0_3_load_61 | 10 | 0.014244 | 0.0035698 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_768-2_0_3_load_66 | 12 | 0.0018833 | 0.00047201 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_768-2_0_3_load_82 | 13 | 0.0046263 | 0.0011595 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_768-2_0_3_load_68 | 14 | 0.010819 | 0.0027115 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_768-2_0_3_load_6 | 15 | 0.00075186 | 0.00018843 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_768-2_0_3_load_7 | 16 | 0.00045208 | 0.0001133 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_768-2_0_3_load_8 | 17 | 0.00021273 | 5.3316e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_768-2_0_3_load_9 | 18 | 0.00010231 | 2.5642e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_768-2_0_3_load_33 | 19 | 0.00029237 | 7.3275e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_768-2_0_3_load_60 | 20 | 0.00012065 | 3.0237e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_768-2_0_3_load_11 | 23 | 0.00061449 | 0.000154 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_768-2_0_3_load_12 | 24 | 0.00014304 | 3.5849e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_768-2_0_3_load_14 | 26 | 0.00082988 | 0.00020799 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_768-2_0_3_load_15 | 27 | 0.00036668 | 9.19e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_768-2_0_3_load_16 | 28 | 0.00051885 | 0.00013004 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_768-2_0_3_load_31 | 29 | 0.00037878 | 9.4931e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_768-2_0_3_load_18 | 30 | 0.00048336 | 0.00012114 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_768-2_0_3_load_32 | 32 | 0.00048718 | 0.0001221 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_768-2_0_3_load_89 | 33 | 0.00085766 | 0.00021495 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_768-2_0_3_load_17 | 34 | 0.0041253 | 0.0010339 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_768-2_0_3_load_29 | 35 | 0.00037356 | 9.3622e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_768-2_0_3_load_20 | 37 | 0.00032492 | 8.1433e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_768-2_0_3_load_36 | 39 | 0.000546 | 0.00013684 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_768-2_0_3_load_51 | 41 | 0.0028683 | 0.00071886 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_768-2_0_3_load_55 | 42 | 0.00067307 | 0.00016869 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_768-2_0_3_load_24 | 43 | 0.0005596 | 0.00014025 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_768-2_0_3_load_25 | 44 | 0.00013002 | 3.2585e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_768-2_0_3_load_86 | 47 | 9.6654e-05 | 2.4224e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_768-2_0_3_load_58 | 48 | 0.00015398 | 3.8591e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_768-2_0_3_load_34 | 49 | 0.00027457 | 6.8813e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_768-2_0_3_load_35 | 50 | 0.00053382 | 0.00013379 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_768-2_0_3_load_40 | 51 | 0.00037469 | 9.3906e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_768-2_0_3_load_48 | 52 | 0.0020555 | 0.00051515 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_768-2_0_3_load_49 | 53 | 0.00066922 | 0.00016772 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_768-2_0_3_load_37 | 54 | 0.0005487 | 0.00013752 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_768-2_0_3_load_38 | 55 | 0.00037538 | 9.408e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_768-2_0_3_load_41 | 57 | 0.00012606 | 3.1594e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_768-2_0_3_load_90 | 61 | 0.00028853 | 7.2312e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_768-2_0_3_load_45 | 62 | 8.0736e-05 | 2.0234e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_768-2_0_3_load_54 | 63 | 9.8725e-05 | 2.4743e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_768-2_0_3_load_43 | 64 | 0.00013963 | 3.4994e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_768-2_0_3_load_44 | 65 | 0.00011579 | 2.9021e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_768-2_0_3_load_59 | 68 | 9.5751e-05 | 2.3998e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_768-2_0_3_load_57 | 69 | 0.00012214 | 3.0612e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_768-2_0_3_load_72 | 71 | 0.002968 | 0.00074385 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_768-2_0_3_load_69 | 72 | 0.0037727 | 0.00094552 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_768-2_0_3_load_84 | 73 | 0.002004 | 0.00050224 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_768-2_0_3_load_74 | 75 | 0.0016 | 0.000401 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_768-2_0_3_load_77 | 76 | 0.011476 | 0.0028762 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_768-2_0_3_load_88 | 77 | 0.022367 | 0.0056057 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_768-2_0_3_load_73 | 78 | 0.0099767 | 0.0025004 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_768-2_0_3_load_78 | 79 | 0.0095932 | 0.0024043 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_768-2_0_3_load_70 | 80 | 0.001594 | 0.0003995 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_768-2_0_3_load_83 | 82 | 0.0038488 | 0.0009646 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_768-2_0_3_load_75 | 83 | 0.0029634 | 0.0007427 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_768-2_0_3_load_79 | 84 | 0.010958 | 0.0027462 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_768-2_0_3_line_0 |  | 0 | 1 | 0.11852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_768-2_0_3_line_1 |  | 0 | 2 | 0.12681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_768-2_0_3_line_2 |  | 1 | 3 | 0.063303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_768-2_0_3_line_3 |  | 2 | 4 | 0.089897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_768-2_0_3_line_4 |  | 2 | 5 | 0.10319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_768-2_0_3_line_5 |  | 3 | 6 | 0.030067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_768-2_0_3_line_6 |  | 3 | 7 | 0.026462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_768-2_0_3_line_7 |  | 4 | 8 | 0.013972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_768-2_0_3_line_8 |  | 6 | 9 | 0.054418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_768-2_0_3_line_9 |  | 6 | 10 | 0.03107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_768-2_0_3_line_10 |  | 7 | 13 | 0.048696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_768-2_0_3_line_11 |  | 8 | 14 | 0.023655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_768-2_0_3_line_12 |  | 9 | 73 | 0.029295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_768-2_0_3_line_13 |  | 9 | 74 | 0.063975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_768-2_0_3_line_14 |  | 9 | 75 | 0.059924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_768-2_0_3_line_15 |  | 10 | 11 | 0.024673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_768-2_0_3_line_16 |  | 11 | 12 | 0.028273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_768-2_0_3_line_17 |  | 13 | 81 | 0.030359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_768-2_0_3_line_18 |  | 15 | 16 | 0.052611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_768-2_0_3_line_19 |  | 15 | 17 | 0.057097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_768-2_0_3_line_20 |  | 16 | 18 | 0.0063073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_768-2_0_3_line_21 |  | 18 | 21 | 0.033477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_768-2_0_3_line_22 |  | 19 | 20 | 0.058145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_768-2_0_3_line_23 |  | 19 | 21 | 0.099963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_768-2_0_3_line_24 |  | 20 | 47 | 0.0052258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_768-2_0_3_line_25 |  | 20 | 48 | 0.015832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_768-2_0_3_line_26 |  | 21 | 22 | 0.082425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_768-2_0_3_line_27 |  | 22 | 33 | 0.034318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_768-2_0_3_line_28 |  | 23 | 24 | 0.017863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_768-2_0_3_line_29 |  | 23 | 25 | 0.019322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_768-2_0_3_line_30 |  | 24 | 26 | 0.00015686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_768-2_0_3_line_31 |  | 25 | 27 | 0.0019122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_768-2_0_3_line_32 |  | 25 | 28 | 0.035428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_768-2_0_3_line_33 |  | 26 | 29 | 0.12651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_768-2_0_3_line_34 |  | 27 | 30 | 0.14275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_768-2_0_3_line_35 |  | 28 | 31 | 0.03476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_768-2_0_3_line_36 |  | 29 | 32 | 0.016476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_768-2_0_3_line_37 |  | 29 | 33 | 0.13406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_768-2_0_3_line_38 |  | 30 | 34 | 0.003407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_768-2_0_3_line_39 |  | 31 | 35 | 0.0016205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_768-2_0_3_line_40 |  | 34 | 36 | 0.018352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_768-2_0_3_line_41 |  | 35 | 46 | 0.17223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_768-2_0_3_line_42 |  | 36 | 37 | 0.09067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_768-2_0_3_line_43 |  | 36 | 38 | 0.002092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_768-2_0_3_line_44 |  | 37 | 39 | 0.16599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_768-2_0_3_line_45 |  | 38 | 40 | 0.09627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_768-2_0_3_line_46 |  | 38 | 41 | 0.10585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_768-2_0_3_line_47 |  | 40 | 42 | 0.015773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_768-2_0_3_line_48 |  | 43 | 44 | 0.017819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_768-2_0_3_line_49 |  | 43 | 45 | 0.092677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_768-2_0_3_line_50 |  | 45 | 46 | 0.10631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_768-2_0_3_line_51 |  | 48 | 69 | 0.01287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_768-2_0_3_line_52 |  | 49 | 50 | 0.031136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_768-2_0_3_line_53 |  | 49 | 51 | 0.168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_768-2_0_3_line_54 |  | 50 | 52 | 0.1355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_768-2_0_3_line_55 |  | 52 | 53 | 0.046906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_768-2_0_3_line_56 |  | 53 | 67 | 0.053704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_768-2_0_3_line_57 |  | 54 | 55 | 0.056713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_768-2_0_3_line_58 |  | 55 | 56 | 0.0094844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_768-2_0_3_line_59 |  | 56 | 57 | 0.063571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_768-2_0_3_line_60 |  | 56 | 58 | 0.007449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_768-2_0_3_line_61 |  | 57 | 59 | 0.054798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_768-2_0_3_line_62 |  | 58 | 60 | 0.026765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_768-2_0_3_line_63 |  | 58 | 61 | 0.034574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_768-2_0_3_line_64 |  | 59 | 62 | 0.032327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_768-2_0_3_line_65 |  | 60 | 63 | 0.083241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_768-2_0_3_line_66 |  | 62 | 64 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_768-2_0_3_line_67 |  | 63 | 70 | 0.021186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_768-2_0_3_line_68 |  | 64 | 65 | 0.037998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_768-2_0_3_line_69 |  | 65 | 66 | 0.040068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_768-2_0_3_line_70 |  | 66 | 67 | 0.015282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_768-2_0_3_line_71 |  | 66 | 68 | 0.01024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_768-2_0_3_line_72 |  | 68 | 69 | 0.040099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_768-2_0_3_line_73 |  | 70 | 71 | 0.025458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_768-2_0_3_line_74 |  | 70 | 72 | 0.02061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_768-2_0_3_line_75 |  | 71 | 81 | 0.10999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_768-2_0_3_line_76 |  | 72 | 80 | 0.015529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_768-2_0_3_line_77 |  | 73 | 77 | 0.066509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_768-2_0_3_line_78 |  | 74 | 76 | 0.030475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_768-2_0_3_line_79 |  | 75 | 78 | 0.036487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_768-2_0_3_line_80 |  | 76 | 79 | 0.042718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_768-2_0_3_line_81 |  | 78 | 83 | 0.042766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_768-2_0_3_line_82 |  | 79 | 84 | 0.0046147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_768-2_0_3_line_83 |  | 81 | 82 | 0.082281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_768-2_0_3_trafo_3 | 0.63 MVA 20/0.4 kV | 85 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2615473.4111 | 1171855.8605 | 2615464.6009 | 1171857.0497 | 2615457.7031 | 1171859.5555 | 2615455.5589 | 1171860.5949 | 2615451.6982 | 1171862.8528 | 2615446.0036 | 1171867.4517 | 2615442.9979 | 1171870.3454 | 2615439.0919 | 1171875.3935 | 2615438.9 | 1171875.6487 | 2615435.5996 | 1171883.1552 | 2615433.8997 | 1171889.8542 | 2615433.5007 | 1171893.355 | 2615433.9024 | 1171900.7486 | 2615436.7003 | 1171913.251 | 2615449.8971 | 1171949.3047
1 | 2615589.5488 | 1171809.2363 | 2615588.3992 | 1171810.156 | 2615586.1234 | 1171811.7398 | 2615570.2009 | 1171822.8487 | 2615558.6031 | 1171829.7556 | 2615549.2977 | 1171834.5562 | 2615533.2026 | 1171841.4515 | 2615517.103 | 1171847.1462 | 2615515.3044 | 1171847.6419 | 2615503.4262 | 1171850.6128 | 2615497.0744 | 1171851.9749 | 2615486.1007 | 1171854.1478 | 2615473.4111 | 1171855.8605
2 | 2615446.6115 | 1172009.1804 | 2615449.9986 | 1172003.6752 | 2615452.7501 | 1171998.424 | 2615454.9976 | 1171992.927 | 2615457.0013 | 1171984.0276 | 2615457.0901 | 1171982.2158 | 2615457.1947 | 1171980.1929 | 2615457.348 | 1171977.0806 | 2615457.2039 | 1171973.6229 | 2615454.7984 | 1171963.2226 | 2615453.501 | 1171959.1505 | 2615449.8971 | 1171949.3047
3 | 2615589.5488 | 1171809.2363 | 2615594.5038 | 1171815.6523 | 2615624.6023 | 1171838.753 | 2615644.6995 | 1171854.7466 | 2615648.6006 | 1171857.547 | 2615652.7029 | 1171859.4475 | 2615654.7984 | 1171859.553 | 2615658.9014 | 1171858.2519 | 2615660.9013 | 1171856.8564
4 | 2615589.5488 | 1171809.2363 | 2615594.2011 | 1171805.5464 | 2615599.6973 | 1171800.8472 | 2615609.0978 | 1171791.8558 | 2615618.0028 | 1171782.2518 | 2615627.3017 | 1171771.1481 | 2615634.9004 | 1171760.9516 | 2615643.4033 | 1171747.1555 | 2615650.1982 | 1171734.2555 | 2615652.8439 | 1171728.9444
5 | 2615421.9744 | 1171991.953 | 2615422.6233 | 1171992.4216 | 2615432.9983 | 1171999.8964 | 2615433.5938 | 1172000.3203 | 2615434.9221 | 1172001.2798 | 2615436.6475 | 1172002.5293 | 2615446.6115 | 1172009.1804
6 | 2615446.6115 | 1172009.1804 | 2615440.7994 | 1172017.881 | 2615438.7111 | 1172020.9883 | 2615431.888 | 1172031.1675
7 | 2615660.9013 | 1171856.8564 | 2615660.9013 | 1171856.8564 | 2615662.5976 | 1171854.5485 | 2615663.8041 | 1171852.3506 | 2615666.4419 | 1171844.1648
8 | 2615421.9744 | 1171991.953 | 2615409.8969 | 1171983.2511 | 2615402.956 | 1171978.7755 | 2615393.1898 | 1171972.4807 | 2615385.799 | 1171967.4482 | 2615377.4334 | 1171960.7568
9 | 2615421.9744 | 1171991.953 | 2615419.0723 | 1171996.27 | 2615404.7146 | 1172017.7878
10 | 2615404.9313 | 1172071.7216 | 2615420.3001 | 1172048.4551 | 2615431.888 | 1172031.1675
11 | 2615673.6971 | 1171821.6496 | 2615666.4419 | 1171844.1648
12 | 2615377.4334 | 1171960.7568 | 2615379.1454 | 1171958.2599 | 2615393.9942 | 1171936.5921
13 | 2615354.0368 | 1171951.7926 | 2615360.0958 | 1171954.2538 | 2615372.5986 | 1171961.1558 | 2615373.0263 | 1171961.3903 | 2615381.8708 | 1171966.2487 | 2615393.1898 | 1171972.4807 | 2615385.799 | 1171967.4482 | 2615377.4334 | 1171960.7568
14 | 2615377.4334 | 1171960.7568 | 2615377.1968 | 1171960.5561 | 2615375.1068 | 1171958.3386 | 2615374.3593 | 1171957.5474 | 2615373.6041 | 1171956.7561 | 2615366.599 | 1171947.4558 | 2615364.2996 | 1171943.3479 | 2615363.3034 | 1171941.122 | 2615362.1524 | 1171936.5723 | 2615362.4016 | 1171931.8261 | 2615364.6994 | 1171927.5298 | 2615370.8487 | 1171918.5743 | 2615377.0519 | 1171910.2101
15 | 2615391.0483 | 1172038.3308 | 2615398.6494 | 1172026.8777 | 2615404.7146 | 1172017.7878
16 | 2615375.4009 | 1172061.9027 | 2615386.6796 | 1172044.9118 | 2615391.0483 | 1172038.3308
17 | 2615388.1984 | 1172097.0532 | 2615404.9313 | 1172071.7216
18 | 2615554.4337 | 1172538.5137 | 2615551.5017 | 1172536.2499 | 2615550.5027 | 1172535.1468 | 2615549.5978 | 1172533.1545 | 2615548.2021 | 1172525.7472 | 2615547.5979 | 1172516.8522 | 2615547.5035 | 1172511.9495 | 2615548.0034 | 1172504.9473 | 2615548.5001 | 1172499.1456 | 2615548.8884 | 1172488.1217
19 | 2615554.4337 | 1172538.5137 | 2615558.1038 | 1172541.3473 | 2615561.7021 | 1172545.7477 | 2615562.6993 | 1172547.5512 | 2615563.1981 | 1172549.8536 | 2615563.0998 | 1172552.3546 | 2615562.3969 | 1172555.0542 | 2615558.1974 | 1172561.3465 | 2615553.497 | 1172566.1479 | 2615551.0994 | 1172567.6536 | 2615548.4041 | 1172568.9473 | 2615546.1006 | 1172569.5528 | 2615543.7984 | 1172569.6469 | 2615538.8978 | 1172569.0562 | 2615534.8122 | 1172575.1544
20 | 2615548.8051 | 1172481.8229 | 2615549.0036 | 1172484.8508 | 2615548.8884 | 1172488.1217
21 | 2615542.2435 | 1172449.0486 | 2615544.0035 | 1172460.5478 | 2615544.798 | 1172463.8515 | 2615548.0996 | 1172476.5554 | 2615548.7019 | 1172480.2477 | 2615548.8051 | 1172481.8229
22 | 2615435.7821 | 1172346.1048 | 2615454.501 | 1172401.1543
23 | 2615454.501 | 1172401.1543 | 2615542.2435 | 1172449.0486
24 | 2615440.4993 | 1172343.8561 | 2615435.7821 | 1172346.1048
25 | 2615435.7821 | 1172346.1048 | 2615421.4908 | 1172352.9174
26 | 2615620.8005 | 1172428.8526 | 2615607.0974 | 1172428.15 | 2615602.0037 | 1172428.248 | 2615597.3997 | 1172428.2472 | 2615593.5975 | 1172428.7487 | 2615584.2003 | 1172430.9478 | 2615579.2018 | 1172432.6468 | 2615563.0023 | 1172439.1527 | 2615545.0003 | 1172447.655 | 2615542.2435 | 1172449.0486
27 | 2615630.4989 | 1172396.05 | 2615624.1986 | 1172413.1534 | 2615621.3011 | 1172424.5517 | 2615620.8005 | 1172428.8526
28 | 2615787.5582 | 1172288.173 | 2615772.6989 | 1172295.4474 | 2615771.4414 | 1172295.8428
29 | 2615804.5576 | 1172279.0448 | 2615799.1031 | 1172282.5211 | 2615787.5582 | 1172288.173
30 | 2615771.2918 | 1172295.8898 | 2615771.4414 | 1172295.8428
31 | 2615804.5576 | 1172279.0448 | 2615803.102 | 1172277.8046
32 | 2615804.5576 | 1172279.0448 | 2615806.7019 | 1172280.8513 | 2615820.7994 | 1172288.7479 | 2615830.3006 | 1172296.5545 | 2615833.0587 | 1172299.6807
33 | 2615771.2918 | 1172295.8898 | 2615766.0014 | 1172297.5532 | 2615762.1993 | 1172297.9545 | 2615757.802 | 1172297.8541 | 2615750.8969 | 1172297.4469 | 2615745.3969 | 1172297.855 | 2615726.4991 | 1172300.6515 | 2615715.399 | 1172301.7564 | 2615708.6016 | 1172301.1495 | 2615704.1997 | 1172299.8485 | 2615701.5031 | 1172298.652 | 2615695.7005 | 1172294.8461 | 2615661.498 | 1172268.655 | 2615657.4087 | 1172264.7235
34 | 2615714.9881 | 1172167.1495 | 2615719.6014 | 1172174.3474 | 2615729.8026 | 1172192.4499 | 2615737.3036 | 1172204.8535 | 2615743.1024 | 1172213.0506 | 2615752.1973 | 1172224.2467 | 2615760.4008 | 1172237.0524 | 2615765.3007 | 1172243.8464 | 2615767.8014 | 1172246.8544 | 2615775.804 | 1172254.5459 | 2615803.102 | 1172277.8046
35 | 2615851.6986 | 1172328.9494 | 2615846.2023 | 1172319.2522 | 2615835.5011 | 1172302.449 | 2615833.0587 | 1172299.6807
36 | 2615645.3807 | 1172253.9214 | 2615648.8518 | 1172255.471 | 2615652.3015 | 1172258.2814 | 2615657.1037 | 1172264.4303 | 2615657.4087 | 1172264.7235
37 | 2615657.4087 | 1172264.7235 | 2615630.4989 | 1172396.05
38 | 2615714.9881 | 1172167.1495 | 2615713.1497 | 1172164.2811
39 | 2615851.6986 | 1172328.9494 | 2615852.6642 | 1172330.2508
40 | 2615714.9333 | 1172146.0876 | 2615715.0982 | 1172147.3554 | 2615713.0974 | 1172160.8792 | 2615713.1497 | 1172164.2811
41 | 2616002.0459 | 1172413.7896 | 2615997.697 | 1172412.7554 | 2615992.5021 | 1172410.6516 | 2615951.0975 | 1172384.3508 | 2615937.8016 | 1172377.1564 | 2615926.6038 | 1172371.8464 | 2615911.8007 | 1172364.8482 | 2615871.4023 | 1172345.354 | 2615865.7972 | 1172342.1487 | 2615858.3998 | 1172337.0489 | 2615856.0044 | 1172334.7525 | 2615852.6642 | 1172330.2508
42 | 2615714.9333 | 1172146.0876 | 2615718.7036 | 1172146.1531 | 2615721.1036 | 1172146.7485 | 2615730.9011 | 1172152.5548 | 2615738.9971 | 1172156.7558 | 2615747.4023 | 1172159.746 | 2615758.599 | 1172162.7545 | 2615775.2013 | 1172166.3553 | 2615801.2491 | 1172170.7302
43 | 2615714.5027 | 1172144.041 | 2615714.9333 | 1172146.0876
44 | 2615961.2439 | 1172209.619 | 2615955.101 | 1172206.8494 | 2615945.7023 | 1172200.7548 | 2615941.8991 | 1172198.6548 | 2615938.4989 | 1172197.4563 | 2615933.3005 | 1172196.5532 | 2615899.2034 | 1172191.4494 | 2615876.4041 | 1172188.6546 | 2615866.1999 | 1172186.3488 | 2615842.9994 | 1172179.0507 | 2615833.4991 | 1172176.6468 | 2615822.2014 | 1172174.2492 | 2615801.2491 | 1172170.7302
45 | 2615714.5027 | 1172144.041 | 2615715.9526 | 1172142.3217 | 2615716.8997 | 1172136.9771 | 2615720.4003 | 1172105.5814 | 2615721.3015 | 1172094.3559 | 2615719.9685 | 1172080.5565 | 2615717.5501 | 1172066.4876 | 2615715.7372 | 1172054.8659 | 2615716.066 | 1172049.0527
46 | 2615714.5027 | 1172144.041 | 2615714.1993 | 1172143.0509 | 2615702.4009 | 1172130.247 | 2615686.1022 | 1172109.8498 | 2615678.0019 | 1172101.3466 | 2615672.3025 | 1172096.0513 | 2615667.053 | 1172091.2241 | 2615654.5529 | 1172080.5752 | 2615652.4527 | 1172079.3802 | 2615647.8975 | 1172078.1789 | 2615645.6492 | 1172078.073 | 2615642.2519 | 1172078.6311 | 2615637.2523 | 1172080.6748
47 | 2615716.066 | 1172049.0527 | 2615719.4628 | 1172039.8902 | 2615722.0441 | 1172034.4724
48 | 2615951.1981 | 1172279.9538 | 2615967.6084 | 1172286.8982
49 | 2616052.8568 | 1172322.4786 | 2616051.904 | 1172321.2532 | 2616050.2017 | 1172320.0481 | 2616047.8032 | 1172318.9522 | 2616040.299 | 1172316.6533 | 2616012.3974 | 1172305.8514 | 2615967.6084 | 1172286.8982
50 | 2616002.0459 | 1172413.7896 | 2616011.3981 | 1172382.5542 | 2616013.7024 | 1172375.9459 | 2616016.1018 | 1172370.9498 | 2616024.1981 | 1172357.6534 | 2616028.1983 | 1172351.75 | 2616045.0987 | 1172329.3503 | 2616048.6953 | 1172325.7247 | 2616051.0028 | 1172323.652 | 2616052.8568 | 1172322.4786
51 | 2615409.8737 | 1172358.4553 | 2615421.4908 | 1172352.9174
52 | 2615273.4989 | 1172606.4523 | 2615265.2968 | 1172617.048 | 2615261.3043 | 1172623.2521 | 2615258.5974 | 1172629.1482 | 2615257.3071 | 1172632.7977
53 | 2615257.3071 | 1172632.7977 | 2615111.9197 | 1172548.6135
54 | 2615302.5948 | 1172474.1091 | 2615273.4989 | 1172606.4523
55 | 2615302.5948 | 1172474.1091 | 2615319.6253 | 1172454.6037 | 2615328.2995 | 1172444.9208 | 2615332.3233 | 1172437.993
56 | 2615359.6972 | 1172392.552 | 2615359.8038 | 1172395.7539 | 2615359.0033 | 1172397.7529 | 2615350.5005 | 1172409.1481 | 2615347.4008 | 1172413.0533 | 2615336.003 | 1172432.0561 | 2615332.4322 | 1172437.8055 | 2615332.3233 | 1172437.993
57 | 2615193.4028 | 1172338.5775 | 2615197.702 | 1172334.2564 | 2615203.3973 | 1172329.1459 | 2615206.2994 | 1172327.7526 | 2615209.9034 | 1172327.0502 | 2615217.2003 | 1172326.7462 | 2615228.997 | 1172328.3546 | 2615245.4089 | 1172332.2413
58 | 2615254.7816 | 1172333.0333 | 2615250.3988 | 1172333.2556 | 2615248.4035 | 1172332.9504 | 2615245.4089 | 1172332.2413
59 | 2615254.7816 | 1172333.0333 | 2615258.903 | 1172357.5561 | 2615260.5231 | 1172367.0761 | 2615261.5491 | 1172375.6942 | 2615263.5962 | 1172394.7757 | 2615263.7207 | 1172395.9468
60 | 2615254.7816 | 1172333.0333 | 2615255.5008 | 1172332.9462 | 2615260.2012 | 1172331.1461 | 2615261.5651 | 1172330.1157
61 | 2615267.3248 | 1172450.5133 | 2615267.9297 | 1172444.1783 | 2615267.4415 | 1172431.6263 | 2615267.0683 | 1172427.9902 | 2615265.6504 | 1172414.1129 | 2615263.7207 | 1172395.9468
62 | 2615278.3056 | 1172309.3253 | 2615273.0008 | 1172317.2492 | 2615263.0976 | 1172328.9523 | 2615261.5651 | 1172330.1157
63 | 2615282.2974 | 1172357.7488 | 2615278.8022 | 1172351.748 | 2615261.5651 | 1172330.1157
64 | 2615267.3248 | 1172450.5133 | 2615272.1359 | 1172450.2698 | 2615275.0295 | 1172449.1766 | 2615277.5053 | 1172446.9818 | 2615280.9172 | 1172440.5538 | 2615287.7543 | 1172428.5318 | 2615287.7543 | 1172428.5318
65 | 2615278.3056 | 1172309.3253 | 2615278.5975 | 1172308.8481 | 2615283.1028 | 1172299.5548 | 2615310.3099 | 1172232.5109
66 | 2615298.5079 | 1172414.9824 | 2615296.0023 | 1172418.0474 | 2615287.7543 | 1172428.5318
67 | 2615318.4043 | 1172212.9339 | 2615316.7043 | 1172216.7538 | 2615310.3099 | 1172232.5109
68 | 2615298.5079 | 1172414.9824 | 2615308.9981 | 1172402.1501 | 2615314.3039 | 1172396.8498 | 2615324.8021 | 1172388.7502 | 2615325.425 | 1172388.5201
69 | 2615364.2443 | 1172378.9012 | 2615358.0017 | 1172379.6523 | 2615348.7039 | 1172381.852 | 2615328.599 | 1172387.348 | 2615325.425 | 1172388.5201
70 | 2615364.2443 | 1172378.9012 | 2615364.1017 | 1172383.8478 | 2615363.4021 | 1172388.2482 | 2615362.8015 | 1172389.8475 | 2615361.7043 | 1172391.2565 | 2615359.6972 | 1172392.552
71 | 2615364.2443 | 1172378.9012 | 2615367.0978 | 1172378.5527 | 2615371.9038 | 1172377.3533 | 2615374.1762 | 1172376.5442
72 | 2615409.8737 | 1172358.4553 | 2615392.9019 | 1172366.5458 | 2615383.9013 | 1172372.1479 | 2615378.1042 | 1172375.1457 | 2615374.1762 | 1172376.5442
73 | 2615318.4043 | 1172212.9339 | 2615327.5005 | 1172193.8474 | 2615329.5289 | 1172190.0394
74 | 2615318.4043 | 1172212.9339 | 2615307.8006 | 1172208.2491 | 2615305.6013 | 1172206.954 | 2615300.2338 | 1172203.3496
75 | 2615388.1984 | 1172097.0532 | 2615376.8981 | 1172113.5549 | 2615339.4022 | 1172172.3557 | 2615332.5033 | 1172184.4554 | 2615329.5289 | 1172190.0394
76 | 2615300.2338 | 1172203.3496 | 2615295.4372 | 1172200.8139 | 2615286.138 | 1172196.8632
77 | 2615425.297 | 1171933.9545 | 2615427.0319 | 1171931.4799 | 2615429.1599 | 1171927.8057 | 2615429.9048 | 1171923.6277 | 2615429.166 | 1171919.4459 | 2615427.0415 | 1171915.772 | 2615423.7749 | 1171913.0511 | 2615419.7785 | 1171911.5957 | 2615415.5259 | 1171911.5959 | 2615411.5221 | 1171913.042 | 2615408.2645 | 1171915.7684 | 2615393.9942 | 1171936.5921
78 | 2615354.0368 | 1171951.7926 | 2615342.0973 | 1171960.9558 | 2615338.101 | 1171965.4479 | 2615332.9457 | 1171973.3229
79 | 2615398.8966 | 1171880.9886 | 2615396.9511 | 1171883.3787 | 2615377.0519 | 1171910.2101
80 | 2615332.9457 | 1171973.3229 | 2615325.4012 | 1171984.8476 | 2615323.0986 | 1171991.056 | 2615323.0017 | 1171993.0456 | 2615323.614 | 1171995.8931 | 2615325.1031 | 1171999.8211 | 2615328.1003 | 1172003.1748 | 2615335.275 | 1172008.1282
81 | 2615398.8966 | 1171880.9886 | 2615407.0022 | 1171871.0314 | 2615422.6042 | 1171853.4736 | 2615427.015 | 1171848.7831
82 | 2615339.0725 | 1172010.75 | 2615335.275 | 1172008.1282
83 | 2615455.6036 | 1172144.2495 | 2615444.0025 | 1172137.8498 | 2615429.6018 | 1172128.5527 | 2615404.1972 | 1172109.5559 | 2615394.3978 | 1172101.3489 | 2615388.1984 | 1172097.0532

## bus_geodata
| x | y | coords
0 | 2615473.4111 | 1171855.8605
1 | 2615449.8971 | 1171949.3047
2 | 2615589.5488 | 1171809.2363
3 | 2615446.6115 | 1172009.1804
4 | 2615660.9013 | 1171856.8564
5 | 2615652.8439 | 1171728.9444
6 | 2615421.9744 | 1171991.953
7 | 2615431.888 | 1172031.1675
8 | 2615666.4419 | 1171844.1648
9 | 2615377.4334 | 1171960.7568
10 | 2615404.7146 | 1172017.7878
11 | 2615391.0483 | 1172038.3308
12 | 2615375.4009 | 1172061.9027
13 | 2615404.9313 | 1172071.7216
14 | 2615673.6971 | 1171821.6496
15 | 2615554.4337 | 1172538.5137
16 | 2615548.8884 | 1172488.1217
17 | 2615534.8122 | 1172575.1544
18 | 2615548.8051 | 1172481.8229
19 | 2615454.501 | 1172401.1543
20 | 2615435.7821 | 1172346.1048
21 | 2615542.2435 | 1172449.0486
22 | 2615620.8005 | 1172428.8526
23 | 2615787.5582 | 1172288.173
24 | 2615771.4414 | 1172295.8428
25 | 2615804.5576 | 1172279.0448
26 | 2615771.2918 | 1172295.8898
27 | 2615803.102 | 1172277.8046
28 | 2615833.0587 | 1172299.6807
29 | 2615657.4087 | 1172264.7235
30 | 2615714.9881 | 1172167.1495
31 | 2615851.6986 | 1172328.9494
32 | 2615645.3807 | 1172253.9214
33 | 2615630.4989 | 1172396.05
34 | 2615713.1497 | 1172164.2811
35 | 2615852.6642 | 1172330.2508
36 | 2615714.9333 | 1172146.0876
37 | 2615801.2491 | 1172170.7302
38 | 2615714.5027 | 1172144.041
39 | 2615961.2439 | 1172209.619
40 | 2615716.066 | 1172049.0527
41 | 2615637.2523 | 1172080.6748
42 | 2615722.0441 | 1172034.4724
43 | 2615967.6084 | 1172286.8982
44 | 2615951.1981 | 1172279.9538
45 | 2616052.8568 | 1172322.4786
46 | 2616002.0459 | 1172413.7896
47 | 2615440.4993 | 1172343.8561
48 | 2615421.4908 | 1172352.9174
49 | 2615257.3071 | 1172632.7977
50 | 2615273.4989 | 1172606.4523
51 | 2615111.9197 | 1172548.6135
52 | 2615302.5948 | 1172474.1091
53 | 2615332.3233 | 1172437.993
54 | 2615193.4028 | 1172338.5775
55 | 2615245.4089 | 1172332.2413
56 | 2615254.7816 | 1172333.0333
57 | 2615263.7207 | 1172395.9468
58 | 2615261.5651 | 1172330.1157
59 | 2615267.3248 | 1172450.5133
60 | 2615278.3056 | 1172309.3253
61 | 2615282.2974 | 1172357.7488
62 | 2615287.7543 | 1172428.5318
63 | 2615310.3099 | 1172232.5109
64 | 2615298.5079 | 1172414.9824
65 | 2615325.425 | 1172388.5201
66 | 2615364.2443 | 1172378.9012
67 | 2615359.6972 | 1172392.552
68 | 2615374.1762 | 1172376.5442
69 | 2615409.8737 | 1172358.4553
70 | 2615318.4043 | 1172212.9339
71 | 2615329.5289 | 1172190.0394
72 | 2615300.2338 | 1172203.3496
73 | 2615393.9942 | 1171936.5921
74 | 2615354.0368 | 1171951.7926
75 | 2615377.0519 | 1171910.2101
76 | 2615332.9457 | 1171973.3229
77 | 2615425.297 | 1171933.9545
78 | 2615398.8966 | 1171880.9886
79 | 2615335.275 | 1172008.1282
80 | 2615286.138 | 1172196.8632
81 | 2615388.1984 | 1172097.0532
82 | 2615455.6036 | 1172144.2495
83 | 2615427.015 | 1171848.7831
84 | 2615339.0725 | 1172010.75
85 | 2615433.5938 | 1172000.3203

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1