## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_768-30_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_768-30_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_768-30_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_768-30_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_768-30_0_4_node_23 | 0.4 | n |  | TRUE
5 | bus_LV_768-30_0_4_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_768-30_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_768-30_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_768-30_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_768-30_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_768-30_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_768-30_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_768-30_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_768-30_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_768-30_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_768-30_0_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_768-30_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_768-30_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_768-30_0_4_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_768-30_0_4_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_768-30_0_4_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_768-30_0_4_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_768-30_0_4_node_83 | 0.4 | n |  | TRUE
23 | bus_LV_768-30_0_4_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_768-30_0_4_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_768-30_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_768-30_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_768-30_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_768-30_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_768-30_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_768-30_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_768-30_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_768-30_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_768-30_0_4_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_768-30_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_768-30_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_768-30_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_768-30_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_768-30_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_768-30_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_768-30_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_768-30_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_768-30_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_768-30_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_768-30_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_768-30_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_768-30_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_768-30_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_768-30_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_768-30_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_768-30_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_768-30_0_4_node_55 | 0.4 | n |  | TRUE
52 | bus_LV_768-30_0_4_node_79 | 0.4 | n |  | TRUE
53 | bus_LV_768-30_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_768-30_0_4_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_768-30_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_768-30_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_768-30_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_768-30_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_768-30_0_4_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_768-30_0_4_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_768-30_0_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_768-30_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_768-30_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_768-30_0_4_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_768-30_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_768-30_0_4_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_768-30_0_4_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_768-30_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_768-30_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_768-30_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_768-30_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_768-30_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_768-30_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_768-30_0_4_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_768-30_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_768-30_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_768-30_0_4_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_768-30_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_768-30_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_768-30_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_768-30_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_768-30_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_MV_118_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_768-30_0_4_load_0 | 0 | 0.017522 | 0.0043913 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_768-30_0_4_load_2 | 2 | 0.020346 | 0.0050992 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_768-30_0_4_load_23 | 4 | 0.0021714 | 0.00054421 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_768-30_0_4_load_37 | 5 | 0.065518 | 0.01642 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_768-30_0_4_load_22 | 7 | 0.0053199 | 0.0013333 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_768-30_0_4_load_4 | 8 | 0.0076098 | 0.0019072 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_768-30_0_4_load_5 | 9 | 0.0014032 | 0.00035168 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_768-30_0_4_load_8 | 12 | 0.0017615 | 0.00044149 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_768-30_0_4_load_12 | 14 | 0.0018355 | 0.00046001 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_768-30_0_4_load_26 | 15 | 0.00093824 | 0.00023514 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_768-30_0_4_load_24 | 16 | 0.001462 | 0.00036642 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_768-30_0_4_load_10 | 17 | 0.004153 | 0.0010408 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_768-30_0_4_load_53 | 20 | 0.032868 | 0.0082374 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_768-30_0_4_load_83 | 22 | 0.019671 | 0.0049299 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_768-30_0_4_load_11 | 24 | 0.0031795 | 0.00079686 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_768-30_0_4_load_13 | 25 | 0.0031287 | 0.00078413 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_768-30_0_4_load_20 | 26 | 0.0025917 | 0.00064955 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_768-30_0_4_load_14 | 27 | 0.0036171 | 0.00090653 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_768-30_0_4_load_15 | 28 | 0.0041263 | 0.0010341 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_768-30_0_4_load_17 | 30 | 0.0026472 | 0.00066346 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_768-30_0_4_load_18 | 31 | 0.0018443 | 0.00046222 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_768-30_0_4_load_19 | 32 | 0.0027147 | 0.00068036 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_768-30_0_4_load_45 | 33 | 0.0033048 | 0.00082827 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_768-30_0_4_load_28 | 34 | 0.0034314 | 0.00086 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_768-30_0_4_load_27 | 35 | 0.0093965 | 0.002355 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_768-30_0_4_load_46 | 36 | 0.00099214 | 0.00024865 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_768-30_0_4_load_30 | 39 | 0.0077705 | 0.0019475 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_768-30_0_4_load_31 | 40 | 0.0059611 | 0.001494 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_768-30_0_4_load_42 | 41 | 0.0043509 | 0.0010904 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_768-30_0_4_load_43 | 44 | 0.0032891 | 0.00082432 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_768-30_0_4_load_44 | 45 | 0.003153 | 0.00079022 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_768-30_0_4_load_39 | 46 | 0.0030046 | 0.00075302 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_768-30_0_4_load_32 | 47 | 0.0090479 | 0.0022676 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_768-30_0_4_load_33 | 48 | 0.031328 | 0.0078517 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_768-30_0_4_load_41 | 49 | 0.0070088 | 0.0017566 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_768-30_0_4_load_38 | 50 | 0.014274 | 0.0035773 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_768-30_0_4_load_55 | 51 | 0.0036203 | 0.00090733 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_768-30_0_4_load_79 | 52 | 0.0032915 | 0.00082493 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_768-30_0_4_load_77 | 54 | 0.001447 | 0.00036265 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_768-30_0_4_load_48 | 56 | 0.0022888 | 0.00057364 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_768-30_0_4_load_49 | 57 | 0.0013186 | 0.00033048 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_768-30_0_4_load_51 | 58 | 0.0053651 | 0.0013446 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_768-30_0_4_load_52 | 59 | 0.0021204 | 0.00053142 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_768-30_0_4_load_81 | 60 | 0.0082711 | 0.0020729 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_768-30_0_4_load_57 | 61 | 0.0073166 | 0.0018337 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_768-30_0_4_load_58 | 62 | 0.0059617 | 0.0014941 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_768-30_0_4_load_59 | 63 | 0.0064863 | 0.0016256 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_768-30_0_4_load_68 | 64 | 0.0077729 | 0.0019481 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_768-30_0_4_load_67 | 66 | 0.0086175 | 0.0021597 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_768-30_0_4_load_64 | 69 | 0.0016126 | 0.00040414 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_768-30_0_4_load_62 | 70 | 0.0064292 | 0.0016113 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_768-30_0_4_load_69 | 71 | 0.0022641 | 0.00056744 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_768-30_0_4_load_70 | 72 | 0.015191 | 0.0038073 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_768-30_0_4_load_73 | 74 | 0.011941 | 0.0029927 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_768-30_0_4_load_65 | 75 | 0.0014491 | 0.00036317 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_768-30_0_4_load_63 | 76 | 0.0015564 | 0.00039007 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_768-30_0_4_load_66 | 77 | 0.0016668 | 0.00041774 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_768-30_0_4_load_75 | 78 | 0.0016686 | 0.00041818 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_768-30_0_4_load_74 | 79 | 0.0016302 | 0.00040857 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_768-30_0_4_load_80 | 82 | 0.0080271 | 0.0020118 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_768-30_0_4_line_0 |  | 0 | 1 | 0.049462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_768-30_0_4_line_1 |  | 1 | 2 | 0.012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_768-30_0_4_line_2 |  | 1 | 3 | 0.014301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_768-30_0_4_line_3 |  | 3 | 4 | 0.011769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_768-30_0_4_line_4 |  | 4 | 7 | 0.0050683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_768-30_0_4_line_5 |  | 5 | 6 | 0.0063055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_768-30_0_4_line_6 |  | 6 | 34 | 0.0085688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_768-30_0_4_line_7 |  | 6 | 26 | 0.010109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_768-30_0_4_line_8 |  | 7 | 30 | 0.021945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_768-30_0_4_line_9 |  | 8 | 9 | 0.014276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_768-30_0_4_line_10 |  | 8 | 10 | 0.0090448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_768-30_0_4_line_11 |  | 9 | 11 | 0.0085886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_768-30_0_4_line_12 |  | 10 | 12 | 0.010572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_768-30_0_4_line_13 |  | 11 | 13 | 0.000613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_768-30_0_4_line_14 |  | 12 | 14 | 0.017506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_768-30_0_4_line_15 |  | 13 | 15 | 0.019059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_768-30_0_4_line_16 |  | 13 | 16 | 0.017432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_768-30_0_4_line_17 |  | 14 | 17 | 0.019377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_768-30_0_4_line_18 |  | 15 | 36 | 6.0371e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_768-30_0_4_line_19 |  | 16 | 31 | 0.016824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_768-30_0_4_line_20 |  | 17 | 24 | 0.017686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_768-30_0_4_line_21 |  | 18 | 19 | 0.027489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_768-30_0_4_line_22 |  | 18 | 20 | 0.053346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_768-30_0_4_line_23 |  | 18 | 21 | 0.009774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_768-30_0_4_line_24 |  | 19 | 22 | 0.006177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_768-30_0_4_line_25 |  | 19 | 23 | 0.010679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_768-30_0_4_line_26 |  | 21 | 43 | 0.014666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_768-30_0_4_line_27 |  | 21 | 47 | 0.023516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_768-30_0_4_line_28 |  | 23 | 60 | 0.017627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_768-30_0_4_line_29 |  | 24 | 25 | 0.018595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_768-30_0_4_line_30 |  | 25 | 26 | 0.026399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_768-30_0_4_line_31 |  | 27 | 28 | 0.011504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_768-30_0_4_line_32 |  | 27 | 29 | 0.0085184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_768-30_0_4_line_33 |  | 28 | 30 | 0.0137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_768-30_0_4_line_34 |  | 29 | 31 | 0.0095355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_768-30_0_4_line_35 |  | 29 | 32 | 0.01696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_768-30_0_4_line_36 |  | 32 | 33 | 0.013269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_768-30_0_4_line_37 |  | 34 | 35 | 0.034384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_768-30_0_4_line_38 |  | 35 | 38 | 0.020211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_768-30_0_4_line_39 |  | 36 | 37 | 0.016015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_768-30_0_4_line_40 |  | 37 | 55 | 0.037071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_768-30_0_4_line_41 |  | 38 | 39 | 0.013409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_768-30_0_4_line_42 |  | 38 | 40 | 0.0081451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_768-30_0_4_line_43 |  | 39 | 41 | 0.027694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_768-30_0_4_line_44 |  | 40 | 42 | 0.01586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_768-30_0_4_line_45 |  | 41 | 43 | 0.021553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_768-30_0_4_line_46 |  | 42 | 44 | 0.021098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_768-30_0_4_line_47 |  | 42 | 45 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_768-30_0_4_line_48 |  | 42 | 46 | 0.021402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_768-30_0_4_line_49 |  | 43 | 49 | 0.021807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_768-30_0_4_line_50 |  | 44 | 51 | 0.017256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_768-30_0_4_line_51 |  | 45 | 52 | 0.00031203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_768-30_0_4_line_52 |  | 46 | 50 | 0.0040408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_768-30_0_4_line_53 |  | 47 | 48 | 0.035666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_768-30_0_4_line_54 |  | 51 | 53 | 0.017861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_768-30_0_4_line_55 |  | 52 | 54 | 0.029193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_768-30_0_4_line_56 |  | 53 | 61 | 0.01534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_768-30_0_4_line_57 |  | 53 | 62 | 0.01621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_768-30_0_4_line_58 |  | 54 | 80 | 0.0090405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_768-30_0_4_line_59 |  | 55 | 56 | 0.01407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_768-30_0_4_line_60 |  | 56 | 57 | 0.0256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_768-30_0_4_line_61 |  | 57 | 58 | 0.013116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_768-30_0_4_line_62 |  | 58 | 59 | 0.013513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_768-30_0_4_line_63 |  | 61 | 63 | 0.00057158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_768-30_0_4_line_64 |  | 62 | 64 | 0.021448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_768-30_0_4_line_65 |  | 63 | 65 | 0.01648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_768-30_0_4_line_66 |  | 64 | 66 | 0.0058861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_768-30_0_4_line_67 |  | 65 | 67 | 0.043748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_768-30_0_4_line_68 |  | 67 | 71 | 0.023027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_768-30_0_4_line_69 |  | 68 | 69 | 0.017604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_768-30_0_4_line_70 |  | 68 | 70 | 0.013242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_768-30_0_4_line_71 |  | 69 | 75 | 0.0056194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_768-30_0_4_line_72 |  | 70 | 76 | 0.0087841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_768-30_0_4_line_73 |  | 71 | 72 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_768-30_0_4_line_74 |  | 72 | 73 | 0.036091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_768-30_0_4_line_75 |  | 73 | 74 | 0.032423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_768-30_0_4_line_76 |  | 75 | 77 | 0.012995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_768-30_0_4_line_77 |  | 77 | 78 | 0.0056246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_768-30_0_4_line_78 |  | 78 | 79 | 0.0054714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_768-30_0_4_line_79 |  | 79 | 80 | 0.014142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_768-30_0_4_line_80 |  | 80 | 81 | 0.058023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_768-30_0_4_line_81 |  | 81 | 82 | 0.05374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_768-30_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 83 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2617915.7 | 1171189.2121 | 2617873.297 | 1171189.9976 | 2617866.2493 | 1171190.2293
1 | 2617915.7 | 1171189.2121 | 2617916.1305 | 1171201.3639
2 | 2617915.7 | 1171189.2121 | 2617920.3129 | 1171189.1257 | 2617929.9977 | 1171188.8989
3 | 2617929.9977 | 1171188.8989 | 2617938.7005 | 1171187.1016 | 2617941.4033 | 1171186.1006
4 | 2617941.4033 | 1171186.1006 | 2617946.1561 | 1171184.3403
5 | 2617922.3201 | 1171136.7052 | 2617922.4027 | 1171137.2057 | 2617923.2221 | 1171142.9458
6 | 2617922.3201 | 1171136.7052 | 2617920.9318 | 1171128.2496
7 | 2617922.3201 | 1171136.7052 | 2617932.4042 | 1171136.0015
8 | 2617946.1561 | 1171184.3403 | 2617956.8037 | 1171180.3966 | 2617966.6511 | 1171176.4998
9 | 2618042.3835 | 1171137.2361 | 2618042.5803 | 1171151.5108
10 | 2618042.2588 | 1171128.1922 | 2618042.3835 | 1171137.2361
11 | 2618042.6987 | 1171160.0986 | 2618042.5803 | 1171151.5108
12 | 2618042.2588 | 1171128.1922 | 2618031.72 | 1171129.0235
13 | 2618042.094 | 1171160.2079 | 2618042.6987 | 1171160.0986
14 | 2618014.2681 | 1171130.4 | 2618031.72 | 1171129.0235
15 | 2618042.094 | 1171160.2079 | 2618044.3611 | 1171179.1321
16 | 2618042.094 | 1171160.2079 | 2618024.9443 | 1171163.3301
17 | 2618014.2681 | 1171130.4 | 2618004.1018 | 1171131.2018 | 2617994.9408 | 1171131.7847
18 | 2618044.3611 | 1171179.1321 | 2618044.3682 | 1171179.192
19 | 2618024.9443 | 1171163.3301 | 2618017.4035 | 1171164.703 | 2618008.3413 | 1171166.032
20 | 2617994.9408 | 1171131.7847 | 2617977.2908 | 1171132.9077
21 | 2617999.1129 | 1171070.2561 | 2618008.0794 | 1171069.8493 | 2618009.0186 | 1171088.3393
22 | 2617999.1129 | 1171070.2561 | 2617999.6666 | 1171048.8136 | 2617999.952 | 1171037.7977 | 2618020.8283 | 1171037.6885
23 | 2617989.3202 | 1171070.6937 | 2617999.1129 | 1171070.2561
24 | 2618009.0186 | 1171088.3393 | 2618015.2006 | 1171087.9465
25 | 2618009.0186 | 1171088.3393 | 2618009.5604 | 1171099.0018
26 | 2617974.6693 | 1171071.3503 | 2617984.7069 | 1171070.9023 | 2617989.3202 | 1171070.6937
27 | 2617989.3202 | 1171070.6937 | 2617988.6727 | 1171047.1869
28 | 2617993.6531 | 1171097.7537 | 2617993.747 | 1171099.5993 | 2618009.5604 | 1171099.0018
29 | 2617977.2908 | 1171132.9077 | 2617958.7337 | 1171134.0885
30 | 2617932.4042 | 1171136.0015 | 2617950.6983 | 1171134.5997 | 2617958.7337 | 1171134.0885
31 | 2617979.2759 | 1171171.2175 | 2617984.1973 | 1171169.8063 | 2617990.4986 | 1171168.7822
32 | 2617998.9066 | 1171167.4157 | 2617990.4986 | 1171168.7822
33 | 2617979.2759 | 1171171.2175 | 2617977.5978 | 1171171.6987 | 2617967.9008 | 1171176.0053 | 2617966.6511 | 1171176.4998
34 | 2617998.9066 | 1171167.4157 | 2618008.3413 | 1171166.032
35 | 2617998.9066 | 1171167.4157 | 2618000.53 | 1171184.2982
36 | 2618001.8 | 1171197.5062 | 2618000.53 | 1171184.2982
37 | 2617915.3612 | 1171094.3202 | 2617920.9318 | 1171128.2496
38 | 2617912.0869 | 1171074.3766 | 2617915.3612 | 1171094.3202
39 | 2618046.2732 | 1171195.0936 | 2618044.3682 | 1171179.192
40 | 2618029.8535 | 1171216.8999 | 2618032.9974 | 1171216.8982 | 2618045.7435 | 1171216.136 | 2618047.1025 | 1171201.6995 | 2618046.2732 | 1171195.0936
41 | 2617912.0869 | 1171074.3766 | 2617921.1986 | 1171074.0035 | 2617925.4825 | 1171073.7853
42 | 2617912.0869 | 1171074.3766 | 2617903.9488 | 1171074.7145
43 | 2617953.1406 | 1171072.3766 | 2617925.4825 | 1171073.7853
44 | 2617888.1026 | 1171075.3725 | 2617903.9488 | 1171074.7145
45 | 2617974.6693 | 1171071.3503 | 2617964.5017 | 1171071.798 | 2617953.1406 | 1171072.3766
46 | 2617888.1026 | 1171075.3725 | 2617887.6523 | 1171067.3004 | 2617887.0024 | 1171054.303 | 2617887.0024 | 1171054.303
47 | 2617888.1026 | 1171075.3725 | 2617875.4717 | 1171075.8974
48 | 2617888.1026 | 1171075.3725 | 2617888.5527 | 1171083.5002 | 2617889.2654 | 1171096.7428
49 | 2617974.6693 | 1171071.3503 | 2617974.6111 | 1171093.157
50 | 2617886.1891 | 1171037.0662 | 2617887.0024 | 1171054.303
51 | 2617875.4717 | 1171075.8974 | 2617875.1599 | 1171075.9104
52 | 2617889.4825 | 1171100.7778 | 2617889.2654 | 1171096.7428
53 | 2617988.6727 | 1171047.1869 | 2617988.2022 | 1171030.1032 | 2617969.6266 | 1171030.0407
54 | 2617885.3472 | 1171019.2248 | 2617886.1891 | 1171037.0662
55 | 2617875.1599 | 1171075.9104 | 2617860.14 | 1171076.5346 | 2617845.9919 | 1171077.1168
56 | 2617885.3472 | 1171019.2248 | 2617884.6266 | 1171003.9016
57 | 2617885.3472 | 1171019.2248 | 2617901.5401 | 1171018.4888
58 | 2617836.959 | 1171077.4886 | 2617845.9919 | 1171077.1168
59 | 2618029.8535 | 1171216.8999 | 2618028.6525 | 1171216.8963 | 2618015.8104 | 1171216.0696
60 | 2618015.8104 | 1171216.0696 | 2618009.9993 | 1171215.6955 | 2617999.4508 | 1171215.6973 | 2617993.3526 | 1171216.246 | 2617990.3568 | 1171217.0633
61 | 2617978.1089 | 1171221.6568 | 2617985.452 | 1171218.4013 | 2617990.3568 | 1171217.0633
62 | 2617965.6986 | 1171227.0023 | 2617971.7032 | 1171224.4967 | 2617978.1089 | 1171221.6568
63 | 2617884.5997 | 1171003.3306 | 2617884.6266 | 1171003.9016
64 | 2617901.5401 | 1171018.4888 | 2617922.966 | 1171017.5149
65 | 2617884.3112 | 1170986.8609 | 2617884.2031 | 1170994.898 | 2617884.5997 | 1171003.3306
66 | 2617928.8461 | 1171017.2476 | 2617922.966 | 1171017.5149
67 | 2617884.3112 | 1170986.8609 | 2617906.9584 | 1170949.4315
68 | 2617906.9584 | 1170949.4315 | 2617907.2026 | 1170934.2023 | 2617905.8037 | 1170928.7065 | 2617904.8833 | 1170926.7913
69 | 2617829.3676 | 1171016.5242 | 2617832.0435 | 1171033.924
70 | 2617829.3676 | 1171016.5242 | 2617834.3034 | 1171015.9052 | 2617842.5689 | 1171016.0747
71 | 2617832.0435 | 1171033.924 | 2617832.8977 | 1171039.4782
72 | 2617850.4032 | 1171019.399 | 2617848.9998 | 1171018.0053 | 2617847.4037 | 1171017.1001 | 2617843.8037 | 1171016.1 | 2617842.5689 | 1171016.0747
73 | 2617904.8833 | 1170926.7913 | 2617904.5037 | 1170926.0013 | 2617900.3983 | 1170919.9971 | 2617894.8968 | 1170915.3006
74 | 2617873.0883 | 1170886.5992 | 2617874.0025 | 1170887.9025 | 2617879.0035 | 1170893.6981 | 2617890.3 | 1170909.9065 | 2617894.8968 | 1170915.3006
75 | 2617848.7977 | 1170908.1047 | 2617867.4992 | 1170890.7958 | 2617873.0883 | 1170886.5992
76 | 2617832.8977 | 1171039.4782 | 2617833.5479 | 1171043.7059 | 2617834.4866 | 1171052.3731
77 | 2617834.4866 | 1171052.3731 | 2617835.0922 | 1171057.965
78 | 2617835.6814 | 1171063.4046 | 2617835.0922 | 1171057.965
79 | 2617836.959 | 1171077.4886 | 2617835.7519 | 1171064.056 | 2617835.6814 | 1171063.4046
80 | 2617816.4542 | 1171109.8665 | 2617815.5567 | 1171105.5283 | 2617810.1417 | 1171079.388 | 2617810.9912 | 1171079.2571 | 2617813.3558 | 1171078.9639 | 2617814.7026 | 1171078.8012 | 2617823.2033 | 1171078.1037 | 2617836.959 | 1171077.4886
81 | 2617816.4542 | 1171109.8665 | 2617824.5508 | 1171108.701 | 2617827.1982 | 1171108.4976 | 2617834.8012 | 1171108.698 | 2617847.2042 | 1171110.2021 | 2617869.9294 | 1171112.1094

## bus_geodata
| x | y | coords
0 | 2617866.2493 | 1171190.2293
1 | 2617915.7 | 1171189.2121
2 | 2617916.1305 | 1171201.3639
3 | 2617929.9977 | 1171188.8989
4 | 2617941.4033 | 1171186.1006
5 | 2617923.2221 | 1171142.9458
6 | 2617922.3201 | 1171136.7052
7 | 2617946.1561 | 1171184.3403
8 | 2618042.3835 | 1171137.2361
9 | 2618042.5803 | 1171151.5108
10 | 2618042.2588 | 1171128.1922
11 | 2618042.6987 | 1171160.0986
12 | 2618031.72 | 1171129.0235
13 | 2618042.094 | 1171160.2079
14 | 2618014.2681 | 1171130.4
15 | 2618044.3611 | 1171179.1321
16 | 2618024.9443 | 1171163.3301
17 | 2617994.9408 | 1171131.7847
18 | 2617999.1129 | 1171070.2561
19 | 2618009.0186 | 1171088.3393
20 | 2618020.8283 | 1171037.6885
21 | 2617989.3202 | 1171070.6937
22 | 2618015.2006 | 1171087.9465
23 | 2618009.5604 | 1171099.0018
24 | 2617977.2908 | 1171132.9077
25 | 2617958.7337 | 1171134.0885
26 | 2617932.4042 | 1171136.0015
27 | 2617990.4986 | 1171168.7822
28 | 2617979.2759 | 1171171.2175
29 | 2617998.9067 | 1171167.4157
30 | 2617966.6511 | 1171176.4998
31 | 2618008.3413 | 1171166.032
32 | 2618000.53 | 1171184.2982
33 | 2618001.8 | 1171197.5062
34 | 2617920.9318 | 1171128.2496
35 | 2617915.3612 | 1171094.3202
36 | 2618044.3682 | 1171179.192
37 | 2618046.2732 | 1171195.0936
38 | 2617912.0869 | 1171074.3766
39 | 2617925.4825 | 1171073.7853
40 | 2617903.9488 | 1171074.7145
41 | 2617953.1406 | 1171072.3766
42 | 2617888.1026 | 1171075.3725
43 | 2617974.6693 | 1171071.3503
44 | 2617887.0024 | 1171054.303
45 | 2617875.4717 | 1171075.8974
46 | 2617889.2654 | 1171096.7428
47 | 2617988.6727 | 1171047.1869
48 | 2617969.6266 | 1171030.0407
49 | 2617974.6111 | 1171093.157
50 | 2617889.4825 | 1171100.7778
51 | 2617886.1891 | 1171037.0662
52 | 2617875.1599 | 1171075.9104
53 | 2617885.3472 | 1171019.2248
54 | 2617845.9919 | 1171077.1168
55 | 2618029.8535 | 1171216.8999
56 | 2618015.8104 | 1171216.0696
57 | 2617990.3568 | 1171217.0633
58 | 2617978.1089 | 1171221.6568
59 | 2617965.6986 | 1171227.0023
60 | 2617993.6531 | 1171097.7537
61 | 2617884.6266 | 1171003.9016
62 | 2617901.5401 | 1171018.4888
63 | 2617884.5997 | 1171003.3306
64 | 2617922.966 | 1171017.5149
65 | 2617884.3112 | 1170986.8609
66 | 2617928.8461 | 1171017.2476
67 | 2617906.9584 | 1170949.4315
68 | 2617829.3676 | 1171016.5242
69 | 2617832.0435 | 1171033.924
70 | 2617842.5689 | 1171016.0747
71 | 2617904.8833 | 1170926.7913
72 | 2617894.8968 | 1170915.3006
73 | 2617873.0883 | 1170886.5992
74 | 2617848.7977 | 1170908.1047
75 | 2617832.8977 | 1171039.4782
76 | 2617850.4032 | 1171019.399
77 | 2617834.4866 | 1171052.3731
78 | 2617835.0922 | 1171057.965
79 | 2617835.6814 | 1171063.4045
80 | 2617836.959 | 1171077.4886
81 | 2617816.4542 | 1171109.8665
82 | 2617869.9294 | 1171112.1094
83 | 2617912.0869 | 1171074.3766

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1