## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_768-37_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_768-37_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_768-37_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_768-37_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_768-37_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_768-37_0_3_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_768-37_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_768-37_0_3_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_768-37_0_3_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_768-37_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_768-37_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_768-37_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_768-37_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_768-37_0_3_node_89 | 0.4 | n |  | TRUE
14 | bus_LV_768-37_0_3_node_91 | 0.4 | n |  | TRUE
15 | bus_LV_768-37_0_3_node_87 | 0.4 | n |  | TRUE
16 | bus_LV_768-37_0_3_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_768-37_0_3_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_768-37_0_3_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_768-37_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_768-37_0_3_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_768-37_0_3_node_83 | 0.4 | n |  | TRUE
22 | bus_LV_768-37_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_768-37_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_768-37_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_768-37_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_768-37_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_768-37_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_768-37_0_3_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_768-37_0_3_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_768-37_0_3_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_768-37_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_768-37_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_768-37_0_3_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_768-37_0_3_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_768-37_0_3_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_768-37_0_3_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_768-37_0_3_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_768-37_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_768-37_0_3_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_768-37_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_768-37_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_768-37_0_3_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_768-37_0_3_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_768-37_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_768-37_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_768-37_0_3_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_768-37_0_3_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_768-37_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_768-37_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_768-37_0_3_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_768-37_0_3_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_768-37_0_3_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_768-37_0_3_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_768-37_0_3_node_98 | 0.4 | n |  | TRUE
55 | bus_LV_768-37_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_768-37_0_3_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_768-37_0_3_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_768-37_0_3_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_768-37_0_3_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_768-37_0_3_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_768-37_0_3_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_768-37_0_3_node_82 | 0.4 | n |  | TRUE
63 | bus_LV_768-37_0_3_node_36 | 0.4 | n |  | TRUE
64 | bus_LV_768-37_0_3_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_768-37_0_3_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_768-37_0_3_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_768-37_0_3_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_768-37_0_3_node_99 | 0.4 | n |  | TRUE
69 | bus_LV_768-37_0_3_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_768-37_0_3_node_42 | 0.4 | n |  | TRUE
71 | bus_LV_768-37_0_3_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_768-37_0_3_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_768-37_0_3_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_768-37_0_3_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_768-37_0_3_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_768-37_0_3_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_768-37_0_3_node_47 | 0.4 | n |  | TRUE
78 | bus_LV_768-37_0_3_node_92 | 0.4 | n |  | TRUE
79 | bus_LV_768-37_0_3_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_768-37_0_3_node_46 | 0.4 | n |  | TRUE
81 | bus_LV_768-37_0_3_node_48 | 0.4 | n |  | TRUE
82 | bus_LV_768-37_0_3_node_51 | 0.4 | n |  | TRUE
83 | bus_LV_768-37_0_3_node_52 | 0.4 | n |  | TRUE
84 | bus_LV_768-37_0_3_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_768-37_0_3_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_768-37_0_3_node_96 | 0.4 | n |  | TRUE
87 | bus_LV_768-37_0_3_node_59 | 0.4 | n |  | TRUE
88 | bus_LV_768-37_0_3_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_768-37_0_3_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_768-37_0_3_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_768-37_0_3_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_768-37_0_3_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_768-37_0_3_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_768-37_0_3_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_768-37_0_3_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_768-37_0_3_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_768-37_0_3_node_88 | 0.4 | n |  | TRUE
98 | bus_MV_208_1_node_211 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_768-37_0_3_load_0 | 0 | 0.0033351 | 0.00083586 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_768-37_0_3_load_1 | 1 | 0.0020903 | 0.00052389 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_768-37_0_3_load_2 | 2 | 0.0021851 | 0.00054764 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_768-37_0_3_load_3 | 3 | 0.0021883 | 0.00054843 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_768-37_0_3_load_4 | 4 | 0.0012136 | 0.00030416 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_768-37_0_3_load_8 | 6 | 0.0025601 | 0.00064162 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_768-37_0_3_load_57 | 7 | 0.0015568 | 0.00039017 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_768-37_0_3_load_58 | 8 | 0.0016204 | 0.00040612 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_768-37_0_3_load_9 | 9 | 0.0048514 | 0.0012159 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_768-37_0_3_load_5 | 10 | 0.0020858 | 0.00052275 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_768-37_0_3_load_91 | 14 | 0.0014265 | 0.0003575 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_768-37_0_3_load_87 | 15 | 0.0011897 | 0.00029816 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_768-37_0_3_load_75 | 17 | 0.0015959 | 0.00039998 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_768-37_0_3_load_70 | 18 | 0.0039993 | 0.0010023 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_768-37_0_3_load_10 | 19 | 0.0028973 | 0.00072613 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_768-37_0_3_load_83 | 21 | 0.0016949 | 0.00042479 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_768-37_0_3_load_11 | 22 | 0.0019729 | 0.00049446 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_768-37_0_3_load_12 | 23 | 0.0042055 | 0.001054 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_768-37_0_3_load_20 | 25 | 0.0029287 | 0.00073399 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_768-37_0_3_load_16 | 26 | 0.0066124 | 0.0016572 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_768-37_0_3_load_40 | 28 | 0.005376 | 0.0013474 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_768-37_0_3_load_17 | 31 | 0.0039557 | 0.0009914 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_768-37_0_3_load_15 | 32 | 0.0028637 | 0.0007177 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_768-37_0_3_load_73 | 34 | 0.0031456 | 0.00078837 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_768-37_0_3_load_18 | 36 | 0.0023225 | 0.00058208 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_768-37_0_3_load_63 | 37 | 0.064965 | 0.016282 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_768-37_0_3_load_38 | 38 | 0.004009 | 0.0010047 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_768-37_0_3_load_71 | 39 | 0.00070029 | 0.00017551 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_768-37_0_3_load_24 | 40 | 0.0026449 | 0.00066288 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_768-37_0_3_load_21 | 41 | 0.00086155 | 0.00021592 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_768-37_0_3_load_22 | 42 | 0.0023609 | 0.00059168 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_768-37_0_3_load_23 | 43 | 0.0022653 | 0.00056773 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_768-37_0_3_load_25 | 44 | 0.0044318 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_768-37_0_3_load_26 | 45 | 0.0014042 | 0.00035192 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_768-37_0_3_load_27 | 46 | 0.0016126 | 0.00040416 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_768-37_0_3_load_28 | 47 | 0.0013928 | 0.00034906 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_768-37_0_3_load_30 | 49 | 0.0012261 | 0.0003073 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_768-37_0_3_load_53 | 50 | 0.00059368 | 0.00014879 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_768-37_0_3_load_55 | 52 | 0.0012676 | 0.00031768 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_768-37_0_3_load_97 | 53 | 0.001518 | 0.00038045 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_768-37_0_3_load_98 | 54 | 0.0012261 | 0.0003073 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_768-37_0_3_load_31 | 56 | 0.0027196 | 0.00068159 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_768-37_0_3_load_32 | 57 | 0.0033256 | 0.00083347 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_768-37_0_3_load_69 | 60 | 0.0031227 | 0.00078262 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_768-37_0_3_load_67 | 61 | 0.0025566 | 0.00064075 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_768-37_0_3_load_82 | 62 | 0.0015953 | 0.00039983 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_768-37_0_3_load_36 | 63 | 0.033472 | 0.008389 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_768-37_0_3_load_37 | 64 | 0.066748 | 0.016729 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_768-37_0_3_load_64 | 66 | 0.016005 | 0.0040112 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_768-37_0_3_load_99 | 68 | 0.010854 | 0.0027202 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_768-37_0_3_load_41 | 69 | 0.0011468 | 0.0002874 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_768-37_0_3_load_42 | 70 | 0.00063948 | 0.00016027 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_768-37_0_3_load_43 | 71 | 0.00061742 | 0.00015474 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_768-37_0_3_load_44 | 72 | 0.0011841 | 0.00029675 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_768-37_0_3_load_50 | 73 | 0.001752 | 0.00043909 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_768-37_0_3_load_93 | 75 | 0.0018412 | 0.00046145 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_768-37_0_3_load_94 | 76 | 0.0016164 | 0.0004051 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_768-37_0_3_load_92 | 78 | 0.0015859 | 0.00039747 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_768-37_0_3_load_95 | 79 | 0.0015575 | 0.00039034 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_768-37_0_3_load_46 | 80 | 0.0017927 | 0.0004493 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_768-37_0_3_load_51 | 82 | 0.0015485 | 0.0003881 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_768-37_0_3_load_52 | 83 | 0.0014557 | 0.00036483 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_768-37_0_3_load_61 | 84 | 0.0014293 | 0.00035822 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_768-37_0_3_load_60 | 85 | 0.0019764 | 0.00049533 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_768-37_0_3_load_96 | 86 | 0.00079726 | 0.00019981 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_768-37_0_3_load_59 | 87 | 0.003314 | 0.00083058 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_768-37_0_3_load_76 | 88 | 0.091306 | 0.022884 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_768-37_0_3_load_90 | 89 | 0.0019142 | 0.00047974 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_768-37_0_3_load_81 | 92 | 0.002162 | 0.00054185 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_768-37_0_3_load_80 | 93 | 0.0017064 | 0.00042767 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_768-37_0_3_load_84 | 94 | 0.0019232 | 0.000482 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_768-37_0_3_load_85 | 95 | 0.0018199 | 0.0004561 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_768-37_0_3_load_86 | 96 | 0.0015136 | 0.00037935 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_768-37_0_3_load_88 | 97 | 0.001091 | 0.00027344 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_768-37_0_3_line_0 |  | 0 | 1 | 0.025656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_768-37_0_3_line_1 |  | 0 | 2 | 0.024206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_768-37_0_3_line_2 |  | 1 | 3 | 0.026843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_768-37_0_3_line_3 |  | 2 | 4 | 0.01152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_768-37_0_3_line_4 |  | 3 | 5 | 0.017827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_768-37_0_3_line_5 |  | 4 | 6 | 0.049243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_768-37_0_3_line_6 |  | 5 | 7 | 0.02069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_768-37_0_3_line_7 |  | 5 | 8 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_768-37_0_3_line_8 |  | 6 | 9 | 0.018572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_768-37_0_3_line_9 |  | 7 | 87 | 0.01522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_768-37_0_3_line_10 |  | 8 | 78 | 1.7125e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_768-37_0_3_line_11 |  | 9 | 19 | 0.015511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_768-37_0_3_line_12 |  | 10 | 11 | 0.026117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_768-37_0_3_line_13 |  | 11 | 12 | 0.076701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_768-37_0_3_line_14 |  | 12 | 13 | 0.034274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_768-37_0_3_line_15 |  | 13 | 14 | 0.02098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_768-37_0_3_line_16 |  | 13 | 15 | 0.0025174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_768-37_0_3_line_17 |  | 14 | 89 | 0.00074672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_768-37_0_3_line_18 |  | 15 | 95 | 0.00024939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_768-37_0_3_line_19 |  | 16 | 17 | 0.017587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_768-37_0_3_line_20 |  | 16 | 18 | 0.0074419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_768-37_0_3_line_21 |  | 17 | 89 | 0.037105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_768-37_0_3_line_22 |  | 18 | 30 | 0.032229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_768-37_0_3_line_23 |  | 19 | 20 | 0.01615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_768-37_0_3_line_24 |  | 20 | 21 | 0.016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_768-37_0_3_line_25 |  | 21 | 62 | 0.0088485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_768-37_0_3_line_26 |  | 22 | 23 | 0.021795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_768-37_0_3_line_27 |  | 23 | 24 | 0.058131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_768-37_0_3_line_28 |  | 24 | 25 | 0.058351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_768-37_0_3_line_29 |  | 24 | 26 | 0.011366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_768-37_0_3_line_30 |  | 25 | 30 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_768-37_0_3_line_31 |  | 26 | 31 | 0.021896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_768-37_0_3_line_32 |  | 27 | 28 | 0.0054788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_768-37_0_3_line_33 |  | 27 | 29 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_768-37_0_3_line_34 |  | 28 | 38 | 0.04535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_768-37_0_3_line_35 |  | 29 | 37 | 0.008333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_768-37_0_3_line_36 |  | 29 | 36 | 0.018201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_768-37_0_3_line_37 |  | 30 | 39 | 0.013113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_768-37_0_3_line_38 |  | 30 | 40 | 0.020296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_768-37_0_3_line_39 |  | 31 | 36 | 0.030241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_768-37_0_3_line_40 |  | 32 | 33 | 0.014006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_768-37_0_3_line_41 |  | 33 | 34 | 0.006168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_768-37_0_3_line_42 |  | 33 | 35 | 0.015467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_768-37_0_3_line_43 |  | 35 | 67 | 0.070349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_768-37_0_3_line_44 |  | 35 | 68 | 0.00775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_768-37_0_3_line_45 |  | 35 | 65 | 0.064296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_768-37_0_3_line_46 |  | 38 | 63 | 0.0041114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_768-37_0_3_line_47 |  | 40 | 42 | 0.011809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_768-37_0_3_line_48 |  | 41 | 42 | 0.0085506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_768-37_0_3_line_49 |  | 41 | 43 | 0.053038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_768-37_0_3_line_50 |  | 43 | 44 | 0.012988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_768-37_0_3_line_51 |  | 45 | 46 | 0.0011002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_768-37_0_3_line_52 |  | 45 | 47 | 0.020085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_768-37_0_3_line_53 |  | 46 | 48 | 0.029936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_768-37_0_3_line_54 |  | 47 | 49 | 0.0034848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_768-37_0_3_line_55 |  | 48 | 50 | 0.0070026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_768-37_0_3_line_56 |  | 48 | 51 | 0.039178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_768-37_0_3_line_57 |  | 49 | 52 | 0.018522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_768-37_0_3_line_58 |  | 50 | 53 | 0.012756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_768-37_0_3_line_59 |  | 51 | 54 | 0.058093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_768-37_0_3_line_60 |  | 52 | 55 | 0.010979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_768-37_0_3_line_61 |  | 53 | 86 | 0.019402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_768-37_0_3_line_62 |  | 55 | 77 | 0.0269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_768-37_0_3_line_63 |  | 56 | 57 | 0.023224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_768-37_0_3_line_64 |  | 57 | 58 | 0.014094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_768-37_0_3_line_65 |  | 58 | 59 | 0.002796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_768-37_0_3_line_66 |  | 59 | 60 | 0.032643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_768-37_0_3_line_67 |  | 59 | 61 | 0.015088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_768-37_0_3_line_68 |  | 61 | 82 | 0.02345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_768-37_0_3_line_69 |  | 62 | 93 | 0.019309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_768-37_0_3_line_70 |  | 63 | 64 | 0.04143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_768-37_0_3_line_71 |  | 64 | 65 | 0.0083121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_768-37_0_3_line_72 |  | 65 | 66 | 0.014165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_768-37_0_3_line_73 |  | 67 | 88 | 0.026954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_768-37_0_3_line_74 |  | 69 | 70 | 0.0035804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_768-37_0_3_line_75 |  | 69 | 71 | 0.011551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_768-37_0_3_line_76 |  | 70 | 72 | 0.02439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_768-37_0_3_line_77 |  | 72 | 73 | 0.030249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_768-37_0_3_line_78 |  | 73 | 77 | 0.010018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_768-37_0_3_line_79 |  | 74 | 75 | 0.017352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_768-37_0_3_line_80 |  | 74 | 76 | 0.0098623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_768-37_0_3_line_81 |  | 75 | 78 | 0.0060613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_768-37_0_3_line_82 |  | 76 | 79 | 4.1954e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_768-37_0_3_line_83 |  | 77 | 80 | 0.020256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_768-37_0_3_line_84 |  | 79 | 86 | 0.010827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_768-37_0_3_line_85 |  | 81 | 82 | 0.025215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_768-37_0_3_line_86 |  | 81 | 83 | 0.011126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_768-37_0_3_line_87 |  | 83 | 84 | 0.0033345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_768-37_0_3_line_88 |  | 84 | 85 | 0.029648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_768-37_0_3_line_89 |  | 85 | 87 | 0.00079567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_768-37_0_3_line_90 |  | 88 | 90 | 0.078033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_768-37_0_3_line_91 |  | 90 | 91 | 0.019449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_768-37_0_3_line_92 |  | 91 | 92 | 0.029038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_768-37_0_3_line_93 |  | 92 | 93 | 0.023991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_768-37_0_3_line_94 |  | 94 | 95 | 0.025098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_768-37_0_3_line_95 |  | 94 | 96 | 0.028331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_768-37_0_3_line_96 |  | 96 | 97 | 0.0096794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_768-37_0_3_trafo_63 | 0.63 MVA 20/0.4 kV | 98 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2614289.5165 | 1174169.3274 | 2614308.7851 | 1174152.3874
1 | 2614289.5165 | 1174169.3274 | 2614271.3372 | 1174185.3099
2 | 2614329.0522 | 1174134.7876 | 2614322.3012 | 1174140.5047 | 2614308.7851 | 1174152.3874
3 | 2614271.3372 | 1174185.3099 | 2614265.1995 | 1174190.7059 | 2614262.597 | 1174192.8109
4 | 2614342.6566 | 1174123.2666 | 2614329.0522 | 1174134.7876
5 | 2614230.8515 | 1174173.0046 | 2614235.7504 | 1174180.2976 | 2614237.2508 | 1174182.7469 | 2614239.9035 | 1174189.3565 | 2614242.3484 | 1174193.2976 | 2614249.6014 | 1174200.8964 | 2614254.0034 | 1174198.4055 | 2614261.4996 | 1174193.6986 | 2614262.597 | 1174192.8109
6 | 2614342.6566 | 1174123.2666 | 2614332.0337 | 1174105.5115
7 | 2614342.6566 | 1174123.2666 | 2614350.5721 | 1174116.5902
8 | 2614230.8515 | 1174173.0046 | 2614230.8515 | 1174173.0046 | 2614229.1248 | 1174172.5225 | 2614228.1287 | 1174173.4206 | 2614227.5983 | 1174174.6311 | 2614223.9416 | 1174188.2659
9 | 2614323.4147 | 1174092.9921 | 2614328.9489 | 1174100.3557 | 2614332.0337 | 1174105.5115
10 | 2614350.5852 | 1174116.5792 | 2614350.5721 | 1174116.5902
11 | 2614223.9416 | 1174188.2659 | 2614221.6513 | 1174196.8061 | 2614219.5973 | 1174198.9023 | 2614218.6025 | 1174202.5017
12 | 2614467.7417 | 1174112.7491 | 2614488.0938 | 1174096.382
13 | 2614467.7417 | 1174112.7491 | 2614464.6981 | 1174116.1991 | 2614449.0231 | 1174135.9159 | 2614445.5143 | 1174145.2345 | 2614437.0917 | 1174153.6186 | 2614427.3913 | 1174162.3998 | 2614418.1449 | 1174170.026
14 | 2614413.7037 | 1174137.699 | 2614411.501 | 1174144.3971 | 2614411.2021 | 1174151.0998 | 2614411.6959 | 1174155.6255 | 2614413.3848 | 1174162.3107 | 2614418.1449 | 1174170.026
15 | 2614413.7037 | 1174137.699 | 2614400.6515 | 1174150.9522 | 2614399.1326 | 1174152.7834
16 | 2614413.7037 | 1174137.699 | 2614415.5054 | 1174135.9408
17 | 2614398.6559 | 1174153.3581 | 2614399.1326 | 1174152.7834
18 | 2614415.5054 | 1174135.9408 | 2614415.6839 | 1174135.7667
19 | 2614363.0832 | 1174194.8849 | 2614374.9152 | 1174181.8725
20 | 2614363.0832 | 1174194.8849 | 2614357.2643 | 1174199.5241
21 | 2614374.9152 | 1174181.8725 | 2614375.9232 | 1174180.7639 | 2614398.6559 | 1174153.3581
22 | 2614334.5079 | 1174222.2307 | 2614344.4282 | 1174210.9152 | 2614351.2943 | 1174204.2838 | 2614357.2643 | 1174199.5241
23 | 2614202.9976 | 1174199.4301 | 2614215.8727 | 1174202.6732 | 2614217.6992 | 1174202.9776 | 2614218.6025 | 1174202.5017
24 | 2614202.9976 | 1174199.4301 | 2614202.6976 | 1174200.1964 | 2614200.3006 | 1174205.1044 | 2614195.3681 | 1174213.9159
25 | 2614190.8067 | 1174221.4905 | 2614192.7993 | 1174218.5046 | 2614195.3681 | 1174213.9159
26 | 2614263.8571 | 1174329.0065 | 2614280.6646 | 1174315.1301
27 | 2614277.1838 | 1174269.7743 | 2614281.5525 | 1174274.8984 | 2614281.2527 | 1174278.7996 | 2614281.8515 | 1174281.0022 | 2614282.6968 | 1174282.4049 | 2614290.953 | 1174292.4518 | 2614294.702 | 1174297.7522 | 2614295.4541 | 1174299.755 | 2614294.7969 | 1174302.855 | 2614293.3017 | 1174304.6969 | 2614280.6646 | 1174315.1301
28 | 2614277.1838 | 1174269.7743 | 2614283.5498 | 1174264.4756 | 2614322.0951 | 1174232.5211
29 | 2614277.1838 | 1174269.7743 | 2614274.1041 | 1174265.954 | 2614272.7992 | 1174264.9059 | 2614271.0511 | 1174263.7456 | 2614268.473 | 1174262.9875
30 | 2614334.5079 | 1174222.2307 | 2614322.0951 | 1174232.5211
31 | 2614246.97 | 1174265.2129 | 2614247.0487 | 1174265.1562 | 2614251.9002 | 1174263.3557 | 2614254.5005 | 1174263.0061 | 2614267.8499 | 1174262.8042 | 2614268.473 | 1174262.9875
32 | 2614223.07 | 1174314.8025 | 2614221.5839 | 1174316.033 | 2614218.8559 | 1174318.3038
33 | 2614223.07 | 1174314.8025 | 2614217.7978 | 1174306.9973 | 2614216.5029 | 1174304.9487 | 2614215.3018 | 1174302.0555 | 2614215.048 | 1174299.4536
34 | 2614218.8559 | 1174318.3038 | 2614194.3511 | 1174338.7025 | 2614184.4015 | 1174347.777
35 | 2614215.048 | 1174299.4536 | 2614210.453 | 1174299.4984 | 2614207.0318 | 1174301.0577
36 | 2614215.048 | 1174299.4536 | 2614215.0513 | 1174298.0529 | 2614215.7503 | 1174293.3966 | 2614216.949 | 1174290.8537 | 2614218.9037 | 1174288.7017 | 2614223.6984 | 1174284.5023
37 | 2614334.5079 | 1174222.2307 | 2614345.6735 | 1174215.3541
38 | 2614334.5079 | 1174222.2307 | 2614327.3498 | 1174213.3981 | 2614324.5972 | 1174210.2455 | 2614321.4588 | 1174206.6913
39 | 2614223.6984 | 1174284.5023 | 2614229.7521 | 1174279.2003 | 2614242.8978 | 1174268.1479 | 2614246.97 | 1174265.2129
40 | 2614146.2015 | 1174439.2181 | 2614146.7974 | 1174439.3973 | 2614153.1987 | 1174441.7024 | 2614159.4199 | 1174443.8459
41 | 2614146.2015 | 1174439.2181 | 2614149.5165 | 1174434.0121
42 | 2614130.954 | 1174437.2035 | 2614133.8979 | 1174436.9992 | 2614139.5009 | 1174437.4014 | 2614146.2015 | 1174439.2181
43 | 2614100.1004 | 1174383.8042 | 2614099.4994 | 1174389.1055 | 2614100.1019 | 1174392.9977 | 2614106.7984 | 1174422.7062 | 2614106.9124 | 1174422.9955 | 2614109.2 | 1174428.8038 | 2614110.5036 | 1174430.3966 | 2614112.9532 | 1174432.3477 | 2614116.9471 | 1174434.3025 | 2614122.4392 | 1174436.3498 | 2614126.7039 | 1174436.9045 | 2614128.8974 | 1174437.1987 | 2614130.954 | 1174437.2035
44 | 2614134.4247 | 1174443.8261 | 2614133.4476 | 1174443.2013 | 2614131.9998 | 1174441.1524 | 2614130.954 | 1174437.2035
45 | 2614130.954 | 1174437.2035 | 2614128.8974 | 1174437.1987 | 2614126.7039 | 1174436.9045 | 2614122.4392 | 1174436.3498 | 2614128.3019 | 1174420.5555 | 2614133.2514 | 1174409.5059 | 2614139.201 | 1174399.0479 | 2614144.8019 | 1174390.6012 | 2614147.5476 | 1174386.9058
46 | 2614181.3638 | 1174350.5476 | 2614184.4015 | 1174347.777
47 | 2614311.5996 | 1174200.6987 | 2614314.1517 | 1174201.3051 | 2614317.5499 | 1174203.0474 | 2614319.7477 | 1174204.7534 | 2614321.4588 | 1174206.6913
48 | 2614311.5996 | 1174200.6987 | 2614311.5996 | 1174200.6987 | 2614303.0514 | 1174200.9007
49 | 2614320.9617 | 1174163.8727 | 2614315.1043 | 1174167.2456 | 2614312.2469 | 1174169.5956 | 2614297.7503 | 1174182.7012 | 2614296.5993 | 1174184.4549 | 2614295.9968 | 1174187.0548 | 2614296.1521 | 1174195.704 | 2614296.5532 | 1174197.4502 | 2614297.4972 | 1174199.1533 | 2614299.4978 | 1174200.2031 | 2614303.0514 | 1174200.9007 | 2614303.0514 | 1174200.9007
50 | 2614330.9507 | 1174155.5996 | 2614321.9488 | 1174163.3043 | 2614320.9617 | 1174163.8727
51 | 2614396.1656 | 1174039.2648 | 2614395.4971 | 1174038.3911
52 | 2614383.0491 | 1174022.6315 | 2614390.3015 | 1174031.6004 | 2614395.4971 | 1174038.3911
53 | 2614414.3563 | 1174063.0405 | 2614396.1656 | 1174039.2648
54 | 2614380.8579 | 1174019.9217 | 2614383.0491 | 1174022.6315
55 | 2614414.3563 | 1174063.0405 | 2614408.9547 | 1174067.4969
56 | 2614414.3563 | 1174063.0405 | 2614422.798 | 1174056.3017 | 2614444.1517 | 1174037.5211
57 | 2614369.1842 | 1174005.5422 | 2614369.6043 | 1174006.0047 | 2614380.8579 | 1174019.9217
58 | 2614399.1151 | 1174075.6149 | 2614408.9547 | 1174067.4969
59 | 2614444.1517 | 1174037.5211 | 2614440.4991 | 1174036.6563 | 2614437.7524 | 1174037.4502 | 2614435.8534 | 1174038.6462 | 2614421.0525 | 1174018.9564 | 2614420.1486 | 1174019.6546 | 2614406.6258 | 1174000.4826
60 | 2614361.8031 | 1173997.4151 | 2614369.1842 | 1174005.5422
61 | 2614384.2322 | 1174088.0614 | 2614390.4009 | 1174082.8043 | 2614399.1151 | 1174075.6149
62 | 2614361.8031 | 1173997.4151 | 2614343.0021 | 1174016.7023
63 | 2614241.2209 | 1174117.1309 | 2614226.66 | 1174135.223
64 | 2614250.2837 | 1174106.3389 | 2614243.8972 | 1174113.8054 | 2614241.2209 | 1174117.1309
65 | 2614250.2837 | 1174106.3389 | 2614252.0855 | 1174104.1977
66 | 2614274.699 | 1174127.7965 | 2614252.0855 | 1174104.1977
67 | 2614252.0855 | 1174104.1977 | 2614261.9217 | 1174092.7568
68 | 2614261.9217 | 1174092.7568 | 2614270.9995 | 1174082.1979 | 2614277.4335 | 1174075.1738
69 | 2614178.4568 | 1174236.2949 | 2614184.1015 | 1174230.3012 | 2614189.7994 | 1174222.9998 | 2614190.8067 | 1174221.4905
70 | 2614181.3638 | 1174350.5476 | 2614172.6988 | 1174358.4505 | 2614157.3471 | 1174374.6559 | 2614152.6389 | 1174380.3388
71 | 2614147.5476 | 1174386.9058 | 2614150.6001 | 1174382.7998 | 2614152.6389 | 1174380.3388
72 | 2614147.5476 | 1174386.9058 | 2614136.2986 | 1174378.2973
73 | 2614100.1004 | 1174383.8042 | 2614102.0005 | 1174378.8061 | 2614104.4022 | 1174375.0987 | 2614114.6424 | 1174361.292
74 | 2614342.7572 | 1174066.8243 | 2614340.6389 | 1174063.9377
75 | 2614342.7572 | 1174066.8243 | 2614349.5916 | 1174076.1369
76 | 2614340.6389 | 1174063.9377 | 2614339.049 | 1174061.7713 | 2614338.5474 | 1174060.5028 | 2614338.6039 | 1174059.2467 | 2614339.226 | 1174058.0476 | 2614353.2611 | 1174047.2137
77 | 2614348.9627 | 1174024.7542 | 2614351.4769 | 1174028.1505 | 2614359.7762 | 1174039.4538 | 2614361.0489 | 1174041.2021 | 2614353.2611 | 1174047.2137
78 | 2614343.0021 | 1174016.7023 | 2614348.9627 | 1174024.7542
79 | 2614368.482 | 1174101.4837 | 2614355.2184 | 1174112.6712
80 | 2614368.482 | 1174101.4837 | 2614375.9883 | 1174095.0868
81 | 2614350.5852 | 1174116.5792 | 2614355.2184 | 1174112.6712
82 | 2614375.9915 | 1174095.0841 | 2614375.9883 | 1174095.0868
83 | 2614343.0021 | 1174016.7023 | 2614335.698 | 1174024.0998 | 2614328.2885 | 1174030.6062
84 | 2614375.9915 | 1174095.0841 | 2614384.2322 | 1174088.0614
85 | 2614295.6079 | 1174057.7439 | 2614291.1035 | 1174061.4017 | 2614281.8003 | 1174070.4064 | 2614277.4335 | 1174075.1738
86 | 2614295.6079 | 1174057.7439 | 2614302.632 | 1174066.3728
87 | 2614302.632 | 1174066.3728 | 2614304.7371 | 1174068.9588
88 | 2614322.9366 | 1174092.3561 | 2614312.7531 | 1174078.8063 | 2614304.7371 | 1174068.9588
89 | 2614323.4147 | 1174092.9921 | 2614322.9366 | 1174092.3561
90 | 2614146.5012 | 1174295.3014 | 2614148.2971 | 1174311.9029 | 2614134.8039 | 1174321.2982 | 2614131.901 | 1174326.8053 | 2614124.5992 | 1174343.2966 | 2614117.9006 | 1174356.8989 | 2614114.6424 | 1174361.292
91 | 2614148.9856 | 1174279.1768 | 2614152.2472 | 1174280.4518 | 2614149.2523 | 1174289.3492 | 2614147.8003 | 1174292.3029 | 2614146.5012 | 1174295.3014
92 | 2614148.9856 | 1174279.1768 | 2614153.2035 | 1174267.2029 | 2614155.102 | 1174262.9051 | 2614156.899 | 1174259.4965 | 2614160.1981 | 1174254.6018 | 2614161.4325 | 1174253.172
93 | 2614178.4568 | 1174236.2949 | 2614176.0996 | 1174238.7978 | 2614164.0006 | 1174250.1974 | 2614161.4325 | 1174253.172
94 | 2614434.1977 | 1174118.8655 | 2614428.0038 | 1174123.7483 | 2614421.0223 | 1174130.5573 | 2614415.6839 | 1174135.7667
95 | 2614434.1977 | 1174118.8655 | 2614456.4465 | 1174101.3263
96 | 2614456.4465 | 1174101.3263 | 2614457.12 | 1174100.7953 | 2614461.3024 | 1174097.5037 | 2614463.8976 | 1174095.1562

## bus_geodata
| x | y | coords
0 | 2614289.5165 | 1174169.3274
1 | 2614308.7851 | 1174152.3874
2 | 2614271.3372 | 1174185.3099
3 | 2614329.0522 | 1174134.7876
4 | 2614262.597 | 1174192.8109
5 | 2614342.6566 | 1174123.2666
6 | 2614230.8515 | 1174173.0046
7 | 2614332.0337 | 1174105.5115
8 | 2614350.5721 | 1174116.5902
9 | 2614223.9416 | 1174188.2659
10 | 2614488.0938 | 1174096.382
11 | 2614467.7417 | 1174112.7491
12 | 2614418.1449 | 1174170.026
13 | 2614413.7037 | 1174137.699
14 | 2614399.1326 | 1174152.7834
15 | 2614415.5054 | 1174135.9408
16 | 2614363.0832 | 1174194.8849
17 | 2614374.9152 | 1174181.8725
18 | 2614357.2643 | 1174199.5241
19 | 2614218.6025 | 1174202.5017
20 | 2614202.9976 | 1174199.4301
21 | 2614195.3681 | 1174213.9159
22 | 2614263.8571 | 1174329.0065
23 | 2614280.6646 | 1174315.1301
24 | 2614277.1838 | 1174269.7743
25 | 2614322.0951 | 1174232.5211
26 | 2614268.473 | 1174262.9875
27 | 2614223.07 | 1174314.8025
28 | 2614218.8559 | 1174318.3038
29 | 2614215.048 | 1174299.4536
30 | 2614334.5079 | 1174222.2307
31 | 2614246.97 | 1174265.2129
32 | 2614159.4199 | 1174443.8459
33 | 2614146.2015 | 1174439.2181
34 | 2614149.5165 | 1174434.0121
35 | 2614130.954 | 1174437.2035
36 | 2614223.6984 | 1174284.5023
37 | 2614207.0318 | 1174301.0578
38 | 2614184.4015 | 1174347.777
39 | 2614345.6735 | 1174215.3541
40 | 2614321.4588 | 1174206.6913
41 | 2614303.0514 | 1174200.9007
42 | 2614311.5996 | 1174200.6987
43 | 2614320.9617 | 1174163.8727
44 | 2614330.9507 | 1174155.5996
45 | 2614395.4971 | 1174038.3911
46 | 2614396.1656 | 1174039.2648
47 | 2614383.0491 | 1174022.6315
48 | 2614414.3563 | 1174063.0405
49 | 2614380.8579 | 1174019.9217
50 | 2614408.9547 | 1174067.4969
51 | 2614444.1517 | 1174037.5211
52 | 2614369.1842 | 1174005.5422
53 | 2614399.1151 | 1174075.6149
54 | 2614406.6258 | 1174000.4826
55 | 2614361.8031 | 1173997.4151
56 | 2614226.66 | 1174135.223
57 | 2614241.2209 | 1174117.1309
58 | 2614250.2837 | 1174106.3389
59 | 2614252.0855 | 1174104.1977
60 | 2614274.699 | 1174127.7965
61 | 2614261.9217 | 1174092.7568
62 | 2614190.8067 | 1174221.4905
63 | 2614181.3638 | 1174350.5476
64 | 2614152.6389 | 1174380.3388
65 | 2614147.5476 | 1174386.9058
66 | 2614136.2986 | 1174378.2973
67 | 2614100.1004 | 1174383.8042
68 | 2614134.4247 | 1174443.8261
69 | 2614342.7572 | 1174066.8243
70 | 2614340.6389 | 1174063.9377
71 | 2614349.5916 | 1174076.1369
72 | 2614353.2611 | 1174047.2137
73 | 2614348.9627 | 1174024.7542
74 | 2614368.482 | 1174101.4837
75 | 2614355.2184 | 1174112.6712
76 | 2614375.9883 | 1174095.0868
77 | 2614343.0021 | 1174016.7023
78 | 2614350.5852 | 1174116.5792
79 | 2614375.9915 | 1174095.0841
80 | 2614328.2885 | 1174030.6062
81 | 2614295.6079 | 1174057.7439
82 | 2614277.4335 | 1174075.1738
83 | 2614302.632 | 1174066.3728
84 | 2614304.7371 | 1174068.9588
85 | 2614322.9366 | 1174092.3561
86 | 2614384.2322 | 1174088.0614
87 | 2614323.4147 | 1174092.9921
88 | 2614114.6424 | 1174361.292
89 | 2614398.6559 | 1174153.3581
90 | 2614146.5012 | 1174295.3014
91 | 2614148.9856 | 1174279.1768
92 | 2614161.4325 | 1174253.172
93 | 2614178.4568 | 1174236.2949
94 | 2614434.1977 | 1174118.8655
95 | 2614415.6839 | 1174135.7667
96 | 2614456.4465 | 1174101.3263
97 | 2614463.8976 | 1174095.1562
98 | 2614215.048 | 1174299.4536

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1