## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_928-11_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_928-11_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_928-11_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_928-11_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_928-11_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_928-11_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_928-11_0_2_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_928-11_0_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_928-11_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_928-11_0_2_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_928-11_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_928-11_0_2_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_928-11_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_928-11_0_2_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_928-11_0_2_node_60 | 0.4 | n |  | TRUE
15 | bus_LV_928-11_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_928-11_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_928-11_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_928-11_0_2_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_928-11_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_928-11_0_2_node_81 | 0.4 | n |  | TRUE
21 | bus_LV_928-11_0_2_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_928-11_0_2_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_928-11_0_2_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_928-11_0_2_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_928-11_0_2_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_928-11_0_2_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_928-11_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_928-11_0_2_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_928-11_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_928-11_0_2_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_928-11_0_2_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_928-11_0_2_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_928-11_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_928-11_0_2_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_928-11_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_928-11_0_2_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_928-11_0_2_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_928-11_0_2_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_928-11_0_2_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_928-11_0_2_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_928-11_0_2_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_928-11_0_2_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_928-11_0_2_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_928-11_0_2_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_928-11_0_2_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_928-11_0_2_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_928-11_0_2_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_928-11_0_2_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_928-11_0_2_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_928-11_0_2_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_928-11_0_2_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_928-11_0_2_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_928-11_0_2_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_928-11_0_2_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_928-11_0_2_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_928-11_0_2_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_928-11_0_2_node_67 | 0.4 | n |  | TRUE
58 | bus_LV_928-11_0_2_node_85 | 0.4 | n |  | TRUE
59 | bus_LV_928-11_0_2_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_928-11_0_2_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_928-11_0_2_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_928-11_0_2_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_928-11_0_2_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_928-11_0_2_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_928-11_0_2_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_928-11_0_2_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_928-11_0_2_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_928-11_0_2_node_38 | 0.4 | n |  | TRUE
69 | bus_LV_928-11_0_2_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_928-11_0_2_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_928-11_0_2_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_928-11_0_2_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_928-11_0_2_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_928-11_0_2_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_928-11_0_2_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_928-11_0_2_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_928-11_0_2_node_45 | 0.4 | n |  | TRUE
78 | bus_LV_928-11_0_2_node_47 | 0.4 | n |  | TRUE
79 | bus_LV_928-11_0_2_node_92 | 0.4 | n |  | TRUE
80 | bus_LV_928-11_0_2_node_99 | 0.4 | n |  | TRUE
81 | bus_LV_928-11_0_2_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_928-11_0_2_node_51 | 0.4 | n |  | TRUE
83 | bus_LV_928-11_0_2_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_928-11_0_2_node_100 | 0.4 | n |  | TRUE
85 | bus_LV_928-11_0_2_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_928-11_0_2_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_928-11_0_2_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_928-11_0_2_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_928-11_0_2_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_928-11_0_2_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_928-11_0_2_node_96 | 0.4 | n |  | TRUE
92 | bus_LV_928-11_0_2_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_928-11_0_2_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_928-11_0_2_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_928-11_0_2_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_928-11_0_2_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_928-11_0_2_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_928-11_0_2_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_928-11_0_2_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_928-11_0_2_node_101 | 0.4 | n |  | TRUE
101 | bus_MV_93_0_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_928-11_0_2_load_0 | 0 | 0.0039043 | 0.00097851 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_928-11_0_2_load_1 | 1 | 0.0035031 | 0.00087796 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_928-11_0_2_load_3 | 3 | 0.0088465 | 0.0022171 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_928-11_0_2_load_4 | 4 | 0.0036652 | 0.00091857 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_928-11_0_2_load_5 | 5 | 0.0023387 | 0.00058614 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_928-11_0_2_load_17 | 6 | 0.0097648 | 0.0024473 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_928-11_0_2_load_15 | 7 | 0.0025911 | 0.0006494 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_928-11_0_2_load_6 | 8 | 0.0025796 | 0.00064652 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_928-11_0_2_load_56 | 9 | 0.0016265 | 0.00040763 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_928-11_0_2_load_7 | 10 | 0.0026366 | 0.0006608 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_928-11_0_2_load_55 | 11 | 0.0039265 | 0.00098407 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_928-11_0_2_load_8 | 12 | 0.0047111 | 0.0011807 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_928-11_0_2_load_59 | 13 | 0.0044821 | 0.0011233 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_928-11_0_2_load_60 | 14 | 0.0044967 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_928-11_0_2_load_9 | 15 | 0.0025872 | 0.0006484 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_928-11_0_2_load_10 | 16 | 0.0051029 | 0.0012789 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_928-11_0_2_load_11 | 17 | 0.0013265 | 0.00033246 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_928-11_0_2_load_34 | 18 | 0.0023394 | 0.0005863 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_928-11_0_2_load_12 | 19 | 0.0064365 | 0.0016131 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_928-11_0_2_load_82 | 21 | 0.0025754 | 0.00064545 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_928-11_0_2_load_40 | 22 | 0.0042437 | 0.0010636 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_928-11_0_2_load_35 | 23 | 0.0084484 | 0.0021174 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_928-11_0_2_load_36 | 24 | 0.0013244 | 0.00033192 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_928-11_0_2_load_13 | 27 | 0.0021985 | 0.00055101 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_928-11_0_2_load_14 | 28 | 0.0023209 | 0.00058167 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_928-11_0_2_load_16 | 29 | 0.0045789 | 0.0011476 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_928-11_0_2_load_42 | 30 | 0.0025149 | 0.00063029 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_928-11_0_2_load_18 | 32 | 0.0017803 | 0.00044618 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_928-11_0_2_load_20 | 34 | 0.0029383 | 0.00073641 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_928-11_0_2_load_33 | 35 | 0.00074469 | 0.00018664 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_928-11_0_2_load_22 | 36 | 0.00041083 | 0.00010296 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_928-11_0_2_load_24 | 38 | 0.0048431 | 0.0012138 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_928-11_0_2_load_25 | 39 | 0.0021535 | 0.00053972 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_928-11_0_2_load_26 | 40 | 0.0016514 | 0.00041388 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_928-11_0_2_load_27 | 41 | 0.0019256 | 0.0004826 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_928-11_0_2_load_52 | 43 | 0.0019724 | 0.00049434 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_928-11_0_2_load_68 | 44 | 0.0019589 | 0.00049094 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_928-11_0_2_load_66 | 45 | 0.0023092 | 0.00057874 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_928-11_0_2_load_29 | 46 | 0.0050371 | 0.0012624 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_928-11_0_2_load_30 | 47 | 0.0011218 | 0.00028115 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_928-11_0_2_load_32 | 48 | 0.00065775 | 0.00016485 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_928-11_0_2_load_54 | 50 | 0.0015659 | 0.00039244 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_928-11_0_2_load_70 | 51 | 0.00099663 | 0.00024978 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_928-11_0_2_load_57 | 52 | 0.0013714 | 0.0003437 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_928-11_0_2_load_84 | 55 | 0.0043055 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_928-11_0_2_load_61 | 56 | 0.010707 | 0.0026834 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_928-11_0_2_load_67 | 57 | 0.0041124 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_928-11_0_2_load_85 | 58 | 0.0074376 | 0.001864 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_928-11_0_2_load_72 | 60 | 0.0010671 | 0.00026744 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_928-11_0_2_load_73 | 61 | 0.00087308 | 0.00021881 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_928-11_0_2_load_86 | 62 | 0.0016072 | 0.0004028 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_928-11_0_2_load_77 | 63 | 0.0037955 | 0.00095125 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_928-11_0_2_load_78 | 64 | 0.001862 | 0.00046665 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_928-11_0_2_load_79 | 65 | 0.0040786 | 0.0010222 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_928-11_0_2_load_65 | 66 | 0.0011271 | 0.00028248 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_928-11_0_2_load_37 | 67 | 0.0030097 | 0.00075431 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_928-11_0_2_load_41 | 69 | 0.0032002 | 0.00080205 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_928-11_0_2_load_50 | 71 | 0.0033145 | 0.0008307 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_928-11_0_2_load_46 | 72 | 0.0017091 | 0.00042834 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_928-11_0_2_load_93 | 73 | 0.0028599 | 0.00071675 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_928-11_0_2_load_48 | 74 | 0.0033336 | 0.00083547 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_928-11_0_2_load_44 | 75 | 0.010082 | 0.0025267 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_928-11_0_2_load_94 | 76 | 0.0027607 | 0.00069191 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_928-11_0_2_load_45 | 77 | 0.0019726 | 0.00049439 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_928-11_0_2_load_47 | 78 | 0.0021799 | 0.00054634 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_928-11_0_2_load_92 | 79 | 0.0021876 | 0.00054826 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_928-11_0_2_load_99 | 80 | 0.0019559 | 0.00049019 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_928-11_0_2_load_49 | 81 | 0.0027844 | 0.00069783 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_928-11_0_2_load_51 | 82 | 0.0045321 | 0.0011358 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_928-11_0_2_load_69 | 83 | 0.014053 | 0.003522 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_928-11_0_2_load_100 | 84 | 0.0033512 | 0.00083989 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_928-11_0_2_load_62 | 85 | 0.0024937 | 0.00062498 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_928-11_0_2_load_63 | 86 | 0.0021542 | 0.0005399 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_928-11_0_2_load_64 | 87 | 0.0026394 | 0.0006615 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_928-11_0_2_load_74 | 88 | 0.0022966 | 0.00057558 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_928-11_0_2_load_75 | 89 | 0.0030403 | 0.00076198 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_928-11_0_2_load_76 | 90 | 0.0027729 | 0.00069496 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_928-11_0_2_load_96 | 91 | 0.0037323 | 0.0009354 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_928-11_0_2_load_87 | 93 | 0.0015542 | 0.00038953 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_928-11_0_2_load_88 | 94 | 0.0021863 | 0.00054795 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_928-11_0_2_load_89 | 95 | 0.0015638 | 0.00039192 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_928-11_0_2_load_90 | 96 | 0.0021139 | 0.00052979 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_928-11_0_2_load_91 | 97 | 0.0018964 | 0.00047528 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_928-11_0_2_load_97 | 98 | 0.002268 | 0.00056842 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_928-11_0_2_load_98 | 99 | 0.0020055 | 0.00050263 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_928-11_0_2_load_101 | 100 | 0.0011212 | 0.000281 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_928-11_0_2_line_0 |  | 0 | 1 | 0.020979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_928-11_0_2_line_1 |  | 0 | 2 | 0.0031761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_928-11_0_2_line_2 |  | 1 | 3 | 0.020859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_928-11_0_2_line_3 |  | 2 | 4 | 0.0082959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_928-11_0_2_line_4 |  | 2 | 5 | 0.019354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_928-11_0_2_line_5 |  | 4 | 8 | 0.0086893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_928-11_0_2_line_6 |  | 5 | 9 | 0.012946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_928-11_0_2_line_7 |  | 6 | 7 | 0.021106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_928-11_0_2_line_8 |  | 7 | 27 | 0.013448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_928-11_0_2_line_9 |  | 8 | 10 | 0.012642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_928-11_0_2_line_10 |  | 9 | 11 | 0.0058516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_928-11_0_2_line_11 |  | 10 | 12 | 0.0059449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_928-11_0_2_line_12 |  | 11 | 52 | 0.011105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_928-11_0_2_line_13 |  | 12 | 13 | 0.020197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_928-11_0_2_line_14 |  | 13 | 14 | 0.0018397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_928-11_0_2_line_15 |  | 14 | 56 | 0.015246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_928-11_0_2_line_16 |  | 15 | 16 | 0.023131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_928-11_0_2_line_17 |  | 15 | 17 | 0.018588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_928-11_0_2_line_18 |  | 16 | 18 | 0.06092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_928-11_0_2_line_19 |  | 17 | 19 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_928-11_0_2_line_20 |  | 18 | 23 | 0.010697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_928-11_0_2_line_21 |  | 19 | 25 | 0.0095642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_928-11_0_2_line_22 |  | 20 | 21 | 0.016951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_928-11_0_2_line_23 |  | 20 | 22 | 0.013762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_928-11_0_2_line_24 |  | 21 | 90 | 0.0004988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_928-11_0_2_line_25 |  | 22 | 68 | 0.035552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_928-11_0_2_line_26 |  | 23 | 24 | 0.0054885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_928-11_0_2_line_27 |  | 25 | 26 | 0.017086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_928-11_0_2_line_28 |  | 26 | 66 | 0.0087771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_928-11_0_2_line_29 |  | 27 | 28 | 0.013801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_928-11_0_2_line_30 |  | 28 | 29 | 0.0062692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_928-11_0_2_line_31 |  | 29 | 30 | 0.0075926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_928-11_0_2_line_32 |  | 30 | 31 | 0.032096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_928-11_0_2_line_33 |  | 31 | 70 | 0.016963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_928-11_0_2_line_34 |  | 31 | 67 | 0.020953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_928-11_0_2_line_35 |  | 32 | 33 | 0.024005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_928-11_0_2_line_36 |  | 33 | 34 | 0.021554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_928-11_0_2_line_37 |  | 34 | 35 | 0.029229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_928-11_0_2_line_38 |  | 35 | 37 | 0.018487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_928-11_0_2_line_39 |  | 36 | 37 | 0.021972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_928-11_0_2_line_40 |  | 37 | 46 | 0.026867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_928-11_0_2_line_41 |  | 38 | 39 | 0.014511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_928-11_0_2_line_42 |  | 38 | 40 | 0.0024048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_928-11_0_2_line_43 |  | 39 | 41 | 0.013404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_928-11_0_2_line_44 |  | 40 | 42 | 0.0096145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_928-11_0_2_line_45 |  | 41 | 43 | 0.0024278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_928-11_0_2_line_46 |  | 42 | 44 | 0.016971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_928-11_0_2_line_47 |  | 42 | 45 | 0.037064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_928-11_0_2_line_48 |  | 43 | 49 | 0.016789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_928-11_0_2_line_49 |  | 44 | 58 | 0.024981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_928-11_0_2_line_50 |  | 45 | 57 | 0.032159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_928-11_0_2_line_51 |  | 46 | 47 | 0.020289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_928-11_0_2_line_52 |  | 47 | 48 | 0.00095905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_928-11_0_2_line_53 |  | 48 | 49 | 0.010751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_928-11_0_2_line_54 |  | 49 | 50 | 0.014432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_928-11_0_2_line_55 |  | 50 | 51 | 0.0087255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_928-11_0_2_line_56 |  | 51 | 59 | 0.0098929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_928-11_0_2_line_57 |  | 52 | 53 | 0.020853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_928-11_0_2_line_58 |  | 53 | 54 | 0.022794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_928-11_0_2_line_59 |  | 53 | 55 | 0.0030281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_928-11_0_2_line_60 |  | 54 | 84 | 0.025965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_928-11_0_2_line_61 |  | 55 | 58 | 0.021576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_928-11_0_2_line_62 |  | 59 | 60 | 0.028958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_928-11_0_2_line_63 |  | 59 | 61 | 0.020545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_928-11_0_2_line_64 |  | 61 | 62 | 0.01429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_928-11_0_2_line_65 |  | 62 | 65 | 0.01007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_928-11_0_2_line_66 |  | 63 | 64 | 0.0080115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_928-11_0_2_line_67 |  | 64 | 65 | 0.0098217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_928-11_0_2_line_68 |  | 66 | 87 | 0.026823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_928-11_0_2_line_69 |  | 67 | 68 | 0.0027194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_928-11_0_2_line_70 |  | 68 | 69 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_928-11_0_2_line_71 |  | 69 | 71 | 0.0086023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_928-11_0_2_line_72 |  | 70 | 72 | 0.016323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_928-11_0_2_line_73 |  | 70 | 73 | 0.029299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_928-11_0_2_line_74 |  | 71 | 74 | 0.021926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_928-11_0_2_line_75 |  | 72 | 75 | 0.0036755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_928-11_0_2_line_76 |  | 73 | 76 | 0.01611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_928-11_0_2_line_77 |  | 74 | 81 | 0.0036592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_928-11_0_2_line_78 |  | 75 | 77 | 0.002536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_928-11_0_2_line_79 |  | 76 | 92 | 0.0077667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_928-11_0_2_line_80 |  | 77 | 78 | 0.020346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_928-11_0_2_line_81 |  | 78 | 79 | 0.0074045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_928-11_0_2_line_82 |  | 79 | 80 | 0.013522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_928-11_0_2_line_83 |  | 80 | 98 | 0.0072569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_928-11_0_2_line_84 |  | 81 | 82 | 0.02187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_928-11_0_2_line_85 |  | 82 | 83 | 0.024133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_928-11_0_2_line_86 |  | 84 | 91 | 0.030259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_928-11_0_2_line_87 |  | 85 | 86 | 0.028442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_928-11_0_2_line_88 |  | 85 | 87 | 0.021174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_928-11_0_2_line_89 |  | 86 | 88 | 0.041371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_928-11_0_2_line_90 |  | 88 | 89 | 0.032906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_928-11_0_2_line_91 |  | 89 | 90 | 0.029403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_928-11_0_2_line_92 |  | 91 | 92 | 0.024874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_928-11_0_2_line_93 |  | 93 | 94 | 0.013581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_928-11_0_2_line_94 |  | 93 | 95 | 0.0068981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_928-11_0_2_line_95 |  | 94 | 96 | 0.0070826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_928-11_0_2_line_96 |  | 95 | 97 | 0.014493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_928-11_0_2_line_97 |  | 96 | 98 | 0.014487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_928-11_0_2_line_98 |  | 97 | 99 | 0.0013992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_928-11_0_2_line_99 |  | 99 | 100 | 0.12244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_928-11_0_2_trafo_17 | 0.63 MVA 20/0.4 kV | 101 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2612108.1175 | 1182793.8046 | 2612090.6988 | 1182782.1121
1 | 2612110.7545 | 1182795.5747 | 2612108.1175 | 1182793.8046
2 | 2612073.3801 | 1182770.4868 | 2612090.6988 | 1182782.1121
3 | 2612110.7545 | 1182795.5747 | 2612117.4507 | 1182800.4719
4 | 2612110.7545 | 1182795.5747 | 2612103.7199 | 1182777.5449
5 | 2612124.4644 | 1182805.6013 | 2612117.4507 | 1182800.4719
6 | 2612099.0143 | 1182765.4845 | 2612103.7199 | 1182777.5449
7 | 2612031.1441 | 1182755.8948 | 2612010.2716 | 1182759.0269
8 | 2612010.2716 | 1182759.0269 | 2611996.9728 | 1182761.0225
9 | 2612124.4644 | 1182805.6013 | 2612134.6686 | 1182813.0641
10 | 2612096.8874 | 1182760.0331 | 2612099.0143 | 1182765.4845
11 | 2612134.6686 | 1182813.0641 | 2612139.4672 | 1182816.5734
12 | 2612096.8874 | 1182760.0331 | 2612093.6647 | 1182751.7734 | 2612093.1428 | 1182749.5965
13 | 2612155.7696 | 1182828.4961 | 2612139.4672 | 1182816.5734
14 | 2612155.7696 | 1182828.4961 | 2612157.2546 | 1182829.5821
15 | 2612169.5607 | 1182838.582 | 2612157.2546 | 1182829.5821
16 | 2611934.2366 | 1182845.318 | 2611943.9106 | 1182848.4133 | 2611954.9893 | 1182855.164
17 | 2611934.2366 | 1182845.318 | 2611916.5325 | 1182839.6535
18 | 2611954.9893 | 1182855.164 | 2611982.8639 | 1182909.3322
19 | 2611901.4872 | 1182835.1559 | 2611902.4815 | 1182835.1578 | 2611916.5325 | 1182839.6535
20 | 2611982.8639 | 1182909.3322 | 2611979.5028 | 1182919.4871
21 | 2611891.923 | 1182835.137 | 2611901.4872 | 1182835.1559
22 | 2611895.6848 | 1182785.8857 | 2611880.7758 | 1182777.8204
23 | 2611895.6848 | 1182785.8857 | 2611906.4185 | 1182777.2732
24 | 2611880.3371 | 1182777.5831 | 2611880.7758 | 1182777.8204
25 | 2611934.148 | 1182755.0236 | 2611906.4185 | 1182777.2732
26 | 2611977.7783 | 1182924.6976 | 2611979.5028 | 1182919.4871
27 | 2611877.8872 | 1182825.3376 | 2611891.923 | 1182835.137
28 | 2611877.8872 | 1182825.3376 | 2611869.7894 | 1182821.9518
29 | 2611983.3248 | 1182763.0705 | 2611996.9728 | 1182761.0225
30 | 2611977.1251 | 1182764.0008 | 2611983.3248 | 1182763.0705
31 | 2611969.6165 | 1182765.1276 | 2611977.1251 | 1182764.0008
32 | 2611954.5257 | 1182743.0023 | 2611962.0531 | 1182766.2625 | 2611969.6165 | 1182765.1276
33 | 2611970.9187 | 1182738.4658 | 2611954.5257 | 1182743.0023
34 | 2611954.5257 | 1182743.0023 | 2611942.7173 | 1182749.5156 | 2611936.4356 | 1182753.5532
35 | 2612288.3656 | 1182844.026 | 2612297.1249 | 1182831.5374 | 2612305.8756 | 1182831.5358
36 | 2612288.3656 | 1182844.026 | 2612271.6066 | 1182830.4722
37 | 2612271.6066 | 1182830.4722 | 2612263.8915 | 1182824.2326 | 2612258.3124 | 1182812.0816 | 2612258.1467 | 1182810.9807 | 2612259.0678 | 1182806.2469
38 | 2612262.5985 | 1182788.1002 | 2612259.0678 | 1182806.2469
39 | 2612262.5985 | 1182788.1002 | 2612275.381 | 1182787.0146 | 2612284.4468 | 1182785.8241
40 | 2612262.5985 | 1182788.1002 | 2612236.7775 | 1182780.678
41 | 2612163.6943 | 1182750.5655 | 2612176.8284 | 1182756.7344
42 | 2612161.5177 | 1182749.5432 | 2612163.6943 | 1182750.5655
43 | 2612188.9606 | 1182762.4326 | 2612176.8284 | 1182756.7344
44 | 2612152.8153 | 1182745.4558 | 2612161.5177 | 1182749.5432
45 | 2612191.1581 | 1182763.4648 | 2612188.9606 | 1182762.4326
46 | 2612152.8153 | 1182745.4558 | 2612145.8491 | 1182743.3184 | 2612136.5939 | 1182740.4683
47 | 2612152.8153 | 1182745.4558 | 2612153.4093 | 1182738.609 | 2612152.9043 | 1182735.373 | 2612151.6817 | 1182732.1356 | 2612142.886 | 1182721.0454 | 2612139.9653 | 1182715.5923 | 2612139.2824 | 1182712.5532
48 | 2612206.8965 | 1182769.3108 | 2612191.1581 | 1182763.4648 | 2612191.1581 | 1182763.4648
49 | 2612136.5939 | 1182740.4683 | 2612135.7472 | 1182740.2076 | 2612112.2527 | 1182734.86
50 | 2612139.2824 | 1182712.5532 | 2612138.5957 | 1182709.4975 | 2612138.5162 | 1182695.9126 | 2612139.0534 | 1182686.9646 | 2612140.0674 | 1182680.5668
51 | 2612217.7514 | 1182773.7021 | 2612230.6206 | 1182778.9083 | 2612236.7775 | 1182780.678
52 | 2612216.8624 | 1182773.3424 | 2612217.7514 | 1182773.7021
53 | 2612206.8965 | 1182769.3108 | 2612216.8624 | 1182773.3424
54 | 2612206.8965 | 1182769.3108 | 2612211.3616 | 1182755.5869
55 | 2612214.0611 | 1182747.2895 | 2612211.3616 | 1182755.5869
56 | 2612217.1219 | 1182737.882 | 2612214.0611 | 1182747.2895
57 | 2612088.2815 | 1182729.3177 | 2612093.1428 | 1182749.5965
58 | 2612088.2815 | 1182729.3177 | 2612065.4242 | 1182728.9161
59 | 2612088.2815 | 1182729.3177 | 2612091.231 | 1182730.0032
60 | 2612065.4242 | 1182728.9161 | 2612058.8854 | 1182719.2536 | 2612048.3537 | 1182709.5386
61 | 2612091.231 | 1182730.0032 | 2612106.2299 | 1182733.4892 | 2612112.2527 | 1182734.86
62 | 2612217.1219 | 1182737.882 | 2612222.9727 | 1182732.8135 | 2612229.5373 | 1182712.6374
63 | 2612217.1219 | 1182737.882 | 2612217.3857 | 1182732.0239 | 2612215.6139 | 1182728.5519 | 2612211.9475 | 1182725.6541 | 2612206.1874 | 1182723.6176
64 | 2612206.1874 | 1182723.6176 | 2612196.4831 | 1182720.1866 | 2612193.286 | 1182717.7878
65 | 2612185.231 | 1182711.7443 | 2612193.286 | 1182717.7878
66 | 2612169.2884 | 1182703.853 | 2612176.562 | 1182707.2114
67 | 2612185.231 | 1182711.7443 | 2612183.3943 | 1182710.3662 | 2612176.562 | 1182707.2114
68 | 2611869.7894 | 1182821.9518 | 2611857.7181 | 1182816.9046 | 2611845.9159 | 1182809.8721
69 | 2611934.148 | 1182755.0236 | 2611936.4356 | 1182753.5532
70 | 2611934.148 | 1182755.0236 | 2611923.411 | 1182746.9182
71 | 2611923.411 | 1182746.9182 | 2611916.5453 | 1182741.7352
72 | 2611970.9187 | 1182738.4658 | 2611964.5845 | 1182723.4215
73 | 2611970.9187 | 1182738.4658 | 2611992.3057 | 1182733.4613 | 2611999.6068 | 1182732.768
74 | 2611899.0457 | 1182728.5246 | 2611916.5453 | 1182741.7352
75 | 2611963.1583 | 1182720.034 | 2611964.5845 | 1182723.4215
76 | 2611999.6068 | 1182732.768 | 2612015.6451 | 1182731.2449
77 | 2611899.0457 | 1182728.5246 | 2611896.1252 | 1182726.3199
78 | 2611963.1583 | 1182720.034 | 2611962.1742 | 1182717.6968
79 | 2612023.3769 | 1182730.5106 | 2612015.6451 | 1182731.2449
80 | 2611962.1742 | 1182717.6968 | 2611958.6922 | 1182709.4266 | 2611950.3727 | 1182701.6724
81 | 2611944.9561 | 1182696.6239 | 2611950.3727 | 1182701.6724
82 | 2611944.9561 | 1182696.6239 | 2611935.0645 | 1182687.4044
83 | 2611929.7559 | 1182682.4566 | 2611935.0645 | 1182687.4044
84 | 2611878.67 | 1182713.1428 | 2611896.1252 | 1182726.3199
85 | 2611859.4092 | 1182698.6026 | 2611878.67 | 1182713.1428
86 | 2612018.2564 | 1182706.4102 | 2612048.3537 | 1182709.5386
87 | 2611827.7261 | 1182799.0334 | 2611814.3664 | 1182791.0728 | 2611804.077 | 1182783.3077
88 | 2611827.7261 | 1182799.0334 | 2611845.9159 | 1182809.8721
89 | 2611825.5335 | 1182747.9361 | 2611804.077 | 1182783.3077
90 | 2611825.5335 | 1182747.9361 | 2611854.4757 | 1182763.5929
91 | 2611854.4757 | 1182763.5929 | 2611880.3371 | 1182777.5831
92 | 2612018.2564 | 1182706.4102 | 2612022.2283 | 1182716.9347 | 2612023.3769 | 1182730.5106
93 | 2611904.0424 | 1182658.4903 | 2611913.9769 | 1182667.7498
94 | 2611904.0424 | 1182658.4903 | 2611898.9963 | 1182653.7871
95 | 2611913.9769 | 1182667.7498 | 2611919.158 | 1182672.5788
96 | 2611898.9963 | 1182653.7871 | 2611888.394 | 1182643.9052
97 | 2611919.158 | 1182672.5788 | 2611929.7559 | 1182682.4566
98 | 2611887.3704 | 1182642.9512 | 2611888.394 | 1182643.9052
99 | 2611887.3704 | 1182642.9512 | 2611934.5482 | 1182529.9641

## bus_geodata
| x | y | coords
0 | 2612108.1175 | 1182793.8046
1 | 2612090.6988 | 1182782.1121
2 | 2612110.7545 | 1182795.5747
3 | 2612073.3801 | 1182770.4868
4 | 2612117.4507 | 1182800.4719
5 | 2612103.7199 | 1182777.5449
6 | 2612031.1441 | 1182755.8948
7 | 2612010.2716 | 1182759.0269
8 | 2612124.4644 | 1182805.6013
9 | 2612099.0143 | 1182765.4845
10 | 2612134.6686 | 1182813.0641
11 | 2612096.8874 | 1182760.0331
12 | 2612139.4672 | 1182816.5734
13 | 2612155.7696 | 1182828.4961
14 | 2612157.2546 | 1182829.5821
15 | 2611934.2366 | 1182845.318
16 | 2611954.9893 | 1182855.164
17 | 2611916.5325 | 1182839.6535
18 | 2611982.8639 | 1182909.3322
19 | 2611901.4872 | 1182835.1559
20 | 2611895.6848 | 1182785.8857
21 | 2611880.7758 | 1182777.8204
22 | 2611906.4185 | 1182777.2732
23 | 2611979.5028 | 1182919.4871
24 | 2611977.7783 | 1182924.6976
25 | 2611891.923 | 1182835.137
26 | 2611877.8872 | 1182825.3376
27 | 2611996.9728 | 1182761.0225
28 | 2611983.3248 | 1182763.0705
29 | 2611977.1251 | 1182764.0008
30 | 2611969.6165 | 1182765.1276
31 | 2611954.5257 | 1182743.0023
32 | 2612305.8756 | 1182831.5358
33 | 2612288.3656 | 1182844.026
34 | 2612271.6066 | 1182830.4722
35 | 2612259.0678 | 1182806.2469
36 | 2612284.4468 | 1182785.8241
37 | 2612262.5985 | 1182788.1002
38 | 2612163.6943 | 1182750.5655
39 | 2612176.8284 | 1182756.7344
40 | 2612161.5177 | 1182749.5432
41 | 2612188.9606 | 1182762.4326
42 | 2612152.8153 | 1182745.4558
43 | 2612191.1581 | 1182763.4648
44 | 2612136.5939 | 1182740.4683
45 | 2612139.2824 | 1182712.5532
46 | 2612236.7775 | 1182780.678
47 | 2612217.7514 | 1182773.7021
48 | 2612216.8624 | 1182773.3424
49 | 2612206.8965 | 1182769.3108
50 | 2612211.3616 | 1182755.5869
51 | 2612214.0611 | 1182747.2895
52 | 2612093.1428 | 1182749.5965
53 | 2612088.2815 | 1182729.3177
54 | 2612065.4242 | 1182728.9161
55 | 2612091.231 | 1182730.0032
56 | 2612169.5607 | 1182838.582
57 | 2612140.0674 | 1182680.5668
58 | 2612112.2527 | 1182734.86
59 | 2612217.1219 | 1182737.882
60 | 2612229.5373 | 1182712.6374
61 | 2612206.1874 | 1182723.6176
62 | 2612193.286 | 1182717.7878
63 | 2612169.2884 | 1182703.853
64 | 2612176.562 | 1182707.2114
65 | 2612185.231 | 1182711.7443
66 | 2611869.7894 | 1182821.9518
67 | 2611936.4356 | 1182753.5532
68 | 2611934.148 | 1182755.0236
69 | 2611923.411 | 1182746.9182
70 | 2611970.9187 | 1182738.4658
71 | 2611916.5453 | 1182741.7352
72 | 2611964.5845 | 1182723.4215
73 | 2611999.6068 | 1182732.768
74 | 2611899.0457 | 1182728.5246
75 | 2611963.1583 | 1182720.034
76 | 2612015.6451 | 1182731.2449
77 | 2611962.1742 | 1182717.6968
78 | 2611950.3727 | 1182701.6724
79 | 2611944.9561 | 1182696.6239
80 | 2611935.0645 | 1182687.4044
81 | 2611896.1252 | 1182726.3198
82 | 2611878.67 | 1182713.1428
83 | 2611859.4092 | 1182698.6026
84 | 2612048.3537 | 1182709.5386
85 | 2611827.7261 | 1182799.0334
86 | 2611804.077 | 1182783.3077
87 | 2611845.9159 | 1182809.8721
88 | 2611825.5335 | 1182747.9361
89 | 2611854.4757 | 1182763.5929
90 | 2611880.3371 | 1182777.5831
91 | 2612018.2564 | 1182706.4102
92 | 2612023.3769 | 1182730.5106
93 | 2611904.0424 | 1182658.4903
94 | 2611913.9769 | 1182667.7498
95 | 2611898.9963 | 1182653.7871
96 | 2611919.158 | 1182672.5788
97 | 2611888.394 | 1182643.9052
98 | 2611929.7559 | 1182682.4566
99 | 2611887.3704 | 1182642.9512
100 | 2611934.5482 | 1182529.9641
101 | 2611954.5257 | 1182743.0023

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1