## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_928-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_928-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_928-18_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_928-18_0_4_node_59 | 0.4 | n |  | TRUE
4 | bus_LV_928-18_0_4_node_57 | 0.4 | n |  | TRUE
5 | bus_LV_928-18_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_928-18_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_928-18_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_928-18_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_928-18_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_928-18_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_928-18_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_928-18_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_928-18_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_928-18_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_928-18_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_928-18_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_928-18_0_4_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_928-18_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_928-18_0_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_928-18_0_4_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_928-18_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_928-18_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_928-18_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_928-18_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_928-18_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_928-18_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_928-18_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_928-18_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_928-18_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_928-18_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_928-18_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_928-18_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_928-18_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_928-18_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_928-18_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_928-18_0_4_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_928-18_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_928-18_0_4_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_928-18_0_4_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_928-18_0_4_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_928-18_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_928-18_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_928-18_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_928-18_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_928-18_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_928-18_0_4_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_928-18_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_928-18_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_928-18_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_928-18_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_928-18_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_928-18_0_4_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_928-18_0_4_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_928-18_0_4_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_928-18_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_928-18_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_928-18_0_4_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_928-18_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_928-18_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_928-18_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_928-18_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_928-18_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_928-18_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_928-18_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_928-18_0_4_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_928-18_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_MV_93_0_node_75 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_928-18_0_4_load_0 | 0 | 0.0088706 | 0.0022232 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_928-18_0_4_load_1 | 1 | 0.030333 | 0.0076022 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_928-18_0_4_load_3 | 2 | 0.010737 | 0.002691 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_928-18_0_4_load_57 | 4 | 0.0069164 | 0.0017334 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_928-18_0_4_load_5 | 5 | 0.014681 | 0.0036794 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_928-18_0_4_load_6 | 6 | 0.0027309 | 0.00068444 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_928-18_0_4_load_7 | 7 | 0.015408 | 0.0038615 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_928-18_0_4_load_8 | 8 | 0.0047573 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_928-18_0_4_load_14 | 9 | 0.0086304 | 0.002163 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_928-18_0_4_load_9 | 11 | 0.01307 | 0.0032755 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_928-18_0_4_load_10 | 12 | 0.0086514 | 0.0021682 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_928-18_0_4_load_11 | 13 | 0.0086159 | 0.0021593 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_928-18_0_4_load_12 | 14 | 0.015869 | 0.0039771 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_928-18_0_4_load_13 | 15 | 0.0083842 | 0.0021013 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_928-18_0_4_load_19 | 16 | 0.0081601 | 0.0020451 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_928-18_0_4_load_31 | 17 | 0.0056419 | 0.001414 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_928-18_0_4_load_44 | 19 | 0.0016706 | 0.00041869 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_928-18_0_4_load_24 | 21 | 0.0097882 | 0.0024531 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_928-18_0_4_load_16 | 22 | 0.0015671 | 0.00039275 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_928-18_0_4_load_17 | 23 | 0.001477 | 0.00037016 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_928-18_0_4_load_23 | 25 | 0.001432 | 0.00035889 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_928-18_0_4_load_33 | 26 | 0.0026838 | 0.00067261 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_928-18_0_4_load_22 | 27 | 0.003042 | 0.00076239 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_928-18_0_4_load_32 | 29 | 0.0021604 | 0.00054144 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_928-18_0_4_load_21 | 30 | 0.0086016 | 0.0021558 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_928-18_0_4_load_26 | 31 | 0.0022979 | 0.0005759 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_928-18_0_4_load_27 | 32 | 0.010191 | 0.0025542 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_928-18_0_4_load_28 | 33 | 0.0026011 | 0.00065189 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_928-18_0_4_load_29 | 34 | 0.0023843 | 0.00059755 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_928-18_0_4_load_30 | 35 | 0.0022787 | 0.0005711 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_928-18_0_4_load_39 | 36 | 0.0023981 | 0.00060101 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_928-18_0_4_load_42 | 37 | 0.0022506 | 0.00056404 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_928-18_0_4_load_45 | 38 | 0.0027669 | 0.00069345 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_928-18_0_4_load_69 | 39 | 0.010261 | 0.0025717 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_928-18_0_4_load_34 | 41 | 0.0021569 | 0.00054058 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_928-18_0_4_load_35 | 42 | 0.0023493 | 0.00058878 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_928-18_0_4_load_36 | 43 | 0.0022809 | 0.00057164 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_928-18_0_4_load_37 | 44 | 0.0023132 | 0.00057975 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_928-18_0_4_load_38 | 45 | 0.0022043 | 0.00055244 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_928-18_0_4_load_55 | 46 | 0.0030281 | 0.0007589 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_928-18_0_4_load_46 | 47 | 0.0022239 | 0.00055735 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_928-18_0_4_load_53 | 48 | 0.0029686 | 0.00074401 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_928-18_0_4_load_40 | 49 | 0.0025744 | 0.0006452 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_928-18_0_4_load_41 | 50 | 0.0048531 | 0.0012163 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_928-18_0_4_load_43 | 51 | 0.005799 | 0.0014534 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_928-18_0_4_load_50 | 52 | 0.0088005 | 0.0022056 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_928-18_0_4_load_68 | 53 | 0.0022612 | 0.00056672 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_928-18_0_4_load_67 | 54 | 0.0017535 | 0.00043946 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_928-18_0_4_load_48 | 55 | 0.0022142 | 0.00055494 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_928-18_0_4_load_51 | 56 | 0.0030727 | 0.00077009 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_928-18_0_4_load_52 | 57 | 0.0013893 | 0.0003482 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_928-18_0_4_load_54 | 58 | 0.0015862 | 0.00039753 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_928-18_0_4_load_56 | 59 | 0.0073218 | 0.001835 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_928-18_0_4_load_58 | 60 | 0.0074239 | 0.0018606 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_928-18_0_4_load_61 | 62 | 0.0066074 | 0.001656 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_928-18_0_4_load_62 | 63 | 0.0022955 | 0.0005753 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_928-18_0_4_load_63 | 64 | 0.0022532 | 0.00056471 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_928-18_0_4_load_65 | 65 | 0.0052028 | 0.0013039 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_928-18_0_4_load_66 | 66 | 0.0022601 | 0.00056643 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_928-18_0_4_line_0 |  | 0 | 1 | 0.022987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_928-18_0_4_line_1 |  | 1 | 2 | 0.058154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_928-18_0_4_line_2 |  | 2 | 3 | 0.055497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_928-18_0_4_line_3 |  | 3 | 4 | 0.072055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_928-18_0_4_line_4 |  | 4 | 60 | 0.030575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_928-18_0_4_line_5 |  | 5 | 6 | 0.075047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_928-18_0_4_line_6 |  | 5 | 7 | 0.028359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_928-18_0_4_line_7 |  | 7 | 8 | 0.018854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_928-18_0_4_line_8 |  | 8 | 9 | 0.0014738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_928-18_0_4_line_9 |  | 9 | 10 | 0.084517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_928-18_0_4_line_10 |  | 10 | 20 | 0.099463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_928-18_0_4_line_11 |  | 11 | 12 | 0.017184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_928-18_0_4_line_12 |  | 11 | 13 | 0.013886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_928-18_0_4_line_13 |  | 12 | 14 | 0.011382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_928-18_0_4_line_14 |  | 13 | 15 | 0.016875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_928-18_0_4_line_15 |  | 14 | 16 | 0.0063479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_928-18_0_4_line_16 |  | 15 | 17 | 0.029568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_928-18_0_4_line_17 |  | 16 | 18 | 0.018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_928-18_0_4_line_18 |  | 17 | 19 | 0.02314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_928-18_0_4_line_19 |  | 18 | 21 | 0.0041155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_928-18_0_4_line_20 |  | 18 | 30 | 0.022205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_928-18_0_4_line_21 |  | 19 | 38 | 8.2623e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_928-18_0_4_line_22 |  | 20 | 21 | 0.044028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_928-18_0_4_line_23 |  | 22 | 23 | 0.0054016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_928-18_0_4_line_24 |  | 23 | 24 | 0.011853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_928-18_0_4_line_25 |  | 24 | 25 | 0.0091834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_928-18_0_4_line_26 |  | 24 | 26 | 0.016822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_928-18_0_4_line_27 |  | 25 | 27 | 0.0062048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_928-18_0_4_line_28 |  | 26 | 28 | 0.024896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_928-18_0_4_line_29 |  | 26 | 29 | 0.015162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_928-18_0_4_line_30 |  | 27 | 30 | 0.028495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_928-18_0_4_line_31 |  | 28 | 39 | 0.016256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_928-18_0_4_line_32 |  | 28 | 40 | 0.005195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_928-18_0_4_line_33 |  | 29 | 35 | 0.0058205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_928-18_0_4_line_34 |  | 31 | 32 | 0.0073287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_928-18_0_4_line_35 |  | 31 | 33 | 0.0087563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_928-18_0_4_line_36 |  | 32 | 34 | 0.0017914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_928-18_0_4_line_37 |  | 33 | 35 | 0.0092471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_928-18_0_4_line_38 |  | 34 | 36 | 0.0093729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_928-18_0_4_line_39 |  | 36 | 37 | 0.0091346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_928-18_0_4_line_40 |  | 37 | 49 | 0.0093788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_928-18_0_4_line_41 |  | 38 | 53 | 5.9546e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_928-18_0_4_line_42 |  | 40 | 55 | 0.010315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_928-18_0_4_line_43 |  | 40 | 47 | 0.013941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_928-18_0_4_line_44 |  | 41 | 42 | 0.0094377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_928-18_0_4_line_45 |  | 41 | 43 | 0.0088904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_928-18_0_4_line_46 |  | 42 | 44 | 0.0092316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_928-18_0_4_line_47 |  | 43 | 45 | 0.0091199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_928-18_0_4_line_48 |  | 44 | 46 | 0.0096664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_928-18_0_4_line_49 |  | 45 | 47 | 0.0088427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_928-18_0_4_line_50 |  | 46 | 48 | 0.0089941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_928-18_0_4_line_51 |  | 48 | 56 | 0.0093509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_928-18_0_4_line_52 |  | 49 | 50 | 0.0003916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_928-18_0_4_line_53 |  | 50 | 51 | 0.021782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_928-18_0_4_line_54 |  | 51 | 52 | 0.013702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_928-18_0_4_line_55 |  | 53 | 54 | 1.4218e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_928-18_0_4_line_56 |  | 54 | 66 | 0.00014998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_928-18_0_4_line_57 |  | 56 | 57 | 0.0094285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_928-18_0_4_line_58 |  | 57 | 58 | 0.0090494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_928-18_0_4_line_59 |  | 58 | 59 | 0.0037871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_928-18_0_4_line_60 |  | 60 | 61 | 0.072258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_928-18_0_4_line_61 |  | 61 | 62 | 0.023096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_928-18_0_4_line_62 |  | 62 | 63 | 0.0048633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_928-18_0_4_line_63 |  | 63 | 64 | 3.7606e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_928-18_0_4_line_64 |  | 64 | 65 | 0.024106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_928-18_0_4_line_65 |  | 65 | 66 | 0.0045894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_928-18_0_4_trafo_43 | 0.63 MVA 20/0.4 kV | 67 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2612481.6235 | 1181471.6301 | 2612472.9603 | 1181492.9222
1 | 2612450.5738 | 1181546.5931 | 2612463.3706 | 1181516.4915 | 2612472.9603 | 1181492.9222
2 | 2612476.9599 | 1181595.4157 | 2612450.5738 | 1181546.5931
3 | 2612476.9599 | 1181595.4157 | 2612488.1186 | 1181597.9512 | 2612506.2416 | 1181600.4457 | 2612520.8762 | 1181602.2659 | 2612536.0838 | 1181603.9206 | 2612548.3485 | 1181604.3847
4 | 2612548.3485 | 1181604.3847 | 2612562.1972 | 1181604.9088 | 2612578.6627 | 1181607.7964
5 | 2612709.4071 | 1181771.3047 | 2612726.1841 | 1181719.6564 | 2612732.3782 | 1181700.9599 | 2612732.8243 | 1181700.0139
6 | 2612700.8804 | 1181798.3512 | 2612706.2393 | 1181781.057 | 2612709.4071 | 1181771.3047
7 | 2612700.8804 | 1181798.3512 | 2612696.0909 | 1181813.808 | 2612696.1427 | 1181816.4793
8 | 2612696.1712 | 1181817.9528 | 2612696.1427 | 1181816.4793
9 | 2612703.2594 | 1181901.3681 | 2612703.5167 | 1181898.8452 | 2612706.214 | 1181872.6374 | 2612702.4191 | 1181854.52 | 2612697.9961 | 1181830.0759 | 2612696.3431 | 1181820.9344 | 2612696.2148 | 1181820.2004 | 2612696.1712 | 1181817.9528
10 | 2612613.6908 | 1181858.4356 | 2612619.4678 | 1181859.993 | 2612628.6561 | 1181862.469 | 2612660.3061 | 1181880.7226 | 2612667.4612 | 1181884.1617 | 2612703.2594 | 1181901.3681
11 | 2612623.5455 | 1181757.3506 | 2612621.8046 | 1181774.4466
12 | 2612624.9522 | 1181743.5363 | 2612623.5455 | 1181757.3506
13 | 2612621.8046 | 1181774.4466 | 2612620.6516 | 1181785.7699
14 | 2612624.9522 | 1181743.5363 | 2612625.7141 | 1181736.0535 | 2612626.7307 | 1181726.7555
15 | 2612620.0047 | 1181792.0848 | 2612620.0384 | 1181791.7924 | 2612620.6516 | 1181785.7699
16 | 2612629.9445 | 1181697.3626 | 2612626.7307 | 1181726.7555
17 | 2612617.8841 | 1181810.4753 | 2612620.0047 | 1181792.0848
18 | 2612629.9445 | 1181697.3626 | 2612631.592 | 1181682.2937 | 2612632.7765 | 1181674.4005
19 | 2612617.8841 | 1181810.4753 | 2612617.5256 | 1181814.5752
20 | 2612617.8841 | 1181810.4753 | 2612615.1055 | 1181810.0693 | 2612595.9082 | 1181807.2925
21 | 2612632.7887 | 1181674.3188 | 2612632.7765 | 1181674.4005
22 | 2612613.6908 | 1181858.4356 | 2612617.5256 | 1181814.5752
23 | 2612548.7774 | 1181810.0613 | 2612546.9175 | 1181815.1325
24 | 2612552.8585 | 1181798.9335 | 2612548.7774 | 1181810.0613
25 | 2612552.8585 | 1181798.9335 | 2612561.8218 | 1181800.9318
26 | 2612536.5343 | 1181794.6862 | 2612552.8585 | 1181798.9335
27 | 2612567.878 | 1181802.2819 | 2612561.8218 | 1181800.9318
28 | 2612536.5343 | 1181794.6862 | 2612515.2999 | 1181790.5622 | 2612512.0794 | 1181789.6995
29 | 2612536.5343 | 1181794.6862 | 2612541.057 | 1181780.215
30 | 2612567.878 | 1181802.2819 | 2612580.0905 | 1181805.0046 | 2612595.9082 | 1181807.2925
31 | 2612512.0794 | 1181789.6995 | 2612507.3239 | 1181805.2449
32 | 2612507.0501 | 1181788.3439 | 2612512.0794 | 1181789.6995
33 | 2612542.7932 | 1181774.6594 | 2612541.057 | 1181780.215
34 | 2612548.1637 | 1181757.4757 | 2612550.3498 | 1181750.4807
35 | 2612548.1637 | 1181757.4757 | 2612545.5516 | 1181765.8334
36 | 2612550.3498 | 1181750.4807 | 2612550.8842 | 1181748.7709
37 | 2612542.7932 | 1181774.6594 | 2612545.5516 | 1181765.8334
38 | 2612550.8842 | 1181748.7709 | 2612553.6801 | 1181739.8247
39 | 2612553.6801 | 1181739.8247 | 2612556.405 | 1181731.106
40 | 2612559.2027 | 1181722.1542 | 2612556.405 | 1181731.106
41 | 2612632.7976 | 1181674.2599 | 2612632.7887 | 1181674.3188
42 | 2612507.0501 | 1181788.3439 | 2612497.0903 | 1181785.6587
43 | 2612507.0501 | 1181788.3439 | 2612511.277 | 1181775.0595
44 | 2612519.419 | 1181749.4705 | 2612522.2805 | 1181740.4771
45 | 2612519.419 | 1181749.4705 | 2612516.7234 | 1181757.9424
46 | 2612525.0796 | 1181731.6801 | 2612522.2805 | 1181740.4771
47 | 2612513.9582 | 1181766.633 | 2612516.7234 | 1181757.9424
48 | 2612525.0796 | 1181731.6801 | 2612528.0104 | 1181722.4688
49 | 2612511.277 | 1181775.0595 | 2612513.9582 | 1181766.633
50 | 2612530.7375 | 1181713.8981 | 2612528.0104 | 1181722.4688
51 | 2612533.5727 | 1181704.9874 | 2612530.7375 | 1181713.8981
52 | 2612559.3195 | 1181721.7804 | 2612559.2027 | 1181722.1542
53 | 2612565.8171 | 1181700.9901 | 2612559.3195 | 1181721.7804
54 | 2612569.9044 | 1181687.912 | 2612565.8171 | 1181700.9901
55 | 2612632.7997 | 1181674.2459 | 2612632.7976 | 1181674.2599
56 | 2612632.8219 | 1181674.0975 | 2612632.7997 | 1181674.2459
57 | 2612533.5727 | 1181704.9874 | 2612536.4315 | 1181696.0027
58 | 2612536.4315 | 1181696.0027 | 2612539.1753 | 1181687.3793
59 | 2612540.3236 | 1181683.7705 | 2612539.1753 | 1181687.3793
60 | 2612649.8349 | 1181620.2779 | 2612578.6627 | 1181607.7964
61 | 2612649.8349 | 1181620.2779 | 2612642.7989 | 1181636.3603 | 2612640.9736 | 1181641.5925
62 | 2612640.9736 | 1181641.5925 | 2612639.3718 | 1181646.1845
63 | 2612639.3718 | 1181646.1845 | 2612639.3594 | 1181646.22
64 | 2612633.503 | 1181669.559 | 2612633.8534 | 1181667.224 | 2612637.114 | 1181652.6567 | 2612639.3594 | 1181646.22
65 | 2612633.503 | 1181669.559 | 2612632.8219 | 1181674.0975

## bus_geodata
| x | y | coords
0 | 2612481.6235 | 1181471.6301
1 | 2612472.9603 | 1181492.9222
2 | 2612450.5738 | 1181546.5931
3 | 2612476.9599 | 1181595.4157
4 | 2612548.3485 | 1181604.3847
5 | 2612709.4071 | 1181771.3047
6 | 2612732.8243 | 1181700.0139
7 | 2612700.8804 | 1181798.3512
8 | 2612696.1427 | 1181816.4793
9 | 2612696.1712 | 1181817.9528
10 | 2612703.2594 | 1181901.3681
11 | 2612623.5455 | 1181757.3506
12 | 2612621.8046 | 1181774.4466
13 | 2612624.9522 | 1181743.5363
14 | 2612620.6516 | 1181785.7699
15 | 2612626.7307 | 1181726.7555
16 | 2612620.0047 | 1181792.0848
17 | 2612629.9445 | 1181697.3626
18 | 2612617.8841 | 1181810.4753
19 | 2612632.7765 | 1181674.4005
20 | 2612613.6908 | 1181858.4356
21 | 2612617.5256 | 1181814.5752
22 | 2612546.9175 | 1181815.1325
23 | 2612548.7774 | 1181810.0613
24 | 2612552.8585 | 1181798.9335
25 | 2612561.8218 | 1181800.9318
26 | 2612536.5343 | 1181794.6862
27 | 2612567.878 | 1181802.2819
28 | 2612512.0794 | 1181789.6995
29 | 2612541.057 | 1181780.215
30 | 2612595.9082 | 1181807.2925
31 | 2612548.1637 | 1181757.4757
32 | 2612550.3498 | 1181750.4807
33 | 2612545.5516 | 1181765.8334
34 | 2612550.8842 | 1181748.7709
35 | 2612542.7932 | 1181774.6594
36 | 2612553.6801 | 1181739.8247
37 | 2612556.405 | 1181731.106
38 | 2612632.7887 | 1181674.3188
39 | 2612507.3239 | 1181805.2449
40 | 2612507.0501 | 1181788.3439
41 | 2612519.419 | 1181749.4705
42 | 2612522.2805 | 1181740.4771
43 | 2612516.7234 | 1181757.9424
44 | 2612525.0796 | 1181731.6801
45 | 2612513.9582 | 1181766.633
46 | 2612528.0104 | 1181722.4688
47 | 2612511.277 | 1181775.0595
48 | 2612530.7375 | 1181713.8981
49 | 2612559.2027 | 1181722.1542
50 | 2612559.3195 | 1181721.7804
51 | 2612565.8171 | 1181700.9901
52 | 2612569.9044 | 1181687.912
53 | 2612632.7976 | 1181674.2599
54 | 2612632.7997 | 1181674.2459
55 | 2612497.0903 | 1181785.6587
56 | 2612533.5727 | 1181704.9874
57 | 2612536.4315 | 1181696.0027
58 | 2612539.1753 | 1181687.3793
59 | 2612540.3236 | 1181683.7705
60 | 2612578.6627 | 1181607.7964
61 | 2612649.8349 | 1181620.2779
62 | 2612640.9736 | 1181641.5925
63 | 2612639.3718 | 1181646.1845
64 | 2612639.3594 | 1181646.22
65 | 2612633.503 | 1181669.559
66 | 2612632.8219 | 1181674.0975
67 | 2612569.9044 | 1181687.912

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1