## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_928-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_928-1_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_928-1_0_6_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_928-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_928-1_0_6_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_928-1_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_928-1_0_6_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_928-1_0_6_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_928-1_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_928-1_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_928-1_0_6_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_928-1_0_6_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_928-1_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_928-1_0_6_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_928-1_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_928-1_0_6_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_928-1_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_928-1_0_6_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_928-1_0_6_node_88 | 0.4 | n |  | TRUE
19 | bus_LV_928-1_0_6_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_928-1_0_6_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_928-1_0_6_node_82 | 0.4 | n |  | TRUE
22 | bus_LV_928-1_0_6_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_928-1_0_6_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_928-1_0_6_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_928-1_0_6_node_63 | 0.4 | n |  | TRUE
26 | bus_LV_928-1_0_6_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_928-1_0_6_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_928-1_0_6_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_928-1_0_6_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_928-1_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_928-1_0_6_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_928-1_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_928-1_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_928-1_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_928-1_0_6_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_928-1_0_6_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_928-1_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_928-1_0_6_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_928-1_0_6_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_928-1_0_6_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_928-1_0_6_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_928-1_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_928-1_0_6_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_928-1_0_6_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_928-1_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_928-1_0_6_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_928-1_0_6_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_928-1_0_6_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_928-1_0_6_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_928-1_0_6_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_928-1_0_6_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_928-1_0_6_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_928-1_0_6_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_928-1_0_6_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_928-1_0_6_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_928-1_0_6_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_928-1_0_6_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_928-1_0_6_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_928-1_0_6_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_928-1_0_6_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_928-1_0_6_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_928-1_0_6_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_928-1_0_6_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_928-1_0_6_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_928-1_0_6_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_928-1_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_928-1_0_6_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_928-1_0_6_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_928-1_0_6_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_928-1_0_6_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_928-1_0_6_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_928-1_0_6_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_928-1_0_6_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_928-1_0_6_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_928-1_0_6_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_928-1_0_6_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_928-1_0_6_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_928-1_0_6_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_928-1_0_6_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_928-1_0_6_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_928-1_0_6_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_928-1_0_6_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_928-1_0_6_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_928-1_0_6_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_928-1_0_6_node_86 | 0.4 | n |  | TRUE
86 | bus_MV_93_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_928-1_0_6_load_0 | 0 | 0.029529 | 0.0074008 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_928-1_0_6_load_12 | 6 | 0.0014502 | 0.00036347 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_928-1_0_6_load_83 | 7 | 0.016883 | 0.0042313 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_928-1_0_6_load_28 | 10 | 0.0016202 | 0.00040605 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_928-1_0_6_load_56 | 11 | 0.0019904 | 0.00049884 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_928-1_0_6_load_16 | 13 | 0.0069439 | 0.0017403 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_928-1_0_6_load_91 | 15 | 0.0025669 | 0.00064333 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_928-1_0_6_load_89 | 17 | 0.014724 | 0.0036902 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_928-1_0_6_load_88 | 18 | 0.002877 | 0.00072104 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_928-1_0_6_load_35 | 19 | 0.024367 | 0.006107 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_928-1_0_6_load_34 | 20 | 0.025197 | 0.0063149 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_928-1_0_6_load_55 | 23 | 0.0025784 | 0.00064621 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_928-1_0_6_load_62 | 24 | 0.00676 | 0.0016942 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_928-1_0_6_load_63 | 25 | 0.0065968 | 0.0016533 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_928-1_0_6_load_14 | 26 | 0.0034353 | 0.00086096 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_928-1_0_6_load_90 | 27 | 0.0014139 | 0.00035436 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_928-1_0_6_load_87 | 28 | 0.0037142 | 0.00093087 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_928-1_0_6_load_13 | 29 | 0.024651 | 0.0061781 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_928-1_0_6_load_15 | 30 | 0.02084 | 0.0052229 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_928-1_0_6_load_17 | 31 | 0.02464 | 0.0061753 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_928-1_0_6_load_19 | 32 | 0.0029964 | 0.00075098 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_928-1_0_6_load_20 | 33 | 0.0046566 | 0.0011671 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_928-1_0_6_load_31 | 37 | 0.0040967 | 0.0010267 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_928-1_0_6_load_53 | 38 | 0.0057137 | 0.001432 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_928-1_0_6_load_50 | 39 | 0.0042932 | 0.001076 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_928-1_0_6_load_27 | 41 | 0.0020114 | 0.00050412 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_928-1_0_6_load_25 | 42 | 0.001595 | 0.00039974 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_928-1_0_6_load_24 | 43 | 0.001474 | 0.00036941 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_928-1_0_6_load_29 | 44 | 0.0041668 | 0.0010443 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_928-1_0_6_load_30 | 45 | 0.029919 | 0.0074983 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_928-1_0_6_load_76 | 47 | 0.003497 | 0.00087643 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_928-1_0_6_load_66 | 48 | 0.0033329 | 0.0008353 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_928-1_0_6_load_52 | 49 | 0.0074583 | 0.0018692 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_928-1_0_6_load_51 | 50 | 0.0045678 | 0.0011448 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_928-1_0_6_load_37 | 52 | 0.014215 | 0.0035625 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_928-1_0_6_load_38 | 53 | 0.020221 | 0.0050677 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_928-1_0_6_load_61 | 54 | 0.081143 | 0.020336 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_928-1_0_6_load_81 | 55 | 0.020364 | 0.0051037 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_928-1_0_6_load_39 | 57 | 0.0058723 | 0.0014717 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_928-1_0_6_load_40 | 58 | 0.0031554 | 0.00079082 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_928-1_0_6_load_41 | 59 | 0.0057387 | 0.0014382 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_928-1_0_6_load_42 | 60 | 0.0033852 | 0.00084841 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_928-1_0_6_load_43 | 61 | 0.0060873 | 0.0015256 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_928-1_0_6_load_60 | 62 | 0.0036966 | 0.00092645 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_928-1_0_6_load_44 | 63 | 0.0060694 | 0.0015211 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_928-1_0_6_load_45 | 64 | 0.0021119 | 0.0005293 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_928-1_0_6_load_47 | 65 | 0.0058572 | 0.001468 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_928-1_0_6_load_49 | 67 | 0.0032953 | 0.00082588 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_928-1_0_6_load_79 | 68 | 0.0035583 | 0.00089179 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_928-1_0_6_load_58 | 69 | 0.0018291 | 0.0004584 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_928-1_0_6_load_77 | 70 | 0.0038564 | 0.0009665 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_928-1_0_6_load_78 | 71 | 0.00394 | 0.00098746 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_928-1_0_6_load_65 | 72 | 0.0035605 | 0.00089235 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_928-1_0_6_load_70 | 73 | 0.001851 | 0.00046391 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_928-1_0_6_load_71 | 74 | 0.002039 | 0.00051103 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_928-1_0_6_load_75 | 76 | 0.0070782 | 0.001774 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_928-1_0_6_load_73 | 77 | 0.0019822 | 0.00049679 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_928-1_0_6_load_84 | 78 | 0.0073172 | 0.0018339 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_928-1_0_6_load_74 | 79 | 0.0017597 | 0.00044101 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_928-1_0_6_load_80 | 82 | 0.0016991 | 0.00042583 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_928-1_0_6_load_72 | 83 | 0.0018887 | 0.00047336 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_928-1_0_6_load_85 | 84 | 0.0014908 | 0.00037362 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_928-1_0_6_load_86 | 85 | 0.0014176 | 0.00035529 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_928-1_0_6_line_0 |  | 0 | 1 | 0.030289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_928-1_0_6_line_1 |  | 1 | 2 | 0.13296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_928-1_0_6_line_2 |  | 2 | 6 | 0.02176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_928-1_0_6_line_3 |  | 3 | 4 | 0.35662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_928-1_0_6_line_4 |  | 3 | 5 | 0.16532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_928-1_0_6_line_5 |  | 3 | 6 | 0.026541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_928-1_0_6_line_6 |  | 4 | 12 | 0.099949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_928-1_0_6_line_7 |  | 4 | 13 | 0.066203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_928-1_0_6_line_8 |  | 5 | 7 | 0.044874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_928-1_0_6_line_9 |  | 7 | 21 | 0.00058182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_928-1_0_6_line_10 |  | 8 | 9 | 0.036518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_928-1_0_6_line_11 |  | 8 | 10 | 0.047298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_928-1_0_6_line_12 |  | 9 | 11 | 0.021821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_928-1_0_6_line_13 |  | 10 | 22 | 0.012623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_928-1_0_6_line_14 |  | 11 | 23 | 0.0018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_928-1_0_6_line_15 |  | 12 | 18 | 0.04073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_928-1_0_6_line_16 |  | 12 | 14 | 0.019481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_928-1_0_6_line_17 |  | 12 | 16 | 0.12069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_928-1_0_6_line_18 |  | 13 | 26 | 0.045306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_928-1_0_6_line_19 |  | 14 | 15 | 0.0030687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_928-1_0_6_line_20 |  | 15 | 27 | 0.0017691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_928-1_0_6_line_21 |  | 16 | 17 | 0.055056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_928-1_0_6_line_22 |  | 18 | 28 | 0.014905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_928-1_0_6_line_23 |  | 19 | 20 | 0.042575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_928-1_0_6_line_24 |  | 20 | 51 | 0.07347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_928-1_0_6_line_25 |  | 21 | 78 | 0.021057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_928-1_0_6_line_26 |  | 22 | 43 | 0.0086279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_928-1_0_6_line_27 |  | 23 | 66 | 0.0095398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_928-1_0_6_line_28 |  | 24 | 25 | 6.7277e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_928-1_0_6_line_29 |  | 25 | 75 | 0.0097351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_928-1_0_6_line_30 |  | 26 | 29 | 0.033826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_928-1_0_6_line_31 |  | 28 | 85 | 0.1393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_928-1_0_6_line_32 |  | 29 | 30 | 0.039307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_928-1_0_6_line_33 |  | 30 | 31 | 0.025504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_928-1_0_6_line_34 |  | 32 | 33 | 0.057976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_928-1_0_6_line_35 |  | 33 | 34 | 0.027698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_928-1_0_6_line_36 |  | 34 | 35 | 0.004092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_928-1_0_6_line_37 |  | 34 | 36 | 0.025134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_928-1_0_6_line_38 |  | 35 | 37 | 0.01711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_928-1_0_6_line_39 |  | 36 | 38 | 0.030015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_928-1_0_6_line_40 |  | 36 | 39 | 0.014365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_928-1_0_6_line_41 |  | 36 | 40 | 0.036925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_928-1_0_6_line_42 |  | 37 | 44 | 0.015608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_928-1_0_6_line_43 |  | 38 | 61 | 0.016378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_928-1_0_6_line_44 |  | 39 | 50 | 0.017686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_928-1_0_6_line_45 |  | 40 | 63 | 0.0046266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_928-1_0_6_line_46 |  | 41 | 42 | 0.013644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_928-1_0_6_line_47 |  | 42 | 43 | 0.0079232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_928-1_0_6_line_48 |  | 44 | 45 | 0.024312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_928-1_0_6_line_49 |  | 46 | 47 | 0.017419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_928-1_0_6_line_50 |  | 46 | 48 | 0.016586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_928-1_0_6_line_51 |  | 47 | 71 | 0.0055895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_928-1_0_6_line_52 |  | 48 | 72 | 5.1412e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_928-1_0_6_line_53 |  | 49 | 50 | 0.021235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_928-1_0_6_line_54 |  | 51 | 52 | 0.014284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_928-1_0_6_line_55 |  | 51 | 53 | 0.016552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_928-1_0_6_line_56 |  | 52 | 54 | 0.017888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_928-1_0_6_line_57 |  | 53 | 55 | 0.026798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_928-1_0_6_line_58 |  | 55 | 56 | 0.018457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_928-1_0_6_line_59 |  | 56 | 80 | 0.027461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_928-1_0_6_line_60 |  | 57 | 58 | 0.017953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_928-1_0_6_line_61 |  | 57 | 59 | 0.00013675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_928-1_0_6_line_62 |  | 58 | 60 | 0.012333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_928-1_0_6_line_63 |  | 59 | 61 | 0.024903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_928-1_0_6_line_64 |  | 60 | 62 | 0.016521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_928-1_0_6_line_65 |  | 63 | 64 | 0.015929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_928-1_0_6_line_66 |  | 64 | 65 | 0.00049968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_928-1_0_6_line_67 |  | 65 | 66 | 0.017259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_928-1_0_6_line_68 |  | 66 | 69 | 0.017241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_928-1_0_6_line_69 |  | 67 | 68 | 0.00515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_928-1_0_6_line_70 |  | 68 | 70 | 0.0055728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_928-1_0_6_line_71 |  | 69 | 73 | 0.0053872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_928-1_0_6_line_72 |  | 70 | 71 | 0.0058596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_928-1_0_6_line_73 |  | 72 | 80 | 0.014438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_928-1_0_6_line_74 |  | 73 | 74 | 0.0056953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_928-1_0_6_line_75 |  | 74 | 83 | 0.0057536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_928-1_0_6_line_76 |  | 75 | 76 | 0.017694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_928-1_0_6_line_77 |  | 75 | 77 | 0.021377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_928-1_0_6_line_78 |  | 76 | 78 | 6.9531e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_928-1_0_6_line_79 |  | 77 | 79 | 0.00013065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_928-1_0_6_line_80 |  | 79 | 81 | 0.01261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_928-1_0_6_line_81 |  | 80 | 81 | 0.004494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_928-1_0_6_line_82 |  | 81 | 82 | 0.017378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_928-1_0_6_line_83 |  | 82 | 83 | 0.0052537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_928-1_0_6_line_84 |  | 84 | 85 | 0.016058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_928-1_0_6_trafo_37 | 0.63 MVA 20/0.4 kV | 86 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31
0 | 2613006.635 | 1181034.9815 | 2613036.9022 | 1181033.8352
1 | 2612968.2841 | 1181034.3874 | 2612970.6899 | 1181037.8388 | 2612971.2203 | 1181075.2147 | 2612975.3405 | 1181080.4818 | 2612982.4694 | 1181082.2648 | 2612998.8413 | 1181086.3911 | 2612997.2638 | 1181035.3393 | 2613006.635 | 1181034.9815
2 | 2612968.2841 | 1181034.3874 | 2612967.8962 | 1181030.1177 | 2612966.0546 | 1181027.1122 | 2612962.6376 | 1181025.0816 | 2612958.439 | 1181024.3389 | 2612954.9949 | 1181024.2759 | 2612952.7424 | 1181024.5096
3 | 2612926.3427 | 1181027.2492 | 2612926.9611 | 1181034.4764 | 2612928.5552 | 1181056.7135 | 2612930.0686 | 1181077.4718 | 2612933.4287 | 1181077.5013 | 2612936.634 | 1181078.5087 | 2612939.3944 | 1181080.4156 | 2612941.4735 | 1181083.0547 | 2612942.6734 | 1181086.1812 | 2612942.8953 | 1181089.5278 | 2612952.1007 | 1181091.6375 | 2612982.4701 | 1181099.6515 | 2612996.6962 | 1181103.6953 | 2613015.0362 | 1181108.8042 | 2613019.9135 | 1181110.0154 | 2613024.8293 | 1181111.0599 | 2613033.1274 | 1181112.4341 | 2613041.3277 | 1181113.1856 | 2613051.5147 | 1181113.3633 | 2613063.505 | 1181113.0335 | 2613074.8146 | 1181109.7119 | 2613082.8562 | 1181106.1498 | 2613090.3565 | 1181102.1307 | 2613097.3082 | 1181097.5768 | 2613103.0383 | 1181092.9313 | 2613108.6784 | 1181087.4741 | 2613113.7773 | 1181081.5933 | 2613118.059 | 1181075.7663 | 2613122.2814 | 1181069.1054 | 2613128.4677 | 1181058.3467 | 2613155.1678 | 1181005.0776 | 2613142.1481 | 1180997.5564
4 | 2612926.3427 | 1181027.2492 | 2612925.6728 | 1181015.5751 | 2612925.4197 | 1181012.5285 | 2612924.5722 | 1181001.799 | 2612921.9843 | 1180969.2878 | 2612917.2206 | 1180932.8701 | 2612913.916 | 1180903.3589 | 2612914.5861 | 1180893.6109 | 2612945.0531 | 1180899.3237
5 | 2612926.3427 | 1181027.2492 | 2612952.7424 | 1181024.5096
6 | 2613142.1481 | 1180997.5564 | 2613155.1678 | 1181005.0776 | 2613160.5983 | 1180994.2506 | 2613163.5631 | 1180989.9993 | 2613167.1752 | 1180986.5943 | 2613172.29 | 1180983.9486 | 2613177.3708 | 1180982.937 | 2613183.1441 | 1180983.0052 | 2613189.5477 | 1180984.7312 | 2613192.8179 | 1180976.99 | 2613197.2597 | 1180978.3337 | 2613200.5505 | 1180978.63 | 2613204.4997 | 1180978.2384 | 2613207.4194 | 1180977.1443 | 2613209.5686 | 1180975.6482 | 2613211.4592 | 1180973.7069 | 2613213.6114 | 1180970.8435 | 2613219.844 | 1180973.9477
7 | 2613142.1481 | 1180997.5564 | 2613148.4554 | 1180987.3983 | 2613154.0062 | 1180977.4831 | 2613163.7676 | 1180959.3507 | 2613164.6111 | 1180957.7851 | 2613174.3534 | 1180939.7347
8 | 2612945.0531 | 1180899.3237 | 2612947.6077 | 1180890.4246 | 2612951.2227 | 1180889.154 | 2612982.9723 | 1180887.6721
9 | 2612982.9723 | 1180887.6721 | 2612983.5534 | 1180887.645
10 | 2612937.7756 | 1180792.4421 | 2612936.974 | 1180795.8421 | 2612945.4555 | 1180797.3945 | 2612950.2891 | 1180797.7161 | 2612959.2237 | 1180798.1133 | 2612969.8251 | 1180797.5914
11 | 2612937.7756 | 1180792.4421 | 2612948.7375 | 1180746.4322
12 | 2612969.8251 | 1180797.5914 | 2612980.6278 | 1180795.8694 | 2612991.1962 | 1180793.2741
13 | 2612951.6631 | 1180734.1532 | 2612948.7375 | 1180746.4322
14 | 2612992.939 | 1180792.7142 | 2612991.5776 | 1180793.1805 | 2612991.1962 | 1180793.2741
15 | 2613219.844 | 1180973.9477 | 2613240.1351 | 1180938.6321
16 | 2613219.844 | 1180973.9477 | 2613227.3199 | 1180977.6771 | 2613237.9817 | 1180980.8577
17 | 2613171.7861 | 1181064.1665 | 2613177.713 | 1181067.3255 | 2613191.4319 | 1181041.4645 | 2613202.5808 | 1181013.9748 | 2613205.5195 | 1181004.2207 | 2613209.2756 | 1181004.7736 | 2613213.0116 | 1181004.0704 | 2613216.2996 | 1181002.1877 | 2613218.7955 | 1180999.3251 | 2613220.0466 | 1180996.4597 | 2613220.4658 | 1180993.359 | 2613220.022 | 1180990.2564 | 2613218.7529 | 1180987.3855 | 2613216.7421 | 1180984.9799 | 2613214.1571 | 1180983.2066 | 2613219.844 | 1180973.9477
18 | 2613195.8632 | 1180899.8603 | 2613185.9282 | 1180918.2892 | 2613174.3534 | 1180939.7347
19 | 2613237.9817 | 1180980.8577 | 2613236.3388 | 1180978.2658
20 | 2613235.3917 | 1180976.7717 | 2613236.3388 | 1180978.2658
21 | 2613171.7861 | 1181064.1665 | 2613144.9665 | 1181049.845 | 2613156.9068 | 1181028.2776
22 | 2613247.5607 | 1180925.7083 | 2613240.1351 | 1180938.6321
23 | 2613030.2214 | 1180908.2674 | 2613072.776 | 1180906.9495
24 | 2613084.7233 | 1180861.9285 | 2613099.4048 | 1180885.0834 | 2613097.6482 | 1180906.1793 | 2613072.776 | 1180906.9495
25 | 2612983.5534 | 1180887.645 | 2612980.3797 | 1180866.8291
26 | 2612951.6631 | 1180734.1532 | 2612953.7492 | 1180725.7812
27 | 2613001.9641 | 1180789.6233 | 2612992.939 | 1180792.7142
28 | 2612976.2451 | 1180839.6428 | 2612976.235 | 1180839.5763
29 | 2612977.7022 | 1180849.2682 | 2612976.2451 | 1180839.6428
30 | 2613211.9116 | 1180870.0833 | 2613200.3904 | 1180891.4627 | 2613195.8632 | 1180899.8603
31 | 2613321.0191 | 1180807.3655 | 2613312.8949 | 1180820.6739 | 2613309.2007 | 1180826.6244 | 2613286.064 | 1180863.0142 | 2613256.7418 | 1180909.7291 | 2613247.5607 | 1180925.7083
32 | 2613211.9116 | 1180870.0833 | 2613230.5585 | 1180835.4811
33 | 2613230.5585 | 1180835.4811 | 2613242.6573 | 1180813.0299
34 | 2613088.5994 | 1180729.921 | 2613087.9275 | 1180722.9641 | 2613085.9999 | 1180703.2832 | 2613094.4693 | 1180678.8113 | 2613095.3701 | 1180673.5726
35 | 2613096.8058 | 1180756.2894 | 2613088.9284 | 1180733.3272 | 2613088.5994 | 1180729.921
36 | 2613096.8058 | 1180756.2894 | 2613100.6884 | 1180754.9638
37 | 2613073.112 | 1180764.8646 | 2613096.8058 | 1180756.2894
38 | 2613100.6884 | 1180754.9638 | 2613107.9326 | 1180770.4641
39 | 2613073.112 | 1180764.8646 | 2613064.9145 | 1180745.0144 | 2613062.0522 | 1180736.9701
40 | 2613073.112 | 1180764.8646 | 2613077.6242 | 1180778.5029
41 | 2613073.112 | 1180764.8646 | 2613051.0923 | 1180772.6875 | 2613038.2139 | 1180777.2175
42 | 2613107.9326 | 1180770.4641 | 2613114.5412 | 1180784.6042
43 | 2613062.0522 | 1180736.9701 | 2613056.5617 | 1180721.5396
44 | 2613077.6242 | 1180778.5029 | 2613082.2547 | 1180792.4986 | 2613082.9309 | 1180795.3646
45 | 2613038.2139 | 1180777.2175 | 2613033.8343 | 1180778.709
46 | 2612958.9642 | 1180704.8538 | 2612955.665 | 1180718.0932
47 | 2612955.665 | 1180718.0932 | 2612953.7492 | 1180725.7812
48 | 2613127.7939 | 1180804.9857 | 2613114.554 | 1180784.6315 | 2613114.5412 | 1180784.6042
49 | 2613046.8741 | 1180840.7911 | 2613044.2613 | 1180823.5694
50 | 2613046.8741 | 1180840.7911 | 2613030.4504 | 1180843.1052
51 | 2613043.4229 | 1180818.0431 | 2613044.2613 | 1180823.5694
52 | 2613030.4504 | 1180843.1052 | 2613030.3995 | 1180843.1123
53 | 2613082.9309 | 1180795.3646 | 2613087.8069 | 1180816.0318
54 | 2613084.7233 | 1180861.9285 | 2613098.8682 | 1180859.9421
55 | 2613084.7233 | 1180861.9285 | 2613068.3682 | 1180864.4742
56 | 2613116.5824 | 1180857.4545 | 2613098.8682 | 1180859.9421
57 | 2613068.3682 | 1180864.4742 | 2613041.8893 | 1180868.5957
58 | 2613023.6523 | 1180871.4343 | 2613041.8893 | 1180868.5957
59 | 2613016.1026 | 1180845.1268 | 2613017.0048 | 1180851.7543 | 2613023.6523 | 1180871.4343
60 | 2613042.3537 | 1180680.9632 | 2613048.199 | 1180697.9377
61 | 2613048.199 | 1180697.9377 | 2613048.2435 | 1180698.067
62 | 2613038.3382 | 1180669.3022 | 2613042.3537 | 1180680.9632
63 | 2613048.2435 | 1180698.067 | 2613049.262 | 1180701.0246 | 2613056.5617 | 1180721.5396
64 | 2613038.3382 | 1180669.3022 | 2613032.9589 | 1180653.6809
65 | 2613033.8343 | 1180778.709 | 2613018.7556 | 1180783.844
66 | 2613018.2826 | 1180784.0051 | 2613018.7556 | 1180783.844
67 | 2613001.9641 | 1180789.6233 | 2613012.9775 | 1180785.8118 | 2613018.2826 | 1180784.0051
68 | 2613001.9641 | 1180789.6233 | 2613004.8971 | 1180806.6133
69 | 2613040.9355 | 1180801.6483 | 2613041.708 | 1180806.7401
70 | 2613042.5439 | 1180812.2498 | 2613041.708 | 1180806.7401
71 | 2613005.8135 | 1180811.9219 | 2613004.8971 | 1180806.6133
72 | 2613042.5439 | 1180812.2498 | 2613043.4229 | 1180818.0431
73 | 2613016.1026 | 1180845.1268 | 2613030.3995 | 1180843.1123
74 | 2613005.8135 | 1180811.9219 | 2613006.7824 | 1180817.5343
75 | 2613007.7612 | 1180823.204 | 2613006.7824 | 1180817.5343
76 | 2612977.7022 | 1180849.2682 | 2612980.3692 | 1180866.7603
77 | 2612977.7022 | 1180849.2682 | 2612998.9484 | 1180846.911
78 | 2612980.3797 | 1180866.8291 | 2612980.3692 | 1180866.7603
79 | 2612999.0782 | 1180846.8966 | 2612998.9484 | 1180846.911
80 | 2613011.6112 | 1180845.5061 | 2612999.0782 | 1180846.8966
81 | 2613011.6112 | 1180845.5061 | 2613016.1026 | 1180845.1268
82 | 2613011.6112 | 1180845.5061 | 2613008.6549 | 1180828.3812
83 | 2613007.7612 | 1180823.204 | 2613008.6549 | 1180828.3812
84 | 2613329.3861 | 1180793.6595 | 2613321.0191 | 1180807.3655

## bus_geodata
| x | y | coords
0 | 2613036.9022 | 1181033.8352
1 | 2613006.635 | 1181034.9815
2 | 2612968.2841 | 1181034.3874
3 | 2612926.3427 | 1181027.2492
4 | 2613142.1481 | 1180997.5564
5 | 2612945.0531 | 1180899.3237
6 | 2612952.7424 | 1181024.5096
7 | 2612982.9723 | 1180887.6721
8 | 2612937.7756 | 1180792.4421
9 | 2612969.8251 | 1180797.5914
10 | 2612948.7375 | 1180746.4322
11 | 2612991.1962 | 1180793.2741
12 | 2613219.844 | 1180973.9477
13 | 2613174.3534 | 1180939.7347
14 | 2613237.9817 | 1180980.8577
15 | 2613236.3388 | 1180978.2658
16 | 2613171.7861 | 1181064.1665
17 | 2613156.9068 | 1181028.2776
18 | 2613240.1351 | 1180938.6321
19 | 2613030.2214 | 1180908.2674
20 | 2613072.776 | 1180906.9495
21 | 2612983.5534 | 1180887.645
22 | 2612951.6631 | 1180734.1532
23 | 2612992.939 | 1180792.7142
24 | 2612976.235 | 1180839.5763
25 | 2612976.2451 | 1180839.6428
26 | 2613195.8632 | 1180899.8603
27 | 2613235.3917 | 1180976.7717
28 | 2613247.5607 | 1180925.7083
29 | 2613211.9116 | 1180870.0833
30 | 2613230.5585 | 1180835.4811
31 | 2613242.6573 | 1180813.0299
32 | 2613095.3701 | 1180673.5726
33 | 2613088.5994 | 1180729.921
34 | 2613096.8058 | 1180756.2894
35 | 2613100.6884 | 1180754.9638
36 | 2613073.112 | 1180764.8646
37 | 2613107.9326 | 1180770.4641
38 | 2613062.0522 | 1180736.9701
39 | 2613077.6242 | 1180778.5029
40 | 2613038.2139 | 1180777.2175
41 | 2612958.9642 | 1180704.8538
42 | 2612955.665 | 1180718.0932
43 | 2612953.7492 | 1180725.7812
44 | 2613114.5412 | 1180784.6042
45 | 2613127.7939 | 1180804.9857
46 | 2613046.8741 | 1180840.7911
47 | 2613044.2613 | 1180823.5694
48 | 2613030.4504 | 1180843.1052
49 | 2613087.8069 | 1180816.0318
50 | 2613082.9309 | 1180795.3646
51 | 2613084.7233 | 1180861.9285
52 | 2613098.8682 | 1180859.9421
53 | 2613068.3682 | 1180864.4742
54 | 2613116.5824 | 1180857.4545
55 | 2613041.8893 | 1180868.5957
56 | 2613023.6523 | 1180871.4343
57 | 2613048.199 | 1180697.9377
58 | 2613042.3537 | 1180680.9632
59 | 2613048.2435 | 1180698.067
60 | 2613038.3382 | 1180669.3022
61 | 2613056.5617 | 1180721.5396
62 | 2613032.9589 | 1180653.6809
63 | 2613033.8343 | 1180778.709
64 | 2613018.7556 | 1180783.844
65 | 2613018.2826 | 1180784.0051
66 | 2613001.9641 | 1180789.6233
67 | 2613040.9355 | 1180801.6483
68 | 2613041.708 | 1180806.7401
69 | 2613004.8971 | 1180806.6133
70 | 2613042.5439 | 1180812.2498
71 | 2613043.4229 | 1180818.0431
72 | 2613030.3995 | 1180843.1123
73 | 2613005.8135 | 1180811.9219
74 | 2613006.7824 | 1180817.5343
75 | 2612977.7022 | 1180849.2682
76 | 2612980.3692 | 1180866.7603
77 | 2612998.9484 | 1180846.911
78 | 2612980.3797 | 1180866.8291
79 | 2612999.0782 | 1180846.8966
80 | 2613016.1026 | 1180845.1268
81 | 2613011.6112 | 1180845.5061
82 | 2613008.6549 | 1180828.3812
83 | 2613007.7612 | 1180823.204
84 | 2613329.3861 | 1180793.6595
85 | 2613321.0191 | 1180807.3655
86 | 2613084.7233 | 1180861.9285

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1