## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_929-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_929-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_929-11_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_929-11_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_929-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_929-11_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_929-11_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_929-11_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_929-11_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_929-11_0_3_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_929-11_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_929-11_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_929-11_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_929-11_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_929-11_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_929-11_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_929-11_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_929-11_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_929-11_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_929-11_0_3_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_929-11_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_929-11_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_929-11_0_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_929-11_0_3_node_218 | 0.4 | n |  | TRUE
24 | bus_LV_929-11_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_929-11_0_3_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_929-11_0_3_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_929-11_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_929-11_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_929-11_0_3_node_134 | 0.4 | n |  | TRUE
30 | bus_LV_929-11_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_929-11_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_929-11_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_929-11_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_929-11_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_929-11_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_929-11_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_929-11_0_3_node_194 | 0.4 | n |  | TRUE
38 | bus_LV_929-11_0_3_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_929-11_0_3_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_929-11_0_3_node_112 | 0.4 | n |  | TRUE
41 | bus_LV_929-11_0_3_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_929-11_0_3_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_929-11_0_3_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_929-11_0_3_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_929-11_0_3_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_929-11_0_3_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_929-11_0_3_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_929-11_0_3_node_195 | 0.4 | n |  | TRUE
49 | bus_LV_929-11_0_3_node_111 | 0.4 | n |  | TRUE
50 | bus_LV_929-11_0_3_node_113 | 0.4 | n |  | TRUE
51 | bus_LV_929-11_0_3_node_114 | 0.4 | n |  | TRUE
52 | bus_LV_929-11_0_3_node_128 | 0.4 | n |  | TRUE
53 | bus_LV_929-11_0_3_node_129 | 0.4 | n |  | TRUE
54 | bus_LV_929-11_0_3_node_130 | 0.4 | n |  | TRUE
55 | bus_LV_929-11_0_3_node_131 | 0.4 | n |  | TRUE
56 | bus_LV_929-11_0_3_node_185 | 0.4 | n |  | TRUE
57 | bus_LV_929-11_0_3_node_183 | 0.4 | n |  | TRUE
58 | bus_LV_929-11_0_3_node_132 | 0.4 | n |  | TRUE
59 | bus_LV_929-11_0_3_node_135 | 0.4 | n |  | TRUE
60 | bus_LV_929-11_0_3_node_136 | 0.4 | n |  | TRUE
61 | bus_LV_929-11_0_3_node_137 | 0.4 | n |  | TRUE
62 | bus_LV_929-11_0_3_node_154 | 0.4 | n |  | TRUE
63 | bus_LV_929-11_0_3_node_155 | 0.4 | n |  | TRUE
64 | bus_LV_929-11_0_3_node_156 | 0.4 | n |  | TRUE
65 | bus_LV_929-11_0_3_node_157 | 0.4 | n |  | TRUE
66 | bus_LV_929-11_0_3_node_159 | 0.4 | n |  | TRUE
67 | bus_LV_929-11_0_3_node_158 | 0.4 | n |  | TRUE
68 | bus_LV_929-11_0_3_node_186 | 0.4 | n |  | TRUE
69 | bus_LV_929-11_0_3_node_187 | 0.4 | n |  | TRUE
70 | bus_LV_929-11_0_3_node_188 | 0.4 | n |  | TRUE
71 | bus_LV_929-11_0_3_node_216 | 0.4 | n |  | TRUE
72 | bus_LV_929-11_0_3_node_214 | 0.4 | n |  | TRUE
73 | bus_LV_929-11_0_3_node_198 | 0.4 | n |  | TRUE
74 | bus_LV_929-11_0_3_node_196 | 0.4 | n |  | TRUE
75 | bus_LV_929-11_0_3_node_197 | 0.4 | n |  | TRUE
76 | bus_LV_929-11_0_3_node_215 | 0.4 | n |  | TRUE
77 | bus_LV_929-11_0_3_node_217 | 0.4 | n |  | TRUE
78 | bus_MV_107_1_node_184 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_929-11_0_3_load_0 | 0 | 0.0025951 | 0.0006504 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_929-11_0_3_load_1 | 1 | 0.0015052 | 0.00037725 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_929-11_0_3_load_3 | 3 | 0.0019027 | 0.00047685 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_929-11_0_3_load_4 | 4 | 0.0046795 | 0.0011728 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_929-11_0_3_load_6 | 6 | 0.0019479 | 0.0004882 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_929-11_0_3_load_7 | 7 | 0.0022226 | 0.00055704 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_929-11_0_3_load_9 | 8 | 0.0027443 | 0.00068778 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_929-11_0_3_load_48 | 9 | 0.0027104 | 0.00067928 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_929-11_0_3_load_10 | 10 | 0.0085784 | 0.0021499 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_929-11_0_3_load_21 | 12 | 0.0018894 | 0.00047354 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_929-11_0_3_load_26 | 14 | 0.0023514 | 0.00058931 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_929-11_0_3_load_12 | 15 | 0.0021202 | 0.00053136 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_929-11_0_3_load_13 | 16 | 0.0037912 | 0.00095016 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_929-11_0_3_load_17 | 18 | 0.0019699 | 0.00049371 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_929-11_0_3_load_20 | 19 | 0.0021893 | 0.00054869 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_929-11_0_3_load_19 | 21 | 0.0045939 | 0.0011513 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_929-11_0_3_load_218 | 23 | 0.0071237 | 0.0017854 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_929-11_0_3_load_36 | 26 | 0.003397 | 0.00085137 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_929-11_0_3_load_24 | 27 | 0.0030769 | 0.00077114 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_929-11_0_3_load_25 | 28 | 0.0016276 | 0.00040791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_929-11_0_3_load_134 | 29 | 0.0019701 | 0.00049375 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_929-11_0_3_load_28 | 30 | 0.0029745 | 0.00074547 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_929-11_0_3_load_29 | 31 | 0.0038557 | 0.00096634 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_929-11_0_3_load_30 | 32 | 0.0036342 | 0.00091081 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_929-11_0_3_load_32 | 33 | 0.003635 | 0.00091101 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_929-11_0_3_load_33 | 34 | 0.0040415 | 0.0010129 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_929-11_0_3_load_34 | 35 | 0.0043307 | 0.0010854 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_929-11_0_3_load_35 | 36 | 0.0053652 | 0.0013447 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_929-11_0_3_load_194 | 37 | 0.0041607 | 0.0010428 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_929-11_0_3_load_49 | 38 | 0.0058841 | 0.0014747 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_929-11_0_3_load_67 | 41 | 0.0020787 | 0.00052097 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_929-11_0_3_load_68 | 42 | 0.0032226 | 0.00080765 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_929-11_0_3_load_69 | 43 | 0.0030222 | 0.00075744 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_929-11_0_3_load_70 | 44 | 0.0029775 | 0.00074622 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_929-11_0_3_load_71 | 45 | 0.0026096 | 0.00065404 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_929-11_0_3_load_72 | 46 | 0.0042814 | 0.001073 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_929-11_0_3_load_111 | 49 | 0.0077079 | 0.0019318 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_929-11_0_3_load_113 | 50 | 0.0013713 | 0.00034368 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_929-11_0_3_load_114 | 51 | 0.004415 | 0.0011065 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_929-11_0_3_load_128 | 52 | 0.0021372 | 0.00053563 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_929-11_0_3_load_131 | 55 | 0.0007574 | 0.00018982 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_929-11_0_3_load_185 | 56 | 0.0059243 | 0.0014848 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_929-11_0_3_load_183 | 57 | 0.0012696 | 0.00031819 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_929-11_0_3_load_132 | 58 | 0.0052007 | 0.0013034 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_929-11_0_3_load_135 | 59 | 0.0013209 | 0.00033104 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_929-11_0_3_load_136 | 60 | 0.0030416 | 0.0007623 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_929-11_0_3_load_137 | 61 | 0.0020255 | 0.00050763 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_929-11_0_3_load_156 | 64 | 0.0019102 | 0.00047873 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_929-11_0_3_load_157 | 65 | 0.0034481 | 0.00086418 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_929-11_0_3_load_159 | 66 | 0.0012184 | 0.00030536 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_929-11_0_3_load_158 | 67 | 0.0016623 | 0.00041662 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_929-11_0_3_load_186 | 68 | 0.0020888 | 0.0005235 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_929-11_0_3_load_214 | 72 | 0.0017852 | 0.00044742 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_929-11_0_3_load_198 | 73 | 0.0017012 | 0.00042637 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_929-11_0_3_load_196 | 74 | 0.0029734 | 0.0007452 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_929-11_0_3_load_197 | 75 | 0.003404 | 0.00085311 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_929-11_0_3_load_215 | 76 | 0.0021056 | 0.00052771 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_929-11_0_3_load_217 | 77 | 0.0011532 | 0.00028902 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_929-11_0_3_line_0 |  | 0 | 1 | 0.0088571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_929-11_0_3_line_1 |  | 0 | 2 | 0.011813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_929-11_0_3_line_2 |  | 1 | 3 | 0.012944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_929-11_0_3_line_3 |  | 2 | 4 | 0.010952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_929-11_0_3_line_4 |  | 2 | 5 | 0.024172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_929-11_0_3_line_5 |  | 3 | 6 | 0.0032095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_929-11_0_3_line_6 |  | 4 | 7 | 0.020695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_929-11_0_3_line_7 |  | 5 | 8 | 0.0032725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_929-11_0_3_line_8 |  | 6 | 9 | 0.017122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_929-11_0_3_line_9 |  | 7 | 10 | 0.0091606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_929-11_0_3_line_10 |  | 8 | 14 | 0.019492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_929-11_0_3_line_11 |  | 9 | 38 | 0.005007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_929-11_0_3_line_12 |  | 11 | 12 | 0.021006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_929-11_0_3_line_13 |  | 11 | 13 | 0.008123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_929-11_0_3_line_14 |  | 12 | 24 | 0.010008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_929-11_0_3_line_15 |  | 13 | 17 | 0.002214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_929-11_0_3_line_16 |  | 13 | 18 | 0.048417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_929-11_0_3_line_17 |  | 13 | 15 | 0.016273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_929-11_0_3_line_18 |  | 14 | 27 | 0.0044329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_929-11_0_3_line_19 |  | 15 | 16 | 0.013361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_929-11_0_3_line_20 |  | 17 | 19 | 0.017067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_929-11_0_3_line_21 |  | 18 | 20 | 0.013732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_929-11_0_3_line_22 |  | 19 | 23 | 0.0045925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_929-11_0_3_line_23 |  | 20 | 25 | 0.087878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_929-11_0_3_line_24 |  | 20 | 26 | 0.0044189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_929-11_0_3_line_25 |  | 21 | 22 | 0.022894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_929-11_0_3_line_26 |  | 22 | 29 | 0.025435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_929-11_0_3_line_27 |  | 22 | 28 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_929-11_0_3_line_28 |  | 23 | 58 | 0.028382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_929-11_0_3_line_29 |  | 24 | 27 | 0.01215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_929-11_0_3_line_30 |  | 24 | 28 | 0.014865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_929-11_0_3_line_31 |  | 25 | 37 | 0.022415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_929-11_0_3_line_32 |  | 26 | 36 | 0.016766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_929-11_0_3_line_33 |  | 29 | 59 | 0.025993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_929-11_0_3_line_34 |  | 30 | 31 | 0.019796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_929-11_0_3_line_35 |  | 30 | 32 | 0.0045176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_929-11_0_3_line_36 |  | 32 | 33 | 0.0095911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_929-11_0_3_line_37 |  | 33 | 34 | 0.0049235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_929-11_0_3_line_38 |  | 34 | 35 | 0.014878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_929-11_0_3_line_39 |  | 35 | 36 | 0.0053116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_929-11_0_3_line_40 |  | 37 | 46 | 0.026215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_929-11_0_3_line_41 |  | 38 | 39 | 0.0022317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_929-11_0_3_line_42 |  | 39 | 40 | 0.011981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_929-11_0_3_line_43 |  | 40 | 50 | 0.0061154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_929-11_0_3_line_44 |  | 40 | 49 | 0.021993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_929-11_0_3_line_45 |  | 41 | 42 | 0.021747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_929-11_0_3_line_46 |  | 41 | 43 | 0.00084556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_929-11_0_3_line_47 |  | 42 | 44 | 0.023554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_929-11_0_3_line_48 |  | 43 | 45 | 0.022363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_929-11_0_3_line_49 |  | 44 | 46 | 0.0019507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_929-11_0_3_line_50 |  | 45 | 47 | 0.082256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_929-11_0_3_line_51 |  | 47 | 48 | 0.015546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_929-11_0_3_line_52 |  | 48 | 73 | 0.062435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_929-11_0_3_line_53 |  | 50 | 51 | 0.0010109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_929-11_0_3_line_54 |  | 51 | 52 | 0.02605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_929-11_0_3_line_55 |  | 52 | 53 | 0.027825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_929-11_0_3_line_56 |  | 53 | 54 | 0.012783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_929-11_0_3_line_57 |  | 53 | 55 | 0.036149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_929-11_0_3_line_58 |  | 54 | 56 | 0.047321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_929-11_0_3_line_59 |  | 55 | 57 | 0.018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_929-11_0_3_line_60 |  | 56 | 68 | 0.036886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_929-11_0_3_line_61 |  | 57 | 67 | 0.010527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_929-11_0_3_line_62 |  | 59 | 60 | 0.0011102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_929-11_0_3_line_63 |  | 60 | 61 | 0.007678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_929-11_0_3_line_64 |  | 61 | 62 | 0.036153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_929-11_0_3_line_65 |  | 62 | 63 | 0.007342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_929-11_0_3_line_66 |  | 62 | 64 | 0.028148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_929-11_0_3_line_67 |  | 63 | 65 | 0.0057199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_929-11_0_3_line_68 |  | 65 | 66 | 0.037215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_929-11_0_3_line_69 |  | 68 | 69 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_929-11_0_3_line_70 |  | 69 | 70 | 0.037983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_929-11_0_3_line_71 |  | 70 | 71 | 0.021863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_929-11_0_3_line_72 |  | 70 | 72 | 0.0013599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_929-11_0_3_line_73 |  | 71 | 77 | 0.017426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_929-11_0_3_line_74 |  | 72 | 76 | 0.085059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_929-11_0_3_line_75 |  | 73 | 75 | 0.021376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_929-11_0_3_line_76 |  | 74 | 75 | 0.00026574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_929-11_0_3_trafo_2 | 0.63 MVA 20/0.4 kV | 78 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2616515.3709 | 1176660.052 | 2616511.3661 | 1176657.4198 | 2616507.9693 | 1176655.1874
1 | 2616525.2426 | 1176666.5403 | 2616515.3709 | 1176660.052
2 | 2616497.1524 | 1176648.0784 | 2616507.9693 | 1176655.1874
3 | 2616525.2426 | 1176666.5403 | 2616524.0776 | 1176667.76 | 2616519.2489 | 1176672.8493 | 2616517.7631 | 1176674.5381
4 | 2616541.2117 | 1176648.3638 | 2616534.7409 | 1176655.872 | 2616528.5537 | 1176663.0476 | 2616525.2426 | 1176666.5403
5 | 2616494.4703 | 1176646.3157 | 2616497.1524 | 1176648.0784
6 | 2616504.2458 | 1176690.2017 | 2616506.0475 | 1176687.8541 | 2616517.7631 | 1176674.5381
7 | 2616541.2117 | 1176648.3638 | 2616543.3725 | 1176645.9061
8 | 2616494.4703 | 1176646.3157 | 2616482.3541 | 1176638.3528 | 2616480.2011 | 1176636.8534
9 | 2616504.2458 | 1176690.2017 | 2616498.6687 | 1176697.4689
10 | 2616543.3725 | 1176645.9061 | 2616548.3491 | 1176640.2459 | 2616556.6074 | 1176631.6019
11 | 2616476.0923 | 1176633.992 | 2616480.2011 | 1176636.8534
12 | 2616579.2505 | 1176641.954 | 2616577.286 | 1176633.7889 | 2616581.2468 | 1176630.2758 | 2616576.0824 | 1176625.0976
13 | 2616579.2505 | 1176641.954 | 2616584.7471 | 1176641.3466 | 2616587.3136 | 1176641.8539
14 | 2616568.0623 | 1176619.6118 | 2616571.6743 | 1176620.6779 | 2616576.0824 | 1176625.0976
15 | 2616587.3136 | 1176641.8539 | 2616589.4518 | 1176642.449
16 | 2616587.3136 | 1176641.8539 | 2616586.1521 | 1176644.5521 | 2616576.5476 | 1176671.5506 | 2616575.4808 | 1176675.9499 | 2616574.847 | 1176678.5494 | 2616573.5393 | 1176688.0814
17 | 2616587.3136 | 1176641.8539 | 2616588.375 | 1176639.4001 | 2616588.9519 | 1176638.0565 | 2616589.8042 | 1176636.6137 | 2616591.1478 | 1176634.3496 | 2616592.0303 | 1176633.0402 | 2616595.5161 | 1176627.8526
18 | 2616559.6696 | 1176628.3966 | 2616556.6074 | 1176631.6019
19 | 2616602.9682 | 1176616.7624 | 2616595.5161 | 1176627.8526
20 | 2616589.4518 | 1176642.449 | 2616592.4471 | 1176642.6463 | 2616596.7509 | 1176642.2468 | 2616601.9502 | 1176641.3496 | 2616604.2528 | 1176640.5555 | 2616606.0925 | 1176639.6947
21 | 2616571.6728 | 1176701.6858 | 2616573.5393 | 1176688.0814
22 | 2616610.2522 | 1176637.7484 | 2616606.0925 | 1176639.6947
23 | 2616571.6728 | 1176701.6858 | 2616575.5539 | 1176702.1523 | 2616581.1497 | 1176701.5563 | 2616583.9035 | 1176700.6634 | 2616601.1522 | 1176695.1526 | 2616606.6484 | 1176694.6564 | 2616610.0477 | 1176695.255 | 2616614.552 | 1176696.946 | 2616617.6517 | 1176700.8455 | 2616619.3476 | 1176703.8517 | 2616621.9488 | 1176711.1515 | 2616623.3484 | 1176721.8497 | 2616624.6496 | 1176726.6557 | 2616625.5543 | 1176728.348 | 2616632.2756 | 1176735.3257
24 | 2616571.6728 | 1176701.6858 | 2616571.3516 | 1176704.5531 | 2616571.166 | 1176705.3641 | 2616571.0118 | 1176706.0487
25 | 2616588.8943 | 1176600.7262 | 2616605.2522 | 1176588.554 | 2616607.3954 | 1176587.259
26 | 2616588.8943 | 1176600.7262 | 2616572.8796 | 1176580.9659
27 | 2616588.8943 | 1176600.7262 | 2616582.4468 | 1176605.2552 | 2616578.5815 | 1176609.1092
28 | 2616610.2522 | 1176637.7484 | 2616633.3743 | 1176621.289
29 | 2616568.0623 | 1176619.6118 | 2616559.6696 | 1176628.3966
30 | 2616568.0623 | 1176619.6118 | 2616572.5072 | 1176615.1773 | 2616573.9633 | 1176613.7139 | 2616578.5815 | 1176609.1092
31 | 2616632.2756 | 1176735.3257 | 2616630.9504 | 1176736.4337 | 2616630.4525 | 1176736.8547 | 2616626.95 | 1176740.4469 | 2616625.8225 | 1176741.9446 | 2616624.4495 | 1176743.7528 | 2616623.1485 | 1176747.1509 | 2616622.0495 | 1176752.1505 | 2616621.8134 | 1176754.2536
32 | 2616571.0118 | 1176706.0487 | 2616569.7501 | 1176711.6523 | 2616565.4422 | 1176721.7978
33 | 2616572.8796 | 1176580.9659 | 2616556.5134 | 1176560.7719
34 | 2616548.6519 | 1176757.238 | 2616540.3532 | 1176775.211
35 | 2616550.5457 | 1176753.1365 | 2616548.6519 | 1176757.238
36 | 2616550.5457 | 1176753.1365 | 2616550.9529 | 1176752.2547 | 2616554.7112 | 1176744.4974
37 | 2616556.8579 | 1176740.0665 | 2616554.7112 | 1176744.4974
38 | 2616556.8579 | 1176740.0665 | 2616563.345 | 1176726.6773
39 | 2616563.345 | 1176726.6773 | 2616563.5502 | 1176726.2538 | 2616565.4422 | 1176721.7978
40 | 2616618.8886 | 1176780.3052 | 2616621.8134 | 1176754.2536
41 | 2616474.2609 | 1176632.7167 | 2616476.0923 | 1176633.992
42 | 2616464.3596 | 1176625.9306 | 2616474.2609 | 1176632.7167
43 | 2616464.3596 | 1176625.9306 | 2616459.3092 | 1176622.4821
44 | 2616464.3596 | 1176625.9306 | 2616455.1239 | 1176635.6214 | 2616449.3674 | 1176642.0195
45 | 2616606.3158 | 1176825.6873 | 2616610.4498 | 1176815.3507 | 2616613.4543 | 1176806.6545 | 2616613.7561 | 1176805.2735
46 | 2616606.3158 | 1176825.6873 | 2616606.0018 | 1176826.4724
47 | 2616613.7561 | 1176805.2735 | 2616618.5473 | 1176783.3456 | 2616618.671 | 1176782.2437
48 | 2616606.0018 | 1176826.4724 | 2616597.6973 | 1176847.2364
49 | 2616618.8886 | 1176780.3052 | 2616618.671 | 1176782.2437
50 | 2616577.926 | 1176925.7619 | 2616577.5485 | 1176918.546 | 2616577.6515 | 1176903.3497 | 2616578.4489 | 1176896.8485 | 2616579.4543 | 1176892.5491 | 2616581.3483 | 1176887.4517 | 2616587.3532 | 1176874.2504 | 2616595.6518 | 1176852.351 | 2616597.6973 | 1176847.2364
51 | 2616577.926 | 1176925.7619 | 2616577.9408 | 1176925.9509 | 2616578.0933 | 1176928.8639 | 2616584.5535 | 1176930.6493 | 2616587.6478 | 1176930.9468 | 2616590.2472 | 1176930.5538
52 | 2616590.2472 | 1176930.5538 | 2616592.9484 | 1176929.2495 | 2616599.6509 | 1176923.5539 | 2616617.4525 | 1176903.0481 | 2616623.8498 | 1176894.4503 | 2616629.2475 | 1176888.0508 | 2616632.2176 | 1176884.8092
53 | 2616458.4744 | 1176621.9121 | 2616459.3092 | 1176622.4821
54 | 2616458.4744 | 1176621.9121 | 2616457.9519 | 1176621.5553 | 2616436.6307 | 1176607.7187
55 | 2616414.5033 | 1176591.1212 | 2616417.4514 | 1176594.6532 | 2616422.05 | 1176598.2565 | 2616436.6307 | 1176607.7187
56 | 2616414.5033 | 1176591.1212 | 2616404.3557 | 1176598.9308
57 | 2616414.5033 | 1176591.1212 | 2616431.8499 | 1176577.8506 | 2616437.8525 | 1176573.8538 | 2616441.9782 | 1176571.5306 | 2616444.0668 | 1176570.4267
58 | 2616404.3557 | 1176598.9308 | 2616400.4498 | 1176593.5508 | 2616398.0538 | 1176589.3532 | 2616396.5523 | 1176582.2455 | 2616396.6533 | 1176578.8552 | 2616397.747 | 1176575.7454 | 2616399.8498 | 1176572.5495 | 2616404.0501 | 1176568.0476 | 2616410.8531 | 1176562.0519 | 2616412.7517 | 1176559.9457
59 | 2616460.8253 | 1176562.2188 | 2616455.747 | 1176564.2534 | 2616444.0668 | 1176570.4267
60 | 2616427.8802 | 1176527.1444 | 2616426.8511 | 1176530.4461 | 2616425.675 | 1176535.7345 | 2616425.4506 | 1176536.7455 | 2616423.6508 | 1176543.7553 | 2616421.8493 | 1176548.5528 | 2616418.2505 | 1176553.8457 | 2616412.7517 | 1176559.9457
61 | 2616470.5971 | 1176558.3037 | 2616460.8253 | 1176562.2188
62 | 2616555.8143 | 1176559.9093 | 2616556.5134 | 1176560.7719
63 | 2616550.98 | 1176553.9444 | 2616555.8143 | 1176559.9093
64 | 2616552.4792 | 1176522.386 | 2616552.0208 | 1176525.1195 | 2616544.6536 | 1176538.9174 | 2616543.5601 | 1176544.7062 | 2616547.2311 | 1176549.3187 | 2616550.98 | 1176553.9444
65 | 2616552.4792 | 1176522.386 | 2616556.0534 | 1176520.5505 | 2616558.9773 | 1176518.9355
66 | 2616552.4792 | 1176522.386 | 2616543.7544 | 1176526.8532 | 2616542.6142 | 1176527.3948 | 2616527.1626 | 1176534.6823
67 | 2616558.9773 | 1176518.9355 | 2616563.9762 | 1176516.1555
68 | 2616563.9762 | 1176516.1555 | 2616567.9482 | 1176513.9465 | 2616579.1508 | 1176506.1511 | 2616585.5538 | 1176501.1551 | 2616593.6365 | 1176493.8415
69 | 2616433.9516 | 1176507.854 | 2616433.248 | 1176510.8536 | 2616432.1532 | 1176514.3524 | 2616430.6522 | 1176518.2503 | 2616427.8802 | 1176527.1444
70 | 2616414.2555 | 1176477.4403 | 2616418.95 | 1176479.5542 | 2616421.5496 | 1176481.9514 | 2616423.7263 | 1176485.2812 | 2616431.7481 | 1176497.5538 | 2616433.3506 | 1176501.2489 | 2616433.9533 | 1176504.4522 | 2616433.9516 | 1176507.854
71 | 2616421.2744 | 1176456.7378 | 2616419.6471 | 1176462.1472 | 2616414.2555 | 1176477.4403
72 | 2616414.2555 | 1176477.4403 | 2616413.7702 | 1176478.7107
73 | 2616421.2744 | 1176456.7378 | 2616416.3487 | 1176452.5555 | 2616413.9497 | 1176446.646 | 2616413.0307 | 1176442.1522
74 | 2616413.7702 | 1176478.7107 | 2616412.7621 | 1176481.3493 | 2616412.1537 | 1176483.0485 | 2616407.1536 | 1176494.9521 | 2616404.4484 | 1176500.4475 | 2616403.7414 | 1176501.8796 | 2616402.8038 | 1176503.7892 | 2616401.4281 | 1176506.5757 | 2616400.7518 | 1176507.9524 | 2616391.9512 | 1176523.4474 | 2616374.1507 | 1176549.0565 | 2616371.7467 | 1176552.2785
75 | 2616632.2176 | 1176884.8092 | 2616646.6582 | 1176869.0487
76 | 2616646.6582 | 1176869.0487 | 2616646.8378 | 1176868.8528

## bus_geodata
| x | y | coords
0 | 2616515.3709 | 1176660.052
1 | 2616507.9693 | 1176655.1874
2 | 2616525.2426 | 1176666.5403
3 | 2616497.1524 | 1176648.0784
4 | 2616517.7631 | 1176674.5381
5 | 2616541.2117 | 1176648.3638
6 | 2616494.4703 | 1176646.3157
7 | 2616504.2458 | 1176690.2017
8 | 2616543.3725 | 1176645.9061
9 | 2616480.2011 | 1176636.8534
10 | 2616498.6687 | 1176697.4689
11 | 2616579.2505 | 1176641.954
12 | 2616576.0824 | 1176625.0976
13 | 2616587.3136 | 1176641.8539
14 | 2616556.6074 | 1176631.6019
15 | 2616595.5161 | 1176627.8526
16 | 2616602.9682 | 1176616.7624
17 | 2616589.4518 | 1176642.449
18 | 2616573.5393 | 1176688.0814
19 | 2616606.0925 | 1176639.6947
20 | 2616571.6728 | 1176701.6858
21 | 2616607.3954 | 1176587.259
22 | 2616588.8943 | 1176600.7262
23 | 2616610.2522 | 1176637.7484
24 | 2616568.0623 | 1176619.6118
25 | 2616632.2756 | 1176735.3257
26 | 2616571.0118 | 1176706.0487
27 | 2616559.6696 | 1176628.3966
28 | 2616578.5815 | 1176609.1092
29 | 2616572.8796 | 1176580.9659
30 | 2616548.6519 | 1176757.238
31 | 2616540.3532 | 1176775.211
32 | 2616550.5457 | 1176753.1365
33 | 2616554.7112 | 1176744.4974
34 | 2616556.8579 | 1176740.0665
35 | 2616563.345 | 1176726.6773
36 | 2616565.4422 | 1176721.7978
37 | 2616621.8134 | 1176754.2536
38 | 2616476.0923 | 1176633.992
39 | 2616474.2609 | 1176632.7167
40 | 2616464.3596 | 1176625.9306
41 | 2616606.3158 | 1176825.6873
42 | 2616613.7561 | 1176805.2735
43 | 2616606.0018 | 1176826.4724
44 | 2616618.671 | 1176782.2437
45 | 2616597.6973 | 1176847.2364
46 | 2616618.8886 | 1176780.3052
47 | 2616577.926 | 1176925.7619
48 | 2616590.2472 | 1176930.5538
49 | 2616449.3674 | 1176642.0195
50 | 2616459.3092 | 1176622.4821
51 | 2616458.4744 | 1176621.9121
52 | 2616436.6307 | 1176607.7187
53 | 2616414.5033 | 1176591.1212
54 | 2616404.3557 | 1176598.9308
55 | 2616444.0668 | 1176570.4267
56 | 2616412.7517 | 1176559.9457
57 | 2616460.8253 | 1176562.2188
58 | 2616633.3743 | 1176621.289
59 | 2616556.5134 | 1176560.7719
60 | 2616555.8143 | 1176559.9093
61 | 2616550.98 | 1176553.9444
62 | 2616552.4792 | 1176522.386
63 | 2616558.9773 | 1176518.9355
64 | 2616527.1626 | 1176534.6823
65 | 2616563.9761 | 1176516.1555
66 | 2616593.6365 | 1176493.8415
67 | 2616470.5971 | 1176558.3037
68 | 2616427.8802 | 1176527.1444
69 | 2616433.9516 | 1176507.854
70 | 2616414.2555 | 1176477.4403
71 | 2616421.2744 | 1176456.7378
72 | 2616413.7702 | 1176478.7107
73 | 2616632.2176 | 1176884.8092
74 | 2616646.8378 | 1176868.8528
75 | 2616646.6582 | 1176869.0487
76 | 2616371.7467 | 1176552.2785
77 | 2616413.0307 | 1176442.1522
78 | 2616541.2117 | 1176648.3638

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1