## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_929-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_929-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_929-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_929-5_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_929-5_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_929-5_0_6_node_103 | 0.4 | n |  | TRUE
6 | bus_LV_929-5_0_6_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_929-5_0_6_node_110 | 0.4 | n |  | TRUE
8 | bus_LV_929-5_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_929-5_0_6_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_929-5_0_6_node_104 | 0.4 | n |  | TRUE
11 | bus_LV_929-5_0_6_node_105 | 0.4 | n |  | TRUE
12 | bus_LV_929-5_0_6_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_929-5_0_6_node_92 | 0.4 | n |  | TRUE
14 | bus_LV_929-5_0_6_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_929-5_0_6_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_929-5_0_6_node_114 | 0.4 | n |  | TRUE
17 | bus_LV_929-5_0_6_node_87 | 0.4 | n |  | TRUE
18 | bus_LV_929-5_0_6_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_929-5_0_6_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_929-5_0_6_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_929-5_0_6_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_929-5_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_929-5_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_929-5_0_6_node_99 | 0.4 | n |  | TRUE
25 | bus_LV_929-5_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_929-5_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_929-5_0_6_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_929-5_0_6_node_113 | 0.4 | n |  | TRUE
29 | bus_LV_929-5_0_6_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_929-5_0_6_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_929-5_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_929-5_0_6_node_60 | 0.4 | n |  | TRUE
33 | bus_LV_929-5_0_6_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_929-5_0_6_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_929-5_0_6_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_929-5_0_6_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_929-5_0_6_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_929-5_0_6_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_929-5_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_929-5_0_6_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_929-5_0_6_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_929-5_0_6_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_929-5_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_929-5_0_6_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_929-5_0_6_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_929-5_0_6_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_929-5_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_929-5_0_6_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_929-5_0_6_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_929-5_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_929-5_0_6_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_929-5_0_6_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_929-5_0_6_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_929-5_0_6_node_102 | 0.4 | n |  | TRUE
55 | bus_LV_929-5_0_6_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_929-5_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_929-5_0_6_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_929-5_0_6_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_929-5_0_6_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_929-5_0_6_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_929-5_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_929-5_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_929-5_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_929-5_0_6_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_929-5_0_6_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_929-5_0_6_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_929-5_0_6_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_929-5_0_6_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_929-5_0_6_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_929-5_0_6_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_929-5_0_6_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_929-5_0_6_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_929-5_0_6_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_929-5_0_6_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_929-5_0_6_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_929-5_0_6_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_929-5_0_6_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_929-5_0_6_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_929-5_0_6_node_101 | 0.4 | n |  | TRUE
80 | bus_LV_929-5_0_6_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_929-5_0_6_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_929-5_0_6_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_929-5_0_6_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_929-5_0_6_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_929-5_0_6_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_929-5_0_6_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_929-5_0_6_node_106 | 0.4 | n |  | TRUE
88 | bus_LV_929-5_0_6_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_929-5_0_6_node_111 | 0.4 | n |  | TRUE
90 | bus_LV_929-5_0_6_node_115 | 0.4 | n |  | TRUE
91 | bus_LV_929-5_0_6_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_929-5_0_6_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_929-5_0_6_node_112 | 0.4 | n |  | TRUE
94 | bus_LV_929-5_0_6_node_69 | 0.4 | n |  | TRUE
95 | bus_LV_929-5_0_6_node_70 | 0.4 | n |  | TRUE
96 | bus_LV_929-5_0_6_node_75 | 0.4 | n |  | TRUE
97 | bus_LV_929-5_0_6_node_72 | 0.4 | n |  | TRUE
98 | bus_LV_929-5_0_6_node_73 | 0.4 | n |  | TRUE
99 | bus_LV_929-5_0_6_node_76 | 0.4 | n |  | TRUE
100 | bus_LV_929-5_0_6_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_929-5_0_6_node_86 | 0.4 | n |  | TRUE
102 | bus_LV_929-5_0_6_node_90 | 0.4 | n |  | TRUE
103 | bus_LV_929-5_0_6_node_94 | 0.4 | n |  | TRUE
104 | bus_LV_929-5_0_6_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_929-5_0_6_node_96 | 0.4 | n |  | TRUE
106 | bus_LV_929-5_0_6_node_98 | 0.4 | n |  | TRUE
107 | bus_LV_929-5_0_6_node_109 | 0.4 | n |  | TRUE
108 | bus_LV_929-5_0_6_node_108 | 0.4 | n |  | TRUE
109 | bus_MV_107_1_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_929-5_0_6_load_0 | 0 | 0.013628 | 0.0034155 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_929-5_0_6_load_1 | 1 | 0.013855 | 0.0034723 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_929-5_0_6_load_3 | 4 | 0.026722 | 0.0066971 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_929-5_0_6_load_110 | 7 | 0.0093524 | 0.0023439 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_929-5_0_6_load_37 | 12 | 0.0060683 | 0.0015209 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_929-5_0_6_load_91 | 15 | 0.0057992 | 0.0014534 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_929-5_0_6_load_114 | 16 | 0.0055931 | 0.0014018 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_929-5_0_6_load_7 | 18 | 0.024331 | 0.0060979 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_929-5_0_6_load_8 | 19 | 0.022983 | 0.00576 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_929-5_0_6_load_11 | 22 | 0.0098083 | 0.0024582 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_929-5_0_6_load_12 | 23 | 0.0067052 | 0.0016805 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_929-5_0_6_load_99 | 24 | 0.0062895 | 0.0015763 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_929-5_0_6_load_22 | 25 | 0.019978 | 0.005007 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_929-5_0_6_load_19 | 26 | 0.015425 | 0.0038659 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_929-5_0_6_load_113 | 28 | 0.028818 | 0.0072226 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_929-5_0_6_load_40 | 29 | 0.0072443 | 0.0018156 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_929-5_0_6_load_53 | 30 | 0.016057 | 0.0040242 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_929-5_0_6_load_20 | 31 | 0.0072969 | 0.0018288 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_929-5_0_6_load_60 | 32 | 0.006214 | 0.0015574 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_929-5_0_6_load_13 | 33 | 0.0037864 | 0.00094897 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_929-5_0_6_load_14 | 34 | 0.0041896 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_929-5_0_6_load_16 | 36 | 0.0049664 | 0.0012447 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_929-5_0_6_load_18 | 38 | 0.001245 | 0.00031202 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_929-5_0_6_load_21 | 40 | 0.015086 | 0.0037809 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_929-5_0_6_load_23 | 41 | 0.01743 | 0.0043685 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_929-5_0_6_load_26 | 42 | 0.0077918 | 0.0019528 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_929-5_0_6_load_24 | 44 | 0.0073173 | 0.0018339 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_929-5_0_6_load_54 | 45 | 0.0045699 | 0.0011453 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_929-5_0_6_load_25 | 46 | 0.0042199 | 0.0010576 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_929-5_0_6_load_36 | 47 | 0.0013507 | 0.00033853 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_929-5_0_6_load_38 | 48 | 0.010506 | 0.0026332 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_929-5_0_6_load_27 | 49 | 0.0079452 | 0.0019913 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_929-5_0_6_load_28 | 50 | 0.0033696 | 0.00084449 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_929-5_0_6_load_34 | 52 | 0.0020011 | 0.00050153 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_929-5_0_6_load_32 | 53 | 0.0062191 | 0.0015587 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_929-5_0_6_load_102 | 54 | 0.0074063 | 0.0018562 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_929-5_0_6_load_41 | 55 | 0.0043217 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_929-5_0_6_load_44 | 57 | 0.0020816 | 0.00052169 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_929-5_0_6_load_45 | 58 | 0.0062042 | 0.0015549 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_929-5_0_6_load_62 | 59 | 0.0037413 | 0.00093765 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_929-5_0_6_load_55 | 60 | 0.0023826 | 0.00059715 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_929-5_0_6_load_59 | 61 | 0.0043233 | 0.0010835 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_929-5_0_6_load_46 | 62 | 0.004419 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_929-5_0_6_load_47 | 63 | 0.0030348 | 0.0007606 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_929-5_0_6_load_48 | 64 | 0.0039157 | 0.00098138 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_929-5_0_6_load_49 | 65 | 0.0019891 | 0.00049851 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_929-5_0_6_load_81 | 66 | 0.0019067 | 0.00047787 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_929-5_0_6_load_50 | 68 | 0.0061914 | 0.0015517 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_929-5_0_6_load_51 | 69 | 0.0057547 | 0.0014423 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_929-5_0_6_load_52 | 70 | 0.0087424 | 0.002191 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_929-5_0_6_load_84 | 72 | 0.0017497 | 0.00043851 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_929-5_0_6_load_100 | 73 | 0.0019716 | 0.00049413 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_929-5_0_6_load_56 | 74 | 0.019759 | 0.0049521 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_929-5_0_6_load_57 | 75 | 0.0010377 | 0.00026007 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_929-5_0_6_load_79 | 76 | 0.015932 | 0.0039929 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_929-5_0_6_load_80 | 77 | 0.013122 | 0.0032886 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_929-5_0_6_load_83 | 78 | 0.0022255 | 0.00055778 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_929-5_0_6_load_63 | 80 | 0.0049739 | 0.0012466 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_929-5_0_6_load_64 | 81 | 0.005495 | 0.0013772 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_929-5_0_6_load_67 | 84 | 0.001002 | 0.00025112 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_929-5_0_6_load_68 | 85 | 0.0017017 | 0.00042649 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_929-5_0_6_load_106 | 87 | 0.0035186 | 0.00088183 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_929-5_0_6_load_93 | 88 | 0.0033193 | 0.0008319 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_929-5_0_6_load_111 | 89 | 0.0024228 | 0.00060722 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_929-5_0_6_load_115 | 90 | 0.0054626 | 0.0013691 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_929-5_0_6_load_82 | 92 | 0.0019775 | 0.00049561 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_929-5_0_6_load_112 | 93 | 0.0019498 | 0.00048867 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_929-5_0_6_load_69 | 94 | 0.0020524 | 0.00051437 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_929-5_0_6_load_70 | 95 | 0.0019521 | 0.00048924 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_929-5_0_6_load_75 | 96 | 0.0024355 | 0.0006104 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_929-5_0_6_load_72 | 97 | 0.0074091 | 0.0018569 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_929-5_0_6_load_76 | 99 | 0.0030896 | 0.00077432 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_929-5_0_6_load_85 | 100 | 0.001773 | 0.00044436 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_929-5_0_6_load_90 | 102 | 0.012239 | 0.0030675 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_929-5_0_6_load_94 | 103 | 0.0037979 | 0.00095183 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_929-5_0_6_load_95 | 104 | 0.0011657 | 0.00029214 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_929-5_0_6_load_96 | 105 | 0.0041949 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_929-5_0_6_load_98 | 106 | 0.0031999 | 0.00080198 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_929-5_0_6_load_109 | 107 | 0.0235 | 0.0058897 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_929-5_0_6_load_108 | 108 | 0.025763 | 0.0064567 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_929-5_0_6_line_0 |  | 0 | 1 | 0.0028055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_929-5_0_6_line_1 |  | 0 | 2 | 0.014819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_929-5_0_6_line_2 |  | 2 | 3 | 0.007309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_929-5_0_6_line_3 |  | 3 | 6 | 0.021953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_929-5_0_6_line_4 |  | 3 | 7 | 0.015073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_929-5_0_6_line_5 |  | 4 | 5 | 0.029484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_929-5_0_6_line_6 |  | 5 | 10 | 0.001781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_929-5_0_6_line_7 |  | 5 | 11 | 0.003764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_929-5_0_6_line_8 |  | 6 | 12 | 0.014154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_929-5_0_6_line_9 |  | 7 | 8 | 0.0053048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_929-5_0_6_line_10 |  | 8 | 9 | 0.010382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_929-5_0_6_line_11 |  | 9 | 14 | 0.011131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_929-5_0_6_line_12 |  | 10 | 107 | 0.020558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_929-5_0_6_line_13 |  | 10 | 106 | 0.032164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_929-5_0_6_line_14 |  | 11 | 28 | 0.026897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_929-5_0_6_line_15 |  | 11 | 21 | 0.003556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_929-5_0_6_line_16 |  | 12 | 48 | 0.0042449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_929-5_0_6_line_17 |  | 13 | 14 | 0.013946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_929-5_0_6_line_18 |  | 13 | 15 | 0.016959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_929-5_0_6_line_19 |  | 14 | 16 | 0.02191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_929-5_0_6_line_20 |  | 15 | 102 | 0.022667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_929-5_0_6_line_21 |  | 16 | 17 | 0.026901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_929-5_0_6_line_22 |  | 17 | 101 | 0.007042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_929-5_0_6_line_23 |  | 18 | 19 | 0.0034738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_929-5_0_6_line_24 |  | 18 | 20 | 0.014048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_929-5_0_6_line_25 |  | 19 | 21 | 0.012148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_929-5_0_6_line_26 |  | 20 | 22 | 0.00684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_929-5_0_6_line_27 |  | 20 | 23 | 0.0068277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_929-5_0_6_line_28 |  | 21 | 24 | 0.024569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_929-5_0_6_line_29 |  | 22 | 25 | 0.014703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_929-5_0_6_line_30 |  | 22 | 26 | 0.010044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_929-5_0_6_line_31 |  | 23 | 27 | 0.0061855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_929-5_0_6_line_32 |  | 24 | 29 | 0.0025416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_929-5_0_6_line_33 |  | 25 | 30 | 0.0060868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_929-5_0_6_line_34 |  | 26 | 31 | 0.012455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_929-5_0_6_line_35 |  | 27 | 32 | 0.0049786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_929-5_0_6_line_36 |  | 28 | 93 | 0.020254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_929-5_0_6_line_37 |  | 30 | 45 | 0.0069039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_929-5_0_6_line_38 |  | 31 | 40 | 0.01726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_929-5_0_6_line_39 |  | 32 | 76 | 0.0053715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_929-5_0_6_line_40 |  | 33 | 34 | 0.0042027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_929-5_0_6_line_41 |  | 33 | 35 | 0.01455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_929-5_0_6_line_42 |  | 34 | 36 | 0.015533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_929-5_0_6_line_43 |  | 35 | 37 | 0.019459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_929-5_0_6_line_44 |  | 35 | 38 | 0.015279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_929-5_0_6_line_45 |  | 36 | 39 | 0.020487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_929-5_0_6_line_46 |  | 37 | 40 | 0.0096521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_929-5_0_6_line_47 |  | 37 | 41 | 0.01753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_929-5_0_6_line_48 |  | 38 | 42 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_929-5_0_6_line_49 |  | 39 | 43 | 0.019988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_929-5_0_6_line_50 |  | 41 | 44 | 0.0050127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_929-5_0_6_line_51 |  | 43 | 49 | 0.016148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_929-5_0_6_line_52 |  | 44 | 46 | 0.013177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_929-5_0_6_line_53 |  | 45 | 60 | 0.014523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_929-5_0_6_line_54 |  | 46 | 47 | 0.00079311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_929-5_0_6_line_55 |  | 47 | 48 | 0.010809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_929-5_0_6_line_56 |  | 49 | 50 | 0.013054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_929-5_0_6_line_57 |  | 50 | 51 | 0.011524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_929-5_0_6_line_58 |  | 51 | 52 | 0.035216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_929-5_0_6_line_59 |  | 51 | 53 | 0.0096274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_929-5_0_6_line_60 |  | 52 | 54 | 0.02783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_929-5_0_6_line_61 |  | 55 | 56 | 0.029287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_929-5_0_6_line_62 |  | 56 | 57 | 0.0097274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_929-5_0_6_line_63 |  | 56 | 58 | 0.0058147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_929-5_0_6_line_64 |  | 57 | 59 | 0.0057534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_929-5_0_6_line_65 |  | 58 | 60 | 0.0044284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_929-5_0_6_line_66 |  | 59 | 61 | 0.016499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_929-5_0_6_line_67 |  | 61 | 75 | 0.0096275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_929-5_0_6_line_68 |  | 62 | 63 | 0.018125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_929-5_0_6_line_69 |  | 62 | 64 | 0.00014132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_929-5_0_6_line_70 |  | 63 | 65 | 0.0013377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_929-5_0_6_line_71 |  | 65 | 66 | 0.00018532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_929-5_0_6_line_72 |  | 66 | 67 | 0.017914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_929-5_0_6_line_73 |  | 67 | 92 | 0.0084303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_929-5_0_6_line_74 |  | 67 | 95 | 0.030107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_929-5_0_6_line_75 |  | 68 | 69 | 0.023956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_929-5_0_6_line_76 |  | 69 | 70 | 0.011873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_929-5_0_6_line_77 |  | 70 | 71 | 0.020694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_929-5_0_6_line_78 |  | 71 | 72 | 0.017009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_929-5_0_6_line_79 |  | 71 | 73 | 0.014222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_929-5_0_6_line_80 |  | 72 | 78 | 0.0031977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_929-5_0_6_line_81 |  | 73 | 79 | 0.016033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_929-5_0_6_line_82 |  | 74 | 75 | 0.012208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_929-5_0_6_line_83 |  | 76 | 77 | 0.019624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_929-5_0_6_line_84 |  | 77 | 78 | 0.014508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_929-5_0_6_line_85 |  | 79 | 92 | 0.022324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_929-5_0_6_line_86 |  | 80 | 81 | 0.010797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_929-5_0_6_line_87 |  | 80 | 82 | 0.0060598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_929-5_0_6_line_88 |  | 81 | 83 | 0.03875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_929-5_0_6_line_89 |  | 82 | 84 | 0.0099146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_929-5_0_6_line_90 |  | 82 | 85 | 0.021394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_929-5_0_6_line_91 |  | 83 | 86 | 0.033217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_929-5_0_6_line_92 |  | 83 | 87 | 0.046863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_929-5_0_6_line_93 |  | 84 | 88 | 0.010332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_929-5_0_6_line_94 |  | 85 | 89 | 0.028955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_929-5_0_6_line_95 |  | 86 | 90 | 0.019755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_929-5_0_6_line_96 |  | 86 | 91 | 0.040552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_929-5_0_6_line_97 |  | 89 | 93 | 0.0023913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_929-5_0_6_line_98 |  | 91 | 99 | 0.016602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_929-5_0_6_line_99 |  | 94 | 95 | 0.0082137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_929-5_0_6_line_100 |  | 94 | 96 | 0.035763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_929-5_0_6_line_101 |  | 96 | 98 | 0.046111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_929-5_0_6_line_102 |  | 97 | 98 | 0.020182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_929-5_0_6_line_103 |  | 100 | 101 | 0.0081453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_929-5_0_6_line_104 |  | 103 | 104 | 0.0048222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_929-5_0_6_line_105 |  | 103 | 105 | 0.001505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_929-5_0_6_line_106 |  | 105 | 106 | 0.010544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_929-5_0_6_line_107 |  | 107 | 108 | 0.011605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_929-5_0_6_trafo_7 | 0.63 MVA 20/0.4 kV | 109 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2616802.3477 | 1176070.2476 | 2616800.5851 | 1176072.4301
1 | 2616791.7228 | 1176084.2807 | 2616794.3483 | 1176080.1525 | 2616800.5851 | 1176072.4301
2 | 2616787.5787 | 1176090.3055 | 2616789.0218 | 1176088.0751 | 2616791.7228 | 1176084.2807
3 | 2616805.8498 | 1176102.5516 | 2616787.5787 | 1176090.3055
4 | 2616787.5787 | 1176090.3055 | 2616786.5564 | 1176089.6356 | 2616782.8487 | 1176087.1463 | 2616774.8933 | 1176082.1666
5 | 2616860.2664 | 1176125.2931 | 2616848.8783 | 1176122.5265 | 2616845.1774 | 1176120.3706 | 2616833.9336 | 1176112.9318
6 | 2616860.2664 | 1176125.2931 | 2616860.3631 | 1176123.5147
7 | 2616860.0495 | 1176129.05 | 2616860.2664 | 1176125.2931
8 | 2616805.8498 | 1176102.5516 | 2616803.647 | 1176105.8471 | 2616799.224 | 1176115.0278
9 | 2616770.3968 | 1176079.352 | 2616774.8933 | 1176082.1666
10 | 2616770.3968 | 1176079.352 | 2616761.5767 | 1176073.8358
11 | 2616761.5767 | 1176073.8358 | 2616764.7615 | 1176069.209 | 2616765.3524 | 1176068.3546 | 2616768.2053 | 1176064.8941
12 | 2616860.3631 | 1176123.5147 | 2616865.0743 | 1176122.4273 | 2616867.9741 | 1176121.3238 | 2616871.4725 | 1176119.377 | 2616873.5791 | 1176117.671 | 2616878.0231 | 1176113.7814 | 2616878.0231 | 1176113.7814
13 | 2616860.3631 | 1176123.5147 | 2616860.5982 | 1176118.7018 | 2616860.9534 | 1176111.9549 | 2616861.8477 | 1176103.7532 | 2616863.6135 | 1176091.541
14 | 2616860.0495 | 1176129.05 | 2616863.6486 | 1176129.3491 | 2616867.8498 | 1176130.2502 | 2616875.7511 | 1176133.5518 | 2616884.8474 | 1176138.6466 | 2616884.8474 | 1176138.6466
15 | 2616860.0495 | 1176129.05 | 2616859.4894 | 1176132.5613
16 | 2616799.224 | 1176115.0278 | 2616798.2503 | 1176117.0489 | 2616797.6518 | 1176118.9587
17 | 2616768.2053 | 1176064.8941 | 2616775.7672 | 1176055.6549 | 2616777.048 | 1176054.091
18 | 2616777.048 | 1176054.091 | 2616779.3486 | 1176051.3516 | 2616785.9118 | 1176043.9439 | 2616788.2217 | 1176041.3343
19 | 2616752.9474 | 1176049.1547 | 2616761.9313 | 1176059.0403 | 2616768.2053 | 1176064.8941
20 | 2616803.245 | 1176024.3614 | 2616788.2217 | 1176041.3343
21 | 2616752.9474 | 1176049.1547 | 2616747.05 | 1176042.5461 | 2616742.154 | 1176035.8513 | 2616736.8649 | 1176027.6324
22 | 2616733.1746 | 1176021.6302 | 2616736.8649 | 1176027.6324
23 | 2616854.5762 | 1176147.3133 | 2616855.9715 | 1176144.132
24 | 2616848.5288 | 1176159.989 | 2616852.8487 | 1176151.2522 | 2616854.5762 | 1176147.3133
25 | 2616859.4894 | 1176132.5613 | 2616858.9525 | 1176135.9504 | 2616857.1486 | 1176141.4482 | 2616855.9715 | 1176144.132
26 | 2616845.4392 | 1176166.0946 | 2616848.5288 | 1176159.989
27 | 2616848.5288 | 1176159.989 | 2616854.9563 | 1176162.2924
28 | 2616859.4894 | 1176132.5613 | 2616848.5523 | 1176129.7515 | 2616844.7519 | 1176127.6509 | 2616837.2445 | 1176122.8071
29 | 2616845.4392 | 1176166.0946 | 2616844.2479 | 1176168.448 | 2616840.9543 | 1176176.454 | 2616840.2304 | 1176179.7843
30 | 2616845.4392 | 1176166.0946 | 2616835.4677 | 1176164.892
31 | 2616860.892 | 1176163.8923 | 2616858.7526 | 1176163.6529 | 2616854.9563 | 1176162.2924
32 | 2616835.1088 | 1176121.4292 | 2616837.2445 | 1176122.8071
33 | 2616838.9794 | 1176185.7404 | 2616839.1503 | 1176184.7532 | 2616840.2304 | 1176179.7843
34 | 2616835.4677 | 1176164.892 | 2616828.4544 | 1176164.0461 | 2616823.0758 | 1176163.6838
35 | 2616860.892 | 1176163.8923 | 2616863.253 | 1176164.1546 | 2616865.7594 | 1176164.8572
36 | 2616884.8474 | 1176138.6466 | 2616900.4472 | 1176149.4514 | 2616901.4045 | 1176150.2973
37 | 2616838.9794 | 1176185.7404 | 2616837.802 | 1176192.5432
38 | 2616805.824 | 1176163.892 | 2616821.0497 | 1176163.5474 | 2616823.0758 | 1176163.6838
39 | 2616865.7594 | 1176164.8572 | 2616870.9315 | 1176166.3072
40 | 2616762.4734 | 1176162.931 | 2616758.4361 | 1176161.7636
41 | 2616776.6922 | 1176165.28 | 2616774.1542 | 1176165.4508 | 2616770.1501 | 1176165.1506 | 2616762.4734 | 1176162.931
42 | 2616758.4361 | 1176161.7636 | 2616743.5144 | 1176157.449
43 | 2616796.1774 | 1176164.1894 | 2616776.6922 | 1176165.28
44 | 2616776.6922 | 1176165.28 | 2616777.1475 | 1176171.9514 | 2616776.6524 | 1176174.0511 | 2616773.8542 | 1176179.8462 | 2616773.8542 | 1176179.8462
45 | 2616723.8707 | 1176151.6373 | 2616727.2535 | 1176152.7472 | 2616743.5144 | 1176157.449
46 | 2616796.1774 | 1176164.1894 | 2616798.7535 | 1176164.052 | 2616805.824 | 1176163.892
47 | 2616796.1774 | 1176164.1894 | 2616801.4508 | 1176153.3541 | 2616802.4522 | 1176150.5555 | 2616802.2514 | 1176148.5539 | 2616802.1 | 1176148.0817
48 | 2616773.8542 | 1176179.8462 | 2616767.6491 | 1176190.4455 | 2616766.9246 | 1176191.591
49 | 2616723.8707 | 1176151.6373 | 2616709.973 | 1176147.063 | 2616711.6519 | 1176145.2556 | 2616713.5305 | 1176143.0597
50 | 2616802.1 | 1176148.0817 | 2616800.5698 | 1176143.3083
51 | 2616713.5305 | 1176143.0597 | 2616722.45 | 1176132.0455 | 2616723.6104 | 1176130.4469
52 | 2616797.7653 | 1176130.4557 | 2616797.9483 | 1176132.1558 | 2616799.751 | 1176140.7541 | 2616800.5698 | 1176143.3083
53 | 2616837.802 | 1176192.5432 | 2616835.6233 | 1176205.1315 | 2616835.2134 | 1176206.8304
54 | 2616797.7653 | 1176130.4557 | 2616797.6804 | 1176129.6672
55 | 2616797.6804 | 1176129.6672 | 2616797.0543 | 1176123.849 | 2616797.2478 | 1176120.2477 | 2616797.6518 | 1176118.9587
56 | 2616723.6104 | 1176130.4469 | 2616731.2788 | 1176119.882
57 | 2616738.0482 | 1176110.5557 | 2616731.2788 | 1176119.882
58 | 2616738.0482 | 1176110.5557 | 2616735.5229 | 1176108.9256 | 2616733.7776 | 1176107.131 | 2616732.6791 | 1176103.6261 | 2616732.7231 | 1176101.5252 | 2616733.4798 | 1176098.7815 | 2616738.9721 | 1176086.1681 | 2616739.6259 | 1176084.6802 | 2616740.0225 | 1176082.2245 | 2616739.7286 | 1176080.723 | 2616738.7771 | 1176079.3307
59 | 2616738.0482 | 1176110.5557 | 2616743.1546 | 1176102.394
60 | 2616716.2942 | 1176089.6233 | 2616724.926 | 1176079.9259 | 2616726.9241 | 1176078.7753 | 2616729.678 | 1176077.9269 | 2616732.8285 | 1176077.3799 | 2616736.4275 | 1176077.7234 | 2616738.7771 | 1176079.3307 | 2616738.7771 | 1176079.3307
61 | 2616832.3505 | 1176216.6505 | 2616831.3722 | 1176219.3713 | 2616827.126 | 1176229.1311 | 2616822.8697 | 1176237.0121 | 2616820.0501 | 1176242.2514 | 2616819.6424 | 1176242.9916
62 | 2616832.3505 | 1176216.6505 | 2616841.3458 | 1176220.3527
63 | 2616832.3505 | 1176216.6505 | 2616833.8757 | 1176212.3748 | 2616834.1748 | 1176211.1353
64 | 2616846.6662 | 1176222.5424 | 2616841.3458 | 1176220.3527
65 | 2616834.1748 | 1176211.1353 | 2616835.2134 | 1176206.8304
66 | 2616854.8226 | 1176213.8237 | 2616851.5505 | 1176224.5526 | 2616846.6662 | 1176222.5424
67 | 2616854.8226 | 1176213.8237 | 2616856.9501 | 1176206.8476 | 2616857.5053 | 1176204.5803
68 | 2616945.4953 | 1176252.822 | 2616941.8518 | 1176243.7492 | 2616940.3528 | 1176241.3548 | 2616936.659 | 1176237.2489
69 | 2616945.548 | 1176252.9532 | 2616945.4953 | 1176252.822
70 | 2616936.659 | 1176237.2489 | 2616935.7644 | 1176236.2544
71 | 2616935.7644 | 1176236.2544 | 2616935.6405 | 1176236.1166
72 | 2616923.6593 | 1176222.7984 | 2616935.6405 | 1176236.1166
73 | 2616923.6593 | 1176222.7984 | 2616929.9236 | 1176217.1567
74 | 2616923.6593 | 1176222.7984 | 2616901.3027 | 1176242.9633
75 | 2616881.1342 | 1176225.779 | 2616899.3146 | 1176210.1792
76 | 2616899.3146 | 1176210.1792 | 2616904.2476 | 1176205.9464 | 2616907.7952 | 1176201.911
77 | 2616921.3771 | 1176186.3734 | 2616918.8488 | 1176188.5563 | 2616915.8485 | 1176192.7501 | 2616907.7952 | 1176201.911
78 | 2616921.3771 | 1176186.3734 | 2616907.3773 | 1176180.1309 | 2616905.8168 | 1176179.5072
79 | 2616921.3771 | 1176186.3734 | 2616930.8772 | 1176191.8807 | 2616933.5672 | 1176193.6885
80 | 2616902.8474 | 1176178.3205 | 2616905.8168 | 1176179.5072
81 | 2616946.8743 | 1176202.6312 | 2616933.5672 | 1176193.6885
82 | 2616860.0691 | 1176192.6551 | 2616859.4474 | 1176196.6494 | 2616857.5053 | 1176204.5803
83 | 2616889.3754 | 1176172.9362 | 2616877.1524 | 1176168.0511 | 2616870.9315 | 1176166.3072
84 | 2616889.3754 | 1176172.9362 | 2616902.8474 | 1176178.3205
85 | 2616946.8743 | 1176202.6312 | 2616931.1531 | 1176216.0494 | 2616929.9236 | 1176217.1567
86 | 2616955.5466 | 1176171.1764 | 2616958.7503 | 1176173.2497 | 2616964.1341 | 1176177.6936
87 | 2616950.3499 | 1176168.0789 | 2616950.6399 | 1176168.2132 | 2616951.9527 | 1176168.8505 | 2616955.5466 | 1176171.1764
88 | 2616990.6979 | 1176205.8453 | 2616978.8747 | 1176192.1271 | 2616974.378 | 1176187.6233 | 2616965.8723 | 1176179.1283 | 2616964.1341 | 1176177.6936
89 | 2616950.3499 | 1176168.0789 | 2616955.8651 | 1176159.8399
90 | 2616950.3499 | 1176168.0789 | 2616944.0529 | 1176165.0486 | 2616935.1509 | 1176161.5551 | 2616930.4565 | 1176160.3662
91 | 2616986.1505 | 1176232.8462 | 2616983.1248 | 1176227.1236 | 2616980.6242 | 1176224.871 | 2616978.9843 | 1176223.7213 | 2616981.7483 | 1176219.2491 | 2616986.0471 | 1176212.6467 | 2616990.6979 | 1176205.8453
92 | 2616990.6979 | 1176205.8453 | 2616998.378 | 1176214.3713 | 2617007.3762 | 1176221.6226 | 2617013.4954 | 1176225.3307 | 2617020.6218 | 1176229.6308 | 2617028.023 | 1176233.5038
93 | 2616961.6124 | 1176151.254 | 2616955.8651 | 1176159.8399
94 | 2616930.4565 | 1176160.3662 | 2616925.2525 | 1176159.0482 | 2616909.6544 | 1176155.8472 | 2616905.6468 | 1176154.0461 | 2616903.1964 | 1176151.8807
95 | 2617003.0506 | 1176243.1547 | 2616986.1505 | 1176232.8462
96 | 2616989.9499 | 1176273.1553 | 2616988.8529 | 1176250.2516 | 2616986.1505 | 1176232.8462
97 | 2616901.4045 | 1176150.2973 | 2616903.1964 | 1176151.8807
98 | 2616989.9499 | 1176273.1553 | 2616974.1579 | 1176278.278
99 | 2616895.2034 | 1176248.4646 | 2616901.3027 | 1176242.9633
100 | 2616895.2034 | 1176248.4646 | 2616906.6469 | 1176282.3477
101 | 2616868.9536 | 1176309.0556 | 2616906.6469 | 1176282.3477
102 | 2616868.9536 | 1176309.0556 | 2616881.1156 | 1176325.162
103 | 2616733.1746 | 1176021.6302 | 2616732.6269 | 1176020.6948 | 2616735.7294 | 1176014.3515
104 | 2616865.7481 | 1176079.6862 | 2616865.8529 | 1176079.1519 | 2616866.7741 | 1176074.9746
105 | 2616865.7481 | 1176079.6862 | 2616865.4585 | 1176081.163
106 | 2616863.6135 | 1176091.541 | 2616864.147 | 1176087.8515 | 2616865.4585 | 1176081.163
107 | 2616889.424 | 1176112.9276 | 2616888.9247 | 1176112.8782 | 2616883.2075 | 1176112.9066 | 2616879.7222 | 1176112.9302 | 2616878.0231 | 1176113.7814

## bus_geodata
| x | y | coords
0 | 2616800.5851 | 1176072.4301
1 | 2616802.3477 | 1176070.2476
2 | 2616791.7228 | 1176084.2807
3 | 2616787.5787 | 1176090.3055
4 | 2616833.9336 | 1176112.9318
5 | 2616860.2664 | 1176125.2931
6 | 2616805.8498 | 1176102.5516
7 | 2616774.8933 | 1176082.1666
8 | 2616770.3968 | 1176079.352
9 | 2616761.5767 | 1176073.8358
10 | 2616860.3631 | 1176123.5147
11 | 2616860.0495 | 1176129.05
12 | 2616799.224 | 1176115.0278
13 | 2616777.048 | 1176054.091
14 | 2616768.2053 | 1176064.8941
15 | 2616788.2217 | 1176041.3343
16 | 2616752.9474 | 1176049.1547
17 | 2616736.8649 | 1176027.6324
18 | 2616854.5763 | 1176147.3133
19 | 2616855.9715 | 1176144.132
20 | 2616848.5288 | 1176159.989
21 | 2616859.4894 | 1176132.5613
22 | 2616845.4392 | 1176166.0946
23 | 2616854.9563 | 1176162.2924
24 | 2616837.2445 | 1176122.8071
25 | 2616840.2304 | 1176179.7843
26 | 2616835.4677 | 1176164.892
27 | 2616860.892 | 1176163.8923
28 | 2616884.8474 | 1176138.6466
29 | 2616835.1088 | 1176121.4292
30 | 2616838.9794 | 1176185.7404
31 | 2616823.0758 | 1176163.6838
32 | 2616865.7594 | 1176164.8572
33 | 2616762.4734 | 1176162.931
34 | 2616758.4361 | 1176161.7636
35 | 2616776.6922 | 1176165.28
36 | 2616743.5144 | 1176157.449
37 | 2616796.1774 | 1176164.1894
38 | 2616773.8542 | 1176179.8462
39 | 2616723.8707 | 1176151.6373
40 | 2616805.824 | 1176163.892
41 | 2616802.1 | 1176148.0817
42 | 2616766.9246 | 1176191.591
43 | 2616713.5305 | 1176143.0597
44 | 2616800.5698 | 1176143.3083
45 | 2616837.802 | 1176192.5432
46 | 2616797.7653 | 1176130.4557
47 | 2616797.6804 | 1176129.6672
48 | 2616797.6518 | 1176118.9587
49 | 2616723.6104 | 1176130.4469
50 | 2616731.2788 | 1176119.882
51 | 2616738.0482 | 1176110.5557
52 | 2616738.7771 | 1176079.3307
53 | 2616743.1546 | 1176102.394
54 | 2616716.2942 | 1176089.6233
55 | 2616819.6424 | 1176242.9916
56 | 2616832.3505 | 1176216.6505
57 | 2616841.3458 | 1176220.3527
58 | 2616834.1748 | 1176211.1353
59 | 2616846.6662 | 1176222.5424
60 | 2616835.2134 | 1176206.8304
61 | 2616854.8226 | 1176213.8237
62 | 2616945.4953 | 1176252.822
63 | 2616936.659 | 1176237.2489
64 | 2616945.548 | 1176252.9532
65 | 2616935.7644 | 1176236.2544
66 | 2616935.6405 | 1176236.1166
67 | 2616923.6593 | 1176222.7984
68 | 2616881.1342 | 1176225.779
69 | 2616899.3146 | 1176210.1792
70 | 2616907.7952 | 1176201.911
71 | 2616921.3771 | 1176186.3734
72 | 2616905.8168 | 1176179.5072
73 | 2616933.5672 | 1176193.6885
74 | 2616860.0691 | 1176192.6551
75 | 2616857.5053 | 1176204.5803
76 | 2616870.9315 | 1176166.3072
77 | 2616889.3754 | 1176172.9362
78 | 2616902.8474 | 1176178.3205
79 | 2616946.8743 | 1176202.6312
80 | 2616955.5466 | 1176171.1764
81 | 2616964.1341 | 1176177.6936
82 | 2616950.3499 | 1176168.0789
83 | 2616990.6979 | 1176205.8453
84 | 2616955.8651 | 1176159.8399
85 | 2616930.4565 | 1176160.3662
86 | 2616986.1505 | 1176232.8462
87 | 2617028.023 | 1176233.5038
88 | 2616961.6124 | 1176151.254
89 | 2616903.1964 | 1176151.8807
90 | 2617003.0506 | 1176243.1547
91 | 2616989.9499 | 1176273.1553
92 | 2616929.9236 | 1176217.1567
93 | 2616901.4045 | 1176150.2973
94 | 2616895.2034 | 1176248.4646
95 | 2616901.3027 | 1176242.9633
96 | 2616906.6469 | 1176282.3477
97 | 2616881.1156 | 1176325.162
98 | 2616868.9536 | 1176309.0556
99 | 2616974.1579 | 1176278.278
100 | 2616735.7294 | 1176014.3515
101 | 2616733.1746 | 1176021.6302
102 | 2616803.245 | 1176024.3614
103 | 2616865.7481 | 1176079.6862
104 | 2616866.7741 | 1176074.9746
105 | 2616865.4585 | 1176081.163
106 | 2616863.6135 | 1176091.541
107 | 2616878.0231 | 1176113.7814
108 | 2616889.424 | 1176112.9276
109 | 2616848.5288 | 1176159.989

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1