## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_934-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_934-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_934-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_934-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_934-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_934-8_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_934-8_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_934-8_0_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_934-8_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_934-8_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_934-8_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_934-8_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_934-8_0_3_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_934-8_0_3_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_934-8_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_934-8_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_934-8_0_3_node_91 | 0.4 | n |  | TRUE
17 | bus_LV_934-8_0_3_node_98 | 0.4 | n |  | TRUE
18 | bus_LV_934-8_0_3_node_99 | 0.4 | n |  | TRUE
19 | bus_LV_934-8_0_3_node_100 | 0.4 | n |  | TRUE
20 | bus_LV_934-8_0_3_node_101 | 0.4 | n |  | TRUE
21 | bus_LV_934-8_0_3_node_89 | 0.4 | n |  | TRUE
22 | bus_LV_934-8_0_3_node_102 | 0.4 | n |  | TRUE
23 | bus_LV_934-8_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_934-8_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_934-8_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_934-8_0_3_node_121 | 0.4 | n |  | TRUE
27 | bus_LV_934-8_0_3_node_119 | 0.4 | n |  | TRUE
28 | bus_LV_934-8_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_934-8_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_934-8_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_934-8_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_934-8_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_934-8_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_934-8_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_934-8_0_3_node_130 | 0.4 | n |  | TRUE
36 | bus_LV_934-8_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_934-8_0_3_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_934-8_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_934-8_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_934-8_0_3_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_934-8_0_3_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_934-8_0_3_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_934-8_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_934-8_0_3_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_934-8_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_934-8_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_934-8_0_3_node_50 | 0.4 | n |  | TRUE
48 | bus_LV_934-8_0_3_node_128 | 0.4 | n |  | TRUE
49 | bus_LV_934-8_0_3_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_934-8_0_3_node_120 | 0.4 | n |  | TRUE
51 | bus_LV_934-8_0_3_node_126 | 0.4 | n |  | TRUE
52 | bus_LV_934-8_0_3_node_118 | 0.4 | n |  | TRUE
53 | bus_LV_934-8_0_3_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_934-8_0_3_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_934-8_0_3_node_97 | 0.4 | n |  | TRUE
56 | bus_LV_934-8_0_3_node_93 | 0.4 | n |  | TRUE
57 | bus_LV_934-8_0_3_node_104 | 0.4 | n |  | TRUE
58 | bus_LV_934-8_0_3_node_112 | 0.4 | n |  | TRUE
59 | bus_LV_934-8_0_3_node_103 | 0.4 | n |  | TRUE
60 | bus_LV_934-8_0_3_node_122 | 0.4 | n |  | TRUE
61 | bus_LV_934-8_0_3_node_117 | 0.4 | n |  | TRUE
62 | bus_LV_934-8_0_3_node_125 | 0.4 | n |  | TRUE
63 | bus_LV_934-8_0_3_node_127 | 0.4 | n |  | TRUE
64 | bus_LV_934-8_0_3_node_124 | 0.4 | n |  | TRUE
65 | bus_LV_934-8_0_3_node_123 | 0.4 | n |  | TRUE
66 | bus_MV_107_1_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_934-8_0_3_load_0 | 0 | 0.0026113 | 0.00065447 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_934-8_0_3_load_1 | 1 | 0.0022455 | 0.00056278 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_934-8_0_3_load_2 | 2 | 0.0033005 | 0.00082718 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_934-8_0_3_load_3 | 3 | 0.0023244 | 0.00058254 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_934-8_0_3_load_4 | 4 | 0.0050968 | 0.0012774 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_934-8_0_3_load_15 | 6 | 0.0032987 | 0.00082674 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_934-8_0_3_load_13 | 9 | 0.004164 | 0.0010436 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_934-8_0_3_load_11 | 10 | 0.0019794 | 0.00049608 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_934-8_0_3_load_12 | 11 | 0.00091985 | 0.00023054 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_934-8_0_3_load_14 | 14 | 0.0056683 | 0.0014206 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_934-8_0_3_load_16 | 15 | 0.001022 | 0.00025615 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_934-8_0_3_load_91 | 16 | 0.0043421 | 0.0010882 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_934-8_0_3_load_98 | 17 | 0.0025826 | 0.00064726 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_934-8_0_3_load_99 | 18 | 0.0029677 | 0.00074378 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_934-8_0_3_load_100 | 19 | 0.0031092 | 0.00077925 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_934-8_0_3_load_101 | 20 | 0.0028786 | 0.00072143 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_934-8_0_3_load_89 | 21 | 0.0053243 | 0.0013344 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_934-8_0_3_load_102 | 22 | 0.0042567 | 0.0010668 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_934-8_0_3_load_17 | 23 | 0.0011335 | 0.00028409 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_934-8_0_3_load_18 | 24 | 0.0029079 | 0.00072878 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_934-8_0_3_load_20 | 25 | 0.0027985 | 0.00070136 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_934-8_0_3_load_121 | 26 | 0.0017143 | 0.00042964 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_934-8_0_3_load_119 | 27 | 0.0030176 | 0.00075629 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_934-8_0_3_load_26 | 28 | 0.0011621 | 0.00029124 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_934-8_0_3_load_22 | 29 | 0.00077947 | 0.00019535 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_934-8_0_3_load_23 | 30 | 0.0046176 | 0.0011573 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_934-8_0_3_load_25 | 32 | 0.0047936 | 0.0012014 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_934-8_0_3_load_35 | 34 | 0.0030265 | 0.0007585 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_934-8_0_3_load_130 | 35 | 0.00097553 | 0.00024449 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_934-8_0_3_load_42 | 36 | 0.0012383 | 0.00031035 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_934-8_0_3_load_43 | 37 | 0.0019712 | 0.00049402 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_934-8_0_3_load_44 | 38 | 0.0015254 | 0.00038231 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_934-8_0_3_load_90 | 41 | 0.0054303 | 0.001361 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_934-8_0_3_load_92 | 42 | 0.0032194 | 0.00080687 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_934-8_0_3_load_51 | 44 | 0.0013491 | 0.00033812 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_934-8_0_3_load_47 | 45 | 0.001361 | 0.00034111 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_934-8_0_3_load_128 | 48 | 0.0012054 | 0.00030209 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_934-8_0_3_load_96 | 49 | 0.0046309 | 0.0011606 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_934-8_0_3_load_120 | 50 | 0.0032879 | 0.00082404 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_934-8_0_3_load_126 | 51 | 0.0025431 | 0.00063737 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_934-8_0_3_load_118 | 52 | 0.0019223 | 0.00048178 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_934-8_0_3_load_94 | 53 | 0.013081 | 0.0032784 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_934-8_0_3_load_95 | 54 | 0.0016995 | 0.00042593 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_934-8_0_3_load_97 | 55 | 0.0047597 | 0.0011929 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_934-8_0_3_load_93 | 56 | 0.0040445 | 0.0010137 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_934-8_0_3_load_104 | 57 | 0.022581 | 0.0056592 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_934-8_0_3_load_112 | 58 | 0.0033047 | 0.00082823 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_934-8_0_3_load_103 | 59 | 0.0028491 | 0.00071406 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_934-8_0_3_load_122 | 60 | 0.002589 | 0.00064887 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_934-8_0_3_load_117 | 61 | 0.0021459 | 0.00053782 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_934-8_0_3_load_127 | 63 | 0.002505 | 0.00062782 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_934-8_0_3_load_123 | 65 | 0.0017487 | 0.00043827 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_934-8_0_3_line_0 |  | 0 | 1 | 0.026364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_934-8_0_3_line_1 |  | 0 | 2 | 0.010802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_934-8_0_3_line_2 |  | 1 | 3 | 0.039635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_934-8_0_3_line_3 |  | 2 | 4 | 0.016212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_934-8_0_3_line_4 |  | 3 | 5 | 0.016004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_934-8_0_3_line_5 |  | 4 | 6 | 0.003818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_934-8_0_3_line_6 |  | 5 | 7 | 0.004801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_934-8_0_3_line_7 |  | 5 | 8 | 0.041765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_934-8_0_3_line_8 |  | 6 | 9 | 0.020323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_934-8_0_3_line_9 |  | 7 | 28 | 0.02872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_934-8_0_3_line_10 |  | 8 | 23 | 0.0030107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_934-8_0_3_line_11 |  | 9 | 14 | 0.0038822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_934-8_0_3_line_12 |  | 10 | 11 | 0.015188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_934-8_0_3_line_13 |  | 11 | 12 | 0.014889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_934-8_0_3_line_14 |  | 12 | 13 | 0.010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_934-8_0_3_line_15 |  | 13 | 36 | 0.013262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_934-8_0_3_line_16 |  | 13 | 33 | 0.033439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_934-8_0_3_line_17 |  | 14 | 15 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_934-8_0_3_line_18 |  | 15 | 16 | 0.014239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_934-8_0_3_line_19 |  | 16 | 21 | 0.004737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_934-8_0_3_line_20 |  | 17 | 18 | 0.020697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_934-8_0_3_line_21 |  | 17 | 19 | 0.00703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_934-8_0_3_line_22 |  | 18 | 20 | 0.010785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_934-8_0_3_line_23 |  | 19 | 22 | 0.016591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_934-8_0_3_line_24 |  | 20 | 59 | 0.01672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_934-8_0_3_line_25 |  | 21 | 41 | 0.042804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_934-8_0_3_line_26 |  | 22 | 55 | 0.016816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_934-8_0_3_line_27 |  | 23 | 24 | 0.0094062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_934-8_0_3_line_28 |  | 24 | 25 | 0.011766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_934-8_0_3_line_29 |  | 25 | 26 | 0.0085315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_934-8_0_3_line_30 |  | 26 | 27 | 0.0096708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_934-8_0_3_line_31 |  | 27 | 61 | 0.0061383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_934-8_0_3_line_32 |  | 28 | 31 | 0.0011916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_934-8_0_3_line_33 |  | 29 | 30 | 0.024675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_934-8_0_3_line_34 |  | 29 | 31 | 0.021172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_934-8_0_3_line_35 |  | 30 | 32 | 0.030018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_934-8_0_3_line_36 |  | 31 | 33 | 0.030941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_934-8_0_3_line_37 |  | 32 | 34 | 0.0059286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_934-8_0_3_line_38 |  | 33 | 35 | 0.027018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_934-8_0_3_line_39 |  | 36 | 37 | 0.022723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_934-8_0_3_line_40 |  | 38 | 39 | 0.083067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_934-8_0_3_line_41 |  | 39 | 40 | 0.085265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_934-8_0_3_line_42 |  | 40 | 43 | 0.020272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_934-8_0_3_line_43 |  | 40 | 44 | 0.013719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_934-8_0_3_line_44 |  | 41 | 42 | 0.014899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_934-8_0_3_line_45 |  | 42 | 57 | 0.0024951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_934-8_0_3_line_46 |  | 43 | 45 | 0.050639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_934-8_0_3_line_47 |  | 45 | 46 | 0.069963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_934-8_0_3_line_48 |  | 46 | 47 | 0.026995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_934-8_0_3_line_49 |  | 47 | 48 | 0.011636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_934-8_0_3_line_50 |  | 47 | 49 | 0.019615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_934-8_0_3_line_51 |  | 49 | 53 | 0.056833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_934-8_0_3_line_52 |  | 50 | 51 | 0.039615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_934-8_0_3_line_53 |  | 50 | 52 | 0.0025422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_934-8_0_3_line_54 |  | 51 | 60 | 0.0099285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_934-8_0_3_line_55 |  | 51 | 63 | 0.023015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_934-8_0_3_line_56 |  | 52 | 61 | 0.021136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_934-8_0_3_line_57 |  | 53 | 56 | 0.056142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_934-8_0_3_line_58 |  | 54 | 55 | 0.0075852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_934-8_0_3_line_59 |  | 54 | 56 | 0.0038383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_934-8_0_3_line_60 |  | 57 | 58 | 0.0055418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_934-8_0_3_line_61 |  | 59 | 60 | 0.012609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_934-8_0_3_line_62 |  | 62 | 63 | 0.029466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_934-8_0_3_line_63 |  | 62 | 64 | 0.009213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_934-8_0_3_line_64 |  | 64 | 65 | 0.0059778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_934-8_0_3_trafo_14 | 0.63 MVA 20/0.4 kV | 66 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2617558.3416 | 1176112.7701 | 2617557.5517 | 1176113.3467 | 2617550.7529 | 1176117.3512 | 2617543.948 | 1176120.8554 | 2617534.9501 | 1176124.8417
1 | 2617558.3416 | 1176112.7701 | 2617567.0663 | 1176106.4009
2 | 2617534.9501 | 1176124.8417 | 2617525.4507 | 1176129.0501 | 2617518.6528 | 1176132.7544 | 2617502.0288 | 1176143.3782 | 2617500.5178 | 1176144.3088
3 | 2617578.7716 | 1176095.2574 | 2617578.4539 | 1176095.6543 | 2617574.451 | 1176100.156 | 2617569.0486 | 1176104.9538 | 2617567.0663 | 1176106.4009
4 | 2617486.5187 | 1176152.0486 | 2617496.424 | 1176146.8303 | 2617500.5178 | 1176144.3088
5 | 2617578.7716 | 1176095.2574 | 2617581.1577 | 1176092.2768
6 | 2617482.8894 | 1176148.9921 | 2617485.849 | 1176151.0462 | 2617486.5187 | 1176152.0486
7 | 2617486.5187 | 1176152.0486 | 2617487.2492 | 1176153.1513 | 2617489.6496 | 1176158.2498 | 2617491.352 | 1176161.5564 | 2617492.7532 | 1176165.9516 | 2617493.453 | 1176169.7556 | 2617493.054 | 1176175.5463 | 2617492.3273 | 1176178.39 | 2617499.7471 | 1176181.5466 | 2617505.3527 | 1176183.0525
8 | 2617593.8587 | 1176076.4116 | 2617581.1577 | 1176092.2768
9 | 2617482.8894 | 1176148.9921 | 2617483.1775 | 1176141.9226 | 2617482.174 | 1176137.4286 | 2617481.4273 | 1176131.3789 | 2617480.2506 | 1176120.7478 | 2617480.2289 | 1176120.5004
10 | 2617505.3527 | 1176183.0525 | 2617508.3522 | 1176182.7929
11 | 2617593.8587 | 1176076.4116 | 2617596.2849 | 1176073.3809
12 | 2617481.3854 | 1176031.866 | 2617487.8476 | 1176018.1219
13 | 2617475.2109 | 1176045.4058 | 2617475.7504 | 1176043.8511 | 2617481.3854 | 1176031.866
14 | 2617475.2109 | 1176045.4058 | 2617474.2475 | 1176048.1489 | 2617473.7473 | 1176051.9494 | 2617473.753 | 1176055.2733
15 | 2617473.753 | 1176055.2733 | 2617485.2515 | 1176051.5492 | 2617486.3384 | 1176051.1019
16 | 2617473.753 | 1176055.2733 | 2617474.1522 | 1176062.556 | 2617476.7484 | 1176084.4524 | 2617477.1493 | 1176088.5223
17 | 2617605.9974 | 1176063.4589 | 2617604.2476 | 1176064.9473 | 2617597.348 | 1176072.053 | 2617596.2849 | 1176073.3809
18 | 2617605.9974 | 1176063.4589 | 2617614.3542 | 1176056.3503 | 2617617.0851 | 1176054.5552
19 | 2617621.0435 | 1176051.9533 | 2617617.0851 | 1176054.5552
20 | 2617638.8099 | 1176106.3835 | 2617628.9446 | 1176124.5784
21 | 2617638.8099 | 1176106.3835 | 2617641.7542 | 1176100.9533 | 2617642.216 | 1176100.2362
22 | 2617628.9446 | 1176124.5784 | 2617628.8516 | 1176124.7498 | 2617623.6322 | 1176133.9644
23 | 2617642.216 | 1176100.2362 | 2617644.8485 | 1176096.1488 | 2617649.3509 | 1176090.7481 | 2617652.537 | 1176087.2954
24 | 2617623.6322 | 1176133.9644 | 2617615.3918 | 1176148.5124
25 | 2617621.0435 | 1176051.9533 | 2617632.1513 | 1176044.652 | 2617636.4482 | 1176041.5518 | 2617639.7518 | 1176038.3488 | 2617643.8538 | 1176033.9474 | 2617649.147 | 1176024.7472 | 2617650.0902 | 1176021.9196
26 | 2617652.537 | 1176087.2954 | 2617656.451 | 1176083.0539 | 2617659.4468 | 1176080.5503 | 2617665.7074 | 1176077.1163
27 | 2617508.3522 | 1176182.7929 | 2617517.7234 | 1176181.982
28 | 2617529.2542 | 1176179.8538 | 2617522.7527 | 1176181.5468 | 2617517.7234 | 1176181.982
29 | 2617537.1369 | 1176176.5905 | 2617529.2542 | 1176179.8538 | 2617529.2542 | 1176179.8538
30 | 2617537.1369 | 1176176.5905 | 2617537.9472 | 1176176.255 | 2617545.696 | 1176172.0972
31 | 2617551.0196 | 1176169.0629 | 2617550.2488 | 1176169.6542 | 2617545.696 | 1176172.0972
32 | 2617480.1248 | 1176119.3134 | 2617480.2289 | 1176120.5004
33 | 2617519.537 | 1176096.4342 | 2617516.1526 | 1176098.9521 | 2617500.5538 | 1176109.1564 | 2617498.9912 | 1176110.0838
34 | 2617480.1248 | 1176119.3134 | 2617483.7496 | 1176118.6458 | 2617492.1472 | 1176114.1456 | 2617498.9912 | 1176110.0838
35 | 2617519.537 | 1176096.4342 | 2617531.3495 | 1176087.6462 | 2617538.3537 | 1176081.3522 | 2617542.4832 | 1176077.169
36 | 2617477.1493 | 1176088.5223 | 2617480.1248 | 1176119.3134
37 | 2617546.6481 | 1176072.9499 | 2617542.4832 | 1176077.169
38 | 2617477.1493 | 1176088.5223 | 2617459.352 | 1176092.5505 | 2617456.4515 | 1176093.8539 | 2617451.6505 | 1176096.8526
39 | 2617507.3516 | 1176042.4533 | 2617486.3384 | 1176051.1019
40 | 2617908.4482 | 1176172.2882 | 2617903.7537 | 1176180.5563 | 2617889.1475 | 1176198.6554 | 2617868.0524 | 1176221.9491 | 2617855.6578 | 1176236.1841
41 | 2617829.0707 | 1176142.8154 | 2617830.8224 | 1176142.3314 | 2617834.529 | 1176142.4313 | 2617845.2259 | 1176146.1761 | 2617859.3779 | 1176152.3212 | 2617866.0957 | 1176155.0647 | 2617898.349 | 1176168.0672 | 2617908.4482 | 1176172.2882
42 | 2617811.1267 | 1176136.9704 | 2617811.9734 | 1176137.5287 | 2617816.6719 | 1176138.2207 | 2617823.7267 | 1176138.1305 | 2617825.3766 | 1176138.48 | 2617826.7271 | 1176139.2733 | 2617829.0707 | 1176142.8154
43 | 2617829.0707 | 1176142.8154 | 2617826.9288 | 1176143.4204 | 2617823.5221 | 1176145.278 | 2617820.5261 | 1176147.8259 | 2617817.8741 | 1176150.375 | 2617817.8732 | 1176150.376
44 | 2617650.0902 | 1176021.9196 | 2617652.6478 | 1176014.2521 | 2617654.3842 | 1176007.6604
45 | 2617655.0198 | 1176005.2477 | 2617654.3842 | 1176007.6604
46 | 2617811.1267 | 1176136.9704 | 2617808.4259 | 1176137.9295 | 2617804.0746 | 1176138.7282 | 2617801.552 | 1176138.8541 | 2617760.8094 | 1176141.4215
47 | 2617694.1517 | 1176159.448 | 2617699.7541 | 1176156.852 | 2617705.3506 | 1176153.6557 | 2617708.9496 | 1176151.354 | 2617714.751 | 1176148.6475 | 2617728.5468 | 1176146.0535 | 2617738.9541 | 1176144.3499 | 2617749.2476 | 1176142.3459 | 2617755.5473 | 1176141.7531 | 2617760.8094 | 1176141.4215
48 | 2617694.1517 | 1176159.448 | 2617692.8961 | 1176157.5878 | 2617691.248 | 1176156.6491 | 2617687.0484 | 1176155.2472 | 2617685.8788 | 1176155.3105 | 2617686.648 | 1176148.4537 | 2617688.3452 | 1176143.0892 | 2617689.1538 | 1176141.0461 | 2617689.5509 | 1176138.546
49 | 2617689.5509 | 1176138.546 | 2617687.2533 | 1176134.9485 | 2617685.5509 | 1176134.2543 | 2617683.4494 | 1176134.1481 | 2617680.0541 | 1176134.7495
50 | 2617689.5509 | 1176138.546 | 2617691.3488 | 1176135.3497 | 2617692.6502 | 1176132.0518 | 2617694.4265 | 1176119.7768
51 | 2617720.7536 | 1176072.4485 | 2617720.7536 | 1176072.4485 | 2617721.8507 | 1176073.6524 | 2617722.3487 | 1176075.855 | 2617722.1508 | 1176078.1555 | 2617720.8485 | 1176081.7535 | 2617718.453 | 1176085.4484 | 2617713.85 | 1176091.2489 | 2617700.0529 | 1176107.2498 | 2617695.8512 | 1176114.3522 | 2617694.6474 | 1176118.2506 | 2617694.4265 | 1176119.7768
52 | 2617568.4495 | 1176153.0543 | 2617604.9408 | 1176168.4718
53 | 2617568.4495 | 1176153.0543 | 2617566.5978 | 1176154.7962
54 | 2617604.9408 | 1176168.4718 | 2617609.3795 | 1176159.5907
55 | 2617604.9408 | 1176168.4718 | 2617604.5539 | 1176169.2459 | 2617598.0522 | 1176181.4553 | 2617594.6503 | 1176186.9482 | 2617593.5299 | 1176188.428
56 | 2617551.0196 | 1176169.0629 | 2617553.2516 | 1176167.3506 | 2617566.5978 | 1176154.7962
57 | 2617675.8888 | 1176071.9699 | 2617684.2536 | 1176068.5503 | 2617698.3497 | 1176065.2456 | 2617700.5536 | 1176064.3516 | 2617703.1476 | 1176073.7529 | 2617704.2497 | 1176075.8461 | 2617705.3476 | 1176076.7498 | 2617706.6531 | 1176077.2539 | 2617711.6538 | 1176076.546 | 2617714.1493 | 1176075.2527 | 2617717.2516 | 1176072.9496 | 2617719.4469 | 1176072.3557 | 2617720.7536 | 1176072.4485
58 | 2617665.7074 | 1176077.1163 | 2617672.3579 | 1176073.4685
59 | 2617675.8888 | 1176071.9699 | 2617672.7521 | 1176073.2523 | 2617672.3579 | 1176073.4685
60 | 2617655.0198 | 1176005.2477 | 2617656.4314 | 1175999.8887
61 | 2617615.3918 | 1176148.5124 | 2617611.3502 | 1176155.6477 | 2617609.3795 | 1176159.5907
62 | 2617572.9703 | 1176209.374 | 2617574.8487 | 1176207.3563 | 2617581.0542 | 1176202.3496 | 2617589.0492 | 1176194.3467 | 2617593.5299 | 1176188.428
63 | 2617572.9703 | 1176209.374 | 2617563.8554 | 1176210.8816
64 | 2617563.8554 | 1176210.8816 | 2617568.046 | 1176206.6186

## bus_geodata
| x | y | coords
0 | 2617558.3416 | 1176112.7701
1 | 2617534.9501 | 1176124.8417
2 | 2617567.0663 | 1176106.4009
3 | 2617500.5178 | 1176144.3088
4 | 2617578.7716 | 1176095.2574
5 | 2617486.5187 | 1176152.0486
6 | 2617581.1577 | 1176092.2768
7 | 2617482.8894 | 1176148.9921
8 | 2617505.3527 | 1176183.0525
9 | 2617593.8587 | 1176076.4116
10 | 2617487.8476 | 1176018.1219
11 | 2617481.3854 | 1176031.866
12 | 2617475.2109 | 1176045.4058
13 | 2617473.753 | 1176055.2733
14 | 2617596.2849 | 1176073.3809
15 | 2617605.9974 | 1176063.4589
16 | 2617617.0851 | 1176054.5552
17 | 2617638.8099 | 1176106.3835
18 | 2617628.9446 | 1176124.5784
19 | 2617642.216 | 1176100.2362
20 | 2617623.6322 | 1176133.9644
21 | 2617621.0435 | 1176051.9533
22 | 2617652.537 | 1176087.2954
23 | 2617508.3522 | 1176182.7929
24 | 2617517.7234 | 1176181.982
25 | 2617529.2542 | 1176179.8538
26 | 2617537.1369 | 1176176.5904
27 | 2617545.696 | 1176172.0972
28 | 2617480.2289 | 1176120.5004
29 | 2617498.9912 | 1176110.0838
30 | 2617519.537 | 1176096.4342
31 | 2617480.1248 | 1176119.3134
32 | 2617542.4832 | 1176077.169
33 | 2617477.1493 | 1176088.5223
34 | 2617546.6481 | 1176072.9499
35 | 2617451.6505 | 1176096.8526
36 | 2617486.3384 | 1176051.1019
37 | 2617507.3516 | 1176042.4533
38 | 2617855.6578 | 1176236.1841
39 | 2617908.4482 | 1176172.2882
40 | 2617829.0707 | 1176142.8154
41 | 2617650.0902 | 1176021.9196
42 | 2617654.3842 | 1176007.6604
43 | 2617811.1267 | 1176136.9704
44 | 2617817.8732 | 1176150.376
45 | 2617760.8094 | 1176141.4215
46 | 2617694.1517 | 1176159.448
47 | 2617689.5509 | 1176138.546
48 | 2617680.0541 | 1176134.7495
49 | 2617694.4265 | 1176119.7768
50 | 2617568.4495 | 1176153.0543
51 | 2617604.9408 | 1176168.4718
52 | 2617566.5978 | 1176154.7962
53 | 2617720.7536 | 1176072.4485
54 | 2617672.3579 | 1176073.4685
55 | 2617665.7074 | 1176077.1163
56 | 2617675.8888 | 1176071.9699
57 | 2617655.0198 | 1176005.2477
58 | 2617656.4314 | 1175999.8887
59 | 2617615.3918 | 1176148.5124
60 | 2617609.3795 | 1176159.5907
61 | 2617551.0196 | 1176169.0629
62 | 2617572.9703 | 1176209.374
63 | 2617593.5299 | 1176188.428
64 | 2617563.8554 | 1176210.8816
65 | 2617568.046 | 1176206.6186
66 | 2617486.5187 | 1176152.0486

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1