## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_934-8_1_3_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_934-8_1_3_node_60 | 0.4 | n |  | TRUE
2 | bus_LV_934-8_1_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_934-8_1_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_934-8_1_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_934-8_1_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_934-8_1_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_934-8_1_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_934-8_1_3_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_934-8_1_3_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_934-8_1_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_934-8_1_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_934-8_1_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_934-8_1_3_node_52 | 0.4 | n |  | TRUE
14 | bus_LV_934-8_1_3_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_934-8_1_3_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_934-8_1_3_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_934-8_1_3_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_934-8_1_3_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_934-8_1_3_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_934-8_1_3_node_65 | 0.4 | n |  | TRUE
21 | bus_LV_934-8_1_3_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_934-8_1_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_934-8_1_3_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_934-8_1_3_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_934-8_1_3_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_934-8_1_3_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_934-8_1_3_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_934-8_1_3_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_934-8_1_3_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_934-8_1_3_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_934-8_1_3_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_934-8_1_3_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_934-8_1_3_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_934-8_1_3_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_934-8_1_3_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_934-8_1_3_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_934-8_1_3_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_934-8_1_3_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_934-8_1_3_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_934-8_1_3_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_934-8_1_3_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_934-8_1_3_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_934-8_1_3_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_934-8_1_3_node_83 | 0.4 | n |  | TRUE
45 | bus_LV_934-8_1_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_934-8_1_3_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_934-8_1_3_node_113 | 0.4 | n |  | TRUE
48 | bus_LV_934-8_1_3_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_934-8_1_3_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_934-8_1_3_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_934-8_1_3_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_934-8_1_3_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_934-8_1_3_node_108 | 0.4 | n |  | TRUE
54 | bus_LV_934-8_1_3_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_934-8_1_3_node_106 | 0.4 | n |  | TRUE
56 | bus_LV_934-8_1_3_node_107 | 0.4 | n |  | TRUE
57 | bus_LV_934-8_1_3_node_109 | 0.4 | n |  | TRUE
58 | bus_LV_934-8_1_3_node_110 | 0.4 | n |  | TRUE
59 | bus_LV_934-8_1_3_node_111 | 0.4 | n |  | TRUE
60 | bus_LV_934-8_1_3_node_116 | 0.4 | n |  | TRUE
61 | bus_MV_107_1_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_934-8_1_3_load_129 | 0 | 0.0063031 | 0.0015797 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_934-8_1_3_load_60 | 1 | 0.0050067 | 0.0012548 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_934-8_1_3_load_5 | 2 | 0.0061524 | 0.0015419 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_934-8_1_3_load_6 | 3 | 0.0049032 | 0.0012289 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_934-8_1_3_load_8 | 5 | 0.0047059 | 0.0011794 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_934-8_1_3_load_9 | 6 | 0.0017349 | 0.0004348 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_934-8_1_3_load_34 | 8 | 0.00084007 | 0.00021054 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_934-8_1_3_load_32 | 9 | 0.0024269 | 0.00060824 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_934-8_1_3_load_30 | 10 | 0.00604 | 0.0015138 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_934-8_1_3_load_31 | 11 | 0.0022079 | 0.00055335 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_934-8_1_3_load_33 | 12 | 0.0072203 | 0.0018096 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_934-8_1_3_load_52 | 13 | 0.0075642 | 0.0018958 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_934-8_1_3_load_36 | 14 | 0.014342 | 0.0035944 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_934-8_1_3_load_37 | 15 | 0.0046216 | 0.0011583 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_934-8_1_3_load_38 | 16 | 0.0046211 | 0.0011582 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_934-8_1_3_load_39 | 17 | 0.0046178 | 0.0011573 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_934-8_1_3_load_40 | 18 | 0.0046217 | 0.0011583 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_934-8_1_3_load_53 | 21 | 0.0026374 | 0.000661 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_934-8_1_3_load_54 | 22 | 0.0090351 | 0.0022644 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_934-8_1_3_load_55 | 24 | 0.0046181 | 0.0011574 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_934-8_1_3_load_56 | 25 | 0.0039736 | 0.00099588 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_934-8_1_3_load_58 | 27 | 0.0035573 | 0.00089156 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_934-8_1_3_load_59 | 28 | 0.0027331 | 0.00068498 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_934-8_1_3_load_61 | 29 | 0.0022649 | 0.00056764 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_934-8_1_3_load_80 | 30 | 0.0050222 | 0.0012587 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_934-8_1_3_load_62 | 31 | 0.0037453 | 0.00093866 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_934-8_1_3_load_66 | 33 | 0.0040336 | 0.0010109 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_934-8_1_3_load_73 | 34 | 0.0063901 | 0.0016015 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_934-8_1_3_load_74 | 35 | 0.003548 | 0.00088922 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_934-8_1_3_load_67 | 36 | 0.00047234 | 0.00011838 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_934-8_1_3_load_68 | 37 | 0.0039245 | 0.00098358 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_934-8_1_3_load_70 | 39 | 0.00071171 | 0.00017837 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_934-8_1_3_load_71 | 40 | 0.00050855 | 0.00012745 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_934-8_1_3_load_72 | 41 | 0.0024416 | 0.00061193 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_934-8_1_3_load_77 | 42 | 0.0027731 | 0.00069501 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_934-8_1_3_load_76 | 43 | 0.0070982 | 0.001779 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_934-8_1_3_load_83 | 44 | 0.0026824 | 0.00067227 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_934-8_1_3_load_113 | 47 | 0.0067041 | 0.0016802 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_934-8_1_3_load_81 | 48 | 0.0005357 | 0.00013426 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_934-8_1_3_load_82 | 49 | 0.00060455 | 0.00015151 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_934-8_1_3_load_86 | 50 | 0.0018286 | 0.0004583 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_934-8_1_3_load_84 | 51 | 0.0025733 | 0.00064492 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_934-8_1_3_load_108 | 53 | 0.022914 | 0.0057428 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_934-8_1_3_load_105 | 54 | 0.0048376 | 0.0012124 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_934-8_1_3_load_106 | 55 | 0.0262 | 0.0065663 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_934-8_1_3_load_109 | 57 | 0.0026654 | 0.00066801 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_934-8_1_3_load_110 | 58 | 0.0057223 | 0.0014341 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_934-8_1_3_load_111 | 59 | 0.0023083 | 0.00057851 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_934-8_1_3_load_116 | 60 | 0.002767 | 0.00069348 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_934-8_1_3_line_0 |  | 0 | 1 | 0.0081412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_934-8_1_3_line_1 |  | 1 | 26 | 0.063329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_934-8_1_3_line_2 |  | 2 | 3 | 0.011118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_934-8_1_3_line_3 |  | 2 | 4 | 0.032565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_934-8_1_3_line_4 |  | 3 | 5 | 0.011537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_934-8_1_3_line_5 |  | 4 | 6 | 0.042003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_934-8_1_3_line_6 |  | 4 | 7 | 0.005972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_934-8_1_3_line_7 |  | 6 | 8 | 0.00013165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_934-8_1_3_line_8 |  | 7 | 9 | 0.012654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_934-8_1_3_line_9 |  | 9 | 10 | 0.0034457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_934-8_1_3_line_10 |  | 10 | 11 | 0.0023147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_934-8_1_3_line_11 |  | 11 | 12 | 0.034161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_934-8_1_3_line_12 |  | 12 | 13 | 0.0039343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_934-8_1_3_line_13 |  | 13 | 21 | 0.0090937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_934-8_1_3_line_14 |  | 14 | 15 | 0.00080589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_934-8_1_3_line_15 |  | 14 | 16 | 0.008775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_934-8_1_3_line_16 |  | 15 | 17 | 0.0049941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_934-8_1_3_line_17 |  | 16 | 18 | 0.0029342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_934-8_1_3_line_18 |  | 17 | 19 | 0.018301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_934-8_1_3_line_19 |  | 18 | 20 | 0.013061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_934-8_1_3_line_20 |  | 19 | 23 | 0.014181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_934-8_1_3_line_21 |  | 20 | 34 | 0.0065312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_934-8_1_3_line_22 |  | 20 | 32 | 0.00959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_934-8_1_3_line_23 |  | 21 | 22 | 0.012389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_934-8_1_3_line_24 |  | 22 | 23 | 0.014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_934-8_1_3_line_25 |  | 24 | 25 | 0.0093498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_934-8_1_3_line_26 |  | 24 | 26 | 0.0032268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_934-8_1_3_line_27 |  | 25 | 27 | 0.017394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_934-8_1_3_line_28 |  | 26 | 28 | 0.0041268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_934-8_1_3_line_29 |  | 27 | 29 | 0.015742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_934-8_1_3_line_30 |  | 28 | 30 | 0.014976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_934-8_1_3_line_31 |  | 30 | 48 | 0.0073404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_934-8_1_3_line_32 |  | 31 | 32 | 0.046467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_934-8_1_3_line_33 |  | 32 | 33 | 0.046762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_934-8_1_3_line_34 |  | 33 | 35 | 0.0010731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_934-8_1_3_line_35 |  | 34 | 43 | 0.01263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_934-8_1_3_line_36 |  | 36 | 37 | 0.0097441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_934-8_1_3_line_37 |  | 36 | 38 | 0.015096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_934-8_1_3_line_38 |  | 37 | 39 | 0.020901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_934-8_1_3_line_39 |  | 38 | 40 | 0.028816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_934-8_1_3_line_40 |  | 38 | 41 | 0.01811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_934-8_1_3_line_41 |  | 39 | 42 | 0.021678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_934-8_1_3_line_42 |  | 40 | 43 | 0.00093597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_934-8_1_3_line_43 |  | 41 | 44 | 0.0014289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_934-8_1_3_line_44 |  | 42 | 45 | 0.016985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_934-8_1_3_line_45 |  | 44 | 51 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_934-8_1_3_line_46 |  | 45 | 46 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_934-8_1_3_line_47 |  | 45 | 47 | 0.016894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_934-8_1_3_line_48 |  | 46 | 52 | 0.041174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_934-8_1_3_line_49 |  | 46 | 50 | 0.0029061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_934-8_1_3_line_50 |  | 48 | 49 | 0.01574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_934-8_1_3_line_51 |  | 49 | 50 | 0.016423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_934-8_1_3_line_52 |  | 52 | 53 | 0.034862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_934-8_1_3_line_53 |  | 53 | 55 | 0.025485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_934-8_1_3_line_54 |  | 54 | 55 | 0.012853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_934-8_1_3_line_55 |  | 54 | 56 | 0.013166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_934-8_1_3_line_56 |  | 56 | 57 | 0.0090238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_934-8_1_3_line_57 |  | 56 | 58 | 0.04911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_934-8_1_3_line_58 |  | 57 | 59 | 0.0092977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_934-8_1_3_line_59 |  | 58 | 60 | 0.0017146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_934-8_1_3_trafo_59 | 0.63 MVA 20/0.4 kV | 61 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2617578.5522 | 1175988.7556 | 2617581.5887 | 1175981.2019
1 | 2617603.3895 | 1175921.983 | 2617603.1477 | 1175926.2511 | 2617601.9504 | 1175930.5498 | 2617581.5887 | 1175981.2019
2 | 2617503.1816 | 1175984.8424 | 2617498.618 | 1175994.9809
3 | 2617516.5483 | 1175955.1466 | 2617503.1816 | 1175984.8424
4 | 2617493.7993 | 1176005.4632 | 2617496.1541 | 1176000.4549 | 2617498.618 | 1175994.9809
5 | 2617516.5483 | 1175955.1466 | 2617494.0524 | 1175971.4562 | 2617485.5482 | 1175975.7559 | 2617481.1702 | 1175977.4317
6 | 2617518.3228 | 1175949.4489 | 2617518.1524 | 1175950.2488 | 2617516.5483 | 1175955.1466
7 | 2617481.0472 | 1175977.4788 | 2617481.1702 | 1175977.4317
8 | 2617518.3228 | 1175949.4489 | 2617519.1517 | 1175945.6494 | 2617520.6268 | 1175937.0093
9 | 2617521.2067 | 1175933.6127 | 2617520.6268 | 1175937.0093
10 | 2617521.2067 | 1175933.6127 | 2617521.5963 | 1175931.331
11 | 2617526.629 | 1175897.5572 | 2617525.3492 | 1175909.3489 | 2617521.5963 | 1175931.331
12 | 2617527.0536 | 1175893.6458 | 2617527.0536 | 1175893.6458 | 2617526.629 | 1175897.5572
13 | 2617527.0536 | 1175893.6458 | 2617527.1488 | 1175884.5526
14 | 2617557.3916 | 1175841.0003 | 2617556.6561 | 1175841.3296
15 | 2617557.3916 | 1175841.0003 | 2617565.4006 | 1175837.4147
16 | 2617556.6561 | 1175841.3296 | 2617552.0979 | 1175843.3703
17 | 2617568.0427 | 1175836.1409 | 2617566.6517 | 1175836.8545 | 2617565.4006 | 1175837.4147
18 | 2617535.3949 | 1175850.8483 | 2617552.0979 | 1175843.3703
19 | 2617579.8019 | 1175830.4674 | 2617574.4521 | 1175832.853 | 2617568.0427 | 1175836.1409
20 | 2617522.9316 | 1175857.6488 | 2617530.3509 | 1175853.2459 | 2617535.3949 | 1175850.8483
21 | 2617579.8019 | 1175830.4674 | 2617580.7509 | 1175830.0478 | 2617586.0394 | 1175828.561
22 | 2617579.8019 | 1175830.4674 | 2617579.3523 | 1175822.1508 | 2617579.0577 | 1175820.9271
23 | 2617525.9628 | 1175872.2203 | 2617527.1488 | 1175884.5526 | 2617527.1488 | 1175884.5526
24 | 2617522.9316 | 1175857.6488 | 2617525.2542 | 1175865.8486 | 2617525.8506 | 1175871.053 | 2617525.9628 | 1175872.2203
25 | 2617600.5669 | 1175923.5457 | 2617592.3215 | 1175927.9537
26 | 2617603.3895 | 1175921.983 | 2617602.2487 | 1175922.6467 | 2617600.5669 | 1175923.5457
27 | 2617592.3215 | 1175927.9537 | 2617580.3468 | 1175934.3553 | 2617576.8504 | 1175935.8843
28 | 2617603.3895 | 1175921.983 | 2617606.9145 | 1175919.8371
29 | 2617576.8504 | 1175935.8843 | 2617562.4273 | 1175942.1915
30 | 2617619.2606 | 1175911.3863 | 2617612.1491 | 1175916.6503 | 2617606.9145 | 1175919.8371
31 | 2617619.2606 | 1175911.3863 | 2617624.8494 | 1175907.2494 | 2617625.1432 | 1175906.9973
32 | 2617579.0577 | 1175820.9271 | 2617578.1504 | 1175817.556 | 2617574.2474 | 1175811.3526 | 2617567.8502 | 1175803.352 | 2617550.5361 | 1175784.7629
33 | 2617579.0577 | 1175820.9271 | 2617581.3226 | 1175820.1221 | 2617583.3235 | 1175818.0714 | 2617584.7276 | 1175813.6288 | 2617587.3733 | 1175802.831 | 2617587.2774 | 1175793.7705 | 2617593.7605 | 1175778.4281
34 | 2617593.7605 | 1175778.4281 | 2617594.1782 | 1175777.4396
35 | 2617586.0394 | 1175828.561 | 2617593.549 | 1175826.45 | 2617597.9208 | 1175824.398
36 | 2617634.0739 | 1175823.6983 | 2617639.8958 | 1175831.5119
37 | 2617624.8539 | 1175811.7563 | 2617626.3226 | 1175813.9728 | 2617633.428 | 1175822.8315 | 2617634.0739 | 1175823.6983
38 | 2617646.2279 | 1175847.3259 | 2617646.2279 | 1175847.3259 | 2617649.7277 | 1175845.0239 | 2617644.8255 | 1175838.1282 | 2617639.8958 | 1175831.5119
39 | 2617624.8539 | 1175811.7563 | 2617598.7681 | 1175824.0003
40 | 2617624.8539 | 1175811.7563 | 2617641.3285 | 1175804.2346
41 | 2617646.2279 | 1175847.3259 | 2617655.4286 | 1175861.0265 | 2617658.3888 | 1175865.2711
42 | 2617597.9208 | 1175824.398 | 2617598.7681 | 1175824.0003
43 | 2617642.6284 | 1175803.6411 | 2617641.3285 | 1175804.2346
44 | 2617667.7187 | 1175879.4498 | 2617666.4261 | 1175877.1226 | 2617664.0752 | 1175873.4249 | 2617658.3888 | 1175865.2711
45 | 2617642.6284 | 1175803.6411 | 2617651.1522 | 1175799.7494 | 2617658.8255 | 1175796.4878
46 | 2617653.2526 | 1175886.2552 | 2617667.0528 | 1175879.748 | 2617667.7187 | 1175879.4498
47 | 2617667.7187 | 1175879.4498 | 2617683.3227 | 1175872.976
48 | 2617624.8491 | 1175915.1534 | 2617629.2525 | 1175909.6524 | 2617648.6508 | 1175894.2458 | 2617651.2501 | 1175891.452 | 2617652.4495 | 1175889.0543 | 2617653.2526 | 1175886.2552
49 | 2617653.2526 | 1175886.2552 | 2617650.6501 | 1175887.5483
50 | 2617637.0887 | 1175896.7472 | 2617625.1432 | 1175906.9973
51 | 2617637.0887 | 1175896.7472 | 2617638.9487 | 1175895.1512 | 2617644.4483 | 1175891.1541 | 2617650.6501 | 1175887.5483 | 2617650.6501 | 1175887.5483
52 | 2617624.8491 | 1175915.1534 | 2617632.6787 | 1175919.423 | 2617631.825 | 1175921.2214 | 2617632.4281 | 1175921.5011 | 2617637.2751 | 1175923.7275 | 2617636.3748 | 1175925.7815 | 2617637.1152 | 1175926.106 | 2617641.7563 | 1175928.1985 | 2617650.7188 | 1175932.193
53 | 2617650.7188 | 1175932.193 | 2617658.0764 | 1175935.4723 | 2617656.0235 | 1175937.0226 | 2617665.0792 | 1175948.8006
54 | 2617673.4046 | 1175955.8632 | 2617671.1262 | 1175952.8305 | 2617669.1733 | 1175954.1254 | 2617665.0792 | 1175948.8006
55 | 2617681.3131 | 1175966.3896 | 2617673.4046 | 1175955.8632
56 | 2617681.3131 | 1175966.3896 | 2617674.5332 | 1175972.3445
57 | 2617681.3131 | 1175966.3896 | 2617692.5471 | 1175956.5509 | 2617696.4529 | 1175953.9499 | 2617722.1504 | 1175940.7521 | 2617722.6617 | 1175940.4456
58 | 2617667.6719 | 1175978.6157 | 2617670.6538 | 1175975.7519 | 2617674.5332 | 1175972.3445
59 | 2617722.6617 | 1175940.4456 | 2617724.1322 | 1175939.564

## bus_geodata
| x | y | coords
0 | 2617578.5522 | 1175988.7556
1 | 2617581.5887 | 1175981.2019
2 | 2617503.1816 | 1175984.8424
3 | 2617498.618 | 1175994.9809
4 | 2617516.5483 | 1175955.1466
5 | 2617493.7993 | 1176005.4632
6 | 2617481.1702 | 1175977.4317
7 | 2617518.3228 | 1175949.4489
8 | 2617481.0472 | 1175977.4788
9 | 2617520.6268 | 1175937.0093
10 | 2617521.2067 | 1175933.6127
11 | 2617521.5963 | 1175931.331
12 | 2617526.629 | 1175897.5572
13 | 2617527.0536 | 1175893.6458
14 | 2617557.3916 | 1175841.0003
15 | 2617556.6561 | 1175841.3296
16 | 2617565.4006 | 1175837.4147
17 | 2617552.0979 | 1175843.3703
18 | 2617568.0427 | 1175836.1409
19 | 2617535.3949 | 1175850.8483
20 | 2617579.8019 | 1175830.4674
21 | 2617527.1488 | 1175884.5526
22 | 2617525.9628 | 1175872.2203
23 | 2617522.9316 | 1175857.6488
24 | 2617600.5669 | 1175923.5457
25 | 2617592.3215 | 1175927.9537
26 | 2617603.3895 | 1175921.983
27 | 2617576.8504 | 1175935.8843
28 | 2617606.9145 | 1175919.8371
29 | 2617562.4273 | 1175942.1915
30 | 2617619.2606 | 1175911.3863
31 | 2617550.5361 | 1175784.7629
32 | 2617579.0577 | 1175820.9271
33 | 2617593.7605 | 1175778.4281
34 | 2617586.0394 | 1175828.561
35 | 2617594.1782 | 1175777.4396
36 | 2617634.0739 | 1175823.6983
37 | 2617639.8958 | 1175831.5119
38 | 2617624.8539 | 1175811.7563
39 | 2617646.2279 | 1175847.3259
40 | 2617598.7681 | 1175824.0003
41 | 2617641.3285 | 1175804.2346
42 | 2617658.3888 | 1175865.2711
43 | 2617597.9208 | 1175824.398
44 | 2617642.6284 | 1175803.6411
45 | 2617667.7187 | 1175879.4498
46 | 2617653.2526 | 1175886.2552
47 | 2617683.3227 | 1175872.976
48 | 2617625.1432 | 1175906.9973
49 | 2617637.0887 | 1175896.7472
50 | 2617650.6501 | 1175887.5483
51 | 2617658.8255 | 1175796.4878
52 | 2617624.8491 | 1175915.1534
53 | 2617650.7188 | 1175932.193
54 | 2617673.4046 | 1175955.8632
55 | 2617665.0792 | 1175948.8006
56 | 2617681.3131 | 1175966.3896
57 | 2617674.5332 | 1175972.3445
58 | 2617722.6617 | 1175940.4456
59 | 2617667.6719 | 1175978.6157
60 | 2617724.1322 | 1175939.564
61 | 2617603.3895 | 1175921.983

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1