## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_939-12_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_939-12_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_939-12_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_939-12_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_939-12_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_939-12_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_939-12_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_939-12_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_939-12_0_5_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_939-12_0_5_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_939-12_0_5_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_939-12_0_5_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_939-12_0_5_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_939-12_0_5_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_939-12_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_939-12_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_939-12_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_939-12_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_939-12_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_939-12_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_939-12_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_939-12_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_939-12_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_939-12_0_5_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_939-12_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_939-12_0_5_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_939-12_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_939-12_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_939-12_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_939-12_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_939-12_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_939-12_0_5_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_939-12_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_939-12_0_5_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_939-12_0_5_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_939-12_0_5_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_939-12_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_939-12_0_5_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_939-12_0_5_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_939-12_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_939-12_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_939-12_0_5_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_939-12_0_5_node_84 | 0.4 | n |  | TRUE
43 | bus_LV_939-12_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_939-12_0_5_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_939-12_0_5_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_939-12_0_5_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_939-12_0_5_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_939-12_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_939-12_0_5_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_939-12_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_939-12_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_939-12_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_939-12_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_939-12_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_939-12_0_5_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_939-12_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_939-12_0_5_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_939-12_0_5_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_939-12_0_5_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_939-12_0_5_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_939-12_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_939-12_0_5_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_939-12_0_5_node_90 | 0.4 | n |  | TRUE
64 | bus_LV_939-12_0_5_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_939-12_0_5_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_939-12_0_5_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_939-12_0_5_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_939-12_0_5_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_939-12_0_5_node_50 | 0.4 | n |  | TRUE
70 | bus_LV_939-12_0_5_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_939-12_0_5_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_939-12_0_5_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_939-12_0_5_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_939-12_0_5_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_939-12_0_5_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_939-12_0_5_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_939-12_0_5_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_939-12_0_5_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_939-12_0_5_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_939-12_0_5_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_939-12_0_5_node_97 | 0.4 | n |  | TRUE
82 | bus_LV_939-12_0_5_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_939-12_0_5_node_96 | 0.4 | n |  | TRUE
84 | bus_LV_939-12_0_5_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_939-12_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_939-12_0_5_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_939-12_0_5_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_939-12_0_5_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_939-12_0_5_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_939-12_0_5_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_939-12_0_5_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_939-12_0_5_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_939-12_0_5_node_95 | 0.4 | n |  | TRUE
94 | bus_MV_107_0_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_939-12_0_5_load_0 | 0 | 0.013384 | 0.0033543 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_939-12_0_5_load_4 | 4 | 0.010577 | 0.0026509 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_939-12_0_5_load_5 | 5 | 0.0044065 | 0.0011044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_939-12_0_5_load_6 | 6 | 0.01024 | 0.0025664 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_939-12_0_5_load_38 | 8 | 0.00385 | 0.00096491 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_939-12_0_5_load_35 | 9 | 0.010005 | 0.0025075 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_939-12_0_5_load_29 | 10 | 0.0043749 | 0.0010965 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_939-12_0_5_load_28 | 11 | 0.0074284 | 0.0018617 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_939-12_0_5_load_36 | 12 | 0.0097351 | 0.0024399 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_939-12_0_5_load_27 | 13 | 0.0043301 | 0.0010852 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_939-12_0_5_load_8 | 14 | 0.0075317 | 0.0018876 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_939-12_0_5_load_9 | 15 | 0.0062166 | 0.001558 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_939-12_0_5_load_10 | 16 | 0.015103 | 0.003785 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_939-12_0_5_load_13 | 19 | 0.0073935 | 0.001853 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_939-12_0_5_load_14 | 20 | 0.0074484 | 0.0018668 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_939-12_0_5_load_15 | 21 | 0.003559 | 0.00089197 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_939-12_0_5_load_16 | 22 | 0.012851 | 0.0032208 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_939-12_0_5_load_32 | 23 | 0.006092 | 0.0015268 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_939-12_0_5_load_19 | 24 | 0.0058965 | 0.0014778 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_939-12_0_5_load_30 | 25 | 0.0074621 | 0.0018702 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_939-12_0_5_load_17 | 26 | 0.011693 | 0.0029304 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_939-12_0_5_load_18 | 27 | 0.057643 | 0.014447 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_939-12_0_5_load_20 | 28 | 0.0070434 | 0.0017652 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_939-12_0_5_load_22 | 30 | 0.005474 | 0.0013719 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_939-12_0_5_load_23 | 31 | 0.0021576 | 0.00054075 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_939-12_0_5_load_25 | 32 | 0.0025764 | 0.0006457 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_939-12_0_5_load_74 | 34 | 0.0023426 | 0.00058711 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_939-12_0_5_load_26 | 36 | 0.0026599 | 0.00066663 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_939-12_0_5_load_77 | 37 | 0.0028619 | 0.00071727 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_939-12_0_5_load_31 | 38 | 0.0050955 | 0.001277 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_939-12_0_5_load_33 | 39 | 0.0037181 | 0.00093184 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_939-12_0_5_load_84 | 42 | 0.006408 | 0.001606 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_939-12_0_5_load_37 | 43 | 0.0097607 | 0.0024463 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_939-12_0_5_load_88 | 45 | 0.0099418 | 0.0024917 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_939-12_0_5_load_87 | 46 | 0.0051426 | 0.0012888 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_939-12_0_5_load_39 | 47 | 0.01312 | 0.0032882 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_939-12_0_5_load_40 | 48 | 0.017242 | 0.0043213 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_939-12_0_5_load_42 | 50 | 0.0034302 | 0.00085968 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_939-12_0_5_load_44 | 52 | 0.0033264 | 0.00083367 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_939-12_0_5_load_45 | 53 | 0.0028975 | 0.00072618 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_939-12_0_5_load_47 | 55 | 0.019264 | 0.0048279 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_939-12_0_5_load_79 | 57 | 0.0021673 | 0.00054319 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_939-12_0_5_load_82 | 58 | 0.0022085 | 0.0005535 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_939-12_0_5_load_80 | 59 | 0.012991 | 0.0032558 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_939-12_0_5_load_56 | 61 | 0.0091257 | 0.0022871 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_939-12_0_5_load_78 | 62 | 0.0051332 | 0.0012865 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_939-12_0_5_load_90 | 63 | 0.002522 | 0.00063207 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_939-12_0_5_load_81 | 64 | 0.013644 | 0.0034195 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_939-12_0_5_load_62 | 65 | 0.016561 | 0.0041506 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_939-12_0_5_load_63 | 66 | 0.00913 | 0.0022882 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_939-12_0_5_load_57 | 67 | 0.0070225 | 0.00176 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_939-12_0_5_load_49 | 68 | 0.0096367 | 0.0024152 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_939-12_0_5_load_50 | 69 | 0.0096382 | 0.0024156 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_939-12_0_5_load_51 | 70 | 0.0097416 | 0.0024415 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_939-12_0_5_load_52 | 71 | 0.010357 | 0.0025957 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_939-12_0_5_load_53 | 72 | 0.010915 | 0.0027355 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_939-12_0_5_load_54 | 73 | 0.010358 | 0.0025959 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_939-12_0_5_load_55 | 74 | 0.0091299 | 0.0022882 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_939-12_0_5_load_60 | 76 | 0.0032122 | 0.00080505 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_939-12_0_5_load_61 | 77 | 0.0081528 | 0.0020433 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_939-12_0_5_load_67 | 78 | 0.0033191 | 0.00083184 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_939-12_0_5_load_64 | 79 | 0.0097389 | 0.0024408 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_939-12_0_5_load_75 | 80 | 0.0045568 | 0.0011421 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_939-12_0_5_load_97 | 81 | 0.0030173 | 0.00075621 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_939-12_0_5_load_65 | 82 | 0.0081484 | 0.0020422 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_939-12_0_5_load_96 | 83 | 0.0026808 | 0.00067187 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_939-12_0_5_load_68 | 84 | 0.0039909 | 0.0010002 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_939-12_0_5_load_69 | 85 | 0.0019412 | 0.00048651 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_939-12_0_5_load_70 | 86 | 0.0094117 | 0.0023588 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_939-12_0_5_load_71 | 87 | 0.0031778 | 0.00079643 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_939-12_0_5_load_76 | 88 | 0.0052371 | 0.0013125 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_939-12_0_5_load_86 | 89 | 0.004989 | 0.0012504 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_939-12_0_5_load_92 | 90 | 0.0088134 | 0.0022088 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_939-12_0_5_load_93 | 91 | 0.0026156 | 0.00065553 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_939-12_0_5_load_94 | 92 | 0.0096853 | 0.0024274 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_939-12_0_5_load_95 | 93 | 0.0025247 | 0.00063276 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_939-12_0_5_line_0 |  | 0 | 1 | 0.020919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_939-12_0_5_line_1 |  | 0 | 2 | 0.014473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_939-12_0_5_line_2 |  | 1 | 3 | 0.032893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_939-12_0_5_line_3 |  | 2 | 4 | 0.0042419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_939-12_0_5_line_4 |  | 3 | 5 | 0.020846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_939-12_0_5_line_5 |  | 3 | 6 | 0.021929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_939-12_0_5_line_6 |  | 4 | 7 | 0.019785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_939-12_0_5_line_7 |  | 5 | 8 | 0.003529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_939-12_0_5_line_8 |  | 6 | 9 | 0.018331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_939-12_0_5_line_9 |  | 7 | 10 | 0.016927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_939-12_0_5_line_10 |  | 8 | 11 | 0.015807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_939-12_0_5_line_11 |  | 9 | 12 | 0.011308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_939-12_0_5_line_12 |  | 10 | 13 | 0.011812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_939-12_0_5_line_13 |  | 11 | 21 | 0.0056659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_939-12_0_5_line_14 |  | 12 | 43 | 0.00077743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_939-12_0_5_line_15 |  | 14 | 15 | 0.0030487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_939-12_0_5_line_16 |  | 14 | 16 | 0.024244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_939-12_0_5_line_17 |  | 15 | 17 | 0.016089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_939-12_0_5_line_18 |  | 16 | 18 | 0.020232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_939-12_0_5_line_19 |  | 17 | 19 | 0.0053437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_939-12_0_5_line_20 |  | 17 | 20 | 0.016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_939-12_0_5_line_21 |  | 18 | 21 | 0.011628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_939-12_0_5_line_22 |  | 18 | 22 | 0.025065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_939-12_0_5_line_23 |  | 19 | 23 | 0.018275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_939-12_0_5_line_24 |  | 20 | 24 | 0.024332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_939-12_0_5_line_25 |  | 23 | 25 | 0.020748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_939-12_0_5_line_26 |  | 24 | 26 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_939-12_0_5_line_27 |  | 25 | 38 | 0.0023384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_939-12_0_5_line_28 |  | 26 | 27 | 0.023658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_939-12_0_5_line_29 |  | 27 | 28 | 0.022713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_939-12_0_5_line_30 |  | 27 | 29 | 0.059804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_939-12_0_5_line_31 |  | 29 | 30 | 0.018158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_939-12_0_5_line_32 |  | 30 | 31 | 0.057481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_939-12_0_5_line_33 |  | 31 | 32 | 0.021951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_939-12_0_5_line_34 |  | 31 | 33 | 0.026475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_939-12_0_5_line_35 |  | 32 | 36 | 0.0030636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_939-12_0_5_line_36 |  | 33 | 34 | 0.016932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_939-12_0_5_line_37 |  | 33 | 35 | 0.04786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_939-12_0_5_line_38 |  | 34 | 37 | 0.019704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_939-12_0_5_line_39 |  | 35 | 87 | 0.025316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_939-12_0_5_line_40 |  | 37 | 88 | 0.025289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_939-12_0_5_line_41 |  | 38 | 39 | 0.024348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_939-12_0_5_line_42 |  | 39 | 40 | 0.029673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_939-12_0_5_line_43 |  | 40 | 41 | 0.038087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_939-12_0_5_line_44 |  | 41 | 42 | 0.036836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_939-12_0_5_line_45 |  | 43 | 44 | 0.064883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_939-12_0_5_line_46 |  | 44 | 45 | 0.058554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_939-12_0_5_line_47 |  | 45 | 46 | 0.031813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_939-12_0_5_line_48 |  | 46 | 89 | 0.020544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_939-12_0_5_line_49 |  | 47 | 48 | 0.038345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_939-12_0_5_line_50 |  | 47 | 49 | 0.019087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_939-12_0_5_line_51 |  | 48 | 50 | 0.023725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_939-12_0_5_line_52 |  | 49 | 51 | 0.015357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_939-12_0_5_line_53 |  | 49 | 52 | 0.010549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_939-12_0_5_line_54 |  | 50 | 53 | 0.0089891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_939-12_0_5_line_55 |  | 51 | 54 | 0.035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_939-12_0_5_line_56 |  | 51 | 55 | 0.026244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_939-12_0_5_line_57 |  | 52 | 56 | 0.012827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_939-12_0_5_line_58 |  | 53 | 57 | 0.00785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_939-12_0_5_line_59 |  | 54 | 58 | 0.0048308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_939-12_0_5_line_60 |  | 55 | 59 | 0.006639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_939-12_0_5_line_61 |  | 56 | 60 | 0.018498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_939-12_0_5_line_62 |  | 56 | 61 | 0.050441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_939-12_0_5_line_63 |  | 57 | 62 | 0.0078367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_939-12_0_5_line_64 |  | 58 | 63 | 0.00053711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_939-12_0_5_line_65 |  | 59 | 64 | 0.016868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_939-12_0_5_line_66 |  | 60 | 65 | 0.025462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_939-12_0_5_line_67 |  | 60 | 66 | 0.023265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_939-12_0_5_line_68 |  | 61 | 67 | 0.0014225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_939-12_0_5_line_69 |  | 62 | 88 | 0.018872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_939-12_0_5_line_70 |  | 65 | 80 | 0.01534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_939-12_0_5_line_71 |  | 66 | 74 | 0.046165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_939-12_0_5_line_72 |  | 67 | 75 | 0.013795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_939-12_0_5_line_73 |  | 68 | 69 | 0.007886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_939-12_0_5_line_74 |  | 68 | 70 | 0.0087012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_939-12_0_5_line_75 |  | 69 | 71 | 0.0087779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_939-12_0_5_line_76 |  | 70 | 72 | 0.039825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_939-12_0_5_line_77 |  | 71 | 73 | 0.0078873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_939-12_0_5_line_78 |  | 72 | 74 | 0.039623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_939-12_0_5_line_79 |  | 75 | 76 | 0.035492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_939-12_0_5_line_80 |  | 75 | 77 | 0.015771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_939-12_0_5_line_81 |  | 76 | 78 | 0.0035693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_939-12_0_5_line_82 |  | 77 | 79 | 0.012323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_939-12_0_5_line_83 |  | 78 | 81 | 0.0053327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_939-12_0_5_line_84 |  | 79 | 82 | 0.0074168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_939-12_0_5_line_85 |  | 81 | 83 | 0.0047971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_939-12_0_5_line_86 |  | 83 | 93 | 0.0043838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_939-12_0_5_line_87 |  | 84 | 85 | 0.020615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_939-12_0_5_line_88 |  | 84 | 86 | 0.018036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_939-12_0_5_line_89 |  | 85 | 87 | 0.023862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_939-12_0_5_line_90 |  | 90 | 91 | 0.022285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_939-12_0_5_line_91 |  | 90 | 92 | 0.0018585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_939-12_0_5_line_92 |  | 91 | 93 | 0.0010246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_939-12_0_5_trafo_26 | 0.63 MVA 20/0.4 kV | 94 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2614921.6944 | 1180664.3765 | 2614918.3593 | 1180657.2535 | 2614917.5774 | 1180649.1696 | 2614917.9761 | 1180644.254
1 | 2614919.2903 | 1180629.8417 | 2614918.4835 | 1180637.9772 | 2614918.184 | 1180641.6895 | 2614917.9761 | 1180644.254
2 | 2614891.1542 | 1180666.8911 | 2614899.6288 | 1180671.1254 | 2614914.4814 | 1180668.8165 | 2614921.6944 | 1180664.3765
3 | 2614919.2903 | 1180629.8417 | 2614919.065 | 1180625.6058
4 | 2614891.1542 | 1180666.8911 | 2614875.8131 | 1180652.7777
5 | 2614891.1542 | 1180666.8911 | 2614873.1782 | 1180679.4507
6 | 2614916.7756 | 1180605.9788 | 2614918.6554 | 1180617.9118 | 2614918.8816 | 1180622.159 | 2614919.065 | 1180625.6058
7 | 2614875.8131 | 1180652.7777 | 2614873.2159 | 1180650.3884
8 | 2614873.1782 | 1180679.4507 | 2614872.5405 | 1180679.8962 | 2614860.2035 | 1180692.3822
9 | 2614916.7756 | 1180605.9788 | 2614899.9864 | 1180603.825
10 | 2614861.5826 | 1180639.6862 | 2614873.2159 | 1180650.3884
11 | 2614852.2894 | 1180700.4531 | 2614852.4118 | 1180700.2681 | 2614860.2035 | 1180692.3822
12 | 2614897.8085 | 1180592.2158 | 2614899.9864 | 1180603.825
13 | 2614857.4128 | 1180635.8501 | 2614861.5826 | 1180639.6862
14 | 2614851.8605 | 1180701.1016 | 2614852.2894 | 1180700.4531
15 | 2614814.0289 | 1180600.3157 | 2614811.6416 | 1180598.4195
16 | 2614814.0289 | 1180600.3157 | 2614833.0131 | 1180615.3944
17 | 2614799.0428 | 1180588.4125 | 2614811.6416 | 1180598.4195
18 | 2614848.8556 | 1180627.9777 | 2614833.0131 | 1180615.3944
19 | 2614799.0428 | 1180588.4125 | 2614794.8775 | 1180585.0651
20 | 2614799.0428 | 1180588.4125 | 2614807.7052 | 1180574.9565
21 | 2614848.8556 | 1180627.9777 | 2614857.4128 | 1180635.8501
22 | 2614848.8556 | 1180627.9777 | 2614865.1328 | 1180608.9167
23 | 2614780.6329 | 1180573.6174 | 2614794.8775 | 1180585.0651
24 | 2614820.3133 | 1180554.1584 | 2614814.7979 | 1180563.9387 | 2614807.7052 | 1180574.9565
25 | 2614780.6329 | 1180573.6174 | 2614764.4603 | 1180560.6204
26 | 2614833.6674 | 1180546.7314 | 2614820.3133 | 1180554.1584 | 2614820.3133 | 1180554.1584
27 | 2614762.6376 | 1180559.1556 | 2614764.4603 | 1180560.6204
28 | 2614833.6674 | 1180546.7314 | 2614847.5171 | 1180539.0288 | 2614851.054 | 1180545.9926
29 | 2614851.054 | 1180545.9926 | 2614861.3395 | 1180566.2435
30 | 2614851.054 | 1180545.9926 | 2614884.7859 | 1180496.6101
31 | 2614884.7859 | 1180496.6101 | 2614901.6843 | 1180489.9662
32 | 2614956.457 | 1180473.488 | 2614949.6005 | 1180474.0591 | 2614930.1359 | 1180478.7799 | 2614901.6843 | 1180489.9662
33 | 2614973.7725 | 1180477.887 | 2614964.491 | 1180478.1983 | 2614963.7252 | 1180472.8825 | 2614956.457 | 1180473.488
34 | 2614949.0999 | 1180448.0557 | 2614956.457 | 1180473.488
35 | 2614976.8343 | 1180477.7843 | 2614973.7725 | 1180477.887
36 | 2614949.0999 | 1180448.0557 | 2614965.9916 | 1180446.8814
37 | 2614935.1293 | 1180402.4754 | 2614946.5098 | 1180433.0638 | 2614947.6282 | 1180437.8912 | 2614949.0999 | 1180448.0557
38 | 2614985.6485 | 1180445.5149 | 2614965.9916 | 1180446.8814
39 | 2614935.1293 | 1180402.4754 | 2614959.8547 | 1180397.0382
40 | 2615010.8893 | 1180443.9662 | 2614998.9667 | 1180444.589 | 2614985.6485 | 1180445.5149
41 | 2614762.6376 | 1180559.1556 | 2614752.935 | 1180551.3581 | 2614743.574 | 1180544.0098
42 | 2614720.2331 | 1180525.6871 | 2614743.574 | 1180544.0098
43 | 2614720.2331 | 1180525.6871 | 2614689.7266 | 1180548.6022
44 | 2614689.7266 | 1180548.6022 | 2614713.7161 | 1180576.6085
45 | 2614851.8605 | 1180701.1016 | 2614796.1559 | 1180734.3693
46 | 2614796.1559 | 1180734.3693 | 2614790.9172 | 1180727.9754 | 2614758.3128 | 1180689.6893
47 | 2614758.3128 | 1180689.6893 | 2614737.6869 | 1180665.469
48 | 2614724.367 | 1180649.828 | 2614737.6869 | 1180665.469
49 | 2615112.1053 | 1180421.9333 | 2615111.0033 | 1180422.947 | 2615105.2083 | 1180428.2796 | 2615077.7337 | 1180437.4754
50 | 2615126.1532 | 1180409.0112 | 2615112.1053 | 1180421.9333
51 | 2615077.7337 | 1180437.4754 | 2615075.2743 | 1180438.2986 | 2615054.3126 | 1180440.9712
52 | 2615126.1532 | 1180409.0112 | 2615117.5241 | 1180396.2941
53 | 2615126.1532 | 1180409.0112 | 2615133.109 | 1180416.9426
54 | 2615054.3126 | 1180440.9712 | 2615045.3956 | 1180442.1081
55 | 2615117.5241 | 1180396.2941 | 2615110.4549 | 1180385.871 | 2615097.8611 | 1180367.3077
56 | 2615117.5241 | 1180396.2941 | 2615133.5949 | 1180375.5465
57 | 2615141.5599 | 1180426.5923 | 2615133.7842 | 1180417.7126 | 2615133.109 | 1180416.9426
58 | 2615037.5613 | 1180442.5727 | 2615044.6607 | 1180442.2018 | 2615045.3956 | 1180442.1081
59 | 2615097.8611 | 1180367.3077 | 2615095.06 | 1180363.4987 | 2615094.9991 | 1180363.416
60 | 2615133.5949 | 1180375.5465 | 2615137.6604 | 1180370.2978
61 | 2615141.5599 | 1180426.5923 | 2615158.9137 | 1180420.0548
62 | 2615141.5599 | 1180426.5923 | 2615127.7547 | 1180440.3313 | 2615125.0519 | 1180443.0148 | 2615112.5582 | 1180467.1253
63 | 2615029.7353 | 1180442.9816 | 2615037.5613 | 1180442.5727
64 | 2615094.9991 | 1180363.416 | 2615094.6808 | 1180362.9833
65 | 2615148.4766 | 1180357.3584 | 2615139.8604 | 1180367.4577 | 2615137.6604 | 1180370.2978
66 | 2615158.9137 | 1180420.0548 | 2615168.559 | 1180417.4445 | 2615180.8526 | 1180415.5967 | 2615183.8664 | 1180415.2159
67 | 2615158.9137 | 1180420.0548 | 2615171.9665 | 1180426.0797 | 2615178.0683 | 1180429.3635 | 2615179.6273 | 1180430.5502
68 | 2615112.5582 | 1180467.1253 | 2615111.9038 | 1180468.3883
69 | 2615010.8893 | 1180443.9662 | 2615029.7353 | 1180442.9816
70 | 2615183.8664 | 1180415.2159 | 2615199.0857 | 1180413.2927
71 | 2615205.57 | 1180467.7538 | 2615199.824 | 1180455.0649 | 2615189.3871 | 1180438.4856 | 2615188.7786 | 1180437.5169 | 2615179.6273 | 1180430.5502
72 | 2615107.2823 | 1180481.3454 | 2615110.4391 | 1180471.2148 | 2615111.9038 | 1180468.3883
73 | 2615215.2631 | 1180553.9071 | 2615213.8172 | 1180561.6594
74 | 2615215.2631 | 1180553.9071 | 2615216.8584 | 1180545.3535
75 | 2615213.8172 | 1180561.6594 | 2615212.2079 | 1180570.2885
76 | 2615215.3937 | 1180505.8996 | 2615218.769 | 1180535.1094 | 2615216.8584 | 1180545.3535
77 | 2615210.7618 | 1180578.0421 | 2615212.2079 | 1180570.2885
78 | 2615205.57 | 1180467.7538 | 2615210.0699 | 1180477.6913 | 2615215.0619 | 1180503.028 | 2615215.3937 | 1180505.8996
79 | 2615107.2823 | 1180481.3454 | 2615077.923 | 1180478.5481 | 2615073.7637 | 1180474.2244
80 | 2615107.2823 | 1180481.3454 | 2615105.6259 | 1180487.0664 | 2615102.8932 | 1180496.4932
81 | 2615070.1953 | 1180474.3048 | 2615073.7637 | 1180474.2244
82 | 2615102.8932 | 1180496.4932 | 2615099.4625 | 1180508.3285
83 | 2615064.864 | 1180474.4248 | 2615070.1953 | 1180474.3048
84 | 2615095.7604 | 1180514.7553 | 2615099.4625 | 1180508.3285 | 2615099.4625 | 1180508.3285
85 | 2615060.0681 | 1180474.5328 | 2615064.864 | 1180474.4248
86 | 2615055.6854 | 1180474.6315 | 2615060.0681 | 1180474.5328
87 | 2615003.2941 | 1180387.4859 | 2614983.1603 | 1180391.9133
88 | 2615020.9089 | 1180383.6124 | 2615003.2941 | 1180387.4859
89 | 2614959.8547 | 1180397.0382 | 2614983.1603 | 1180391.9133
90 | 2615033.4056 | 1180478.552 | 2615049.1991 | 1180478.1538 | 2615054.6611 | 1180474.6546
91 | 2615031.5477 | 1180478.5989 | 2615033.4056 | 1180478.552
92 | 2615054.6611 | 1180474.6546 | 2615054.6611 | 1180474.6546 | 2615055.6854 | 1180474.6315

## bus_geodata
| x | y | coords
0 | 2614917.9761 | 1180644.254
1 | 2614921.6944 | 1180664.3765
2 | 2614919.2903 | 1180629.8417
3 | 2614891.1542 | 1180666.8911
4 | 2614919.065 | 1180625.6058
5 | 2614875.8131 | 1180652.7777
6 | 2614873.1782 | 1180679.4507
7 | 2614916.7756 | 1180605.9788
8 | 2614873.2159 | 1180650.3884
9 | 2614860.2035 | 1180692.3822
10 | 2614899.9864 | 1180603.825
11 | 2614861.5826 | 1180639.6862
12 | 2614852.2894 | 1180700.4531
13 | 2614897.8085 | 1180592.2158
14 | 2614814.0289 | 1180600.3157
15 | 2614811.6416 | 1180598.4195
16 | 2614833.0131 | 1180615.3944
17 | 2614799.0428 | 1180588.4125
18 | 2614848.8556 | 1180627.9777
19 | 2614794.8775 | 1180585.0651
20 | 2614807.7052 | 1180574.9565
21 | 2614857.4128 | 1180635.8501
22 | 2614865.1328 | 1180608.9167
23 | 2614780.6329 | 1180573.6174
24 | 2614820.3133 | 1180554.1584
25 | 2614764.4603 | 1180560.6204
26 | 2614833.6674 | 1180546.7314
27 | 2614851.054 | 1180545.9926
28 | 2614861.3395 | 1180566.2435
29 | 2614884.7859 | 1180496.6101
30 | 2614901.6843 | 1180489.9662
31 | 2614956.457 | 1180473.488
32 | 2614973.7725 | 1180477.887
33 | 2614949.0999 | 1180448.0557
34 | 2614965.9916 | 1180446.8814
35 | 2614935.1293 | 1180402.4754
36 | 2614976.8343 | 1180477.7843
37 | 2614985.6485 | 1180445.5149
38 | 2614762.6376 | 1180559.1556
39 | 2614743.574 | 1180544.0098
40 | 2614720.2331 | 1180525.6871
41 | 2614689.7266 | 1180548.6022
42 | 2614713.7161 | 1180576.6085
43 | 2614851.8605 | 1180701.1016
44 | 2614796.1559 | 1180734.3693
45 | 2614758.3128 | 1180689.6893
46 | 2614737.6869 | 1180665.469
47 | 2615112.1053 | 1180421.9333
48 | 2615077.7337 | 1180437.4754
49 | 2615126.1532 | 1180409.0112
50 | 2615054.3126 | 1180440.9712
51 | 2615117.5241 | 1180396.2941
52 | 2615133.109 | 1180416.9426
53 | 2615045.3956 | 1180442.1081
54 | 2615097.8611 | 1180367.3077
55 | 2615133.5949 | 1180375.5465
56 | 2615141.5599 | 1180426.5923
57 | 2615037.5613 | 1180442.5727
58 | 2615094.9991 | 1180363.416
59 | 2615137.6604 | 1180370.2978
60 | 2615158.9137 | 1180420.0548
61 | 2615112.5582 | 1180467.1253
62 | 2615029.7353 | 1180442.9816
63 | 2615094.6808 | 1180362.9833
64 | 2615148.4766 | 1180357.3584
65 | 2615183.8664 | 1180415.2159
66 | 2615179.6273 | 1180430.5502
67 | 2615111.9038 | 1180468.3883
68 | 2615215.2631 | 1180553.9071
69 | 2615213.8172 | 1180561.6594
70 | 2615216.8584 | 1180545.3535
71 | 2615212.2079 | 1180570.2885
72 | 2615215.3937 | 1180505.8996
73 | 2615210.7618 | 1180578.0421
74 | 2615205.57 | 1180467.7538
75 | 2615107.2823 | 1180481.3454
76 | 2615073.7637 | 1180474.2244
77 | 2615102.8932 | 1180496.4932
78 | 2615070.1953 | 1180474.3048
79 | 2615099.4625 | 1180508.3285
80 | 2615199.0857 | 1180413.2927
81 | 2615064.864 | 1180474.4248
82 | 2615095.7604 | 1180514.7553
83 | 2615060.0681 | 1180474.5328
84 | 2615003.2941 | 1180387.4859
85 | 2614983.1603 | 1180391.9133
86 | 2615020.9089 | 1180383.6124
87 | 2614959.8547 | 1180397.0382
88 | 2615010.8893 | 1180443.9662
89 | 2614724.367 | 1180649.828
90 | 2615033.4056 | 1180478.552
91 | 2615054.6611 | 1180474.6546
92 | 2615031.5477 | 1180478.5989
93 | 2615055.6854 | 1180474.6315
94 | 2614884.7859 | 1180496.6101

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1