## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_939-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_939-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_939-17_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_939-17_0_4_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_939-17_0_4_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_939-17_0_4_node_108 | 0.4 | n |  | TRUE
6 | bus_LV_939-17_0_4_node_109 | 0.4 | n |  | TRUE
7 | bus_LV_939-17_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_939-17_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_939-17_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_939-17_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_939-17_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_939-17_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_939-17_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_939-17_0_4_node_88 | 0.4 | n |  | TRUE
15 | bus_LV_939-17_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_939-17_0_4_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_939-17_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_939-17_0_4_node_86 | 0.4 | n |  | TRUE
19 | bus_LV_939-17_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_939-17_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_939-17_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_939-17_0_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_939-17_0_4_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_939-17_0_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_939-17_0_4_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_939-17_0_4_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_939-17_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_939-17_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_939-17_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_939-17_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_939-17_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_939-17_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_939-17_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_939-17_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_939-17_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_939-17_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_939-17_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_939-17_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_939-17_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_939-17_0_4_node_84 | 0.4 | n |  | TRUE
41 | bus_LV_939-17_0_4_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_939-17_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_939-17_0_4_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_939-17_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_939-17_0_4_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_939-17_0_4_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_939-17_0_4_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_939-17_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_939-17_0_4_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_939-17_0_4_node_64 | 0.4 | n |  | TRUE
51 | bus_LV_939-17_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_939-17_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_939-17_0_4_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_939-17_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_939-17_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_939-17_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_939-17_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_939-17_0_4_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_939-17_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_939-17_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_939-17_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_939-17_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_939-17_0_4_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_939-17_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_939-17_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_939-17_0_4_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_939-17_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_939-17_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_939-17_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_939-17_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_939-17_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_939-17_0_4_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_939-17_0_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_939-17_0_4_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_939-17_0_4_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_939-17_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_939-17_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_939-17_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_939-17_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_939-17_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_939-17_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_939-17_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_939-17_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_939-17_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_939-17_0_4_node_111 | 0.4 | n |  | TRUE
86 | bus_LV_939-17_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_939-17_0_4_node_110 | 0.4 | n |  | TRUE
88 | bus_LV_939-17_0_4_node_102 | 0.4 | n |  | TRUE
89 | bus_LV_939-17_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_939-17_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_939-17_0_4_node_101 | 0.4 | n |  | TRUE
92 | bus_LV_939-17_0_4_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_939-17_0_4_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_939-17_0_4_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_939-17_0_4_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_939-17_0_4_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_939-17_0_4_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_939-17_0_4_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_939-17_0_4_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_939-17_0_4_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_939-17_0_4_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_939-17_0_4_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_939-17_0_4_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_939-17_0_4_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_939-17_0_4_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_939-17_0_4_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_939-17_0_4_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_939-17_0_4_node_112 | 0.4 | n |  | TRUE
109 | bus_LV_939-17_0_4_node_113 | 0.4 | n |  | TRUE
110 | bus_LV_939-17_0_4_node_114 | 0.4 | n |  | TRUE
111 | bus_MV_107_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_939-17_0_4_load_0 | 0 | 0.070271 | 0.017612 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_939-17_0_4_load_3 | 2 | 0.0087076 | 0.0021823 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_939-17_0_4_load_21 | 4 | 0.0068734 | 0.0017226 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_939-17_0_4_load_108 | 5 | 0.0020747 | 0.00051998 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_939-17_0_4_load_109 | 6 | 0.0021457 | 0.00053777 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_939-17_0_4_load_5 | 7 | 0.013379 | 0.003353 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_939-17_0_4_load_6 | 9 | 0.012364 | 0.0030988 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_939-17_0_4_load_8 | 10 | 0.012399 | 0.0031075 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_939-17_0_4_load_9 | 11 | 0.0036198 | 0.00090721 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_939-17_0_4_load_10 | 12 | 0.0027689 | 0.00069395 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_939-17_0_4_load_88 | 14 | 0.002637 | 0.0006609 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_939-17_0_4_load_12 | 15 | 0.0027781 | 0.00069625 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_939-17_0_4_load_16 | 16 | 0.0032509 | 0.00081475 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_939-17_0_4_load_17 | 17 | 0.0033016 | 0.00082747 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_939-17_0_4_load_11 | 19 | 0.014664 | 0.0036751 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_939-17_0_4_load_13 | 20 | 0.0021462 | 0.00053789 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_939-17_0_4_load_51 | 24 | 0.0025448 | 0.00063779 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_939-17_0_4_load_50 | 25 | 0.0061891 | 0.0015511 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_939-17_0_4_load_42 | 26 | 0.0034714 | 0.00087002 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_939-17_0_4_load_32 | 32 | 0.021348 | 0.0053503 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_939-17_0_4_load_18 | 33 | 0.0038304 | 0.00095999 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_939-17_0_4_load_19 | 34 | 0.0028034 | 0.0007026 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_939-17_0_4_load_20 | 35 | 0.0035239 | 0.00088317 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_939-17_0_4_load_26 | 36 | 0.0022084 | 0.00055347 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_939-17_0_4_load_25 | 37 | 0.0024334 | 0.00060987 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_939-17_0_4_load_24 | 39 | 0.0020203 | 0.00050634 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_939-17_0_4_load_84 | 40 | 0.0020206 | 0.0005064 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_939-17_0_4_load_36 | 42 | 0.011966 | 0.0029989 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_939-17_0_4_load_62 | 43 | 0.0027224 | 0.00068229 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_939-17_0_4_load_37 | 44 | 0.0059694 | 0.0014961 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_939-17_0_4_load_61 | 45 | 0.0025961 | 0.00065065 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_939-17_0_4_load_67 | 46 | 0.0029284 | 0.00073391 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_939-17_0_4_load_63 | 47 | 0.028928 | 0.00725 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_939-17_0_4_load_33 | 48 | 0.0030252 | 0.0007582 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_939-17_0_4_load_93 | 49 | 0.0027104 | 0.00067928 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_939-17_0_4_load_47 | 52 | 0.0022732 | 0.00056973 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_939-17_0_4_load_55 | 53 | 0.007055 | 0.0017681 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_939-17_0_4_load_38 | 54 | 0.0034076 | 0.00085403 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_939-17_0_4_load_39 | 55 | 0.0013151 | 0.0003296 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_939-17_0_4_load_41 | 57 | 0.0026819 | 0.00067214 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_939-17_0_4_load_53 | 58 | 0.0027901 | 0.00069927 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_939-17_0_4_load_54 | 59 | 0.0131 | 0.0032831 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_939-17_0_4_load_43 | 60 | 0.0029242 | 0.00073287 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_939-17_0_4_load_44 | 61 | 0.0034917 | 0.00087511 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_939-17_0_4_load_46 | 62 | 0.0025217 | 0.00063199 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_939-17_0_4_load_52 | 63 | 0.0026841 | 0.00067269 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_939-17_0_4_load_59 | 64 | 0.0030318 | 0.00075984 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_939-17_0_4_load_60 | 66 | 0.0027705 | 0.00069435 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_939-17_0_4_load_58 | 67 | 0.0029604 | 0.00074194 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_939-17_0_4_load_65 | 69 | 0.022253 | 0.005577 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_939-17_0_4_load_66 | 70 | 0.0048038 | 0.001204 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_939-17_0_4_load_72 | 71 | 0.0048766 | 0.0012222 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_939-17_0_4_load_73 | 72 | 0.0048236 | 0.0012089 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_939-17_0_4_load_79 | 73 | 0.0074265 | 0.0018612 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_939-17_0_4_load_92 | 75 | 0.0027197 | 0.00068162 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_939-17_0_4_load_68 | 76 | 0.043224 | 0.010833 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_939-17_0_4_load_69 | 77 | 0.002207 | 0.00055313 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_939-17_0_4_load_70 | 78 | 0.0074299 | 0.0018621 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_939-17_0_4_load_71 | 79 | 0.002434 | 0.00061002 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_939-17_0_4_load_74 | 80 | 0.0071002 | 0.0017795 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_939-17_0_4_load_75 | 81 | 0.0022513 | 0.00056424 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_939-17_0_4_load_76 | 82 | 0.004859 | 0.0012178 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_939-17_0_4_load_77 | 83 | 0.0027935 | 0.00070011 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_939-17_0_4_load_78 | 84 | 0.0047257 | 0.0011844 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_939-17_0_4_load_111 | 85 | 0.0022962 | 0.00057549 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_939-17_0_4_load_110 | 87 | 0.0019872 | 0.00049803 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_939-17_0_4_load_102 | 88 | 0.0026271 | 0.0006584 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_939-17_0_4_load_81 | 89 | 0.0026757 | 0.00067059 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_939-17_0_4_load_85 | 90 | 0.0032008 | 0.00080218 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_939-17_0_4_load_101 | 91 | 0.0028851 | 0.00072306 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_939-17_0_4_load_87 | 92 | 0.0026642 | 0.00066772 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_939-17_0_4_load_89 | 93 | 0.0028677 | 0.00071871 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_939-17_0_4_load_90 | 94 | 0.0028677 | 0.00071871 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_939-17_0_4_load_91 | 95 | 0.0027412 | 0.00068702 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_939-17_0_4_load_94 | 96 | 0.0026422 | 0.00066219 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_939-17_0_4_load_95 | 97 | 0.0037185 | 0.00093195 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_939-17_0_4_load_96 | 98 | 0.0052785 | 0.0013229 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_939-17_0_4_load_97 | 99 | 0.0040948 | 0.0010263 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_939-17_0_4_load_98 | 100 | 0.0041658 | 0.001044 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_939-17_0_4_load_103 | 101 | 0.0042895 | 0.0010751 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_939-17_0_4_load_99 | 102 | 0.0027574 | 0.00069106 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_939-17_0_4_load_104 | 103 | 0.0048266 | 0.0012097 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_939-17_0_4_load_100 | 104 | 0.002928 | 0.00073383 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_939-17_0_4_load_105 | 105 | 0.0046474 | 0.0011647 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_939-17_0_4_load_106 | 106 | 0.0043797 | 0.0010976 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_939-17_0_4_load_107 | 107 | 0.0042217 | 0.0010581 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_939-17_0_4_load_112 | 108 | 0.0046856 | 0.0011743 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_939-17_0_4_load_113 | 109 | 0.0048538 | 0.0012165 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_939-17_0_4_load_114 | 110 | 0.0052413 | 0.0013136 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_939-17_0_4_line_0 |  | 0 | 1 | 0.047443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_939-17_0_4_line_1 |  | 1 | 2 | 0.013875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_939-17_0_4_line_2 |  | 2 | 3 | 0.039619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_939-17_0_4_line_3 |  | 3 | 4 | 0.020086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_939-17_0_4_line_4 |  | 4 | 38 | 0.017588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_939-17_0_4_line_5 |  | 5 | 6 | 0.0053494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_939-17_0_4_line_6 |  | 6 | 87 | 0.0068067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_939-17_0_4_line_7 |  | 7 | 8 | 0.016834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_939-17_0_4_line_8 |  | 8 | 11 | 0.019865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_939-17_0_4_line_9 |  | 8 | 12 | 0.0038357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_939-17_0_4_line_10 |  | 9 | 10 | 0.00034919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_939-17_0_4_line_11 |  | 10 | 13 | 0.02757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_939-17_0_4_line_12 |  | 11 | 14 | 0.00024626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_939-17_0_4_line_13 |  | 12 | 15 | 0.00040371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_939-17_0_4_line_14 |  | 13 | 16 | 0.0094559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_939-17_0_4_line_15 |  | 13 | 17 | 0.0062605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_939-17_0_4_line_16 |  | 14 | 18 | 0.012346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_939-17_0_4_line_17 |  | 15 | 19 | 0.015029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_939-17_0_4_line_18 |  | 16 | 27 | 0.017259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_939-17_0_4_line_19 |  | 17 | 28 | 0.020518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_939-17_0_4_line_20 |  | 18 | 92 | 0.014531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_939-17_0_4_line_21 |  | 18 | 90 | 0.011838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_939-17_0_4_line_22 |  | 19 | 20 | 0.0084612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_939-17_0_4_line_23 |  | 20 | 21 | 0.011369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_939-17_0_4_line_24 |  | 21 | 22 | 0.019057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_939-17_0_4_line_25 |  | 22 | 25 | 0.017687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_939-17_0_4_line_26 |  | 22 | 26 | 0.022685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_939-17_0_4_line_27 |  | 23 | 24 | 0.006338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_939-17_0_4_line_28 |  | 23 | 25 | 0.010394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_939-17_0_4_line_29 |  | 24 | 66 | 0.001662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_939-17_0_4_line_30 |  | 26 | 56 | 0.0093472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_939-17_0_4_line_31 |  | 27 | 29 | 0.012445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_939-17_0_4_line_32 |  | 27 | 30 | 0.013798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_939-17_0_4_line_33 |  | 28 | 31 | 0.005299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_939-17_0_4_line_34 |  | 28 | 32 | 0.030863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_939-17_0_4_line_35 |  | 29 | 42 | 0.018787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_939-17_0_4_line_36 |  | 30 | 43 | 0.015163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_939-17_0_4_line_37 |  | 31 | 46 | 0.018037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_939-17_0_4_line_38 |  | 31 | 47 | 0.015431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_939-17_0_4_line_39 |  | 32 | 48 | 0.0032238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_939-17_0_4_line_40 |  | 33 | 34 | 0.011918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_939-17_0_4_line_41 |  | 34 | 35 | 0.00032948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_939-17_0_4_line_42 |  | 35 | 36 | 0.0055295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_939-17_0_4_line_43 |  | 36 | 37 | 0.0060888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_939-17_0_4_line_44 |  | 37 | 38 | 0.017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_939-17_0_4_line_45 |  | 38 | 39 | 0.015293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_939-17_0_4_line_46 |  | 39 | 40 | 0.026099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_939-17_0_4_line_47 |  | 40 | 41 | 0.015398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_939-17_0_4_line_48 |  | 41 | 72 | 0.00079073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_939-17_0_4_line_49 |  | 41 | 79 | 0.017876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_939-17_0_4_line_50 |  | 42 | 44 | 0.0073674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_939-17_0_4_line_51 |  | 43 | 45 | 0.0012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_939-17_0_4_line_52 |  | 44 | 51 | 0.0030507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_939-17_0_4_line_53 |  | 46 | 49 | 0.0063694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_939-17_0_4_line_54 |  | 47 | 50 | 0.013655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_939-17_0_4_line_55 |  | 49 | 75 | 0.0061312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_939-17_0_4_line_56 |  | 50 | 69 | 0.017165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_939-17_0_4_line_57 |  | 50 | 70 | 0.020904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_939-17_0_4_line_58 |  | 51 | 52 | 0.003974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_939-17_0_4_line_59 |  | 52 | 53 | 0.015538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_939-17_0_4_line_60 |  | 53 | 65 | 0.047691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_939-17_0_4_line_61 |  | 54 | 55 | 0.0082458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_939-17_0_4_line_62 |  | 54 | 56 | 0.010392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_939-17_0_4_line_63 |  | 55 | 57 | 0.012127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_939-17_0_4_line_64 |  | 57 | 58 | 0.020898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_939-17_0_4_line_65 |  | 58 | 59 | 0.0041715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_939-17_0_4_line_66 |  | 60 | 61 | 0.026302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_939-17_0_4_line_67 |  | 61 | 62 | 0.023614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_939-17_0_4_line_68 |  | 62 | 63 | 0.0074457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_939-17_0_4_line_69 |  | 63 | 64 | 0.014726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_939-17_0_4_line_70 |  | 64 | 67 | 0.0081829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_939-17_0_4_line_71 |  | 65 | 68 | 0.024225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_939-17_0_4_line_72 |  | 67 | 68 | 0.084743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_939-17_0_4_line_73 |  | 69 | 71 | 0.016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_939-17_0_4_line_74 |  | 71 | 72 | 0.018011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_939-17_0_4_line_75 |  | 73 | 74 | 0.026085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_939-17_0_4_line_76 |  | 74 | 89 | 0.015849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_939-17_0_4_line_77 |  | 74 | 86 | 0.022332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_939-17_0_4_line_78 |  | 75 | 95 | 0.0061699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_939-17_0_4_line_79 |  | 76 | 77 | 0.0010714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_939-17_0_4_line_80 |  | 76 | 78 | 0.0048893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_939-17_0_4_line_81 |  | 77 | 79 | 0.0061741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_939-17_0_4_line_82 |  | 80 | 81 | 0.001337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_939-17_0_4_line_83 |  | 80 | 82 | 0.0054773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_939-17_0_4_line_84 |  | 81 | 83 | 0.0057639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_939-17_0_4_line_85 |  | 82 | 84 | 0.0054854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_939-17_0_4_line_86 |  | 83 | 85 | 0.010863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_939-17_0_4_line_87 |  | 84 | 86 | 0.020238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_939-17_0_4_line_88 |  | 85 | 87 | 0.0054795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_939-17_0_4_line_89 |  | 86 | 88 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_939-17_0_4_line_90 |  | 88 | 91 | 1.9401e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_939-17_0_4_line_91 |  | 89 | 90 | 0.0013888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_939-17_0_4_line_92 |  | 91 | 104 | 1.2787e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_939-17_0_4_line_93 |  | 92 | 93 | 0.0059777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_939-17_0_4_line_94 |  | 93 | 94 | 0.0062001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_939-17_0_4_line_95 |  | 94 | 95 | 0.014206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_939-17_0_4_line_96 |  | 96 | 97 | 0.0073904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_939-17_0_4_line_97 |  | 96 | 98 | 0.019311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_939-17_0_4_line_98 |  | 97 | 99 | 7.6437e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_939-17_0_4_line_99 |  | 98 | 100 | 0.00083002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_939-17_0_4_line_100 |  | 99 | 101 | 9.8438e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_939-17_0_4_line_101 |  | 100 | 102 | 0.00045587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_939-17_0_4_line_102 |  | 101 | 103 | 7.3824e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_939-17_0_4_line_103 |  | 102 | 104 | 1.3332e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_939-17_0_4_line_104 |  | 103 | 105 | 8.4704e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_939-17_0_4_line_105 |  | 105 | 106 | 0.002985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_939-17_0_4_line_106 |  | 106 | 107 | 0.00026642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_939-17_0_4_line_107 |  | 107 | 108 | 0.00020789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_939-17_0_4_line_108 |  | 108 | 109 | 0.00017145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_939-17_0_4_line_109 |  | 109 | 110 | 0.00026627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_939-17_0_4_trafo_79 | 0.63 MVA 20/0.4 kV | 111 | 73 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2614706.5548 | 1180184.8788 | 2614686.3745 | 1180227.8154
1 | 2614706.5548 | 1180184.8788 | 2614704.8148 | 1180184.2853 | 2614694.0425 | 1180178.915
2 | 2614658.5852 | 1180161.2386 | 2614694.0425 | 1180178.915
3 | 2614658.5852 | 1180161.2386 | 2614649.7128 | 1180179.2587
4 | 2614641.9439 | 1180195.0376 | 2614649.7128 | 1180179.2587
5 | 2614710.3117 | 1180257.6945 | 2614708.0349 | 1180262.5351
6 | 2614708.0349 | 1180262.5351 | 2614705.1378 | 1180268.6945
7 | 2614638.0512 | 1180382.3576 | 2614622.8766 | 1180375.0694
8 | 2614638.0512 | 1180382.3576 | 2614646.6197 | 1180364.436
9 | 2614638.0512 | 1180382.3576 | 2614636.4452 | 1180385.841
10 | 2614592.7869 | 1180360.6176 | 2614593.1017 | 1180360.7688
11 | 2614567.9349 | 1180348.6814 | 2614592.7869 | 1180360.6176
12 | 2614646.6197 | 1180364.436 | 2614646.7259 | 1180364.2139 | 2614646.7259 | 1180364.2139
13 | 2614636.2762 | 1180386.2076 | 2614636.4452 | 1180385.841
14 | 2614567.9349 | 1180348.6814 | 2614563.8268 | 1180357.1983
15 | 2614567.9349 | 1180348.6814 | 2614570.6556 | 1180343.043
16 | 2614652.0307 | 1180353.0655 | 2614646.7259 | 1180364.2139
17 | 2614629.9835 | 1180399.8563 | 2614636.2762 | 1180386.2076
18 | 2614556.3285 | 1180372.7435 | 2614563.8268 | 1180357.1983
19 | 2614579.5721 | 1180324.5639 | 2614570.6556 | 1180343.043
20 | 2614652.0307 | 1180353.0655 | 2614638.9019 | 1180346.8383
21 | 2614652.0307 | 1180353.0655 | 2614657.0448 | 1180342.3414
22 | 2614626.441 | 1180407.5401 | 2614629.9835 | 1180399.8563
23 | 2614621.4526 | 1180417.7355 | 2614622.334 | 1180416.448 | 2614626.441 | 1180407.5401
24 | 2614613.9786 | 1180435.2708 | 2614617.4198 | 1180427.1972 | 2614621.4526 | 1180417.7355
25 | 2614613.9786 | 1180435.2708 | 2614601.3904 | 1180422.8465
26 | 2614613.9786 | 1180435.2708 | 2614630.4215 | 1180450.899
27 | 2614593.993 | 1180415.5455 | 2614589.4842 | 1180411.0912
28 | 2614593.993 | 1180415.5455 | 2614601.3904 | 1180422.8465
29 | 2614588.3019 | 1180409.9231 | 2614589.4842 | 1180411.0912
30 | 2614637.1967 | 1180457.3385 | 2614630.4215 | 1180450.899
31 | 2614547.3165 | 1180378.8693 | 2614547.7797 | 1180376.8471 | 2614548.8151 | 1180375.0487 | 2614550.3384 | 1180373.6405 | 2614552.2118 | 1180372.7446 | 2614554.2747 | 1180372.4272 | 2614556.3285 | 1180372.7435
32 | 2614559.4939 | 1180383.9791 | 2614560.713 | 1180382.0255 | 2614561.2301 | 1180379.7923 | 2614560.9836 | 1180377.5016 | 2614559.9957 | 1180375.4204 | 2614558.3882 | 1180373.7712 | 2614556.3285 | 1180372.7435
33 | 2614579.5721 | 1180324.5639 | 2614581.8979 | 1180319.8004
34 | 2614579.5721 | 1180324.5639 | 2614551.6119 | 1180311.4959
35 | 2614547.3165 | 1180378.8693 | 2614528.618 | 1180377.0448
36 | 2614559.4939 | 1180383.9791 | 2614570.85 | 1180394.0261
37 | 2614581.8979 | 1180319.8004 | 2614598.1944 | 1180327.5301
38 | 2614581.8979 | 1180319.8004 | 2614588.666 | 1180305.9333
39 | 2614548.6913 | 1180310.1309 | 2614551.6119 | 1180311.4959
40 | 2614605.1513 | 1180176.2875 | 2614615.7697 | 1180181.6988
41 | 2614615.7697 | 1180181.6988 | 2614616.0633 | 1180181.8484
42 | 2614620.9899 | 1180184.3591 | 2614616.0633 | 1180181.8484
43 | 2614626.4149 | 1180187.1238 | 2614620.9899 | 1180184.3591
44 | 2614641.9439 | 1180195.0376 | 2614626.4149 | 1180187.1238
45 | 2614641.9439 | 1180195.0376 | 2614635.4805 | 1180208.8976
46 | 2614635.4805 | 1180208.8976 | 2614624.4503 | 1180232.5509
47 | 2614617.9428 | 1180246.5057 | 2614624.4503 | 1180232.5509
48 | 2614617.9428 | 1180246.5057 | 2614617.5926 | 1180247.2147
49 | 2614617.9428 | 1180246.5057 | 2614601.4252 | 1180239.67
50 | 2614528.618 | 1180377.0448 | 2614526.2873 | 1180376.8174 | 2614522.186 | 1180376.7853 | 2614521.2676 | 1180376.8891
51 | 2614571.7885 | 1180394.8565 | 2614570.85 | 1180394.0261
52 | 2614518.2362 | 1180377.2316 | 2614521.2676 | 1180376.8891
53 | 2614603.9493 | 1180330.2597 | 2614598.1944 | 1180327.5301
54 | 2614594.6552 | 1180293.6623 | 2614588.666 | 1180305.9333
55 | 2614609.4889 | 1180332.8873 | 2614603.9493 | 1180330.2597
56 | 2614594.6552 | 1180293.6623 | 2614602.2557 | 1180278.2715
57 | 2614594.6552 | 1180293.6623 | 2614613.5414 | 1180302.6227
58 | 2614518.2362 | 1180377.2316 | 2614514.4384 | 1180378.4015
59 | 2614499.702 | 1180383.3133 | 2614506.8858 | 1180380.7282 | 2614514.4384 | 1180378.4015
60 | 2614453.6706 | 1180394.952 | 2614460.6607 | 1180394.2795 | 2614468.0262 | 1180393.0966 | 2614475.5912 | 1180391.5696 | 2614483.502 | 1180389.1429 | 2614499.702 | 1180383.3133
61 | 2614644.5747 | 1180450.02 | 2614650.4289 | 1180444.2129
62 | 2614637.1967 | 1180457.3385 | 2614644.5747 | 1180450.02
63 | 2614659.2485 | 1180435.89 | 2614651.8197 | 1180442.8333 | 2614650.4289 | 1180444.2129
64 | 2614673.6491 | 1180420.7888 | 2614666.4944 | 1180429.1175 | 2614659.2485 | 1180435.89
65 | 2614676.3673 | 1180417.6246 | 2614673.6491 | 1180420.7888
66 | 2614600.7981 | 1180482.6898 | 2614593.0922 | 1180478.3533 | 2614578.2947 | 1180470.38 | 2614577.7029 | 1180470.1092
67 | 2614577.7029 | 1180470.1092 | 2614563.5476 | 1180463.6298 | 2614556.0123 | 1180460.8072
68 | 2614549.0398 | 1180458.1954 | 2614556.0123 | 1180460.8072
69 | 2614535.2494 | 1180453.0298 | 2614549.0398 | 1180458.1954
70 | 2614527.5865 | 1180450.1594 | 2614535.2494 | 1180453.0298
71 | 2614453.6706 | 1180394.952 | 2614453.4682 | 1180399.7317 | 2614452.6107 | 1180403.7762 | 2614449.4739 | 1180418.7541
72 | 2614449.4739 | 1180418.7541 | 2614451.7732 | 1180421.7612 | 2614527.5865 | 1180450.1594
73 | 2614602.2557 | 1180278.2715 | 2614609.6176 | 1180263.3639
74 | 2614617.5926 | 1180247.2147 | 2614609.6176 | 1180263.3639
75 | 2614664.3457 | 1180326.7264 | 2614640.7782 | 1180315.545
76 | 2614664.3457 | 1180326.7264 | 2614657.633 | 1180341.0833
77 | 2614681.88 | 1180318.1425 | 2614678.56 | 1180317.1561 | 2614675.6967 | 1180316.7823 | 2614672.0899 | 1180317.5405 | 2614669.4896 | 1180318.946 | 2614667.1153 | 1180321.6416 | 2614664.3457 | 1180326.7264
78 | 2614615.0635 | 1180335.5314 | 2614609.4889 | 1180332.8873
79 | 2614594.7304 | 1180236.8994 | 2614595.7203 | 1180237.3091
80 | 2614594.7304 | 1180236.8994 | 2614590.2127 | 1180235.0297
81 | 2614601.4252 | 1180239.67 | 2614595.7203 | 1180237.3091
82 | 2614695.1598 | 1180289.9086 | 2614695.7289 | 1180288.6987
83 | 2614695.1598 | 1180289.9086 | 2614692.8286 | 1180294.865
84 | 2614698.1821 | 1180283.4829 | 2614695.7289 | 1180288.6987
85 | 2614692.8286 | 1180294.865 | 2614690.4938 | 1180299.8288
86 | 2614702.8056 | 1180273.6529 | 2614698.1821 | 1180283.4829
87 | 2614681.88 | 1180318.1425 | 2614690.4938 | 1180299.8288
88 | 2614705.1378 | 1180268.6945 | 2614702.8056 | 1180273.6529
89 | 2614681.88 | 1180318.1425 | 2614697.7284 | 1180325.4547
90 | 2614697.7284 | 1180325.4547 | 2614697.7461 | 1180325.4628
91 | 2614657.0448 | 1180342.3414 | 2614657.633 | 1180341.0833
92 | 2614697.7461 | 1180325.4628 | 2614697.7577 | 1180325.4682
93 | 2614638.9019 | 1180346.8383 | 2614633.5009 | 1180344.2765
94 | 2614633.5009 | 1180344.2765 | 2614627.899 | 1180341.6194
95 | 2614627.899 | 1180341.6194 | 2614615.0635 | 1180335.5314
96 | 2614716.4716 | 1180334.1025 | 2614723.1822 | 1180337.1986
97 | 2614716.4716 | 1180334.1025 | 2614698.9374 | 1180326.0125
98 | 2614723.1822 | 1180337.1986 | 2614723.1891 | 1180337.2018
99 | 2614698.1837 | 1180325.6648 | 2614698.9374 | 1180326.0125
100 | 2614723.1891 | 1180337.2018 | 2614723.1981 | 1180337.2059
101 | 2614697.7698 | 1180325.4738 | 2614698.1837 | 1180325.6648
102 | 2614723.1981 | 1180337.2059 | 2614723.2048 | 1180337.209
103 | 2614697.7577 | 1180325.4682 | 2614697.7698 | 1180325.4738
104 | 2614723.2048 | 1180337.209 | 2614723.2125 | 1180337.2126
105 | 2614723.2125 | 1180337.2126 | 2614725.9229 | 1180338.4631
106 | 2614725.9229 | 1180338.4631 | 2614726.1648 | 1180338.5747
107 | 2614726.1648 | 1180338.5747 | 2614726.3536 | 1180338.6618
108 | 2614726.3536 | 1180338.6618 | 2614726.5093 | 1180338.7337
109 | 2614726.5093 | 1180338.7337 | 2614726.751 | 1180338.8452

## bus_geodata
| x | y | coords
0 | 2614686.3745 | 1180227.8154
1 | 2614706.5548 | 1180184.8788
2 | 2614694.0425 | 1180178.915
3 | 2614658.5852 | 1180161.2386
4 | 2614649.7128 | 1180179.2587
5 | 2614710.3117 | 1180257.6945
6 | 2614708.0349 | 1180262.5351
7 | 2614622.8766 | 1180375.0694
8 | 2614638.0512 | 1180382.3576
9 | 2614593.1017 | 1180360.7688
10 | 2614592.7869 | 1180360.6176
11 | 2614646.6197 | 1180364.436
12 | 2614636.4452 | 1180385.841
13 | 2614567.9349 | 1180348.6814
14 | 2614646.7259 | 1180364.2139
15 | 2614636.2762 | 1180386.2076
16 | 2614563.8268 | 1180357.1983
17 | 2614570.6556 | 1180343.043
18 | 2614652.0307 | 1180353.0655
19 | 2614629.9835 | 1180399.8563
20 | 2614626.441 | 1180407.5401
21 | 2614621.4526 | 1180417.7355
22 | 2614613.9786 | 1180435.2708
23 | 2614593.993 | 1180415.5455
24 | 2614589.4842 | 1180411.0912
25 | 2614601.3904 | 1180422.8465
26 | 2614630.4215 | 1180450.899
27 | 2614556.3285 | 1180372.7435
28 | 2614579.5721 | 1180324.5639
29 | 2614547.3165 | 1180378.8693
30 | 2614559.4939 | 1180383.9791
31 | 2614581.8979 | 1180319.8004
32 | 2614551.6119 | 1180311.4959
33 | 2614605.1513 | 1180176.2875
34 | 2614615.7697 | 1180181.6988
35 | 2614616.0633 | 1180181.8484
36 | 2614620.9899 | 1180184.3591
37 | 2614626.4149 | 1180187.1238
38 | 2614641.9439 | 1180195.0376
39 | 2614635.4805 | 1180208.8976
40 | 2614624.4503 | 1180232.5509
41 | 2614617.9428 | 1180246.5057
42 | 2614528.618 | 1180377.0448
43 | 2614570.85 | 1180394.0261
44 | 2614521.2676 | 1180376.8891
45 | 2614571.7885 | 1180394.8565
46 | 2614598.1944 | 1180327.5301
47 | 2614588.666 | 1180305.9333
48 | 2614548.6914 | 1180310.1309
49 | 2614603.9493 | 1180330.2597
50 | 2614594.6552 | 1180293.6623
51 | 2614518.2362 | 1180377.2316
52 | 2614514.4384 | 1180378.4015
53 | 2614499.702 | 1180383.3133
54 | 2614644.5747 | 1180450.02
55 | 2614650.4289 | 1180444.2129
56 | 2614637.1967 | 1180457.3385
57 | 2614659.2485 | 1180435.89
58 | 2614673.6491 | 1180420.7888
59 | 2614676.3673 | 1180417.6246
60 | 2614600.7981 | 1180482.6898
61 | 2614577.7029 | 1180470.1092
62 | 2614556.0123 | 1180460.8072
63 | 2614549.0398 | 1180458.1954
64 | 2614535.2494 | 1180453.0298
65 | 2614453.6706 | 1180394.952
66 | 2614588.3019 | 1180409.9231
67 | 2614527.5865 | 1180450.1594
68 | 2614449.4739 | 1180418.7541
69 | 2614602.2557 | 1180278.2715
70 | 2614613.5414 | 1180302.6227
71 | 2614609.6176 | 1180263.3639
72 | 2614617.5926 | 1180247.2147
73 | 2614640.7782 | 1180315.545
74 | 2614664.3457 | 1180326.7264
75 | 2614609.4889 | 1180332.8873
76 | 2614594.7304 | 1180236.8994
77 | 2614595.7203 | 1180237.3091
78 | 2614590.2127 | 1180235.0297
79 | 2614601.4252 | 1180239.67
80 | 2614695.1598 | 1180289.9086
81 | 2614695.7289 | 1180288.6987
82 | 2614692.8286 | 1180294.865
83 | 2614698.1821 | 1180283.4829
84 | 2614690.4938 | 1180299.8288
85 | 2614702.8056 | 1180273.6529
86 | 2614681.88 | 1180318.1425
87 | 2614705.1378 | 1180268.6945
88 | 2614697.7284 | 1180325.4547
89 | 2614657.633 | 1180341.0833
90 | 2614657.0448 | 1180342.3414
91 | 2614697.7461 | 1180325.4628
92 | 2614638.9019 | 1180346.8383
93 | 2614633.5009 | 1180344.2765
94 | 2614627.899 | 1180341.6194
95 | 2614615.0635 | 1180335.5314
96 | 2614716.4716 | 1180334.1025
97 | 2614723.1822 | 1180337.1986
98 | 2614698.9374 | 1180326.0125
99 | 2614723.1891 | 1180337.2018
100 | 2614698.1837 | 1180325.6648
101 | 2614723.1981 | 1180337.2059
102 | 2614697.7698 | 1180325.4738
103 | 2614723.2048 | 1180337.209
104 | 2614697.7577 | 1180325.4682
105 | 2614723.2125 | 1180337.2126
106 | 2614725.9229 | 1180338.4631
107 | 2614726.1648 | 1180338.5747
108 | 2614726.3536 | 1180338.6618
109 | 2614726.5093 | 1180338.7337
110 | 2614726.751 | 1180338.8452
111 | 2614664.3457 | 1180326.7264

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1