## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_939-20_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_939-20_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_939-20_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_939-20_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_939-20_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_939-20_0_6_node_78 | 0.4 | n |  | TRUE
6 | bus_LV_939-20_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_939-20_0_6_node_56 | 0.4 | n |  | TRUE
8 | bus_LV_939-20_0_6_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_939-20_0_6_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_939-20_0_6_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_939-20_0_6_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_939-20_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_939-20_0_6_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_939-20_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_939-20_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_939-20_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_939-20_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_939-20_0_6_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_939-20_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_939-20_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_939-20_0_6_node_60 | 0.4 | n |  | TRUE
22 | bus_LV_939-20_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_939-20_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_939-20_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_939-20_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_939-20_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_939-20_0_6_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_939-20_0_6_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_939-20_0_6_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_939-20_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_939-20_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_939-20_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_939-20_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_939-20_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_939-20_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_939-20_0_6_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_939-20_0_6_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_939-20_0_6_node_54 | 0.4 | n |  | TRUE
39 | bus_LV_939-20_0_6_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_939-20_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_939-20_0_6_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_939-20_0_6_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_939-20_0_6_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_939-20_0_6_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_939-20_0_6_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_939-20_0_6_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_939-20_0_6_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_939-20_0_6_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_939-20_0_6_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_939-20_0_6_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_939-20_0_6_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_939-20_0_6_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_939-20_0_6_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_939-20_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_939-20_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_939-20_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_939-20_0_6_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_939-20_0_6_node_65 | 0.4 | n |  | TRUE
59 | bus_LV_939-20_0_6_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_939-20_0_6_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_939-20_0_6_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_939-20_0_6_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_939-20_0_6_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_939-20_0_6_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_939-20_0_6_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_939-20_0_6_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_939-20_0_6_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_939-20_0_6_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_939-20_0_6_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_939-20_0_6_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_939-20_0_6_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_939-20_0_6_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_939-20_0_6_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_939-20_0_6_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_939-20_0_6_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_939-20_0_6_node_76 | 0.4 | n |  | TRUE
77 | bus_MV_107_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_939-20_0_6_load_0 | 0 | 0.0094971 | 0.0023802 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_939-20_0_6_load_1 | 1 | 0.015924 | 0.0039908 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_939-20_0_6_load_4 | 4 | 0.034314 | 0.0085998 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_939-20_0_6_load_78 | 5 | 0.0045042 | 0.0011289 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_939-20_0_6_load_14 | 6 | 0.0032927 | 0.00082524 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_939-20_0_6_load_56 | 7 | 0.001658 | 0.00041554 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_939-20_0_6_load_71 | 8 | 0.0012732 | 0.0003191 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_939-20_0_6_load_66 | 9 | 0.0063069 | 0.0015807 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_939-20_0_6_load_55 | 10 | 0.001474 | 0.00036943 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_939-20_0_6_load_16 | 11 | 0.0056834 | 0.0014244 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_939-20_0_6_load_5 | 12 | 0.0097408 | 0.0024413 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_939-20_0_6_load_6 | 13 | 0.031108 | 0.0077963 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_939-20_0_6_load_15 | 15 | 0.075475 | 0.018916 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_939-20_0_6_load_12 | 16 | 0.020553 | 0.0051512 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_939-20_0_6_load_8 | 18 | 0.0099505 | 0.0024938 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_939-20_0_6_load_9 | 19 | 0.0035719 | 0.0008952 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_939-20_0_6_load_11 | 20 | 0.0026564 | 0.00066576 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_939-20_0_6_load_60 | 21 | 0.014489 | 0.0036312 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_939-20_0_6_load_13 | 22 | 0.0049822 | 0.0012487 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_939-20_0_6_load_18 | 23 | 0.0031667 | 0.00079364 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_939-20_0_6_load_19 | 24 | 0.0022414 | 0.00056175 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_939-20_0_6_load_20 | 25 | 0.0037509 | 0.00094006 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_939-20_0_6_load_32 | 27 | 0.0073627 | 0.0018453 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_939-20_0_6_load_31 | 28 | 0.012615 | 0.0031617 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_939-20_0_6_load_27 | 30 | 0.011691 | 0.0029299 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_939-20_0_6_load_22 | 31 | 0.011892 | 0.0029805 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_939-20_0_6_load_23 | 32 | 0.0066142 | 0.0016577 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_939-20_0_6_load_24 | 33 | 0.0080574 | 0.0020194 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_939-20_0_6_load_25 | 34 | 0.0079534 | 0.0019933 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_939-20_0_6_load_57 | 36 | 0.022824 | 0.0057202 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_939-20_0_6_load_58 | 37 | 0.019064 | 0.0047779 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_939-20_0_6_load_54 | 38 | 0.0078567 | 0.0019691 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_939-20_0_6_load_59 | 39 | 0.018444 | 0.0046225 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_939-20_0_6_load_36 | 40 | 0.0069332 | 0.0017376 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_939-20_0_6_load_52 | 41 | 0.0077011 | 0.0019301 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_939-20_0_6_load_67 | 43 | 0.0033136 | 0.00083047 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_939-20_0_6_load_30 | 44 | 0.047109 | 0.011807 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_939-20_0_6_load_51 | 45 | 0.006949 | 0.0017416 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_939-20_0_6_load_40 | 46 | 0.0021004 | 0.0005264 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_939-20_0_6_load_42 | 47 | 0.0039892 | 0.00099979 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_939-20_0_6_load_68 | 48 | 0.0056263 | 0.0014101 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_939-20_0_6_load_28 | 49 | 0.0071301 | 0.001787 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_939-20_0_6_load_33 | 50 | 0.011812 | 0.0029603 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_939-20_0_6_load_35 | 51 | 0.0034723 | 0.00087024 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_939-20_0_6_load_47 | 52 | 0.0024388 | 0.00061122 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_939-20_0_6_load_46 | 53 | 0.0033201 | 0.00083211 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_939-20_0_6_load_37 | 54 | 0.0022157 | 0.00055531 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_939-20_0_6_load_38 | 55 | 0.0026186 | 0.00065628 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_939-20_0_6_load_39 | 56 | 0.0029572 | 0.00074115 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_939-20_0_6_load_65 | 58 | 0.0030581 | 0.00076642 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_939-20_0_6_load_61 | 59 | 0.0028951 | 0.00072559 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_939-20_0_6_load_43 | 61 | 0.0017615 | 0.00044148 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_939-20_0_6_load_45 | 62 | 0.0018464 | 0.00046274 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_939-20_0_6_load_49 | 63 | 0.0037228 | 0.00093302 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_939-20_0_6_load_50 | 65 | 0.0028996 | 0.00072671 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_939-20_0_6_load_77 | 67 | 0.0027715 | 0.00069461 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_939-20_0_6_load_69 | 69 | 0.0039922 | 0.0010005 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_939-20_0_6_load_70 | 70 | 0.0099409 | 0.0024914 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_939-20_0_6_load_63 | 71 | 0.0032389 | 0.00081174 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_939-20_0_6_load_64 | 72 | 0.0032097 | 0.00080442 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_939-20_0_6_load_72 | 73 | 0.024057 | 0.0060292 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_939-20_0_6_load_73 | 74 | 0.0014362 | 0.00035995 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_939-20_0_6_load_74 | 75 | 0.0013275 | 0.0003327 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_939-20_0_6_line_0 |  | 0 | 1 | 0.013787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_939-20_0_6_line_1 |  | 0 | 2 | 0.032403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_939-20_0_6_line_2 |  | 2 | 3 | 0.007693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_939-20_0_6_line_3 |  | 2 | 4 | 0.015299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_939-20_0_6_line_4 |  | 3 | 11 | 0.0033407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_939-20_0_6_line_5 |  | 4 | 12 | 0.024101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_939-20_0_6_line_6 |  | 5 | 6 | 0.11548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_939-20_0_6_line_7 |  | 5 | 7 | 0.019595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_939-20_0_6_line_8 |  | 6 | 22 | 0.00082856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_939-20_0_6_line_9 |  | 7 | 68 | 0.014437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_939-20_0_6_line_10 |  | 8 | 9 | 0.017803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_939-20_0_6_line_11 |  | 8 | 10 | 0.065411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_939-20_0_6_line_12 |  | 9 | 21 | 0.0076391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_939-20_0_6_line_13 |  | 10 | 69 | 0.007596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_939-20_0_6_line_14 |  | 10 | 68 | 0.040817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_939-20_0_6_line_15 |  | 12 | 13 | 0.0051007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_939-20_0_6_line_16 |  | 13 | 14 | 0.030922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_939-20_0_6_line_17 |  | 14 | 15 | 0.015609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_939-20_0_6_line_18 |  | 14 | 16 | 0.015702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_939-20_0_6_line_19 |  | 16 | 17 | 0.017713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_939-20_0_6_line_20 |  | 17 | 18 | 0.020427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_939-20_0_6_line_21 |  | 18 | 19 | 0.0042344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_939-20_0_6_line_22 |  | 19 | 20 | 0.018642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_939-20_0_6_line_23 |  | 20 | 22 | 0.013065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_939-20_0_6_line_24 |  | 21 | 40 | 0.020431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_939-20_0_6_line_25 |  | 23 | 24 | 0.01157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_939-20_0_6_line_26 |  | 23 | 25 | 0.0088081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_939-20_0_6_line_27 |  | 24 | 26 | 0.050408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_939-20_0_6_line_28 |  | 26 | 29 | 0.056772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_939-20_0_6_line_29 |  | 27 | 28 | 0.009465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_939-20_0_6_line_30 |  | 28 | 50 | 0.0083203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_939-20_0_6_line_31 |  | 29 | 30 | 0.056781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_939-20_0_6_line_32 |  | 30 | 49 | 0.024962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_939-20_0_6_line_33 |  | 31 | 32 | 0.021358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_939-20_0_6_line_34 |  | 31 | 33 | 0.001546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_939-20_0_6_line_35 |  | 32 | 34 | 0.0074203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_939-20_0_6_line_36 |  | 33 | 35 | 0.027701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_939-20_0_6_line_37 |  | 34 | 40 | 0.0082265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_939-20_0_6_line_38 |  | 35 | 42 | 0.011641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_939-20_0_6_line_39 |  | 35 | 43 | 0.030247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_939-20_0_6_line_40 |  | 36 | 37 | 0.018468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_939-20_0_6_line_41 |  | 36 | 38 | 0.010536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_939-20_0_6_line_42 |  | 37 | 39 | 0.0013863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_939-20_0_6_line_43 |  | 38 | 41 | 0.018779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_939-20_0_6_line_44 |  | 39 | 44 | 0.017898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_939-20_0_6_line_45 |  | 41 | 45 | 0.0354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_939-20_0_6_line_46 |  | 42 | 46 | 0.029721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_939-20_0_6_line_47 |  | 42 | 47 | 0.0099316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_939-20_0_6_line_48 |  | 43 | 48 | 0.0055314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_939-20_0_6_line_49 |  | 44 | 49 | 0.00062598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_939-20_0_6_line_50 |  | 45 | 68 | 0.005312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_939-20_0_6_line_51 |  | 46 | 55 | 0.019676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_939-20_0_6_line_52 |  | 47 | 61 | 0.024383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_939-20_0_6_line_53 |  | 50 | 51 | 0.0076987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_939-20_0_6_line_54 |  | 51 | 52 | 0.022706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_939-20_0_6_line_55 |  | 52 | 53 | 0.0093008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_939-20_0_6_line_56 |  | 53 | 64 | 0.0095623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_939-20_0_6_line_57 |  | 54 | 55 | 0.0013033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_939-20_0_6_line_58 |  | 54 | 56 | 0.04023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_939-20_0_6_line_59 |  | 56 | 57 | 0.0071712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_939-20_0_6_line_60 |  | 57 | 58 | 0.02116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_939-20_0_6_line_61 |  | 57 | 59 | 0.014029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_939-20_0_6_line_62 |  | 59 | 60 | 0.020275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_939-20_0_6_line_63 |  | 60 | 71 | 0.02595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_939-20_0_6_line_64 |  | 60 | 72 | 0.0090608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_939-20_0_6_line_65 |  | 61 | 62 | 0.0034965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_939-20_0_6_line_66 |  | 62 | 63 | 0.025709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_939-20_0_6_line_67 |  | 63 | 64 | 0.0069621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_939-20_0_6_line_68 |  | 64 | 65 | 0.017483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_939-20_0_6_line_69 |  | 65 | 66 | 0.021807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_939-20_0_6_line_70 |  | 66 | 67 | 0.031146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_939-20_0_6_line_71 |  | 67 | 76 | 0.036057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_939-20_0_6_line_72 |  | 69 | 70 | 0.0037117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_939-20_0_6_line_73 |  | 71 | 73 | 0.0072777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_939-20_0_6_line_74 |  | 74 | 75 | 0.0079253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_939-20_0_6_line_75 |  | 75 | 76 | 0.030056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_939-20_0_6_trafo_78 | 0.63 MVA 20/0.4 kV | 77 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2614467.3941 | 1179941.1744 | 2614465.9708 | 1179935.8683 | 2614471.7489 | 1179929.9197
1 | 2614494.3255 | 1179906.677 | 2614471.7489 | 1179929.9197
2 | 2614494.3255 | 1179906.677 | 2614491.9178 | 1179904.1811 | 2614488.9845 | 1179901.128
3 | 2614494.3255 | 1179906.677 | 2614505.1562 | 1179917.482
4 | 2614488.9845 | 1179901.128 | 2614487.1297 | 1179898.3495
5 | 2614522.2185 | 1179934.5039 | 2614505.1562 | 1179917.482
6 | 2614468.5966 | 1180120.9028 | 2614538.4772 | 1180028.9684
7 | 2614468.5966 | 1180120.9028 | 2614460.8835 | 1180138.9155
8 | 2614538.4772 | 1180028.9684 | 2614538.9538 | 1180028.2907
9 | 2614455.2008 | 1180152.1867 | 2614460.8835 | 1180138.9155
10 | 2614405.8818 | 1180197.1553 | 2614405.5007 | 1180196.8016 | 2614391.8708 | 1180186.1747
11 | 2614391.8708 | 1180186.1747 | 2614422.4637 | 1180128.359
12 | 2614411.4799 | 1180202.3531 | 2614405.8818 | 1180197.1553
13 | 2614415.5807 | 1180125.1459 | 2614422.4637 | 1180128.359
14 | 2614455.2008 | 1180152.1867 | 2614447.8238 | 1180145.2654 | 2614439.4773 | 1180138.1529 | 2614433.0273 | 1180133.2905 | 2614422.4637 | 1180128.359
15 | 2614522.2185 | 1179934.5039 | 2614525.8295 | 1179938.1063
16 | 2614547.7334 | 1179959.9331 | 2614543.832 | 1179956.0662 | 2614525.8295 | 1179938.1063
17 | 2614547.7334 | 1179959.9331 | 2614542.3204 | 1179965.2561 | 2614540.247 | 1179973.0107
18 | 2614547.7334 | 1179959.9331 | 2614558.9463 | 1179970.9254
19 | 2614572.1127 | 1179982.7705 | 2614565.7559 | 1179977.2411 | 2614559.5675 | 1179971.5344 | 2614558.9463 | 1179970.9254
20 | 2614572.1127 | 1179982.7705 | 2614560.3827 | 1179999.4939
21 | 2614560.3827 | 1179999.4939 | 2614557.9512 | 1180002.9606
22 | 2614557.9512 | 1180002.9606 | 2614556.155 | 1180005.5213 | 2614550.8093 | 1180011.4337 | 2614546.4698 | 1180017.6039
23 | 2614538.9538 | 1180028.2907 | 2614546.4698 | 1180017.6039
24 | 2614424.8763 | 1180217.7586 | 2614419.0708 | 1180210.5744 | 2614412.451 | 1180203.2548 | 2614411.4799 | 1180202.3531
25 | 2614586.9432 | 1180166.4777 | 2614597.1223 | 1180171.9774
26 | 2614579.1938 | 1180162.2908 | 2614586.9432 | 1180166.4777
27 | 2614641.9439 | 1180195.0376 | 2614604.244 | 1180175.8251 | 2614597.1223 | 1180171.9774
28 | 2614641.9439 | 1180195.0376 | 2614617.9428 | 1180246.5057
29 | 2614523.6606 | 1180300.6053 | 2614523.6606 | 1180300.6053 | 2614526.5862 | 1180300.4679 | 2614529.7692 | 1180301.2871 | 2614532.713 | 1180302.663
30 | 2614523.6606 | 1180300.6053 | 2614520.7855 | 1180301.9769 | 2614517.4384 | 1180305.8708
31 | 2614617.9428 | 1180246.5057 | 2614575.7097 | 1180229.0277 | 2614565.3051 | 1180225.2343
32 | 2614565.3051 | 1180225.2343 | 2614553.7625 | 1180221.0261 | 2614542.2411 | 1180215.7395
33 | 2614445.5116 | 1180248.3907 | 2614443.2026 | 1180244.0494 | 2614437.42 | 1180234.8197 | 2614434.317 | 1180230.2195
34 | 2614445.5116 | 1180248.3907 | 2614446.2376 | 1180249.7556
35 | 2614434.317 | 1180230.2195 | 2614431.1411 | 1180225.511 | 2614430.0469 | 1180224.157
36 | 2614456.3636 | 1180275.4416 | 2614453.6286 | 1180266.1525 | 2614450.0762 | 1180256.9726 | 2614446.2376 | 1180249.7556
37 | 2614430.0469 | 1180224.157 | 2614424.8763 | 1180217.7586
38 | 2614459.2847 | 1180286.7099 | 2614456.3636 | 1180275.4416
39 | 2614456.3636 | 1180275.4416 | 2614433.1226 | 1180281.4445 | 2614428.0571 | 1180277.7955
40 | 2614508.777 | 1180197.0688 | 2614518.8996 | 1180203.5552 | 2614524.4956 | 1180206.7532
41 | 2614508.777 | 1180197.0688 | 2614506.3089 | 1180195.4873 | 2614500.0916 | 1180191.1077
42 | 2614524.4956 | 1180206.7532 | 2614525.6993 | 1180207.441
43 | 2614485.1073 | 1180179.7978 | 2614494.9706 | 1180187.5004 | 2614500.0916 | 1180191.1077
44 | 2614541.6721 | 1180215.4784 | 2614531.9882 | 1180211.035 | 2614525.6993 | 1180207.441
45 | 2614459.0505 | 1180155.8468 | 2614459.6436 | 1180156.4106 | 2614470.2818 | 1180166.5525 | 2614484.0612 | 1180178.9809 | 2614485.1073 | 1180179.7978
46 | 2614459.2847 | 1180286.7099 | 2614444.3002 | 1180312.3775
47 | 2614459.2847 | 1180286.7099 | 2614461.4 | 1180293.1961 | 2614462.4694 | 1180296.1156
48 | 2614423.569 | 1180274.5625 | 2614428.0571 | 1180277.7955
49 | 2614541.6721 | 1180215.4784 | 2614542.2411 | 1180215.7395
50 | 2614455.2008 | 1180152.1867 | 2614459.0505 | 1180155.8468
51 | 2614433.8939 | 1180329.0647 | 2614438.8767 | 1180321.6678 | 2614444.3002 | 1180312.3775
52 | 2614462.4694 | 1180296.1156 | 2614464.9133 | 1180302.7873 | 2614469.2749 | 1180312.1247 | 2614472.5162 | 1180318.2968
53 | 2614517.4384 | 1180305.8708 | 2614517.4384 | 1180305.8708 | 2614513.5399 | 1180312.5095
54 | 2614502.0423 | 1180332.0888 | 2614513.5399 | 1180312.5095
55 | 2614497.3326 | 1180340.109 | 2614502.0423 | 1180332.0888
56 | 2614492.4904 | 1180348.3547 | 2614497.3326 | 1180340.109
57 | 2614433.1657 | 1180330.1456 | 2614433.8939 | 1180329.0647
58 | 2614433.1657 | 1180330.1456 | 2614429.4487 | 1180335.6635 | 2614398.5598 | 1180322.4993
59 | 2614391.9628 | 1180319.6878 | 2614398.5598 | 1180322.4993
60 | 2614391.9628 | 1180319.6878 | 2614384.2762 | 1180339.4028
61 | 2614391.9628 | 1180319.6878 | 2614379.0571 | 1180314.1878
62 | 2614360.4051 | 1180306.2389 | 2614379.0571 | 1180314.1878
63 | 2614360.4051 | 1180306.2389 | 2614374.3855 | 1180284.3763
64 | 2614360.4051 | 1180306.2389 | 2614351.8344 | 1180303.2996
65 | 2614474.1419 | 1180321.3925 | 2614472.5162 | 1180318.2968
66 | 2614474.1419 | 1180321.3925 | 2614476.1784 | 1180325.2703 | 2614484.2216 | 1180337.6738 | 2614488.2285 | 1180342.8495
67 | 2614492.4904 | 1180348.3547 | 2614488.2285 | 1180342.8495
68 | 2614492.4904 | 1180348.3547 | 2614501.8161 | 1180357.8598 | 2614504.9882 | 1180360.5628
69 | 2614518.2362 | 1180377.2316 | 2614516.7426 | 1180372.6701 | 2614514.5515 | 1180369.1408 | 2614511.0006 | 1180365.686 | 2614504.9882 | 1180360.5628
70 | 2614518.2362 | 1180377.2316 | 2614506.8858 | 1180380.7282 | 2614488.7551 | 1180387.2526
71 | 2614453.6706 | 1180394.952 | 2614460.6607 | 1180394.2795 | 2614468.0262 | 1180393.0966 | 2614475.5912 | 1180391.5696 | 2614483.502 | 1180389.1429 | 2614488.7551 | 1180387.2526
72 | 2614415.5807 | 1180125.1459 | 2614412.2174 | 1180123.5758
73 | 2614378.3062 | 1180278.245 | 2614374.3855 | 1180284.3763
74 | 2614416.0226 | 1180390.5947 | 2614418.0122 | 1180391.0423 | 2614423.8035 | 1180392.0938
75 | 2614453.6706 | 1180394.952 | 2614442.4899 | 1180394.6361 | 2614431.2272 | 1180393.4418 | 2614423.8035 | 1180392.0938

## bus_geodata
| x | y | coords
0 | 2614471.7489 | 1179929.9197
1 | 2614467.3941 | 1179941.1744
2 | 2614494.3255 | 1179906.677
3 | 2614488.9845 | 1179901.128
4 | 2614505.1562 | 1179917.482
5 | 2614468.5966 | 1180120.9028
6 | 2614538.4772 | 1180028.9684
7 | 2614460.8835 | 1180138.9155
8 | 2614391.8708 | 1180186.1747
9 | 2614405.8818 | 1180197.1553
10 | 2614422.4637 | 1180128.359
11 | 2614487.1297 | 1179898.3495
12 | 2614522.2185 | 1179934.5039
13 | 2614525.8295 | 1179938.1063
14 | 2614547.7334 | 1179959.9331
15 | 2614540.2469 | 1179973.0107
16 | 2614558.9463 | 1179970.9254
17 | 2614572.1127 | 1179982.7705
18 | 2614560.3827 | 1179999.4939
19 | 2614557.9512 | 1180002.9606
20 | 2614546.4698 | 1180017.6039
21 | 2614411.4799 | 1180202.3531
22 | 2614538.9538 | 1180028.2907
23 | 2614586.9432 | 1180166.4777
24 | 2614597.1223 | 1180171.9774
25 | 2614579.1938 | 1180162.2908
26 | 2614641.9439 | 1180195.0376
27 | 2614532.713 | 1180302.663
28 | 2614523.6606 | 1180300.6053
29 | 2614617.9428 | 1180246.5057
30 | 2614565.3051 | 1180225.2343
31 | 2614445.5116 | 1180248.3907
32 | 2614434.317 | 1180230.2195
33 | 2614446.2376 | 1180249.7556
34 | 2614430.0469 | 1180224.157
35 | 2614456.3636 | 1180275.4416
36 | 2614508.777 | 1180197.0688
37 | 2614524.4956 | 1180206.7532
38 | 2614500.0916 | 1180191.1077
39 | 2614525.6993 | 1180207.441
40 | 2614424.8763 | 1180217.7586
41 | 2614485.1073 | 1180179.7978
42 | 2614459.2847 | 1180286.7099
43 | 2614428.0571 | 1180277.7955
44 | 2614541.6721 | 1180215.4784
45 | 2614459.0505 | 1180155.8468
46 | 2614444.3002 | 1180312.3775
47 | 2614462.4694 | 1180296.1156
48 | 2614423.569 | 1180274.5625
49 | 2614542.2411 | 1180215.7395
50 | 2614517.4384 | 1180305.8708
51 | 2614513.5399 | 1180312.5095
52 | 2614502.0423 | 1180332.0888
53 | 2614497.3326 | 1180340.109
54 | 2614433.1657 | 1180330.1456
55 | 2614433.8939 | 1180329.0647
56 | 2614398.5598 | 1180322.4993
57 | 2614391.9628 | 1180319.6878
58 | 2614384.2762 | 1180339.4028
59 | 2614379.0571 | 1180314.1878
60 | 2614360.4051 | 1180306.2389
61 | 2614472.5162 | 1180318.2968
62 | 2614474.1419 | 1180321.3925
63 | 2614488.2285 | 1180342.8495
64 | 2614492.4904 | 1180348.3547
65 | 2614504.9882 | 1180360.5628
66 | 2614518.2362 | 1180377.2316
67 | 2614488.7551 | 1180387.2526
68 | 2614455.2008 | 1180152.1867
69 | 2614415.5807 | 1180125.1459
70 | 2614412.2174 | 1180123.5758
71 | 2614374.3855 | 1180284.3763
72 | 2614351.8344 | 1180303.2996
73 | 2614378.3062 | 1180278.245
74 | 2614416.0226 | 1180390.5947
75 | 2614423.8035 | 1180392.0938
76 | 2614453.6706 | 1180394.952
77 | 2614455.2008 | 1180152.1867

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1