## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_939-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_939-23_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_939-23_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_939-23_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_939-23_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_939-23_0_3_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_939-23_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_939-23_0_3_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_939-23_0_3_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_939-23_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_939-23_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_939-23_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_939-23_0_3_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_939-23_0_3_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_939-23_0_3_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_939-23_0_3_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_939-23_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_939-23_0_3_node_63 | 0.4 | n |  | TRUE
18 | bus_LV_939-23_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_939-23_0_3_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_939-23_0_3_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_939-23_0_3_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_939-23_0_3_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_939-23_0_3_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_939-23_0_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_939-23_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_939-23_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_939-23_0_3_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_939-23_0_3_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_939-23_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_939-23_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_939-23_0_3_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_939-23_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_939-23_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_939-23_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_939-23_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_939-23_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_939-23_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_939-23_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_939-23_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_939-23_0_3_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_939-23_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_939-23_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_939-23_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_939-23_0_3_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_939-23_0_3_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_939-23_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_939-23_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_939-23_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_939-23_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_939-23_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_939-23_0_3_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_939-23_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_939-23_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_939-23_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_939-23_0_3_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_939-23_0_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_939-23_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_939-23_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_939-23_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_MV_107_0_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_939-23_0_3_load_0 | 0 | 0.034758 | 0.0087113 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_939-23_0_3_load_3 | 3 | 0.021784 | 0.0054596 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_939-23_0_3_load_17 | 5 | 0.0077906 | 0.0019525 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_939-23_0_3_load_49 | 7 | 0.013535 | 0.0033921 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_939-23_0_3_load_47 | 8 | 0.018425 | 0.0046177 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_939-23_0_3_load_56 | 12 | 0.0067624 | 0.0016948 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_939-23_0_3_load_53 | 13 | 0.0069855 | 0.0017507 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_939-23_0_3_load_65 | 14 | 0.017998 | 0.0045106 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_939-23_0_3_load_64 | 15 | 0.0043045 | 0.0010788 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_939-23_0_3_load_63 | 17 | 0.01136 | 0.002847 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_939-23_0_3_load_61 | 21 | 0.013767 | 0.0034503 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_939-23_0_3_load_52 | 22 | 0.0035712 | 0.00089503 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_939-23_0_3_load_54 | 23 | 0.0089472 | 0.0022424 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_939-23_0_3_load_46 | 24 | 0.0085112 | 0.0021331 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_939-23_0_3_load_18 | 25 | 0.0055398 | 0.0013884 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_939-23_0_3_load_16 | 26 | 0.0054877 | 0.0013754 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_939-23_0_3_load_11 | 27 | 0.013221 | 0.0033135 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_939-23_0_3_load_15 | 29 | 0.0098968 | 0.0024804 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_939-23_0_3_load_62 | 31 | 0.0028198 | 0.00070671 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_939-23_0_3_load_20 | 32 | 0.0036009 | 0.00090248 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_939-23_0_3_load_22 | 34 | 0.007518 | 0.0018842 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_939-23_0_3_load_25 | 36 | 0.013265 | 0.0033244 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_939-23_0_3_load_30 | 40 | 0.012977 | 0.0032524 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_939-23_0_3_load_28 | 41 | 0.01716 | 0.0043006 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_939-23_0_3_load_45 | 42 | 0.0035776 | 0.00089664 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_939-23_0_3_load_31 | 45 | 0.0052961 | 0.0013273 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_939-23_0_3_load_32 | 46 | 0.0033382 | 0.00083663 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_939-23_0_3_load_33 | 47 | 0.0027575 | 0.00069111 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_939-23_0_3_load_36 | 49 | 0.0025649 | 0.00064283 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_939-23_0_3_load_37 | 50 | 0.0082668 | 0.0020718 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_939-23_0_3_load_38 | 51 | 0.0021393 | 0.00053616 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_939-23_0_3_load_41 | 53 | 0.0025301 | 0.00063411 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_939-23_0_3_load_51 | 54 | 0.0040787 | 0.0010222 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_939-23_0_3_load_60 | 55 | 0.0044306 | 0.0011104 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_939-23_0_3_load_59 | 56 | 0.0035994 | 0.0009021 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_939-23_0_3_load_55 | 57 | 0.009069 | 0.0022729 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_939-23_0_3_load_57 | 58 | 0.0024094 | 0.00060386 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_939-23_0_3_load_58 | 59 | 0.004218 | 0.0010571 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_939-23_0_3_line_0 |  | 0 | 1 | 0.036856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_939-23_0_3_line_1 |  | 0 | 2 | 0.00674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_939-23_0_3_line_2 |  | 1 | 3 | 0.0136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_939-23_0_3_line_3 |  | 2 | 4 | 0.026577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_939-23_0_3_line_4 |  | 3 | 5 | 0.0040429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_939-23_0_3_line_5 |  | 4 | 16 | 0.005666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_939-23_0_3_line_6 |  | 4 | 17 | 0.01703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_939-23_0_3_line_7 |  | 5 | 18 | 0.010885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_939-23_0_3_line_8 |  | 6 | 7 | 0.0039819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_939-23_0_3_line_9 |  | 6 | 8 | 0.038791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_939-23_0_3_line_10 |  | 7 | 19 | 0.030007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_939-23_0_3_line_11 |  | 8 | 9 | 0.012197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_939-23_0_3_line_12 |  | 9 | 10 | 0.10907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_939-23_0_3_line_13 |  | 10 | 14 | 0.016822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_939-23_0_3_line_14 |  | 10 | 15 | 0.012202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_939-23_0_3_line_15 |  | 11 | 12 | 0.042638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_939-23_0_3_line_16 |  | 11 | 13 | 0.01371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_939-23_0_3_line_17 |  | 12 | 17 | 0.017483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_939-23_0_3_line_18 |  | 13 | 23 | 0.020003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_939-23_0_3_line_19 |  | 16 | 26 | 0.025494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_939-23_0_3_line_20 |  | 16 | 27 | 0.0037375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_939-23_0_3_line_21 |  | 18 | 25 | 0.023269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_939-23_0_3_line_22 |  | 18 | 28 | 0.007586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_939-23_0_3_line_23 |  | 19 | 54 | 0.013067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_939-23_0_3_line_24 |  | 19 | 22 | 0.025356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_939-23_0_3_line_25 |  | 20 | 21 | 0.01915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_939-23_0_3_line_26 |  | 20 | 22 | 0.030275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_939-23_0_3_line_27 |  | 23 | 57 | 0.026334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_939-23_0_3_line_28 |  | 24 | 25 | 0.0050616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_939-23_0_3_line_29 |  | 26 | 31 | 0.0096484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_939-23_0_3_line_30 |  | 28 | 29 | 0.016081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_939-23_0_3_line_31 |  | 29 | 30 | 0.020292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_939-23_0_3_line_32 |  | 30 | 32 | 0.025786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_939-23_0_3_line_33 |  | 31 | 33 | 0.054954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_939-23_0_3_line_34 |  | 33 | 38 | 0.005723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_939-23_0_3_line_35 |  | 33 | 35 | 0.030115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_939-23_0_3_line_36 |  | 34 | 35 | 0.026874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_939-23_0_3_line_37 |  | 35 | 36 | 0.01929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_939-23_0_3_line_38 |  | 35 | 37 | 0.011585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_939-23_0_3_line_39 |  | 37 | 39 | 0.022423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_939-23_0_3_line_40 |  | 37 | 40 | 0.023304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_939-23_0_3_line_41 |  | 38 | 41 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_939-23_0_3_line_42 |  | 39 | 42 | 0.014959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_939-23_0_3_line_43 |  | 39 | 43 | 0.016758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_939-23_0_3_line_44 |  | 40 | 44 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_939-23_0_3_line_45 |  | 42 | 49 | 0.0013274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_939-23_0_3_line_46 |  | 43 | 51 | 0.021922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_939-23_0_3_line_47 |  | 44 | 45 | 0.014908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_939-23_0_3_line_48 |  | 46 | 47 | 0.016976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_939-23_0_3_line_49 |  | 46 | 48 | 0.01286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_939-23_0_3_line_50 |  | 48 | 49 | 0.010154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_939-23_0_3_line_51 |  | 48 | 50 | 0.038262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_939-23_0_3_line_52 |  | 51 | 52 | 0.00028446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_939-23_0_3_line_53 |  | 52 | 53 | 0.037991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_939-23_0_3_line_54 |  | 54 | 55 | 0.00082753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_939-23_0_3_line_55 |  | 55 | 56 | 0.0034206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_939-23_0_3_line_56 |  | 56 | 59 | 0.0051361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_939-23_0_3_line_57 |  | 57 | 58 | 0.010601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_939-23_0_3_line_58 |  | 58 | 59 | 0.0036424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_939-23_0_3_trafo_6 | 0.63 MVA 20/0.4 kV | 60 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2614857.0283 | 1180429.7294 | 2614824.4435 | 1180446.9511
1 | 2614818.4846 | 1180450.1005 | 2614824.4435 | 1180446.9511
2 | 2614857.0283 | 1180429.7294 | 2614860.0081 | 1180435.4175 | 2614863.2855 | 1180441.8045
3 | 2614818.4846 | 1180450.1005 | 2614829.226 | 1180473.6723 | 2614828.6067 | 1180473.9599
4 | 2614863.2855 | 1180441.8045 | 2614864.0063 | 1180443.2091 | 2614864.9658 | 1180445.4787
5 | 2614831.0381 | 1180479.0796 | 2614830.8102 | 1180478.5788 | 2614829.6552 | 1180476.1747 | 2614828.6067 | 1180473.9599
6 | 2614828.6067 | 1180473.9599 | 2614826.3125 | 1180475.1326 | 2614813.1524 | 1180481.1082
7 | 2614869.2 | 1180455.5061 | 2614865.206 | 1180446.0469 | 2614864.9658 | 1180445.4787
8 | 2614775.7873 | 1180407.8405 | 2614774.5667 | 1180407.2594 | 2614771.9465 | 1180407.4864
9 | 2614775.7873 | 1180407.8405 | 2614802.898 | 1180384.1838 | 2614805.4108 | 1180382.9266
10 | 2614747.7603 | 1180400.3568 | 2614759.601 | 1180411.8584 | 2614760.7073 | 1180412.328 | 2614761.7007 | 1180412.097 | 2614769.562 | 1180408.1142 | 2614771.9465 | 1180407.4864
11 | 2614816.3187 | 1180377.469 | 2614805.4108 | 1180382.9266
12 | 2614765.6337 | 1180353.1431 | 2614795.2936 | 1180324.0565 | 2614803.2394 | 1180335.4485 | 2614809.6394 | 1180344.9136 | 2614820.6794 | 1180362.1051 | 2614824.1337 | 1180367.4831 | 2614825.8295 | 1180370.4888 | 2614819.0988 | 1180374.3631 | 2614816.3187 | 1180377.469
13 | 2614765.6337 | 1180353.1431 | 2614754.0097 | 1180365.3319
14 | 2614765.6337 | 1180353.1431 | 2614754.4664 | 1180348.2247
15 | 2614767.0467 | 1180468.2834 | 2614778.8311 | 1180480.8521 | 2614780.8093 | 1180483.9474 | 2614784.0546 | 1180490.4032 | 2614785.5789 | 1180491.7298 | 2614787.3116 | 1180492.1454 | 2614789.3972 | 1180491.8948 | 2614797.2338 | 1180488.3364
16 | 2614767.0467 | 1180468.2834 | 2614757.7064 | 1180458.2468
17 | 2614813.1524 | 1180481.1082 | 2614797.2338 | 1180488.3364
18 | 2614757.7064 | 1180458.2468 | 2614744.079 | 1180443.6034
19 | 2614831.0381 | 1180479.0796 | 2614825.9453 | 1180481.5906 | 2614807.9401 | 1180489.866
20 | 2614831.0381 | 1180479.0796 | 2614834.3904 | 1180477.4272
21 | 2614869.2 | 1180455.5061 | 2614884.1701 | 1180452.2191 | 2614892.0637 | 1180451.3443
22 | 2614869.2 | 1180455.5061 | 2614871.8174 | 1180462.6273
23 | 2614747.7603 | 1180400.3568 | 2614742.7179 | 1180401.0004 | 2614737.7736 | 1180402.0999 | 2614735.2708 | 1180403.6008
24 | 2614747.7603 | 1180400.3568 | 2614753.2657 | 1180397.7801 | 2614755.4216 | 1180396.9183 | 2614756.3823 | 1180394.486 | 2614756.5407 | 1180392.1964 | 2614754.7323 | 1180382.1423 | 2614754.9514 | 1180380.325
25 | 2614784.659 | 1180374.9565 | 2614779.3484 | 1180363.5376 | 2614775.4126 | 1180358.2808
26 | 2614775.4126 | 1180358.2808 | 2614755.4512 | 1180378.6423 | 2614754.9896 | 1180380.0085 | 2614754.9514 | 1180380.325
27 | 2614744.079 | 1180443.6034 | 2614743.8819 | 1180443.3916 | 2614737.4234 | 1180439.0625 | 2614731.5462 | 1180428.187 | 2614730.644 | 1180422.3484 | 2614730.644 | 1180422.3484
28 | 2614897.0944 | 1180450.7868 | 2614892.0637 | 1180451.3443
29 | 2614807.9401 | 1180489.866 | 2614799.1733 | 1180493.8954
30 | 2614871.8174 | 1180462.6273 | 2614874.1242 | 1180468.6694 | 2614877.5512 | 1180477.6518
31 | 2614884.7859 | 1180496.6101 | 2614883.9436 | 1180494.4069 | 2614877.5512 | 1180477.6518
32 | 2614884.7859 | 1180496.6101 | 2614908.7835 | 1180487.175
33 | 2614748.1912 | 1180514.3497 | 2614779.8936 | 1180502.2657 | 2614786.8504 | 1180499.5592 | 2614799.1733 | 1180493.8954
34 | 2614745.0333 | 1180509.5729 | 2614746.0834 | 1180511.154 | 2614747.5825 | 1180513.4255 | 2614748.1912 | 1180514.3497
35 | 2614720.2331 | 1180525.6871 | 2614726.9621 | 1180522.4464 | 2614748.1912 | 1180514.3497
36 | 2614720.2331 | 1180525.6871 | 2614741.3718 | 1180542.281
37 | 2614720.2331 | 1180525.6871 | 2614704.8097 | 1180537.2725
38 | 2614711.323 | 1180518.2838 | 2614714.8062 | 1180521.216 | 2614720.2331 | 1180525.6871
39 | 2614693.9443 | 1180504.0562 | 2614711.323 | 1180518.2838
40 | 2614711.323 | 1180518.2838 | 2614726.6382 | 1180500.7188
41 | 2614745.0333 | 1180509.5729 | 2614746.5929 | 1180508.9764 | 2614758.1142 | 1180505.4539
42 | 2614693.9443 | 1180504.0562 | 2614682.4564 | 1180494.4745
43 | 2614693.9443 | 1180504.0562 | 2614683.0374 | 1180516.8028
44 | 2614732.1499 | 1180484.2172 | 2614734.4733 | 1180486.6797 | 2614735.1649 | 1180488.071 | 2614735.2761 | 1180489.4275 | 2614734.914 | 1180490.7051 | 2614734.0626 | 1180492.2038 | 2614726.6382 | 1180500.7188
45 | 2614681.437 | 1180493.6242 | 2614682.4564 | 1180494.4745
46 | 2614683.0374 | 1180516.8028 | 2614681.6051 | 1180518.4669 | 2614679.3013 | 1180520.4734 | 2614676.3568 | 1180522.1671 | 2614673.4133 | 1180523.4161 | 2614670.8835 | 1180524.1325 | 2614668.3167 | 1180524.3931 | 2614666.0486 | 1180524.3097 | 2614663.5862 | 1180523.4821
47 | 2614720.7783 | 1180474.54 | 2614732.1499 | 1180484.2172
48 | 2614650.5371 | 1180468.2406 | 2614663.6818 | 1180478.9828
49 | 2614673.6393 | 1180487.1203 | 2614663.6818 | 1180478.9828
50 | 2614673.6393 | 1180487.1203 | 2614681.437 | 1180493.6242
51 | 2614691.6775 | 1180453.358 | 2614673.6393 | 1180487.1203
52 | 2614663.5862 | 1180523.4821 | 2614663.3166 | 1180523.3915
53 | 2614663.3166 | 1180523.3915 | 2614661.1573 | 1180522.5302 | 2614658.5414 | 1180520.9786 | 2614636.8586 | 1180505.2511 | 2614632.0421 | 1180501.9517
54 | 2614734.5611 | 1180404.0264 | 2614735.2708 | 1180403.6008
55 | 2614732.1972 | 1180406.4987 | 2614734.5611 | 1180404.0264 | 2614734.5611 | 1180404.0264
56 | 2614728.6477 | 1180410.211 | 2614732.1972 | 1180406.4987
57 | 2614730.644 | 1180422.3484 | 2614726.1286 | 1180413.5996 | 2614726.1305 | 1180412.8436 | 2614726.1305 | 1180412.8436
58 | 2614726.1305 | 1180412.8436 | 2614728.6477 | 1180410.211

## bus_geodata
| x | y | coords
0 | 2614824.4435 | 1180446.9511
1 | 2614857.0283 | 1180429.7294
2 | 2614818.4846 | 1180450.1005
3 | 2614863.2855 | 1180441.8045
4 | 2614828.6067 | 1180473.9599
5 | 2614864.9658 | 1180445.4787
6 | 2614775.7873 | 1180407.8405
7 | 2614771.9465 | 1180407.4864
8 | 2614805.4108 | 1180382.9266
9 | 2614816.3187 | 1180377.469
10 | 2614765.6337 | 1180353.1431
11 | 2614767.0467 | 1180468.2834
12 | 2614797.2338 | 1180488.3364
13 | 2614757.7064 | 1180458.2468
14 | 2614754.0097 | 1180365.3319
15 | 2614754.4664 | 1180348.2247
16 | 2614831.038 | 1180479.0796
17 | 2614813.1524 | 1180481.1082
18 | 2614869.2 | 1180455.5061
19 | 2614747.7603 | 1180400.3568
20 | 2614775.4126 | 1180358.2808
21 | 2614784.659 | 1180374.9565
22 | 2614754.9514 | 1180380.325
23 | 2614744.079 | 1180443.6034
24 | 2614897.0944 | 1180450.7868
25 | 2614892.0637 | 1180451.3444
26 | 2614807.9401 | 1180489.866
27 | 2614834.3904 | 1180477.4272
28 | 2614871.8174 | 1180462.6273
29 | 2614877.5512 | 1180477.6518
30 | 2614884.7859 | 1180496.6101
31 | 2614799.1733 | 1180493.8954
32 | 2614908.7835 | 1180487.175
33 | 2614748.1912 | 1180514.3497
34 | 2614741.3718 | 1180542.281
35 | 2614720.2331 | 1180525.6871
36 | 2614704.8097 | 1180537.2725
37 | 2614711.323 | 1180518.2838
38 | 2614745.0333 | 1180509.5729
39 | 2614693.9443 | 1180504.0562
40 | 2614726.6382 | 1180500.7188
41 | 2614758.1142 | 1180505.4539
42 | 2614682.4564 | 1180494.4745
43 | 2614683.0374 | 1180516.8028
44 | 2614732.1499 | 1180484.2172
45 | 2614720.7783 | 1180474.54
46 | 2614663.6818 | 1180478.9828
47 | 2614650.5371 | 1180468.2406
48 | 2614673.6393 | 1180487.1203
49 | 2614681.437 | 1180493.6242
50 | 2614691.6775 | 1180453.358
51 | 2614663.5862 | 1180523.4821
52 | 2614663.3166 | 1180523.3915
53 | 2614632.0421 | 1180501.9517
54 | 2614735.2708 | 1180403.6008
55 | 2614734.5611 | 1180404.0264
56 | 2614732.1972 | 1180406.4987
57 | 2614730.644 | 1180422.3484
58 | 2614726.1305 | 1180412.8436
59 | 2614728.6477 | 1180410.211
60 | 2614798.4081 | 1180452.1077

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1