## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_939-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_939-24_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_939-24_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_939-24_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_939-24_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_939-24_0_4_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_939-24_0_4_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_939-24_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_939-24_0_4_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_939-24_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_939-24_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_939-24_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_939-24_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_939-24_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_939-24_0_4_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_939-24_0_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_939-24_0_4_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_939-24_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_939-24_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_939-24_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_939-24_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_939-24_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_939-24_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_939-24_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_939-24_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_939-24_0_4_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_939-24_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_939-24_0_4_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_939-24_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_939-24_0_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_939-24_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_939-24_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_939-24_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_939-24_0_4_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_939-24_0_4_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_939-24_0_4_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_939-24_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_939-24_0_4_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_939-24_0_4_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_939-24_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_939-24_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_939-24_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_939-24_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_939-24_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_939-24_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_939-24_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_939-24_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_939-24_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_939-24_0_4_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_939-24_0_4_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_939-24_0_4_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_939-24_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_939-24_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_939-24_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_939-24_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_939-24_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_939-24_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_939-24_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_939-24_0_4_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_939-24_0_4_node_85 | 0.4 | n |  | TRUE
60 | bus_LV_939-24_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_939-24_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_939-24_0_4_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_939-24_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_939-24_0_4_node_76 | 0.4 | n |  | TRUE
65 | bus_LV_939-24_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_939-24_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_939-24_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_939-24_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_939-24_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_939-24_0_4_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_939-24_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_939-24_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_939-24_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_939-24_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_939-24_0_4_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_939-24_0_4_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_939-24_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_939-24_0_4_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_939-24_0_4_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_939-24_0_4_node_91 | 0.4 | n |  | TRUE
81 | bus_LV_939-24_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_939-24_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_939-24_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_939-24_0_4_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_939-24_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_939-24_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_939-24_0_4_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_939-24_0_4_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_939-24_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_MV_107_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_939-24_0_4_load_0 | 0 | 0.0016252 | 0.00040731 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_939-24_0_4_load_1 | 1 | 0.0050863 | 0.0012747 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_939-24_0_4_load_27 | 5 | 0.001641 | 0.00041126 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_939-24_0_4_load_25 | 6 | 0.0030445 | 0.00076303 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_939-24_0_4_load_9 | 7 | 0.0014798 | 0.00037088 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_939-24_0_4_load_24 | 8 | 0.0048371 | 0.0012123 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_939-24_0_4_load_11 | 9 | 0.0017106 | 0.00042871 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_939-24_0_4_load_5 | 10 | 0.0035434 | 0.00088805 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_939-24_0_4_load_6 | 11 | 0.0058663 | 0.0014702 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_939-24_0_4_load_10 | 13 | 0.0013751 | 0.00034463 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_939-24_0_4_load_51 | 15 | 0.0023761 | 0.00059551 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_939-24_0_4_load_49 | 16 | 0.0018348 | 0.00045985 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_939-24_0_4_load_12 | 17 | 0.0031057 | 0.00077837 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_939-24_0_4_load_15 | 20 | 0.0027758 | 0.00069567 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_939-24_0_4_load_16 | 21 | 0.0029382 | 0.00073639 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_939-24_0_4_load_17 | 22 | 0.003103 | 0.00077769 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_939-24_0_4_load_18 | 23 | 0.0027521 | 0.00068973 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_939-24_0_4_load_22 | 24 | 0.0028205 | 0.00070689 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_939-24_0_4_load_52 | 25 | 0.0031779 | 0.00079647 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_939-24_0_4_load_30 | 26 | 0.0066911 | 0.0016769 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_939-24_0_4_load_90 | 27 | 0.0030389 | 0.00076162 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_939-24_0_4_load_20 | 28 | 0.0028536 | 0.00071519 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_939-24_0_4_load_29 | 30 | 0.0082496 | 0.0020676 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_939-24_0_4_load_19 | 31 | 0.0031069 | 0.00077865 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_939-24_0_4_load_21 | 32 | 0.0034223 | 0.0008577 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_939-24_0_4_load_70 | 33 | 0.00093721 | 0.00023489 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_939-24_0_4_load_71 | 34 | 0.0094231 | 0.0023617 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_939-24_0_4_load_82 | 35 | 0.00048197 | 0.00012079 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_939-24_0_4_load_23 | 36 | 0.0024139 | 0.00060498 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_939-24_0_4_load_43 | 37 | 0.004298 | 0.0010772 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_939-24_0_4_load_84 | 38 | 0.004757 | 0.0011922 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_939-24_0_4_load_26 | 39 | 0.0062699 | 0.0015714 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_939-24_0_4_load_28 | 40 | 0.0042963 | 0.0010767 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_939-24_0_4_load_40 | 41 | 0.0040223 | 0.0010081 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_939-24_0_4_load_39 | 42 | 0.0040698 | 0.00102 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_939-24_0_4_load_33 | 45 | 0.0032975 | 0.00082644 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_939-24_0_4_load_41 | 46 | 0.012344 | 0.0030938 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_939-24_0_4_load_54 | 47 | 0.0085537 | 0.0021438 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_939-24_0_4_load_74 | 48 | 0.0053668 | 0.001345 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_939-24_0_4_load_55 | 49 | 0.0079384 | 0.0019896 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_939-24_0_4_load_75 | 50 | 0.0028804 | 0.00072188 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_939-24_0_4_load_34 | 51 | 0.0028363 | 0.00071084 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_939-24_0_4_load_35 | 52 | 0.0036463 | 0.00091385 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_939-24_0_4_load_36 | 53 | 0.0027607 | 0.00069191 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_939-24_0_4_load_37 | 54 | 0.0021015 | 0.00052669 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_939-24_0_4_load_38 | 55 | 0.0023008 | 0.00057663 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_939-24_0_4_load_44 | 56 | 0.0030583 | 0.00076647 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_939-24_0_4_load_53 | 57 | 0.0029838 | 0.00074781 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_939-24_0_4_load_83 | 58 | 0.0032881 | 0.00082408 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_939-24_0_4_load_85 | 59 | 0.0044671 | 0.0011196 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_939-24_0_4_load_45 | 60 | 0.00062423 | 0.00015645 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_939-24_0_4_load_46 | 61 | 0.0012124 | 0.00030385 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_939-24_0_4_load_47 | 62 | 0.00022593 | 5.6623e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_939-24_0_4_load_48 | 63 | 0.00061507 | 0.00015415 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_939-24_0_4_load_76 | 64 | 0.0020129 | 0.00050447 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_939-24_0_4_load_60 | 65 | 0.0035005 | 0.0008773 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_939-24_0_4_load_66 | 66 | 0.0034694 | 0.0008695 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_939-24_0_4_load_62 | 68 | 0.0016381 | 0.00041054 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_939-24_0_4_load_58 | 70 | 0.0043142 | 0.0010812 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_939-24_0_4_load_59 | 71 | 0.0046252 | 0.0011592 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_939-24_0_4_load_56 | 72 | 0.001528 | 0.00038295 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_939-24_0_4_load_69 | 73 | 0.0039523 | 0.00099053 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_939-24_0_4_load_87 | 76 | 0.0044268 | 0.0011095 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_939-24_0_4_load_63 | 77 | 0.0036956 | 0.0009262 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_939-24_0_4_load_91 | 80 | 0.0011853 | 0.00029707 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_939-24_0_4_load_68 | 81 | 0.0026399 | 0.00066162 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_939-24_0_4_load_81 | 82 | 0.00059069 | 0.00014804 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_939-24_0_4_load_73 | 83 | 0.0053841 | 0.0013494 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_939-24_0_4_load_89 | 84 | 0.0055464 | 0.00139 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_939-24_0_4_load_77 | 85 | 0.00066522 | 0.00016672 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_939-24_0_4_load_80 | 88 | 0.0021084 | 0.00052841 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_939-24_0_4_load_86 | 89 | 0.0045944 | 0.0011515 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_939-24_0_4_line_0 |  | 0 | 1 | 0.022239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_939-24_0_4_line_1 |  | 0 | 2 | 0.050703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_939-24_0_4_line_2 |  | 1 | 3 | 0.01648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_939-24_0_4_line_3 |  | 2 | 4 | 0.03428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_939-24_0_4_line_4 |  | 3 | 6 | 0.052607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_939-24_0_4_line_5 |  | 4 | 9 | 0.039566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_939-24_0_4_line_6 |  | 5 | 6 | 0.026057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_939-24_0_4_line_7 |  | 5 | 7 | 0.0197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_939-24_0_4_line_8 |  | 6 | 8 | 0.025369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_939-24_0_4_line_9 |  | 7 | 12 | 0.014815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_939-24_0_4_line_10 |  | 8 | 39 | 0.01787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_939-24_0_4_line_11 |  | 10 | 11 | 0.04116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_939-24_0_4_line_12 |  | 10 | 12 | 0.0068187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_939-24_0_4_line_13 |  | 13 | 14 | 0.01875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_939-24_0_4_line_14 |  | 14 | 15 | 0.012396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_939-24_0_4_line_15 |  | 14 | 16 | 0.030547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_939-24_0_4_line_16 |  | 15 | 69 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_939-24_0_4_line_17 |  | 16 | 56 | 0.0070827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_939-24_0_4_line_18 |  | 17 | 18 | 0.017496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_939-24_0_4_line_19 |  | 17 | 19 | 0.028934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_939-24_0_4_line_20 |  | 18 | 20 | 0.017862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_939-24_0_4_line_21 |  | 18 | 21 | 0.039337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_939-24_0_4_line_22 |  | 19 | 22 | 0.0030764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_939-24_0_4_line_23 |  | 19 | 23 | 0.019411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_939-24_0_4_line_24 |  | 20 | 24 | 0.0043007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_939-24_0_4_line_25 |  | 21 | 25 | 0.0014745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_939-24_0_4_line_26 |  | 22 | 26 | 0.011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_939-24_0_4_line_27 |  | 23 | 27 | 0.0067808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_939-24_0_4_line_28 |  | 24 | 28 | 0.013001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_939-24_0_4_line_29 |  | 25 | 29 | 0.018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_939-24_0_4_line_30 |  | 26 | 30 | 0.020307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_939-24_0_4_line_31 |  | 28 | 33 | 0.13705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_939-24_0_4_line_32 |  | 28 | 31 | 0.020433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_939-24_0_4_line_33 |  | 29 | 57 | 0.0024467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_939-24_0_4_line_34 |  | 29 | 54 | 0.023629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_939-24_0_4_line_35 |  | 30 | 43 | 0.021209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_939-24_0_4_line_36 |  | 31 | 32 | 0.0036269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_939-24_0_4_line_37 |  | 33 | 34 | 0.0049888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_939-24_0_4_line_38 |  | 34 | 35 | 0.26689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_939-24_0_4_line_39 |  | 35 | 82 | 0.28201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_939-24_0_4_line_40 |  | 36 | 37 | 0.018891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_939-24_0_4_line_41 |  | 37 | 38 | 0.001761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_939-24_0_4_line_42 |  | 38 | 59 | 0.027843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_939-24_0_4_line_43 |  | 39 | 40 | 0.0019892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_939-24_0_4_line_44 |  | 40 | 41 | 0.019283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_939-24_0_4_line_45 |  | 41 | 42 | 0.0013872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_939-24_0_4_line_46 |  | 42 | 46 | 0.0079989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_939-24_0_4_line_47 |  | 43 | 44 | 0.009963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_939-24_0_4_line_48 |  | 43 | 45 | 0.029149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_939-24_0_4_line_49 |  | 44 | 46 | 0.022473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_939-24_0_4_line_50 |  | 44 | 47 | 0.022088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_939-24_0_4_line_51 |  | 45 | 48 | 0.0074795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_939-24_0_4_line_52 |  | 47 | 49 | 0.023249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_939-24_0_4_line_53 |  | 48 | 50 | 0.0099419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_939-24_0_4_line_54 |  | 49 | 72 | 0.042832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_939-24_0_4_line_55 |  | 50 | 84 | 0.008921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_939-24_0_4_line_56 |  | 51 | 52 | 0.0053249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_939-24_0_4_line_57 |  | 51 | 53 | 0.018885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_939-24_0_4_line_58 |  | 52 | 54 | 0.0087911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_939-24_0_4_line_59 |  | 53 | 55 | 0.004558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_939-24_0_4_line_60 |  | 55 | 56 | 0.013516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_939-24_0_4_line_61 |  | 57 | 58 | 0.02154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_939-24_0_4_line_62 |  | 59 | 89 | 0.0030158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_939-24_0_4_line_63 |  | 60 | 61 | 0.027201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_939-24_0_4_line_64 |  | 60 | 62 | 0.012663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_939-24_0_4_line_65 |  | 62 | 63 | 0.032997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_939-24_0_4_line_66 |  | 63 | 67 | 0.020784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_939-24_0_4_line_67 |  | 64 | 65 | 0.087197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_939-24_0_4_line_68 |  | 64 | 66 | 0.082353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_939-24_0_4_line_69 |  | 65 | 67 | 0.0082457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_939-24_0_4_line_70 |  | 66 | 78 | 0.04246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_939-24_0_4_line_71 |  | 67 | 68 | 0.020661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_939-24_0_4_line_72 |  | 69 | 70 | 0.015149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_939-24_0_4_line_73 |  | 69 | 71 | 0.040691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_939-24_0_4_line_74 |  | 71 | 75 | 0.038974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_939-24_0_4_line_75 |  | 72 | 73 | 2.2494e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_939-24_0_4_line_76 |  | 73 | 74 | 0.020587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_939-24_0_4_line_77 |  | 74 | 79 | 0.048845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_939-24_0_4_line_78 |  | 75 | 76 | 0.015171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_939-24_0_4_line_79 |  | 76 | 89 | 0.031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_939-24_0_4_line_80 |  | 77 | 78 | 0.026217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_939-24_0_4_line_81 |  | 77 | 79 | 0.026335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_939-24_0_4_line_82 |  | 78 | 80 | 0.037766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_939-24_0_4_line_83 |  | 79 | 81 | 0.03527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_939-24_0_4_line_84 |  | 82 | 87 | 0.038493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_939-24_0_4_line_85 |  | 83 | 84 | 0.017173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_939-24_0_4_line_86 |  | 85 | 86 | 0.030116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_939-24_0_4_line_87 |  | 86 | 87 | 0.081654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_939-24_0_4_line_88 |  | 87 | 88 | 0.041538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_939-24_0_4_trafo_14 | 0.63 MVA 20/0.4 kV | 90 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2615241.4808 | 1180836.9428 | 2615253.7787 | 1180842.5115 | 2615261.2383 | 1180847.0647
1 | 2615195.2921 | 1180816.0278 | 2615241.4808 | 1180836.9428
2 | 2615275.3049 | 1180855.6506 | 2615261.2383 | 1180847.0647
3 | 2615195.2921 | 1180816.0278 | 2615189.788 | 1180827.253 | 2615183.9741 | 1180831.0958 | 2615180.3102 | 1180845.4606
4 | 2615302.1128 | 1180810.387 | 2615275.3049 | 1180855.6506
5 | 2615180.3102 | 1180845.4606 | 2615182.836 | 1180843.2548 | 2615219.0179 | 1180844.7397
6 | 2615281.2392 | 1180794.8523 | 2615295.3101 | 1180806.1204 | 2615302.1128 | 1180810.387
7 | 2615265.8622 | 1180782.5381 | 2615281.2392 | 1180794.8523
8 | 2615324.0863 | 1180822.8162 | 2615319.8167 | 1180821.4907 | 2615302.1128 | 1180810.387
9 | 2615254.298 | 1180773.2773 | 2615265.8622 | 1180782.5381
10 | 2615341.1528 | 1180828.1148 | 2615324.0863 | 1180822.8162
11 | 2615248.7901 | 1180769.2576 | 2615224.9796 | 1180751.8809 | 2615216.6297 | 1180743.71
12 | 2615254.298 | 1180773.2773 | 2615248.7901 | 1180769.2576
13 | 2615289.799 | 1180726.8212 | 2615278.4141 | 1180741.7194
14 | 2615289.799 | 1180726.8212 | 2615296.1413 | 1180716.171
15 | 2615289.799 | 1180726.8212 | 2615315.0109 | 1180744.0695
16 | 2615305.3155 | 1180700.7473 | 2615300.4834 | 1180708.8614 | 2615298.0749 | 1180712.924 | 2615296.1413 | 1180716.171
17 | 2615315.0109 | 1180744.0695 | 2615320.8565 | 1180748.0687
18 | 2615427.021 | 1180746.1702 | 2615423.1698 | 1180763.2373
19 | 2615415.9308 | 1180791.2427 | 2615420.841 | 1180773.5573 | 2615423.1698 | 1180763.2373
20 | 2615427.021 | 1180746.1702 | 2615430.6503 | 1180728.6811
21 | 2615427.021 | 1180746.1702 | 2615388.973 | 1180736.1827
22 | 2615415.9308 | 1180791.2427 | 2615415.1532 | 1180794.2192
23 | 2615415.9308 | 1180791.2427 | 2615426.9871 | 1180789.1811 | 2615431.0402 | 1180787.0348 | 2615432.3206 | 1180783.6938
24 | 2615431.5242 | 1180724.4701 | 2615430.6503 | 1180728.6811
25 | 2615388.973 | 1180736.1827 | 2615387.5469 | 1180735.8083
26 | 2615412.3106 | 1180805.0999 | 2615415.1532 | 1180794.2192
27 | 2615434.4944 | 1180777.272 | 2615432.7087 | 1180782.6813 | 2615432.3206 | 1180783.6938
28 | 2615431.5242 | 1180724.4701 | 2615433.4701 | 1180715.093 | 2615433.7633 | 1180711.6812
29 | 2615369.8414 | 1180731.1607 | 2615387.5469 | 1180735.8083
30 | 2615412.3106 | 1180805.0999 | 2615407.1774 | 1180824.7478
31 | 2615433.7633 | 1180711.6812 | 2615569.6175 | 1180729.7148
32 | 2615435.5127 | 1180691.3235 | 2615433.7633 | 1180711.6812
33 | 2615369.8414 | 1180731.1607 | 2615367.5802 | 1180730.2262
34 | 2615369.8414 | 1180731.1607 | 2615362.4421 | 1180753.6016
35 | 2615401.8165 | 1180845.2677 | 2615407.1774 | 1180824.7478
36 | 2615435.8232 | 1180687.7099 | 2615435.5127 | 1180691.3235
37 | 2615571.3654 | 1180725.0422 | 2615569.6175 | 1180729.7148
38 | 2615571.3654 | 1180725.0422 | 2615773.6252 | 1180550.9139
39 | 2616054.2273 | 1180522.7402 | 2615773.6252 | 1180550.9139
40 | 2615418.4346 | 1180654.9644 | 2615400.2116 | 1180649.9856
41 | 2615398.5129 | 1180649.5215 | 2615400.2116 | 1180649.9856
42 | 2615398.5129 | 1180649.5215 | 2615377.5797 | 1180643.8022 | 2615371.7661 | 1180641.8175
43 | 2615341.1528 | 1180828.1148 | 2615343.0525 | 1180828.7046
44 | 2615361.468 | 1180834.422 | 2615343.0525 | 1180828.7046
45 | 2615361.468 | 1180834.422 | 2615361.8409 | 1180834.5378 | 2615362.7948 | 1180834.8272
46 | 2615370.4491 | 1180837.1498 | 2615362.7948 | 1180834.8272
47 | 2615401.8165 | 1180845.2677 | 2615391.9535 | 1180843.675
48 | 2615401.8165 | 1180845.2677 | 2615424.4548 | 1180850.4617 | 2615430.3238 | 1180851.255
49 | 2615391.9535 | 1180843.675 | 2615370.4491 | 1180837.1498
50 | 2615391.9535 | 1180843.675 | 2615407.5963 | 1180859.2694
51 | 2615430.3238 | 1180851.255 | 2615437.7359 | 1180852.2569
52 | 2615407.5963 | 1180859.2694 | 2615409.4055 | 1180861.073 | 2615422.3431 | 1180869.8218 | 2615427.052 | 1180871.7188
53 | 2615447.5882 | 1180853.5887 | 2615437.7359 | 1180852.2569
54 | 2615427.052 | 1180871.7188 | 2615449.1978 | 1180880.6407 | 2615457.17 | 1180886.8977 | 2615461.7693 | 1180892.1455 | 2615462.7209 | 1180893.7253
55 | 2615456.4287 | 1180854.7841 | 2615455.3894 | 1180854.6432 | 2615447.5882 | 1180853.5887
56 | 2615359.6893 | 1180761.9506 | 2615354.5308 | 1180763.2714
57 | 2615337.288 | 1180755.5678 | 2615354.5308 | 1180763.2714 | 2615354.5308 | 1180763.2714
58 | 2615359.6893 | 1180761.9506 | 2615359.6893 | 1180761.9506 | 2615362.4421 | 1180753.6016
59 | 2615337.288 | 1180755.5678 | 2615333.1264 | 1180753.7086
60 | 2615333.1264 | 1180753.7086 | 2615321.5223 | 1180748.5242 | 2615320.8565 | 1180748.0687
61 | 2615367.5802 | 1180730.2262 | 2615347.6733 | 1180722
62 | 2615368.912 | 1180640.8431 | 2615371.7661 | 1180641.8175
63 | 2615690.8997 | 1180915.9409 | 2615699.1398 | 1180902.2096 | 2615707.9356 | 1180895.2975
64 | 2615690.8997 | 1180915.9409 | 2615690.0811 | 1180917.3049 | 2615682.8997 | 1180925.7324
65 | 2615660.4336 | 1180949.667 | 2615665.4299 | 1180946.2333 | 2615682.8997 | 1180925.7324
66 | 2615643.3043 | 1180961.4391 | 2615660.4336 | 1180949.667
67 | 2615586.8576 | 1181030.2004 | 2615648.1095 | 1180968.1401
68 | 2615586.8576 | 1181030.2004 | 2615542.2082 | 1181005.1775 | 2615515.2015 | 1180989.6154
69 | 2615643.3043 | 1180961.4391 | 2615648.1095 | 1180968.1401
70 | 2615478.4127 | 1180968.4164 | 2615515.2015 | 1180989.6154
71 | 2615643.3043 | 1180961.4391 | 2615631.265 | 1180944.6489
72 | 2615305.3155 | 1180700.7473 | 2615318.7344 | 1180707.7783
73 | 2615305.3155 | 1180700.7473 | 2615306.947 | 1180692.8807 | 2615313.574 | 1180660.9034
74 | 2615325.2178 | 1180625.9261 | 2615320.4475 | 1180627.7371 | 2615313.574 | 1180660.9034
75 | 2615462.7325 | 1180893.7445 | 2615462.7209 | 1180893.7253
76 | 2615469.1383 | 1180913.1975 | 2615464.5526 | 1180896.7662 | 2615462.7325 | 1180893.7445
77 | 2615433.0947 | 1180941.8086 | 2615440.401 | 1180927.809 | 2615454.958 | 1180924.478 | 2615469.1383 | 1180913.1975
78 | 2615325.2178 | 1180625.9261 | 2615339.5749 | 1180630.8276
79 | 2615368.912 | 1180640.8431 | 2615339.5749 | 1180630.8276
80 | 2615478.4127 | 1180968.4164 | 2615473.9974 | 1180965.8704 | 2615455.7932 | 1180955.1614
81 | 2615433.0947 | 1180941.8086 | 2615455.7932 | 1180955.1614
82 | 2615478.4127 | 1180968.4164 | 2615465.0567 | 1181003.742
83 | 2615433.0947 | 1180941.8086 | 2615402.3621 | 1180924.5026
84 | 2616090.0315 | 1180537.1321 | 2616054.2273 | 1180522.7402
85 | 2615456.4287 | 1180854.7841 | 2615473.4464 | 1180857.0909
86 | 2616157.5552 | 1180491.3561 | 2616158.0143 | 1180471.147 | 2616158.439 | 1180461.2546
87 | 2616090.0315 | 1180537.1321 | 2616120.2061 | 1180514.7458 | 2616146.8883 | 1180496.0299 | 2616157.5552 | 1180491.3561
88 | 2616090.0315 | 1180537.1321 | 2616072.5756 | 1180555.8729 | 2616063.7572 | 1180557.6836 | 2616057.8534 | 1180554.0655

## bus_geodata
| x | y | coords
0 | 2615241.4808 | 1180836.9428
1 | 2615261.2383 | 1180847.0647
2 | 2615195.2921 | 1180816.0278
3 | 2615275.3049 | 1180855.6507
4 | 2615180.3102 | 1180845.4606
5 | 2615281.2392 | 1180794.8523
6 | 2615302.1128 | 1180810.387
7 | 2615265.8622 | 1180782.5381
8 | 2615324.0863 | 1180822.8162
9 | 2615219.0179 | 1180844.7397
10 | 2615248.7901 | 1180769.2576
11 | 2615216.6297 | 1180743.71
12 | 2615254.298 | 1180773.2773
13 | 2615278.4141 | 1180741.7194
14 | 2615289.799 | 1180726.8212
15 | 2615296.1413 | 1180716.171
16 | 2615315.0109 | 1180744.0695
17 | 2615423.1698 | 1180763.2373
18 | 2615427.021 | 1180746.1702
19 | 2615415.9308 | 1180791.2427
20 | 2615430.6503 | 1180728.6811
21 | 2615388.973 | 1180736.1827
22 | 2615415.1532 | 1180794.2192
23 | 2615432.3206 | 1180783.6938
24 | 2615431.5242 | 1180724.4701
25 | 2615387.5469 | 1180735.8083
26 | 2615412.3106 | 1180805.0999
27 | 2615434.4944 | 1180777.272
28 | 2615433.7633 | 1180711.6812
29 | 2615369.8414 | 1180731.1607
30 | 2615407.1774 | 1180824.7478
31 | 2615435.5127 | 1180691.3235
32 | 2615435.8232 | 1180687.7099
33 | 2615569.6175 | 1180729.7148
34 | 2615571.3654 | 1180725.0422
35 | 2615773.6252 | 1180550.9139
36 | 2615418.4346 | 1180654.9644
37 | 2615400.2116 | 1180649.9856
38 | 2615398.5129 | 1180649.5215
39 | 2615341.1528 | 1180828.1148
40 | 2615343.0525 | 1180828.7046
41 | 2615361.468 | 1180834.422
42 | 2615362.7948 | 1180834.8272
43 | 2615401.8165 | 1180845.2677
44 | 2615391.9535 | 1180843.675
45 | 2615430.3238 | 1180851.255
46 | 2615370.4491 | 1180837.1498
47 | 2615407.5963 | 1180859.2694
48 | 2615437.7359 | 1180852.2569
49 | 2615427.052 | 1180871.7188
50 | 2615447.5882 | 1180853.5887
51 | 2615354.5308 | 1180763.2714
52 | 2615359.6893 | 1180761.9506
53 | 2615337.288 | 1180755.5678
54 | 2615362.4421 | 1180753.6016
55 | 2615333.1264 | 1180753.7086
56 | 2615320.8565 | 1180748.0687
57 | 2615367.5802 | 1180730.2262
58 | 2615347.6733 | 1180722
59 | 2615371.7661 | 1180641.8175
60 | 2615690.8997 | 1180915.9409
61 | 2615707.9356 | 1180895.2975
62 | 2615682.8997 | 1180925.7324
63 | 2615660.4336 | 1180949.667
64 | 2615586.8576 | 1181030.2004
65 | 2615648.1095 | 1180968.1401
66 | 2615515.2015 | 1180989.6154
67 | 2615643.3043 | 1180961.4391
68 | 2615631.265 | 1180944.6489
69 | 2615305.3155 | 1180700.7473
70 | 2615318.7344 | 1180707.7783
71 | 2615313.574 | 1180660.9034
72 | 2615462.7209 | 1180893.7253
73 | 2615462.7325 | 1180893.7445
74 | 2615469.1383 | 1180913.1975
75 | 2615325.2178 | 1180625.9261
76 | 2615339.5749 | 1180630.8276
77 | 2615455.7932 | 1180955.1614
78 | 2615478.4127 | 1180968.4164
79 | 2615433.0947 | 1180941.8086
80 | 2615465.0567 | 1181003.742
81 | 2615402.3621 | 1180924.5026
82 | 2616054.2273 | 1180522.7402
83 | 2615473.4464 | 1180857.0909
84 | 2615456.4287 | 1180854.7841
85 | 2616158.439 | 1180461.2546
86 | 2616157.5552 | 1180491.3561
87 | 2616090.0315 | 1180537.1321
88 | 2616057.8534 | 1180554.0655
89 | 2615368.912 | 1180640.8431
90 | 2615434.4944 | 1180777.272

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1