## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_939-25_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_939-25_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_939-25_0_8_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_939-25_0_8_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_939-25_0_8_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_939-25_0_8_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_939-25_0_8_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_939-25_0_8_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_939-25_0_8_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_939-25_0_8_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_939-25_0_8_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_939-25_0_8_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_939-25_0_8_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_939-25_0_8_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_939-25_0_8_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_939-25_0_8_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_939-25_0_8_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_939-25_0_8_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_939-25_0_8_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_939-25_0_8_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_939-25_0_8_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_939-25_0_8_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_939-25_0_8_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_939-25_0_8_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_939-25_0_8_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_939-25_0_8_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_939-25_0_8_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_939-25_0_8_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_939-25_0_8_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_939-25_0_8_node_62 | 0.4 | n |  | TRUE
30 | bus_LV_939-25_0_8_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_939-25_0_8_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_939-25_0_8_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_939-25_0_8_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_939-25_0_8_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_939-25_0_8_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_939-25_0_8_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_939-25_0_8_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_939-25_0_8_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_939-25_0_8_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_939-25_0_8_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_939-25_0_8_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_939-25_0_8_node_100 | 0.4 | n |  | TRUE
43 | bus_LV_939-25_0_8_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_939-25_0_8_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_939-25_0_8_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_939-25_0_8_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_939-25_0_8_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_939-25_0_8_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_939-25_0_8_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_939-25_0_8_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_939-25_0_8_node_93 | 0.4 | n |  | TRUE
52 | bus_LV_939-25_0_8_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_939-25_0_8_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_939-25_0_8_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_939-25_0_8_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_939-25_0_8_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_939-25_0_8_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_939-25_0_8_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_939-25_0_8_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_939-25_0_8_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_939-25_0_8_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_939-25_0_8_node_98 | 0.4 | n |  | TRUE
63 | bus_LV_939-25_0_8_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_939-25_0_8_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_939-25_0_8_node_96 | 0.4 | n |  | TRUE
66 | bus_LV_939-25_0_8_node_97 | 0.4 | n |  | TRUE
67 | bus_LV_939-25_0_8_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_939-25_0_8_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_939-25_0_8_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_939-25_0_8_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_939-25_0_8_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_939-25_0_8_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_939-25_0_8_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_939-25_0_8_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_939-25_0_8_node_78 | 0.4 | n |  | TRUE
76 | bus_LV_939-25_0_8_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_939-25_0_8_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_939-25_0_8_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_939-25_0_8_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_939-25_0_8_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_939-25_0_8_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_939-25_0_8_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_939-25_0_8_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_939-25_0_8_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_939-25_0_8_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_939-25_0_8_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_939-25_0_8_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_939-25_0_8_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_939-25_0_8_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_939-25_0_8_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_939-25_0_8_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_939-25_0_8_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_939-25_0_8_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_939-25_0_8_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_939-25_0_8_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_939-25_0_8_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_939-25_0_8_node_89 | 0.4 | n |  | TRUE
98 | bus_MV_107_0_node_117 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_939-25_0_8_load_0 | 0 | 0.012801 | 0.0032082 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_939-25_0_8_load_1 | 1 | 0.0054062 | 0.0013549 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_939-25_0_8_load_3 | 2 | 0.0064795 | 0.0016239 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_939-25_0_8_load_5 | 3 | 0.01396 | 0.0034986 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_939-25_0_8_load_2 | 4 | 0.0073954 | 0.0018535 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_939-25_0_8_load_4 | 5 | 0.0095062 | 0.0023825 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_939-25_0_8_load_6 | 6 | 0.023632 | 0.0059228 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_939-25_0_8_load_16 | 9 | 0.0010894 | 0.00027304 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_939-25_0_8_load_14 | 10 | 0.0038247 | 0.00095856 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_939-25_0_8_load_10 | 12 | 0.0014689 | 0.00036815 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_939-25_0_8_load_19 | 13 | 0.0012587 | 0.00031546 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_939-25_0_8_load_11 | 14 | 0.0060543 | 0.0015173 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_939-25_0_8_load_12 | 15 | 0.0082044 | 0.0020562 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_939-25_0_8_load_13 | 16 | 0.005829 | 0.0014609 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_939-25_0_8_load_23 | 17 | 0.013808 | 0.0034605 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_939-25_0_8_load_24 | 18 | 0.013262 | 0.0033238 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_939-25_0_8_load_17 | 20 | 0.002909 | 0.00072905 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_939-25_0_8_load_20 | 22 | 0.0032871 | 0.00082382 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_939-25_0_8_load_21 | 23 | 0.017643 | 0.0044217 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_939-25_0_8_load_22 | 24 | 0.0019471 | 0.00048798 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_939-25_0_8_load_40 | 25 | 0.001313 | 0.00032906 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_939-25_0_8_load_61 | 26 | 0.0052985 | 0.0013279 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_939-25_0_8_load_49 | 27 | 0.0018511 | 0.00046394 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_939-25_0_8_load_62 | 29 | 0.0025654 | 0.00064296 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_939-25_0_8_load_47 | 30 | 0.0086333 | 0.0021637 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_939-25_0_8_load_25 | 31 | 0.0048892 | 0.0012253 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_939-25_0_8_load_26 | 32 | 0.0194 | 0.0048622 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_939-25_0_8_load_41 | 33 | 0.0042186 | 0.0010573 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_939-25_0_8_load_92 | 34 | 0.0085826 | 0.002151 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_939-25_0_8_load_27 | 35 | 0.013102 | 0.0032836 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_939-25_0_8_load_28 | 36 | 0.0053143 | 0.0013319 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_939-25_0_8_load_29 | 37 | 0.0034495 | 0.00086453 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_939-25_0_8_load_31 | 39 | 0.0091593 | 0.0022955 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_939-25_0_8_load_32 | 40 | 0.014437 | 0.0036182 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_939-25_0_8_load_33 | 41 | 0.031754 | 0.0079582 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_939-25_0_8_load_100 | 42 | 0.0066958 | 0.0016781 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_939-25_0_8_load_34 | 43 | 0.0024558 | 0.00061547 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_939-25_0_8_load_60 | 44 | 0.0028351 | 0.00071054 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_939-25_0_8_load_35 | 45 | 0.018154 | 0.0045499 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_939-25_0_8_load_36 | 46 | 0.014463 | 0.0036247 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_939-25_0_8_load_56 | 47 | 0.018154 | 0.0045499 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_939-25_0_8_load_57 | 48 | 0.0080642 | 0.0020211 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_939-25_0_8_load_37 | 49 | 0.0033919 | 0.0008501 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_939-25_0_8_load_93 | 51 | 0.004484 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_939-25_0_8_load_42 | 52 | 0.010535 | 0.0026403 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_939-25_0_8_load_43 | 53 | 0.013671 | 0.0034263 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_939-25_0_8_load_44 | 54 | 0.0046599 | 0.0011679 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_939-25_0_8_load_45 | 55 | 0.014211 | 0.0035617 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_939-25_0_8_load_46 | 56 | 0.004176 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_939-25_0_8_load_48 | 57 | 0.0044266 | 0.0011094 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_939-25_0_8_load_95 | 58 | 0.0041353 | 0.0010364 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_939-25_0_8_load_94 | 59 | 0.0042039 | 0.0010536 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_939-25_0_8_load_50 | 60 | 0.00059188 | 0.00014834 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_939-25_0_8_load_68 | 61 | 0.0010429 | 0.00026137 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_939-25_0_8_load_67 | 64 | 0.00398 | 0.00099747 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_939-25_0_8_load_96 | 65 | 0.0041 | 0.0010276 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_939-25_0_8_load_97 | 66 | 0.0056684 | 0.0014206 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_939-25_0_8_load_59 | 69 | 0.0082239 | 0.0020611 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_939-25_0_8_load_65 | 71 | 0.0096712 | 0.0024238 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_939-25_0_8_load_69 | 72 | 0.0022715 | 0.0005693 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_939-25_0_8_load_58 | 73 | 0.0063043 | 0.00158 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_939-25_0_8_load_64 | 74 | 0.0035851 | 0.00089852 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_939-25_0_8_load_78 | 75 | 0.015862 | 0.0039754 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_939-25_0_8_load_63 | 76 | 0.0051402 | 0.0012883 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_939-25_0_8_load_86 | 77 | 0.0025177 | 0.00063099 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_939-25_0_8_load_84 | 78 | 0.0018793 | 0.000471 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_939-25_0_8_load_76 | 81 | 0.0023092 | 0.00057873 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_939-25_0_8_load_70 | 82 | 0.0057617 | 0.001444 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_939-25_0_8_load_72 | 83 | 0.014034 | 0.0035172 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_939-25_0_8_load_74 | 84 | 0.012713 | 0.0031862 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_939-25_0_8_load_75 | 85 | 0.0052229 | 0.001309 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_939-25_0_8_load_77 | 86 | 0.0039013 | 0.00097776 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_939-25_0_8_load_79 | 87 | 0.0023639 | 0.00059245 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_939-25_0_8_load_80 | 88 | 0.0062842 | 0.001575 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_939-25_0_8_load_81 | 89 | 0.0042384 | 0.0010622 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_939-25_0_8_load_82 | 90 | 0.0037021 | 0.00092785 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_939-25_0_8_load_83 | 91 | 0.0018893 | 0.0004735 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_939-25_0_8_load_91 | 92 | 0.0043189 | 0.0010824 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_939-25_0_8_load_90 | 93 | 0.0019067 | 0.00047786 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_939-25_0_8_load_85 | 94 | 0.001917 | 0.00048044 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_939-25_0_8_load_87 | 95 | 0.0048162 | 0.0012071 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_939-25_0_8_load_88 | 96 | 0.0042252 | 0.0010589 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_939-25_0_8_load_89 | 97 | 0.0050788 | 0.0012729 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_939-25_0_8_line_0 |  | 0 | 1 | 0.025101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_939-25_0_8_line_1 |  | 0 | 2 | 0.028633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_939-25_0_8_line_2 |  | 2 | 3 | 0.028378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_939-25_0_8_line_3 |  | 2 | 4 | 0.030486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_939-25_0_8_line_4 |  | 3 | 7 | 0.020314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_939-25_0_8_line_5 |  | 4 | 5 | 0.031614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_939-25_0_8_line_6 |  | 5 | 6 | 0.031711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_939-25_0_8_line_7 |  | 6 | 8 | 0.02051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_939-25_0_8_line_8 |  | 7 | 9 | 0.034185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_939-25_0_8_line_9 |  | 7 | 10 | 0.016914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_939-25_0_8_line_10 |  | 8 | 11 | 0.020198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_939-25_0_8_line_11 |  | 8 | 12 | 0.036837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_939-25_0_8_line_12 |  | 9 | 13 | 0.026755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_939-25_0_8_line_13 |  | 11 | 14 | 0.034764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_939-25_0_8_line_14 |  | 11 | 15 | 0.0041841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_939-25_0_8_line_15 |  | 12 | 16 | 0.043728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_939-25_0_8_line_16 |  | 13 | 25 | 0.00069763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_939-25_0_8_line_17 |  | 15 | 17 | 0.014525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_939-25_0_8_line_18 |  | 17 | 18 | 0.017922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_939-25_0_8_line_19 |  | 18 | 31 | 0.0083798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_939-25_0_8_line_20 |  | 19 | 20 | 0.00076459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_939-25_0_8_line_21 |  | 19 | 21 | 0.008789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_939-25_0_8_line_22 |  | 20 | 22 | 0.010335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_939-25_0_8_line_23 |  | 21 | 23 | 0.017855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_939-25_0_8_line_24 |  | 21 | 24 | 0.016856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_939-25_0_8_line_25 |  | 22 | 26 | 0.0016406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_939-25_0_8_line_26 |  | 24 | 27 | 0.0011146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_939-25_0_8_line_27 |  | 25 | 28 | 0.0088527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_939-25_0_8_line_28 |  | 26 | 29 | 0.00040914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_939-25_0_8_line_29 |  | 27 | 30 | 0.028514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_939-25_0_8_line_30 |  | 28 | 50 | 0.035493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_939-25_0_8_line_31 |  | 29 | 76 | 0.010499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_939-25_0_8_line_32 |  | 30 | 55 | 0.01763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_939-25_0_8_line_33 |  | 31 | 32 | 0.0020251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_939-25_0_8_line_34 |  | 32 | 33 | 0.0038603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_939-25_0_8_line_35 |  | 33 | 34 | 0.0037392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_939-25_0_8_line_36 |  | 34 | 51 | 0.0020132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_939-25_0_8_line_37 |  | 35 | 36 | 0.024345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_939-25_0_8_line_38 |  | 35 | 37 | 0.004653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_939-25_0_8_line_39 |  | 36 | 38 | 0.014964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_939-25_0_8_line_40 |  | 37 | 39 | 0.0079572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_939-25_0_8_line_41 |  | 38 | 40 | 0.042501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_939-25_0_8_line_42 |  | 39 | 41 | 0.011687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_939-25_0_8_line_43 |  | 39 | 42 | 0.034814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_939-25_0_8_line_44 |  | 40 | 43 | 0.0081076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_939-25_0_8_line_45 |  | 40 | 44 | 0.025449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_939-25_0_8_line_46 |  | 43 | 45 | 0.025463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_939-25_0_8_line_47 |  | 45 | 46 | 0.010634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_939-25_0_8_line_48 |  | 46 | 47 | 0.022697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_939-25_0_8_line_49 |  | 47 | 48 | 0.031993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_939-25_0_8_line_50 |  | 48 | 73 | 0.014497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_939-25_0_8_line_51 |  | 49 | 50 | 0.0067497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_939-25_0_8_line_52 |  | 51 | 59 | 0.0057402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_939-25_0_8_line_53 |  | 52 | 53 | 0.010128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_939-25_0_8_line_54 |  | 52 | 54 | 0.014055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_939-25_0_8_line_55 |  | 53 | 55 | 0.0028186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_939-25_0_8_line_56 |  | 54 | 56 | 0.0058424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_939-25_0_8_line_57 |  | 56 | 57 | 0.0056871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_939-25_0_8_line_58 |  | 57 | 58 | 0.0056604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_939-25_0_8_line_59 |  | 58 | 59 | 0.0055125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_939-25_0_8_line_60 |  | 60 | 61 | 0.05527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_939-25_0_8_line_61 |  | 60 | 62 | 0.16528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_939-25_0_8_line_62 |  | 61 | 63 | 0.02666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_939-25_0_8_line_63 |  | 61 | 64 | 0.0096242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_939-25_0_8_line_64 |  | 62 | 66 | 0.019045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_939-25_0_8_line_65 |  | 63 | 80 | 0.065357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_939-25_0_8_line_66 |  | 64 | 79 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_939-25_0_8_line_67 |  | 65 | 66 | 0.018839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_939-25_0_8_line_68 |  | 67 | 68 | 0.023311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_939-25_0_8_line_69 |  | 67 | 69 | 0.0043077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_939-25_0_8_line_70 |  | 68 | 72 | 0.022855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_939-25_0_8_line_71 |  | 68 | 70 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_939-25_0_8_line_72 |  | 69 | 73 | 0.015497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_939-25_0_8_line_73 |  | 70 | 71 | 0.02797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_939-25_0_8_line_74 |  | 71 | 74 | 0.038165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_939-25_0_8_line_75 |  | 72 | 75 | 0.024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_939-25_0_8_line_76 |  | 74 | 79 | 0.0010777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_939-25_0_8_line_77 |  | 75 | 81 | 0.0013647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_939-25_0_8_line_78 |  | 76 | 77 | 0.001077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_939-25_0_8_line_79 |  | 77 | 78 | 0.012428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_939-25_0_8_line_80 |  | 78 | 94 | 0.0074367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_939-25_0_8_line_81 |  | 80 | 84 | 0.033206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_939-25_0_8_line_82 |  | 80 | 82 | 0.028547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_939-25_0_8_line_83 |  | 81 | 85 | 0.0032932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_939-25_0_8_line_84 |  | 82 | 83 | 0.014761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_939-25_0_8_line_85 |  | 85 | 86 | 4.0687e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_939-25_0_8_line_86 |  | 86 | 87 | 0.0055975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_939-25_0_8_line_87 |  | 87 | 88 | 0.0034474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_939-25_0_8_line_88 |  | 88 | 89 | 0.003207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_939-25_0_8_line_89 |  | 89 | 90 | 0.00051737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_939-25_0_8_line_90 |  | 90 | 91 | 0.0060637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_939-25_0_8_line_91 |  | 91 | 92 | 0.0068187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_939-25_0_8_line_92 |  | 92 | 93 | 0.00061722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_939-25_0_8_line_93 |  | 93 | 97 | 0.00076417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_939-25_0_8_line_94 |  | 94 | 95 | 0.000221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_939-25_0_8_line_95 |  | 95 | 96 | 0.0014159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_939-25_0_8_line_96 |  | 96 | 97 | 0.011502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_939-25_0_8_trafo_44 | 0.63 MVA 20/0.4 kV | 98 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2614232.11 | 1180096.037 | 2614227.331 | 1180093.5806 | 2614218.4431 | 1180085.9668 | 2614216.9023 | 1180081.8499 | 2614217.9416 | 1180078.3728
1 | 2614234.8666 | 1180124.5368 | 2614232.11 | 1180096.037
2 | 2614262.0669 | 1180132.4182 | 2614244.7977 | 1180126.5054 | 2614234.8666 | 1180124.5368
3 | 2614204.7485 | 1180120.0496 | 2614208.7077 | 1180120.2392 | 2614222.719 | 1180122.1288 | 2614234.8666 | 1180124.5368
4 | 2614281.2853 | 1180138.9983 | 2614262.0669 | 1180132.4182
5 | 2614173.1686 | 1180118.7676 | 2614176.2346 | 1180118.6841 | 2614204.7485 | 1180120.0496
6 | 2614173.1686 | 1180118.7676 | 2614164.5859 | 1180119.0013 | 2614142.0633 | 1180124.2449
7 | 2614122.0878 | 1180128.8954 | 2614142.0633 | 1180124.2449
8 | 2614281.2853 | 1180138.9983 | 2614287.9016 | 1180141.4485 | 2614298.1707 | 1180146.3087 | 2614306.6093 | 1180150.1085 | 2614312.6895 | 1180152.4457
9 | 2614281.2853 | 1180138.9983 | 2614277.1685 | 1180155.4037
10 | 2614122.0878 | 1180128.8954 | 2614119.1511 | 1180130.4894 | 2614117.6773 | 1180133.6097 | 2614116.7243 | 1180139.3771 | 2614116.9968 | 1180146.9372
11 | 2614122.0878 | 1180128.8954 | 2614101.0753 | 1180119.2968 | 2614087.4279 | 1180117.7391
12 | 2614312.6895 | 1180152.4457 | 2614330.6468 | 1180159.3482 | 2614337.7185 | 1180161.8963
13 | 2614116.9968 | 1180146.9372 | 2614094.449 | 1180147.1623 | 2614082.1615 | 1180146.322
14 | 2614116.9968 | 1180146.9372 | 2614117.0296 | 1180151.1211
15 | 2614043.9817 | 1180112.7801 | 2614087.4279 | 1180117.7391
16 | 2614338.3748 | 1180162.1328 | 2614337.7185 | 1180161.8963
17 | 2614117.0296 | 1180151.1211 | 2614117.1435 | 1180165.6456
18 | 2614121.1754 | 1180182.4652 | 2614121.1754 | 1180182.4652 | 2614118.373 | 1180178.8901 | 2614117.2084 | 1180173.9293 | 2614117.1435 | 1180165.6456
19 | 2614121.1754 | 1180182.4652 | 2614125.1191 | 1180184.6311 | 2614128.9469 | 1180185.2683
20 | 2614267.951 | 1180193.0833 | 2614267.745 | 1180193.8196
21 | 2614259.5479 | 1180190.4287 | 2614267.951 | 1180193.0833
22 | 2614264.9604 | 1180203.7729 | 2614267.745 | 1180193.8196
23 | 2614259.5479 | 1180190.4287 | 2614254.5934 | 1180173.2748
24 | 2614259.5479 | 1180190.4287 | 2614248.8545 | 1180187.3685 | 2614243.1988 | 1180186.4268
25 | 2614264.9604 | 1180203.7729 | 2614264.5184 | 1180205.3528
26 | 2614243.1988 | 1180186.4268 | 2614242.0993 | 1180186.2437
27 | 2614346.7033 | 1180165.1338 | 2614338.3748 | 1180162.1328
28 | 2614264.5184 | 1180205.3528 | 2614264.4081 | 1180205.7468
29 | 2614213.6313 | 1180185.3535 | 2614230.7346 | 1180185.3023 | 2614240.4561 | 1180185.9701 | 2614242.0993 | 1180186.2437
30 | 2614379.0846 | 1180176.2056 | 2614372.727 | 1180171.01 | 2614370.0896 | 1180168.7915 | 2614365.0916 | 1180166.7563 | 2614357.5487 | 1180165.3264 | 2614346.7033 | 1180165.1338
31 | 2614264.4081 | 1180205.7468 | 2614264.3767 | 1180205.8591 | 2614260.9336 | 1180215.6545
32 | 2614213.6313 | 1180185.3535 | 2614196.0016 | 1180185.4062
33 | 2614130.9446 | 1180185.6008 | 2614130.9446 | 1180185.6008 | 2614128.9469 | 1180185.2683
34 | 2614130.9446 | 1180185.6008 | 2614134.8048 | 1180185.5893
35 | 2614138.5441 | 1180185.5781 | 2614134.8048 | 1180185.5893
36 | 2614138.5441 | 1180185.5781 | 2614140.5573 | 1180185.5721
37 | 2614030.7577 | 1180262.9937 | 2614028.7921 | 1180287.2595
38 | 2614030.7577 | 1180262.9937 | 2614031.1333 | 1180258.3559
39 | 2614027.584 | 1180302.1745 | 2614028.7921 | 1180287.2595
40 | 2614031.1333 | 1180258.3559 | 2614031.7757 | 1180250.4246
41 | 2614027.584 | 1180302.1745 | 2614042.316 | 1180302.7202 | 2614054.6016 | 1180304.2275 | 2614065.9461 | 1180306.4773 | 2614069.6561 | 1180307.3708
42 | 2614032.7193 | 1180238.7762 | 2614031.7757 | 1180250.4246
43 | 2614031.7757 | 1180250.4246 | 2613997.9592 | 1180242.1526
44 | 2614069.6561 | 1180307.3708 | 2614077.5384 | 1180309.2692
45 | 2614069.6561 | 1180307.3708 | 2614054.3429 | 1180327.6974
46 | 2614102.294 | 1180315.2312 | 2614077.5384 | 1180309.2692
47 | 2614102.294 | 1180315.2312 | 2614105.8461 | 1180316.0867 | 2614112.7175 | 1180317.3149
48 | 2614135.149 | 1180320.7195 | 2614124.3751 | 1180319.3985 | 2614112.7175 | 1180317.3149
49 | 2614135.149 | 1180320.7195 | 2614143.5098 | 1180321.7446 | 2614167.0066 | 1180323.5974
50 | 2614167.0066 | 1180323.5974 | 2614181.4586 | 1180324.737
51 | 2614379.0846 | 1180176.2056 | 2614384.4076 | 1180180.3558
52 | 2614140.5573 | 1180185.5721 | 2614146.2975 | 1180185.5549
53 | 2614183.055 | 1180185.445 | 2614193.1831 | 1180185.4147
54 | 2614183.055 | 1180185.445 | 2614168.9999 | 1180185.487
55 | 2614196.0016 | 1180185.4062 | 2614193.1831 | 1180185.4147
56 | 2614163.1575 | 1180185.5045 | 2614168.9999 | 1180185.487
57 | 2614157.4704 | 1180185.5215 | 2614163.1575 | 1180185.5045
58 | 2614151.8099 | 1180185.5384 | 2614157.4704 | 1180185.5215
59 | 2614146.2975 | 1180185.5549 | 2614151.8099 | 1180185.5384
60 | 2614314.7587 | 1180359.538 | 2614297.7769 | 1180412.1347
61 | 2614297.7769 | 1180412.1347 | 2614256.8409 | 1180572.2626
62 | 2614339.9332 | 1180368.3108 | 2614320.8928 | 1180361.751 | 2614314.7587 | 1180359.538
63 | 2614314.7587 | 1180359.538 | 2614308.889 | 1180357.4203 | 2614305.7581 | 1180356.1356
64 | 2614256.8409 | 1180572.2626 | 2614250.0514 | 1180572.2021 | 2614237.9008 | 1180570.6069
65 | 2614360.4051 | 1180306.2389 | 2614339.9332 | 1180368.3108
66 | 2614290.9579 | 1180350.0628 | 2614305.7581 | 1180356.1356
67 | 2614219.2223 | 1180568.1547 | 2614237.9008 | 1180570.6069
68 | 2614201.2022 | 1180326.2938 | 2614210.1212 | 1180327.0819 | 2614211.6793 | 1180323.8617 | 2614214.4343 | 1180321.5559 | 2614217.8889 | 1180320.5747 | 2614221.4468 | 1180321.0945
69 | 2614201.2022 | 1180326.2938 | 2614196.9078 | 1180325.9552
70 | 2614221.4468 | 1180321.0945 | 2614227.6187 | 1180307.9357 | 2614230.8537 | 1180300.2696
71 | 2614221.4468 | 1180321.0945 | 2614224.6268 | 1180323.192 | 2614226.582 | 1180326.4427 | 2614226.9244 | 1180330.2232
72 | 2614196.9078 | 1180325.9552 | 2614181.4586 | 1180324.737
73 | 2614226.9244 | 1180330.2232 | 2614237.3536 | 1180331.9154 | 2614246.2161 | 1180333.9596 | 2614254.0342 | 1180336.7735
74 | 2614289.9439 | 1180349.6979 | 2614254.0342 | 1180336.7735
75 | 2614239.1095 | 1180277.7421 | 2614232.8723 | 1180295.4861 | 2614230.8537 | 1180300.2696
76 | 2614290.9579 | 1180350.0628 | 2614289.9439 | 1180349.6979
77 | 2614239.1095 | 1180277.7421 | 2614239.562 | 1180276.4546
78 | 2614260.5765 | 1180216.6705 | 2614260.9336 | 1180215.6545
79 | 2614256.4553 | 1180228.3949 | 2614260.5765 | 1180216.6705
80 | 2614256.4553 | 1180228.3949 | 2614253.9892 | 1180235.4108
81 | 2614378.3062 | 1180278.245 | 2614360.4051 | 1180306.2389
82 | 2614360.4051 | 1180306.2389 | 2614333.4021 | 1180296.9782
83 | 2614240.6541 | 1180273.3478 | 2614239.562 | 1180276.4546
84 | 2614319.4391 | 1180292.1897 | 2614333.4021 | 1180296.9782
85 | 2614240.6676 | 1180273.3094 | 2614240.6541 | 1180273.3478
86 | 2614242.5238 | 1180268.0286 | 2614240.6676 | 1180273.3094
87 | 2614243.667 | 1180264.7763 | 2614242.5238 | 1180268.0286
88 | 2614243.667 | 1180264.7763 | 2614244.7305 | 1180261.7508
89 | 2614244.9021 | 1180261.2627 | 2614244.7305 | 1180261.7508
90 | 2614246.9129 | 1180255.5421 | 2614244.9021 | 1180261.2627
91 | 2614246.9129 | 1180255.5421 | 2614249.1741 | 1180249.1092
92 | 2614249.3788 | 1180248.5269 | 2614249.1741 | 1180249.1092
93 | 2614249.6322 | 1180247.806 | 2614249.3788 | 1180248.5269
94 | 2614253.9892 | 1180235.4108 | 2614253.9159 | 1180235.6192
95 | 2614253.9159 | 1180235.6192 | 2614253.4464 | 1180236.955
96 | 2614253.4464 | 1180236.955 | 2614249.6322 | 1180247.806

## bus_geodata
| x | y | coords
0 | 2614232.11 | 1180096.037
1 | 2614217.9416 | 1180078.3728
2 | 2614234.8666 | 1180124.5368
3 | 2614262.0669 | 1180132.4182
4 | 2614204.7485 | 1180120.0496
5 | 2614173.1686 | 1180118.7676
6 | 2614142.0633 | 1180124.2449
7 | 2614281.2853 | 1180138.9983
8 | 2614122.0878 | 1180128.8954
9 | 2614312.6895 | 1180152.4457
10 | 2614277.1685 | 1180155.4037
11 | 2614116.9968 | 1180146.9372
12 | 2614087.4279 | 1180117.7391
13 | 2614337.7185 | 1180161.8963
14 | 2614082.1615 | 1180146.322
15 | 2614117.0296 | 1180151.1211
16 | 2614043.9817 | 1180112.7801
17 | 2614117.1435 | 1180165.6456
18 | 2614121.1754 | 1180182.4652
19 | 2614267.951 | 1180193.0833
20 | 2614267.745 | 1180193.8196
21 | 2614259.5479 | 1180190.4287
22 | 2614264.9604 | 1180203.7729
23 | 2614254.5934 | 1180173.2748
24 | 2614243.1988 | 1180186.4268
25 | 2614338.3748 | 1180162.1328
26 | 2614264.5184 | 1180205.3528
27 | 2614242.0993 | 1180186.2437
28 | 2614346.7033 | 1180165.1338
29 | 2614264.4081 | 1180205.7468
30 | 2614213.6313 | 1180185.3535
31 | 2614128.9469 | 1180185.2683
32 | 2614130.9446 | 1180185.6008
33 | 2614134.8048 | 1180185.5893
34 | 2614138.5441 | 1180185.5781
35 | 2614030.7577 | 1180262.9937
36 | 2614028.7921 | 1180287.2595
37 | 2614031.1333 | 1180258.3559
38 | 2614027.584 | 1180302.1745
39 | 2614031.7757 | 1180250.4246
40 | 2614069.6561 | 1180307.3708
41 | 2614032.7193 | 1180238.7762
42 | 2613997.9592 | 1180242.1526
43 | 2614077.5384 | 1180309.2692
44 | 2614054.3429 | 1180327.6974
45 | 2614102.294 | 1180315.2312
46 | 2614112.7175 | 1180317.3149
47 | 2614135.149 | 1180320.7195
48 | 2614167.0066 | 1180323.5974
49 | 2614384.4076 | 1180180.3558
50 | 2614379.0846 | 1180176.2056
51 | 2614140.5573 | 1180185.5721
52 | 2614183.055 | 1180185.445
53 | 2614193.1831 | 1180185.4147
54 | 2614168.9999 | 1180185.487
55 | 2614196.0016 | 1180185.4062
56 | 2614163.1575 | 1180185.5045
57 | 2614157.4704 | 1180185.5215
58 | 2614151.8099 | 1180185.5384
59 | 2614146.2975 | 1180185.5549
60 | 2614297.7769 | 1180412.1347
61 | 2614314.7587 | 1180359.538
62 | 2614256.8409 | 1180572.2626
63 | 2614339.9332 | 1180368.3108
64 | 2614305.7581 | 1180356.1356
65 | 2614219.2223 | 1180568.1547
66 | 2614237.9008 | 1180570.6069
67 | 2614201.2022 | 1180326.2938
68 | 2614221.4468 | 1180321.0945
69 | 2614196.9078 | 1180325.9552
70 | 2614226.9244 | 1180330.2232
71 | 2614254.0342 | 1180336.7735
72 | 2614230.8537 | 1180300.2696
73 | 2614181.4586 | 1180324.737
74 | 2614289.9439 | 1180349.6979
75 | 2614239.1095 | 1180277.7421
76 | 2614260.9336 | 1180215.6545
77 | 2614260.5765 | 1180216.6705
78 | 2614256.4553 | 1180228.3949
79 | 2614290.9579 | 1180350.0628
80 | 2614360.4051 | 1180306.2389
81 | 2614239.562 | 1180276.4546
82 | 2614333.4021 | 1180296.9782
83 | 2614319.4391 | 1180292.1897
84 | 2614378.3062 | 1180278.245
85 | 2614240.6541 | 1180273.3478
86 | 2614240.6676 | 1180273.3094
87 | 2614242.5238 | 1180268.0286
88 | 2614243.667 | 1180264.7763
89 | 2614244.7305 | 1180261.7508
90 | 2614244.9021 | 1180261.2627
91 | 2614246.9129 | 1180255.5421
92 | 2614249.1741 | 1180249.1092
93 | 2614249.3788 | 1180248.5269
94 | 2614253.9892 | 1180235.4108
95 | 2614253.9159 | 1180235.6192
96 | 2614253.4464 | 1180236.955
97 | 2614249.6322 | 1180247.806
98 | 2614116.9968 | 1180146.9372

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1