## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_939-27_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_939-27_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_939-27_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_939-27_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_939-27_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_939-27_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_939-27_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_939-27_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_939-27_0_3_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_939-27_0_3_node_138 | 0.4 | n |  | TRUE
10 | bus_LV_939-27_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_939-27_0_3_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_939-27_0_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_939-27_0_3_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_939-27_0_3_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_939-27_0_3_node_88 | 0.4 | n |  | TRUE
16 | bus_LV_939-27_0_3_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_939-27_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_939-27_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_939-27_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_939-27_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_939-27_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_939-27_0_3_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_939-27_0_3_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_939-27_0_3_node_123 | 0.4 | n |  | TRUE
25 | bus_LV_939-27_0_3_node_124 | 0.4 | n |  | TRUE
26 | bus_LV_939-27_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_939-27_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_939-27_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_939-27_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_939-27_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_939-27_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_939-27_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_939-27_0_3_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_939-27_0_3_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_939-27_0_3_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_939-27_0_3_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_939-27_0_3_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_939-27_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_939-27_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_939-27_0_3_node_121 | 0.4 | n |  | TRUE
41 | bus_LV_939-27_0_3_node_120 | 0.4 | n |  | TRUE
42 | bus_LV_939-27_0_3_node_122 | 0.4 | n |  | TRUE
43 | bus_LV_939-27_0_3_node_119 | 0.4 | n |  | TRUE
44 | bus_LV_939-27_0_3_node_125 | 0.4 | n |  | TRUE
45 | bus_LV_939-27_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_939-27_0_3_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_939-27_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_939-27_0_3_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_939-27_0_3_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_939-27_0_3_node_105 | 0.4 | n |  | TRUE
51 | bus_LV_939-27_0_3_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_939-27_0_3_node_137 | 0.4 | n |  | TRUE
53 | bus_LV_939-27_0_3_node_135 | 0.4 | n |  | TRUE
54 | bus_LV_939-27_0_3_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_939-27_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_939-27_0_3_node_136 | 0.4 | n |  | TRUE
57 | bus_LV_939-27_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_939-27_0_3_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_939-27_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_939-27_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_939-27_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_939-27_0_3_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_939-27_0_3_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_939-27_0_3_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_939-27_0_3_node_39 | 0.4 | n |  | TRUE
66 | bus_LV_939-27_0_3_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_939-27_0_3_node_127 | 0.4 | n |  | TRUE
68 | bus_LV_939-27_0_3_node_128 | 0.4 | n |  | TRUE
69 | bus_LV_939-27_0_3_node_118 | 0.4 | n |  | TRUE
70 | bus_LV_939-27_0_3_node_117 | 0.4 | n |  | TRUE
71 | bus_LV_939-27_0_3_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_939-27_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_939-27_0_3_node_99 | 0.4 | n |  | TRUE
74 | bus_LV_939-27_0_3_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_939-27_0_3_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_939-27_0_3_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_939-27_0_3_node_108 | 0.4 | n |  | TRUE
78 | bus_LV_939-27_0_3_node_95 | 0.4 | n |  | TRUE
79 | bus_LV_939-27_0_3_node_106 | 0.4 | n |  | TRUE
80 | bus_LV_939-27_0_3_node_107 | 0.4 | n |  | TRUE
81 | bus_LV_939-27_0_3_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_939-27_0_3_node_56 | 0.4 | n |  | TRUE
83 | bus_LV_939-27_0_3_node_83 | 0.4 | n |  | TRUE
84 | bus_LV_939-27_0_3_node_57 | 0.4 | n |  | TRUE
85 | bus_LV_939-27_0_3_node_58 | 0.4 | n |  | TRUE
86 | bus_LV_939-27_0_3_node_60 | 0.4 | n |  | TRUE
87 | bus_LV_939-27_0_3_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_939-27_0_3_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_939-27_0_3_node_134 | 0.4 | n |  | TRUE
90 | bus_LV_939-27_0_3_node_126 | 0.4 | n |  | TRUE
91 | bus_LV_939-27_0_3_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_939-27_0_3_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_939-27_0_3_node_101 | 0.4 | n |  | TRUE
94 | bus_LV_939-27_0_3_node_63 | 0.4 | n |  | TRUE
95 | bus_LV_939-27_0_3_node_64 | 0.4 | n |  | TRUE
96 | bus_LV_939-27_0_3_node_65 | 0.4 | n |  | TRUE
97 | bus_LV_939-27_0_3_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_939-27_0_3_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_939-27_0_3_node_74 | 0.4 | n |  | TRUE
100 | bus_LV_939-27_0_3_node_104 | 0.4 | n |  | TRUE
101 | bus_LV_939-27_0_3_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_939-27_0_3_node_130 | 0.4 | n |  | TRUE
103 | bus_LV_939-27_0_3_node_78 | 0.4 | n |  | TRUE
104 | bus_LV_939-27_0_3_node_66 | 0.4 | n |  | TRUE
105 | bus_LV_939-27_0_3_node_67 | 0.4 | n |  | TRUE
106 | bus_LV_939-27_0_3_node_68 | 0.4 | n |  | TRUE
107 | bus_LV_939-27_0_3_node_69 | 0.4 | n |  | TRUE
108 | bus_LV_939-27_0_3_node_70 | 0.4 | n |  | TRUE
109 | bus_LV_939-27_0_3_node_72 | 0.4 | n |  | TRUE
110 | bus_LV_939-27_0_3_node_131 | 0.4 | n |  | TRUE
111 | bus_LV_939-27_0_3_node_92 | 0.4 | n |  | TRUE
112 | bus_LV_939-27_0_3_node_80 | 0.4 | n |  | TRUE
113 | bus_LV_939-27_0_3_node_129 | 0.4 | n |  | TRUE
114 | bus_LV_939-27_0_3_node_93 | 0.4 | n |  | TRUE
115 | bus_LV_939-27_0_3_node_79 | 0.4 | n |  | TRUE
116 | bus_LV_939-27_0_3_node_84 | 0.4 | n |  | TRUE
117 | bus_LV_939-27_0_3_node_85 | 0.4 | n |  | TRUE
118 | bus_LV_939-27_0_3_node_103 | 0.4 | n |  | TRUE
119 | bus_LV_939-27_0_3_node_89 | 0.4 | n |  | TRUE
120 | bus_LV_939-27_0_3_node_90 | 0.4 | n |  | TRUE
121 | bus_LV_939-27_0_3_node_91 | 0.4 | n |  | TRUE
122 | bus_LV_939-27_0_3_node_112 | 0.4 | n |  | TRUE
123 | bus_LV_939-27_0_3_node_109 | 0.4 | n |  | TRUE
124 | bus_LV_939-27_0_3_node_110 | 0.4 | n |  | TRUE
125 | bus_LV_939-27_0_3_node_132 | 0.4 | n |  | TRUE
126 | bus_LV_939-27_0_3_node_113 | 0.4 | n |  | TRUE
127 | bus_LV_939-27_0_3_node_114 | 0.4 | n |  | TRUE
128 | bus_LV_939-27_0_3_node_133 | 0.4 | n |  | TRUE
129 | bus_MV_107_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_939-27_0_3_load_0 | 0 | 0.0025282 | 0.00063362 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_939-27_0_3_load_1 | 1 | 0.0002743 | 6.8747e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_939-27_0_3_load_3 | 3 | 0.0003347 | 8.3883e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_939-27_0_3_load_6 | 5 | 0.0015295 | 0.00038334 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_939-27_0_3_load_32 | 7 | 0.0027386 | 0.00068636 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_939-27_0_3_load_138 | 9 | 0.002982 | 0.00074735 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_939-27_0_3_load_49 | 12 | 0.0017587 | 0.00044078 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_939-27_0_3_load_45 | 13 | 0.0053406 | 0.0013385 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_939-27_0_3_load_75 | 14 | 0.0015351 | 0.00038472 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_939-27_0_3_load_88 | 15 | 0.00033879 | 8.4909e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_939-27_0_3_load_73 | 16 | 0.00058623 | 0.00014692 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_939-27_0_3_load_8 | 17 | 0.0012375 | 0.00031014 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_939-27_0_3_load_12 | 20 | 0.0002666 | 6.6816e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_939-27_0_3_load_13 | 21 | 0.0018521 | 0.00046417 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_939-27_0_3_load_43 | 22 | 0.0017875 | 0.00044799 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_939-27_0_3_load_123 | 24 | 0.00070452 | 0.00017657 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_939-27_0_3_load_23 | 26 | 0.00070346 | 0.0001763 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_939-27_0_3_load_19 | 27 | 0.00036857 | 9.2373e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_939-27_0_3_load_22 | 30 | 0.00032667 | 8.1871e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_939-27_0_3_load_34 | 31 | 0.0013109 | 0.00032855 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_939-27_0_3_load_35 | 32 | 0.0014865 | 0.00037254 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_939-27_0_3_load_14 | 33 | 0.0015417 | 0.00038639 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_939-27_0_3_load_16 | 35 | 0.0004361 | 0.0001093 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_939-27_0_3_load_18 | 37 | 0.0017861 | 0.00044764 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_939-27_0_3_load_25 | 39 | 0.00042273 | 0.00010594 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_939-27_0_3_load_121 | 40 | 0.00079751 | 0.00019988 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_939-27_0_3_load_120 | 41 | 0.00026059 | 6.5311e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_939-27_0_3_load_122 | 42 | 0.00039982 | 0.00010021 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_939-27_0_3_load_119 | 43 | 0.0011165 | 0.00027981 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_939-27_0_3_load_26 | 45 | 0.00046628 | 0.00011686 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_939-27_0_3_load_29 | 47 | 0.0011042 | 0.00027673 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_939-27_0_3_load_30 | 48 | 0.0017009 | 0.00042628 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_939-27_0_3_load_105 | 50 | 0.0063891 | 0.0016012 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_939-27_0_3_load_54 | 51 | 0.00042405 | 0.00010628 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_939-27_0_3_load_137 | 52 | 0.0017293 | 0.00043341 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_939-27_0_3_load_135 | 53 | 0.0039731 | 0.00099577 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_939-27_0_3_load_86 | 54 | 0.0082467 | 0.0020668 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_939-27_0_3_load_53 | 55 | 0.0015583 | 0.00039055 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_939-27_0_3_load_136 | 56 | 0.0036262 | 0.00090881 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_939-27_0_3_load_41 | 57 | 0.0029322 | 0.00073488 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_939-27_0_3_load_42 | 59 | 0.0014459 | 0.00036237 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_939-27_0_3_load_46 | 61 | 0.0012899 | 0.00032327 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_939-27_0_3_load_36 | 62 | 0.0022998 | 0.00057638 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_939-27_0_3_load_37 | 63 | 0.0022645 | 0.00056754 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_939-27_0_3_load_38 | 64 | 0.0026864 | 0.00067326 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_939-27_0_3_load_39 | 65 | 0.0054145 | 0.001357 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_939-27_0_3_load_40 | 66 | 0.0027622 | 0.00069228 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_939-27_0_3_load_127 | 67 | 0.0046013 | 0.0011532 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_939-27_0_3_load_128 | 68 | 0.0058798 | 0.0014736 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_939-27_0_3_load_118 | 69 | 0.0030023 | 0.00075244 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_939-27_0_3_load_117 | 70 | 0.0033936 | 0.00085052 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_939-27_0_3_load_51 | 71 | 0.0016503 | 0.0004136 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_939-27_0_3_load_62 | 72 | 0.0012289 | 0.00030798 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_939-27_0_3_load_99 | 73 | 0.0049303 | 0.0012357 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_939-27_0_3_load_76 | 74 | 0.00093159 | 0.00023348 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_939-27_0_3_load_77 | 75 | 0.0025092 | 0.00062886 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_939-27_0_3_load_108 | 77 | 0.00043455 | 0.00010891 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_939-27_0_3_load_106 | 79 | 0.0011823 | 0.00029631 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_939-27_0_3_load_107 | 80 | 0.0029592 | 0.00074165 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_939-27_0_3_load_56 | 82 | 0.0014215 | 0.00035625 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_939-27_0_3_load_83 | 83 | 0.00023394 | 5.8632e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_939-27_0_3_load_57 | 84 | 0.0028379 | 0.00071125 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_939-27_0_3_load_58 | 85 | 0.00028593 | 7.1661e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_939-27_0_3_load_94 | 88 | 0.0012678 | 0.00031775 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_939-27_0_3_load_134 | 89 | 0.0050884 | 0.0012753 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_939-27_0_3_load_126 | 90 | 0.0044847 | 0.001124 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_939-27_0_3_load_81 | 92 | 0.0017029 | 0.00042679 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_939-27_0_3_load_101 | 93 | 0.003682 | 0.0009228 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_939-27_0_3_load_65 | 96 | 0.00040337 | 0.00010109 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_939-27_0_3_load_98 | 97 | 0.0013794 | 0.0003457 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_939-27_0_3_load_97 | 98 | 0.0013318 | 0.00033378 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_939-27_0_3_load_74 | 99 | 0.00051317 | 0.00012861 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_939-27_0_3_load_78 | 103 | 0.0028332 | 0.00071007 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_939-27_0_3_load_66 | 104 | 0.00027748 | 6.9543e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_939-27_0_3_load_67 | 105 | 0.00047807 | 0.00011981 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_939-27_0_3_load_69 | 107 | 0.00067898 | 0.00017017 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_939-27_0_3_load_131 | 110 | 0.0033974 | 0.00085147 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_939-27_0_3_load_92 | 111 | 0.0013306 | 0.00033348 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_939-27_0_3_load_80 | 112 | 0.0013778 | 0.00034532 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_939-27_0_3_load_129 | 113 | 0.0040097 | 0.0010049 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_939-27_0_3_load_93 | 114 | 0.0003888 | 9.7442e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_939-27_0_3_load_79 | 115 | 0.00044223 | 0.00011083 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_939-27_0_3_load_85 | 117 | 0.01127 | 0.0028245 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_939-27_0_3_load_103 | 118 | 0.0017547 | 0.00043978 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_939-27_0_3_load_91 | 121 | 0.0056413 | 0.0014139 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_939-27_0_3_load_112 | 122 | 0.003456 | 0.00086616 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_939-27_0_3_load_109 | 123 | 0.0036856 | 0.00092369 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_939-27_0_3_load_110 | 124 | 0.00073901 | 0.00018521 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_939-27_0_3_load_132 | 125 | 0.0027505 | 0.00068933 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_939-27_0_3_load_113 | 126 | 0.00041523 | 0.00010407 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_939-27_0_3_load_114 | 127 | 0.00084745 | 0.00021239 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_939-27_0_3_load_133 | 128 | 0.0061321 | 0.0015369 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_939-27_0_3_line_0 |  | 0 | 1 | 0.011867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_939-27_0_3_line_1 |  | 0 | 2 | 0.17483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_939-27_0_3_line_2 |  | 1 | 3 | 0.021246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_939-27_0_3_line_3 |  | 2 | 4 | 0.042563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_939-27_0_3_line_4 |  | 3 | 5 | 0.0063908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_939-27_0_3_line_5 |  | 4 | 6 | 0.077371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_939-27_0_3_line_6 |  | 4 | 7 | 0.069026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_939-27_0_3_line_7 |  | 5 | 10 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_939-27_0_3_line_8 |  | 6 | 8 | 0.16816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_939-27_0_3_line_9 |  | 6 | 9 | 0.053053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_939-27_0_3_line_10 |  | 7 | 11 | 0.056086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_939-27_0_3_line_11 |  | 8 | 12 | 0.036102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_939-27_0_3_line_12 |  | 8 | 13 | 0.023956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_939-27_0_3_line_13 |  | 10 | 14 | 0.010331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_939-27_0_3_line_14 |  | 10 | 15 | 0.015829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_939-27_0_3_line_15 |  | 11 | 49 | 0.054234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_939-27_0_3_line_16 |  | 11 | 45 | 0.11235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_939-27_0_3_line_17 |  | 13 | 61 | 0.0034187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_939-27_0_3_line_18 |  | 14 | 16 | 0.027712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_939-27_0_3_line_19 |  | 16 | 99 | 0.015969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_939-27_0_3_line_20 |  | 17 | 18 | 0.014466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_939-27_0_3_line_21 |  | 17 | 19 | 0.051758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_939-27_0_3_line_22 |  | 18 | 20 | 0.13716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_939-27_0_3_line_23 |  | 19 | 21 | 0.039467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_939-27_0_3_line_24 |  | 20 | 22 | 0.051254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_939-27_0_3_line_25 |  | 21 | 23 | 0.039183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_939-27_0_3_line_26 |  | 23 | 31 | 0.069833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_939-27_0_3_line_27 |  | 23 | 32 | 0.01513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_939-27_0_3_line_28 |  | 24 | 25 | 0.12443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_939-27_0_3_line_29 |  | 24 | 26 | 0.19237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_939-27_0_3_line_30 |  | 25 | 44 | 0.09008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_939-27_0_3_line_31 |  | 26 | 29 | 0.077133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_939-27_0_3_line_32 |  | 27 | 28 | 0.0092665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_939-27_0_3_line_33 |  | 27 | 29 | 0.0065036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_939-27_0_3_line_34 |  | 28 | 30 | 0.16667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_939-27_0_3_line_35 |  | 30 | 36 | 0.01279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_939-27_0_3_line_36 |  | 31 | 57 | 0.00952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_939-27_0_3_line_37 |  | 32 | 58 | 0.05624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_939-27_0_3_line_38 |  | 33 | 34 | 0.038199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_939-27_0_3_line_39 |  | 33 | 35 | 0.0091203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_939-27_0_3_line_40 |  | 34 | 36 | 0.061157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_939-27_0_3_line_41 |  | 34 | 37 | 0.013408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_939-27_0_3_line_42 |  | 36 | 38 | 0.10857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_939-27_0_3_line_43 |  | 37 | 39 | 0.042546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_939-27_0_3_line_44 |  | 38 | 40 | 0.054001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_939-27_0_3_line_45 |  | 38 | 41 | 0.090847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_939-27_0_3_line_46 |  | 40 | 42 | 0.010715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_939-27_0_3_line_47 |  | 41 | 43 | 0.025332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_939-27_0_3_line_48 |  | 43 | 127 | 0.22478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_939-27_0_3_line_49 |  | 44 | 89 | 0.13943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_939-27_0_3_line_50 |  | 44 | 90 | 0.12878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_939-27_0_3_line_51 |  | 45 | 46 | 0.0037852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_939-27_0_3_line_52 |  | 46 | 47 | 0.11187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_939-27_0_3_line_53 |  | 46 | 48 | 0.084664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_939-27_0_3_line_54 |  | 47 | 50 | 0.24166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_939-27_0_3_line_55 |  | 48 | 51 | 0.027748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_939-27_0_3_line_56 |  | 49 | 52 | 0.026453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_939-27_0_3_line_57 |  | 49 | 53 | 0.050353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_939-27_0_3_line_58 |  | 50 | 54 | 0.051566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_939-27_0_3_line_59 |  | 51 | 55 | 0.02066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_939-27_0_3_line_60 |  | 53 | 56 | 0.0089191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_939-27_0_3_line_61 |  | 54 | 116 | 0.035251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_939-27_0_3_line_62 |  | 55 | 81 | 0.037882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_939-27_0_3_line_63 |  | 57 | 59 | 0.013828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_939-27_0_3_line_64 |  | 58 | 60 | 0.074236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_939-27_0_3_line_65 |  | 58 | 61 | 0.1478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_939-27_0_3_line_66 |  | 59 | 66 | 0.0062217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_939-27_0_3_line_67 |  | 60 | 69 | 0.0090497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_939-27_0_3_line_68 |  | 62 | 63 | 0.018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_939-27_0_3_line_69 |  | 62 | 64 | 0.0091405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_939-27_0_3_line_70 |  | 63 | 65 | 0.010545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_939-27_0_3_line_71 |  | 64 | 66 | 0.02152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_939-27_0_3_line_72 |  | 65 | 67 | 0.025985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_939-27_0_3_line_73 |  | 67 | 68 | 0.002294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_939-27_0_3_line_74 |  | 69 | 70 | 0.024732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_939-27_0_3_line_75 |  | 70 | 122 | 0.0069676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_939-27_0_3_line_76 |  | 71 | 72 | 0.31559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_939-27_0_3_line_77 |  | 72 | 73 | 0.21206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_939-27_0_3_line_78 |  | 73 | 93 | 0.11176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_939-27_0_3_line_79 |  | 74 | 75 | 0.00035356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_939-27_0_3_line_80 |  | 75 | 103 | 0.025697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_939-27_0_3_line_81 |  | 76 | 77 | 0.044466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_939-27_0_3_line_82 |  | 76 | 78 | 0.2147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_939-27_0_3_line_83 |  | 77 | 80 | 0.056524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_939-27_0_3_line_84 |  | 78 | 88 | 0.21848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_939-27_0_3_line_85 |  | 79 | 80 | 0.0030902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_939-27_0_3_line_86 |  | 81 | 82 | 0.06918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_939-27_0_3_line_87 |  | 82 | 83 | 0.035187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_939-27_0_3_line_88 |  | 84 | 85 | 0.05971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_939-27_0_3_line_89 |  | 85 | 86 | 0.018305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_939-27_0_3_line_90 |  | 86 | 87 | 0.003586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_939-27_0_3_line_91 |  | 86 | 88 | 0.0084806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_939-27_0_3_line_92 |  | 87 | 91 | 0.065782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_939-27_0_3_line_93 |  | 87 | 92 | 0.015619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_939-27_0_3_line_94 |  | 89 | 128 | 0.027699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_939-27_0_3_line_95 |  | 91 | 111 | 0.038267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_939-27_0_3_line_96 |  | 92 | 115 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_939-27_0_3_line_97 |  | 93 | 100 | 0.007548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_939-27_0_3_line_98 |  | 94 | 95 | 0.064803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_939-27_0_3_line_99 |  | 94 | 96 | 0.042998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_939-27_0_3_line_100 |  | 95 | 97 | 0.16951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_939-27_0_3_line_101 |  | 95 | 98 | 0.031761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_939-27_0_3_line_102 |  | 96 | 99 | 0.039608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_939-27_0_3_line_103 |  | 97 | 102 | 0.023042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_939-27_0_3_line_104 |  | 98 | 103 | 0.10868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_939-27_0_3_line_105 |  | 100 | 101 | 0.21835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_939-27_0_3_line_106 |  | 101 | 118 | 0.012247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_939-27_0_3_line_107 |  | 101 | 117 | 0.1352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_939-27_0_3_line_108 |  | 102 | 125 | 0.0183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_939-27_0_3_line_109 |  | 102 | 113 | 0.022161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_939-27_0_3_line_110 |  | 104 | 105 | 0.017738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_939-27_0_3_line_111 |  | 104 | 106 | 0.014801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_939-27_0_3_line_112 |  | 105 | 107 | 0.030075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_939-27_0_3_line_113 |  | 106 | 108 | 0.19698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_939-27_0_3_line_114 |  | 107 | 109 | 0.01879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_939-27_0_3_line_115 |  | 108 | 110 | 0.046396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_939-27_0_3_line_116 |  | 109 | 112 | 0.06344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_939-27_0_3_line_117 |  | 110 | 113 | 0.22436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_939-27_0_3_line_118 |  | 111 | 114 | 0.024469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_939-27_0_3_line_119 |  | 112 | 115 | 0.0047528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_939-27_0_3_line_120 |  | 116 | 117 | 0.020589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_939-27_0_3_line_121 |  | 119 | 120 | 0.084829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_939-27_0_3_line_122 |  | 119 | 121 | 0.01599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_939-27_0_3_line_123 |  | 120 | 122 | 0.0062846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_939-27_0_3_line_124 |  | 120 | 123 | 0.039203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_939-27_0_3_line_125 |  | 123 | 124 | 0.031353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_939-27_0_3_line_126 |  | 125 | 128 | 0.030638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_939-27_0_3_line_127 |  | 126 | 127 | 0.028855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_939-27_0_3_trafo_88 | 0.63 MVA 20/0.4 kV | 129 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2617097.9399 | 1179924.0627 | 2617086.078 | 1179923.7315
1 | 2617224.1387 | 1180013.6469 | 2617221.4537 | 1180007.0247 | 2617218.4635 | 1180000.3127 | 2617215.6371 | 1179995.0574 | 2617211.5918 | 1179988.7204 | 2617206.7844 | 1179981.7475 | 2617199.5987 | 1179973.1003 | 2617193.3726 | 1179965.4119 | 2617187.453 | 1179957.3797 | 2617171.9219 | 1179934.2235 | 2617167.3111 | 1179927.9293 | 2617164.6607 | 1179925.2315 | 2617161.8855 | 1179923.4337 | 2617157.9028 | 1179921.8549 | 2617154.3153 | 1179920.9887 | 2617150.4049 | 1179920.833 | 2617141.1293 | 1179921.8182 | 2617131.0054 | 1179922.9121 | 2617119.8289 | 1179923.5251 | 2617098.845 | 1179924.0879 | 2617097.9399 | 1179924.0627
2 | 2617065.2101 | 1179920.3052 | 2617078.8954 | 1179923.531 | 2617086.078 | 1179923.7315
3 | 2617247.5621 | 1180049.2212 | 2617224.1387 | 1180013.6469
4 | 2617065.2101 | 1179920.3052 | 2617060.8506 | 1179919.2776 | 2617059.0559 | 1179918.6186
5 | 2617247.5621 | 1180049.2212 | 2617247.3983 | 1180053.0893 | 2617247.8001 | 1180056.8035 | 2617248.6074 | 1180060.2743 | 2617252.9893 | 1180074.4275 | 2617254.2495 | 1180079.7671 | 2617255.3362 | 1180087.0296 | 2617258.7767 | 1180093.8318 | 2617261.9471 | 1180098.9213 | 2617266.6344 | 1180105.1268 | 2617277.511 | 1180118.3982
6 | 2617247.5621 | 1180049.2212 | 2617250.7101 | 1180040.8481 | 2617253.1716 | 1180034.841 | 2617255.6063 | 1180030.1455 | 2617257.9965 | 1180025.0275 | 2617259.4595 | 1180020.9407 | 2617260.318 | 1180017.208 | 2617260.7743 | 1180012.5958 | 2617261.8329 | 1179992.3884 | 2617262.5213 | 1179986.7319 | 2617263.3502 | 1179982.9084
7 | 2617042.6065 | 1179912.578 | 2617059.0559 | 1179918.6186
8 | 2617277.511 | 1180118.3982 | 2617283.4947 | 1180125.2856 | 2617288.8515 | 1180132.3713 | 2617291.9069 | 1180137.6161 | 2617295.6429 | 1180145.1974 | 2617304.3256 | 1180164.3767 | 2617308.4697 | 1180176.1391 | 2617322.9854 | 1180217.3243 | 2617324.7051 | 1180224.8442 | 2617325.9431 | 1180232.5962 | 2617326.5808 | 1180241.8806 | 2617326.8812 | 1180275.4765
9 | 2617226.1617 | 1180107.3342 | 2617236.1995 | 1180106.8516 | 2617252.79 | 1180109.2559 | 2617271.9167 | 1180116.8591 | 2617277.511 | 1180118.3982
10 | 2617263.4313 | 1179927.8265 | 2617263.9228 | 1179937.544 | 2617265.1445 | 1179945.6517 | 2617267.1312 | 1179953.3836 | 2617267.9966 | 1179957.8995 | 2617268.1239 | 1179961.4461 | 2617267.7932 | 1179964.8914 | 2617266.8089 | 1179969.8689 | 2617263.6437 | 1179981.5547 | 2617263.3502 | 1179982.9084
11 | 2617360.7071 | 1180262.9342 | 2617354.1044 | 1180264.1825 | 2617326.8812 | 1180275.4765
12 | 2617326.8812 | 1180275.4765 | 2617316.3192 | 1180280.4042 | 2617305.2366 | 1180285.7417
13 | 2617042.6065 | 1179912.578 | 2617040.5673 | 1179909.8153 | 2617038.4663 | 1179907.2969 | 2617035.9081 | 1179904.7396
14 | 2617042.6065 | 1179912.578 | 2617045.9356 | 1179923.7821 | 2617047.5688 | 1179927.5877
15 | 2617263.4313 | 1179927.8265 | 2617270.7101 | 1179927.9586 | 2617273.5878 | 1179928.645 | 2617276.1044 | 1179930.0418 | 2617278.5412 | 1179932.639 | 2617282.5745 | 1179937.831 | 2617287.3572 | 1179942.7584 | 2617291.4262 | 1179946.1608 | 2617296.846 | 1179949.9783 | 2617302.8583 | 1179954.9648 | 2617305.9731 | 1179958.1643
16 | 2617263.4313 | 1179927.8265 | 2617263.7834 | 1179916.8997 | 2617263.8189 | 1179907.1948 | 2617262.4108 | 1179897.4969 | 2617260.5378 | 1179887.4085 | 2617255.5285 | 1179868.2732 | 2617255.0396 | 1179862.9691 | 2617255.1834 | 1179858.0892 | 2617256.0519 | 1179853.5561 | 2617257.8613 | 1179848.5698 | 2617260.519 | 1179843.3748 | 2617263.611 | 1179838.6034 | 2617266.7476 | 1179834.2324 | 2617273.4602 | 1179826.8145 | 2617276.7226 | 1179823.2444
17 | 2617305.2366 | 1180285.7417 | 2617305.2366 | 1180285.7417 | 2617302.0678 | 1180287.0247
18 | 2617017.7326 | 1179884.1819 | 2617020.1638 | 1179888.8023 | 2617023.0473 | 1179892.8459 | 2617026.6652 | 1179896.458 | 2617035.1987 | 1179904.0304 | 2617035.9081 | 1179904.7396
19 | 2617017.7326 | 1179884.1819 | 2617017.7326 | 1179884.1819 | 2617016.2693 | 1179880.3203 | 2617012.7483 | 1179869.0165
20 | 2617104.3638 | 1180424.8499 | 2617116.3029 | 1180433.0192
21 | 2617159.0189 | 1180462.247 | 2617116.3029 | 1180433.0192
22 | 2617104.3638 | 1180424.8499 | 2617098.1202 | 1180434.2148 | 2617096.2531 | 1180438.1337 | 2617095.0286 | 1180441.6765 | 2617094.2853 | 1180445.2318 | 2617094.0588 | 1180449.6779 | 2617094.2357 | 1180454.6143 | 2617094.6553 | 1180460.1516 | 2617099.2128 | 1180485.0774 | 2617102.2526 | 1180506.5415 | 2617103.1024 | 1180513.881 | 2617103.3338 | 1180521.1632 | 2617103.0786 | 1180527.6436 | 2617102.4383 | 1180532.5554 | 2617101.387 | 1180536.9992 | 2617097.6598 | 1180547.7941 | 2617096.0532 | 1180554.1262 | 2617095.4779 | 1180557.6708
23 | 2617159.0189 | 1180462.247 | 2617162.4388 | 1180457.5099 | 2617163.5065 | 1180455.3896 | 2617164.0564 | 1180452.7009 | 2617164.0783 | 1180450.3887 | 2617163.4352 | 1180448.2524 | 2617162.0421 | 1180446.6365 | 2617144.0034 | 1180434.3424
24 | 2617110.1836 | 1180606.3987 | 2617109.7573 | 1180604.2465 | 2617107.1319 | 1180595.5345 | 2617099.804 | 1180578.0047 | 2617097.3028 | 1180571.2608 | 2617096.2468 | 1180566.622 | 2617095.4963 | 1180561.9397 | 2617095.4779 | 1180557.6708
25 | 2617134.4528 | 1180404.5696 | 2617131.7282 | 1180406.5073 | 2617129.5967 | 1180409.4138 | 2617128.2497 | 1180413.0674 | 2617128.1018 | 1180416.7355 | 2617128.8552 | 1180420.3618 | 2617130.6101 | 1180423.6573 | 2617133.1983 | 1180426.6774 | 2617137.7251 | 1180430.1698 | 2617143.5492 | 1180434.0329 | 2617144.0034 | 1180434.3424
26 | 2617134.4528 | 1180404.5696 | 2617138.3127 | 1180403.5578 | 2617141.8876 | 1180403.379 | 2617146.7112 | 1180404.5712 | 2617151.1677 | 1180405.9401 | 2617156.6813 | 1180408.8907 | 2617178.5949 | 1180421.8266 | 2617189.2888 | 1180429.4277 | 2617195.5612 | 1180434.0851
27 | 2617134.4528 | 1180404.5696 | 2617133.4665 | 1180402.2545 | 2617133.1214 | 1180400.0524 | 2617133.2581 | 1180397.6626 | 2617133.9605 | 1180395.0744 | 2617136.1915 | 1180390.2563
28 | 2616841.5074 | 1180233.8992 | 2616844.701 | 1180233.5635 | 2616850.9315 | 1180234.2591 | 2616855.9067 | 1180235.9294 | 2616859.3837 | 1180238.0514 | 2616863.3997 | 1180241.3087 | 2616866.7275 | 1180244.8421 | 2616869.1477 | 1180247.9171 | 2616871.7405 | 1180252.0932 | 2616880.5657 | 1180269.8938 | 2616885.0324 | 1180278.5552 | 2616889.9954 | 1180287.2847 | 2616895.9746 | 1180295.8726 | 2616901.5681 | 1180303.0809 | 2616909.9441 | 1180312.1869 | 2616920.8327 | 1180322.7318
29 | 2616920.8327 | 1180322.7318 | 2616907.8701 | 1180514.663
30 | 2616841.5074 | 1180233.8992 | 2616841.9521 | 1180222.3945 | 2616845.9134 | 1180209.7213 | 2616853.4856 | 1180195.0349 | 2616855.0743 | 1180189.5588 | 2616854.1511 | 1180183.7755 | 2616840.738 | 1180159.5366 | 2616837.5399 | 1180150.5674
31 | 2616907.8701 | 1180514.663 | 2616908.8407 | 1180533.4531 | 2616907.385 | 1180543.2541 | 2616903.8403 | 1180549.0026 | 2616893.8327 | 1180552.6097 | 2616863.8022 | 1180560.7964
32 | 2616848.2752 | 1180563.5543 | 2616857.3988 | 1180561.9337
33 | 2616863.8022 | 1180560.7964 | 2616857.3988 | 1180561.9337
34 | 2616848.2752 | 1180563.5543 | 2616818.6184 | 1180544.6171 | 2616790.0369 | 1180526.2167 | 2616780.6953 | 1180521.1103 | 2616744.3582 | 1180501.1432 | 2616721.233 | 1180486.9383 | 2616714.4302 | 1180483.3953 | 2616704.8674 | 1180478.8806
35 | 2616693.3019 | 1180473.4204 | 2616704.8674 | 1180478.8806
36 | 2617195.5612 | 1180434.0851 | 2617198.9528 | 1180436.6034 | 2617202.9226 | 1180440.1085
37 | 2617165.0746 | 1180342.1581 | 2617162.6309 | 1180344.6858 | 2617160.2386 | 1180347.9695 | 2617145.5955 | 1180372.6182 | 2617136.9576 | 1180388.6018 | 2617136.1915 | 1180390.2563
38 | 2616683.7559 | 1180533.6471 | 2616682.88 | 1180535.5123 | 2616681.4076 | 1180537.6983 | 2616676.3363 | 1180543.187 | 2616674.1897 | 1180546.1048 | 2616672.7605 | 1180549.2136 | 2616672.1709 | 1180552.5358 | 2616672.7589 | 1180555.3278 | 2616674.0199 | 1180557.777 | 2616681.7127 | 1180564.1717
39 | 2616688.7263 | 1180570.0018 | 2616681.7127 | 1180564.1717
40 | 2616693.3019 | 1180473.4204 | 2616687.4426 | 1180520.6729 | 2616686.5435 | 1180525.3951 | 2616684.5318 | 1180532.0151 | 2616683.7559 | 1180533.6471
41 | 2616683.7559 | 1180533.6471 | 2616696.8627 | 1180536.4723
42 | 2616591.5888 | 1180435.9754 | 2616620.81 | 1180444.3937 | 2616638.2923 | 1180449.9671 | 2616645.9294 | 1180452.912 | 2616693.3019 | 1180473.4204
43 | 2616696.8627 | 1180536.4723 | 2616702.9832 | 1180537.7915 | 2616705.1364 | 1180537.9753 | 2616707.3828 | 1180537.6258 | 2616709.6228 | 1180536.8317 | 2616721.7413 | 1180532.1185 | 2616729.5456 | 1180529.8167 | 2616737.6392 | 1180527.8273
44 | 2616591.5888 | 1180435.9754 | 2616581.2257 | 1180432.8119 | 2616573.7303 | 1180431.0792 | 2616565.898 | 1180429.6792 | 2616556.6811 | 1180429.0424 | 2616538.4037 | 1180428.9396
45 | 2616591.5888 | 1180435.9754 | 2616576.1809 | 1180437.0112 | 2616569.5795 | 1180437.9269 | 2616563.4277 | 1180439.2106 | 2616538.1294 | 1180445.711 | 2616528.0161 | 1180448.8737 | 2616520.2707 | 1180451.9985 | 2616514.0832 | 1180455.1387 | 2616505.9514 | 1180459.8966 | 2616505.074 | 1180460.4292
46 | 2616538.4037 | 1180428.9396 | 2616537.3201 | 1180428.9335 | 2616529.5389 | 1180428.3563 | 2616527.7351 | 1180428.0537
47 | 2616481.1287 | 1180466.6754 | 2616493.1033 | 1180466.109 | 2616496.2522 | 1180465.295 | 2616499.3874 | 1180463.8807 | 2616505.074 | 1180460.4292
48 | 2616481.1287 | 1180466.6754 | 2616283.469 | 1180359.6431
49 | 2616837.5399 | 1180150.5674 | 2616835.061 | 1180143.8571 | 2616833.6681 | 1180136.6828 | 2616834.2577 | 1180130.7147 | 2616845.874 | 1180101.1098 | 2616851.9663 | 1180080.2939 | 2616852.9798 | 1180072.9597 | 2616853.8819 | 1180061.7676 | 2616857.5352 | 1180039.1773 | 2616859.475 | 1180031.1008 | 2616864.6565 | 1180019.1647 | 2616865.7701 | 1180016.7646
50 | 2616837.5399 | 1180150.5674 | 2616711.6593 | 1180177.7416
51 | 2617279.276 | 1179820.4501 | 2617276.7226 | 1179823.2444
52 | 2617279.276 | 1179820.4501 | 2617272.2676 | 1179816.5169 | 2617268.3848 | 1179814.727 | 2617265.5386 | 1179813.6961 | 2617261.8361 | 1179812.9629 | 2617255.8112 | 1179812.3453 | 2617234.1962 | 1179811.7497 | 2617226.5213 | 1179811.1608 | 2617219.7558 | 1179810.4077 | 2617215.7784 | 1179809.6292 | 2617212.3823 | 1179808.5745 | 2617201.3586 | 1179803.7628 | 2617191.3382 | 1179797.9978 | 2617185.6758 | 1179793.4793 | 2617183.5753 | 1179790.7831 | 2617182.185 | 1179788.1333 | 2617180.058 | 1179782.824
53 | 2617279.276 | 1179820.4501 | 2617284.9022 | 1179816.2864 | 2617299.409 | 1179807.8126 | 2617304.6102 | 1179805.3374 | 2617309.8848 | 1179803.9185 | 2617313.6281 | 1179803.7514 | 2617317.5829 | 1179804.4187 | 2617320.6575 | 1179805.706 | 2617323.8283 | 1179808.0385 | 2617326.5169 | 1179810.7588 | 2617328.9953 | 1179814.8236 | 2617331.4371 | 1179820.9671 | 2617336.592 | 1179834.5667 | 2617338.6952 | 1179838.9639
54 | 2617180.058 | 1179782.824 | 2617249.2653 | 1179551.2813
55 | 2617338.6952 | 1179838.9639 | 2617340.9862 | 1179841.8053 | 2617344.8571 | 1179845.0626 | 2617348.4494 | 1179846.9184 | 2617352.9959 | 1179848.977 | 2617359.54 | 1179852.2976 | 2617361.7834 | 1179853.7389
56 | 2617305.9731 | 1179958.1643 | 2617311.8101 | 1179960.3267 | 2617316.8193 | 1179963.5094 | 2617321.3093 | 1179969.2364 | 2617323.7904 | 1179975.7992
57 | 2617305.9731 | 1179958.1643 | 2617305.4493 | 1179962.3538 | 2617302.6614 | 1179970.3055 | 2617299.8778 | 1179976.7341 | 2617299.1363 | 1179984.9028 | 2617299.8264 | 1179994.6098 | 2617300.312 | 1180003.6936 | 2617300.4318 | 1180007.3602
58 | 2617249.2653 | 1179551.2813 | 2617252.025 | 1179542.5292 | 2617253.7312 | 1179538.91 | 2617257.0669 | 1179534.4617 | 2617279.5252 | 1179510.5175
59 | 2617379.3064 | 1179864.6782 | 2617378.2657 | 1179864.1132 | 2617365.6928 | 1179856.2507 | 2617361.7834 | 1179853.7389
60 | 2617300.4318 | 1180007.3602 | 2617300.723 | 1180016.2746
61 | 2617306.8572 | 1179489.037 | 2617301.0293 | 1179491.5104 | 2617295.4286 | 1179494.6514 | 2617290.8114 | 1179498.4846 | 2617279.5252 | 1179510.5175
62 | 2617414.5791 | 1179877.0582 | 2617407.4607 | 1179876.8597 | 2617401.1112 | 1179874.9293 | 2617394.4123 | 1179872.3308 | 2617385.5946 | 1179868.092 | 2617379.3064 | 1179864.6782
63 | 2617212.8538 | 1180449.7135 | 2617211.7273 | 1180448.3905 | 2617205.3446 | 1180442.2468 | 2617202.9226 | 1180440.1085
64 | 2617165.0746 | 1180342.1581 | 2617159.0343 | 1180333.7143 | 2617121.7366 | 1180289.0295 | 2617117.7997 | 1180284.8717
65 | 2617165.0746 | 1180342.1581 | 2617167.1411 | 1180340.6632 | 2617172.1133 | 1180337.976 | 2617240.3774 | 1180312.0023 | 2617302.0678 | 1180287.0247
66 | 2617212.8538 | 1180449.7135 | 2617216.8873 | 1180454.4506
67 | 2617117.7997 | 1180284.8717 | 2617111.3156 | 1180278.5588
68 | 2617236.3582 | 1180478.1349 | 2617248.0861 | 1180492.4693
69 | 2617236.3582 | 1180478.1349 | 2617230.5701 | 1180471.0605
70 | 2617254.7634 | 1180500.6306 | 2617248.0861 | 1180492.4693
71 | 2617230.5701 | 1180471.0605 | 2617219.2708 | 1180457.2499 | 2617216.8873 | 1180454.4506
72 | 2617254.7634 | 1180500.6306 | 2617255.9477 | 1180502.0781 | 2617272.3698 | 1180519.7375
73 | 2617273.932 | 1180521.4174 | 2617272.3698 | 1180519.7375
74 | 2617111.3156 | 1180278.5588 | 2617096.511 | 1180264.145 | 2617094.1555 | 1180260.8267
75 | 2617090.1223 | 1180255.145 | 2617094.1555 | 1180260.8267
76 | 2616878.8673 | 1179541.3537 | 2616592.9281 | 1179407.8066
77 | 2616950.7279 | 1179341.8446 | 2616878.8673 | 1179541.3537
78 | 2617044.0382 | 1179280.3409 | 2616950.7279 | 1179341.8446
79 | 2616790.1481 | 1179769.3591 | 2616790.4692 | 1179769.5071
80 | 2616790.4692 | 1179769.5071 | 2616793.307 | 1179770.8154 | 2616796.0895 | 1179772.802 | 2616799.1603 | 1179775.4675 | 2616801.5014 | 1179776.897 | 2616804.6911 | 1179778.0064 | 2616807.5542 | 1179778.4814 | 2616812.5802 | 1179778.5176 | 2616813.6168 | 1179778.5774
81 | 2616122.5019 | 1179797.7837 | 2616126.7873 | 1179797.6729 | 2616133.3977 | 1179796.49 | 2616141.8373 | 1179791.1432 | 2616145.261 | 1179784.8269 | 2616146.2558 | 1179778.4597 | 2616149.2349 | 1179769.0777
82 | 2616122.5019 | 1179797.7837 | 2616119.1134 | 1179808.0688 | 2616118.2365 | 1179813.2135 | 2616118.0656 | 1179819.9943 | 2616118.5393 | 1179825.6318 | 2616119.3358 | 1179830.5587 | 2616121.421 | 1179836.2895 | 2616124.1548 | 1179842.2665 | 2616127.639 | 1179850.38 | 2616129.4181 | 1179856.31 | 2616130.3072 | 1179860.8703 | 2616130.8652 | 1179866.4413 | 2616130.5788 | 1179887.7737 | 2616129.4827 | 1179892.0619 | 2616125.7081 | 1179901.0786 | 2616122.5542 | 1179909.3633 | 2616121.3017 | 1179914.9851 | 2616120.9392 | 1179919.164 | 2616121.5746 | 1179924.3128 | 2616123.5717 | 1179931.5552 | 2616134.0814 | 1179963.0996 | 2616136.9103 | 1179967.7429 | 2616140.583 | 1179971.0544 | 2616144.9833 | 1179973.6453 | 2616156.2386 | 1179977.7554 | 2616166.5373 | 1179979.7174 | 2616171.5489 | 1179979.3529
83 | 2616149.2349 | 1179769.0777 | 2616149.5606 | 1179768.0521 | 2616154.7929 | 1179759.5507 | 2616159.7458 | 1179755.4952 | 2616165.1321 | 1179752.2413 | 2616170.0558 | 1179750.5537 | 2616174.6628 | 1179750.177 | 2616180.5142 | 1179750.0482 | 2616189.6611 | 1179751.5402 | 2616196.2297 | 1179755.7892
84 | 2616171.5489 | 1179979.3529 | 2616174.7066 | 1179978.1942 | 2616177.5358 | 1179977.0456 | 2616195.9952 | 1179969.3246 | 2616214.6421 | 1179968.5633 | 2616223.7071 | 1179969.1436 | 2616232.8624 | 1179970.2022 | 2616250.4272 | 1179974.1627 | 2616268.2838 | 1179977.546 | 2616279.8654 | 1179979.6118 | 2616291.3729 | 1179980.8102 | 2616298.5062 | 1179981.0741 | 2616303.1595 | 1179980.4641 | 2616307.1729 | 1179979.2522 | 2616311.1887 | 1179977.1064 | 2616315.5735 | 1179974.1167 | 2616320.5957 | 1179969.8726 | 2616327.1238 | 1179962.3531 | 2616332.0403 | 1179954.8404 | 2616335.7583 | 1179947.0687 | 2616337.4825 | 1179942.2042 | 2616338.458 | 1179937.3933 | 2616339.4392 | 1179930.4702 | 2616339.3379 | 1179914.3616 | 2616339.6499 | 1179911.9835
85 | 2616198.8244 | 1179757.4676 | 2616196.2297 | 1179755.7892
86 | 2617414.5791 | 1179877.0582 | 2617418.7954 | 1179871.8011 | 2617420.1598 | 1179867.525 | 2617420.8965 | 1179861.0461 | 2617421.0182 | 1179855.966 | 2617419.9568 | 1179850.5824 | 2617413.3724 | 1179829.5081 | 2617411.9038 | 1179822.3001 | 2617410.1109 | 1179811.0113
87 | 2617410.1109 | 1179811.0113 | 2617407.9061 | 1179775.8931
88 | 2616366.5372 | 1179981.0525 | 2616355.8858 | 1179946.8121 | 2616348.0111 | 1179924.2986
89 | 2616345.8751 | 1179906.342 | 2616345.3771 | 1179912.5104 | 2616345.9378 | 1179916.992 | 2616347.3893 | 1179922.521 | 2616348.0111 | 1179924.2986
90 | 2616345.8751 | 1179906.342 | 2616346.6026 | 1179902.831
91 | 2616345.8751 | 1179906.342 | 2616340.8615 | 1179910.2081 | 2616339.6499 | 1179911.9835
92 | 2616404.5476 | 1179933.2932 | 2616401.9202 | 1179930.429 | 2616399.0845 | 1179928.3424 | 2616391.3662 | 1179924.097 | 2616376.2025 | 1179916.3073 | 2616353.7699 | 1179904.707 | 2616346.6026 | 1179902.831
93 | 2616346.6026 | 1179902.831 | 2616349.2289 | 1179894.9007 | 2616352.4434 | 1179888.385
94 | 2616874.8468 | 1179990.8684 | 2616873.5037 | 1179999.3127 | 2616871.8387 | 1180004.7441 | 2616867.0311 | 1180014.0466 | 2616865.7701 | 1180016.7646
95 | 2616404.5476 | 1179933.2932 | 2616416.1217 | 1179952.1122 | 2616428.1066 | 1179962.9725
96 | 2616359.0893 | 1179874.9141 | 2616352.4434 | 1179888.385
97 | 2617050.6059 | 1179284.0335 | 2617045.541 | 1179281.4067 | 2617044.0382 | 1179280.3409
98 | 2616996.4182 | 1179788.1168 | 2616988.9172 | 1179785.4498 | 2616984.1878 | 1179783.1686 | 2616964.8713 | 1179771.9194 | 2616960.7367 | 1179769.9846 | 2616957.7071 | 1179768.9755 | 2616954.3549 | 1179768.5881 | 2616951.2754 | 1179769.0241 | 2616949.1491 | 1179770.0186 | 2616946.8837 | 1179771.5908 | 2616944.6139 | 1179774.7194 | 2616943.2155 | 1179777.6169 | 2616942.7338 | 1179780.517
99 | 2616996.4182 | 1179788.1168 | 2616998.7677 | 1179797.3393 | 2617000.4259 | 1179805.2147 | 2617004.5214 | 1179830.3152
100 | 2616942.7338 | 1179780.517 | 2616943.1136 | 1179783.9643 | 2616943.8622 | 1179786.6789 | 2616945.7535 | 1179790.4529 | 2616951.4684 | 1179800.8076 | 2616952.8269 | 1179803.9242 | 2616953.7796 | 1179807.3731 | 2616954.8068 | 1179811.5225 | 2616955.3572 | 1179816.7601 | 2616955.3581 | 1179821.8738 | 2616954.434 | 1179827.2518 | 2616952.9618 | 1179831.9389 | 2616949.9126 | 1179837.9001 | 2616946.7912 | 1179842.3491 | 2616942.269 | 1179847.8726 | 2616928.1417 | 1179860.1613 | 2616922.5747 | 1179865.1149 | 2616917.5803 | 1179870.159 | 2616912.2716 | 1179875.6135 | 2616908.1618 | 1179881.1715 | 2616904.4419 | 1179886.6083 | 2616900.5323 | 1179894.3457 | 2616898.0763 | 1179901.2535 | 2616893.3915 | 1179915.7367 | 2616889.8448 | 1179925.4033
101 | 2616942.7338 | 1179780.517 | 2616934.5082 | 1179785.5743 | 2616922.3298 | 1179794.7002 | 2616916.4565 | 1179798.2968
102 | 2617004.5214 | 1179830.3152 | 2617006.8154 | 1179844.3751 | 2617009.8603 | 1179858.9022 | 2617011.9925 | 1179866.59 | 2617012.7483 | 1179869.0165
103 | 2616875.0843 | 1179942.3434 | 2616880.273 | 1179938.7895 | 2616884.4772 | 1179934.9326 | 2616887.045 | 1179931.7493 | 2616888.396 | 1179929.3519 | 2616889.8448 | 1179925.4033
104 | 2616916.4565 | 1179798.2968 | 2616915.5351 | 1179798.8611 | 2616910.3187 | 1179801.3699 | 2616904.6149 | 1179803.3216 | 2616900.2508 | 1179804.2542 | 2616895.3995 | 1179804.5519 | 2616890.9545 | 1179804.3504 | 2616886.6797 | 1179803.4157 | 2616881.1406 | 1179801.1101 | 2616872.7044 | 1179796.8731 | 2616865.1372 | 1179793.2723 | 2616856.8432 | 1179790.0807 | 2616846.0443 | 1179786.6821 | 2616839.7325 | 1179784.8413 | 2616833.5292 | 1179782.4227 | 2616829.1029 | 1179780.9873 | 2616823.4468 | 1179779.5819 | 2616818.2547 | 1179778.8448 | 2616813.6168 | 1179778.5774
105 | 2617050.6059 | 1179284.0335 | 2617083.8839 | 1179299.4136 | 2617116.0432 | 1179307.876 | 2617173.0071 | 1179324.1133 | 2617200.9289 | 1179334.3761 | 2617230.4077 | 1179342.4534 | 2617258.8795 | 1179347.3375
106 | 2617258.8795 | 1179347.3375 | 2617253.6318 | 1179358.4038
107 | 2617258.8795 | 1179347.3375 | 2617262.5083 | 1179363.2117 | 2617275.7197 | 1179401.8472 | 2617277.539 | 1179409.4118 | 2617306.0243 | 1179446.6573 | 2617305.4831 | 1179454.2263 | 2617301.7671 | 1179463.3981 | 2617301.6331 | 1179469.3238
108 | 2616875.0843 | 1179942.3434 | 2616877.1862 | 1179960.5228
109 | 2616875.0843 | 1179942.3434 | 2616871.5732 | 1179944.1901 | 2616867.7885 | 1179945.5246 | 2616863.433 | 1179946.1238 | 2616853.663 | 1179946.659
110 | 2616410.7316 | 1179891.8889 | 2616408.3919 | 1179887.6914 | 2616406.2234 | 1179881.8047 | 2616404.855 | 1179875.2882
111 | 2616419.6071 | 1179903.6746 | 2616416.3781 | 1179900.1418 | 2616412.01 | 1179894.1824 | 2616410.7316 | 1179891.8889
112 | 2616404.855 | 1179875.2882 | 2616404.572 | 1179873.9406 | 2616402.8127 | 1179845.2968
113 | 2616419.6071 | 1179903.6746 | 2616425.0401 | 1179908.4697 | 2616433.8004 | 1179914.3633 | 2616475.5695 | 1179941.1357 | 2616531.5399 | 1179975.429 | 2616547.8824 | 1179982.1774 | 2616562.8484 | 1179986.7098 | 2616578.5956 | 1179987.6759 | 2616593.8573 | 1179987.4623
114 | 2616397.6398 | 1179827.8536 | 2616399.5969 | 1179830.0489 | 2616401.4443 | 1179833.2556 | 2616402.334 | 1179837.5047 | 2616402.8127 | 1179845.2968
115 | 2616593.8573 | 1179987.4623 | 2616613.2359 | 1179995.5644 | 2616625.8645 | 1180002.8697 | 2616636.7308 | 1180003.9113
116 | 2616397.6398 | 1179827.8536 | 2616395.741 | 1179826.7256 | 2616392.7868 | 1179826.0172 | 2616389.1433 | 1179826.0073 | 2616385.7343 | 1179826.8651 | 2616382.6361 | 1179828.5575 | 2616379.6488 | 1179831.6399 | 2616377.0866 | 1179835.6572 | 2616367.8237 | 1179857.2097 | 2616361.1921 | 1179870.6517
117 | 2616853.663 | 1179946.659 | 2616636.7308 | 1180003.9113
118 | 2616444.3113 | 1179981.1819 | 2616435.3301 | 1179969.518 | 2616428.1066 | 1179962.9725
119 | 2616359.0893 | 1179874.9141 | 2616361.1921 | 1179870.6517
120 | 2617306.8572 | 1179489.037 | 2617302.7095 | 1179478.3418 | 2617301.5745 | 1179471.913 | 2617301.6331 | 1179469.3238
121 | 2617061.8207 | 1180169.6424 | 2617063.1543 | 1180173.4259 | 2617081.9921 | 1180220.8815 | 2617083.715 | 1180227.412 | 2617086.2421 | 1180238.5471 | 2617086.9845 | 1180248.7433 | 2617086.4844 | 1180250.0204
122 | 2617061.8207 | 1180169.6424 | 2617046.857 | 1180175.3918
123 | 2617086.4844 | 1180250.0204 | 2617090.1223 | 1180255.145
124 | 2617086.4844 | 1180250.0204 | 2617069.0483 | 1180255.029 | 2617066.7765 | 1180256.212 | 2617065.1528 | 1180257.7749 | 2617064.1779 | 1180259.4953 | 2617062.2493 | 1180266.2488 | 2617060.4431 | 1180273.2659
125 | 2617060.4431 | 1180273.2659 | 2617058.5578 | 1180280.5902 | 2617056.6366 | 1180287.4104 | 2617054.2412 | 1180294.4628 | 2617052.6126 | 1180300.4724 | 2617052.3126 | 1180303.4876
126 | 2616877.1862 | 1179960.5228 | 2616877.9553 | 1179967.1753 | 2616877.9823 | 1179971.1552 | 2616874.8468 | 1179990.8684
127 | 2616255.887 | 1180351.1666 | 2616283.469 | 1180359.6431

## bus_geodata
| x | y | coords
0 | 2617097.9399 | 1179924.0627
1 | 2617086.078 | 1179923.7315
2 | 2617224.1387 | 1180013.6469
3 | 2617065.2101 | 1179920.3052
4 | 2617247.5621 | 1180049.2212
5 | 2617059.0559 | 1179918.6186
6 | 2617277.511 | 1180118.3982
7 | 2617263.3502 | 1179982.9084
8 | 2617326.8812 | 1180275.4765
9 | 2617226.1617 | 1180107.3342
10 | 2617042.6065 | 1179912.578
11 | 2617263.4313 | 1179927.8265
12 | 2617360.7071 | 1180262.9342
13 | 2617305.2366 | 1180285.7417
14 | 2617035.9081 | 1179904.7396
15 | 2617047.5688 | 1179927.5877
16 | 2617017.7326 | 1179884.1819
17 | 2617116.303 | 1180433.0192
18 | 2617104.3638 | 1180424.8499
19 | 2617159.0189 | 1180462.247
20 | 2617095.4779 | 1180557.6708
21 | 2617144.0034 | 1180434.3424
22 | 2617110.1836 | 1180606.3987
23 | 2617134.4528 | 1180404.5696
24 | 2616920.8327 | 1180322.7318
25 | 2616841.5074 | 1180233.8992
26 | 2616907.8702 | 1180514.663
27 | 2616857.3988 | 1180561.9337
28 | 2616848.2752 | 1180563.5543
29 | 2616863.8022 | 1180560.7964
30 | 2616704.8674 | 1180478.8806
31 | 2617195.5612 | 1180434.0851
32 | 2617136.1915 | 1180390.2563
33 | 2616681.7127 | 1180564.1717
34 | 2616683.7559 | 1180533.6471
35 | 2616688.7263 | 1180570.0018
36 | 2616693.3019 | 1180473.4204
37 | 2616696.8627 | 1180536.4723
38 | 2616591.5888 | 1180435.9754
39 | 2616737.6392 | 1180527.8273
40 | 2616538.4037 | 1180428.9396
41 | 2616505.074 | 1180460.4292
42 | 2616527.7351 | 1180428.0537
43 | 2616481.1287 | 1180466.6754
44 | 2616837.5399 | 1180150.5674
45 | 2617276.7226 | 1179823.2444
46 | 2617279.276 | 1179820.4501
47 | 2617180.058 | 1179782.824
48 | 2617338.6952 | 1179838.9639
49 | 2617305.9731 | 1179958.1643
50 | 2617249.2653 | 1179551.2813
51 | 2617361.7834 | 1179853.7389
52 | 2617323.7904 | 1179975.7992
53 | 2617300.4318 | 1180007.3602
54 | 2617279.5252 | 1179510.5175
55 | 2617379.3064 | 1179864.6782
56 | 2617300.723 | 1180016.2746
57 | 2617202.9226 | 1180440.1085
58 | 2617165.0746 | 1180342.1581
59 | 2617212.8538 | 1180449.7135
60 | 2617117.7997 | 1180284.8717
61 | 2617302.0678 | 1180287.0247
62 | 2617236.3582 | 1180478.1349
63 | 2617248.0861 | 1180492.4693
64 | 2617230.5701 | 1180471.0605
65 | 2617254.7634 | 1180500.6306
66 | 2617216.8873 | 1180454.4506
67 | 2617272.3698 | 1180519.7375
68 | 2617273.932 | 1180521.4174
69 | 2617111.3156 | 1180278.5588
70 | 2617094.1555 | 1180260.8267
71 | 2616592.9281 | 1179407.8066
72 | 2616878.8673 | 1179541.3537
73 | 2616950.7279 | 1179341.8446
74 | 2616790.1481 | 1179769.3591
75 | 2616790.4692 | 1179769.5071
76 | 2616122.5019 | 1179797.7837
77 | 2616149.2349 | 1179769.0777
78 | 2616171.5489 | 1179979.3529
79 | 2616198.8244 | 1179757.4676
80 | 2616196.2297 | 1179755.7892
81 | 2617414.5791 | 1179877.0582
82 | 2617410.1109 | 1179811.0113
83 | 2617407.9061 | 1179775.8931
84 | 2616366.5372 | 1179981.0525
85 | 2616348.0111 | 1179924.2986
86 | 2616345.8751 | 1179906.3419
87 | 2616346.6026 | 1179902.831
88 | 2616339.6499 | 1179911.9835
89 | 2616865.7701 | 1180016.7646
90 | 2616711.6593 | 1180177.7416
91 | 2616404.5476 | 1179933.2932
92 | 2616352.4434 | 1179888.385
93 | 2617044.0382 | 1179280.3409
94 | 2616996.4182 | 1179788.1168
95 | 2616942.7338 | 1179780.517
96 | 2617004.5214 | 1179830.3152
97 | 2616889.8448 | 1179925.4033
98 | 2616916.4565 | 1179798.2968
99 | 2617012.7483 | 1179869.0165
100 | 2617050.6059 | 1179284.0335
101 | 2617258.8795 | 1179347.3375
102 | 2616875.0843 | 1179942.3434
103 | 2616813.6168 | 1179778.5774
104 | 2616410.7316 | 1179891.8889
105 | 2616404.855 | 1179875.2882
106 | 2616419.6071 | 1179903.6746
107 | 2616402.8127 | 1179845.2968
108 | 2616593.8573 | 1179987.4623
109 | 2616397.6398 | 1179827.8536
110 | 2616636.7308 | 1180003.9113
111 | 2616428.1066 | 1179962.9725
112 | 2616361.1921 | 1179870.6517
113 | 2616853.663 | 1179946.659
114 | 2616444.3113 | 1179981.1819
115 | 2616359.0893 | 1179874.9141
116 | 2617306.8572 | 1179489.037
117 | 2617301.6331 | 1179469.3238
118 | 2617253.6318 | 1179358.4038
119 | 2617061.8207 | 1180169.6424
120 | 2617086.4844 | 1180250.0204
121 | 2617046.857 | 1180175.3918
122 | 2617090.1223 | 1180255.145
123 | 2617060.4431 | 1180273.2659
124 | 2617052.3126 | 1180303.4876
125 | 2616877.1862 | 1179960.5228
126 | 2616255.887 | 1180351.1666
127 | 2616283.469 | 1180359.6431
128 | 2616874.8468 | 1179990.8684
129 | 2617042.6065 | 1179912.578

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1