## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_939-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_939-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_939-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_939-2_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_939-2_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_939-2_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_939-2_0_6_node_62 | 0.4 | n |  | TRUE
7 | bus_LV_939-2_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_939-2_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_939-2_0_6_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_939-2_0_6_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_939-2_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_939-2_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_939-2_0_6_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_939-2_0_6_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_939-2_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_939-2_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_939-2_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_939-2_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_939-2_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_939-2_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_939-2_0_6_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_939-2_0_6_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_939-2_0_6_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_939-2_0_6_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_939-2_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_939-2_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_939-2_0_6_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_939-2_0_6_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_939-2_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_939-2_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_939-2_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_939-2_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_939-2_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_939-2_0_6_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_939-2_0_6_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_939-2_0_6_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_939-2_0_6_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_939-2_0_6_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_939-2_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_939-2_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_939-2_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_939-2_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_939-2_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_939-2_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_939-2_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_939-2_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_939-2_0_6_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_939-2_0_6_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_939-2_0_6_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_939-2_0_6_node_32 | 0.4 | n |  | TRUE
51 | bus_LV_939-2_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_939-2_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_939-2_0_6_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_939-2_0_6_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_939-2_0_6_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_939-2_0_6_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_939-2_0_6_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_939-2_0_6_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_939-2_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_939-2_0_6_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_939-2_0_6_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_939-2_0_6_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_939-2_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_939-2_0_6_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_939-2_0_6_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_939-2_0_6_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_939-2_0_6_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_939-2_0_6_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_939-2_0_6_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_939-2_0_6_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_939-2_0_6_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_939-2_0_6_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_939-2_0_6_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_939-2_0_6_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_939-2_0_6_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_939-2_0_6_node_76 | 0.4 | n |  | TRUE
77 | bus_MV_283_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_939-2_0_6_load_0 | 0 | 0.013204 | 0.0033092 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_939-2_0_6_load_1 | 1 | 0.010138 | 0.0025409 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_939-2_0_6_load_4 | 3 | 0.0063893 | 0.0016013 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_939-2_0_6_load_3 | 4 | 0.0094559 | 0.0023699 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_939-2_0_6_load_6 | 7 | 0.014919 | 0.0037389 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_939-2_0_6_load_7 | 8 | 0.0050571 | 0.0012674 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_939-2_0_6_load_55 | 10 | 0.0052278 | 0.0013102 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_939-2_0_6_load_9 | 12 | 0.0053257 | 0.0013347 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_939-2_0_6_load_59 | 13 | 0.010957 | 0.0027462 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_939-2_0_6_load_57 | 14 | 0.010976 | 0.0027507 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_939-2_0_6_load_10 | 15 | 0.010493 | 0.0026299 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_939-2_0_6_load_11 | 16 | 0.0070883 | 0.0017765 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_939-2_0_6_load_13 | 18 | 0.010755 | 0.0026954 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_939-2_0_6_load_14 | 19 | 0.01941 | 0.0048646 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_939-2_0_6_load_70 | 21 | 0.011501 | 0.0028825 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_939-2_0_6_load_50 | 23 | 0.0018787 | 0.00047085 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_939-2_0_6_load_69 | 24 | 0.0025648 | 0.0006428 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_939-2_0_6_load_22 | 25 | 0.0062754 | 0.0015728 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_939-2_0_6_load_38 | 27 | 0.0011327 | 0.00028388 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_939-2_0_6_load_49 | 28 | 0.0017518 | 0.00043903 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_939-2_0_6_load_16 | 29 | 0.015562 | 0.0039002 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_939-2_0_6_load_17 | 30 | 0.0089138 | 0.002234 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_939-2_0_6_load_61 | 34 | 0.004913 | 0.0012313 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_939-2_0_6_load_60 | 35 | 0.012035 | 0.0030163 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_939-2_0_6_load_67 | 36 | 0.0030347 | 0.00076056 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_939-2_0_6_load_58 | 37 | 0.015216 | 0.0038135 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_939-2_0_6_load_53 | 38 | 0.0062453 | 0.0015652 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_939-2_0_6_load_27 | 39 | 0.0068784 | 0.0017239 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_939-2_0_6_load_36 | 40 | 0.021947 | 0.0055004 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_939-2_0_6_load_24 | 41 | 0.012704 | 0.0031838 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_939-2_0_6_load_25 | 42 | 0.0055265 | 0.0013851 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_939-2_0_6_load_26 | 43 | 0.0019585 | 0.00049085 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_939-2_0_6_load_28 | 44 | 0.0057788 | 0.0014483 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_939-2_0_6_load_43 | 45 | 0.004484 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_939-2_0_6_load_33 | 46 | 0.0032225 | 0.00080763 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_939-2_0_6_load_29 | 47 | 0.014154 | 0.0035474 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_939-2_0_6_load_30 | 48 | 0.0025272 | 0.00063337 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_939-2_0_6_load_31 | 49 | 0.0041586 | 0.0010422 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_939-2_0_6_load_32 | 50 | 0.0098583 | 0.0024707 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_939-2_0_6_load_45 | 51 | 0.0045965 | 0.001152 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_939-2_0_6_load_44 | 52 | 0.0037202 | 0.00093236 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_939-2_0_6_load_34 | 53 | 0.0063106 | 0.0015816 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_939-2_0_6_load_35 | 54 | 0.0042838 | 0.0010736 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_939-2_0_6_load_37 | 55 | 0.0024021 | 0.00060201 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_939-2_0_6_load_41 | 56 | 0.019125 | 0.0047932 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_939-2_0_6_load_39 | 57 | 0.004735 | 0.0011867 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_939-2_0_6_load_40 | 58 | 0.01204 | 0.0030176 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_939-2_0_6_load_42 | 59 | 0.0026684 | 0.00066877 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_939-2_0_6_load_48 | 60 | 0.0062167 | 0.001558 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_939-2_0_6_load_46 | 61 | 0.0026221 | 0.00065717 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_939-2_0_6_load_47 | 62 | 0.0031313 | 0.00078479 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_939-2_0_6_load_54 | 63 | 0.0065615 | 0.0016445 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_939-2_0_6_load_51 | 64 | 0.0011419 | 0.00028619 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_939-2_0_6_load_79 | 66 | 0.0031253 | 0.00078328 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_939-2_0_6_load_80 | 67 | 0.0069449 | 0.0017406 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_939-2_0_6_load_56 | 68 | 0.0052562 | 0.0013173 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_939-2_0_6_load_64 | 69 | 0.0054777 | 0.0013728 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_939-2_0_6_load_66 | 71 | 0.0044509 | 0.0011155 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_939-2_0_6_load_72 | 72 | 0.0034649 | 0.00086839 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_939-2_0_6_load_73 | 73 | 0.0073907 | 0.0018523 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_939-2_0_6_load_74 | 74 | 0.011091 | 0.0027796 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_939-2_0_6_load_77 | 75 | 0.0072124 | 0.0018076 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_939-2_0_6_load_76 | 76 | 0.0090864 | 0.0022773 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_939-2_0_6_line_0 |  | 0 | 1 | 0.0010342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_939-2_0_6_line_1 |  | 0 | 2 | 0.046205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_939-2_0_6_line_2 |  | 2 | 3 | 0.017562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_939-2_0_6_line_3 |  | 3 | 6 | 0.021608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_939-2_0_6_line_4 |  | 4 | 5 | 0.017407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_939-2_0_6_line_5 |  | 5 | 7 | 0.010959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_939-2_0_6_line_6 |  | 5 | 8 | 0.017255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_939-2_0_6_line_7 |  | 6 | 9 | 0.012024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_939-2_0_6_line_8 |  | 6 | 10 | 0.023912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_939-2_0_6_line_9 |  | 8 | 11 | 0.01406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_939-2_0_6_line_10 |  | 9 | 69 | 0.047195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_939-2_0_6_line_11 |  | 10 | 63 | 0.0067815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_939-2_0_6_line_12 |  | 11 | 12 | 0.0098304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_939-2_0_6_line_13 |  | 12 | 13 | 0.016257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_939-2_0_6_line_14 |  | 13 | 14 | 0.018087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_939-2_0_6_line_15 |  | 14 | 68 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_939-2_0_6_line_16 |  | 15 | 16 | 0.038112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_939-2_0_6_line_17 |  | 15 | 17 | 0.015468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_939-2_0_6_line_18 |  | 16 | 18 | 0.0032752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_939-2_0_6_line_19 |  | 17 | 19 | 0.015482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_939-2_0_6_line_20 |  | 17 | 20 | 0.016056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_939-2_0_6_line_21 |  | 18 | 21 | 0.00031128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_939-2_0_6_line_22 |  | 19 | 22 | 0.0092493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_939-2_0_6_line_23 |  | 20 | 23 | 0.010815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_939-2_0_6_line_24 |  | 21 | 24 | 0.015368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_939-2_0_6_line_25 |  | 22 | 25 | 0.017208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_939-2_0_6_line_26 |  | 22 | 26 | 0.006848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_939-2_0_6_line_27 |  | 23 | 28 | 0.020298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_939-2_0_6_line_28 |  | 24 | 33 | 0.046459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_939-2_0_6_line_29 |  | 25 | 38 | 0.021602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_939-2_0_6_line_30 |  | 26 | 27 | 0.017735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_939-2_0_6_line_31 |  | 27 | 40 | 0.019856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_939-2_0_6_line_32 |  | 28 | 64 | 0.016845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_939-2_0_6_line_33 |  | 29 | 30 | 0.0078216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_939-2_0_6_line_34 |  | 29 | 31 | 0.034566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_939-2_0_6_line_35 |  | 30 | 32 | 0.024417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_939-2_0_6_line_36 |  | 31 | 33 | 0.063075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_939-2_0_6_line_37 |  | 32 | 34 | 0.033563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_939-2_0_6_line_38 |  | 32 | 35 | 0.0025816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_939-2_0_6_line_39 |  | 34 | 36 | 0.016996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_939-2_0_6_line_40 |  | 35 | 37 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_939-2_0_6_line_41 |  | 37 | 68 | 0.0036613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_939-2_0_6_line_42 |  | 38 | 39 | 0.016538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_939-2_0_6_line_43 |  | 39 | 42 | 0.017237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_939-2_0_6_line_44 |  | 40 | 53 | 0.016566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_939-2_0_6_line_45 |  | 41 | 42 | 0.0061168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_939-2_0_6_line_46 |  | 41 | 43 | 0.0080536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_939-2_0_6_line_47 |  | 43 | 44 | 0.013926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_939-2_0_6_line_48 |  | 44 | 45 | 0.0001702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_939-2_0_6_line_49 |  | 45 | 46 | 0.018347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_939-2_0_6_line_50 |  | 46 | 49 | 0.011333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_939-2_0_6_line_51 |  | 47 | 48 | 0.0043682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_939-2_0_6_line_52 |  | 47 | 49 | 0.0041675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_939-2_0_6_line_53 |  | 48 | 50 | 0.012121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_939-2_0_6_line_54 |  | 50 | 51 | 0.0074818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_939-2_0_6_line_55 |  | 51 | 52 | 0.0040111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_939-2_0_6_line_56 |  | 52 | 61 | 0.0046676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_939-2_0_6_line_57 |  | 53 | 54 | 0.013418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_939-2_0_6_line_58 |  | 54 | 55 | 0.0053251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_939-2_0_6_line_59 |  | 55 | 56 | 0.007735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_939-2_0_6_line_60 |  | 56 | 57 | 0.013375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_939-2_0_6_line_61 |  | 57 | 58 | 0.0072175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_939-2_0_6_line_62 |  | 58 | 59 | 0.013136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_939-2_0_6_line_63 |  | 59 | 60 | 0.019355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_939-2_0_6_line_64 |  | 61 | 62 | 0.012229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_939-2_0_6_line_65 |  | 62 | 63 | 0.014433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_939-2_0_6_line_66 |  | 64 | 65 | 0.056718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_939-2_0_6_line_67 |  | 65 | 66 | 0.034121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_939-2_0_6_line_68 |  | 66 | 67 | 0.019672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_939-2_0_6_line_69 |  | 69 | 70 | 0.013253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_939-2_0_6_line_70 |  | 70 | 71 | 0.012696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_939-2_0_6_line_71 |  | 71 | 72 | 0.0078812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_939-2_0_6_line_72 |  | 72 | 73 | 0.022577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_939-2_0_6_line_73 |  | 73 | 74 | 0.018219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_939-2_0_6_line_74 |  | 74 | 75 | 0.00058815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_939-2_0_6_line_75 |  | 75 | 76 | 0.039845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_939-2_0_6_trafo_24 | 0.63 MVA 20/0.4 kV | 77 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2614124.2365 | 1179097.0389 | 2614124.7907 | 1179097.9121
1 | 2614110.3637 | 1179053.4171 | 2614114.6548 | 1179077.1726 | 2614123.5792 | 1179096.0032 | 2614124.2365 | 1179097.0389
2 | 2614110.3637 | 1179053.4171 | 2614106.337 | 1179053.7189 | 2614102.5878 | 1179053.0209 | 2614095.329 | 1179050.3359 | 2614093.4847 | 1179049.6409
3 | 2614072.8615 | 1179043.8689 | 2614077.1929 | 1179043.9346 | 2614081.3766 | 1179045.0783 | 2614093.4847 | 1179049.6409
4 | 2614121.5032 | 1179176.6062 | 2614133.3431 | 1179163.8462
5 | 2614121.5032 | 1179176.6062 | 2614117.7202 | 1179174.0294 | 2614111.4951 | 1179175.4343
6 | 2614121.5032 | 1179176.6062 | 2614123.8889 | 1179182.148 | 2614119.7502 | 1179187.9079 | 2614116.0021 | 1179189.6404
7 | 2614072.8615 | 1179043.8689 | 2614071.7322 | 1179040.0199 | 2614069.921 | 1179037.0475 | 2614066.9497 | 1179033.6165
8 | 2614072.8615 | 1179043.8689 | 2614068.4668 | 1179044.748 | 2614064.7339 | 1179046.8626 | 2614053.4956 | 1179057.0082
9 | 2614103.2394 | 1179195.5398 | 2614116.0021 | 1179189.6404
10 | 2614066.9497 | 1179033.6165 | 2614060.6785 | 1179030.0001 | 2614047.0764 | 1179025.1658 | 2614032.0426 | 1179021.6623 | 2614022.0635 | 1179020.2123
11 | 2614053.4956 | 1179057.0082 | 2614053.4956 | 1179057.0082 | 2614049.0263 | 1179062.1085
12 | 2614103.2394 | 1179195.5398 | 2614096.1628 | 1179202.3633
13 | 2614084.4602 | 1179213.6476 | 2614096.1628 | 1179202.3633
14 | 2614084.4602 | 1179213.6476 | 2614071.4404 | 1179226.2018
15 | 2614063.6605 | 1179233.9012 | 2614065.7918 | 1179231.6485 | 2614071.4404 | 1179226.2018
16 | 2613928.4775 | 1179244.1503 | 2613933.4679 | 1179257.5876 | 2613941.9289 | 1179279.8088
17 | 2613923.4721 | 1179229.5167 | 2613926.7036 | 1179239.3737 | 2613928.4775 | 1179244.1503
18 | 2613943.0944 | 1179282.8696 | 2613941.9289 | 1179279.8088
19 | 2613923.4721 | 1179229.5167 | 2613926.6003 | 1179227.8676 | 2613928.9898 | 1179225.2607 | 2613930.3647 | 1179222.0066 | 2613930.5562 | 1179218.483 | 2613930.171 | 1179217.191
20 | 2613910.4472 | 1179222.9944 | 2613911.9379 | 1179225.8438 | 2613914.2321 | 1179228.0947 | 2613917.1087 | 1179229.5354 | 2613920.2931 | 1179230.0208 | 2613923.4721 | 1179229.5167
21 | 2613943.0944 | 1179282.8696 | 2613943.2051 | 1179283.1605
22 | 2613924.525 | 1179210.276 | 2613927.4615 | 1179212.2616 | 2613929.548 | 1179215.1012 | 2613930.171 | 1179217.191
23 | 2613910.4472 | 1179222.9944 | 2613905.5282 | 1179226.0291 | 2613901.6715 | 1179228.8883 | 2613901.4893 | 1179229.0353
24 | 2613948.6738 | 1179297.5228 | 2613943.2051 | 1179283.1605
25 | 2613924.525 | 1179210.276 | 2613926.4307 | 1179205.4335 | 2613928.8323 | 1179200.8589 | 2613932.5345 | 1179195.4647 | 2613932.7134 | 1179195.2306
26 | 2613917.781 | 1179209.6601 | 2613921.204 | 1179209.4012 | 2613924.525 | 1179210.276
27 | 2613886.7295 | 1179242.9282 | 2613892.9761 | 1179236.3943 | 2613897.3014 | 1179232.4133 | 2613901.4893 | 1179229.0353
28 | 2613964.1127 | 1179341.3347 | 2613957.7861 | 1179322.2214 | 2613949.2535 | 1179299.0453 | 2613948.6738 | 1179297.5228
29 | 2613932.7134 | 1179195.2306 | 2613937.155 | 1179189.4168 | 2613946.3229 | 1179178.4605
30 | 2613917.781 | 1179209.6601 | 2613912.3247 | 1179200.6095 | 2613909.9506 | 1179196.5686 | 2613908.8853 | 1179194.3288
31 | 2613908.8853 | 1179194.3288 | 2613907.267 | 1179190.9262 | 2613901.2227 | 1179176.0166
32 | 2613886.7295 | 1179242.9282 | 2613882.7532 | 1179247.0873 | 2613875.2819 | 1179255.2846
33 | 2614035.5347 | 1179263.6474 | 2614030.1621 | 1179269.3319
34 | 2614006.4195 | 1179294.4534 | 2614030.1621 | 1179269.3319
35 | 2614052.306 | 1179245.9021 | 2614035.5347 | 1179263.6474
36 | 2613964.1127 | 1179341.3347 | 2614006.4195 | 1179294.4534
37 | 2614052.306 | 1179245.9021 | 2614057.5417 | 1179251.217 | 2614077.6735 | 1179267.832
38 | 2614052.306 | 1179245.9021 | 2614054.0803 | 1179244.0268
39 | 2614090.7816 | 1179278.6503 | 2614077.6735 | 1179267.832
40 | 2614061.1442 | 1179236.5607 | 2614054.0803 | 1179244.0268
41 | 2614063.6605 | 1179233.9012 | 2614061.1442 | 1179236.5607
42 | 2613957.3201 | 1179166.1108 | 2613947.8412 | 1179176.6461 | 2613946.3229 | 1179178.4605
43 | 2613957.3201 | 1179166.1108 | 2613968.849 | 1179153.2972
44 | 2613901.2227 | 1179176.0166 | 2613894.9987 | 1179160.6639
45 | 2613968.849 | 1179153.2972 | 2613972.9403 | 1179148.7501
46 | 2613978.327 | 1179142.763 | 2613972.9403 | 1179148.7501
47 | 2613987.5144 | 1179132.2977 | 2613978.7834 | 1179142.2558 | 2613978.327 | 1179142.763
48 | 2613987.5144 | 1179132.2977 | 2613987.6266 | 1179132.1697
49 | 2613999.7216 | 1179118.3741 | 2613998.6753 | 1179119.5681 | 2613987.6266 | 1179132.1697
50 | 2613999.7216 | 1179118.3741 | 2614007.1905 | 1179109.8507
51 | 2614012.8159 | 1179103.4311 | 2614009.9371 | 1179106.7164
52 | 2614007.1905 | 1179109.8507 | 2614009.9371 | 1179106.7164
53 | 2614012.8159 | 1179103.4311 | 2614020.8042 | 1179094.3151
54 | 2614025.735 | 1179088.688 | 2614020.8042 | 1179094.3151
55 | 2614028.3786 | 1179085.6713 | 2614025.735 | 1179088.688
56 | 2614028.3786 | 1179085.6713 | 2614031.4548 | 1179082.1608
57 | 2613889.9575 | 1179148.2289 | 2613894.9987 | 1179160.6639
58 | 2613889.9575 | 1179148.2289 | 2613887.9569 | 1179143.2939
59 | 2613885.0512 | 1179136.1254 | 2613885.9527 | 1179138.3502 | 2613887.9569 | 1179143.2939
60 | 2613885.0512 | 1179136.1254 | 2613881.5698 | 1179127.5345 | 2613880.1052 | 1179123.6992
61 | 2613877.5305 | 1179116.9566 | 2613880.1052 | 1179123.6992
62 | 2613877.5305 | 1179116.9566 | 2613872.8445 | 1179104.6852
63 | 2613872.8445 | 1179104.6852 | 2613867.9396 | 1179091.8404 | 2613865.887 | 1179086.6238
64 | 2614039.5143 | 1179072.9634 | 2614031.4548 | 1179082.1608
65 | 2614039.5143 | 1179072.9634 | 2614049.0263 | 1179062.1085
66 | 2613837.4749 | 1179297.5423 | 2613848.8042 | 1179283.9725 | 2613859.2954 | 1179272.8242 | 2613875.2819 | 1179255.2846
67 | 2613837.4749 | 1179297.5423 | 2613843.8751 | 1179301.4256 | 2613847.9345 | 1179303.4138 | 2613868.6837 | 1179311.0655
68 | 2613868.6837 | 1179311.0655 | 2613879.9378 | 1179315.2157 | 2613887.1114 | 1179317.9494
69 | 2614008.8467 | 1179019.5517 | 2614018.7469 | 1179019.7304 | 2614022.0635 | 1179020.2123
70 | 2614008.8467 | 1179019.5517 | 2613996.1938 | 1179020.5929
71 | 2613988.3391 | 1179021.2393 | 2613996.1938 | 1179020.5929
72 | 2613988.3391 | 1179021.2393 | 2613965.8377 | 1179023.091
73 | 2613947.6701 | 1179024.4511 | 2613963.651 | 1179023.2709 | 2613965.8377 | 1179023.091
74 | 2613947.6701 | 1179024.4511 | 2613947.0835 | 1179024.4944
75 | 2613907.3464 | 1179027.429 | 2613947.0835 | 1179024.4944

## bus_geodata
| x | y | coords
0 | 2614124.2365 | 1179097.0389
1 | 2614124.7907 | 1179097.9121
2 | 2614110.3637 | 1179053.4171
3 | 2614093.4847 | 1179049.6409
4 | 2614133.3431 | 1179163.8462
5 | 2614121.5032 | 1179176.6062
6 | 2614072.8615 | 1179043.8689
7 | 2614111.4951 | 1179175.4343
8 | 2614116.0021 | 1179189.6404
9 | 2614066.9497 | 1179033.6165
10 | 2614053.4956 | 1179057.0082
11 | 2614103.2394 | 1179195.5398
12 | 2614096.1628 | 1179202.3633
13 | 2614084.4602 | 1179213.6476
14 | 2614071.4404 | 1179226.2018
15 | 2613928.4775 | 1179244.1503
16 | 2613941.9289 | 1179279.8088
17 | 2613923.4721 | 1179229.5167
18 | 2613943.0944 | 1179282.8696
19 | 2613930.171 | 1179217.191
20 | 2613910.4472 | 1179222.9944
21 | 2613943.2051 | 1179283.1605
22 | 2613924.525 | 1179210.276
23 | 2613901.4893 | 1179229.0353
24 | 2613948.6738 | 1179297.5228
25 | 2613932.7134 | 1179195.2306
26 | 2613917.781 | 1179209.6601
27 | 2613908.8853 | 1179194.3288
28 | 2613886.7295 | 1179242.9282
29 | 2614030.1621 | 1179269.3319
30 | 2614035.5347 | 1179263.6474
31 | 2614006.4195 | 1179294.4534
32 | 2614052.306 | 1179245.9021
33 | 2613964.1127 | 1179341.3347
34 | 2614077.6735 | 1179267.832
35 | 2614054.0803 | 1179244.0268
36 | 2614090.7816 | 1179278.6503
37 | 2614061.1442 | 1179236.5607
38 | 2613946.3229 | 1179178.4605
39 | 2613957.3201 | 1179166.1108
40 | 2613901.2227 | 1179176.0166
41 | 2613972.9403 | 1179148.7501
42 | 2613968.849 | 1179153.2972
43 | 2613978.327 | 1179142.7631
44 | 2613987.5144 | 1179132.2977
45 | 2613987.6266 | 1179132.1697
46 | 2613999.7216 | 1179118.3741
47 | 2614009.9371 | 1179106.7164
48 | 2614012.8159 | 1179103.4311
49 | 2614007.1905 | 1179109.8507
50 | 2614020.8042 | 1179094.3151
51 | 2614025.735 | 1179088.688
52 | 2614028.3786 | 1179085.6713
53 | 2613894.9987 | 1179160.6639
54 | 2613889.9575 | 1179148.2289
55 | 2613887.9569 | 1179143.2939
56 | 2613885.0512 | 1179136.1254
57 | 2613880.1052 | 1179123.6992
58 | 2613877.5305 | 1179116.9566
59 | 2613872.8445 | 1179104.6852
60 | 2613865.887 | 1179086.6238
61 | 2614031.4548 | 1179082.1608
62 | 2614039.5143 | 1179072.9634
63 | 2614049.0263 | 1179062.1085
64 | 2613875.2819 | 1179255.2846
65 | 2613837.4749 | 1179297.5423
66 | 2613868.6837 | 1179311.0655
67 | 2613887.1114 | 1179317.9494
68 | 2614063.6605 | 1179233.9012
69 | 2614022.0635 | 1179020.2123
70 | 2614008.8467 | 1179019.5517
71 | 2613996.1938 | 1179020.5929
72 | 2613988.3391 | 1179021.2393
73 | 2613965.8377 | 1179023.091
74 | 2613947.6701 | 1179024.4511
75 | 2613947.0835 | 1179024.4944
76 | 2613907.3464 | 1179027.429
77 | 2613924.525 | 1179210.276

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1