## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_939-40_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_939-40_0_4_node_85 | 0.4 | n |  | TRUE
2 | bus_LV_939-40_0_4_node_42 | 0.4 | n |  | TRUE
3 | bus_LV_939-40_0_4_node_80 | 0.4 | n |  | TRUE
4 | bus_LV_939-40_0_4_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_939-40_0_4_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_939-40_0_4_node_1 | 0.4 | n |  | TRUE
7 | bus_LV_939-40_0_4_node_2 | 0.4 | n |  | TRUE
8 | bus_LV_939-40_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_939-40_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_939-40_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_939-40_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_939-40_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_939-40_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_939-40_0_4_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_939-40_0_4_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_939-40_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_939-40_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_939-40_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_939-40_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_939-40_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_939-40_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_939-40_0_4_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_939-40_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_939-40_0_4_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_939-40_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_939-40_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_939-40_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_939-40_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_939-40_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_939-40_0_4_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_939-40_0_4_node_88 | 0.4 | n |  | TRUE
32 | bus_LV_939-40_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_939-40_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_939-40_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_939-40_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_939-40_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_939-40_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_939-40_0_4_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_939-40_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_939-40_0_4_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_939-40_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_939-40_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_939-40_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_939-40_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_939-40_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_939-40_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_939-40_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_939-40_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_939-40_0_4_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_939-40_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_939-40_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_939-40_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_939-40_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_939-40_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_939-40_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_939-40_0_4_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_939-40_0_4_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_939-40_0_4_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_939-40_0_4_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_939-40_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_939-40_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_939-40_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_939-40_0_4_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_939-40_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_939-40_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_939-40_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_939-40_0_4_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_939-40_0_4_node_84 | 0.4 | n |  | TRUE
69 | bus_LV_939-40_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_939-40_0_4_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_939-40_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_939-40_0_4_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_939-40_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_939-40_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_939-40_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_939-40_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_939-40_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_939-40_0_4_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_939-40_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_939-40_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_939-40_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_939-40_0_4_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_939-40_0_4_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_939-40_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_939-40_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_939-40_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_939-40_0_4_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_939-40_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_939-40_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_939-40_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_MV_93_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_939-40_0_4_load_0 | 0 | 0.001217 | 0.000305 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_939-40_0_4_load_85 | 1 | 0.00080558 | 0.0002019 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_939-40_0_4_load_80 | 3 | 0.0011245 | 0.00028183 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_939-40_0_4_load_43 | 4 | 0.0013379 | 0.00033531 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_939-40_0_4_load_41 | 5 | 0.0029441 | 0.00073786 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_939-40_0_4_load_1 | 6 | 0.0019581 | 0.00049073 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_939-40_0_4_load_2 | 7 | 0.001522 | 0.00038145 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_939-40_0_4_load_3 | 8 | 0.0020507 | 0.00051394 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_939-40_0_4_load_4 | 9 | 0.0020444 | 0.00051238 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_939-40_0_4_load_5 | 10 | 0.0015278 | 0.00038291 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_939-40_0_4_load_6 | 11 | 0.0019615 | 0.0004916 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_939-40_0_4_load_7 | 12 | 0.0020042 | 0.00050231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_939-40_0_4_load_8 | 13 | 0.002004 | 0.00050225 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_939-40_0_4_load_45 | 14 | 0.0015152 | 0.00037976 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_939-40_0_4_load_44 | 15 | 0.0022878 | 0.00057337 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_939-40_0_4_load_9 | 16 | 0.0021522 | 0.00053938 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_939-40_0_4_load_10 | 17 | 0.0018642 | 0.00046721 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_939-40_0_4_load_11 | 18 | 0.00094487 | 0.00023681 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_939-40_0_4_load_12 | 19 | 0.0020269 | 0.00050799 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_939-40_0_4_load_13 | 20 | 0.0027917 | 0.00069966 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_939-40_0_4_load_15 | 21 | 0.0018656 | 0.00046756 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_939-40_0_4_load_55 | 22 | 0.0019817 | 0.00049666 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_939-40_0_4_load_14 | 23 | 0.0021519 | 0.00053933 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_939-40_0_4_load_62 | 24 | 0.0015853 | 0.00039732 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_939-40_0_4_load_16 | 25 | 0.003032 | 0.00075988 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_939-40_0_4_load_17 | 26 | 0.0027317 | 0.00068463 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_939-40_0_4_load_18 | 27 | 0.0021718 | 0.00054429 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_939-40_0_4_load_19 | 28 | 0.00067764 | 0.00016983 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_939-40_0_4_load_20 | 29 | 0.0071456 | 0.0017909 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_939-40_0_4_load_87 | 30 | 0.00092943 | 0.00023294 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_939-40_0_4_load_88 | 31 | 0.00065596 | 0.0001644 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_939-40_0_4_load_21 | 32 | 0.001942 | 0.00048671 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_939-40_0_4_load_22 | 33 | 0.0019564 | 0.00049031 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_939-40_0_4_load_23 | 34 | 0.0030007 | 0.00075205 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_939-40_0_4_load_24 | 35 | 0.005434 | 0.0013619 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_939-40_0_4_load_25 | 36 | 0.0030772 | 0.00077122 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_939-40_0_4_load_26 | 37 | 0.0019235 | 0.00048206 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_939-40_0_4_load_53 | 38 | 0.0028172 | 0.00070605 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_939-40_0_4_load_27 | 39 | 0.0014994 | 0.00037579 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_939-40_0_4_load_54 | 40 | 0.0034579 | 0.00086663 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_939-40_0_4_load_28 | 41 | 0.0018022 | 0.00045167 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_939-40_0_4_load_29 | 42 | 0.0016835 | 0.00042194 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_939-40_0_4_load_30 | 43 | 0.0018012 | 0.00045143 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_939-40_0_4_load_31 | 44 | 0.0019586 | 0.00049086 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_939-40_0_4_load_32 | 45 | 0.0018012 | 0.00045143 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_939-40_0_4_load_33 | 46 | 0.01056 | 0.0026465 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_939-40_0_4_load_34 | 47 | 0.0031559 | 0.00079095 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_939-40_0_4_load_40 | 48 | 0.0015721 | 0.000394 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_939-40_0_4_load_63 | 49 | 0.0030568 | 0.00076611 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_939-40_0_4_load_35 | 50 | 0.0018015 | 0.00045149 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_939-40_0_4_load_36 | 51 | 0.0032778 | 0.00082149 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_939-40_0_4_load_37 | 52 | 0.0018807 | 0.00047134 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_939-40_0_4_load_38 | 53 | 0.0013564 | 0.00033995 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_939-40_0_4_load_39 | 54 | 0.002007 | 0.00050301 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_939-40_0_4_load_57 | 55 | 0.0040971 | 0.0010268 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_939-40_0_4_load_58 | 57 | 0.0024583 | 0.0006161 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_939-40_0_4_load_73 | 58 | 0.0049264 | 0.0012347 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_939-40_0_4_load_75 | 59 | 0.0016627 | 0.00041672 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_939-40_0_4_load_61 | 60 | 0.0015189 | 0.00038068 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_939-40_0_4_load_48 | 61 | 0.0012035 | 0.00030162 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_939-40_0_4_load_46 | 62 | 0.0055124 | 0.0013815 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_939-40_0_4_load_50 | 64 | 0.0046922 | 0.001176 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_939-40_0_4_load_49 | 65 | 0.0042509 | 0.0010654 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_939-40_0_4_load_51 | 66 | 0.0036011 | 0.00090253 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_939-40_0_4_load_52 | 67 | 0.0036032 | 0.00090304 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_939-40_0_4_load_84 | 68 | 0.0034498 | 0.00086459 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_939-40_0_4_load_56 | 69 | 0.0020209 | 0.00050649 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_939-40_0_4_load_83 | 70 | 0.0026015 | 0.00065199 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_939-40_0_4_load_66 | 71 | 0.0034283 | 0.00085921 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_939-40_0_4_load_64 | 72 | 0.0045829 | 0.0011486 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_939-40_0_4_load_65 | 73 | 0.0046732 | 0.0011712 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_939-40_0_4_load_60 | 74 | 0.0030981 | 0.00077647 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_939-40_0_4_load_71 | 75 | 0.0019092 | 0.00047848 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_939-40_0_4_load_70 | 76 | 0.0042838 | 0.0010736 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_939-40_0_4_load_68 | 77 | 0.003686 | 0.00092379 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_939-40_0_4_load_59 | 78 | 0.0033826 | 0.00084775 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_939-40_0_4_load_69 | 79 | 0.0023379 | 0.00058594 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_939-40_0_4_load_67 | 80 | 0.0028223 | 0.00070735 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_939-40_0_4_load_72 | 81 | 0.0028687 | 0.00071897 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_939-40_0_4_load_74 | 82 | 0.0035737 | 0.00089566 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_939-40_0_4_load_78 | 84 | 0.0019613 | 0.00049156 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_939-40_0_4_load_82 | 85 | 0.0022456 | 0.0005628 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_939-40_0_4_load_79 | 86 | 0.00081974 | 0.00020545 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_939-40_0_4_load_81 | 87 | 0.00090102 | 0.00022582 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_939-40_0_4_load_89 | 88 | 0.00069337 | 0.00017378 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_939-40_0_4_load_90 | 89 | 0.00096299 | 0.00024135 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_939-40_0_4_load_91 | 90 | 0.00071714 | 0.00017973 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 79 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_939-40_0_4_line_0 |  | 0 | 1 | 0.13915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_939-40_0_4_line_1 |  | 0 | 2 | 0.19115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_939-40_0_4_line_2 |  | 1 | 3 | 0.2729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_939-40_0_4_line_3 |  | 2 | 4 | 0.041009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_939-40_0_4_line_4 |  | 2 | 5 | 0.033585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_939-40_0_4_line_5 |  | 3 | 85 | 0.024949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_939-40_0_4_line_6 |  | 3 | 86 | 0.014213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_939-40_0_4_line_7 |  | 4 | 61 | 0.0134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_939-40_0_4_line_8 |  | 5 | 46 | 0.0049537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_939-40_0_4_line_9 |  | 6 | 7 | 0.012765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_939-40_0_4_line_10 |  | 6 | 8 | 0.0026232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_939-40_0_4_line_11 |  | 7 | 9 | 0.0036355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_939-40_0_4_line_12 |  | 8 | 10 | 0.0036846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_939-40_0_4_line_13 |  | 9 | 11 | 0.0030645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_939-40_0_4_line_14 |  | 11 | 12 | 0.021409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_939-40_0_4_line_15 |  | 12 | 13 | 0.018274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_939-40_0_4_line_16 |  | 13 | 14 | 0.018825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_939-40_0_4_line_17 |  | 14 | 15 | 0.017896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_939-40_0_4_line_18 |  | 15 | 62 | 0.015123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_939-40_0_4_line_19 |  | 16 | 17 | 0.0044622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_939-40_0_4_line_20 |  | 16 | 18 | 0.014293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_939-40_0_4_line_21 |  | 17 | 19 | 0.010375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_939-40_0_4_line_22 |  | 18 | 20 | 0.019573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_939-40_0_4_line_23 |  | 19 | 21 | 0.01053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_939-40_0_4_line_24 |  | 20 | 22 | 0.030743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_939-40_0_4_line_25 |  | 21 | 23 | 0.001399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_939-40_0_4_line_26 |  | 22 | 24 | 0.022276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_939-40_0_4_line_27 |  | 23 | 25 | 0.02192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_939-40_0_4_line_28 |  | 24 | 74 | 0.005974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_939-40_0_4_line_29 |  | 25 | 26 | 0.028194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_939-40_0_4_line_30 |  | 26 | 27 | 0.0040562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_939-40_0_4_line_31 |  | 27 | 28 | 0.030499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_939-40_0_4_line_32 |  | 28 | 29 | 0.00099001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_939-40_0_4_line_33 |  | 29 | 30 | 0.0014202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_939-40_0_4_line_34 |  | 30 | 31 | 0.0026323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_939-40_0_4_line_35 |  | 31 | 88 | 0.0054533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_939-40_0_4_line_36 |  | 32 | 33 | 0.010454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_939-40_0_4_line_37 |  | 32 | 34 | 0.0040109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_939-40_0_4_line_38 |  | 33 | 35 | 0.0042879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_939-40_0_4_line_39 |  | 34 | 36 | 0.00784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_939-40_0_4_line_40 |  | 35 | 37 | 0.0063353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_939-40_0_4_line_41 |  | 36 | 38 | 0.011044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_939-40_0_4_line_42 |  | 37 | 39 | 0.0012781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_939-40_0_4_line_43 |  | 38 | 40 | 0.009862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_939-40_0_4_line_44 |  | 40 | 72 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_939-40_0_4_line_45 |  | 41 | 42 | 0.021108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_939-40_0_4_line_46 |  | 41 | 43 | 0.0017442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_939-40_0_4_line_47 |  | 42 | 44 | 0.027299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_939-40_0_4_line_48 |  | 43 | 45 | 0.013431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_939-40_0_4_line_49 |  | 44 | 46 | 0.023977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_939-40_0_4_line_50 |  | 45 | 47 | 0.021732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_939-40_0_4_line_51 |  | 47 | 48 | 0.02168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_939-40_0_4_line_52 |  | 48 | 49 | 0.0092268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_939-40_0_4_line_53 |  | 49 | 60 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_939-40_0_4_line_54 |  | 50 | 51 | 0.015499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_939-40_0_4_line_55 |  | 50 | 52 | 0.012615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_939-40_0_4_line_56 |  | 51 | 53 | 0.021743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_939-40_0_4_line_57 |  | 52 | 54 | 0.0043246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_939-40_0_4_line_58 |  | 53 | 55 | 0.014547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_939-40_0_4_line_59 |  | 54 | 56 | 0.0073948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_939-40_0_4_line_60 |  | 55 | 57 | 0.01044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_939-40_0_4_line_61 |  | 56 | 58 | 0.011279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_939-40_0_4_line_62 |  | 56 | 59 | 0.018813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_939-40_0_4_line_63 |  | 57 | 76 | 0.0084248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_939-40_0_4_line_64 |  | 58 | 81 | 0.023507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_939-40_0_4_line_65 |  | 59 | 82 | 0.020253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_939-40_0_4_line_66 |  | 60 | 78 | 0.0041618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_939-40_0_4_line_67 |  | 62 | 63 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_939-40_0_4_line_68 |  | 63 | 64 | 0.016536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_939-40_0_4_line_69 |  | 64 | 65 | 0.023413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_939-40_0_4_line_70 |  | 65 | 66 | 0.022596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_939-40_0_4_line_71 |  | 66 | 67 | 0.01962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_939-40_0_4_line_72 |  | 66 | 68 | 0.01878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_939-40_0_4_line_73 |  | 67 | 69 | 0.022982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_939-40_0_4_line_74 |  | 68 | 70 | 0.022461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_939-40_0_4_line_75 |  | 69 | 71 | 0.0078287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_939-40_0_4_line_76 |  | 71 | 75 | 0.019849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_939-40_0_4_line_77 |  | 72 | 73 | 0.010243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_939-40_0_4_line_78 |  | 73 | 79 | 0.010176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_939-40_0_4_line_79 |  | 74 | 78 | 0.00080044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_939-40_0_4_line_80 |  | 75 | 81 | 0.015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_939-40_0_4_line_81 |  | 76 | 77 | 0.0032695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_939-40_0_4_line_82 |  | 77 | 80 | 0.011609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_939-40_0_4_line_83 |  | 79 | 80 | 0.015639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_939-40_0_4_line_84 |  | 82 | 83 | 0.016053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_939-40_0_4_line_85 |  | 83 | 84 | 0.020043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_939-40_0_4_line_86 |  | 84 | 85 | 0.0053077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_939-40_0_4_line_87 |  | 86 | 87 | 0.045368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_939-40_0_4_line_88 |  | 88 | 89 | 0.00267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_939-40_0_4_line_89 |  | 89 | 90 | 0.0027736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_939-40_0_4_trafo_69 | 0.63 MVA 20/0.4 kV | 91 | 79 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2614129.0049 | 1181432.1256 | 2614137.9989 | 1181293.2641
1 | 2614034.6298 | 1181132.4727 | 2614137.9989 | 1181293.2641
2 | 2613951.624 | 1181224.7402 | 2614129.0049 | 1181432.1256
3 | 2614034.6298 | 1181132.4727 | 2614031.6978 | 1181096.2139 | 2614031.324 | 1181091.5973
4 | 2614034.6298 | 1181132.4727 | 2614002.7036 | 1181122.0494
5 | 2613951.624 | 1181224.7402 | 2613953.9513 | 1181213.3824 | 2613957.9153 | 1181200.6292
6 | 2613939.685 | 1181229.6384 | 2613951.1166 | 1181227.2162 | 2613951.624 | 1181224.7402
7 | 2614030.2427 | 1181078.2412 | 2614031.324 | 1181091.5973
8 | 2614002.7036 | 1181122.0494 | 2613997.9945 | 1181120.512
9 | 2613604.8222 | 1181127.0189 | 2613616.6126 | 1181131.9119
10 | 2613604.8222 | 1181127.0189 | 2613603.0936 | 1181126.3015 | 2613602.3952 | 1181126.0236
11 | 2613616.6126 | 1181131.9119 | 2613619.9704 | 1181133.3055
12 | 2613598.9717 | 1181124.6614 | 2613602.3952 | 1181126.0236
13 | 2613622.8008 | 1181134.4801 | 2613619.9704 | 1181133.3055
14 | 2613622.8008 | 1181134.4801 | 2613639.6162 | 1181141.4586 | 2613642.634 | 1181142.5329
15 | 2613660.0642 | 1181147.9839 | 2613650.4897 | 1181145.3296 | 2613642.634 | 1181142.5329
16 | 2613678.369 | 1181152.3754 | 2613661.0828 | 1181148.2663 | 2613660.0642 | 1181147.9839
17 | 2613695.7801 | 1181156.5142 | 2613678.369 | 1181152.3754
18 | 2613695.7801 | 1181156.5142 | 2613698.5739 | 1181157.1783 | 2613703.5036 | 1181158.7458 | 2613709.8157 | 1181161.949
19 | 2613743.0458 | 1181058.6494 | 2613745.9547 | 1181058.9469 | 2613747.4726 | 1181059.1958
20 | 2613761.5768 | 1181061.5085 | 2613747.4726 | 1181059.1958
21 | 2613743.0458 | 1181058.6494 | 2613732.7245 | 1181057.594
22 | 2613761.5768 | 1181061.5085 | 2613767.6808 | 1181062.5094 | 2613772.933 | 1181063.3663 | 2613780.769 | 1181065.2788
23 | 2613722.2487 | 1181056.5228 | 2613732.7245 | 1181057.594
24 | 2613810.6357 | 1181072.5682 | 2613780.769 | 1181065.2788
25 | 2613722.2487 | 1181056.5228 | 2613720.857 | 1181056.3805
26 | 2613810.6357 | 1181072.5682 | 2613825.811 | 1181076.2719 | 2613832.3019 | 1181077.7411
27 | 2613698.9899 | 1181054.9438 | 2613709.7488 | 1181055.4959 | 2613714.5976 | 1181055.7404 | 2613720.857 | 1181056.3805
28 | 2613838.1284 | 1181079.06 | 2613832.3019 | 1181077.7411
29 | 2613698.9899 | 1181054.9438 | 2613672.5696 | 1181053.5882 | 2613670.837 | 1181053.4348
30 | 2613670.837 | 1181053.4348 | 2613666.7966 | 1181053.0771
31 | 2613636.4164 | 1181050.3876 | 2613666.7966 | 1181053.0771
32 | 2613635.4308 | 1181050.2943 | 2613636.3555 | 1181050.3822 | 2613636.4164 | 1181050.3876
33 | 2613634.017 | 1181050.16 | 2613635.4308 | 1181050.2943
34 | 2613634.017 | 1181050.16 | 2613631.3965 | 1181049.9111
35 | 2613631.3965 | 1181049.9111 | 2613625.9677 | 1181049.3954
36 | 2613737.2914 | 1181104.8739 | 2613727.0891 | 1181102.594
37 | 2613737.2914 | 1181104.8739 | 2613741.2057 | 1181105.7486
38 | 2613727.0891 | 1181102.594 | 2613722.9044 | 1181101.6589
39 | 2613741.2057 | 1181105.7486 | 2613748.8569 | 1181107.4584
40 | 2613716.7216 | 1181100.2772 | 2613722.9044 | 1181101.6589
41 | 2613748.8569 | 1181107.4584 | 2613759.6355 | 1181109.8671
42 | 2613715.4743 | 1181099.9985 | 2613716.7216 | 1181100.2772
43 | 2613769.2601 | 1181112.0179 | 2613759.6355 | 1181109.8671
44 | 2613769.2601 | 1181112.0179 | 2613780.2869 | 1181114.482
45 | 2613928.7737 | 1181099.3868 | 2613931.4949 | 1181099.9943 | 2613949.0236 | 1181105.3206
46 | 2613928.7737 | 1181099.3868 | 2613927.0714 | 1181099.0068
47 | 2613949.0236 | 1181105.3206 | 2613961.5777 | 1181109.1354 | 2613975.1424 | 1181113.259
48 | 2613927.0714 | 1181099.0068 | 2613913.9626 | 1181096.0802
49 | 2613975.1424 | 1181113.259 | 2613984.3878 | 1181116.0696 | 2613997.9945 | 1181120.512
50 | 2613913.9626 | 1181096.0802 | 2613892.7532 | 1181091.3452
51 | 2613892.7532 | 1181091.3452 | 2613871.5943 | 1181086.6215
52 | 2613862.5924 | 1181084.5974 | 2613867.2418 | 1181085.6498 | 2613871.5943 | 1181086.6215
53 | 2613842.9683 | 1181080.1555 | 2613862.5924 | 1181084.5974
54 | 2613894.167 | 1181156.3939 | 2613885.4242 | 1181152.1592 | 2613880.0345 | 1181150.0577
55 | 2613894.167 | 1181156.3939 | 2613902.3511 | 1181160.358 | 2613904.2529 | 1181163.3217
56 | 2613859.7766 | 1181142.159 | 2613880.0345 | 1181150.0577
57 | 2613904.2529 | 1181163.3217 | 2613906.5885 | 1181166.9615
58 | 2613859.7766 | 1181142.159 | 2613846.2235 | 1181136.8745
59 | 2613907.6495 | 1181174.2218 | 2613906.909 | 1181167.4611 | 2613906.5885 | 1181166.9615
60 | 2613836.4963 | 1181133.0818 | 2613846.2235 | 1181136.8745
61 | 2613907.6495 | 1181174.2218 | 2613896.3732 | 1181173.9956
62 | 2613907.6495 | 1181174.2218 | 2613926.454 | 1181174.7776
63 | 2613828.6471 | 1181130.0214 | 2613836.4963 | 1181133.0818
64 | 2613896.3732 | 1181173.9956 | 2613872.8709 | 1181173.5241
65 | 2613946.6985 | 1181175.3759 | 2613926.454 | 1181174.7776
66 | 2613838.9091 | 1181079.2367 | 2613842.9683 | 1181080.1555
67 | 2613724.5412 | 1181169.4214 | 2613709.8157 | 1181161.949
68 | 2613724.5412 | 1181169.4214 | 2613741.0687 | 1181169.9633
69 | 2613764.4688 | 1181170.7305 | 2613741.0687 | 1181169.9633
70 | 2613764.4688 | 1181170.7305 | 2613787.053 | 1181171.4709
71 | 2613787.053 | 1181171.4709 | 2613806.6624 | 1181172.1138
72 | 2613787.053 | 1181171.4709 | 2613781.3049 | 1181189.3493
73 | 2613806.6624 | 1181172.1138 | 2613813.1197 | 1181172.3255 | 2613829.6377 | 1181172.6568
74 | 2613801.9077 | 1181198.2287 | 2613800.1413 | 1181197.2863 | 2613789.6595 | 1181192.5265 | 2613782.9455 | 1181189.8098 | 2613781.3049 | 1181189.3493
75 | 2613837.4648 | 1181172.8138 | 2613829.6377 | 1181172.6568
76 | 2613857.3094 | 1181173.2119 | 2613837.4648 | 1181172.8138
77 | 2613790.2833 | 1181116.7159 | 2613780.2869 | 1181114.482
78 | 2613800.214 | 1181118.9351 | 2613800.214 | 1181118.9351 | 2613790.2833 | 1181116.7159
79 | 2613838.1284 | 1181079.06 | 2613838.9091 | 1181079.2367
80 | 2613857.3094 | 1181173.2119 | 2613872.8709 | 1181173.5241
81 | 2613825.601 | 1181128.8337 | 2613828.6471 | 1181130.0214
82 | 2613814.7848 | 1181124.6164 | 2613825.601 | 1181128.8337
83 | 2613814.7848 | 1181124.6164 | 2613800.214 | 1181118.9351
84 | 2613962.7441 | 1181175.8501 | 2613946.6985 | 1181175.3759
85 | 2613962.7441 | 1181175.8501 | 2613961.0298 | 1181190.6093 | 2613959.4908 | 1181195.5607
86 | 2613959.4908 | 1181195.5607 | 2613957.9153 | 1181200.6292
87 | 2613939.685 | 1181229.6384 | 2613895.3022 | 1181239.0421
88 | 2613623.3096 | 1181049.1428 | 2613625.9677 | 1181049.3954
89 | 2613623.3096 | 1181049.1428 | 2613620.5485 | 1181048.8805

## bus_geodata
| x | y | coords
0 | 2614137.9989 | 1181293.2641
1 | 2614129.0049 | 1181432.1256
2 | 2614034.6298 | 1181132.4727
3 | 2613951.624 | 1181224.7402
4 | 2614031.324 | 1181091.5973
5 | 2614002.7036 | 1181122.0494
6 | 2613604.8222 | 1181127.0189
7 | 2613616.6126 | 1181131.9119
8 | 2613602.3952 | 1181126.0236
9 | 2613619.9704 | 1181133.3055
10 | 2613598.9717 | 1181124.6614
11 | 2613622.8008 | 1181134.4801
12 | 2613642.634 | 1181142.5329
13 | 2613660.0642 | 1181147.9839
14 | 2613678.369 | 1181152.3754
15 | 2613695.7801 | 1181156.5142
16 | 2613747.4726 | 1181059.1958
17 | 2613743.0458 | 1181058.6494
18 | 2613761.5768 | 1181061.5085
19 | 2613732.7245 | 1181057.594
20 | 2613780.769 | 1181065.2788
21 | 2613722.2487 | 1181056.5228
22 | 2613810.6357 | 1181072.5682
23 | 2613720.857 | 1181056.3805
24 | 2613832.3019 | 1181077.7411
25 | 2613698.9899 | 1181054.9438
26 | 2613670.837 | 1181053.4348
27 | 2613666.7966 | 1181053.0771
28 | 2613636.4164 | 1181050.3876
29 | 2613635.4308 | 1181050.2943
30 | 2613634.017 | 1181050.16
31 | 2613631.3965 | 1181049.9111
32 | 2613737.2914 | 1181104.8739
33 | 2613727.0891 | 1181102.594
34 | 2613741.2057 | 1181105.7486
35 | 2613722.9044 | 1181101.6589
36 | 2613748.8569 | 1181107.4584
37 | 2613716.7216 | 1181100.2772
38 | 2613759.6355 | 1181109.8671
39 | 2613715.4743 | 1181099.9985
40 | 2613769.2601 | 1181112.0179
41 | 2613928.7737 | 1181099.3868
42 | 2613949.0236 | 1181105.3206
43 | 2613927.0714 | 1181099.0068
44 | 2613975.1424 | 1181113.259
45 | 2613913.9626 | 1181096.0802
46 | 2613997.9945 | 1181120.512
47 | 2613892.7532 | 1181091.3452
48 | 2613871.5943 | 1181086.6215
49 | 2613862.5924 | 1181084.5974
50 | 2613894.167 | 1181156.3939
51 | 2613880.0345 | 1181150.0577
52 | 2613904.2529 | 1181163.3217
53 | 2613859.7765 | 1181142.159
54 | 2613906.5885 | 1181166.9615
55 | 2613846.2235 | 1181136.8745
56 | 2613907.6495 | 1181174.2218
57 | 2613836.4963 | 1181133.0818
58 | 2613896.3732 | 1181173.9956
59 | 2613926.454 | 1181174.7776
60 | 2613842.9683 | 1181080.1555
61 | 2614030.2427 | 1181078.2412
62 | 2613709.8157 | 1181161.949
63 | 2613724.5412 | 1181169.4214
64 | 2613741.0687 | 1181169.9633
65 | 2613764.4688 | 1181170.7305
66 | 2613787.053 | 1181171.4709
67 | 2613806.6624 | 1181172.1138
68 | 2613781.3049 | 1181189.3493
69 | 2613829.6377 | 1181172.6568
70 | 2613801.9077 | 1181198.2287
71 | 2613837.4648 | 1181172.8138
72 | 2613780.2869 | 1181114.482
73 | 2613790.2833 | 1181116.7159
74 | 2613838.1284 | 1181079.06
75 | 2613857.3094 | 1181173.2119
76 | 2613828.6471 | 1181130.0214
77 | 2613825.601 | 1181128.8337
78 | 2613838.9091 | 1181079.2367
79 | 2613800.214 | 1181118.9351
80 | 2613814.7848 | 1181124.6164
81 | 2613872.8709 | 1181173.5241
82 | 2613946.6985 | 1181175.3759
83 | 2613962.7441 | 1181175.8501
84 | 2613959.4908 | 1181195.5607
85 | 2613957.9153 | 1181200.6292
86 | 2613939.685 | 1181229.6384
87 | 2613895.3022 | 1181239.0421
88 | 2613625.9677 | 1181049.3954
89 | 2613623.3096 | 1181049.1428
90 | 2613620.5485 | 1181048.8805
91 | 2613715.4743 | 1181099.9985

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1