## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_939-44_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_939-44_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_939-44_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_939-44_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_939-44_0_3_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_939-44_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_939-44_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_939-44_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_939-44_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_939-44_0_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_939-44_0_3_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_939-44_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_939-44_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_939-44_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_939-44_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_939-44_0_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_939-44_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_939-44_0_3_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_939-44_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_939-44_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_939-44_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_939-44_0_3_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_939-44_0_3_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_939-44_0_3_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_939-44_0_3_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_939-44_0_3_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_939-44_0_3_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_939-44_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_939-44_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_939-44_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_939-44_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_939-44_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_939-44_0_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_939-44_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_939-44_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_939-44_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_939-44_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_939-44_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_939-44_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_939-44_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_939-44_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_939-44_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_939-44_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_MV_93_0_node_185 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_939-44_0_3_load_0 | 0 | 0.001605 | 0.00040224 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_939-44_0_3_load_1 | 1 | 0.00021342 | 5.3488e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_939-44_0_3_load_3 | 3 | 0.0079291 | 0.0019872 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_939-44_0_3_load_30 | 4 | 0.0033873 | 0.00084894 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_939-44_0_3_load_20 | 6 | 0.0019423 | 0.00048678 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_939-44_0_3_load_23 | 9 | 0.00054024 | 0.0001354 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_939-44_0_3_load_31 | 10 | 0.0016747 | 0.00041971 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_939-44_0_3_load_15 | 12 | 0.001536 | 0.00038495 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_939-44_0_3_load_12 | 13 | 0.00054803 | 0.00013735 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_939-44_0_3_load_36 | 15 | 0.0013929 | 0.0003491 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_939-44_0_3_load_39 | 17 | 0.0045961 | 0.0011519 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_939-44_0_3_load_22 | 19 | 0.0014199 | 0.00035586 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_939-44_0_3_load_6 | 21 | 0.0034668 | 0.00086887 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_939-44_0_3_load_7 | 22 | 0.0043581 | 0.0010922 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_939-44_0_3_load_9 | 24 | 0.00041406 | 0.00010377 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_939-44_0_3_load_10 | 25 | 0.00057215 | 0.00014339 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_939-44_0_3_load_11 | 26 | 0.0004923 | 0.00012338 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_939-44_0_3_load_21 | 30 | 0.0024011 | 0.00060177 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_939-44_0_3_load_43 | 32 | 0.00026214 | 6.5698e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_939-44_0_3_load_44 | 33 | 0.00035397 | 8.8714e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_939-44_0_3_load_29 | 34 | 0.00087136 | 0.00021838 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_939-44_0_3_load_34 | 35 | 0.0031242 | 0.000783 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_939-44_0_3_load_32 | 36 | 0.0078977 | 0.0019793 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_939-44_0_3_load_33 | 37 | 0.0057155 | 0.0014324 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_939-44_0_3_load_35 | 38 | 0.0024825 | 0.00062216 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_939-44_0_3_load_37 | 39 | 0.001294 | 0.00032432 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_939-44_0_3_load_38 | 40 | 0.0018913 | 0.000474 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_939-44_0_3_load_40 | 41 | 0.011296 | 0.0028311 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_939-44_0_3_load_41 | 42 | 0.0069988 | 0.0017541 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_939-44_0_3_line_0 |  | 0 | 1 | 0.03089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_939-44_0_3_line_1 |  | 1 | 2 | 0.081726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_939-44_0_3_line_2 |  | 2 | 3 | 0.034163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_939-44_0_3_line_3 |  | 3 | 4 | 0.0067319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_939-44_0_3_line_4 |  | 4 | 10 | 0.042953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_939-44_0_3_line_5 |  | 5 | 6 | 0.022145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_939-44_0_3_line_6 |  | 5 | 7 | 0.15957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_939-44_0_3_line_7 |  | 5 | 8 | 0.050547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_939-44_0_3_line_8 |  | 6 | 11 | 0.14489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_939-44_0_3_line_9 |  | 7 | 9 | 0.022012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_939-44_0_3_line_10 |  | 8 | 12 | 0.092638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_939-44_0_3_line_11 |  | 8 | 13 | 0.0024335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_939-44_0_3_line_12 |  | 9 | 19 | 0.019313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_939-44_0_3_line_13 |  | 10 | 34 | 0.061596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_939-44_0_3_line_14 |  | 11 | 27 | 0.020673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_939-44_0_3_line_15 |  | 13 | 28 | 0.19132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_939-44_0_3_line_16 |  | 14 | 15 | 0.0053036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_939-44_0_3_line_17 |  | 14 | 16 | 0.37034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_939-44_0_3_line_18 |  | 15 | 35 | 0.018491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_939-44_0_3_line_19 |  | 16 | 17 | 0.032982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_939-44_0_3_line_20 |  | 16 | 18 | 0.12246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_939-44_0_3_line_21 |  | 18 | 20 | 0.13271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_939-44_0_3_line_22 |  | 18 | 19 | 0.1147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_939-44_0_3_line_23 |  | 20 | 34 | 0.13184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_939-44_0_3_line_24 |  | 21 | 22 | 0.037297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_939-44_0_3_line_25 |  | 21 | 23 | 0.015641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_939-44_0_3_line_26 |  | 22 | 24 | 0.002233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_939-44_0_3_line_27 |  | 23 | 25 | 0.010779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_939-44_0_3_line_28 |  | 24 | 26 | 0.0067513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_939-44_0_3_line_29 |  | 26 | 27 | 0.089778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_939-44_0_3_line_30 |  | 28 | 29 | 0.052956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_939-44_0_3_line_31 |  | 29 | 30 | 0.014557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_939-44_0_3_line_32 |  | 29 | 31 | 0.10186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_939-44_0_3_line_33 |  | 30 | 33 | 0.025592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_939-44_0_3_line_34 |  | 31 | 32 | 0.29863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_939-44_0_3_line_35 |  | 35 | 36 | 0.013192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_939-44_0_3_line_36 |  | 36 | 37 | 0.0061671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_939-44_0_3_line_37 |  | 37 | 38 | 0.0050088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_939-44_0_3_line_38 |  | 38 | 39 | 0.0061167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_939-44_0_3_line_39 |  | 39 | 40 | 0.018723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_939-44_0_3_line_40 |  | 40 | 41 | 0.026127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_939-44_0_3_line_41 |  | 41 | 42 | 0.010558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_939-44_0_3_trafo_19 | 0.63 MVA 20/0.4 kV | 43 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2615068.6155 | 1182161.2128 | 2615054.7038 | 1182163.4568 | 2615042.8159 | 1182160.2143 | 2615038.3395 | 1182160.1581
1 | 2614956.6567 | 1182160.7554 | 2615004.8651 | 1182161.3757 | 2615028.4466 | 1182160.0339 | 2615038.3395 | 1182160.1581
2 | 2614956.6567 | 1182160.7554 | 2614928.6602 | 1182141.287 | 2614928.6038 | 1182141.2585
3 | 2614928.6038 | 1182141.2585 | 2614922.5932 | 1182138.227
4 | 2614884.4965 | 1182118.4513 | 2614887.7701 | 1182120.664 | 2614922.5932 | 1182138.227
5 | 2615044.2117 | 1182270.7303 | 2615043.4451 | 1182287.2258 | 2615042.2164 | 1182292.7214
6 | 2614890.8327 | 1182231.3842 | 2614928.0618 | 1182237.813 | 2614948.8756 | 1182240.9219 | 2614976.0915 | 1182245.5475 | 2614992.0801 | 1182248.4999 | 2615001.0765 | 1182250.7235 | 2615007.3552 | 1182252.7846 | 2615013.3649 | 1182255.5455 | 2615037.3932 | 1182267.7562 | 2615044.2117 | 1182270.7303
7 | 2615044.2117 | 1182270.7303 | 2615051.803 | 1182273.0283 | 2615058.4493 | 1182274.6346 | 2615067.495 | 1182275.4577 | 2615082.2679 | 1182275.9616 | 2615094.3029 | 1182275.2581
8 | 2614987.2616 | 1182417.286 | 2614985.4635 | 1182415.7919 | 2614980.2509 | 1182405.7293 | 2614979.881 | 1182400.9592 | 2614980.2289 | 1182396.1354 | 2614983.6067 | 1182385.7162 | 2614991.9408 | 1182368.7171 | 2615010.3123 | 1182337.569 | 2615021.8485 | 1182322.5012 | 2615030.2862 | 1182312.9951 | 2615037.8461 | 1182303.4424 | 2615041.2367 | 1182297.1032 | 2615042.2164 | 1182292.7214
9 | 2614890.8327 | 1182231.3842 | 2614874.9524 | 1182227.8653 | 2614869.4755 | 1182226.1265
10 | 2615094.3029 | 1182275.2581 | 2615098.2154 | 1182270.899 | 2615102.5611 | 1182267.3636 | 2615132.445 | 1182246.3501 | 2615148.0875 | 1182232.0376 | 2615164.0814 | 1182214.7023
11 | 2615094.3029 | 1182275.2581 | 2615096.7322 | 1182275.1147
12 | 2614852.3277 | 1182217.3639 | 2614857.5693 | 1182220.6409 | 2614867.2239 | 1182225.4116 | 2614869.4755 | 1182226.1265
13 | 2614833.7984 | 1182083.4734 | 2614862.0511 | 1182103.2803 | 2614884.4965 | 1182118.4513
14 | 2614987.2616 | 1182417.286 | 2614995.2745 | 1182424.9877 | 2615003.5157 | 1182429.8997
15 | 2615271.6403 | 1182220.7218 | 2615263.0298 | 1182216.8869 | 2615256.6222 | 1182214.4694 | 2615248.5639 | 1182212.6592 | 2615240.5943 | 1182211.9942 | 2615233.7139 | 1182212.377 | 2615227.618 | 1182213.5288 | 2615219.06 | 1182216.0418 | 2615205.8977 | 1182221.7003 | 2615191.1734 | 1182229.0892 | 2615139.3666 | 1182259.8856 | 2615131.5368 | 1182264.3904 | 2615124.1902 | 1182268.0183 | 2615116.5552 | 1182270.9451 | 2615107.7992 | 1182273.3465 | 2615098.4571 | 1182275.0128 | 2615096.7322 | 1182275.1147
16 | 2614708.3595 | 1182586.1517 | 2614706.6926 | 1182591.1865
17 | 2614708.3595 | 1182586.1517 | 2614710.0938 | 1182579.4191 | 2614716.2295 | 1182561.8139 | 2614718.1058 | 1182553.2363 | 2614718.1919 | 1182546.1106 | 2614715.1713 | 1182535.5978 | 2614702.9896 | 1182505.9972 | 2614701.3593 | 1182495.1654 | 2614702.0613 | 1182479.7259 | 2614707.8962 | 1182447.7792 | 2614709.9729 | 1182438.4128 | 2614713.5746 | 1182429.9061 | 2614742.349 | 1182390.2338 | 2614748.5285 | 1182379.8214 | 2614752.7356 | 1182367.2919 | 2614757.3981 | 1182327.883 | 2614765.38 | 1182286.1811 | 2614773.0942 | 1182247.7802 | 2614773.69 | 1182235.2419
18 | 2614706.6926 | 1182591.1865 | 2614700.881 | 1182608.7402
19 | 2614773.69 | 1182235.2419 | 2614757.8585 | 1182258.4706 | 2614755.3033 | 1182262.618
20 | 2614773.69 | 1182235.2419 | 2614780.0471 | 1182227.2089 | 2614787.8287 | 1182217.3785 | 2614794.3824 | 1182210.1353 | 2614798.7139 | 1182199.874 | 2614800.2576 | 1182193.1299 | 2614801.137 | 1182183.2937 | 2614796.9465 | 1182157.9147 | 2614789.9941 | 1182122.3349
21 | 2614728.7326 | 1182004.7796 | 2614734.4996 | 1182019.4902 | 2614739.7001 | 1182031.6981 | 2614746.8639 | 1182046.6011 | 2614756.1024 | 1182062.3764 | 2614776.1606 | 1182096.6877 | 2614789.9941 | 1182122.3349
22 | 2614789.9941 | 1182122.3349 | 2614821.5089 | 1182179.8754 | 2614828.3299 | 1182191.2091 | 2614833.5093 | 1182199.4261 | 2614838.5028 | 1182205.6194 | 2614844.7258 | 1182211.749 | 2614850.5176 | 1182216.2323 | 2614852.3277 | 1182217.3639
23 | 2614728.7326 | 1182004.7796 | 2614764.4103 | 1182037.306 | 2614782.5683 | 1182052.5473 | 2614829.9383 | 1182080.7673 | 2614833.7984 | 1182083.4734
24 | 2615065.3891 | 1182535.5876 | 2615064.8375 | 1182534.7514 | 2615062.556 | 1182528.1201 | 2615065.1344 | 1182519.8556 | 2615065.5678 | 1182499.2349 | 2615065.5678 | 1182499.2349
25 | 2615073.9951 | 1182548.6482 | 2615069.5456 | 1182541.8891 | 2615065.3891 | 1182535.5876
26 | 2615065.5678 | 1182499.2349 | 2615065.0438 | 1182497.0643
27 | 2615073.9951 | 1182548.6482 | 2615083.7491 | 1182553.2358
28 | 2615063.4594 | 1182490.5015 | 2615065.0438 | 1182497.0643
29 | 2615003.5157 | 1182429.8997 | 2615013.2512 | 1182435.7159 | 2615041.556 | 1182450.3052 | 2615049.2034 | 1182457.5725 | 2615054.5418 | 1182466.1125 | 2615063.2933 | 1182489.8133 | 2615063.4594 | 1182490.5015
30 | 2615271.6403 | 1182220.7218 | 2615276.1815 | 1182218.4433 | 2615297.7828 | 1182215.0409 | 2615301.1561 | 1182215.6609 | 2615303.4968 | 1182216.9675 | 2615304.7889 | 1182219.2942 | 2615307.2039 | 1182224.403 | 2615310.0577 | 1182228.1233 | 2615313.0881 | 1182231.4216 | 2615314.029 | 1182233.7585
31 | 2615314.029 | 1182233.7585 | 2615316.5543 | 1182231.5193 | 2615321.4992 | 1182229.6309 | 2615327.3364 | 1182228.8533
32 | 2615314.029 | 1182233.7585 | 2615314.2876 | 1182237.1276 | 2615312.9242 | 1182241.8488 | 2615318.6458 | 1182243.7532 | 2615323.3847 | 1182244.7658 | 2615330.0098 | 1182245.6831 | 2615373.1429 | 1182245.1707 | 2615382.9993 | 1182245.4516 | 2615389.3562 | 1182246.7574 | 2615396.4968 | 1182249.1102 | 2615401.0562 | 1182251.6676 | 2615403.8289 | 1182254.2205
33 | 2615327.3364 | 1182228.8533 | 2615331.734 | 1182228.2674 | 2615338.8448 | 1182227.3406 | 2615352.7812 | 1182226.1778
34 | 2615403.8289 | 1182254.2205 | 2615434.5332 | 1182235.2449 | 2615441.2045 | 1182233.0276 | 2615451.8603 | 1182231.254 | 2615500.3319 | 1182230.2448 | 2615540.6779 | 1182229.8598 | 2615582.828 | 1182234.5379 | 2615634.1583 | 1182238.1951 | 2615696.1435 | 1182236.8042
35 | 2614696.736 | 1182621.2638 | 2614696.7606 | 1182621.1859 | 2614700.881 | 1182608.7402
36 | 2614696.736 | 1182621.2638 | 2614694.8837 | 1182627.1461
37 | 2614694.8837 | 1182627.1461 | 2614693.3792 | 1182631.9236
38 | 2614693.3792 | 1182631.9236 | 2614691.5419 | 1182637.758
39 | 2614691.5419 | 1182637.758 | 2614688.2043 | 1182648.3568 | 2614686.2407 | 1182655.71
40 | 2614686.2407 | 1182655.71 | 2614679.5001 | 1182680.9522
41 | 2614679.5001 | 1182680.9522 | 2614678.7346 | 1182683.8186 | 2614675.0476 | 1182690.454

## bus_geodata
| x | y | coords
0 | 2615068.6155 | 1182161.2128
1 | 2615038.3395 | 1182160.1581
2 | 2614956.6567 | 1182160.7554
3 | 2614928.6038 | 1182141.2585
4 | 2614922.5932 | 1182138.227
5 | 2615044.2117 | 1182270.7303
6 | 2615042.2164 | 1182292.7214
7 | 2614890.8327 | 1182231.3842
8 | 2615094.3029 | 1182275.2581
9 | 2614869.4755 | 1182226.1265
10 | 2614884.4965 | 1182118.4513
11 | 2614987.2616 | 1182417.286
12 | 2615164.0814 | 1182214.7023
13 | 2615096.7322 | 1182275.1147
14 | 2614708.3595 | 1182586.1517
15 | 2614706.6926 | 1182591.1865
16 | 2614773.69 | 1182235.2419
17 | 2614755.3033 | 1182262.618
18 | 2614789.9941 | 1182122.3349
19 | 2614852.3277 | 1182217.3639
20 | 2614728.7326 | 1182004.7796
21 | 2615065.3891 | 1182535.5876
22 | 2615065.5678 | 1182499.2349
23 | 2615073.9951 | 1182548.6482
24 | 2615065.0438 | 1182497.0643
25 | 2615083.7491 | 1182553.2358
26 | 2615063.4594 | 1182490.5015
27 | 2615003.5157 | 1182429.8997
28 | 2615271.6403 | 1182220.7218
29 | 2615314.029 | 1182233.7585
30 | 2615327.3364 | 1182228.8533
31 | 2615403.8289 | 1182254.2205
32 | 2615696.1435 | 1182236.8042
33 | 2615352.7812 | 1182226.1778
34 | 2614833.7984 | 1182083.4734
35 | 2614700.881 | 1182608.7402
36 | 2614696.736 | 1182621.2638
37 | 2614694.8837 | 1182627.1461
38 | 2614693.3792 | 1182631.9236
39 | 2614691.5419 | 1182637.758
40 | 2614686.2407 | 1182655.71
41 | 2614679.5001 | 1182680.9522
42 | 2614675.0476 | 1182690.454
43 | 2614999.4741 | 1182415.6934

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1