## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_939-45_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_939-45_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_939-45_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_939-45_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_939-45_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_939-45_0_4_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_939-45_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_939-45_0_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_939-45_0_4_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_939-45_0_4_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_939-45_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_939-45_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_939-45_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_939-45_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_939-45_0_4_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_939-45_0_4_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_939-45_0_4_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_939-45_0_4_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_939-45_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_939-45_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_939-45_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_939-45_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_939-45_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_939-45_0_4_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_939-45_0_4_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_939-45_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_939-45_0_4_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_939-45_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_939-45_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_939-45_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_939-45_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_939-45_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_939-45_0_4_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_939-45_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_939-45_0_4_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_939-45_0_4_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_939-45_0_4_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_939-45_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_939-45_0_4_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_939-45_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_939-45_0_4_node_64 | 0.4 | n |  | TRUE
41 | bus_LV_939-45_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_939-45_0_4_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_939-45_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_939-45_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_939-45_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_939-45_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_939-45_0_4_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_939-45_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_939-45_0_4_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_939-45_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_939-45_0_4_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_939-45_0_4_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_939-45_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_939-45_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_939-45_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_939-45_0_4_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_939-45_0_4_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_939-45_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_939-45_0_4_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_939-45_0_4_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_939-45_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_939-45_0_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_939-45_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_939-45_0_4_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_939-45_0_4_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_939-45_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_939-45_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_939-45_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_939-45_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_939-45_0_4_node_75 | 0.4 | n |  | TRUE
71 | bus_LV_939-45_0_4_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_939-45_0_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_939-45_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_939-45_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_939-45_0_4_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_939-45_0_4_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_939-45_0_4_node_81 | 0.4 | n |  | TRUE
78 | bus_MV_107_0_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_939-45_0_4_load_0 | 0 | 0.00065378 | 0.00016385 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_939-45_0_4_load_1 | 1 | 0.00026079 | 6.5361e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_939-45_0_4_load_2 | 2 | 0.00038583 | 9.6698e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_939-45_0_4_load_4 | 4 | 0.0004789 | 0.00012002 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_939-45_0_4_load_10 | 6 | 0.00052897 | 0.00013257 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_939-45_0_4_load_79 | 8 | 0.00031633 | 7.9281e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_939-45_0_4_load_78 | 9 | 0.00050557 | 0.00012671 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_939-45_0_4_load_5 | 12 | 0.00018978 | 4.7563e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_939-45_0_4_load_6 | 13 | 0.00042086 | 0.00010548 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_939-45_0_4_load_77 | 14 | 0.00016614 | 4.1639e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_939-45_0_4_load_29 | 17 | 0.00093984 | 0.00023555 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_939-45_0_4_load_13 | 18 | 0.000975 | 0.00024436 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_939-45_0_4_load_14 | 19 | 0.0015859 | 0.00039747 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_939-45_0_4_load_16 | 21 | 0.0002632 | 6.5963e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_939-45_0_4_load_66 | 23 | 0.00076803 | 0.00019249 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_939-45_0_4_load_59 | 24 | 0.0007118 | 0.00017839 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_939-45_0_4_load_58 | 26 | 0.00063545 | 0.00015926 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_939-45_0_4_load_18 | 27 | 0.003494 | 0.00087567 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_939-45_0_4_load_19 | 28 | 0.0030356 | 0.00076079 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_939-45_0_4_load_20 | 29 | 0.0040237 | 0.0010084 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_939-45_0_4_load_21 | 30 | 0.0021987 | 0.00055103 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_939-45_0_4_load_22 | 31 | 0.0068215 | 0.0017096 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_939-45_0_4_load_50 | 32 | 0.014164 | 0.0035499 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_939-45_0_4_load_35 | 33 | 0.0081476 | 0.002042 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_939-45_0_4_load_43 | 35 | 0.001657 | 0.00041529 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_939-45_0_4_load_53 | 36 | 0.0014863 | 0.0003725 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_939-45_0_4_load_33 | 37 | 0.0011573 | 0.00029005 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_939-45_0_4_load_67 | 38 | 0.0018249 | 0.00045736 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_939-45_0_4_load_44 | 39 | 0.0015297 | 0.00038339 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_939-45_0_4_load_23 | 41 | 0.00065608 | 0.00016443 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_939-45_0_4_load_24 | 42 | 0.0014432 | 0.00036171 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_939-45_0_4_load_28 | 46 | 0.00025863 | 6.4819e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_939-45_0_4_load_36 | 47 | 0.0020887 | 0.00052349 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_939-45_0_4_load_48 | 49 | 0.0016228 | 0.0004067 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_939-45_0_4_load_47 | 50 | 0.00082542 | 0.00020687 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_939-45_0_4_load_32 | 51 | 0.001458 | 0.00036542 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_939-45_0_4_load_65 | 52 | 0.0070036 | 0.0017553 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_939-45_0_4_load_55 | 54 | 0.0019183 | 0.00048077 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_939-45_0_4_load_45 | 55 | 0.0018636 | 0.00046706 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_939-45_0_4_load_70 | 56 | 0.070011 | 0.017546 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_939-45_0_4_load_63 | 57 | 0.0072886 | 0.0018267 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_939-45_0_4_load_51 | 58 | 0.00044669 | 0.00011195 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_939-45_0_4_load_61 | 59 | 0.0019761 | 0.00049525 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_939-45_0_4_load_60 | 60 | 0.0034178 | 0.00085657 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_939-45_0_4_load_38 | 61 | 0.0017023 | 0.00042664 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_939-45_0_4_load_68 | 62 | 0.0012011 | 0.00030102 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_939-45_0_4_load_69 | 63 | 0.0016532 | 0.00041433 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_939-45_0_4_load_39 | 64 | 0.0022461 | 0.00056292 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_939-45_0_4_load_40 | 65 | 0.010426 | 0.002613 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_939-45_0_4_load_57 | 67 | 0.0057769 | 0.0014478 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_939-45_0_4_load_52 | 69 | 0.0011453 | 0.00028705 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_939-45_0_4_load_71 | 72 | 0.00098944 | 0.00024798 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_939-45_0_4_load_74 | 74 | 0.0011839 | 0.0002967 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_939-45_0_4_load_80 | 76 | 0.0024051 | 0.00060276 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_939-45_0_4_load_81 | 77 | 0.00033672 | 8.439e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_939-45_0_4_line_0 |  | 0 | 1 | 0.051448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_939-45_0_4_line_1 |  | 0 | 2 | 0.028891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_939-45_0_4_line_2 |  | 1 | 3 | 0.030742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_939-45_0_4_line_3 |  | 2 | 4 | 0.013205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_939-45_0_4_line_4 |  | 3 | 5 | 0.057623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_939-45_0_4_line_5 |  | 4 | 6 | 0.18257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_939-45_0_4_line_6 |  | 5 | 9 | 0.14058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_939-45_0_4_line_7 |  | 5 | 10 | 0.28543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_939-45_0_4_line_8 |  | 5 | 7 | 0.010833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_939-45_0_4_line_9 |  | 6 | 11 | 0.36488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_939-45_0_4_line_10 |  | 7 | 8 | 0.25643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_939-45_0_4_line_11 |  | 9 | 14 | 0.031444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_939-45_0_4_line_12 |  | 10 | 13 | 0.019841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_939-45_0_4_line_13 |  | 11 | 15 | 0.054656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_939-45_0_4_line_14 |  | 12 | 13 | 0.035464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_939-45_0_4_line_15 |  | 15 | 16 | 0.011838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_939-45_0_4_line_16 |  | 15 | 17 | 0.098009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_939-45_0_4_line_17 |  | 16 | 49 | 0.073167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_939-45_0_4_line_18 |  | 18 | 19 | 0.002183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_939-45_0_4_line_19 |  | 18 | 20 | 0.016894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_939-45_0_4_line_20 |  | 19 | 21 | 0.010707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_939-45_0_4_line_21 |  | 20 | 22 | 0.00355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_939-45_0_4_line_22 |  | 21 | 23 | 0.20393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_939-45_0_4_line_23 |  | 22 | 24 | 0.034283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_939-45_0_4_line_24 |  | 23 | 25 | 0.088645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_939-45_0_4_line_25 |  | 24 | 26 | 0.017307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_939-45_0_4_line_26 |  | 25 | 43 | 0.11508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_939-45_0_4_line_27 |  | 26 | 67 | 0.21026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_939-45_0_4_line_28 |  | 27 | 28 | 0.022859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_939-45_0_4_line_29 |  | 27 | 29 | 0.018694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_939-45_0_4_line_30 |  | 28 | 30 | 0.032816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_939-45_0_4_line_31 |  | 29 | 31 | 0.018074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_939-45_0_4_line_32 |  | 30 | 35 | 0.016569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_939-45_0_4_line_33 |  | 31 | 38 | 0.011593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_939-45_0_4_line_34 |  | 32 | 33 | 0.036914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_939-45_0_4_line_35 |  | 32 | 34 | 0.013557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_939-45_0_4_line_36 |  | 33 | 36 | 0.050046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_939-45_0_4_line_37 |  | 33 | 37 | 0.076978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_939-45_0_4_line_38 |  | 34 | 50 | 0.05167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_939-45_0_4_line_39 |  | 34 | 66 | 0.18645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_939-45_0_4_line_40 |  | 35 | 39 | 0.015336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_939-45_0_4_line_41 |  | 36 | 58 | 0.031952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_939-45_0_4_line_42 |  | 37 | 51 | 0.033323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_939-45_0_4_line_43 |  | 38 | 40 | 0.0027637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_939-45_0_4_line_44 |  | 39 | 55 | 0.024031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_939-45_0_4_line_45 |  | 40 | 68 | 0.021252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_939-45_0_4_line_46 |  | 41 | 42 | 0.0036077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_939-45_0_4_line_47 |  | 42 | 43 | 0.021512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_939-45_0_4_line_48 |  | 43 | 46 | 0.011705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_939-45_0_4_line_49 |  | 44 | 45 | 0.053151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_939-45_0_4_line_50 |  | 44 | 46 | 0.018419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_939-45_0_4_line_51 |  | 45 | 47 | 0.1693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_939-45_0_4_line_52 |  | 47 | 48 | 0.026285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_939-45_0_4_line_53 |  | 48 | 61 | 0.010954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_939-45_0_4_line_54 |  | 49 | 50 | 0.095007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_939-45_0_4_line_55 |  | 51 | 52 | 0.16494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_939-45_0_4_line_56 |  | 52 | 53 | 0.041967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_939-45_0_4_line_57 |  | 53 | 54 | 0.076763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_939-45_0_4_line_58 |  | 54 | 55 | 0.013066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_939-45_0_4_line_59 |  | 56 | 57 | 0.060297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_939-45_0_4_line_60 |  | 57 | 59 | 0.025698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_939-45_0_4_line_61 |  | 58 | 69 | 0.014283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_939-45_0_4_line_62 |  | 59 | 60 | 0.059259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_939-45_0_4_line_63 |  | 60 | 68 | 0.029311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_939-45_0_4_line_64 |  | 61 | 62 | 0.017791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_939-45_0_4_line_65 |  | 62 | 63 | 0.016692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_939-45_0_4_line_66 |  | 63 | 70 | 0.091593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_939-45_0_4_line_67 |  | 64 | 65 | 0.018977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_939-45_0_4_line_68 |  | 65 | 66 | 0.072591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_939-45_0_4_line_69 |  | 66 | 67 | 0.27113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_939-45_0_4_line_70 |  | 70 | 71 | 0.25281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_939-45_0_4_line_71 |  | 71 | 75 | 0.1066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_939-45_0_4_line_72 |  | 71 | 72 | 0.036352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_939-45_0_4_line_73 |  | 72 | 73 | 0.091384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_939-45_0_4_line_74 |  | 73 | 74 | 0.06788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_939-45_0_4_line_75 |  | 75 | 76 | 0.10226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_939-45_0_4_line_76 |  | 76 | 77 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_939-45_0_4_trafo_18 | 0.63 MVA 20/0.4 kV | 78 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2615990.5794 | 1182058.2424 | 2615987.8794 | 1182059.9883 | 2615974.8352 | 1182066.7571 | 2615965.404 | 1182073.0242 | 2615947.7598 | 1182086.5185
1 | 2615990.5794 | 1182058.2424 | 2615993.4783 | 1182056.368 | 2615996.9315 | 1182052.7642 | 2615998.5654 | 1182049.9226 | 2616000.9948 | 1182043.7148 | 2616004.002 | 1182033.6513
2 | 2615922.244 | 1182103.4033 | 2615928.0994 | 1182100.8842 | 2615934.5166 | 1182096.7323 | 2615945.8633 | 1182087.969 | 2615947.7598 | 1182086.5185
3 | 2616004.7098 | 1182020.7853 | 2616005.7714 | 1182027.7303 | 2616004.002 | 1182033.6513
4 | 2615868.943 | 1182122.7725 | 2615888.8284 | 1182110.2296 | 2615921.9917 | 1182103.5138 | 2615922.244 | 1182103.4033
5 | 2616004.7098 | 1182020.7853 | 2616003.745 | 1182014.4737 | 2615995.194 | 1181991.2056 | 2615979.1959 | 1181954.3885 | 2615954.0681 | 1181905.0298 | 2615936.7329 | 1181874.1012 | 2615924.0946 | 1181862.9954 | 2615921.2897 | 1181860.7536
6 | 2615868.943 | 1182122.7725 | 2615835.0602 | 1182150.5308 | 2615820.6061 | 1182165.1115 | 2615784.6705 | 1182201.3358 | 2615777.2697 | 1182207.9642 | 2615770.0248 | 1182213.4147 | 2615764.463 | 1182216.1982
7 | 2615868.943 | 1182122.7725 | 2615886.1233 | 1182131.2444 | 2615908.3769 | 1182132.6706 | 2615962.0539 | 1182132.7239 | 2615978.1991 | 1182137.0134 | 2615989.7435 | 1182145.7597 | 2615994.6724 | 1182152.8542 | 2616000.9032 | 1182167.0893 | 2616004.8607 | 1182194.8919 | 2616009.8117 | 1182230.9348 | 2616016.6912 | 1182236.6338 | 2616020.405 | 1182238.3668 | 2616037.4368 | 1182239.3127 | 2616078.3266 | 1182238.2879
8 | 2615868.943 | 1182122.7725 | 2615865.6459 | 1182119.3731 | 2615862.9711 | 1182117.3873 | 2615860.4622 | 1182116.18
9 | 2616103.499 | 1181736.9301 | 2616092.0408 | 1181758.4772 | 2616087.2178 | 1181765.957 | 2616079.8083 | 1181775.5311 | 2616074.9084 | 1181783.2442 | 2616069.1496 | 1181795.1683 | 2616065.9864 | 1181795.9046 | 2616061.8868 | 1181795.5491 | 2616039.2544 | 1181789.7079 | 2616002.9951 | 1181782.6855 | 2615975.285 | 1181776.731 | 2615945.8079 | 1181774.7852 | 2615923.1591 | 1181775.092 | 2615903.2588 | 1181781.287 | 2615886.5494 | 1181790.7589 | 2615868.2581 | 1181803.595 | 2615863.0655 | 1181812.3636 | 2615866.7024 | 1181817.3202 | 2615893.917 | 1181834.4675 | 2615916.2235 | 1181856.7046 | 2615921.2897 | 1181860.7536
10 | 2615860.4622 | 1182116.18 | 2615857.6315 | 1182115.3833 | 2615809.2499 | 1182102.1269 | 2615780.2015 | 1182085.82 | 2615752.906 | 1182064.871 | 2615746.8545 | 1182060.6308 | 2615738.1806 | 1182057.7177 | 2615702.2689 | 1182052.5434 | 2615644.1743 | 1182056.7832 | 2615626.2457 | 1182056.9033 | 2615619.6467 | 1182056.7356
11 | 2615734.6085 | 1182225.8532 | 2615735.1147 | 1182225.5962 | 2615760.5675 | 1182218.1479 | 2615764.463 | 1182216.1982
12 | 2616078.3266 | 1182238.2879 | 2616098.1542 | 1182237.5724
13 | 2616077.9361 | 1181690.3822 | 2616086.4192 | 1181699.1205 | 2616099.1812 | 1181718.2422 | 2616102.2881 | 1181724.3092 | 2616103.2129 | 1181729.6811 | 2616103.499 | 1181736.9301
14 | 2616133.5702 | 1182235.8467 | 2616122.2033 | 1182236.7045 | 2616098.1542 | 1182237.5724
15 | 2616080.3265 | 1181678.8271 | 2616080.1912 | 1181680.8944 | 2616079.1147 | 1181686.5278 | 2616077.9361 | 1181690.3822
16 | 2616077.9361 | 1181690.3822 | 2616067.7644 | 1181693.4344 | 2616052.506 | 1181696.9399 | 2616036.737 | 1181697.1646 | 2616013.9242 | 1181695.8254 | 2615981.3262 | 1181692.9483 | 2615980.9407 | 1181692.9244
17 | 2616080.3265 | 1181678.8271 | 2616075.596 | 1181668.8204 | 2616054.7199 | 1181642.7957 | 2616046.745 | 1181635.2483 | 2616038.1886 | 1181628.1774 | 2616032.9531 | 1181624.0689
18 | 2616757.044 | 1181874.3828 | 2616757.2738 | 1181873.8306 | 2616758.0354 | 1181872.4407
19 | 2616766.1536 | 1181857.6248 | 2616758.0354 | 1181872.4407
20 | 2616757.044 | 1181874.3828 | 2616752.9305 | 1181884.2683 | 2616752.9305 | 1181884.2683
21 | 2616763.1964 | 1181855.6488 | 2616766.1536 | 1181857.6248
22 | 2616833.2682 | 1182018.1838 | 2616837.4235 | 1182013.9934 | 2616852.2118 | 1182003.7628 | 2616857.2406 | 1181999.408 | 2616859.7611 | 1181996.4135 | 2616861.4579 | 1181993.0721 | 2616862.1851 | 1181989.7169 | 2616862.1037 | 1181986.0703 | 2616861.1347 | 1181983.0772 | 2616859.1895 | 1181979.7033 | 2616856.1914 | 1181976.0041 | 2616826.0013 | 1181948.2719 | 2616812.0087 | 1181938.7724 | 2616804.3799 | 1181933.6039 | 2616785.6732 | 1181925.114 | 2616768.4216 | 1181920.5302 | 2616757.791 | 1181910.1952 | 2616753.5213 | 1181894.2084 | 2616752.9305 | 1181884.2683
23 | 2616763.1964 | 1181855.6488 | 2616753.6543 | 1181849.2412 | 2616734.7395 | 1181836.53
24 | 2616766.64 | 1182074.7492 | 2616770.8621 | 1182069.4249 | 2616778.3494 | 1182065.0547 | 2616791.9965 | 1182053.2533 | 2616799.4345 | 1182041.9794 | 2616806.5335 | 1182037.2746 | 2616812.263 | 1182033.522 | 2616819.8939 | 1182029.7413 | 2616824.2771 | 1182026.8743 | 2616827.3694 | 1182024.1816 | 2616832.9823 | 1182018.4721 | 2616833.2682 | 1182018.1838
25 | 2616720.3746 | 1181826.8764 | 2616734.7395 | 1181836.53
26 | 2616861.056 | 1182139.0908 | 2616835.8351 | 1182114.941 | 2616810.4074 | 1182096.3937 | 2616793.3697 | 1182086.4854 | 2616766.64 | 1182074.7492
27 | 2616537.9512 | 1181730.4803 | 2616539.018 | 1181730.3748 | 2616547.2871 | 1181730.5866 | 2616560.1641 | 1181732.3674 | 2616572.5041 | 1181735.0249 | 2616587.6339 | 1181739.4912 | 2616597.0394 | 1181742.9633 | 2616606.5114 | 1181747.2695 | 2616614.1975 | 1181751.215 | 2616620.517 | 1181755.0677 | 2616629.3746 | 1181760.6284 | 2616669.9746 | 1181790.9898 | 2616694.8842 | 1181809.7463 | 2616720.3746 | 1181826.8764
28 | 2616220.8611 | 1181406.4573 | 2616233.7097 | 1181407.8438 | 2616243.6342 | 1181408.3145
29 | 2616262.2176 | 1181407.3427 | 2616262.2176 | 1181407.3427 | 2616256.4646 | 1181408.3833 | 2616251.3551 | 1181408.6807 | 2616243.6342 | 1181408.3145
30 | 2616188.5399 | 1181400.9859 | 2616196.3276 | 1181402.9294 | 2616216.4871 | 1181405.9853 | 2616220.8611 | 1181406.4573
31 | 2616262.2176 | 1181407.3427 | 2616269.4549 | 1181405.2612 | 2616279.1812 | 1181401.1913
32 | 2616172.764 | 1181395.9312 | 2616187.2312 | 1181400.6593 | 2616188.5399 | 1181400.9859
33 | 2616279.1812 | 1181401.1913 | 2616285.3718 | 1181398.6008 | 2616289.5177 | 1181396.0219 | 2616289.5177 | 1181396.0219
34 | 2616104.8067 | 1181559.3977 | 2616116.4339 | 1181566.0989 | 2616128.5997 | 1181574.1357 | 2616135.8289 | 1181579.3496
35 | 2616146.4086 | 1181587.8238 | 2616136.8613 | 1181580.0942 | 2616135.8289 | 1181579.3496
36 | 2616104.8067 | 1181559.3977 | 2616089.4885 | 1181562.2804 | 2616066.5244 | 1181565.9209 | 2616055.3219 | 1181566.2598
37 | 2616104.8067 | 1181559.3977 | 2616097.7993 | 1181555.5769 | 2616091.6223 | 1181552.4588 | 2616035.8995 | 1181527.2971 | 2616035.0624 | 1181526.8765
38 | 2616146.4086 | 1181587.8238 | 2616143.8077 | 1181589.5399 | 2616140.7814 | 1181590.4434 | 2616137.9033 | 1181590.1689 | 2616129.6998 | 1181588.1903 | 2616126.113 | 1181587.3469 | 2616121.2282 | 1181586.5 | 2616115.1738 | 1181586.0947 | 2616108.8739 | 1181586.1112 | 2616095.8931 | 1181587.5107
39 | 2616146.4086 | 1181587.8238 | 2616149.3729 | 1181590.133 | 2616153.6026 | 1181593.2237 | 2616160.2711 | 1181598.0996 | 2616172.977 | 1181606.8716 | 2616183.5977 | 1181612.9589 | 2616194.3067 | 1181617.4345 | 2616205.0334 | 1181621.0207 | 2616214.7166 | 1181623.6371 | 2616226.3311 | 1181626.4476 | 2616254.3833 | 1181633.1379 | 2616270.0181 | 1181637.3823 | 2616277.9294 | 1181640.1051 | 2616290.2716 | 1181644.8632 | 2616317.4369 | 1181657.5545
40 | 2616172.764 | 1181395.9312 | 2616161.5421 | 1181392.2637 | 2616158.2809 | 1181390.9138
41 | 2616023.9036 | 1181561.4047 | 2616047.9518 | 1181566.4827 | 2616055.3219 | 1181566.2598
42 | 2616035.0624 | 1181526.8765 | 2616005.2865 | 1181511.9165
43 | 2616291.6378 | 1181394.2489 | 2616289.5177 | 1181396.0219
44 | 2616136.6791 | 1181380.4687 | 2616136.6791 | 1181380.4687 | 2616147.7279 | 1181386.5459 | 2616158.2809 | 1181390.9138
45 | 2616291.6378 | 1181394.2489 | 2616292.8414 | 1181392.5068 | 2616293.2274 | 1181390.9626 | 2616292.8468 | 1181376.4541 | 2616292.114 | 1181373.5173
46 | 2616879.6532 | 1182142.5771 | 2616880.503 | 1182146.0833
47 | 2616861.056 | 1182139.0908 | 2616878.7556 | 1182138.8737 | 2616879.6532 | 1182142.5771
48 | 2616861.056 | 1182139.0908 | 2616863.0068 | 1182140.4748 | 2616864.0327 | 1182142.2341 | 2616864.6329 | 1182149.4857
49 | 2616874.366 | 1182220.2033 | 2616870.155 | 1182202.5713 | 2616868.8595 | 1182196.2199 | 2616866.2782 | 1182174.6349 | 2616866.1522 | 1182167.8421
50 | 2616866.1522 | 1182167.8421 | 2616864.6329 | 1182149.4857
51 | 2616874.366 | 1182220.2033 | 2616893.0503 | 1182219.989 | 2616931.2835 | 1182216.1834 | 2616998.5786 | 1182209.0584 | 2617019.9356 | 1182208.7298 | 2617043.0913 | 1182209.1807
52 | 2617069.3718 | 1182209.6926 | 2617043.0913 | 1182209.1807
53 | 2617069.3718 | 1182209.6926 | 2617077.8015 | 1182209.5831 | 2617080.3151 | 1182209.8107
54 | 2616095.8931 | 1181587.5107 | 2616066.9166 | 1181590.6347 | 2616040.2447 | 1181595.9329 | 2616032.0731 | 1181599.135 | 2616027.2642 | 1181604.1804 | 2616025.2788 | 1181609.9336 | 2616025.5718 | 1181614.6034 | 2616030.0579 | 1181621.7969 | 2616032.9531 | 1181624.0689
55 | 2616005.2865 | 1181511.9165 | 2616087.8136 | 1181369.1098
56 | 2616087.8136 | 1181369.1098 | 2616059.6318 | 1181347.5122 | 2616057.5369 | 1181345.6168 | 2616056.6169 | 1181344.1024 | 2616056.0185 | 1181342.2666
57 | 2616056.0185 | 1181342.2666 | 2616063.3722 | 1181345.221 | 2616073.7869 | 1181348.5839 | 2616093.35 | 1181354.8283 | 2616100.9698 | 1181358.1949 | 2616106.9249 | 1181361.557 | 2616125.652 | 1181373.4599
58 | 2616136.6791 | 1181380.4687 | 2616125.652 | 1181373.4599
59 | 2616182.4865 | 1181354.0704 | 2616146.5461 | 1181340.3745 | 2616125.9602 | 1181333.0946
60 | 2616182.4865 | 1181354.0704 | 2616196.5212 | 1181359.4186 | 2616206.8389 | 1181362.1733
61 | 2616023.9036 | 1181561.4047 | 2616009.9288 | 1181558.4538
62 | 2616264.8372 | 1181370.6269 | 2616258.0451 | 1181371.7464 | 2616239.7199 | 1181370.9521 | 2616206.8389 | 1181362.1733
63 | 2616292.114 | 1181373.5173 | 2616290.6539 | 1181371.2455 | 2616288.5045 | 1181369.7723 | 2616285.6739 | 1181368.8419 | 2616282.1469 | 1181368.4655 | 2616277.2211 | 1181368.5856 | 2616264.8372 | 1181370.6269
64 | 2617080.3151 | 1182209.8107 | 2617085.786 | 1182210.3062 | 2617097.9543 | 1182212.0838
65 | 2617114.5387 | 1182211.974 | 2617109.9069 | 1182212.7204 | 2617105.6459 | 1182212.8973 | 2617099.6003 | 1182212.3242 | 2617097.9543 | 1182212.0838
66 | 2617205.3393 | 1182216.0055 | 2617193.3207 | 1182213.5476 | 2617164.6139 | 1182210.1305 | 2617153.1036 | 1182208.7859 | 2617141.69 | 1182208.342 | 2617129.7679 | 1182209.5197 | 2617114.5387 | 1182211.974
67 | 2616407.2733 | 1181671.0873 | 2616391.6187 | 1181669.6179 | 2616388.3697 | 1181669.4551
68 | 2616317.4369 | 1181657.5545 | 2616322.3866 | 1181656.9676 | 2616326.7162 | 1181656.9905 | 2616331.8469 | 1181657.2601 | 2616337.5712 | 1181658.265 | 2616365.7166 | 1181667.0905 | 2616370.0207 | 1181668.0472 | 2616374.7301 | 1181668.7715 | 2616388.3697 | 1181669.4551
69 | 2616317.4369 | 1181657.5545 | 2616328.4911 | 1181664.1879 | 2616337.7971 | 1181670.6832 | 2616345.3465 | 1181677.2737 | 2616352.5739 | 1181684.3303 | 2616358.9374 | 1181691.7626 | 2616377.136 | 1181719.0595 | 2616396.6168 | 1181743.7142 | 2616401.9943 | 1181748.6758 | 2616408.0822 | 1181753.506 | 2616412.8773 | 1181756.3872 | 2616417.4762 | 1181758.4231 | 2616425.1738 | 1181761.0232 | 2616432.6915 | 1181762.3778 | 2616439.9832 | 1181762.5644 | 2616445.4432 | 1181762.4682 | 2616452.9909 | 1181761.2215 | 2616459.028 | 1181759.4816 | 2616464.0801 | 1181757.739 | 2616471.4114 | 1181754.6797 | 2616510.3431 | 1181736.6104 | 2616517.3212 | 1181734.2617 | 2616524.6188 | 1181732.3252 | 2616531.357 | 1181731.132 | 2616537.9512 | 1181730.4803
70 | 2617400.199 | 1182087.3996 | 2617393.4944 | 1182095.5622 | 2617382.3352 | 1182099.4876 | 2617330.5778 | 1182092.9348 | 2617309.9438 | 1182099.2453 | 2617299.0615 | 1182115.7559 | 2617238.8678 | 1182183.4624 | 2617205.3393 | 1182216.0055
71 | 2617400.199 | 1182087.3996 | 2617364.5434 | 1182060.2159 | 2617354.5754 | 1182053.5281 | 2617333.3044 | 1182039.7263 | 2617312.2658 | 1182027.3593
72 | 2617400.199 | 1182087.3996 | 2617429.0129 | 1182109.5639
73 | 2617504.6453 | 1182160.7851 | 2617498.0851 | 1182155.9857 | 2617484.7102 | 1182147.309 | 2617461.892 | 1182132.7463 | 2617438.0326 | 1182116.502 | 2617429.0129 | 1182109.5639
74 | 2617504.6453 | 1182160.7851 | 2617512.4003 | 1182166.8997 | 2617520.3518 | 1182173.7041 | 2617527.1363 | 1182180.1161 | 2617533.3028 | 1182186.3484 | 2617540.7541 | 1182194.4632 | 2617548.3314 | 1182203.9124 | 2617552.0655 | 1182208.9952
75 | 2617312.2658 | 1182027.3593 | 2617223.9243 | 1181981.3042 | 2617221.5677 | 1181980.1317
76 | 2617221.5677 | 1181980.1317 | 2617204.4645 | 1181971.6219

## bus_geodata
| x | y | coords
0 | 2615990.5794 | 1182058.2424
1 | 2615947.7598 | 1182086.5186
2 | 2616004.002 | 1182033.6513
3 | 2615922.244 | 1182103.4033
4 | 2616004.7098 | 1182020.7853
5 | 2615868.943 | 1182122.7725
6 | 2615921.2897 | 1181860.7536
7 | 2615860.4622 | 1182116.18
8 | 2615619.6467 | 1182056.7356
9 | 2615764.463 | 1182216.1982
10 | 2616078.3266 | 1182238.2879
11 | 2616103.499 | 1181736.9301
12 | 2616133.5702 | 1182235.8467
13 | 2616098.1542 | 1182237.5724
14 | 2615734.6085 | 1182225.8532
15 | 2616077.9361 | 1181690.3822
16 | 2616080.3265 | 1181678.8271
17 | 2615980.9407 | 1181692.9244
18 | 2616758.0354 | 1181872.4407
19 | 2616757.044 | 1181874.3828
20 | 2616766.1536 | 1181857.6248
21 | 2616752.9305 | 1181884.2683
22 | 2616763.1964 | 1181855.6488
23 | 2616833.2682 | 1182018.1838
24 | 2616734.7395 | 1181836.53
25 | 2616766.64 | 1182074.7492
26 | 2616720.3746 | 1181826.8764
27 | 2616243.6342 | 1181408.3145
28 | 2616220.8611 | 1181406.4573
29 | 2616262.2176 | 1181407.3427
30 | 2616188.5399 | 1181400.9859
31 | 2616279.1812 | 1181401.1913
32 | 2616135.8289 | 1181579.3496
33 | 2616104.8067 | 1181559.3977
34 | 2616146.4086 | 1181587.8238
35 | 2616172.764 | 1181395.9312
36 | 2616055.3219 | 1181566.2598
37 | 2616035.0624 | 1181526.8765
38 | 2616289.5177 | 1181396.0219
39 | 2616158.2809 | 1181390.9138
40 | 2616291.6378 | 1181394.2489
41 | 2616880.503 | 1182146.0833
42 | 2616879.6532 | 1182142.5771
43 | 2616861.056 | 1182139.0908
44 | 2616866.1522 | 1182167.8421
45 | 2616874.366 | 1182220.2033
46 | 2616864.6329 | 1182149.4857
47 | 2617043.0913 | 1182209.1807
48 | 2617069.3718 | 1182209.6926
49 | 2616032.9531 | 1181624.0689
50 | 2616095.8931 | 1181587.5107
51 | 2616005.2865 | 1181511.9165
52 | 2616087.8136 | 1181369.1098
53 | 2616056.0185 | 1181342.2666
54 | 2616125.652 | 1181373.4599
55 | 2616136.6791 | 1181380.4687
56 | 2616125.9602 | 1181333.0946
57 | 2616182.4865 | 1181354.0704
58 | 2616023.9036 | 1181561.4047
59 | 2616206.8389 | 1181362.1733
60 | 2616264.8372 | 1181370.6269
61 | 2617080.3151 | 1182209.8107
62 | 2617097.9543 | 1182212.0838
63 | 2617114.5387 | 1182211.974
64 | 2616407.2733 | 1181671.0873
65 | 2616388.3697 | 1181669.4551
66 | 2616317.4369 | 1181657.5545
67 | 2616537.9512 | 1181730.4803
68 | 2616292.114 | 1181373.5173
69 | 2616009.9288 | 1181558.4538
70 | 2617205.3393 | 1182216.0055
71 | 2617400.199 | 1182087.3996
72 | 2617429.0129 | 1182109.5639
73 | 2617504.6453 | 1182160.7851
74 | 2617552.0655 | 1182208.9952
75 | 2617312.2658 | 1182027.3593
76 | 2617221.5677 | 1181980.1317
77 | 2617204.4645 | 1181971.6219
78 | 2616291.6378 | 1181394.2489

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1