## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-103_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-103_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-103_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-103_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-103_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_942-103_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_942-103_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_942-103_0_3_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_942-103_0_3_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_942-103_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_942-103_0_3_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_942-103_0_3_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_942-103_0_3_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_942-103_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_942-103_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_942-103_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_942-103_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_942-103_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_942-103_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_942-103_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_942-103_0_3_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_942-103_0_3_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_942-103_0_3_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_942-103_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_942-103_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_942-103_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_942-103_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_942-103_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_942-103_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_942-103_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_942-103_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_942-103_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_942-103_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_942-103_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_942-103_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_942-103_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_942-103_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_942-103_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_942-103_0_3_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_942-103_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_942-103_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_942-103_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_942-103_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_942-103_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_942-103_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_942-103_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_942-103_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_942-103_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_942-103_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_942-103_0_3_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_942-103_0_3_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_942-103_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_942-103_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_942-103_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_942-103_0_3_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_942-103_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_942-103_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_942-103_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_942-103_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_942-103_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_942-103_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_942-103_0_3_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_942-103_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_942-103_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_942-103_0_3_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_942-103_0_3_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_942-103_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_942-103_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_942-103_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_942-103_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_942-103_0_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_942-103_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_942-103_0_3_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_942-103_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_942-103_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_942-103_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_942-103_0_3_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_942-103_0_3_node_78 | 0.4 | n |  | TRUE
78 | bus_MV_208_1_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-103_0_3_load_0 | 0 | 0.0027647 | 0.00069291 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-103_0_3_load_1 | 1 | 0.0029073 | 0.00072863 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-103_0_3_load_4 | 4 | 0.0064296 | 0.0016114 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-103_0_3_load_13 | 5 | 0.006719 | 0.0016839 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-103_0_3_load_11 | 6 | 0.0050902 | 0.0012757 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-103_0_3_load_49 | 7 | 0.0020952 | 0.0005251 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-103_0_3_load_71 | 8 | 0.0045308 | 0.0011355 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-103_0_3_load_50 | 10 | 0.0043873 | 0.0010996 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-103_0_3_load_44 | 11 | 0.0030936 | 0.00077533 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-103_0_3_load_45 | 12 | 0.0024872 | 0.00062334 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-103_0_3_load_6 | 13 | 0.0010841 | 0.00027171 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-103_0_3_load_7 | 14 | 0.0024043 | 0.00060258 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-103_0_3_load_8 | 15 | 0.0020802 | 0.00052135 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-103_0_3_load_9 | 16 | 0.015616 | 0.0039137 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-103_0_3_load_16 | 18 | 0.0019325 | 0.00048433 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-103_0_3_load_15 | 19 | 0.022149 | 0.005551 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-103_0_3_load_72 | 20 | 0.0040745 | 0.0010212 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-103_0_3_load_76 | 21 | 0.0026628 | 0.00066737 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-103_0_3_load_17 | 23 | 0.0036421 | 0.00091279 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-103_0_3_load_18 | 24 | 0.0012561 | 0.00031481 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-103_0_3_load_19 | 25 | 0.0028389 | 0.00071148 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-103_0_3_load_20 | 26 | 0.0066221 | 0.0016597 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-103_0_3_load_21 | 27 | 0.0031696 | 0.00079437 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-103_0_3_load_29 | 28 | 0.0012029 | 0.00030149 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-103_0_3_load_30 | 29 | 0.0017496 | 0.0004385 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-103_0_3_load_28 | 30 | 0.0094499 | 0.0023684 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-103_0_3_load_31 | 31 | 0.0023925 | 0.00059961 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-103_0_3_load_22 | 32 | 0.0017236 | 0.00043198 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-103_0_3_load_26 | 36 | 0.0011323 | 0.00028378 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-103_0_3_load_27 | 37 | 0.0034203 | 0.00085721 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-103_0_3_load_79 | 38 | 0.0089787 | 0.0022503 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-103_0_3_load_37 | 39 | 0.0060623 | 0.0015194 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-103_0_3_load_32 | 41 | 0.0042305 | 0.0010603 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-103_0_3_load_33 | 43 | 0.012441 | 0.0031181 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-103_0_3_load_38 | 45 | 0.0047292 | 0.0011853 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-103_0_3_load_39 | 47 | 0.0087991 | 0.0022053 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-103_0_3_load_74 | 49 | 0.0037693 | 0.00094467 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-103_0_3_load_75 | 50 | 0.0017116 | 0.00042896 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-103_0_3_load_43 | 51 | 0.0064199 | 0.001609 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-103_0_3_load_40 | 52 | 0.0088551 | 0.0022193 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-103_0_3_load_64 | 54 | 0.0060061 | 0.0015053 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-103_0_3_load_42 | 55 | 0.0038653 | 0.00096873 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-103_0_3_load_46 | 56 | 0.0046993 | 0.0011778 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-103_0_3_load_52 | 57 | 0.0046981 | 0.0011774 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-103_0_3_load_55 | 59 | 0.0036106 | 0.00090491 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-103_0_3_load_54 | 60 | 0.0047348 | 0.0011867 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-103_0_3_load_56 | 61 | 0.0033761 | 0.00084613 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-103_0_3_load_51 | 62 | 0.002388 | 0.00059849 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-103_0_3_load_58 | 63 | 0.007174 | 0.001798 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-103_0_3_load_57 | 64 | 0.0099533 | 0.0024945 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-103_0_3_load_69 | 65 | 0.0023937 | 0.00059992 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-103_0_3_load_59 | 67 | 0.006724 | 0.0016852 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-103_0_3_load_60 | 68 | 0.0035017 | 0.00087762 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-103_0_3_load_62 | 70 | 0.0038453 | 0.00096372 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-103_0_3_load_63 | 71 | 0.0058457 | 0.0014651 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-103_0_3_load_66 | 72 | 0.004166 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-103_0_3_load_70 | 73 | 0.0072874 | 0.0018264 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-103_0_3_load_65 | 74 | 0.0023288 | 0.00058365 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-103_0_3_load_68 | 75 | 0.0025669 | 0.00064334 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-103_0_3_load_73 | 76 | 0.0043564 | 0.0010918 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-103_0_3_load_78 | 77 | 0.011186 | 0.0028035 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-103_0_3_line_0 |  | 0 | 1 | 0.0058787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-103_0_3_line_1 |  | 0 | 2 | 0.020611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-103_0_3_line_2 |  | 1 | 3 | 0.0063007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-103_0_3_line_3 |  | 2 | 4 | 0.019696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-103_0_3_line_4 |  | 3 | 5 | 0.026162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-103_0_3_line_5 |  | 3 | 6 | 0.016537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-103_0_3_line_6 |  | 4 | 7 | 0.00022821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-103_0_3_line_7 |  | 5 | 8 | 0.020288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-103_0_3_line_8 |  | 6 | 9 | 0.01396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-103_0_3_line_9 |  | 7 | 10 | 0.023352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-103_0_3_line_10 |  | 8 | 20 | 0.017431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-103_0_3_line_11 |  | 9 | 19 | 0.041002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-103_0_3_line_12 |  | 9 | 17 | 0.01149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-103_0_3_line_13 |  | 10 | 62 | 0.005749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-103_0_3_line_14 |  | 11 | 12 | 0.018191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-103_0_3_line_15 |  | 12 | 56 | 0.019557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-103_0_3_line_16 |  | 13 | 14 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-103_0_3_line_17 |  | 13 | 15 | 0.0070713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_942-103_0_3_line_18 |  | 14 | 16 | 0.017742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-103_0_3_line_19 |  | 16 | 17 | 0.025709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_942-103_0_3_line_20 |  | 17 | 18 | 0.032052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-103_0_3_line_21 |  | 18 | 21 | 0.0066242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-103_0_3_line_22 |  | 20 | 76 | 0.025418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-103_0_3_line_23 |  | 21 | 22 | 0.020108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-103_0_3_line_24 |  | 22 | 77 | 0.032275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-103_0_3_line_25 |  | 23 | 24 | 0.010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-103_0_3_line_26 |  | 23 | 25 | 0.0050911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-103_0_3_line_27 |  | 24 | 26 | 0.0059706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-103_0_3_line_28 |  | 25 | 27 | 0.003478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-103_0_3_line_29 |  | 26 | 28 | 0.024778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-103_0_3_line_30 |  | 27 | 29 | 0.017262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-103_0_3_line_31 |  | 28 | 30 | 0.0056643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-103_0_3_line_32 |  | 29 | 31 | 0.014167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-103_0_3_line_33 |  | 30 | 37 | 0.005538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-103_0_3_line_34 |  | 32 | 33 | 0.01507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_942-103_0_3_line_35 |  | 32 | 34 | 0.042674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-103_0_3_line_36 |  | 33 | 35 | 0.056208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-103_0_3_line_37 |  | 33 | 36 | 0.034232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-103_0_3_line_38 |  | 34 | 37 | 0.034037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-103_0_3_line_39 |  | 35 | 38 | 0.049031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-103_0_3_line_40 |  | 36 | 39 | 0.00078923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_942-103_0_3_line_41 |  | 39 | 40 | 0.021457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-103_0_3_line_42 |  | 40 | 45 | 0.034296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-103_0_3_line_43 |  | 40 | 43 | 0.011251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_942-103_0_3_line_44 |  | 41 | 42 | 0.065382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-103_0_3_line_45 |  | 42 | 44 | 0.034473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-103_0_3_line_46 |  | 44 | 46 | 0.04004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_942-103_0_3_line_47 |  | 44 | 47 | 0.010459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-103_0_3_line_48 |  | 45 | 48 | 0.02613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_942-103_0_3_line_49 |  | 46 | 49 | 0.024564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-103_0_3_line_50 |  | 46 | 50 | 0.023431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_942-103_0_3_line_51 |  | 46 | 51 | 0.013966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-103_0_3_line_52 |  | 47 | 52 | 0.015037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-103_0_3_line_53 |  | 48 | 53 | 0.031408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-103_0_3_line_54 |  | 49 | 54 | 0.010163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-103_0_3_line_55 |  | 51 | 55 | 0.0042011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-103_0_3_line_56 |  | 53 | 58 | 0.022738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-103_0_3_line_57 |  | 53 | 59 | 0.01156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-103_0_3_line_58 |  | 54 | 69 | 0.036548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-103_0_3_line_59 |  | 56 | 57 | 0.0068411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-103_0_3_line_60 |  | 57 | 58 | 0.013361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-103_0_3_line_61 |  | 58 | 60 | 0.0090713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-103_0_3_line_62 |  | 59 | 61 | 0.0068379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-103_0_3_line_63 |  | 61 | 64 | 0.013032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-103_0_3_line_64 |  | 62 | 63 | 0.0090804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-103_0_3_line_65 |  | 64 | 65 | 0.013018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-103_0_3_line_66 |  | 65 | 66 | 0.018877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_942-103_0_3_line_67 |  | 66 | 75 | 0.014279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-103_0_3_line_68 |  | 66 | 74 | 0.016082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-103_0_3_line_69 |  | 67 | 68 | 0.02109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-103_0_3_line_70 |  | 67 | 69 | 0.0052621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_942-103_0_3_line_71 |  | 68 | 70 | 0.00153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-103_0_3_line_72 |  | 69 | 71 | 0.01323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-103_0_3_line_73 |  | 70 | 72 | 0.023436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-103_0_3_line_74 |  | 71 | 73 | 0.0034995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_942-103_0_3_line_75 |  | 72 | 74 | 0.0033677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_942-103_0_3_line_76 |  | 75 | 76 | 0.0042838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-103_0_3_trafo_69 | 0.63 MVA 20/0.4 kV | 78 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2614411.0628 | 1175989.0575 | 2614410.7854 | 1175983.1853
1 | 2614412.0377 | 1176009.6453 | 2614411.4629 | 1175997.5267 | 2614411.0628 | 1175989.0575
2 | 2614410.488 | 1175976.8916 | 2614410.7854 | 1175983.1853
3 | 2614412.0377 | 1176009.6453 | 2614431.6871 | 1176008.2907
4 | 2614410.488 | 1175976.8916 | 2614436.601 | 1175975.2949
5 | 2614410.488 | 1175976.8916 | 2614409.7679 | 1175961.6044 | 2614409.7101 | 1175960.3725
6 | 2614431.9147 | 1176008.275 | 2614431.6871 | 1176008.2907
7 | 2614456.8516 | 1175974.0566 | 2614436.601 | 1175975.2949
8 | 2614409.0552 | 1175946.4283 | 2614409.7101 | 1175960.3725
9 | 2614431.9147 | 1176008.275 | 2614455.2117 | 1176006.6688
10 | 2614456.8516 | 1175974.0566 | 2614474.2503 | 1175972.9927
11 | 2614409.0552 | 1175946.4283 | 2614441.8273 | 1175944.2612 | 2614449.7484 | 1175942.3075
12 | 2614409.0552 | 1175946.4283 | 2614408.5094 | 1175934.9545
13 | 2614455.2117 | 1176006.6688 | 2614460.9471 | 1176006.2734
14 | 2614475.6243 | 1176058.633 | 2614488.3323 | 1176057.397 | 2614492.8513 | 1176056.5964 | 2614493.679 | 1176056.5006
15 | 2614493.679 | 1176056.5006 | 2614499.8162 | 1176055.7905 | 2614504.5355 | 1176054.3678 | 2614512.7415 | 1176052.3532
16 | 2614347.9623 | 1175948.1346 | 2614366.0523 | 1175944.1967
17 | 2614347.9623 | 1175948.1346 | 2614341.0528 | 1175949.6387
18 | 2614366.0523 | 1175944.1967 | 2614383.3884 | 1175940.4229
19 | 2614408.5094 | 1175934.9545 | 2614383.3884 | 1175940.4229
20 | 2614408.5094 | 1175934.9545 | 2614408.0026 | 1175902.9068
21 | 2614408.0026 | 1175902.9068 | 2614407.8979 | 1175896.2834
22 | 2614499.4208 | 1175969.6976 | 2614483.087 | 1175972.4523 | 2614474.2503 | 1175972.9927
23 | 2614407.5799 | 1175876.1779 | 2614407.8979 | 1175896.2834
24 | 2614439.9436 | 1175875.5884 | 2614407.5799 | 1175876.1779
25 | 2614674.5183 | 1176073.9852 | 2614683.9922 | 1176068.4411
26 | 2614688.3862 | 1176065.8697 | 2614683.9922 | 1176068.4411
27 | 2614674.5183 | 1176073.9852 | 2614669.3653 | 1176077.0007
28 | 2614691.388 | 1176064.1131 | 2614688.3862 | 1176065.8697
29 | 2614669.3653 | 1176077.0007 | 2614666.9251 | 1176078.4287 | 2614659.8043 | 1176086.7712 | 2614654.0254 | 1176096.1097
30 | 2614691.388 | 1176064.1131 | 2614706.2866 | 1176055.3945
31 | 2614654.0254 | 1176096.1097 | 2614651.0448 | 1176100.9264
32 | 2614718.5138 | 1176048.2392 | 2614706.2866 | 1176055.3945
33 | 2614648.1306 | 1176105.6356 | 2614651.0448 | 1176100.9264
34 | 2614574.8701 | 1176135.6122 | 2614589.9396 | 1176135.6807
35 | 2614632.613 | 1176135.8745 | 2614589.9396 | 1176135.6807
36 | 2614574.8701 | 1176135.6122 | 2614518.5132 | 1176134.3199
37 | 2614574.8701 | 1176135.6122 | 2614573.3446 | 1176101.4141
38 | 2614632.613 | 1176135.8745 | 2614642.5701 | 1176114.6212 | 2614648.1306 | 1176105.6356
39 | 2614518.5132 | 1176134.3199 | 2614510.1228 | 1176086.0196
40 | 2614573.3095 | 1176100.6256 | 2614573.3446 | 1176101.4141
41 | 2614575.1496 | 1176080.1291 | 2614572.5357 | 1176083.2799 | 2614573.3095 | 1176100.6256
42 | 2614575.1496 | 1176080.1291 | 2614571.5358 | 1176070.0708 | 2614570.5339 | 1176060.8637 | 2614569.1114 | 1176054.935 | 2614567.4836 | 1176051.6627 | 2614565.8507 | 1176047.3677
43 | 2614575.1496 | 1176080.1291 | 2614582.3295 | 1176071.4669
44 | 2614596.4428 | 1175957.4182 | 2614598.1491 | 1175966.1268 | 2614625.7209 | 1176015.4521
45 | 2614596.4428 | 1175957.4182 | 2614594.7434 | 1175952.167 | 2614592.1564 | 1175944.2011 | 2614588.2843 | 1175923.9926
46 | 2614583.5346 | 1175884.2498 | 2614584.6863 | 1175891.5785 | 2614588.2843 | 1175923.9926
47 | 2614588.2843 | 1175923.9926 | 2614598.7137 | 1175923.2048
48 | 2614560.4092 | 1176021.9083 | 2614562.6148 | 1176029.5842 | 2614564.2443 | 1176035.3021 | 2614565.46 | 1176041.4415 | 2614565.8507 | 1176047.3677
49 | 2614583.5346 | 1175884.2498 | 2614559.3057 | 1175888.2945
50 | 2614606.8465 | 1175881.2936 | 2614583.5346 | 1175884.2498
51 | 2614583.5346 | 1175884.2498 | 2614582.8272 | 1175879.7013 | 2614581.3844 | 1175870.4505
52 | 2614598.7137 | 1175923.2048 | 2614613.7083 | 1175922.0721
53 | 2614529.4176 | 1176027.5252 | 2614560.4092 | 1176021.9083
54 | 2614559.3057 | 1175888.2945 | 2614549.2819 | 1175889.9679
55 | 2614580.7369 | 1175866.2995 | 2614581.3844 | 1175870.4505
56 | 2614529.4176 | 1176027.5252 | 2614530.0108 | 1176031.9511 | 2614531.0113 | 1176041.7696 | 2614532.2246 | 1176048.9206 | 2614531.7253 | 1176049.9533
57 | 2614529.4176 | 1176027.5252 | 2614528.1559 | 1176027.7667 | 2614526.4284 | 1176017.638
58 | 2614513.2329 | 1175895.986 | 2614549.2819 | 1175889.9679
59 | 2614519.5081 | 1176051.3468 | 2614519.5081 | 1176051.3468 | 2614512.7415 | 1176052.3532 | 2614512.7415 | 1176052.3532
60 | 2614531.7253 | 1176049.9533 | 2614530.9876 | 1176051.5746 | 2614524.8411 | 1176052.1712 | 2614521.7624 | 1176051.5523 | 2614519.5081 | 1176051.3468
61 | 2614531.7253 | 1176049.9533 | 2614532.9632 | 1176050.0675 | 2614535.2998 | 1176050.9736 | 2614538.1616 | 1176052.8147 | 2614538.8475 | 1176054.607
62 | 2614526.4284 | 1176017.638 | 2614525.2787 | 1176010.8975
63 | 2614523.0877 | 1175998.0514 | 2614525.2787 | 1176010.8975
64 | 2614470.006 | 1176005.6489 | 2614460.9471 | 1176006.2734
65 | 2614520.899 | 1175985.2192 | 2614523.0877 | 1175998.0514
66 | 2614517.7251 | 1175966.6105 | 2614520.899 | 1175985.2192
67 | 2614517.7251 | 1175966.6105 | 2614503.645 | 1175968.9852
68 | 2614517.7251 | 1175966.6105 | 2614516.7043 | 1175950.5609
69 | 2614513.567 | 1175901.2375 | 2614514.9057 | 1175922.2848
70 | 2614513.2329 | 1175895.986 | 2614513.567 | 1175901.2375
71 | 2614514.9057 | 1175922.2848 | 2614515.0028 | 1175923.8117
72 | 2614513.2329 | 1175895.986 | 2614512.7849 | 1175882.7634
73 | 2614516.4905 | 1175947.2 | 2614515.0028 | 1175923.8117
74 | 2614512.6664 | 1175879.2658 | 2614512.7849 | 1175882.7634
75 | 2614516.7043 | 1175950.5609 | 2614516.4905 | 1175947.2
76 | 2614499.4208 | 1175969.6976 | 2614503.645 | 1175968.9852

## bus_geodata
| x | y | coords
0 | 2614411.0628 | 1175989.0575
1 | 2614410.7854 | 1175983.1853
2 | 2614412.0377 | 1176009.6453
3 | 2614410.488 | 1175976.8916
4 | 2614431.6871 | 1176008.2907
5 | 2614436.601 | 1175975.2949
6 | 2614409.7101 | 1175960.3725
7 | 2614431.9147 | 1176008.275
8 | 2614456.8516 | 1175974.0566
9 | 2614409.0552 | 1175946.4283
10 | 2614455.2117 | 1176006.6688
11 | 2614475.6243 | 1176058.633
12 | 2614493.679 | 1176056.5006
13 | 2614347.9623 | 1175948.1346
14 | 2614366.0523 | 1175944.1967
15 | 2614341.0528 | 1175949.6387
16 | 2614383.3884 | 1175940.4229
17 | 2614408.5094 | 1175934.9545
18 | 2614408.0026 | 1175902.9068
19 | 2614449.7484 | 1175942.3075
20 | 2614474.2503 | 1175972.9927
21 | 2614407.8979 | 1175896.2834
22 | 2614407.5799 | 1175876.1779
23 | 2614683.9922 | 1176068.4411
24 | 2614674.5183 | 1176073.9852
25 | 2614688.3862 | 1176065.8697
26 | 2614669.3653 | 1176077.0007
27 | 2614691.388 | 1176064.1131
28 | 2614654.0254 | 1176096.1097
29 | 2614706.2866 | 1176055.3945
30 | 2614651.0448 | 1176100.9264
31 | 2614718.5138 | 1176048.2392
32 | 2614589.9396 | 1176135.6807
33 | 2614574.8701 | 1176135.6122
34 | 2614632.613 | 1176135.8745
35 | 2614518.5132 | 1176134.3199
36 | 2614573.3446 | 1176101.4141
37 | 2614648.1306 | 1176105.6356
38 | 2614510.1228 | 1176086.0196
39 | 2614573.3095 | 1176100.6256
40 | 2614575.1496 | 1176080.1291
41 | 2614625.7209 | 1176015.4521
42 | 2614596.4428 | 1175957.4182
43 | 2614582.3295 | 1176071.4669
44 | 2614588.2843 | 1175923.9926
45 | 2614565.8507 | 1176047.3677
46 | 2614583.5346 | 1175884.2498
47 | 2614598.7137 | 1175923.2048
48 | 2614560.4092 | 1176021.9083
49 | 2614559.3057 | 1175888.2945
50 | 2614606.8465 | 1175881.2936
51 | 2614581.3844 | 1175870.4505
52 | 2614613.7083 | 1175922.0721
53 | 2614529.4176 | 1176027.5252
54 | 2614549.2819 | 1175889.9679
55 | 2614580.7369 | 1175866.2995
56 | 2614512.7415 | 1176052.3532
57 | 2614519.5081 | 1176051.3468
58 | 2614531.7253 | 1176049.9533
59 | 2614526.4284 | 1176017.638
60 | 2614538.8475 | 1176054.607
61 | 2614525.2787 | 1176010.8975
62 | 2614460.9471 | 1176006.2734
63 | 2614470.006 | 1176005.6489
64 | 2614523.0877 | 1175998.0514
65 | 2614520.899 | 1175985.2192
66 | 2614517.7251 | 1175966.6105
67 | 2614513.567 | 1175901.2375
68 | 2614514.9057 | 1175922.2848
69 | 2614513.2329 | 1175895.986
70 | 2614515.0028 | 1175923.8117
71 | 2614512.7849 | 1175882.7634
72 | 2614516.4905 | 1175947.2
73 | 2614512.6664 | 1175879.2658
74 | 2614516.7043 | 1175950.5609
75 | 2614503.645 | 1175968.9852
76 | 2614499.4208 | 1175969.6976
77 | 2614439.9436 | 1175875.5884
78 | 2614517.7251 | 1175966.6105

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1