## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-106_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-106_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-106_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-106_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-106_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_942-106_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_942-106_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_942-106_0_4_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_942-106_0_4_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_942-106_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_942-106_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_942-106_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_942-106_0_4_node_94 | 0.4 | n |  | TRUE
13 | bus_LV_942-106_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_942-106_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_942-106_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_942-106_0_4_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_942-106_0_4_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_942-106_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_942-106_0_4_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_942-106_0_4_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_942-106_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_942-106_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_942-106_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_942-106_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_942-106_0_4_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_942-106_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_942-106_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_942-106_0_4_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_942-106_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_942-106_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_942-106_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_942-106_0_4_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_942-106_0_4_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_942-106_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_942-106_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_942-106_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_942-106_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_942-106_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_942-106_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_942-106_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_942-106_0_4_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_942-106_0_4_node_77 | 0.4 | n |  | TRUE
43 | bus_LV_942-106_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_942-106_0_4_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_942-106_0_4_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_942-106_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_942-106_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_942-106_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_942-106_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_942-106_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_942-106_0_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_942-106_0_4_node_96 | 0.4 | n |  | TRUE
53 | bus_LV_942-106_0_4_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_942-106_0_4_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_942-106_0_4_node_92 | 0.4 | n |  | TRUE
56 | bus_LV_942-106_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_942-106_0_4_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_942-106_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_942-106_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_942-106_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_942-106_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_942-106_0_4_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_942-106_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_942-106_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_942-106_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_942-106_0_4_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_942-106_0_4_node_93 | 0.4 | n |  | TRUE
68 | bus_LV_942-106_0_4_node_88 | 0.4 | n |  | TRUE
69 | bus_LV_942-106_0_4_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_942-106_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_942-106_0_4_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_942-106_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_942-106_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_942-106_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_942-106_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_942-106_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_942-106_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_942-106_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_942-106_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_942-106_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_942-106_0_4_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_942-106_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_942-106_0_4_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_942-106_0_4_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_942-106_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_942-106_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_942-106_0_4_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_942-106_0_4_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_942-106_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_942-106_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_942-106_0_4_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_942-106_0_4_node_91 | 0.4 | n |  | TRUE
93 | bus_MV_208_1_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-106_0_4_load_0 | 0 | 0.0028725 | 0.00071992 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-106_0_4_load_1 | 1 | 0.0026456 | 0.00066306 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-106_0_4_load_2 | 2 | 0.003146 | 0.00078847 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-106_0_4_load_3 | 3 | 0.0028906 | 0.00072445 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-106_0_4_load_4 | 4 | 0.003728 | 0.00093433 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-106_0_4_load_22 | 5 | 0.0022642 | 0.00056745 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-106_0_4_load_15 | 6 | 0.0026708 | 0.00066938 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-106_0_4_load_20 | 7 | 0.003026 | 0.00075838 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-106_0_4_load_13 | 8 | 0.0039416 | 0.00098787 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-106_0_4_load_5 | 9 | 0.0081245 | 0.0020362 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-106_0_4_load_6 | 10 | 0.012246 | 0.003069 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-106_0_4_load_7 | 11 | 0.0091856 | 0.0023021 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-106_0_4_load_94 | 12 | 0.0023594 | 0.00059133 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-106_0_4_load_8 | 13 | 0.0072664 | 0.0018211 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-106_0_4_load_10 | 15 | 0.0074698 | 0.0018721 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-106_0_4_load_38 | 17 | 0.0051816 | 0.0012986 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-106_0_4_load_16 | 18 | 0.01581 | 0.0039624 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-106_0_4_load_55 | 19 | 0.0043228 | 0.0010834 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-106_0_4_load_39 | 20 | 0.0042819 | 0.0010732 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-106_0_4_load_11 | 22 | 0.0074492 | 0.0018669 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-106_0_4_load_12 | 23 | 0.0031764 | 0.00079608 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-106_0_4_load_14 | 24 | 0.0031734 | 0.00079532 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-106_0_4_load_40 | 25 | 0.0042801 | 0.0010727 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-106_0_4_load_18 | 26 | 0.0040085 | 0.0010046 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-106_0_4_load_24 | 27 | 0.0051146 | 0.0012818 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-106_0_4_load_25 | 28 | 0.0048619 | 0.0012185 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-106_0_4_load_21 | 29 | 0.0017705 | 0.00044373 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-106_0_4_load_23 | 30 | 0.015876 | 0.0039788 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-106_0_4_load_26 | 31 | 0.0020329 | 0.00050948 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-106_0_4_load_42 | 32 | 0.0021434 | 0.00053718 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-106_0_4_load_95 | 33 | 0.0016828 | 0.00042175 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-106_0_4_load_27 | 34 | 0.0048248 | 0.0012092 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-106_0_4_load_28 | 35 | 0.0029575 | 0.00074123 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-106_0_4_load_30 | 37 | 0.0031877 | 0.00079891 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-106_0_4_load_31 | 38 | 0.0081727 | 0.0020483 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-106_0_4_load_32 | 39 | 0.0022731 | 0.00056969 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-106_0_4_load_43 | 40 | 0.0025125 | 0.0006297 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-106_0_4_load_52 | 41 | 0.0062783 | 0.0015735 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-106_0_4_load_77 | 42 | 0.0070518 | 0.0017674 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-106_0_4_load_36 | 43 | 0.0028102 | 0.00070431 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-106_0_4_load_53 | 44 | 0.007607 | 0.0019065 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-106_0_4_load_78 | 45 | 0.002613 | 0.00065489 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-106_0_4_load_33 | 46 | 0.0040467 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-106_0_4_load_34 | 47 | 0.0034933 | 0.0008755 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-106_0_4_load_35 | 48 | 0.0020312 | 0.00050907 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-106_0_4_load_37 | 49 | 0.0040973 | 0.0010269 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-106_0_4_load_44 | 50 | 0.0017011 | 0.00042634 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-106_0_4_load_46 | 53 | 0.0087405 | 0.0021906 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-106_0_4_load_47 | 54 | 0.0016744 | 0.00041965 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-106_0_4_load_49 | 56 | 0.0017043 | 0.00042713 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-106_0_4_load_48 | 58 | 0.0016704 | 0.00041864 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-106_0_4_load_50 | 59 | 0.0016718 | 0.000419 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-106_0_4_load_51 | 60 | 0.001672 | 0.00041904 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-106_0_4_load_54 | 61 | 0.0076812 | 0.0019251 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-106_0_4_load_58 | 62 | 0.0015904 | 0.0003986 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-106_0_4_load_59 | 63 | 0.0032381 | 0.00081154 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-106_0_4_load_60 | 64 | 0.0018525 | 0.00046428 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-106_0_4_load_62 | 65 | 0.0027426 | 0.00068735 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-106_0_4_load_93 | 67 | 0.0024439 | 0.0006125 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-106_0_4_load_88 | 68 | 0.011303 | 0.0028327 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-106_0_4_load_84 | 69 | 0.0054309 | 0.0013611 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-106_0_4_load_63 | 70 | 0.0041709 | 0.0010453 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-106_0_4_load_64 | 71 | 0.0030554 | 0.00076575 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-106_0_4_load_65 | 72 | 0.0022567 | 0.00056558 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-106_0_4_load_66 | 73 | 0.002967 | 0.0007436 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-106_0_4_load_67 | 74 | 0.0036262 | 0.00090881 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_942-106_0_4_load_68 | 75 | 0.003264 | 0.00081803 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_942-106_0_4_load_71 | 77 | 0.0021401 | 0.00053636 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_942-106_0_4_load_74 | 78 | 0.0092786 | 0.0023254 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_942-106_0_4_load_70 | 79 | 0.0019412 | 0.00048651 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_942-106_0_4_load_75 | 80 | 0.0027504 | 0.00068931 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_942-106_0_4_load_72 | 81 | 0.002441 | 0.00061176 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_942-106_0_4_load_76 | 83 | 0.0044259 | 0.0011092 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_942-106_0_4_load_79 | 84 | 0.0041253 | 0.0010339 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_942-106_0_4_load_83 | 86 | 0.0030193 | 0.00075672 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_942-106_0_4_load_80 | 87 | 0.0097869 | 0.0024528 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_942-106_0_4_load_89 | 88 | 0.0022468 | 0.00056309 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_942-106_0_4_load_90 | 89 | 0.0068313 | 0.0017121 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_942-106_0_4_load_85 | 90 | 0.0037853 | 0.00094869 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_942-106_0_4_load_87 | 91 | 0.0017644 | 0.00044221 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_942-106_0_4_load_91 | 92 | 0.0021552 | 0.00054014 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-106_0_4_line_0 |  | 0 | 1 | 0.012046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_942-106_0_4_line_1 |  | 0 | 2 | 0.0056866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_942-106_0_4_line_2 |  | 1 | 3 | 0.0067995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_942-106_0_4_line_3 |  | 2 | 4 | 0.0042768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_942-106_0_4_line_4 |  | 3 | 5 | 0.014389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_942-106_0_4_line_5 |  | 4 | 6 | 0.004968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_942-106_0_4_line_6 |  | 5 | 7 | 0.0052376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_942-106_0_4_line_7 |  | 6 | 8 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_942-106_0_4_line_8 |  | 7 | 29 | 0.018819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_942-106_0_4_line_9 |  | 8 | 22 | 0.0019447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_942-106_0_4_line_10 |  | 9 | 10 | 0.015751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-106_0_4_line_11 |  | 9 | 11 | 0.030672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-106_0_4_line_12 |  | 9 | 12 | 0.04195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-106_0_4_line_13 |  | 10 | 13 | 0.013365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-106_0_4_line_14 |  | 11 | 14 | 0.028457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-106_0_4_line_15 |  | 13 | 15 | 0.015136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-106_0_4_line_16 |  | 14 | 16 | 0.010589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-106_0_4_line_17 |  | 14 | 17 | 0.014166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_942-106_0_4_line_18 |  | 15 | 18 | 0.028566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-106_0_4_line_19 |  | 16 | 19 | 0.029493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_942-106_0_4_line_20 |  | 17 | 20 | 0.013457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_942-106_0_4_line_21 |  | 18 | 21 | 0.024534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-106_0_4_line_22 |  | 20 | 25 | 0.010401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_942-106_0_4_line_23 |  | 21 | 26 | 0.054412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-106_0_4_line_24 |  | 22 | 23 | 0.018902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_942-106_0_4_line_25 |  | 23 | 24 | 0.0056243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_942-106_0_4_line_26 |  | 24 | 25 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_942-106_0_4_line_27 |  | 26 | 27 | 0.0019356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-106_0_4_line_28 |  | 27 | 28 | 0.035579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-106_0_4_line_29 |  | 29 | 30 | 0.0010059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_942-106_0_4_line_30 |  | 30 | 31 | 0.017757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_942-106_0_4_line_31 |  | 31 | 32 | 0.0092777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_942-106_0_4_line_32 |  | 32 | 33 | 0.000449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_942-106_0_4_line_33 |  | 33 | 52 | 0.027236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_942-106_0_4_line_34 |  | 34 | 35 | 0.0064511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_942-106_0_4_line_35 |  | 34 | 36 | 0.014011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-106_0_4_line_36 |  | 35 | 37 | 0.014979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-106_0_4_line_37 |  | 36 | 38 | 0.0073947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-106_0_4_line_38 |  | 36 | 39 | 0.013487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-106_0_4_line_39 |  | 37 | 40 | 0.0026706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_942-106_0_4_line_40 |  | 38 | 41 | 0.023591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_942-106_0_4_line_41 |  | 39 | 42 | 0.0012996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-106_0_4_line_42 |  | 40 | 43 | 0.003283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_942-106_0_4_line_43 |  | 41 | 44 | 4.7803e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_942-106_0_4_line_44 |  | 42 | 45 | 0.018573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-106_0_4_line_45 |  | 43 | 47 | 0.023524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_942-106_0_4_line_46 |  | 44 | 61 | 0.016597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_942-106_0_4_line_47 |  | 45 | 85 | 0.012994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-106_0_4_line_48 |  | 46 | 47 | 0.026189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_942-106_0_4_line_49 |  | 46 | 48 | 0.0093588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_942-106_0_4_line_50 |  | 48 | 49 | 0.0089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_942-106_0_4_line_51 |  | 49 | 50 | 0.021997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_942-106_0_4_line_52 |  | 50 | 51 | 0.015307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_942-106_0_4_line_53 |  | 51 | 53 | 0.0030591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-106_0_4_line_54 |  | 51 | 54 | 0.014517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_942-106_0_4_line_55 |  | 52 | 60 | 0.033452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_942-106_0_4_line_56 |  | 53 | 55 | 0.037068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-106_0_4_line_57 |  | 54 | 56 | 0.0055746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_942-106_0_4_line_58 |  | 55 | 57 | 0.002211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-106_0_4_line_59 |  | 56 | 58 | 0.013597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_942-106_0_4_line_60 |  | 57 | 66 | 0.020986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-106_0_4_line_61 |  | 57 | 63 | 0.016239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-106_0_4_line_62 |  | 58 | 59 | 0.0055414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_942-106_0_4_line_63 |  | 59 | 60 | 0.0046191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_942-106_0_4_line_64 |  | 62 | 63 | 0.032048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-106_0_4_line_65 |  | 62 | 64 | 0.0049713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-106_0_4_line_66 |  | 64 | 65 | 0.012324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-106_0_4_line_67 |  | 65 | 67 | 0.0057872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-106_0_4_line_68 |  | 66 | 68 | 0.041588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-106_0_4_line_69 |  | 66 | 69 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-106_0_4_line_70 |  | 68 | 82 | 0.015854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_942-106_0_4_line_71 |  | 69 | 90 | 0.0049494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-106_0_4_line_72 |  | 70 | 71 | 0.0082304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-106_0_4_line_73 |  | 70 | 72 | 0.0073309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-106_0_4_line_74 |  | 71 | 73 | 0.0073355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_942-106_0_4_line_75 |  | 73 | 74 | 0.013806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_942-106_0_4_line_76 |  | 74 | 75 | 0.0091118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_942-106_0_4_line_77 |  | 75 | 76 | 0.0021763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_942-106_0_4_line_78 |  | 76 | 77 | 0.022941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_942-106_0_4_line_79 |  | 76 | 78 | 0.026255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_942-106_0_4_line_80 |  | 77 | 79 | 0.026433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_942-106_0_4_line_81 |  | 78 | 80 | 0.0050429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_942-106_0_4_line_82 |  | 79 | 81 | 0.0045049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_942-106_0_4_line_83 |  | 80 | 83 | 0.02267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_942-106_0_4_line_84 |  | 81 | 82 | 0.044062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_942-106_0_4_line_85 |  | 83 | 84 | 0.0041941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_942-106_0_4_line_86 |  | 85 | 86 | 0.0074639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_942-106_0_4_line_87 |  | 85 | 87 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_942-106_0_4_line_88 |  | 86 | 88 | 0.018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_942-106_0_4_line_89 |  | 88 | 89 | 0.00095835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_942-106_0_4_line_90 |  | 90 | 91 | 0.022053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_942-106_0_4_line_91 |  | 91 | 92 | 0.00010286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-106_0_4_trafo_30 | 0.63 MVA 20/0.4 kV | 93 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2613820.0603 | 1176598.0536 | 2613826.6933 | 1176587.9988
1 | 2613820.0603 | 1176598.0536 | 2613816.9289 | 1176602.8004
2 | 2613830.4423 | 1176582.3262 | 2613826.8819 | 1176587.7128 | 2613826.6933 | 1176587.9988
3 | 2613814.5738 | 1176606.3704 | 2613816.9289 | 1176602.8004
4 | 2613838.3692 | 1176570.318 | 2613831.6215 | 1176580.5423 | 2613830.4423 | 1176582.3262
5 | 2613811.8381 | 1176610.5173 | 2613814.5738 | 1176606.3704
6 | 2613838.3692 | 1176570.318 | 2613841.2543 | 1176565.9466
7 | 2613811.8381 | 1176610.5173 | 2613801.7493 | 1176625.8107
8 | 2613841.2543 | 1176565.9466 | 2613851.6202 | 1176550.2402
9 | 2613801.7493 | 1176625.8107 | 2613800.6785 | 1176627.434
10 | 2613808.5197 | 1176690.052 | 2613811.8769 | 1176682.2599 | 2613814.3534 | 1176675.4287
11 | 2613808.5197 | 1176690.052 | 2613804.355 | 1176699.7182 | 2613798.4462 | 1176703.6066 | 2613791.8412 | 1176704.492 | 2613785.8441 | 1176702.2294
12 | 2613808.5197 | 1176690.052 | 2613837.3016 | 1176720.5712
13 | 2613814.3534 | 1176675.4287 | 2613814.3534 | 1176675.4287 | 2613827.6487 | 1176676.7889
14 | 2613760.012 | 1176690.5565 | 2613768.3917 | 1176695.6449 | 2613785.8441 | 1176702.2294
15 | 2613842.7057 | 1176678.3293 | 2613827.6487 | 1176676.7889
16 | 2613760.012 | 1176690.5565 | 2613754.3897 | 1176699.5372
17 | 2613760.012 | 1176690.5565 | 2613767.5286 | 1176678.549
18 | 2613869.7811 | 1176686.6877 | 2613851.0359 | 1176679.1815 | 2613842.7057 | 1176678.3293
19 | 2613754.3897 | 1176699.5372 | 2613726.1995 | 1176690.8698
20 | 2613767.5286 | 1176678.549 | 2613774.6688 | 1176667.1426
21 | 2613892.5568 | 1176695.8078 | 2613869.7811 | 1176686.6877
22 | 2613780.2662 | 1176658.3766 | 2613778.1142 | 1176661.6387 | 2613774.6688 | 1176667.1426
23 | 2613892.5568 | 1176695.8078 | 2613913.6742 | 1176645.6611
24 | 2613790.2698 | 1176643.2123 | 2613800.6785 | 1176627.434
25 | 2613790.2698 | 1176643.2123 | 2613787.1727 | 1176647.9071
26 | 2613780.2662 | 1176658.3766 | 2613787.1727 | 1176647.9071
27 | 2613913.6742 | 1176645.6611 | 2613914.4255 | 1176643.8772
28 | 2613928.2324 | 1176611.0867 | 2613924.7243 | 1176619.4209 | 2613914.4255 | 1176643.8772
29 | 2613852.1743 | 1176549.4007 | 2613851.6202 | 1176550.2402
30 | 2613852.1743 | 1176549.4007 | 2613861.9554 | 1176534.5804
31 | 2613867.0658 | 1176526.8371 | 2613861.9554 | 1176534.5804
32 | 2613867.0658 | 1176526.8371 | 2613867.3131 | 1176526.4623
33 | 2613882.3155 | 1176503.7308 | 2613867.3131 | 1176526.4623
34 | 2613728.7402 | 1176592.2076 | 2613732.5868 | 1176587.0287
35 | 2613720.3861 | 1176603.4552 | 2613728.7402 | 1176592.2076
36 | 2613732.5868 | 1176587.0287 | 2613741.5184 | 1176575.0037
37 | 2613720.3861 | 1176603.4552 | 2613715.9779 | 1176609.3924
38 | 2613720.3861 | 1176603.4552 | 2613709.1423 | 1176596.0063
39 | 2613741.5184 | 1176575.0037 | 2613743.1108 | 1176572.8597
40 | 2613701.8979 | 1176628.3215 | 2613705.3071 | 1176623.7646 | 2613715.9779 | 1176609.3924
41 | 2613709.1423 | 1176596.0063 | 2613708.0588 | 1176595.2885
42 | 2613745.0684 | 1176570.2242 | 2613743.1108 | 1176572.8597
43 | 2613701.8693 | 1176628.3597 | 2613701.8979 | 1176628.3215
44 | 2613692.5753 | 1176585.0308 | 2613708.0588 | 1176595.2885
45 | 2613745.0684 | 1176570.2242 | 2613750.9429 | 1176562.315 | 2613759.0144 | 1176551.2794
46 | 2613691.9273 | 1176641.6489 | 2613701.8693 | 1176628.3597
47 | 2613681.7427 | 1176577.8543 | 2613692.5753 | 1176585.0308
48 | 2613774.475 | 1176530.1412 | 2613759.0144 | 1176551.2794
49 | 2613774.475 | 1176530.1412 | 2613780 | 1176522.5872
50 | 2613785.2541 | 1176515.4036 | 2613780 | 1176522.5872
51 | 2613785.2541 | 1176515.4036 | 2613798.2402 | 1176497.6486
52 | 2613807.2768 | 1176485.2935 | 2613798.2402 | 1176497.6486
53 | 2613807.2768 | 1176485.2935 | 2613804.3235 | 1176484.4961
54 | 2613807.2768 | 1176485.2935 | 2613821.3432 | 1176488.8817
55 | 2613882.3155 | 1176503.7308 | 2613877.0153 | 1176502.0622 | 2613871.8828 | 1176500.6386 | 2613860.0424 | 1176498.1656 | 2613849.7888 | 1176496.0312
56 | 2613768.5373 | 1176474.8329 | 2613804.3235 | 1176484.4961
57 | 2613826.7448 | 1176490.2596 | 2613821.3432 | 1176488.8817
58 | 2613768.5373 | 1176474.8329 | 2613766.3987 | 1176474.2499
59 | 2613839.9202 | 1176493.6205 | 2613826.7448 | 1176490.2596
60 | 2613766.3987 | 1176474.2499 | 2613759.1043 | 1176472.3323 | 2613746.0586 | 1176468.8563
61 | 2613766.3987 | 1176474.2499 | 2613762.0555 | 1176489.8974
62 | 2613839.9202 | 1176493.6205 | 2613845.2897 | 1176494.9902
63 | 2613849.7888 | 1176496.0312 | 2613847.5145 | 1176495.5577 | 2613845.2897 | 1176494.9902
64 | 2613753.4842 | 1176520.7778 | 2613762.0555 | 1176489.8974
65 | 2613753.4842 | 1176520.7778 | 2613752.1546 | 1176525.5681
66 | 2613752.1546 | 1176525.5681 | 2613748.8587 | 1176537.4428
67 | 2613747.3109 | 1176543.0191 | 2613748.8587 | 1176537.4428
68 | 2613746.0586 | 1176468.8563 | 2613705.7835 | 1176458.048
69 | 2613746.0586 | 1176468.8563 | 2613737.7765 | 1176487.3244
70 | 2613690.4311 | 1176453.9221 | 2613705.7835 | 1176458.048
71 | 2613737.7765 | 1176487.3244 | 2613735.7513 | 1176491.8405
72 | 2613591.33 | 1176549.6169 | 2613597.3893 | 1176544.0469
73 | 2613591.33 | 1176549.6169 | 2613585.933 | 1176554.5782
74 | 2613597.3893 | 1176544.0469 | 2613602.7897 | 1176539.0825
75 | 2613612.9534 | 1176529.7394 | 2613602.7897 | 1176539.0825
76 | 2613612.9534 | 1176529.7394 | 2613619.6615 | 1176523.5729
77 | 2613621.2637 | 1176522.1001 | 2613619.6615 | 1176523.5729
78 | 2613621.2637 | 1176522.1001 | 2613638.3673 | 1176506.8114
79 | 2613621.2637 | 1176522.1001 | 2613646.5706 | 1176529.0927
80 | 2613658.0748 | 1176489.1954 | 2613638.3673 | 1176506.8114
81 | 2613646.5706 | 1176529.0927 | 2613651.4314 | 1176530.4358
82 | 2613658.0748 | 1176489.1954 | 2613661.4335 | 1176486.1931
83 | 2613651.4314 | 1176530.4358 | 2613673.2824 | 1176536.4735
84 | 2613690.4311 | 1176453.9221 | 2613688.3169 | 1176459.4201 | 2613686.4445 | 1176462.7509 | 2613683.9838 | 1176466.0358 | 2613661.4335 | 1176486.1931
85 | 2613677.325 | 1176537.5905 | 2613673.2824 | 1176536.4735
86 | 2613681.7427 | 1176577.8543 | 2613675.8186 | 1176573.3139
87 | 2613681.7427 | 1176577.8543 | 2613669.6067 | 1176596.8116
88 | 2613675.8186 | 1176573.3139 | 2613661.1185 | 1176562.0471
89 | 2613660.3579 | 1176561.4641 | 2613661.1185 | 1176562.0471
90 | 2613735.7513 | 1176491.8405 | 2613726.7275 | 1176511.9625
91 | 2613726.6854 | 1176512.0564 | 2613726.7275 | 1176511.9625

## bus_geodata
| x | y | coords
0 | 2613820.0603 | 1176598.0536
1 | 2613826.6933 | 1176587.9988
2 | 2613816.9289 | 1176602.8004
3 | 2613830.4423 | 1176582.3262
4 | 2613814.5738 | 1176606.3704
5 | 2613838.3692 | 1176570.318
6 | 2613811.8381 | 1176610.5173
7 | 2613841.2543 | 1176565.9466
8 | 2613801.7493 | 1176625.8107
9 | 2613808.5197 | 1176690.052
10 | 2613814.3534 | 1176675.4287
11 | 2613785.8441 | 1176702.2294
12 | 2613837.3016 | 1176720.5712
13 | 2613827.6487 | 1176676.7889
14 | 2613760.012 | 1176690.5565
15 | 2613842.7057 | 1176678.3293
16 | 2613754.3897 | 1176699.5372
17 | 2613767.5286 | 1176678.549
18 | 2613869.7811 | 1176686.6877
19 | 2613726.1995 | 1176690.8698
20 | 2613774.6688 | 1176667.1426
21 | 2613892.5568 | 1176695.8078
22 | 2613800.6785 | 1176627.434
23 | 2613790.2698 | 1176643.2123
24 | 2613787.1727 | 1176647.9071
25 | 2613780.2662 | 1176658.3766
26 | 2613913.6742 | 1176645.6611
27 | 2613914.4255 | 1176643.8772
28 | 2613928.2324 | 1176611.0867
29 | 2613851.6202 | 1176550.2402
30 | 2613852.1743 | 1176549.4007
31 | 2613861.9554 | 1176534.5804
32 | 2613867.0658 | 1176526.8371
33 | 2613867.3131 | 1176526.4623
34 | 2613728.7402 | 1176592.2076
35 | 2613732.5868 | 1176587.0287
36 | 2613720.3861 | 1176603.4552
37 | 2613741.5184 | 1176575.0037
38 | 2613715.9779 | 1176609.3924
39 | 2613709.1423 | 1176596.0063
40 | 2613743.1108 | 1176572.8597
41 | 2613701.8979 | 1176628.3215
42 | 2613708.0588 | 1176595.2885
43 | 2613745.0684 | 1176570.2242
44 | 2613701.8693 | 1176628.3597
45 | 2613692.5753 | 1176585.0308
46 | 2613774.475 | 1176530.1412
47 | 2613759.0144 | 1176551.2794
48 | 2613780 | 1176522.5872
49 | 2613785.2541 | 1176515.4036
50 | 2613798.2402 | 1176497.6486
51 | 2613807.2768 | 1176485.2935
52 | 2613882.3155 | 1176503.7308
53 | 2613804.3235 | 1176484.4961
54 | 2613821.3432 | 1176488.8817
55 | 2613768.5373 | 1176474.8329
56 | 2613826.7448 | 1176490.2596
57 | 2613766.3987 | 1176474.2499
58 | 2613839.9202 | 1176493.6205
59 | 2613845.2897 | 1176494.9902
60 | 2613849.7888 | 1176496.0312
61 | 2613691.9273 | 1176641.6489
62 | 2613753.4842 | 1176520.7778
63 | 2613762.0555 | 1176489.8974
64 | 2613752.1546 | 1176525.5681
65 | 2613748.8587 | 1176537.4428
66 | 2613746.0586 | 1176468.8563
67 | 2613747.3109 | 1176543.0191
68 | 2613705.7835 | 1176458.048
69 | 2613737.7765 | 1176487.3244
70 | 2613591.33 | 1176549.6169
71 | 2613597.3893 | 1176544.0469
72 | 2613585.933 | 1176554.5782
73 | 2613602.7897 | 1176539.0825
74 | 2613612.9534 | 1176529.7394
75 | 2613619.6615 | 1176523.5729
76 | 2613621.2637 | 1176522.1001
77 | 2613638.3673 | 1176506.8114
78 | 2613646.5706 | 1176529.0927
79 | 2613658.0748 | 1176489.1954
80 | 2613651.4314 | 1176530.4358
81 | 2613661.4335 | 1176486.1931
82 | 2613690.4311 | 1176453.9221
83 | 2613673.2824 | 1176536.4735
84 | 2613677.325 | 1176537.5905
85 | 2613681.7427 | 1176577.8543
86 | 2613675.8186 | 1176573.3139
87 | 2613669.6067 | 1176596.8116
88 | 2613661.1185 | 1176562.0471
89 | 2613660.3579 | 1176561.4641
90 | 2613735.7513 | 1176491.8405
91 | 2613726.7275 | 1176511.9625
92 | 2613726.6854 | 1176512.0564
93 | 2613741.5184 | 1176575.0037

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1