## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-107_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-107_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-107_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_942-107_0_4_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_942-107_0_4_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_942-107_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_942-107_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_942-107_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_942-107_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_942-107_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_942-107_0_4_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_942-107_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_942-107_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_942-107_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_942-107_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_942-107_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_942-107_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_942-107_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_942-107_0_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_942-107_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_942-107_0_4_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_942-107_0_4_node_55 | 0.4 | n |  | TRUE
22 | bus_LV_942-107_0_4_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_942-107_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_942-107_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_942-107_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_942-107_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_942-107_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_942-107_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_942-107_0_4_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_942-107_0_4_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_942-107_0_4_node_78 | 0.4 | n |  | TRUE
32 | bus_LV_942-107_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_942-107_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_942-107_0_4_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_942-107_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_942-107_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_942-107_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_942-107_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_942-107_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_942-107_0_4_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_942-107_0_4_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_942-107_0_4_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_942-107_0_4_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_942-107_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_942-107_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_942-107_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_942-107_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_942-107_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_942-107_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_942-107_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_942-107_0_4_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_942-107_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_942-107_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_942-107_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_942-107_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_942-107_0_4_node_63 | 0.4 | n |  | TRUE
57 | bus_LV_942-107_0_4_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_942-107_0_4_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_942-107_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_942-107_0_4_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_942-107_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_942-107_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_942-107_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_942-107_0_4_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_942-107_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_942-107_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_942-107_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_942-107_0_4_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_942-107_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_942-107_0_4_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_942-107_0_4_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_942-107_0_4_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_942-107_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_942-107_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_942-107_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_942-107_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_942-107_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_942-107_0_4_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_942-107_0_4_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_942-107_0_4_node_81 | 0.4 | n |  | TRUE
81 | bus_MV_208_1_node_199 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-107_0_4_load_0 | 0 | 0.044442 | 0.011138 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-107_0_4_load_1 | 1 | 0.019323 | 0.0048428 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-107_0_4_load_3 | 2 | 0.023971 | 0.0060076 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-107_0_4_load_4 | 5 | 0.024055 | 0.0060287 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-107_0_4_load_5 | 6 | 0.0090282 | 0.0022627 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-107_0_4_load_6 | 7 | 0.0091542 | 0.0022943 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-107_0_4_load_7 | 8 | 0.0052242 | 0.0013093 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-107_0_4_load_8 | 9 | 0.009602 | 0.0024065 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-107_0_4_load_18 | 11 | 0.0026439 | 0.00066263 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-107_0_4_load_14 | 12 | 0.0035123 | 0.00088028 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-107_0_4_load_10 | 13 | 0.010927 | 0.0027385 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-107_0_4_load_9 | 14 | 0.0056227 | 0.0014092 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-107_0_4_load_45 | 15 | 0.0024588 | 0.00061624 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-107_0_4_load_15 | 16 | 0.0095701 | 0.0023985 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-107_0_4_load_16 | 17 | 0.0083436 | 0.0020911 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-107_0_4_load_43 | 18 | 0.0037488 | 0.00093955 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-107_0_4_load_17 | 19 | 0.0084376 | 0.0021147 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-107_0_4_load_55 | 21 | 0.0078174 | 0.0019592 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-107_0_4_load_51 | 22 | 0.0083214 | 0.0020855 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-107_0_4_load_19 | 23 | 0.007853 | 0.0019682 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-107_0_4_load_20 | 24 | 0.012007 | 0.0030093 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-107_0_4_load_22 | 26 | 0.0073911 | 0.0018524 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-107_0_4_load_23 | 27 | 0.010375 | 0.0026003 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-107_0_4_load_24 | 28 | 0.0074948 | 0.0018784 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-107_0_4_load_40 | 29 | 0.0072223 | 0.0018101 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-107_0_4_load_74 | 30 | 0.0059895 | 0.0015011 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-107_0_4_load_38 | 32 | 0.0074338 | 0.0018631 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-107_0_4_load_35 | 33 | 0.002413 | 0.00060475 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-107_0_4_load_77 | 34 | 0.0074966 | 0.0018788 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-107_0_4_load_25 | 35 | 0.0080385 | 0.0020146 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-107_0_4_load_26 | 36 | 0.0077067 | 0.0019315 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-107_0_4_load_27 | 37 | 0.0077057 | 0.0019312 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-107_0_4_load_28 | 38 | 0.0077089 | 0.001932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-107_0_4_load_29 | 39 | 0.0077419 | 0.0019403 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-107_0_4_load_56 | 40 | 0.0072743 | 0.0018231 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-107_0_4_load_66 | 41 | 0.0067602 | 0.0016943 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-107_0_4_load_62 | 42 | 0.0075592 | 0.0018945 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-107_0_4_load_58 | 43 | 0.0077405 | 0.00194 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-107_0_4_load_30 | 44 | 0.0023928 | 0.0005997 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-107_0_4_load_31 | 45 | 0.0024276 | 0.00060841 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-107_0_4_load_34 | 48 | 0.0056549 | 0.0014173 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-107_0_4_load_44 | 49 | 0.0031099 | 0.00077942 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-107_0_4_load_41 | 50 | 0.0044469 | 0.0011145 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-107_0_4_load_60 | 51 | 0.011248 | 0.0028189 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-107_0_4_load_42 | 52 | 0.0026597 | 0.00066659 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-107_0_4_load_36 | 53 | 0.0094267 | 0.0023625 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-107_0_4_load_37 | 54 | 0.0053747 | 0.001347 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-107_0_4_load_39 | 55 | 0.0017333 | 0.00043442 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-107_0_4_load_63 | 56 | 0.0074333 | 0.0018629 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-107_0_4_load_64 | 57 | 0.0017042 | 0.00042712 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-107_0_4_load_59 | 58 | 0.0084345 | 0.0021139 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-107_0_4_load_46 | 59 | 0.0043381 | 0.0010872 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-107_0_4_load_47 | 60 | 0.0029259 | 0.00073329 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-107_0_4_load_48 | 61 | 0.0054446 | 0.0013646 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-107_0_4_load_80 | 64 | 0.0062631 | 0.0015697 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-107_0_4_load_52 | 65 | 0.0096128 | 0.0024092 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-107_0_4_load_54 | 66 | 0.0086564 | 0.0021695 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-107_0_4_load_79 | 68 | 0.0061994 | 0.0015537 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-107_0_4_load_65 | 69 | 0.0017027 | 0.00042674 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-107_0_4_load_82 | 70 | 0.0016987 | 0.00042573 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-107_0_4_load_83 | 71 | 0.001738 | 0.00043558 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-107_0_4_load_69 | 72 | 0.002019 | 0.000506 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-107_0_4_load_70 | 73 | 0.0015672 | 0.00039279 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-107_0_4_load_71 | 74 | 0.0015823 | 0.00039657 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-107_0_4_load_72 | 75 | 0.0015943 | 0.00039958 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-107_0_4_load_73 | 76 | 0.0038416 | 0.0009628 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_942-107_0_4_load_76 | 78 | 0.0020687 | 0.00051846 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_942-107_0_4_load_84 | 79 | 0.0020542 | 0.00051483 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_942-107_0_4_load_81 | 80 | 0.0069492 | 0.0017416 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-107_0_4_line_0 |  | 0 | 1 | 0.0088622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-107_0_4_line_1 |  | 1 | 2 | 0.02825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-107_0_4_line_2 |  | 2 | 3 | 0.01263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-107_0_4_line_3 |  | 3 | 4 | 0.023475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-107_0_4_line_4 |  | 4 | 16 | 0.0057263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_942-107_0_4_line_5 |  | 4 | 11 | 0.018011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_942-107_0_4_line_6 |  | 5 | 6 | 0.0055162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_942-107_0_4_line_7 |  | 5 | 7 | 0.007231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_942-107_0_4_line_8 |  | 6 | 8 | 0.021094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_942-107_0_4_line_9 |  | 7 | 9 | 0.013098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_942-107_0_4_line_10 |  | 8 | 10 | 0.016853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_942-107_0_4_line_11 |  | 9 | 11 | 0.02298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_942-107_0_4_line_12 |  | 10 | 12 | 0.011678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_942-107_0_4_line_13 |  | 10 | 13 | 0.020136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-107_0_4_line_14 |  | 12 | 15 | 0.023283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_942-107_0_4_line_15 |  | 13 | 14 | 0.038053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-107_0_4_line_16 |  | 15 | 18 | 0.0093806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_942-107_0_4_line_17 |  | 16 | 17 | 0.015044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_942-107_0_4_line_18 |  | 17 | 19 | 0.0088822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_942-107_0_4_line_19 |  | 18 | 52 | 0.018485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_942-107_0_4_line_20 |  | 19 | 20 | 0.018391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_942-107_0_4_line_21 |  | 20 | 21 | 0.022054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-107_0_4_line_22 |  | 20 | 22 | 0.014717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_942-107_0_4_line_23 |  | 21 | 67 | 0.0055473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-107_0_4_line_24 |  | 22 | 65 | 0.0051962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_942-107_0_4_line_25 |  | 23 | 24 | 0.0067215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-107_0_4_line_26 |  | 23 | 25 | 0.022383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-107_0_4_line_27 |  | 24 | 26 | 0.010718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-107_0_4_line_28 |  | 25 | 27 | 0.038395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-107_0_4_line_29 |  | 25 | 28 | 0.011277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-107_0_4_line_30 |  | 26 | 29 | 0.0087756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-107_0_4_line_31 |  | 27 | 30 | 0.01119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-107_0_4_line_32 |  | 28 | 31 | 0.010468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-107_0_4_line_33 |  | 29 | 32 | 0.007339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-107_0_4_line_34 |  | 31 | 33 | 0.019125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_942-107_0_4_line_35 |  | 31 | 34 | 0.010916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-107_0_4_line_36 |  | 32 | 53 | 0.0061612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-107_0_4_line_37 |  | 33 | 46 | 0.012077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_942-107_0_4_line_38 |  | 35 | 36 | 0.017492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-107_0_4_line_39 |  | 35 | 37 | 0.0065272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-107_0_4_line_40 |  | 36 | 38 | 0.014263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_942-107_0_4_line_41 |  | 37 | 39 | 0.013921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-107_0_4_line_42 |  | 38 | 40 | 0.00038067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-107_0_4_line_43 |  | 39 | 41 | 0.01025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_942-107_0_4_line_44 |  | 40 | 42 | 0.013565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-107_0_4_line_45 |  | 41 | 43 | 0.0037027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-107_0_4_line_46 |  | 42 | 67 | 0.019055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_942-107_0_4_line_47 |  | 43 | 62 | 0.02425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-107_0_4_line_48 |  | 44 | 45 | 0.0056374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_942-107_0_4_line_49 |  | 44 | 46 | 0.017669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_942-107_0_4_line_50 |  | 45 | 47 | 0.00012741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_942-107_0_4_line_51 |  | 46 | 48 | 0.010614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-107_0_4_line_52 |  | 47 | 49 | 0.03712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-107_0_4_line_53 |  | 47 | 50 | 0.02165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_942-107_0_4_line_54 |  | 49 | 51 | 0.024305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-107_0_4_line_55 |  | 50 | 52 | 0.0050425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_942-107_0_4_line_56 |  | 51 | 58 | 0.0066585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-107_0_4_line_57 |  | 53 | 54 | 0.012011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-107_0_4_line_58 |  | 54 | 55 | 0.021022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-107_0_4_line_59 |  | 55 | 56 | 0.0079884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-107_0_4_line_60 |  | 56 | 57 | 0.0046116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-107_0_4_line_61 |  | 57 | 69 | 0.0071485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-107_0_4_line_62 |  | 59 | 60 | 0.0050538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-107_0_4_line_63 |  | 59 | 61 | 0.016979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-107_0_4_line_64 |  | 61 | 62 | 0.035692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-107_0_4_line_65 |  | 62 | 63 | 0.043865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-107_0_4_line_66 |  | 63 | 64 | 0.053711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-107_0_4_line_67 |  | 64 | 68 | 0.022962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-107_0_4_line_68 |  | 65 | 66 | 0.024444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_942-107_0_4_line_69 |  | 68 | 80 | 0.011757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-107_0_4_line_70 |  | 69 | 70 | 0.007162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_942-107_0_4_line_71 |  | 70 | 71 | 0.00721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-107_0_4_line_72 |  | 71 | 79 | 0.0035261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-107_0_4_line_73 |  | 72 | 73 | 0.021713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-107_0_4_line_74 |  | 72 | 74 | 7.809e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_942-107_0_4_line_75 |  | 73 | 75 | 0.0091947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_942-107_0_4_line_76 |  | 74 | 76 | 0.0072931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_942-107_0_4_line_77 |  | 75 | 77 | 0.049372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_942-107_0_4_line_78 |  | 77 | 78 | 0.022691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_942-107_0_4_line_79 |  | 78 | 79 | 0.001782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-107_0_4_trafo_54 | 0.63 MVA 20/0.4 kV | 81 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2613763.6788 | 1176822.3762 | 2613755.7934 | 1176818.3317
1 | 2613730.6574 | 1176805.4392 | 2613755.7934 | 1176818.3317
2 | 2613719.4194 | 1176799.6751 | 2613730.6574 | 1176805.4392
3 | 2613698.7959 | 1176788.3558 | 2613712.0313 | 1176795.4895 | 2613719.4194 | 1176799.6751
4 | 2613698.7959 | 1176788.3558 | 2613693.5462 | 1176786.0685
5 | 2613698.7959 | 1176788.3558 | 2613708.3517 | 1176773.089
6 | 2613731.3299 | 1176736.3783 | 2613734.2566 | 1176731.7025
7 | 2613731.3299 | 1176736.3783 | 2613727.4934 | 1176742.5076
8 | 2613734.2566 | 1176731.7025 | 2613745.4481 | 1176713.8226
9 | 2613720.5439 | 1176753.6103 | 2613727.4934 | 1176742.5076
10 | 2613754.3897 | 1176699.5372 | 2613745.4481 | 1176713.8226
11 | 2613708.3517 | 1176773.089 | 2613720.5439 | 1176753.6103
12 | 2613754.3897 | 1176699.5372 | 2613743.2273 | 1176696.1052
13 | 2613754.3897 | 1176699.5372 | 2613772.4606 | 1176708.4189
14 | 2613743.2273 | 1176696.1052 | 2613720.9728 | 1176689.2627
15 | 2613808.0665 | 1176718.4475 | 2613802.1212 | 1176717.3554 | 2613792.589 | 1176718.3118 | 2613772.4606 | 1176708.4189
16 | 2613712.0064 | 1176686.5059 | 2613720.9728 | 1176689.2627
17 | 2613679.7539 | 1176780.0595 | 2613693.5462 | 1176786.0685
18 | 2613671.5601 | 1176776.6411 | 2613673.4029 | 1176777.2925 | 2613679.7539 | 1176780.0595
19 | 2613712.0064 | 1176686.5059 | 2613694.338 | 1176681.0736
20 | 2613654.2209 | 1176770.5122 | 2613671.5601 | 1176776.6411
21 | 2613654.2209 | 1176770.5122 | 2613632.1852 | 1176769.6096
22 | 2613654.2209 | 1176770.5122 | 2613658.2221 | 1176756.3493
23 | 2613626.6425 | 1176769.3825 | 2613632.1852 | 1176769.6096
24 | 2613658.2221 | 1176756.3493 | 2613659.6348 | 1176751.3488
25 | 2613624.4274 | 1176677.6419 | 2613628.2752 | 1176672.1308
26 | 2613641.0884 | 1176653.7786 | 2613628.2752 | 1176672.1308
27 | 2613624.4274 | 1176677.6419 | 2613624.4274 | 1176677.6419 | 2613615.1893 | 1176672.2071
28 | 2613641.0884 | 1176653.7786 | 2613608.516 | 1176633.4504
29 | 2613641.0884 | 1176653.7786 | 2613647.5442 | 1176644.5329
30 | 2613607.6255 | 1176667.7573 | 2613615.1893 | 1176672.2071
31 | 2613599.0227 | 1176627.5257 | 2613608.516 | 1176633.4504
32 | 2613655.805 | 1176638.1039 | 2613647.5442 | 1176644.5329
33 | 2613607.6255 | 1176667.7573 | 2613601.3 | 1176664.0359
34 | 2613655.805 | 1176638.1039 | 2613672.1824 | 1176647.9803
35 | 2613655.805 | 1176638.1039 | 2613659.3523 | 1176627.7806
36 | 2613595.9896 | 1176660.9118 | 2613601.3 | 1176664.0359
37 | 2613682.5245 | 1176654.2172 | 2613672.1824 | 1176647.9803
38 | 2613579.3996 | 1176768.0638 | 2613577.5288 | 1176767.9821 | 2613561.9242 | 1176767.309
39 | 2613555.4032 | 1176767.024 | 2613555.7734 | 1176767.0437 | 2613561.9242 | 1176767.309
40 | 2613579.3996 | 1176768.0638 | 2613590.4124 | 1176768.5447 | 2613593.6511 | 1176768.6196
41 | 2613555.4032 | 1176767.024 | 2613541.5019 | 1176766.2835
42 | 2613594.0317 | 1176768.6284 | 2613593.6511 | 1176768.6196
43 | 2613531.2662 | 1176765.7382 | 2613541.5019 | 1176766.2835
44 | 2613607.5925 | 1176768.942 | 2613594.0317 | 1176768.6284
45 | 2613531.2662 | 1176765.7382 | 2613531.153 | 1176765.7322 | 2613527.5688 | 1176765.5407
46 | 2613626.6425 | 1176769.3825 | 2613607.5925 | 1176768.942
47 | 2613503.3537 | 1176764.2469 | 2613527.5688 | 1176765.5407
48 | 2613668.8989 | 1176673.1257 | 2613672.1947 | 1176668.5521
49 | 2613682.5245 | 1176654.2172 | 2613672.1947 | 1176668.5521
50 | 2613668.8244 | 1176673.2291 | 2613668.8989 | 1176673.1257
51 | 2613682.5245 | 1176654.2172 | 2613688.8826 | 1176645.7186
52 | 2613668.8244 | 1176673.2291 | 2613648.9528 | 1176700.8092 | 2613647.9855 | 1176703.7824
53 | 2613668.8244 | 1176673.2291 | 2613689.5181 | 1176679.5916
54 | 2613647.9855 | 1176703.7824 | 2613640.4658 | 1176726.8953
55 | 2613689.5181 | 1176679.5916 | 2613694.338 | 1176681.0736
56 | 2613638.4057 | 1176733.227 | 2613640.4658 | 1176726.8953
57 | 2613595.9896 | 1176660.9118 | 2613591.9904 | 1176658.559 | 2613585.2161 | 1176655.6529
58 | 2613585.2161 | 1176655.6529 | 2613567.3979 | 1176648.0093 | 2613565.7678 | 1176648.1213
59 | 2613558.1091 | 1176646.7487 | 2613562.0703 | 1176648.3753 | 2613565.7678 | 1176648.1213
60 | 2613558.1091 | 1176646.7487 | 2613553.8431 | 1176644.997
61 | 2613553.8431 | 1176644.997 | 2613547.2303 | 1176642.2816
62 | 2613483.3303 | 1176715.5328 | 2613482.6106 | 1176713.9304 | 2613481.2553 | 1176710.9246
63 | 2613483.3303 | 1176715.5328 | 2613484.7246 | 1176718.6375 | 2613489.8572 | 1176731.2056
64 | 2613503.3537 | 1176764.2469 | 2613500.3971 | 1176757.0143 | 2613489.8572 | 1176731.2056
65 | 2613503.3537 | 1176764.2469 | 2613520.0068 | 1176804.8382
66 | 2613520.0068 | 1176804.8382 | 2613549.7256 | 1176805.6498 | 2613563.1252 | 1176814.5956 | 2613570.9904 | 1176814.8639
67 | 2613593.9389 | 1176815.6469 | 2613570.9904 | 1176814.8639
68 | 2613671.1487 | 1176730.0188 | 2613661.3549 | 1176745.2599 | 2613659.6348 | 1176751.3488
69 | 2613605.689 | 1176816.0478 | 2613593.9389 | 1176815.6469
70 | 2613547.2303 | 1176642.2816 | 2613540.6051 | 1176639.5612
71 | 2613540.6051 | 1176639.5612 | 2613533.9355 | 1176636.8225
72 | 2613533.9355 | 1176636.8225 | 2613530.6737 | 1176635.4831
73 | 2613567.1365 | 1176571.857 | 2613551.1515 | 1176586.5515
74 | 2613567.194 | 1176571.8042 | 2613567.1365 | 1176571.857
75 | 2613544.3823 | 1176592.7741 | 2613551.1515 | 1176586.5515
76 | 2613572.5632 | 1176566.8685 | 2613567.194 | 1176571.8042
77 | 2613508.0347 | 1176626.1871 | 2613544.3823 | 1176592.7741
78 | 2613508.0347 | 1176626.1871 | 2613529.0252 | 1176634.8062
79 | 2613529.0252 | 1176634.8062 | 2613530.6737 | 1176635.4831

## bus_geodata
| x | y | coords
0 | 2613763.6788 | 1176822.3762
1 | 2613755.7934 | 1176818.3317
2 | 2613730.6574 | 1176805.4392
3 | 2613719.4194 | 1176799.6751
4 | 2613698.7959 | 1176788.3558
5 | 2613731.3299 | 1176736.3783
6 | 2613734.2566 | 1176731.7025
7 | 2613727.4934 | 1176742.5076
8 | 2613745.4481 | 1176713.8226
9 | 2613720.5439 | 1176753.6103
10 | 2613754.3897 | 1176699.5372
11 | 2613708.3517 | 1176773.089
12 | 2613743.2273 | 1176696.1052
13 | 2613772.4606 | 1176708.4189
14 | 2613808.0665 | 1176718.4475
15 | 2613720.9728 | 1176689.2627
16 | 2613693.5462 | 1176786.0685
17 | 2613679.7539 | 1176780.0595
18 | 2613712.0064 | 1176686.5059
19 | 2613671.5601 | 1176776.6411
20 | 2613654.2209 | 1176770.5122
21 | 2613632.1852 | 1176769.6096
22 | 2613658.2221 | 1176756.3493
23 | 2613628.2752 | 1176672.1308
24 | 2613624.4274 | 1176677.6419
25 | 2613641.0884 | 1176653.7786
26 | 2613615.1893 | 1176672.2071
27 | 2613608.516 | 1176633.4504
28 | 2613647.5442 | 1176644.5329
29 | 2613607.6255 | 1176667.7573
30 | 2613599.0227 | 1176627.5257
31 | 2613655.805 | 1176638.1039
32 | 2613601.3 | 1176664.0359
33 | 2613672.1824 | 1176647.9803
34 | 2613659.3523 | 1176627.7806
35 | 2613561.9242 | 1176767.309
36 | 2613579.3996 | 1176768.0638
37 | 2613555.4032 | 1176767.024
38 | 2613593.6511 | 1176768.6196
39 | 2613541.5019 | 1176766.2835
40 | 2613594.0317 | 1176768.6284
41 | 2613531.2662 | 1176765.7382
42 | 2613607.5925 | 1176768.942
43 | 2613527.5688 | 1176765.5407
44 | 2613672.1947 | 1176668.5521
45 | 2613668.8989 | 1176673.1257
46 | 2613682.5245 | 1176654.2172
47 | 2613668.8244 | 1176673.2291
48 | 2613688.8826 | 1176645.7186
49 | 2613647.9855 | 1176703.7824
50 | 2613689.5181 | 1176679.5916
51 | 2613640.4658 | 1176726.8953
52 | 2613694.338 | 1176681.0736
53 | 2613595.9896 | 1176660.9118
54 | 2613585.2161 | 1176655.6529
55 | 2613565.7678 | 1176648.1213
56 | 2613558.1091 | 1176646.7487
57 | 2613553.8431 | 1176644.997
58 | 2613638.4057 | 1176733.227
59 | 2613483.3303 | 1176715.5328
60 | 2613481.2553 | 1176710.9246
61 | 2613489.8572 | 1176731.2056
62 | 2613503.3537 | 1176764.2469
63 | 2613520.0068 | 1176804.8382
64 | 2613570.9904 | 1176814.8639
65 | 2613659.6348 | 1176751.3488
66 | 2613671.1487 | 1176730.0188
67 | 2613626.6425 | 1176769.3825
68 | 2613593.9389 | 1176815.6469
69 | 2613547.2303 | 1176642.2816
70 | 2613540.6051 | 1176639.5612
71 | 2613533.9355 | 1176636.8225
72 | 2613567.1365 | 1176571.857
73 | 2613551.1515 | 1176586.5515
74 | 2613567.194 | 1176571.8042
75 | 2613544.3823 | 1176592.7741
76 | 2613572.5632 | 1176566.8685
77 | 2613508.0347 | 1176626.1871
78 | 2613529.0252 | 1176634.8062
79 | 2613530.6737 | 1176635.4831
80 | 2613605.689 | 1176816.0478
81 | 2613654.2209 | 1176770.5122

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1