## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-110_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-110_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-110_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-110_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-110_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_942-110_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_942-110_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_942-110_0_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_942-110_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_942-110_0_4_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_942-110_0_4_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_942-110_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_942-110_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_942-110_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_942-110_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_942-110_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_942-110_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_942-110_0_4_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_942-110_0_4_node_91 | 0.4 | n |  | TRUE
19 | bus_LV_942-110_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_942-110_0_4_node_92 | 0.4 | n |  | TRUE
21 | bus_LV_942-110_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_942-110_0_4_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_942-110_0_4_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_942-110_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_942-110_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_942-110_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_942-110_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_942-110_0_4_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_942-110_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_942-110_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_942-110_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_942-110_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_942-110_0_4_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_942-110_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_942-110_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_942-110_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_942-110_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_942-110_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_942-110_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_942-110_0_4_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_942-110_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_942-110_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_942-110_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_942-110_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_942-110_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_942-110_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_942-110_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_942-110_0_4_node_63 | 0.4 | n |  | TRUE
49 | bus_LV_942-110_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_942-110_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_942-110_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_942-110_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_942-110_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_942-110_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_942-110_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_942-110_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_942-110_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_942-110_0_4_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_942-110_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_942-110_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_942-110_0_4_node_84 | 0.4 | n |  | TRUE
62 | bus_LV_942-110_0_4_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_942-110_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_942-110_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_942-110_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_942-110_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_942-110_0_4_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_942-110_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_942-110_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_942-110_0_4_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_942-110_0_4_node_95 | 0.4 | n |  | TRUE
72 | bus_LV_942-110_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_942-110_0_4_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_942-110_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_942-110_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_942-110_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_942-110_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_942-110_0_4_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_942-110_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_942-110_0_4_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_942-110_0_4_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_942-110_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_942-110_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_942-110_0_4_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_942-110_0_4_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_942-110_0_4_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_942-110_0_4_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_942-110_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_942-110_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_942-110_0_4_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_942-110_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_942-110_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_942-110_0_4_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_942-110_0_4_node_96 | 0.4 | n |  | TRUE
95 | bus_MV_208_1_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-110_0_4_load_0 | 0 | 0.0034229 | 0.00085785 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-110_0_4_load_1 | 1 | 0.001725 | 0.00043234 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-110_0_4_load_2 | 2 | 0.0024368 | 0.00061072 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-110_0_4_load_3 | 3 | 0.0025461 | 0.0006381 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-110_0_4_load_4 | 4 | 0.0078549 | 0.0019686 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-110_0_4_load_13 | 7 | 0.0058453 | 0.001465 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-110_0_4_load_5 | 11 | 0.0026791 | 0.00067145 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-110_0_4_load_6 | 12 | 0.0050414 | 0.0012635 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-110_0_4_load_9 | 15 | 0.0022288 | 0.00055858 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-110_0_4_load_10 | 16 | 0.0018378 | 0.0004606 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-110_0_4_load_91 | 18 | 0.00341 | 0.00085462 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-110_0_4_load_14 | 19 | 0.0018185 | 0.00045577 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-110_0_4_load_92 | 20 | 0.014869 | 0.0037265 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-110_0_4_load_24 | 21 | 0.0017665 | 0.00044272 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-110_0_4_load_15 | 24 | 0.0026421 | 0.00066217 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-110_0_4_load_30 | 25 | 0.037832 | 0.0094816 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-110_0_4_load_29 | 26 | 0.0020361 | 0.00051029 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-110_0_4_load_32 | 27 | 0.0078174 | 0.0019592 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-110_0_4_load_68 | 28 | 0.016545 | 0.0041465 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-110_0_4_load_26 | 29 | 0.0015587 | 0.00039065 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-110_0_4_load_31 | 30 | 0.0025399 | 0.00063656 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-110_0_4_load_19 | 32 | 0.0020561 | 0.00051531 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-110_0_4_load_90 | 33 | 0.0055103 | 0.001381 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-110_0_4_load_27 | 34 | 0.0030875 | 0.00077381 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-110_0_4_load_20 | 35 | 0.0024699 | 0.00061901 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-110_0_4_load_21 | 36 | 0.0023765 | 0.0005956 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-110_0_4_load_22 | 37 | 0.0078279 | 0.0019619 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-110_0_4_load_23 | 38 | 0.0011444 | 0.00028681 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-110_0_4_load_25 | 39 | 0.0015423 | 0.00038654 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-110_0_4_load_33 | 41 | 0.0028459 | 0.00071326 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-110_0_4_load_36 | 44 | 0.0017845 | 0.00044724 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-110_0_4_load_38 | 45 | 0.014873 | 0.0037274 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-110_0_4_load_41 | 46 | 0.0017661 | 0.00044263 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-110_0_4_load_39 | 47 | 0.0018 | 0.00045111 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-110_0_4_load_63 | 48 | 0.0029439 | 0.00073781 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-110_0_4_load_40 | 49 | 0.0018533 | 0.00046447 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-110_0_4_load_51 | 51 | 0.0033388 | 0.00083678 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-110_0_4_load_52 | 52 | 0.0042572 | 0.0010669 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-110_0_4_load_43 | 53 | 0.002087 | 0.00052304 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-110_0_4_load_44 | 54 | 0.0042775 | 0.001072 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-110_0_4_load_45 | 55 | 0.0057951 | 0.0014524 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-110_0_4_load_46 | 56 | 0.0040565 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-110_0_4_load_47 | 57 | 0.0046809 | 0.0011731 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-110_0_4_load_62 | 58 | 0.0057946 | 0.0014523 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-110_0_4_load_58 | 59 | 0.0025341 | 0.00063511 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-110_0_4_load_54 | 60 | 0.0073783 | 0.0018492 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-110_0_4_load_84 | 61 | 0.014361 | 0.0035991 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-110_0_4_load_48 | 64 | 0.0023739 | 0.00059495 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-110_0_4_load_49 | 65 | 0.0050074 | 0.001255 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-110_0_4_load_50 | 66 | 0.0064024 | 0.0016046 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-110_0_4_load_53 | 67 | 0.0041348 | 0.0010363 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-110_0_4_load_56 | 68 | 0.0044184 | 0.0011073 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-110_0_4_load_57 | 69 | 0.0073774 | 0.001849 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-110_0_4_load_60 | 72 | 0.0047947 | 0.0012017 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-110_0_4_load_61 | 73 | 0.0032928 | 0.00082524 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-110_0_4_load_71 | 75 | 0.0025674 | 0.00064344 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-110_0_4_load_64 | 76 | 0.0076537 | 0.0019182 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-110_0_4_load_72 | 77 | 0.0033972 | 0.00085142 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-110_0_4_load_85 | 78 | 0.0059652 | 0.001495 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-110_0_4_load_70 | 79 | 0.0073088 | 0.0018318 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-110_0_4_load_82 | 80 | 0.0097635 | 0.002447 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-110_0_4_load_80 | 81 | 0.0059537 | 0.0014921 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-110_0_4_load_78 | 82 | 0.059711 | 0.014965 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-110_0_4_load_73 | 83 | 0.0042633 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-110_0_4_load_74 | 84 | 0.0060742 | 0.0015223 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-110_0_4_load_75 | 85 | 0.0059274 | 0.0014856 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_942-110_0_4_load_76 | 86 | 0.0084575 | 0.0021197 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_942-110_0_4_load_87 | 88 | 0.0061241 | 0.0015348 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_942-110_0_4_load_86 | 89 | 0.0059662 | 0.0014953 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_942-110_0_4_load_81 | 90 | 0.0055869 | 0.0014002 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_942-110_0_4_load_83 | 91 | 0.0037355 | 0.0009362 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_942-110_0_4_load_88 | 92 | 0.01367 | 0.003426 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_942-110_0_4_load_89 | 93 | 0.0020562 | 0.00051534 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_942-110_0_4_load_96 | 94 | 0.0082193 | 0.0020599 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-110_0_4_line_0 |  | 0 | 1 | 0.029564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-110_0_4_line_1 |  | 0 | 2 | 0.012846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-110_0_4_line_2 |  | 1 | 3 | 0.022607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-110_0_4_line_3 |  | 2 | 4 | 0.0048262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-110_0_4_line_4 |  | 3 | 5 | 0.016957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-110_0_4_line_5 |  | 5 | 6 | 0.024056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_942-110_0_4_line_6 |  | 5 | 7 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_942-110_0_4_line_7 |  | 6 | 25 | 0.034067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-110_0_4_line_8 |  | 6 | 26 | 0.016034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-110_0_4_line_9 |  | 7 | 27 | 0.030314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_942-110_0_4_line_10 |  | 8 | 9 | 0.02411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-110_0_4_line_11 |  | 8 | 10 | 0.027838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-110_0_4_line_12 |  | 9 | 33 | 0.010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-110_0_4_line_13 |  | 9 | 31 | 0.026476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-110_0_4_line_14 |  | 10 | 34 | 0.029927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-110_0_4_line_15 |  | 11 | 12 | 0.0021706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-110_0_4_line_16 |  | 11 | 13 | 0.011191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-110_0_4_line_17 |  | 12 | 14 | 0.024055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_942-110_0_4_line_18 |  | 13 | 15 | 0.011183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-110_0_4_line_19 |  | 13 | 16 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_942-110_0_4_line_20 |  | 14 | 17 | 0.016847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-110_0_4_line_21 |  | 14 | 18 | 0.0084213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-110_0_4_line_22 |  | 15 | 19 | 0.0097633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-110_0_4_line_23 |  | 16 | 20 | 0.020139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-110_0_4_line_24 |  | 17 | 21 | 0.025754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_942-110_0_4_line_25 |  | 17 | 22 | 0.008417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_942-110_0_4_line_26 |  | 18 | 23 | 0.01266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-110_0_4_line_27 |  | 19 | 24 | 0.0131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-110_0_4_line_28 |  | 21 | 37 | 0.019397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_942-110_0_4_line_29 |  | 22 | 48 | 0.018427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_942-110_0_4_line_30 |  | 23 | 43 | 0.03147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-110_0_4_line_31 |  | 24 | 31 | 0.0057442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-110_0_4_line_32 |  | 25 | 28 | 0.038993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-110_0_4_line_33 |  | 26 | 29 | 0.023533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-110_0_4_line_34 |  | 27 | 30 | 0.0020922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_942-110_0_4_line_35 |  | 28 | 40 | 0.041017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-110_0_4_line_36 |  | 29 | 39 | 0.027192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-110_0_4_line_37 |  | 30 | 38 | 0.014931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_942-110_0_4_line_38 |  | 31 | 32 | 0.014093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-110_0_4_line_39 |  | 35 | 36 | 0.010103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_942-110_0_4_line_40 |  | 35 | 37 | 0.0049802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_942-110_0_4_line_41 |  | 36 | 38 | 0.0014293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_942-110_0_4_line_42 |  | 40 | 79 | 0.012884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-110_0_4_line_43 |  | 41 | 42 | 0.023772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_942-110_0_4_line_44 |  | 41 | 43 | 0.031214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-110_0_4_line_45 |  | 42 | 44 | 0.024684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-110_0_4_line_46 |  | 43 | 45 | 0.043628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_942-110_0_4_line_47 |  | 44 | 46 | 0.0055378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-110_0_4_line_48 |  | 46 | 47 | 0.005563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_942-110_0_4_line_49 |  | 47 | 49 | 0.011267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-110_0_4_line_50 |  | 48 | 76 | 0.0011557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_942-110_0_4_line_51 |  | 49 | 50 | 0.0038291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-110_0_4_line_52 |  | 50 | 51 | 0.004583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-110_0_4_line_53 |  | 51 | 52 | 0.021477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-110_0_4_line_54 |  | 52 | 67 | 0.017584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-110_0_4_line_55 |  | 53 | 54 | 0.0038126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-110_0_4_line_56 |  | 53 | 55 | 0.0091411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-110_0_4_line_57 |  | 54 | 56 | 0.01144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-110_0_4_line_58 |  | 55 | 57 | 0.011561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-110_0_4_line_59 |  | 56 | 58 | 0.013453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-110_0_4_line_60 |  | 56 | 59 | 0.018626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-110_0_4_line_61 |  | 57 | 60 | 0.019235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-110_0_4_line_62 |  | 58 | 61 | 0.0087638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-110_0_4_line_63 |  | 59 | 62 | 0.018387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-110_0_4_line_64 |  | 60 | 63 | 0.0025109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-110_0_4_line_65 |  | 61 | 78 | 0.023151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-110_0_4_line_66 |  | 62 | 72 | 0.0039399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_942-110_0_4_line_67 |  | 62 | 73 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_942-110_0_4_line_68 |  | 63 | 68 | 0.014927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-110_0_4_line_69 |  | 63 | 69 | 0.013737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-110_0_4_line_70 |  | 64 | 65 | 0.0044079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_942-110_0_4_line_71 |  | 65 | 66 | 0.017029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-110_0_4_line_72 |  | 66 | 67 | 0.020414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-110_0_4_line_73 |  | 69 | 70 | 0.035062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-110_0_4_line_74 |  | 70 | 71 | 0.041287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_942-110_0_4_line_75 |  | 71 | 94 | 0.032485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_942-110_0_4_line_76 |  | 72 | 74 | 0.025661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_942-110_0_4_line_77 |  | 73 | 75 | 0.017328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_942-110_0_4_line_78 |  | 74 | 76 | 0.019018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_942-110_0_4_line_79 |  | 75 | 77 | 0.029548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_942-110_0_4_line_80 |  | 77 | 82 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_942-110_0_4_line_81 |  | 78 | 89 | 0.00055619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_942-110_0_4_line_82 |  | 79 | 80 | 0.0079705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_942-110_0_4_line_83 |  | 80 | 81 | 0.012352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_942-110_0_4_line_84 |  | 81 | 90 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_942-110_0_4_line_85 |  | 83 | 84 | 0.0028371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_942-110_0_4_line_86 |  | 83 | 85 | 0.00010138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_942-110_0_4_line_87 |  | 84 | 86 | 0.0085697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_942-110_0_4_line_88 |  | 85 | 87 | 0.029398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_942-110_0_4_line_89 |  | 87 | 88 | 0.015295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_942-110_0_4_line_90 |  | 87 | 89 | 0.0025976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_942-110_0_4_line_91 |  | 90 | 91 | 0.0035892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_942-110_0_4_line_92 |  | 91 | 92 | 0.017308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_942-110_0_4_line_93 |  | 92 | 93 | 0.011501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-110_0_4_trafo_72 | 0.63 MVA 20/0.4 kV | 95 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2613457.9922 | 1176441.7804 | 2613435.8301 | 1176461.3475
1 | 2613457.9922 | 1176441.7804 | 2613467.6224 | 1176433.2778
2 | 2613418.883 | 1176476.3103 | 2613435.8301 | 1176461.3475
3 | 2613467.6224 | 1176433.2778 | 2613471.2402 | 1176430.0836
4 | 2613406.1713 | 1176487.5336 | 2613418.883 | 1176476.3103
5 | 2613406.1713 | 1176487.5336 | 2613413.8626 | 1176510.3289
6 | 2613406.1713 | 1176487.5336 | 2613402.9297 | 1176477.3726
7 | 2613413.8626 | 1176510.3289 | 2613386.7212 | 1176530.9181
8 | 2613413.8626 | 1176510.3289 | 2613426.5832 | 1176500.568
9 | 2613402.9297 | 1176477.3726 | 2613393.7161 | 1176448.4924
10 | 2613500.4539 | 1176404.2905 | 2613477.0347 | 1176398.2906
11 | 2613500.4539 | 1176404.2905 | 2613510.6278 | 1176407.0592 | 2613527.3632 | 1176411.4212
12 | 2613477.0347 | 1176398.2906 | 2613480.0176 | 1176388.1201
13 | 2613451.324 | 1176391.6743 | 2613477.0347 | 1176398.2906
14 | 2613527.3632 | 1176411.4212 | 2613523.9036 | 1176417.0941 | 2613521.5197 | 1176420.2348 | 2613506.9165 | 1176432.9144
15 | 2613403.3421 | 1176374.8255 | 2613401.419 | 1176373.819
16 | 2613413.4812 | 1176379.5616 | 2613403.3421 | 1176374.8255 | 2613403.3421 | 1176374.8255
17 | 2613379.9433 | 1176362.9897 | 2613389.0286 | 1176367.3343 | 2613401.419 | 1176373.819
18 | 2613413.4812 | 1176379.5616 | 2613421.8498 | 1176383.0709 | 2613423.8466 | 1176383.7467
19 | 2613413.4812 | 1176379.5616 | 2613424.5955 | 1176364.8145
20 | 2613379.9433 | 1176362.9897 | 2613379.1087 | 1176367.1233 | 2613376.7546 | 1176370.6198 | 2613373.2414 | 1176372.9466 | 2613369.0972 | 1176373.76
21 | 2613379.9433 | 1176362.9897 | 2613379.1271 | 1176358.8636 | 2613376.7885 | 1176355.3566
22 | 2613423.8466 | 1176383.7467 | 2613430.5789 | 1176386.0251 | 2613433.1415 | 1176386.723
23 | 2613424.5955 | 1176364.8145 | 2613436.7167 | 1176348.7313
24 | 2613369.0972 | 1176373.76 | 2613372.3472 | 1176383.2832 | 2613377.4172 | 1176398.1331
25 | 2613361.4539 | 1176370.5859 | 2613364.9567 | 1176372.9282 | 2613369.0972 | 1176373.76
26 | 2613365.0009 | 1176352.9959 | 2613369.1451 | 1176352.1825 | 2613373.2857 | 1176353.0143 | 2613376.7885 | 1176355.3566
27 | 2613445.7816 | 1176390.165 | 2613433.1415 | 1176386.723
28 | 2613383.5234 | 1176416.5434 | 2613380.9657 | 1176408.5262 | 2613377.4172 | 1176398.1331
29 | 2613361.4539 | 1176370.5859 | 2613345.3989 | 1176379.6303
30 | 2613353.4717 | 1176323.711 | 2613356.6019 | 1176332.1222 | 2613361.5349 | 1176344.3839 | 2613365.0009 | 1176352.9959
31 | 2613451.324 | 1176391.6743 | 2613445.7816 | 1176390.165
32 | 2613355.6557 | 1176554.484 | 2613386.7212 | 1176530.9181
33 | 2613426.5832 | 1176500.568 | 2613445.2529 | 1176486.2422
34 | 2613393.0802 | 1176446.4992 | 2613393.7161 | 1176448.4924
35 | 2613322.9772 | 1176579.2735 | 2613355.6557 | 1176554.484
36 | 2613445.2529 | 1176486.2422 | 2613445.5419 | 1176486.0205 | 2613465.8439 | 1176468.4829
37 | 2613393.0802 | 1176446.4992 | 2613388.5422 | 1176432.2749
38 | 2613451.324 | 1176391.6743 | 2613453.4284 | 1176387.0766 | 2613457.4957 | 1176379.0069
39 | 2613385.037 | 1176421.2879 | 2613388.1078 | 1176430.9132
40 | 2613383.5234 | 1176416.5434 | 2613385.037 | 1176421.2879
41 | 2613388.5422 | 1176432.2749 | 2613388.1078 | 1176430.9132
42 | 2613322.9772 | 1176579.2735 | 2613314.8824 | 1176569.2496
43 | 2613302.3423 | 1176343.9416 | 2613324.447 | 1176335.1954
44 | 2613353.4717 | 1176323.711 | 2613324.447 | 1176335.1954
45 | 2613302.3423 | 1176343.9416 | 2613279.9151 | 1176352.3631 | 2613279.2369 | 1176352.6259
46 | 2613353.4717 | 1176323.711 | 2613391.8621 | 1176306.3318 | 2613393.1862 | 1176305.656
47 | 2613274.0732 | 1176354.6267 | 2613279.2369 | 1176352.6259
48 | 2613268.886 | 1176356.6365 | 2613274.0732 | 1176354.6267
49 | 2613268.886 | 1176356.6365 | 2613258.3804 | 1176360.7071
50 | 2613345.3989 | 1176379.6303 | 2613344.392 | 1176380.1976
51 | 2613254.81 | 1176362.0906 | 2613258.3804 | 1176360.7071
52 | 2613254.81 | 1176362.0906 | 2613250.5365 | 1176363.7462
53 | 2613250.5365 | 1176363.7462 | 2613230.5104 | 1176371.5049
54 | 2613230.5104 | 1176371.5049 | 2613225.2226 | 1176373.5536 | 2613214.0729 | 1176377.7491
55 | 2613258.3981 | 1176432.9185 | 2613261.6314 | 1176430.8983
56 | 2613258.3981 | 1176432.9185 | 2613250.6458 | 1176437.7622
57 | 2613271.3331 | 1176424.8366 | 2613261.6314 | 1176430.8983
58 | 2613240.841 | 1176443.8883 | 2613250.6458 | 1176437.7622
59 | 2613271.3331 | 1176424.8366 | 2613278.4447 | 1176436.2565
60 | 2613271.3331 | 1176424.8366 | 2613287.1276 | 1176414.9639
61 | 2613224.528 | 1176454.0808 | 2613240.841 | 1176443.8883
62 | 2613283.0774 | 1176443.6958 | 2613278.4447 | 1176436.2565
63 | 2613302.7191 | 1176405.218 | 2613287.1276 | 1176414.9639
64 | 2613222.3985 | 1176455.4113 | 2613224.528 | 1176454.0808
65 | 2613283.0774 | 1176443.6958 | 2613295.3157 | 1176463.3481
66 | 2613302.7191 | 1176405.218 | 2613306.0604 | 1176403.1302
67 | 2613302.7191 | 1176405.218 | 2613311.563 | 1176419.1636
68 | 2613222.3985 | 1176455.4113 | 2613230.3571 | 1176468.0392
69 | 2613222.3985 | 1176455.4113 | 2613210.778 | 1176462.7366
70 | 2613174.9035 | 1176392.4879 | 2613179.029 | 1176390.9356
71 | 2613194.9669 | 1176384.9384 | 2613179.029 | 1176390.9356
72 | 2613194.9669 | 1176384.9384 | 2613214.0729 | 1176377.7491
73 | 2613181.1171 | 1176481.4341 | 2613210.778 | 1176462.7366
74 | 2613181.1171 | 1176481.4341 | 2613202.944 | 1176516.5108
75 | 2613202.944 | 1176516.5108 | 2613230.4148 | 1176499.1724
76 | 2613327.822 | 1176389.5322 | 2613306.0604 | 1176403.1302
77 | 2613311.563 | 1176419.1636 | 2613320.8431 | 1176433.797
78 | 2613327.822 | 1176389.5322 | 2613344.392 | 1176380.1976
79 | 2613336.6675 | 1176458.75 | 2613320.8431 | 1176433.797
80 | 2613348.0503 | 1176476.6991 | 2613336.6675 | 1176458.75
81 | 2613295.6097 | 1176463.8202 | 2613295.3157 | 1176463.3481
82 | 2613314.8824 | 1176569.2496 | 2613309.8748 | 1176563.0486
83 | 2613302.1141 | 1176553.4384 | 2613309.8748 | 1176563.0486
84 | 2613302.1141 | 1176553.4384 | 2613292.4487 | 1176541.4696
85 | 2613312.5801 | 1176491.0642 | 2613314.0801 | 1176493.4723
86 | 2613312.5801 | 1176491.0642 | 2613312.5265 | 1176490.9782
87 | 2613318.6112 | 1176500.7462 | 2613314.0801 | 1176493.4723
88 | 2613296.9828 | 1176466.0252 | 2613312.5265 | 1176490.9782
89 | 2613296.9828 | 1176466.0252 | 2613310.3631 | 1176458.6164
90 | 2613296.9828 | 1176466.0252 | 2613295.6097 | 1176463.8202
91 | 2613292.4487 | 1176541.4696 | 2613290.1937 | 1176538.6772
92 | 2613290.1937 | 1176538.6772 | 2613274.2364 | 1176531.975
93 | 2613274.2364 | 1176531.975 | 2613264.2688 | 1176537.7118

## bus_geodata
| x | y | coords
0 | 2613457.9922 | 1176441.7804
1 | 2613435.8301 | 1176461.3475
2 | 2613467.6224 | 1176433.2778
3 | 2613418.883 | 1176476.3103
4 | 2613471.2402 | 1176430.0836
5 | 2613406.1713 | 1176487.5336
6 | 2613413.8626 | 1176510.3289
7 | 2613402.9297 | 1176477.3726
8 | 2613500.4539 | 1176404.2905
9 | 2613477.0347 | 1176398.2906
10 | 2613527.3632 | 1176411.4212
11 | 2613403.3421 | 1176374.8255
12 | 2613401.419 | 1176373.819
13 | 2613413.4812 | 1176379.5616
14 | 2613379.9433 | 1176362.9897
15 | 2613423.8466 | 1176383.7467
16 | 2613424.5955 | 1176364.8145
17 | 2613369.0972 | 1176373.76
18 | 2613376.7885 | 1176355.3566
19 | 2613433.1415 | 1176386.723
20 | 2613436.7167 | 1176348.7313
21 | 2613377.4172 | 1176398.1331
22 | 2613361.4539 | 1176370.5859
23 | 2613365.0009 | 1176352.9959
24 | 2613445.7816 | 1176390.165
25 | 2613386.7212 | 1176530.9181
26 | 2613426.5832 | 1176500.568
27 | 2613393.7161 | 1176448.4924
28 | 2613355.6557 | 1176554.484
29 | 2613445.2529 | 1176486.2422
30 | 2613393.0802 | 1176446.4992
31 | 2613451.324 | 1176391.6743
32 | 2613457.4957 | 1176379.0069
33 | 2613480.0176 | 1176388.1201
34 | 2613506.9165 | 1176432.9144
35 | 2613385.037 | 1176421.2879
36 | 2613388.1078 | 1176430.9132
37 | 2613383.5234 | 1176416.5434
38 | 2613388.5422 | 1176432.2749
39 | 2613465.8439 | 1176468.4829
40 | 2613322.9772 | 1176579.2735
41 | 2613324.447 | 1176335.1954
42 | 2613302.3423 | 1176343.9416
43 | 2613353.4717 | 1176323.711
44 | 2613279.2369 | 1176352.6259
45 | 2613393.1862 | 1176305.656
46 | 2613274.0732 | 1176354.6267
47 | 2613268.886 | 1176356.6365
48 | 2613345.3989 | 1176379.6303
49 | 2613258.3804 | 1176360.7071
50 | 2613254.81 | 1176362.0906
51 | 2613250.5365 | 1176363.7462
52 | 2613230.5104 | 1176371.5049
53 | 2613258.3981 | 1176432.9185
54 | 2613261.6314 | 1176430.8983
55 | 2613250.6458 | 1176437.7622
56 | 2613271.3331 | 1176424.8366
57 | 2613240.841 | 1176443.8883
58 | 2613278.4447 | 1176436.2565
59 | 2613287.1276 | 1176414.9639
60 | 2613224.528 | 1176454.0808
61 | 2613283.0774 | 1176443.6958
62 | 2613302.7191 | 1176405.218
63 | 2613222.3985 | 1176455.4113
64 | 2613174.9035 | 1176392.4879
65 | 2613179.029 | 1176390.9356
66 | 2613194.9669 | 1176384.9384
67 | 2613214.0729 | 1176377.7491
68 | 2613230.3571 | 1176468.0392
69 | 2613210.778 | 1176462.7366
70 | 2613181.1171 | 1176481.4341
71 | 2613202.944 | 1176516.5108
72 | 2613306.0604 | 1176403.1302
73 | 2613311.563 | 1176419.1636
74 | 2613327.822 | 1176389.5322
75 | 2613320.8431 | 1176433.797
76 | 2613344.392 | 1176380.1976
77 | 2613336.6675 | 1176458.75
78 | 2613295.3157 | 1176463.3481
79 | 2613314.8824 | 1176569.2496
80 | 2613309.8748 | 1176563.0486
81 | 2613302.1141 | 1176553.4384
82 | 2613348.0503 | 1176476.6991
83 | 2613312.5801 | 1176491.0642
84 | 2613314.0801 | 1176493.4723
85 | 2613312.5265 | 1176490.9782
86 | 2613318.6112 | 1176500.7462
87 | 2613296.9828 | 1176466.0252
88 | 2613310.3631 | 1176458.6164
89 | 2613295.6097 | 1176463.8202
90 | 2613292.4487 | 1176541.4696
91 | 2613290.1937 | 1176538.6772
92 | 2613274.2364 | 1176531.975
93 | 2613264.2688 | 1176537.7118
94 | 2613230.4148 | 1176499.1724
95 | 2613348.0503 | 1176476.6991

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1