## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-132_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-132_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-132_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-132_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-132_0_2_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_942-132_0_2_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_942-132_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_942-132_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_942-132_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_942-132_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_942-132_0_2_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_942-132_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_942-132_0_2_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_942-132_0_2_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_942-132_0_2_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_942-132_0_2_node_73 | 0.4 | n |  | TRUE
16 | bus_LV_942-132_0_2_node_81 | 0.4 | n |  | TRUE
17 | bus_LV_942-132_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_942-132_0_2_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_942-132_0_2_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_942-132_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_942-132_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_942-132_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_942-132_0_2_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_942-132_0_2_node_74 | 0.4 | n |  | TRUE
25 | bus_LV_942-132_0_2_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_942-132_0_2_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_942-132_0_2_node_75 | 0.4 | n |  | TRUE
28 | bus_LV_942-132_0_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_942-132_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_942-132_0_2_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_942-132_0_2_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_942-132_0_2_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_942-132_0_2_node_82 | 0.4 | n |  | TRUE
34 | bus_LV_942-132_0_2_node_63 | 0.4 | n |  | TRUE
35 | bus_LV_942-132_0_2_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_942-132_0_2_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_942-132_0_2_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_942-132_0_2_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_942-132_0_2_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_942-132_0_2_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_942-132_0_2_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_942-132_0_2_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_942-132_0_2_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_942-132_0_2_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_942-132_0_2_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_942-132_0_2_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_942-132_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_942-132_0_2_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_942-132_0_2_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_942-132_0_2_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_942-132_0_2_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_942-132_0_2_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_942-132_0_2_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_942-132_0_2_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_942-132_0_2_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_942-132_0_2_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_942-132_0_2_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_942-132_0_2_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_942-132_0_2_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_942-132_0_2_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_942-132_0_2_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_942-132_0_2_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_942-132_0_2_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_942-132_0_2_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_942-132_0_2_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_942-132_0_2_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_942-132_0_2_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_942-132_0_2_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_942-132_0_2_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_942-132_0_2_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_942-132_0_2_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_942-132_0_2_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_942-132_0_2_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_942-132_0_2_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_942-132_0_2_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_942-132_0_2_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_942-132_0_2_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_942-132_0_2_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_942-132_0_2_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_942-132_0_2_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_942-132_0_2_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_942-132_0_2_node_79 | 0.4 | n |  | TRUE
83 | bus_MV_107_1_node_173 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-132_0_2_load_0 | 0 | 0.0027067 | 0.00067837 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-132_0_2_load_1 | 1 | 0.002969 | 0.00074409 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-132_0_2_load_2 | 2 | 0.0054295 | 0.0013608 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-132_0_2_load_3 | 3 | 0.0024635 | 0.0006174 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-132_0_2_load_58 | 4 | 0.0018522 | 0.0004642 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-132_0_2_load_56 | 5 | 0.0015022 | 0.0003765 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-132_0_2_load_4 | 6 | 0.00079592 | 0.00019948 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-132_0_2_load_5 | 7 | 0.0010997 | 0.00027561 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-132_0_2_load_71 | 10 | 0.00098325 | 0.00024643 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-132_0_2_load_48 | 12 | 0.00099663 | 0.00024978 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-132_0_2_load_72 | 13 | 0.00084011 | 0.00021055 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-132_0_2_load_29 | 14 | 0.00060773 | 0.00015231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-132_0_2_load_73 | 15 | 0.0025772 | 0.0006459 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-132_0_2_load_81 | 16 | 0.0031083 | 0.00077902 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-132_0_2_load_9 | 19 | 0.0040175 | 0.0010069 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-132_0_2_load_77 | 23 | 0.002537 | 0.00063584 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-132_0_2_load_74 | 24 | 0.00067194 | 0.0001684 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-132_0_2_load_27 | 25 | 0.0041513 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-132_0_2_load_23 | 26 | 0.0059253 | 0.001485 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-132_0_2_load_75 | 27 | 0.0012549 | 0.0003145 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-132_0_2_load_28 | 28 | 0.0033646 | 0.00084326 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-132_0_2_load_15 | 30 | 0.0021057 | 0.00052773 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-132_0_2_load_82 | 33 | 0.0013008 | 0.00032602 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-132_0_2_load_20 | 35 | 0.00076822 | 0.00019253 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-132_0_2_load_18 | 36 | 0.0011969 | 0.00029997 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-132_0_2_load_19 | 38 | 0.002146 | 0.00053785 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-132_0_2_load_22 | 41 | 0.0013625 | 0.00034148 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-132_0_2_load_49 | 42 | 0.00038781 | 9.7194e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-132_0_2_load_80 | 45 | 0.00036443 | 9.1335e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-132_0_2_load_46 | 47 | 0.00094027 | 0.00023565 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-132_0_2_load_33 | 50 | 0.00033073 | 8.2888e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-132_0_2_load_47 | 51 | 0.0012451 | 0.00031206 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-132_0_2_load_30 | 52 | 0.00036547 | 9.1595e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-132_0_2_load_31 | 53 | 0.001373 | 0.00034409 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-132_0_2_load_62 | 54 | 0.00060423 | 0.00015143 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-132_0_2_load_34 | 55 | 0.00055987 | 0.00014032 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-132_0_2_load_36 | 56 | 0.00079124 | 0.0001983 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-132_0_2_load_64 | 57 | 0.0005589 | 0.00014007 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-132_0_2_load_44 | 58 | 0.00085212 | 0.00021356 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-132_0_2_load_53 | 59 | 0.0022094 | 0.00055374 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-132_0_2_load_42 | 60 | 0.00083201 | 0.00020852 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-132_0_2_load_52 | 61 | 0.000857 | 0.00021478 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-132_0_2_load_38 | 62 | 0.0018129 | 0.00045436 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-132_0_2_load_39 | 63 | 0.00086485 | 0.00021675 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-132_0_2_load_40 | 64 | 0.0056617 | 0.001419 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-132_0_2_load_41 | 65 | 0.00083627 | 0.00020959 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-132_0_2_load_43 | 66 | 0.00084758 | 0.00021242 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-132_0_2_load_45 | 67 | 0.00078747 | 0.00019736 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-132_0_2_load_59 | 68 | 0.00079064 | 0.00019815 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-132_0_2_load_60 | 69 | 0.0023257 | 0.00058289 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-132_0_2_load_54 | 70 | 0.0015376 | 0.00038535 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-132_0_2_load_55 | 71 | 0.0026046 | 0.00065278 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-132_0_2_load_57 | 72 | 0.00091758 | 0.00022997 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-132_0_2_load_70 | 73 | 0.00092507 | 0.00023184 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-132_0_2_load_69 | 74 | 0.00092613 | 0.00023211 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-132_0_2_load_61 | 75 | 0.00081113 | 0.00020329 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-132_0_2_load_66 | 76 | 0.00078724 | 0.0001973 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-132_0_2_load_65 | 77 | 0.00080127 | 0.00020082 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-132_0_2_load_67 | 78 | 0.0008961 | 0.00022458 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-132_0_2_load_68 | 79 | 0.00092771 | 0.00023251 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-132_0_2_load_78 | 81 | 0.0016343 | 0.0004096 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-132_0_2_load_79 | 82 | 0.0015885 | 0.00039813 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-132_0_2_line_0 |  | 0 | 1 | 0.0056091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-132_0_2_line_1 |  | 0 | 2 | 0.014705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-132_0_2_line_2 |  | 1 | 3 | 0.018992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-132_0_2_line_3 |  | 3 | 4 | 0.019784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-132_0_2_line_4 |  | 4 | 5 | 0.006993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-132_0_2_line_5 |  | 5 | 70 | 0.021496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-132_0_2_line_6 |  | 6 | 7 | 0.044226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-132_0_2_line_7 |  | 6 | 8 | 0.038605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-132_0_2_line_8 |  | 7 | 9 | 0.01346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-132_0_2_line_9 |  | 7 | 10 | 0.18772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-132_0_2_line_10 |  | 8 | 11 | 0.005867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-132_0_2_line_11 |  | 9 | 12 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-132_0_2_line_12 |  | 10 | 13 | 0.011542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-132_0_2_line_13 |  | 10 | 14 | 0.26089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-132_0_2_line_14 |  | 11 | 16 | 0.0134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-132_0_2_line_15 |  | 12 | 17 | 0.0095439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-132_0_2_line_16 |  | 13 | 15 | 0.12517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-132_0_2_line_17 |  | 17 | 18 | 0.032138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_942-132_0_2_line_18 |  | 18 | 21 | 0.047094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-132_0_2_line_19 |  | 18 | 19 | 0.037378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_942-132_0_2_line_20 |  | 19 | 20 | 0.13006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-132_0_2_line_21 |  | 20 | 22 | 0.040115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-132_0_2_line_22 |  | 21 | 23 | 0.059948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-132_0_2_line_23 |  | 21 | 24 | 0.006661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-132_0_2_line_24 |  | 22 | 25 | 0.0048459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-132_0_2_line_25 |  | 22 | 26 | 0.064819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-132_0_2_line_26 |  | 24 | 27 | 0.018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-132_0_2_line_27 |  | 25 | 28 | 0.039942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-132_0_2_line_28 |  | 26 | 29 | 0.012609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-132_0_2_line_29 |  | 27 | 80 | 0.038634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-132_0_2_line_30 |  | 29 | 43 | 0.1207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-132_0_2_line_31 |  | 30 | 31 | 0.060335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-132_0_2_line_32 |  | 31 | 32 | 0.029211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-132_0_2_line_33 |  | 32 | 35 | 0.0052495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-132_0_2_line_34 |  | 32 | 33 | 0.14711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_942-132_0_2_line_35 |  | 33 | 34 | 0.005647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-132_0_2_line_36 |  | 34 | 48 | 0.11553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-132_0_2_line_37 |  | 34 | 43 | 0.11463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-132_0_2_line_38 |  | 35 | 38 | 0.027331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-132_0_2_line_39 |  | 36 | 37 | 0.024968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-132_0_2_line_40 |  | 37 | 39 | 0.02353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_942-132_0_2_line_41 |  | 38 | 40 | 0.01528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-132_0_2_line_42 |  | 39 | 42 | 0.02487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-132_0_2_line_43 |  | 40 | 41 | 0.021882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_942-132_0_2_line_44 |  | 41 | 42 | 0.020762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-132_0_2_line_45 |  | 43 | 44 | 0.12963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-132_0_2_line_46 |  | 43 | 45 | 0.028795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_942-132_0_2_line_47 |  | 44 | 46 | 0.042141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-132_0_2_line_48 |  | 44 | 47 | 0.0096715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_942-132_0_2_line_49 |  | 46 | 49 | 0.022678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-132_0_2_line_50 |  | 46 | 50 | 0.087986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_942-132_0_2_line_51 |  | 47 | 51 | 0.046326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-132_0_2_line_52 |  | 48 | 54 | 0.084603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-132_0_2_line_53 |  | 48 | 53 | 0.12965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-132_0_2_line_54 |  | 49 | 58 | 0.068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-132_0_2_line_55 |  | 49 | 59 | 0.051789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-132_0_2_line_56 |  | 50 | 55 | 0.0050237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-132_0_2_line_57 |  | 52 | 53 | 0.019269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-132_0_2_line_58 |  | 55 | 56 | 0.047296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-132_0_2_line_59 |  | 56 | 57 | 0.058715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-132_0_2_line_60 |  | 58 | 60 | 0.0048919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-132_0_2_line_61 |  | 59 | 61 | 0.020729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-132_0_2_line_62 |  | 60 | 66 | 0.0048778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-132_0_2_line_63 |  | 61 | 65 | 0.010408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-132_0_2_line_64 |  | 62 | 63 | 0.0050513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-132_0_2_line_65 |  | 62 | 64 | 0.016609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-132_0_2_line_66 |  | 63 | 65 | 0.012439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-132_0_2_line_67 |  | 66 | 67 | 0.013045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-132_0_2_line_68 |  | 67 | 68 | 0.0048962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-132_0_2_line_69 |  | 68 | 69 | 0.0096536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-132_0_2_line_70 |  | 69 | 75 | 0.0052754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_942-132_0_2_line_71 |  | 70 | 71 | 0.014482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-132_0_2_line_72 |  | 71 | 72 | 0.0010187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-132_0_2_line_73 |  | 72 | 73 | 0.0092857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-132_0_2_line_74 |  | 73 | 74 | 0.0043486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_942-132_0_2_line_75 |  | 74 | 79 | 0.0052079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_942-132_0_2_line_76 |  | 75 | 76 | 0.005006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_942-132_0_2_line_77 |  | 76 | 77 | 0.0056724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_942-132_0_2_line_78 |  | 77 | 78 | 0.0076958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_942-132_0_2_line_79 |  | 78 | 79 | 0.0041448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_942-132_0_2_line_80 |  | 80 | 81 | 0.011989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_942-132_0_2_line_81 |  | 81 | 82 | 0.020998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-132_0_2_trafo_11 | 0.63 MVA 20/0.4 kV | 83 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2618155.5812 | 1179168.3679 | 2618161.1902 | 1179168.336
1 | 2618140.8764 | 1179168.4514 | 2618155.5812 | 1179168.3679
2 | 2618180.1817 | 1179168.2281 | 2618161.1902 | 1179168.336
3 | 2618180.1817 | 1179168.2281 | 2618190.7003 | 1179168.1684 | 2618199.9657 | 1179168.1211
4 | 2618199.9657 | 1179168.1211 | 2618206.9587 | 1179168.0854
5 | 2618228.4548 | 1179167.9757 | 2618206.9587 | 1179168.0854
6 | 2618025.7701 | 1179060.5239 | 2618062.4717 | 1179085.2
7 | 2617989.8922 | 1179056.8519 | 2617993.8338 | 1179054.418 | 2617996.9003 | 1179053.3822 | 2617999.7436 | 1179052.8793 | 2618003.411 | 1179052.7346 | 2618006.673 | 1179052.7444 | 2618009.7505 | 1179053.1094 | 2618014.1171 | 1179054.1563 | 2618017.5966 | 1179055.523 | 2618022.2716 | 1179058.1717 | 2618025.7701 | 1179060.5239
8 | 2618073.6419 | 1179092.7102 | 2618062.4717 | 1179085.2
9 | 2618062.4717 | 1179085.2 | 2618163.1092 | 1178926.7311
10 | 2617989.8922 | 1179056.8519 | 2617986.9663 | 1179051.7627
11 | 2618073.6419 | 1179092.7102 | 2618082.668 | 1179098.985 | 2618090.2858 | 1179103.8343
12 | 2618163.1092 | 1178926.7311 | 2618168.847 | 1178924.6218 | 2618173.6221 | 1178922.0391
13 | 2618163.1092 | 1178926.7311 | 2618021.4503 | 1178707.656
14 | 2617986.9663 | 1179051.7627 | 2617989.5871 | 1179046.5012 | 2617992.5515 | 1179043.8198 | 2617995.8707 | 1179042.5847
15 | 2618098.3368 | 1179108.9594 | 2618090.2858 | 1179103.8343
16 | 2618246.1564 | 1178865.1029 | 2618248.9752 | 1178870.2141 | 2618248.9271 | 1178886.0666 | 2618251.4584 | 1178895.279 | 2618252.4361 | 1178900.3845 | 2618250.1461 | 1178907.3145 | 2618244.3004 | 1178912.8218 | 2618233.0753 | 1178916.1784 | 2618220.712 | 1178916.9969 | 2618206.6559 | 1178914.2641 | 2618198.7053 | 1178913.5285 | 2618187.0589 | 1178914.7717 | 2618173.6221 | 1178922.0391
17 | 2618125.8724 | 1179125.5508 | 2618119.3123 | 1179122.3294 | 2618108.7198 | 1179116.1944 | 2618098.3368 | 1179108.9594
18 | 2618125.8724 | 1179125.5508 | 2618121.8735 | 1179129.2629 | 2618116.6787 | 1179131.8041 | 2618100.2875 | 1179135.9792 | 2618084.561 | 1179140.1451 | 2618081.8396 | 1179140.7595
19 | 2618125.8724 | 1179125.5508 | 2618132.1514 | 1179128.2267 | 2618139.6995 | 1179130.5951 | 2618147.2277 | 1179131.9629 | 2618154.7589 | 1179132.3637 | 2618161.8873 | 1179132.0517 | 2618162.1994 | 1179132.0285
20 | 2618292.1423 | 1179130.3343 | 2618287.3686 | 1179130.0307 | 2618263.7122 | 1179129.2251 | 2618231.7195 | 1179129.028 | 2618213.5226 | 1179129.0618 | 2618193.2306 | 1179129.723 | 2618162.1994 | 1179132.0285
21 | 2618292.1423 | 1179130.3343 | 2618300.689 | 1179130.8717 | 2618332.0112 | 1179135.525
22 | 2618041.1697 | 1179175.8888 | 2618047.1648 | 1179176.4515 | 2618050.299 | 1179175.7272 | 2618053.9031 | 1179173.7147 | 2618056.6771 | 1179170.8771 | 2618059.0884 | 1179166.66 | 2618060.7583 | 1179162.6185 | 2618061.6931 | 1179159.1306 | 2618062.3461 | 1179155.364 | 2618063.0954 | 1179152.6093 | 2618064.2995 | 1179151.0454 | 2618066.4202 | 1179149.4954 | 2618072.2389 | 1179147.7676 | 2618078.511 | 1179145.1184 | 2618080.8233 | 1179143.38 | 2618081.8396 | 1179140.7595
23 | 2618081.8396 | 1179140.7595 | 2618076.198 | 1179142.021 | 2618075.3214 | 1179142.0999
24 | 2618332.0112 | 1179135.525 | 2618335.7714 | 1179132.4682
25 | 2618332.0112 | 1179135.525 | 2618396.126 | 1179145.0552
26 | 2618075.3214 | 1179142.0999 | 2618064.7284 | 1179143.0537 | 2618059.8462 | 1179143.2836 | 2618056.4832 | 1179143.1436
27 | 2618374.3347 | 1179122.1613 | 2618367.8225 | 1179123.5392 | 2618344.9477 | 1179129.4502 | 2618335.7714 | 1179132.4682 | 2618335.7714 | 1179132.4682
28 | 2618408.5983 | 1179146.9091 | 2618396.126 | 1179145.0552
29 | 2618019.0268 | 1179134.0009 | 2618023.6082 | 1179134.7261 | 2618045.0405 | 1179140.9936 | 2618051.0101 | 1179142.4455 | 2618055.5305 | 1179143.1039 | 2618056.4832 | 1179143.1436
30 | 2618518.7249 | 1179107.5714 | 2618513.8859 | 1179108.657 | 2618509.4508 | 1179110.0552 | 2618504.4248 | 1179112.3187 | 2618499.3886 | 1179115.4159 | 2618488.04 | 1179124.2189 | 2618481.033 | 1179129.7891 | 2618475.1381 | 1179133.9064 | 2618468.3509 | 1179137.5319 | 2618460.5482 | 1179140.9875 | 2618454.8427 | 1179143.1378 | 2618446.9214 | 1179145.4258 | 2618438.3219 | 1179147.1781 | 2618431.3372 | 1179147.9682 | 2618423.2699 | 1179148.0324 | 2618408.5983 | 1179146.9091
31 | 2618797.1953 | 1179114.2607 | 2618795.8932 | 1179117.8252 | 2618794.3214 | 1179119.6545 | 2618791.5497 | 1179121.6691 | 2618786.6522 | 1179124.3218 | 2618781.1967 | 1179129.5408 | 2618775.6401 | 1179137.7944 | 2618766.286 | 1179151.1943 | 2618761.8506 | 1179155.1269 | 2618757.2791 | 1179157.9309
32 | 2618768.3337 | 1179119.2732 | 2618770.5961 | 1179118.88 | 2618797.1953 | 1179114.2607
33 | 2618768.3337 | 1179119.2732 | 2618771.2923 | 1179114.9369
34 | 2618628.3537 | 1179074.0371 | 2618768.3337 | 1179119.2732
35 | 2618628.3537 | 1179074.0371 | 2618624.5211 | 1179078.194
36 | 2618586.2182 | 1178971.6653 | 2618611.7876 | 1179055.5763 | 2618614.3188 | 1179062.1431 | 2618615.6645 | 1179066.7051 | 2618617.6198 | 1179074.2373 | 2618618.6083 | 1179075.7189 | 2618620.3388 | 1179076.8915 | 2618621.9413 | 1179077.4523 | 2618624.5211 | 1179078.194
37 | 2618518.7249 | 1179107.5714 | 2618519.9528 | 1179103.273 | 2618521.2184 | 1179101.6093 | 2618523.6827 | 1179100.1828 | 2618534.7825 | 1179097.7491 | 2618554.4893 | 1179096.1424 | 2618578.8855 | 1179094.8837 | 2618589.3473 | 1179093.7599 | 2618596.0351 | 1179092.6466 | 2618603.696 | 1179090.636 | 2618612.6661 | 1179087.6622 | 2618616.5458 | 1179085.5398 | 2618619.9082 | 1179082.7265 | 2618624.5211 | 1179078.194
38 | 2618794.624 | 1179101.578 | 2618789.5687 | 1179102.8755 | 2618772.7311 | 1179112.828 | 2618771.2923 | 1179114.9369
39 | 2618854.3726 | 1179103.0339 | 2618829.9745 | 1179108.3357
40 | 2618876.6125 | 1179095.1663 | 2618854.3726 | 1179103.0339
41 | 2618809.424 | 1179097.7794 | 2618794.624 | 1179101.578
42 | 2618876.6125 | 1179095.1663 | 2618868.649 | 1179093.7739 | 2618858.4028 | 1179094.3532 | 2618851.9211 | 1179095.0858
43 | 2618809.424 | 1179097.7794 | 2618828.9275 | 1179097.6848 | 2618831.2909 | 1179097.4176
44 | 2618851.9211 | 1179095.0858 | 2618831.2909 | 1179097.4176
45 | 2618518.7249 | 1179107.5714 | 2618513.8859 | 1179108.657 | 2618509.4508 | 1179110.0552 | 2618504.4248 | 1179112.3187 | 2618499.3886 | 1179115.4159 | 2618488.04 | 1179124.2189 | 2618481.033 | 1179129.7891 | 2618475.1381 | 1179133.9064 | 2618468.3509 | 1179137.5319 | 2618475.1367 | 1179144.3118 | 2618477.7793 | 1179146.9657 | 2618480.2667 | 1179150.4196 | 2618481.8832 | 1179153.9041 | 2618482.7633 | 1179158.3535 | 2618482.2904 | 1179163.0767 | 2618480.3988 | 1179167.1063 | 2618477.7302 | 1179170.4221 | 2618474.6601 | 1179172.6137 | 2618459.1905 | 1179180.1257 | 2618450.0264 | 1179184.1441
46 | 2618518.7249 | 1179107.5714 | 2618524.9362 | 1179107.3904 | 2618530.9458 | 1179108.2205 | 2618537.6794 | 1179109.6197 | 2618546.2887 | 1179112.1475 | 2618546.9089 | 1179112.3862
47 | 2618411.0926 | 1179200.5332 | 2618443.7002 | 1179186.915 | 2618450.0264 | 1179184.1441
48 | 2618450.0264 | 1179184.1441 | 2618452.7479 | 1179186.0089 | 2618456.2131 | 1179186.9867 | 2618458.9818 | 1179186.8554
49 | 2618389.8992 | 1179208.7615 | 2618411.0926 | 1179200.5332
50 | 2618411.0926 | 1179200.5332 | 2618416.8531 | 1179210.3337 | 2618419.3131 | 1179212.7535 | 2618422.4165 | 1179214.6196 | 2618425.92 | 1179215.5863 | 2618429.7543 | 1179215.7537 | 2618436.793 | 1179214.7859 | 2618487.1971 | 1179204.5909 | 2618490.6257 | 1179203.694
51 | 2618499.6195 | 1179166.9987 | 2618494.2 | 1179170.5283 | 2618489.4277 | 1179174.7825 | 2618482.5512 | 1179180.1419 | 2618477.6155 | 1179182.8725 | 2618470.9939 | 1179184.8532 | 2618461.057 | 1179186.757 | 2618458.9818 | 1179186.8554
52 | 2618586.2182 | 1178971.6653 | 2618621.5598 | 1178941.648 | 2618639.1694 | 1178924.227 | 2618648.0541 | 1178914.1118
53 | 2618586.2182 | 1178971.6653 | 2618581.5831 | 1178975.9532 | 2618572.9009 | 1178984.5863 | 2618568.7629 | 1178988.6868 | 2618565.3695 | 1178991.6223 | 2618561.5733 | 1178993.9228 | 2618556.8071 | 1178996.1315 | 2618550.2141 | 1178998.6347 | 2618542.1626 | 1179000.9666 | 2618533.5097 | 1179002.6074 | 2618497.6786 | 1179005.7432 | 2618491.0883 | 1179007.4238 | 2618483.0571 | 1179010.5897 | 2618475.8818 | 1179013.6914 | 2618468.6228 | 1179016.0243
54 | 2618389.8992 | 1179208.7615 | 2618376.7458 | 1179205.8309 | 2618368.2659 | 1179203.4705 | 2618325.0444 | 1179188.5567
55 | 2618389.8992 | 1179208.7615 | 2618384.4948 | 1179212.4135 | 2618379.9035 | 1179214.9452 | 2618356.672 | 1179225.2129 | 2618343.1788 | 1179230.8519
56 | 2618490.6257 | 1179203.694 | 2618495.4859 | 1179202.4226
57 | 2618451.3428 | 1179023.9992 | 2618453.664 | 1179021.9164 | 2618457.5441 | 1179019.6493 | 2618463.4095 | 1179017.6996 | 2618468.6228 | 1179016.0243
58 | 2618495.4859 | 1179202.4226 | 2618500.8058 | 1179201.0309 | 2618511.5425 | 1179197.3509 | 2618520.9127 | 1179193.4222 | 2618536.5656 | 1179185.9332 | 2618539.2548 | 1179184.7577
59 | 2618539.2548 | 1179184.7577 | 2618549.1414 | 1179180.4359 | 2618554.7992 | 1179176.429 | 2618557.7189 | 1179173.4587 | 2618558.8567 | 1179171.1277 | 2618559.0999 | 1179169.0385 | 2618558.2267 | 1179164.8559 | 2618552.7902 | 1179149.1421 | 2618541.7227 | 1179151.0423
60 | 2618320.4201 | 1179186.961 | 2618325.0444 | 1179188.5567
61 | 2618343.1788 | 1179230.8519 | 2618324.0523 | 1179238.845
62 | 2618320.4201 | 1179186.961 | 2618315.809 | 1179185.37
63 | 2618314.0654 | 1179241.3649 | 2618315.4476 | 1179241.3734 | 2618318.8027 | 1179240.8944 | 2618321.6017 | 1179239.8691 | 2618324.0523 | 1179238.845
64 | 2618296.7144 | 1179239.2997 | 2618301.7196 | 1179239.9805
65 | 2618281.9075 | 1179232.7336 | 2618285.0235 | 1179235.5 | 2618287.2194 | 1179236.8852 | 2618289.7447 | 1179237.949 | 2618294.0731 | 1179238.9404 | 2618296.7144 | 1179239.2997
66 | 2618314.0654 | 1179241.3649 | 2618311.7962 | 1179241.3511 | 2618301.7196 | 1179239.9805
67 | 2618315.809 | 1179185.37 | 2618303.477 | 1179181.1148
68 | 2618298.8486 | 1179179.5177 | 2618303.477 | 1179181.1148
69 | 2618298.8486 | 1179179.5177 | 2618289.723 | 1179176.3689
70 | 2618289.723 | 1179176.3689 | 2618286.5817 | 1179175.2849 | 2618284.683 | 1179174.8303
71 | 2618228.4548 | 1179167.9757 | 2618237.1705 | 1179167.9312 | 2618242.9347 | 1179168.076
72 | 2618242.9347 | 1179168.076 | 2618243.9531 | 1179168.1016
73 | 2618243.9531 | 1179168.1016 | 2618247.7348 | 1179168.1967 | 2618253.2033 | 1179168.8101
74 | 2618257.5166 | 1179169.3575 | 2618255.8831 | 1179169.1107 | 2618253.2033 | 1179168.8101
75 | 2618257.5166 | 1179169.3575 | 2618262.6661 | 1179170.1353
76 | 2618284.683 | 1179174.8303 | 2618279.8147 | 1179173.6644
77 | 2618274.2876 | 1179172.3917 | 2618275.6732 | 1179172.6727 | 2618279.8147 | 1179173.6644
78 | 2618274.2876 | 1179172.3917 | 2618266.7452 | 1179170.8626
79 | 2618266.7452 | 1179170.8626 | 2618264.5955 | 1179170.4268 | 2618262.6661 | 1179170.1353
80 | 2618019.0268 | 1179134.0009 | 2618020.3925 | 1179122.0899
81 | 2618022.7843 | 1179101.2287 | 2618020.3925 | 1179122.0899

## bus_geodata
| x | y | coords
0 | 2618155.5812 | 1179168.3679
1 | 2618161.1902 | 1179168.336
2 | 2618140.8764 | 1179168.4514
3 | 2618180.1817 | 1179168.2281
4 | 2618199.9657 | 1179168.1211
5 | 2618206.9587 | 1179168.0854
6 | 2618025.7701 | 1179060.5239
7 | 2618062.4717 | 1179085.2
8 | 2617989.8922 | 1179056.8519
9 | 2618073.6419 | 1179092.7102
10 | 2618163.1092 | 1178926.7311
11 | 2617986.9663 | 1179051.7627
12 | 2618090.2858 | 1179103.8343
13 | 2618173.6221 | 1178922.0391
14 | 2618021.4503 | 1178707.656
15 | 2618246.1564 | 1178865.1029
16 | 2617995.8707 | 1179042.5847
17 | 2618098.3368 | 1179108.9594
18 | 2618125.8724 | 1179125.5508
19 | 2618162.1994 | 1179132.0285
20 | 2618292.1423 | 1179130.3343
21 | 2618081.8396 | 1179140.7595
22 | 2618332.0112 | 1179135.525
23 | 2618041.1697 | 1179175.8888
24 | 2618075.3214 | 1179142.0999
25 | 2618335.7714 | 1179132.4682
26 | 2618396.126 | 1179145.0552
27 | 2618056.4832 | 1179143.1436
28 | 2618374.3347 | 1179122.1613
29 | 2618408.5983 | 1179146.9091
30 | 2618757.2791 | 1179157.9309
31 | 2618797.1953 | 1179114.2607
32 | 2618768.3337 | 1179119.2732
33 | 2618628.3537 | 1179074.0371
34 | 2618624.5211 | 1179078.194
35 | 2618771.2923 | 1179114.9369
36 | 2618829.9745 | 1179108.3357
37 | 2618854.3726 | 1179103.0339
38 | 2618794.624 | 1179101.578
39 | 2618876.6125 | 1179095.1663
40 | 2618809.424 | 1179097.7794
41 | 2618831.2909 | 1179097.4176
42 | 2618851.9211 | 1179095.0858
43 | 2618518.7249 | 1179107.5714
44 | 2618450.0264 | 1179184.1441
45 | 2618546.9089 | 1179112.3862
46 | 2618411.0926 | 1179200.5332
47 | 2618458.9818 | 1179186.8554
48 | 2618586.2182 | 1178971.6653
49 | 2618389.8992 | 1179208.7615
50 | 2618490.6257 | 1179203.694
51 | 2618499.6195 | 1179166.9987
52 | 2618451.3428 | 1179023.9992
53 | 2618468.6228 | 1179016.0243
54 | 2618648.0541 | 1178914.1118
55 | 2618495.4859 | 1179202.4226
56 | 2618539.2548 | 1179184.7577
57 | 2618541.7227 | 1179151.0423
58 | 2618325.0444 | 1179188.5567
59 | 2618343.1788 | 1179230.8519
60 | 2618320.4201 | 1179186.961
61 | 2618324.0523 | 1179238.845
62 | 2618296.7144 | 1179239.2997
63 | 2618301.7196 | 1179239.9805
64 | 2618281.9075 | 1179232.7336
65 | 2618314.0654 | 1179241.3649
66 | 2618315.809 | 1179185.37
67 | 2618303.477 | 1179181.1148
68 | 2618298.8486 | 1179179.5177
69 | 2618289.723 | 1179176.3689
70 | 2618228.4548 | 1179167.9757
71 | 2618242.9347 | 1179168.076
72 | 2618243.9531 | 1179168.1016
73 | 2618253.2033 | 1179168.8101
74 | 2618257.5166 | 1179169.3575
75 | 2618284.683 | 1179174.8303
76 | 2618279.8147 | 1179173.6644
77 | 2618274.2876 | 1179172.3917
78 | 2618266.7452 | 1179170.8626
79 | 2618262.6661 | 1179170.1353
80 | 2618019.0268 | 1179134.0009
81 | 2618020.3925 | 1179122.0899
82 | 2618022.7843 | 1179101.2287
83 | 2618317.8128 | 1179114.4598

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1