## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-23_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-23_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-23_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-23_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-23_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_942-23_0_5_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_942-23_0_5_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_942-23_0_5_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_942-23_0_5_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_942-23_0_5_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_942-23_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_942-23_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_942-23_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_942-23_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_942-23_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_942-23_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_942-23_0_5_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_942-23_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_942-23_0_5_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_942-23_0_5_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_942-23_0_5_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_942-23_0_5_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_942-23_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_942-23_0_5_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_942-23_0_5_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_942-23_0_5_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_942-23_0_5_node_94 | 0.4 | n |  | TRUE
27 | bus_LV_942-23_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_942-23_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_942-23_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_942-23_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_942-23_0_5_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_942-23_0_5_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_942-23_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_942-23_0_5_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_942-23_0_5_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_942-23_0_5_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_942-23_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_942-23_0_5_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_942-23_0_5_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_942-23_0_5_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_942-23_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_942-23_0_5_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_942-23_0_5_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_942-23_0_5_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_942-23_0_5_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_942-23_0_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_942-23_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_942-23_0_5_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_942-23_0_5_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_942-23_0_5_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_942-23_0_5_node_95 | 0.4 | n |  | TRUE
52 | bus_LV_942-23_0_5_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_942-23_0_5_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_942-23_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_942-23_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_942-23_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_942-23_0_5_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_942-23_0_5_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_942-23_0_5_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_942-23_0_5_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_942-23_0_5_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_942-23_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_942-23_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_942-23_0_5_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_942-23_0_5_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_942-23_0_5_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_942-23_0_5_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_942-23_0_5_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_942-23_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_942-23_0_5_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_942-23_0_5_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_942-23_0_5_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_942-23_0_5_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_942-23_0_5_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_942-23_0_5_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_942-23_0_5_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_942-23_0_5_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_942-23_0_5_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_942-23_0_5_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_942-23_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_942-23_0_5_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_942-23_0_5_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_942-23_0_5_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_942-23_0_5_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_942-23_0_5_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_942-23_0_5_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_942-23_0_5_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_942-23_0_5_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_942-23_0_5_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_942-23_0_5_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_942-23_0_5_node_97 | 0.4 | n |  | TRUE
92 | bus_MV_123_1_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-23_0_5_load_0 | 0 | 0.0038327 | 0.00096056 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-23_0_5_load_1 | 1 | 0.0025171 | 0.00063085 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-23_0_5_load_3 | 3 | 0.0036627 | 0.00091795 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-23_0_5_load_18 | 6 | 0.0086316 | 0.0021633 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-23_0_5_load_14 | 7 | 0.0068008 | 0.0017044 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-23_0_5_load_19 | 8 | 0.0031299 | 0.00078442 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-23_0_5_load_5 | 9 | 0.00253 | 0.00063408 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-23_0_5_load_6 | 10 | 0.0052543 | 0.0013168 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-23_0_5_load_8 | 12 | 0.0061987 | 0.0015535 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-23_0_5_load_9 | 13 | 0.0036106 | 0.00090491 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-23_0_5_load_10 | 14 | 0.0033486 | 0.00083924 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-23_0_5_load_12 | 15 | 0.0039683 | 0.00099455 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-23_0_5_load_53 | 16 | 0.0040068 | 0.0010042 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-23_0_5_load_13 | 17 | 0.0055699 | 0.0013959 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-23_0_5_load_52 | 18 | 0.0056426 | 0.0014142 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-23_0_5_load_27 | 20 | 0.0047885 | 0.0012001 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-23_0_5_load_28 | 21 | 0.0032391 | 0.00081179 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-23_0_5_load_17 | 22 | 0.0009469 | 0.00023732 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-23_0_5_load_93 | 23 | 0.010854 | 0.0027204 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-23_0_5_load_76 | 24 | 0.007254 | 0.001818 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-23_0_5_load_94 | 26 | 0.01678 | 0.0042054 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-23_0_5_load_20 | 27 | 0.006536 | 0.0016381 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-23_0_5_load_24 | 29 | 0.0049001 | 0.0012281 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-23_0_5_load_25 | 30 | 0.005136 | 0.0012872 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-23_0_5_load_36 | 31 | 0.0042473 | 0.0010645 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-23_0_5_load_34 | 32 | 0.0081815 | 0.0020505 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-23_0_5_load_29 | 33 | 0.0035213 | 0.00088252 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-23_0_5_load_57 | 34 | 0.0018341 | 0.00045967 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-23_0_5_load_30 | 35 | 0.003091 | 0.00077469 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-23_0_5_load_55 | 36 | 0.0036391 | 0.00091204 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-23_0_5_load_42 | 39 | 0.0072404 | 0.0018146 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-23_0_5_load_32 | 40 | 0.0024083 | 0.00060359 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-23_0_5_load_33 | 41 | 0.0033127 | 0.00083023 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-23_0_5_load_35 | 42 | 0.0021764 | 0.00054546 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-23_0_5_load_40 | 44 | 0.0017317 | 0.000434 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-23_0_5_load_54 | 45 | 0.0024288 | 0.00060872 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-23_0_5_load_37 | 46 | 0.0012786 | 0.00032044 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-23_0_5_load_38 | 47 | 0.0017367 | 0.00043525 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-23_0_5_load_39 | 48 | 0.001351 | 0.0003386 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-23_0_5_load_41 | 49 | 0.0013915 | 0.00034874 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-23_0_5_load_95 | 51 | 0.0013048 | 0.000327 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-23_0_5_load_50 | 52 | 0.0023255 | 0.00058281 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-23_0_5_load_43 | 53 | 0.005896 | 0.0014777 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-23_0_5_load_46 | 55 | 0.0015324 | 0.00038405 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-23_0_5_load_47 | 56 | 0.0033632 | 0.00084289 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-23_0_5_load_58 | 57 | 0.0071003 | 0.0017795 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-23_0_5_load_59 | 59 | 0.0045838 | 0.0011488 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-23_0_5_load_82 | 60 | 0.002914 | 0.00073033 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-23_0_5_load_83 | 61 | 0.0027522 | 0.00068976 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-23_0_5_load_48 | 62 | 0.010817 | 0.0027111 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-23_0_5_load_49 | 63 | 0.0035468 | 0.00088892 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-23_0_5_load_60 | 64 | 0.0067727 | 0.0016974 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-23_0_5_load_85 | 65 | 0.0042978 | 0.0010771 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-23_0_5_load_84 | 66 | 0.0048988 | 0.0012277 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-23_0_5_load_96 | 67 | 0.001306 | 0.00032731 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-23_0_5_load_62 | 68 | 0.010424 | 0.0026125 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-23_0_5_load_63 | 69 | 0.0027233 | 0.00068252 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-23_0_5_load_77 | 70 | 0.0098175 | 0.0024605 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-23_0_5_load_78 | 71 | 0.0038298 | 0.00095984 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-23_0_5_load_65 | 72 | 0.0013523 | 0.00033891 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-23_0_5_load_66 | 73 | 0.0060501 | 0.0015163 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-23_0_5_load_67 | 74 | 0.0019237 | 0.00048213 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-23_0_5_load_68 | 75 | 0.0044822 | 0.0011233 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-23_0_5_load_69 | 76 | 0.0015517 | 0.0003889 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-23_0_5_load_75 | 77 | 0.0017204 | 0.00043116 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-23_0_5_load_80 | 78 | 0.0021959 | 0.00055034 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_942-23_0_5_load_74 | 79 | 0.002764 | 0.00069272 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_942-23_0_5_load_70 | 80 | 0.0036215 | 0.00090763 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_942-23_0_5_load_71 | 81 | 0.0025197 | 0.0006315 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_942-23_0_5_load_72 | 82 | 0.013327 | 0.00334 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_942-23_0_5_load_73 | 83 | 0.0016129 | 0.00040423 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_942-23_0_5_load_79 | 84 | 0.0093012 | 0.0023311 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_942-23_0_5_load_86 | 85 | 0.0027062 | 0.00067824 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_942-23_0_5_load_87 | 86 | 0.0038051 | 0.00095364 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_942-23_0_5_load_91 | 88 | 0.0023011 | 0.00057672 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_942-23_0_5_load_88 | 89 | 0.0088067 | 0.0022072 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_942-23_0_5_load_90 | 90 | 0.011536 | 0.0028912 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_942-23_0_5_load_97 | 91 | 0.0013368 | 0.00033503 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-23_0_5_line_0 |  | 0 | 1 | 0.033592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-23_0_5_line_1 |  | 0 | 2 | 0.020607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-23_0_5_line_2 |  | 2 | 3 | 0.017452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-23_0_5_line_3 |  | 2 | 4 | 0.038111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-23_0_5_line_4 |  | 4 | 5 | 0.022495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-23_0_5_line_5 |  | 4 | 6 | 0.044771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-23_0_5_line_6 |  | 5 | 7 | 0.010367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-23_0_5_line_7 |  | 6 | 8 | 0.0021244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-23_0_5_line_8 |  | 8 | 12 | 0.020587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-23_0_5_line_9 |  | 9 | 10 | 0.028495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-23_0_5_line_10 |  | 9 | 11 | 0.0086273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-23_0_5_line_11 |  | 10 | 12 | 0.0018991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-23_0_5_line_12 |  | 11 | 13 | 0.012155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-23_0_5_line_13 |  | 11 | 14 | 0.018103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-23_0_5_line_14 |  | 13 | 15 | 0.0071948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-23_0_5_line_15 |  | 14 | 16 | 0.00090166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-23_0_5_line_16 |  | 15 | 17 | 0.025032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-23_0_5_line_17 |  | 16 | 18 | 0.043463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_942-23_0_5_line_18 |  | 18 | 30 | 0.00038169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_942-23_0_5_line_19 |  | 19 | 20 | 0.018228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_942-23_0_5_line_20 |  | 19 | 21 | 0.020033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_942-23_0_5_line_21 |  | 20 | 33 | 0.039215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_942-23_0_5_line_22 |  | 21 | 34 | 0.027262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_942-23_0_5_line_23 |  | 22 | 23 | 0.03503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-23_0_5_line_24 |  | 23 | 26 | 0.012883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-23_0_5_line_25 |  | 24 | 25 | 0.043501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-23_0_5_line_26 |  | 25 | 70 | 0.020318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-23_0_5_line_27 |  | 25 | 69 | 0.018988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-23_0_5_line_28 |  | 26 | 82 | 0.074902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-23_0_5_line_29 |  | 27 | 28 | 0.016317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-23_0_5_line_30 |  | 28 | 29 | 0.013917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_942-23_0_5_line_31 |  | 28 | 30 | 0.027776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_942-23_0_5_line_32 |  | 29 | 31 | 0.018775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_942-23_0_5_line_33 |  | 31 | 32 | 0.0060384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_942-23_0_5_line_34 |  | 32 | 40 | 0.01628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_942-23_0_5_line_35 |  | 33 | 35 | 0.057556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_942-23_0_5_line_36 |  | 34 | 36 | 0.0076552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_942-23_0_5_line_37 |  | 35 | 37 | 0.054596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_942-23_0_5_line_38 |  | 36 | 45 | 0.019073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_942-23_0_5_line_39 |  | 37 | 38 | 0.030225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_942-23_0_5_line_40 |  | 38 | 39 | 0.059542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_942-23_0_5_line_41 |  | 39 | 53 | 0.04712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_942-23_0_5_line_42 |  | 40 | 41 | 0.0095031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_942-23_0_5_line_43 |  | 41 | 42 | 0.027589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_942-23_0_5_line_44 |  | 42 | 43 | 0.0048743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_942-23_0_5_line_45 |  | 43 | 44 | 0.015568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-23_0_5_line_46 |  | 43 | 45 | 0.012957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_942-23_0_5_line_47 |  | 44 | 47 | 0.0016886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-23_0_5_line_48 |  | 46 | 47 | 0.0040227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_942-23_0_5_line_49 |  | 46 | 48 | 0.0012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-23_0_5_line_50 |  | 48 | 49 | 0.0012839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_942-23_0_5_line_51 |  | 49 | 50 | 0.01903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-23_0_5_line_52 |  | 50 | 51 | 0.024355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-23_0_5_line_53 |  | 50 | 52 | 0.038609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-23_0_5_line_54 |  | 51 | 67 | 0.0087295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-23_0_5_line_55 |  | 52 | 63 | 0.037077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-23_0_5_line_56 |  | 53 | 54 | 0.020999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_942-23_0_5_line_57 |  | 54 | 55 | 0.015313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_942-23_0_5_line_58 |  | 54 | 56 | 0.023786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-23_0_5_line_59 |  | 55 | 57 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_942-23_0_5_line_60 |  | 56 | 58 | 0.0034724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-23_0_5_line_61 |  | 57 | 59 | 0.0099337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_942-23_0_5_line_62 |  | 58 | 60 | 0.015873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-23_0_5_line_63 |  | 58 | 61 | 0.029241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-23_0_5_line_64 |  | 59 | 64 | 0.0094424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_942-23_0_5_line_65 |  | 61 | 87 | 0.007235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-23_0_5_line_66 |  | 62 | 63 | 0.033525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-23_0_5_line_67 |  | 64 | 65 | 0.023278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_942-23_0_5_line_68 |  | 65 | 66 | 0.021856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_942-23_0_5_line_69 |  | 66 | 78 | 0.0041187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-23_0_5_line_70 |  | 67 | 91 | 0.011723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_942-23_0_5_line_71 |  | 68 | 69 | 0.0087492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-23_0_5_line_72 |  | 70 | 71 | 0.02976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-23_0_5_line_73 |  | 71 | 84 | 0.029292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-23_0_5_line_74 |  | 72 | 73 | 0.018357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_942-23_0_5_line_75 |  | 72 | 74 | 0.0089284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_942-23_0_5_line_76 |  | 73 | 75 | 0.0034356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_942-23_0_5_line_77 |  | 74 | 76 | 0.0087446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_942-23_0_5_line_78 |  | 75 | 77 | 0.025558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_942-23_0_5_line_79 |  | 76 | 78 | 0.017992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_942-23_0_5_line_80 |  | 77 | 79 | 0.0024191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_942-23_0_5_line_81 |  | 79 | 83 | 0.00018439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_942-23_0_5_line_82 |  | 80 | 81 | 0.0076461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_942-23_0_5_line_83 |  | 80 | 82 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_942-23_0_5_line_84 |  | 81 | 83 | 0.00053995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_942-23_0_5_line_85 |  | 84 | 85 | 0.017584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_942-23_0_5_line_86 |  | 85 | 86 | 0.036213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_942-23_0_5_line_87 |  | 86 | 89 | 0.01396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_942-23_0_5_line_88 |  | 87 | 88 | 0.028659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_942-23_0_5_line_89 |  | 88 | 90 | 0.0066142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_942-23_0_5_line_90 |  | 89 | 90 | 0.0088032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-23_0_5_trafo_84 | 0.63 MVA 20/0.4 kV | 92 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2615299.7971 | 1177469.181 | 2615299.2995 | 1177469.7218 | 2615290.94 | 1177466.6323 | 2615274.3902 | 1177483.9374
1 | 2615313.7511 | 1177454.0171 | 2615299.7971 | 1177469.181
2 | 2615313.7511 | 1177454.0171 | 2615301.5254 | 1177441.5628
3 | 2615313.7511 | 1177454.0171 | 2615326.3481 | 1177467.456 | 2615331.9503 | 1177473.0509 | 2615334.6497 | 1177475.2478 | 2615338.6634 | 1177477.4703 | 2615336.951 | 1177480.7565
4 | 2615336.951 | 1177480.7565 | 2615357.567 | 1177489.8915
5 | 2615336.951 | 1177480.7565 | 2615315.7499 | 1177518.3551 | 2615314.9183 | 1177519.7298
6 | 2615357.567 | 1177489.8915 | 2615367.0448 | 1177494.0912
7 | 2615313.8187 | 1177521.5476 | 2615314.9183 | 1177519.7298
8 | 2615313.8187 | 1177521.5476 | 2615311.9898 | 1177524.5709 | 2615303.2452 | 1177539.2112
9 | 2615287.6596 | 1177565.3046 | 2615302.2713 | 1177540.8417
10 | 2615283.2356 | 1177572.7113 | 2615287.6596 | 1177565.3046
11 | 2615302.2713 | 1177540.8417 | 2615303.2452 | 1177539.2112
12 | 2615283.2356 | 1177572.7113 | 2615276.8084 | 1177583.028
13 | 2615283.2356 | 1177572.7113 | 2615268.6381 | 1177562.0047
14 | 2615273.004 | 1177589.1347 | 2615276.8084 | 1177583.028
15 | 2615268.6381 | 1177562.0047 | 2615267.9111 | 1177561.4714
16 | 2615273.004 | 1177589.1347 | 2615259.7676 | 1177610.3813
17 | 2615232.9405 | 1177535.6628 | 2615254.7942 | 1177551.8508 | 2615267.9111 | 1177561.4714
18 | 2615232.9405 | 1177535.6628 | 2615232.6338 | 1177535.4356
19 | 2615234.7842 | 1177650.4838 | 2615224.9009 | 1177665.8002
20 | 2615234.7842 | 1177650.4838 | 2615226.7355 | 1177645.4609 | 2615218.4303 | 1177638.9629
21 | 2615224.9009 | 1177665.8002 | 2615210.4129 | 1177688.2526 | 2615204.5556 | 1177699.2886
22 | 2615218.4303 | 1177638.9629 | 2615215.0753 | 1177636.3379 | 2615203.6169 | 1177628.9496 | 2615195.0338 | 1177625.1961
23 | 2615477.4895 | 1177554.4616 | 2615507.7534 | 1177553.9313 | 2615512.4698 | 1177553.2764 | 2615512.4698 | 1177553.2764
24 | 2615464.6088 | 1177554.6874 | 2615477.4895 | 1177554.4616
25 | 2615449.8251 | 1177666.9734 | 2615459.5963 | 1177649.8342 | 2615463.8209 | 1177641.2629 | 2615468.6838 | 1177637.0955 | 2615475.2001 | 1177634.7332 | 2615476.0779 | 1177634.7986
26 | 2615449.8251 | 1177666.9734 | 2615433.5712 | 1177664.4638 | 2615429.7029 | 1177664.6132
27 | 2615449.8251 | 1177666.9734 | 2615460.4569 | 1177668.7794 | 2615468.5222 | 1177670.2788
28 | 2615391.1389 | 1177569.2621 | 2615464.6088 | 1177554.6874
29 | 2615208.0002 | 1177524.1516 | 2615204.5242 | 1177508.2088
30 | 2615208.0002 | 1177524.1516 | 2615202.8993 | 1177525.8285 | 2615198.2608 | 1177528.9072 | 2615196.3376 | 1177531.184
31 | 2615208.0002 | 1177524.1516 | 2615216.7471 | 1177525.1187 | 2615225.3235 | 1177530.0206 | 2615232.6338 | 1177535.4356
32 | 2615196.3376 | 1177531.184 | 2615191.7386 | 1177536.6281 | 2615185.615 | 1177546.5368
33 | 2615185.615 | 1177546.5368 | 2615182.4406 | 1177551.6734
34 | 2615174.2759 | 1177565.7365 | 2615176.0098 | 1177562.0792 | 2615182.4406 | 1177551.6734
35 | 2615179.2822 | 1177750.7577 | 2615180.7835 | 1177744.6956 | 2615186.2403 | 1177732.1474 | 2615191.3372 | 1177722.9222 | 2615197.1613 | 1177713.2208 | 2615204.5556 | 1177699.2886
36 | 2615195.0338 | 1177625.1961 | 2615188.0199 | 1177622.1288
37 | 2615173.9458 | 1177804.9091 | 2615174.177 | 1177782.9207 | 2615177.2865 | 1177758.8162 | 2615179.2822 | 1177750.7577
38 | 2615170.7001 | 1177614.1717 | 2615174.0857 | 1177616.0352 | 2615188.0199 | 1177622.1288
39 | 2615173.9458 | 1177804.9091 | 2615195.2641 | 1177804.885 | 2615203.9728 | 1177802.6392
40 | 2615203.9728 | 1177802.6392 | 2615213.6744 | 1177794.5262 | 2615216.4598 | 1177786.896 | 2615218.5385 | 1177768.6031 | 2615220.9434 | 1177748.3842
41 | 2615220.9434 | 1177748.3842 | 2615222.442 | 1177735.7851 | 2615224.3168 | 1177728.6528 | 2615227.366 | 1177722.4351 | 2615235.4711 | 1177717.2196 | 2615245.9485 | 1177716.6236
42 | 2615174.2759 | 1177565.7365 | 2615170.809 | 1177573.0495 | 2615170.3135 | 1177574.3694
43 | 2615161.7581 | 1177600.432 | 2615161.8529 | 1177597.5505 | 2615163.6339 | 1177591.2184 | 2615166.7318 | 1177583.9114 | 2615170.3135 | 1177574.3694
44 | 2615161.9403 | 1177605.2991 | 2615161.7205 | 1177601.5745 | 2615161.7581 | 1177600.432
45 | 2615161.9403 | 1177605.2991 | 2615154.8292 | 1177607.2267 | 2615146.9241 | 1177609.4066
46 | 2615161.9403 | 1177605.2991 | 2615165.28 | 1177611.1883 | 2615170.7001 | 1177614.1717
47 | 2615145.2963 | 1177609.8555 | 2615146.9241 | 1177609.4066
48 | 2615141.4184 | 1177610.925 | 2615145.2963 | 1177609.8555
49 | 2615141.4184 | 1177610.925 | 2615140.2167 | 1177611.2563
50 | 2615138.979 | 1177611.5977 | 2615140.2167 | 1177611.2563
51 | 2615120.634 | 1177616.6566 | 2615138.979 | 1177611.5977
52 | 2615120.634 | 1177616.6566 | 2615117.4253 | 1177604.2423 | 2615115.8092 | 1177596.6121 | 2615115.1494 | 1177592.9378
53 | 2615120.634 | 1177616.6566 | 2615127.3699 | 1177642.4089 | 2615130.2027 | 1177654.0602
54 | 2615115.1494 | 1177592.9378 | 2615114.5809 | 1177589.7722 | 2615114.4067 | 1177584.2617
55 | 2615138.9389 | 1177690.0935 | 2615136.9219 | 1177681.6974 | 2615130.2027 | 1177654.0602
56 | 2615264.216 | 1177726.5972 | 2615257.0091 | 1177721.0872 | 2615245.9485 | 1177716.6236 | 2615245.9485 | 1177716.6236
57 | 2615264.216 | 1177726.5972 | 2615273.7286 | 1177714.5974
58 | 2615264.216 | 1177726.5972 | 2615283.3898 | 1177740.673
59 | 2615283.2766 | 1177699.92 | 2615274.9018 | 1177713.1174 | 2615273.7286 | 1177714.5974
60 | 2615286.1889 | 1177742.7278 | 2615283.3898 | 1177740.673
61 | 2615283.2766 | 1177699.92 | 2615288.5991 | 1177691.5325
62 | 2615286.1889 | 1177742.7278 | 2615278.2074 | 1177756.4479
63 | 2615286.1889 | 1177742.7278 | 2615306.4363 | 1177758.2761 | 2615309.8687 | 1177759.6911
64 | 2615288.5991 | 1177691.5325 | 2615293.6583 | 1177683.5599
65 | 2615316.5577 | 1177762.4484 | 2615309.8687 | 1177759.6911
66 | 2615146.0072 | 1177722.8577 | 2615145.7175 | 1177720.9174 | 2615141.5876 | 1177701.1191 | 2615138.9389 | 1177690.0935
67 | 2615305.2716 | 1177663.4136 | 2615300.3415 | 1177673.0282 | 2615293.6583 | 1177683.5599
68 | 2615325.5337 | 1177655.5318 | 2615323.0321 | 1177656.433 | 2615311.2863 | 1177659.9716 | 2615305.2716 | 1177663.4136 | 2615305.2716 | 1177663.4136
69 | 2615329.4087 | 1177654.136 | 2615325.5337 | 1177655.5318
70 | 2615115.7923 | 1177572.7383 | 2615114.234 | 1177578.799 | 2615114.4067 | 1177584.2617
71 | 2615477.1241 | 1177671.8779 | 2615468.5222 | 1177670.2788
72 | 2615429.7029 | 1177664.6132 | 2615420.0756 | 1177664.985 | 2615407.4226 | 1177667.6874 | 2615400.9204 | 1177670.7497
73 | 2615375.0267 | 1177684.3866 | 2615388.2891 | 1177676.6986 | 2615400.9204 | 1177670.7497
74 | 2615360.0529 | 1177636.3136 | 2615367.6754 | 1177631.0004 | 2615372.9632 | 1177624.9886 | 2615373.5551 | 1177624.1105
75 | 2615360.0529 | 1177636.3136 | 2615353.6442 | 1177640.7807 | 2615352.7454 | 1177641.443
76 | 2615373.5551 | 1177624.1105 | 2615375.4755 | 1177621.2617
77 | 2615352.7454 | 1177641.443 | 2615345.7054 | 1177646.6301 | 2615345.7054 | 1177646.6301
78 | 2615384.955 | 1177597.7712 | 2615384.3499 | 1177600.5608 | 2615381.8658 | 1177609.7925 | 2615377.2048 | 1177618.6962 | 2615375.4755 | 1177621.2617
79 | 2615329.4087 | 1177654.136 | 2615336.6993 | 1177651.5097 | 2615345.7054 | 1177646.6301
80 | 2615385.4678 | 1177595.4071 | 2615384.955 | 1177597.7712
81 | 2615385.5068 | 1177595.2269 | 2615385.4678 | 1177595.4071
82 | 2615387.2421 | 1177587.2269 | 2615385.6213 | 1177594.6992
83 | 2615391.1389 | 1177569.2621 | 2615387.2421 | 1177587.2269
84 | 2615385.6213 | 1177594.6992 | 2615385.5068 | 1177595.2269
85 | 2615360.3928 | 1177694.1141 | 2615360.3928 | 1177694.1141 | 2615364.4422 | 1177691.2674 | 2615370.9334 | 1177686.7594 | 2615375.0267 | 1177684.3866
86 | 2615360.3928 | 1177694.1141 | 2615357.0803 | 1177698.6301 | 2615353.4316 | 1177706.158 | 2615352.6312 | 1177711.392 | 2615353.0471 | 1177728.3389
87 | 2615352.2085 | 1177742.1628 | 2615353.2818 | 1177737.9072 | 2615353.0471 | 1177728.3389
88 | 2615316.5577 | 1177762.4484 | 2615328.6248 | 1177761.6787 | 2615339.2708 | 1177757.8594 | 2615343.1173 | 1177754.2753
89 | 2615347.9564 | 1177749.7663 | 2615347.9564 | 1177749.7663 | 2615343.1173 | 1177754.2753
90 | 2615347.9564 | 1177749.7663 | 2615351.7071 | 1177744.1508 | 2615352.2085 | 1177742.1628

## bus_geodata
| x | y | coords
0 | 2615299.7971 | 1177469.181
1 | 2615274.3902 | 1177483.9374
2 | 2615313.7511 | 1177454.0171
3 | 2615301.5254 | 1177441.5628
4 | 2615336.951 | 1177480.7565
5 | 2615357.567 | 1177489.8915
6 | 2615314.9183 | 1177519.7298
7 | 2615367.0448 | 1177494.0912
8 | 2615313.8187 | 1177521.5476
9 | 2615287.6596 | 1177565.3046
10 | 2615302.2713 | 1177540.8417
11 | 2615283.2356 | 1177572.7113
12 | 2615303.2452 | 1177539.2112
13 | 2615276.8084 | 1177583.028
14 | 2615268.6381 | 1177562.0047
15 | 2615273.004 | 1177589.1347
16 | 2615267.9111 | 1177561.4714
17 | 2615259.7676 | 1177610.3813
18 | 2615232.9405 | 1177535.6628
19 | 2615234.7842 | 1177650.4838
20 | 2615224.9009 | 1177665.8002
21 | 2615218.4303 | 1177638.9629
22 | 2615512.4698 | 1177553.2764
23 | 2615477.4895 | 1177554.4616
24 | 2615476.0779 | 1177634.7986
25 | 2615449.8251 | 1177666.9734
26 | 2615464.6088 | 1177554.6874
27 | 2615204.5242 | 1177508.2088
28 | 2615208.0002 | 1177524.1516
29 | 2615196.3376 | 1177531.184
30 | 2615232.6338 | 1177535.4356
31 | 2615185.615 | 1177546.5368
32 | 2615182.4406 | 1177551.6734
33 | 2615204.5556 | 1177699.2886
34 | 2615195.0338 | 1177625.1961
35 | 2615179.2822 | 1177750.7577
36 | 2615188.0199 | 1177622.1288
37 | 2615173.9458 | 1177804.9091
38 | 2615203.9728 | 1177802.6392
39 | 2615220.9434 | 1177748.3842
40 | 2615174.2759 | 1177565.7365
41 | 2615170.3135 | 1177574.3694
42 | 2615161.7581 | 1177600.432
43 | 2615161.9403 | 1177605.2991
44 | 2615146.9241 | 1177609.4066
45 | 2615170.7001 | 1177614.1717
46 | 2615141.4184 | 1177610.925
47 | 2615145.2963 | 1177609.8555
48 | 2615140.2167 | 1177611.2563
49 | 2615138.979 | 1177611.5977
50 | 2615120.634 | 1177616.6566
51 | 2615115.1494 | 1177592.9378
52 | 2615130.2027 | 1177654.0602
53 | 2615245.9485 | 1177716.6236
54 | 2615264.216 | 1177726.5972
55 | 2615273.7286 | 1177714.5974
56 | 2615283.3898 | 1177740.673
57 | 2615283.2766 | 1177699.92
58 | 2615286.1889 | 1177742.7278
59 | 2615288.5991 | 1177691.5325
60 | 2615278.2074 | 1177756.4479
61 | 2615309.8687 | 1177759.6911
62 | 2615146.0072 | 1177722.8577
63 | 2615138.9389 | 1177690.0935
64 | 2615293.6583 | 1177683.5599
65 | 2615305.2716 | 1177663.4136
66 | 2615325.5337 | 1177655.5318
67 | 2615114.4067 | 1177584.2617
68 | 2615477.1241 | 1177671.8779
69 | 2615468.5222 | 1177670.2788
70 | 2615429.7029 | 1177664.6132
71 | 2615400.9204 | 1177670.7497
72 | 2615360.0529 | 1177636.3136
73 | 2615373.5551 | 1177624.1105
74 | 2615352.7454 | 1177641.443
75 | 2615375.4755 | 1177621.2617
76 | 2615345.7054 | 1177646.6301
77 | 2615384.955 | 1177597.7712
78 | 2615329.4087 | 1177654.136
79 | 2615385.4678 | 1177595.4071
80 | 2615387.2421 | 1177587.2269
81 | 2615385.6213 | 1177594.6992
82 | 2615391.1389 | 1177569.2621
83 | 2615385.5068 | 1177595.2269
84 | 2615375.0267 | 1177684.3866
85 | 2615360.3928 | 1177694.1141
86 | 2615353.047 | 1177728.3389
87 | 2615316.5577 | 1177762.4484
88 | 2615343.1173 | 1177754.2753
89 | 2615352.2085 | 1177742.1628
90 | 2615347.9564 | 1177749.7663
91 | 2615115.7923 | 1177572.7383
92 | 2615264.216 | 1177726.5972

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1