## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-24_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-24_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-24_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-24_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-24_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_942-24_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_942-24_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_942-24_0_5_node_66 | 0.4 | n |  | TRUE
8 | bus_LV_942-24_0_5_node_95 | 0.4 | n |  | TRUE
9 | bus_LV_942-24_0_5_node_92 | 0.4 | n |  | TRUE
10 | bus_LV_942-24_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_942-24_0_5_node_100 | 0.4 | n |  | TRUE
12 | bus_LV_942-24_0_5_node_81 | 0.4 | n |  | TRUE
13 | bus_LV_942-24_0_5_node_119 | 0.4 | n |  | TRUE
14 | bus_LV_942-24_0_5_node_63 | 0.4 | n |  | TRUE
15 | bus_LV_942-24_0_5_node_97 | 0.4 | n |  | TRUE
16 | bus_LV_942-24_0_5_node_93 | 0.4 | n |  | TRUE
17 | bus_LV_942-24_0_5_node_80 | 0.4 | n |  | TRUE
18 | bus_LV_942-24_0_5_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_942-24_0_5_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_942-24_0_5_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_942-24_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_942-24_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_942-24_0_5_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_942-24_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_942-24_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_942-24_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_942-24_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_942-24_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_942-24_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_942-24_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_942-24_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_942-24_0_5_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_942-24_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_942-24_0_5_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_942-24_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_942-24_0_5_node_84 | 0.4 | n |  | TRUE
37 | bus_LV_942-24_0_5_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_942-24_0_5_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_942-24_0_5_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_942-24_0_5_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_942-24_0_5_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_942-24_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_942-24_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_942-24_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_942-24_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_942-24_0_5_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_942-24_0_5_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_942-24_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_942-24_0_5_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_942-24_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_942-24_0_5_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_942-24_0_5_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_942-24_0_5_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_942-24_0_5_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_942-24_0_5_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_942-24_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_942-24_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_942-24_0_5_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_942-24_0_5_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_942-24_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_942-24_0_5_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_942-24_0_5_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_942-24_0_5_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_942-24_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_942-24_0_5_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_942-24_0_5_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_942-24_0_5_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_942-24_0_5_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_942-24_0_5_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_942-24_0_5_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_942-24_0_5_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_942-24_0_5_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_942-24_0_5_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_942-24_0_5_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_942-24_0_5_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_942-24_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_942-24_0_5_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_942-24_0_5_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_942-24_0_5_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_942-24_0_5_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_942-24_0_5_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_942-24_0_5_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_942-24_0_5_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_942-24_0_5_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_942-24_0_5_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_942-24_0_5_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_942-24_0_5_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_942-24_0_5_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_942-24_0_5_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_942-24_0_5_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_942-24_0_5_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_942-24_0_5_node_118 | 0.4 | n |  | TRUE
93 | bus_LV_942-24_0_5_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_942-24_0_5_node_117 | 0.4 | n |  | TRUE
95 | bus_LV_942-24_0_5_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_942-24_0_5_node_103 | 0.4 | n |  | TRUE
97 | bus_LV_942-24_0_5_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_942-24_0_5_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_942-24_0_5_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_942-24_0_5_node_107 | 0.4 | n |  | TRUE
101 | bus_LV_942-24_0_5_node_108 | 0.4 | n |  | TRUE
102 | bus_LV_942-24_0_5_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_942-24_0_5_node_102 | 0.4 | n |  | TRUE
104 | bus_LV_942-24_0_5_node_116 | 0.4 | n |  | TRUE
105 | bus_LV_942-24_0_5_node_115 | 0.4 | n |  | TRUE
106 | bus_LV_942-24_0_5_node_114 | 0.4 | n |  | TRUE
107 | bus_LV_942-24_0_5_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_942-24_0_5_node_104 | 0.4 | n |  | TRUE
109 | bus_LV_942-24_0_5_node_105 | 0.4 | n |  | TRUE
110 | bus_LV_942-24_0_5_node_109 | 0.4 | n |  | TRUE
111 | bus_LV_942-24_0_5_node_110 | 0.4 | n |  | TRUE
112 | bus_LV_942-24_0_5_node_113 | 0.4 | n |  | TRUE
113 | bus_LV_942-24_0_5_node_111 | 0.4 | n |  | TRUE
114 | bus_LV_942-24_0_5_node_112 | 0.4 | n |  | TRUE
115 | bus_MV_208_1_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-24_0_5_load_0 | 0 | 0.0082385 | 0.0020648 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-24_0_5_load_6 | 5 | 0.0068262 | 0.0017108 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-24_0_5_load_66 | 7 | 0.0028187 | 0.00070642 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-24_0_5_load_92 | 9 | 0.0044394 | 0.0011126 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-24_0_5_load_100 | 11 | 0.0011009 | 0.00027592 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-24_0_5_load_119 | 13 | 0.023337 | 0.0058487 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-24_0_5_load_63 | 14 | 0.0048501 | 0.0012156 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-24_0_5_load_97 | 15 | 0.0015669 | 0.00039269 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-24_0_5_load_80 | 17 | 0.0030911 | 0.0007747 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-24_0_5_load_8 | 20 | 0.0084376 | 0.0021147 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-24_0_5_load_9 | 21 | 0.0082284 | 0.0020622 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-24_0_5_load_10 | 22 | 0.0024899 | 0.00062403 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-24_0_5_load_11 | 23 | 0.0084429 | 0.002116 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-24_0_5_load_12 | 24 | 0.0092215 | 0.0023111 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-24_0_5_load_13 | 27 | 0.010337 | 0.0025906 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-24_0_5_load_14 | 28 | 0.014619 | 0.0036639 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-24_0_5_load_16 | 30 | 0.0029606 | 0.00074201 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-24_0_5_load_17 | 31 | 0.0037991 | 0.00095215 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-24_0_5_load_53 | 34 | 0.0079171 | 0.0019842 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-24_0_5_load_84 | 36 | 0.010194 | 0.0025549 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-24_0_5_load_72 | 37 | 0.0094339 | 0.0023644 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-24_0_5_load_85 | 38 | 0.010011 | 0.002509 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-24_0_5_load_70 | 39 | 0.016031 | 0.0040179 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-24_0_5_load_21 | 40 | 0.0035928 | 0.00090044 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-24_0_5_load_22 | 41 | 0.0017073 | 0.00042788 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-24_0_5_load_23 | 42 | 0.0034284 | 0.00085924 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-24_0_5_load_24 | 43 | 0.0021298 | 0.00053378 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-24_0_5_load_25 | 44 | 0.0016165 | 0.00040513 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-24_0_5_load_26 | 45 | 0.0017535 | 0.00043946 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-24_0_5_load_29 | 46 | 0.0026189 | 0.00065635 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-24_0_5_load_27 | 47 | 0.003838 | 0.00096188 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-24_0_5_load_30 | 48 | 0.0028869 | 0.00072354 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-24_0_5_load_28 | 49 | 0.0018572 | 0.00046546 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-24_0_5_load_43 | 50 | 0.0028445 | 0.0007129 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-24_0_5_load_41 | 51 | 0.0023044 | 0.00057753 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-24_0_5_load_34 | 52 | 0.0057977 | 0.0014531 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-24_0_5_load_32 | 53 | 0.0014411 | 0.00036117 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-24_0_5_load_33 | 54 | 0.004391 | 0.0011005 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-24_0_5_load_35 | 55 | 0.0096814 | 0.0024264 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-24_0_5_load_48 | 56 | 0.0041303 | 0.0010351 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-24_0_5_load_36 | 57 | 0.0026669 | 0.00066839 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-24_0_5_load_37 | 58 | 0.0018071 | 0.00045291 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-24_0_5_load_38 | 59 | 0.0039349 | 0.00098617 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-24_0_5_load_39 | 60 | 0.0026792 | 0.00067146 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-24_0_5_load_42 | 61 | 0.0059364 | 0.0014878 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-24_0_5_load_40 | 62 | 0.0018745 | 0.00046979 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-24_0_5_load_52 | 63 | 0.0095153 | 0.0023848 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-24_0_5_load_49 | 64 | 0.0093727 | 0.002349 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-24_0_5_load_50 | 65 | 0.0099256 | 0.0024876 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-24_0_5_load_51 | 66 | 0.0053226 | 0.001334 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-24_0_5_load_54 | 67 | 0.010005 | 0.0025075 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-24_0_5_load_55 | 68 | 0.009548 | 0.002393 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-24_0_5_load_57 | 70 | 0.011668 | 0.0029242 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-24_0_5_load_58 | 71 | 0.011945 | 0.0029936 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-24_0_5_load_59 | 72 | 0.0073723 | 0.0018477 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-24_0_5_load_73 | 73 | 0.0098033 | 0.0024569 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-24_0_5_load_78 | 74 | 0.012532 | 0.0031408 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-24_0_5_load_86 | 75 | 0.0086843 | 0.0021765 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-24_0_5_load_71 | 76 | 0.0066628 | 0.0016699 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-24_0_5_load_79 | 77 | 0.073933 | 0.018529 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-24_0_5_load_60 | 78 | 0.01071 | 0.0026841 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-24_0_5_load_61 | 79 | 0.0099301 | 0.0024887 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-24_0_5_load_65 | 82 | 0.0077619 | 0.0019453 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-24_0_5_load_87 | 83 | 0.0063181 | 0.0015835 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-24_0_5_load_77 | 86 | 0.0063483 | 0.001591 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-24_0_5_load_74 | 87 | 0.011652 | 0.0029203 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_942-24_0_5_load_67 | 88 | 0.016165 | 0.0040514 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_942-24_0_5_load_91 | 90 | 0.011594 | 0.0029057 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_942-24_0_5_load_88 | 91 | 0.011598 | 0.0029067 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_942-24_0_5_load_118 | 92 | 0.011596 | 0.0029062 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_942-24_0_5_load_117 | 94 | 0.011598 | 0.0029066 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_942-24_0_5_load_94 | 95 | 0.004356 | 0.0010917 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_942-24_0_5_load_103 | 96 | 0.0055518 | 0.0013914 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_942-24_0_5_load_96 | 97 | 0.00038428 | 9.631e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_942-24_0_5_load_98 | 98 | 0.00089892 | 0.00022529 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_942-24_0_5_load_99 | 99 | 0.00094683 | 0.0002373 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_942-24_0_5_load_107 | 100 | 0.00041245 | 0.00010337 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_942-24_0_5_load_108 | 101 | 0.00029622 | 7.4239e-05 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_942-24_0_5_load_101 | 102 | 0.00050293 | 0.00012605 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_942-24_0_5_load_116 | 104 | 0.0015314 | 0.00038379 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_942-24_0_5_load_115 | 105 | 0.00063654 | 0.00015953 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_942-24_0_5_load_106 | 107 | 0.00067333 | 0.00016875 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_942-24_0_5_load_104 | 108 | 0.00052062 | 0.00013048 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_942-24_0_5_load_105 | 109 | 0.0012445 | 0.00031191 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_942-24_0_5_load_110 | 111 | 0.00080711 | 0.00020228 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_942-24_0_5_load_113 | 112 | 0.00058003 | 0.00014537 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_942-24_0_5_load_111 | 113 | 0.00045216 | 0.00011332 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_942-24_0_5_load_112 | 114 | 0.0014021 | 0.00035139 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-24_0_5_line_0 |  | 0 | 1 | 0.0275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-24_0_5_line_1 |  | 0 | 2 | 0.0015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-24_0_5_line_2 |  | 1 | 3 | 0.021939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-24_0_5_line_3 |  | 1 | 4 | 0.058696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-24_0_5_line_4 |  | 2 | 5 | 0.033944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-24_0_5_line_5 |  | 2 | 6 | 0.066865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-24_0_5_line_6 |  | 3 | 7 | 0.028437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-24_0_5_line_7 |  | 4 | 8 | 0.014381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-24_0_5_line_8 |  | 4 | 9 | 0.027007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-24_0_5_line_9 |  | 6 | 12 | 0.022739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-24_0_5_line_10 |  | 6 | 13 | 0.009232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-24_0_5_line_11 |  | 7 | 14 | 0.0069737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-24_0_5_line_12 |  | 8 | 15 | 0.022501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-24_0_5_line_13 |  | 8 | 10 | 0.004642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-24_0_5_line_14 |  | 9 | 16 | 0.031584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-24_0_5_line_15 |  | 10 | 11 | 0.044162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-24_0_5_line_16 |  | 12 | 17 | 0.010857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-24_0_5_line_17 |  | 14 | 79 | 0.033551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_942-24_0_5_line_18 |  | 15 | 97 | 0.032313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-24_0_5_line_19 |  | 16 | 95 | 0.020155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_942-24_0_5_line_20 |  | 17 | 18 | 0.0086782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-24_0_5_line_21 |  | 18 | 19 | 0.015939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-24_0_5_line_22 |  | 19 | 92 | 0.006734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-24_0_5_line_23 |  | 19 | 93 | 0.002826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-24_0_5_line_24 |  | 20 | 21 | 0.050779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-24_0_5_line_25 |  | 20 | 22 | 0.041596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-24_0_5_line_26 |  | 21 | 23 | 0.027483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-24_0_5_line_27 |  | 22 | 24 | 0.033293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-24_0_5_line_28 |  | 24 | 25 | 0.043076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-24_0_5_line_29 |  | 25 | 26 | 0.042881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-24_0_5_line_30 |  | 26 | 37 | 0.021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-24_0_5_line_31 |  | 27 | 28 | 0.041337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-24_0_5_line_32 |  | 27 | 29 | 0.0273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-24_0_5_line_33 |  | 29 | 30 | 0.022534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-24_0_5_line_34 |  | 29 | 31 | 0.005626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_942-24_0_5_line_35 |  | 30 | 32 | 0.01224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-24_0_5_line_36 |  | 31 | 33 | 0.018138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_942-24_0_5_line_37 |  | 32 | 34 | 0.023716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-24_0_5_line_38 |  | 32 | 35 | 0.004714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-24_0_5_line_39 |  | 33 | 36 | 0.022343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_942-24_0_5_line_40 |  | 34 | 63 | 0.038486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_942-24_0_5_line_41 |  | 35 | 52 | 0.0021923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-24_0_5_line_42 |  | 35 | 48 | 0.015359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-24_0_5_line_43 |  | 36 | 38 | 0.015167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_942-24_0_5_line_44 |  | 37 | 39 | 0.032215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-24_0_5_line_45 |  | 38 | 75 | 0.023147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_942-24_0_5_line_46 |  | 39 | 89 | 0.01684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_942-24_0_5_line_47 |  | 40 | 41 | 0.010419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-24_0_5_line_48 |  | 40 | 42 | 0.0041483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_942-24_0_5_line_49 |  | 41 | 43 | 0.0066533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-24_0_5_line_50 |  | 42 | 44 | 0.01199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_942-24_0_5_line_51 |  | 43 | 45 | 0.016524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-24_0_5_line_52 |  | 44 | 46 | 0.0079097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-24_0_5_line_53 |  | 45 | 47 | 0.0070823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-24_0_5_line_54 |  | 46 | 48 | 0.036745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-24_0_5_line_55 |  | 47 | 49 | 0.023263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-24_0_5_line_56 |  | 49 | 50 | 0.0048035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-24_0_5_line_57 |  | 50 | 51 | 0.016293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-24_0_5_line_58 |  | 51 | 62 | 0.00032699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-24_0_5_line_59 |  | 52 | 53 | 0.01988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-24_0_5_line_60 |  | 53 | 54 | 0.0033184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-24_0_5_line_61 |  | 54 | 55 | 0.018838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-24_0_5_line_62 |  | 55 | 56 | 0.00054438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-24_0_5_line_63 |  | 57 | 58 | 0.017998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-24_0_5_line_64 |  | 57 | 59 | 0.014119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-24_0_5_line_65 |  | 58 | 60 | 3.5416e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-24_0_5_line_66 |  | 59 | 61 | 0.047137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-24_0_5_line_67 |  | 61 | 62 | 0.0067756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-24_0_5_line_68 |  | 63 | 65 | 0.037406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-24_0_5_line_69 |  | 64 | 65 | 0.036055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-24_0_5_line_70 |  | 64 | 66 | 0.0098191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_942-24_0_5_line_71 |  | 67 | 68 | 0.023146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_942-24_0_5_line_72 |  | 67 | 69 | 0.020151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_942-24_0_5_line_73 |  | 68 | 70 | 0.0070525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-24_0_5_line_74 |  | 69 | 71 | 0.013588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_942-24_0_5_line_75 |  | 69 | 72 | 0.024408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_942-24_0_5_line_76 |  | 70 | 73 | 0.011117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_942-24_0_5_line_77 |  | 71 | 74 | 0.021903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_942-24_0_5_line_78 |  | 72 | 75 | 0.01183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_942-24_0_5_line_79 |  | 73 | 76 | 0.020998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_942-24_0_5_line_80 |  | 74 | 77 | 0.014089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_942-24_0_5_line_81 |  | 76 | 89 | 0.007386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_942-24_0_5_line_82 |  | 77 | 81 | 0.01291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_942-24_0_5_line_83 |  | 78 | 79 | 0.021779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_942-24_0_5_line_84 |  | 78 | 80 | 0.060526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_942-24_0_5_line_85 |  | 80 | 81 | 0.01478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_942-24_0_5_line_86 |  | 80 | 82 | 0.013311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_942-24_0_5_line_87 |  | 82 | 83 | 0.014987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_942-24_0_5_line_88 |  | 83 | 86 | 0.015047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_942-24_0_5_line_89 |  | 84 | 85 | 0.033542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_942-24_0_5_line_90 |  | 84 | 86 | 0.01955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_942-24_0_5_line_91 |  | 84 | 87 | 0.017504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_942-24_0_5_line_92 |  | 85 | 90 | 0.013976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_942-24_0_5_line_93 |  | 85 | 91 | 0.0072301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_942-24_0_5_line_94 |  | 88 | 89 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_942-24_0_5_line_95 |  | 93 | 94 | 0.021774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_942-24_0_5_line_96 |  | 95 | 96 | 0.026275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_942-24_0_5_line_97 |  | 97 | 98 | 0.043632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_942-24_0_5_line_98 |  | 98 | 99 | 0.00095311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_942-24_0_5_line_99 |  | 99 | 100 | 0.0047511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_942-24_0_5_line_100 |  | 100 | 101 | 0.017464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_942-24_0_5_line_101 |  | 101 | 110 | 0.029256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_942-24_0_5_line_102 |  | 102 | 103 | 0.020859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_942-24_0_5_line_103 |  | 103 | 104 | 0.052444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_942-24_0_5_line_104 |  | 103 | 105 | 0.089913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_942-24_0_5_line_105 |  | 104 | 106 | 0.045087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_942-24_0_5_line_106 |  | 105 | 107 | 0.0016664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_942-24_0_5_line_107 |  | 106 | 114 | 0.018242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_942-24_0_5_line_108 |  | 107 | 109 | 0.0039874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_942-24_0_5_line_109 |  | 108 | 109 | 0.013383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_942-24_0_5_line_110 |  | 110 | 111 | 0.01805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_942-24_0_5_line_111 |  | 111 | 112 | 0.034181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_942-24_0_5_line_112 |  | 112 | 113 | 0.072052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_942-24_0_5_line_113 |  | 113 | 114 | 0.014665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-24_0_5_trafo_55 | 0.63 MVA 20/0.4 kV | 115 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2613259.595 | 1175785.2746 | 2613266.9495 | 1175781.1665 | 2613272.4608 | 1175777.5434 | 2613282.8887 | 1175770.6871
1 | 2613284.1724 | 1175769.8431 | 2613282.8887 | 1175770.6871
2 | 2613259.595 | 1175785.2746 | 2613260.5688 | 1175790.8574 | 2613260.3672 | 1175795.6149 | 2613258.0341 | 1175806.8821
3 | 2613226.3513 | 1175740.9346 | 2613228.4787 | 1175743.2849 | 2613229.5423 | 1175746.2665 | 2613229.3748 | 1175749.4233 | 2613228.0156 | 1175752.2885 | 2613236.7649 | 1175760.4229 | 2613242.662 | 1175765.6163 | 2613252.5093 | 1175774.9427 | 2613256.9319 | 1175779.7771 | 2613259.595 | 1175785.2746
4 | 2613284.1724 | 1175769.8431 | 2613298.9056 | 1175792.2203 | 2613302.7133 | 1175798.2745
5 | 2613284.1724 | 1175769.8431 | 2613293.0755 | 1175763.6485 | 2613318.2233 | 1175746.1284 | 2613327.922 | 1175760.3904 | 2613328.6382 | 1175761.437 | 2613331.8504 | 1175767.4916
6 | 2613258.0341 | 1175806.8821 | 2613264.1362 | 1175809.1856 | 2613267.5327 | 1175811.372 | 2613269.3692 | 1175813.9218 | 2613275.4322 | 1175827.349
7 | 2613226.3513 | 1175740.9346 | 2613223.7706 | 1175739.6505 | 2613220.8973 | 1175739.3441 | 2613218.1058 | 1175740.0605 | 2613215.7327 | 1175741.7006 | 2613214.0842 | 1175744.0537
8 | 2613226.3513 | 1175740.9346 | 2613234.2009 | 1175727.1782 | 2613242.1197 | 1175719.302
9 | 2613331.8504 | 1175767.4916 | 2613332.8779 | 1175769.4393 | 2613336.7647 | 1175778.0523 | 2613341.9836 | 1175775.318 | 2613347.0463 | 1175774.1508
10 | 2613323.1071 | 1175770.5294 | 2613331.8504 | 1175767.4916
11 | 2613278.3021 | 1175833.7048 | 2613275.4322 | 1175827.349
12 | 2613214.0842 | 1175744.0537 | 2613208.7176 | 1175737.4497 | 2613196.2804 | 1175731.0402
13 | 2613214.0842 | 1175744.0537 | 2613213.422 | 1175746.2756 | 2613213.4245 | 1175748.599
14 | 2613264.513 | 1175697.0295 | 2613242.1197 | 1175719.302
15 | 2613213.4245 | 1175748.599 | 2613208.4765 | 1175749.8222 | 2613202.3044 | 1175751.4873 | 2613171.3709 | 1175762.0027
16 | 2613347.0463 | 1175774.1508 | 2613350.6562 | 1175780.0729 | 2613349.8298 | 1175783.9064
17 | 2613278.3021 | 1175833.7048 | 2613292.1098 | 1175864.2834
18 | 2613167.5574 | 1175716.2378 | 2613196.2804 | 1175731.0402
19 | 2613264.513 | 1175697.0295 | 2613260.3616 | 1175693.9855 | 2613248.6254 | 1175684.6324
20 | 2613342.2153 | 1175788.0694 | 2613349.8298 | 1175783.9064
21 | 2613342.2153 | 1175788.0694 | 2613344.051 | 1175790.9305 | 2613349.1627 | 1175795.2329 | 2613351.5049 | 1175800.6186
22 | 2613345.399 | 1175803.4954 | 2613351.5049 | 1175800.6186
23 | 2613352.6304 | 1175803.2113 | 2613351.5049 | 1175800.6186
24 | 2613100.5489 | 1175993.5415 | 2613088.6637 | 1175996.0748 | 2613092.9931 | 1176034.4585
25 | 2613100.5489 | 1175993.5415 | 2613141.2311 | 1175984.8701
26 | 2613092.9931 | 1176034.4585 | 2613096.0735 | 1176061.7685
27 | 2613141.2311 | 1175984.8701 | 2613173.793 | 1175977.9296
28 | 2613215.9222 | 1175968.9498 | 2613173.793 | 1175977.9296
29 | 2613220.8458 | 1175926.539 | 2613218.6779 | 1175935.7056 | 2613216.8914 | 1175945.2621 | 2613215.9525 | 1175955.1206 | 2613215.9222 | 1175968.9498
30 | 2613220.8458 | 1175926.539 | 2613233.4469 | 1175931.2913 | 2613241.6401 | 1175931.5094 | 2613241.6401 | 1175931.5094
31 | 2613210.0351 | 1176047.1275 | 2613169.8002 | 1176056.6098
32 | 2613236.6075 | 1176040.8651 | 2613210.0351 | 1176047.1275
33 | 2613236.6075 | 1176040.8651 | 2613246.9645 | 1176060.8784
34 | 2613236.6075 | 1176040.8651 | 2613234.1145 | 1176035.8215
35 | 2613252.5902 | 1176071.7492 | 2613246.9645 | 1176060.8784
36 | 2613226.734 | 1176019.2546 | 2613233.4115 | 1176034.3992 | 2613234.1145 | 1176035.8215
37 | 2613252.5902 | 1176071.7492 | 2613229.9811 | 1176078.9108
38 | 2613252.5902 | 1176071.7492 | 2613254.744 | 1176075.945
39 | 2613226.734 | 1176019.2546 | 2613246.2051 | 1176008.2954
40 | 2613193.2918 | 1176090.5325 | 2613229.9811 | 1176078.9108
41 | 2613254.744 | 1176075.945 | 2613255.7292 | 1176077.9034
42 | 2613254.744 | 1176075.945 | 2613240.2672 | 1176081.0739
43 | 2613246.2051 | 1176008.2954 | 2613259.4226 | 1176000.856
44 | 2613241.6401 | 1175931.5094 | 2613252.5205 | 1175926.2195 | 2613260.943 | 1175919.5013 | 2613262.1911 | 1175911.5333 | 2613262.3992 | 1175910.2723
45 | 2613279.4676 | 1175989.2866 | 2613272.26 | 1175993.6305 | 2613259.4226 | 1176000.856
46 | 2613264.2791 | 1175893.551 | 2613263.4383 | 1175903.9767 | 2613262.3992 | 1175910.2723
47 | 2613188.9356 | 1176121.2829 | 2613198.6535 | 1176117.5258
48 | 2613202.5228 | 1176116.0299 | 2613198.6535 | 1176117.5258
49 | 2613188.9356 | 1176121.2829 | 2613182.7299 | 1176123.6821
50 | 2613213.7059 | 1176111.7064 | 2613202.5228 | 1176116.0299
51 | 2613182.7299 | 1176123.6821 | 2613167.3172 | 1176129.6408
52 | 2613216.4377 | 1176104.2833 | 2613213.7059 | 1176111.7064 | 2613213.7059 | 1176111.7064
53 | 2613160.7114 | 1176132.1947 | 2613167.3172 | 1176129.6408
54 | 2613216.4377 | 1176104.2833 | 2613222.6866 | 1176087.3025 | 2613240.2672 | 1176081.0739
55 | 2613139.0135 | 1176140.5834 | 2613160.7114 | 1176132.1947
56 | 2613139.0135 | 1176140.5834 | 2613134.5331 | 1176142.3156 | 2613134.5331 | 1176142.3156
57 | 2613141.4258 | 1176157.0789 | 2613134.5331 | 1176142.3156
58 | 2613141.4258 | 1176157.0789 | 2613141.5641 | 1176157.3752
59 | 2613264.4399 | 1176095.7702 | 2613261.395 | 1176089.1663 | 2613255.7292 | 1176077.9034
60 | 2613264.4399 | 1176095.7702 | 2613265.8294 | 1176098.7837
61 | 2613273.0386 | 1176116.1839 | 2613267.4957 | 1176102.3976 | 2613265.8294 | 1176098.7837
62 | 2613273.0386 | 1176116.1839 | 2613273.2417 | 1176116.689
63 | 2613180.7994 | 1176199.2439 | 2613197.4994 | 1176192.5334
64 | 2613167.698 | 1176204.5084 | 2613180.7994 | 1176199.2439
65 | 2613197.4994 | 1176192.5334 | 2613197.5322 | 1176192.5202
66 | 2613144.4305 | 1176163.5146 | 2613167.698 | 1176204.5084
67 | 2613144.4305 | 1176163.5146 | 2613141.5641 | 1176157.3752
68 | 2613193.2918 | 1176090.5325 | 2613165.1761 | 1176099.4384 | 2613157.5111 | 1176101.4039
69 | 2613122.5859 | 1176110.3594 | 2613157.5111 | 1176101.4039
70 | 2613113.0745 | 1176112.7983 | 2613122.5859 | 1176110.3594
71 | 2613300.4502 | 1175953.1168 | 2613288.902 | 1175933.0571
72 | 2613310.5043 | 1175970.5809 | 2613300.4502 | 1175953.1168
73 | 2613285.2557 | 1175927.0217 | 2613287.365 | 1175930.3872 | 2613288.902 | 1175933.0571
74 | 2613310.5043 | 1175970.5809 | 2613322.1413 | 1175963.5659
75 | 2613310.5043 | 1175970.5809 | 2613289.5996 | 1175983.1801
76 | 2613285.2557 | 1175927.0217 | 2613279.3523 | 1175917.6021
77 | 2613322.1413 | 1175963.5659 | 2613340.8993 | 1175952.2581
78 | 2613279.4676 | 1175989.2866 | 2613289.5996 | 1175983.1801
79 | 2613268.2014 | 1175899.8095 | 2613279.3523 | 1175917.6021
80 | 2613352.9659 | 1175944.9841 | 2613340.8993 | 1175952.2581
81 | 2613264.2791 | 1175893.551 | 2613268.2014 | 1175899.8095
82 | 2613355.2152 | 1175933.6833 | 2613356.8269 | 1175937.6 | 2613355.946 | 1175941.8891 | 2613352.9659 | 1175944.9841
83 | 2613301.0725 | 1175884.1323 | 2613292.1098 | 1175864.2834
84 | 2613343.1041 | 1175925.1633 | 2613323.512 | 1175912.3468 | 2613317.1461 | 1175908.4307 | 2613311.6604 | 1175903.9608 | 2613306.9442 | 1175897.1358 | 2613301.0725 | 1175884.1323
85 | 2613355.2152 | 1175933.6833 | 2613343.1041 | 1175925.1633
86 | 2613343.1041 | 1175925.1633 | 2613349.3265 | 1175921.364 | 2613354.4106 | 1175918.1401
87 | 2613354.4106 | 1175918.1401 | 2613367.0676 | 1175910.1138
88 | 2613379.7747 | 1175902.0559 | 2613367.0676 | 1175910.1138
89 | 2613377.7581 | 1175863.5977 | 2613384.2558 | 1175873.5838 | 2613396.2847 | 1175891.5864
90 | 2613396.2847 | 1175891.5864 | 2613379.7747 | 1175902.0559
91 | 2613396.2847 | 1175891.5864 | 2613410.8935 | 1175881.9438
92 | 2613377.7581 | 1175863.5977 | 2613365.4513 | 1175870.2205
93 | 2613377.7581 | 1175863.5977 | 2613383.769 | 1175859.5798
94 | 2613264.2791 | 1175893.551 | 2613257.9351 | 1175886.5891 | 2613251.6972 | 1175880.4315
95 | 2613352.6304 | 1175803.2113 | 2613358.3314 | 1175817.4867 | 2613352.5011 | 1175820.1752
96 | 2613228.0778 | 1175668.257 | 2613248.6254 | 1175684.6324
97 | 2613167.5574 | 1175716.2378 | 2613145.4779 | 1175704.4058 | 2613129.0861 | 1175695.6546
98 | 2613128.2896 | 1175695.1311 | 2613129.0861 | 1175695.6546 | 2613129.0861 | 1175695.6546
99 | 2613124.3191 | 1175692.5219 | 2613128.2896 | 1175695.1311
100 | 2613110.7491 | 1175681.5853 | 2613119.904 | 1175689.6204 | 2613124.3191 | 1175692.5219
101 | 2613090.141 | 1175660.8189 | 2613110.7491 | 1175681.5853
102 | 2613042.9511 | 1175836.3946 | 2613061.0208 | 1175825.975
103 | 2613042.9511 | 1175836.3946 | 2613037.8555 | 1175828.1572 | 2613007.1408 | 1175798.4102
104 | 2613042.9511 | 1175836.3946 | 2613029.5727 | 1175844.5699 | 2613016.729 | 1175852.913 | 2612988.8944 | 1175872.9076 | 2612969.5157 | 1175888.138
105 | 2612974.7833 | 1175767.0123 | 2612976.9876 | 1175769.2071 | 2613007.1408 | 1175798.4102
106 | 2612968.2055 | 1175889.1677 | 2612969.5157 | 1175888.138
107 | 2612974.7833 | 1175767.0123 | 2612978.7367 | 1175762.7186 | 2612984 | 1175757.0382 | 2612987.4367 | 1175753.8889
108 | 2612968.2055 | 1175889.1677 | 2612965.0705 | 1175891.6316
109 | 2612954.6252 | 1175899.9986 | 2612962.4034 | 1175893.7278 | 2612965.0705 | 1175891.6316
110 | 2613090.141 | 1175660.8189 | 2613077.7146 | 1175673.9107
111 | 2613077.7146 | 1175673.9107 | 2613062.7523 | 1175689.6741 | 2613054.0196 | 1175698.4485 | 2613053.9698 | 1175698.4951
112 | 2612998.6505 | 1175744.4451 | 2613002.2098 | 1175741.5362 | 2613012.8652 | 1175734.3445 | 2613019.8243 | 1175729.2236 | 2613026.4856 | 1175723.9686 | 2613035.8367 | 1175715.5068 | 2613044.8363 | 1175707.033 | 2613053.9698 | 1175698.4951
113 | 2612998.6505 | 1175744.4451 | 2612990.2572 | 1175751.3043 | 2612987.4367 | 1175753.8889

## bus_geodata
| x | y | coords
0 | 2613282.8887 | 1175770.6871
1 | 2613259.595 | 1175785.2746
2 | 2613284.1724 | 1175769.8431
3 | 2613258.0341 | 1175806.8821
4 | 2613226.3513 | 1175740.9346
5 | 2613302.7133 | 1175798.2745
6 | 2613331.8504 | 1175767.4916
7 | 2613275.4322 | 1175827.349
8 | 2613214.0842 | 1175744.0537
9 | 2613242.1197 | 1175719.302
10 | 2613213.4245 | 1175748.599
11 | 2613171.3709 | 1175762.0027
12 | 2613347.0463 | 1175774.1508
13 | 2613323.1071 | 1175770.5294
14 | 2613278.3021 | 1175833.7048
15 | 2613196.2804 | 1175731.0402
16 | 2613264.513 | 1175697.0295
17 | 2613349.8298 | 1175783.9064
18 | 2613342.2153 | 1175788.0694
19 | 2613351.5049 | 1175800.6186
20 | 2613100.5489 | 1175993.5415
21 | 2613092.9931 | 1176034.4585
22 | 2613141.2311 | 1175984.8701
23 | 2613096.0735 | 1176061.7685
24 | 2613173.793 | 1175977.9296
25 | 2613215.9222 | 1175968.9498
26 | 2613220.8458 | 1175926.539
27 | 2613210.0351 | 1176047.1275
28 | 2613169.8002 | 1176056.6098
29 | 2613236.6074 | 1176040.8651
30 | 2613246.9645 | 1176060.8784
31 | 2613234.1145 | 1176035.8215
32 | 2613252.5902 | 1176071.7492
33 | 2613226.734 | 1176019.2546
34 | 2613229.9811 | 1176078.9108
35 | 2613254.744 | 1176075.945
36 | 2613246.2051 | 1176008.2954
37 | 2613241.6401 | 1175931.5094
38 | 2613259.4226 | 1176000.856
39 | 2613262.3992 | 1175910.2723
40 | 2613198.6535 | 1176117.5258
41 | 2613188.9356 | 1176121.2829
42 | 2613202.5228 | 1176116.0299
43 | 2613182.7299 | 1176123.6821
44 | 2613213.7059 | 1176111.7064
45 | 2613167.3172 | 1176129.6408
46 | 2613216.4377 | 1176104.2833
47 | 2613160.7114 | 1176132.1947
48 | 2613240.2672 | 1176081.0739
49 | 2613139.0135 | 1176140.5834
50 | 2613134.5331 | 1176142.3156
51 | 2613141.4258 | 1176157.0789
52 | 2613255.7292 | 1176077.9034
53 | 2613264.4399 | 1176095.7702
54 | 2613265.8294 | 1176098.7837
55 | 2613273.0386 | 1176116.1839
56 | 2613273.2417 | 1176116.689
57 | 2613180.7994 | 1176199.2439
58 | 2613197.4994 | 1176192.5334
59 | 2613167.698 | 1176204.5084
60 | 2613197.5322 | 1176192.5202
61 | 2613144.4305 | 1176163.5146
62 | 2613141.5641 | 1176157.3752
63 | 2613193.2918 | 1176090.5325
64 | 2613122.5859 | 1176110.3594
65 | 2613157.5111 | 1176101.4039
66 | 2613113.0745 | 1176112.7983
67 | 2613300.4502 | 1175953.1168
68 | 2613288.902 | 1175933.0571
69 | 2613310.5043 | 1175970.5809
70 | 2613285.2557 | 1175927.0217
71 | 2613322.1413 | 1175963.5659
72 | 2613289.5996 | 1175983.1801
73 | 2613279.3523 | 1175917.6021
74 | 2613340.8993 | 1175952.2581
75 | 2613279.4676 | 1175989.2866
76 | 2613268.2014 | 1175899.8095
77 | 2613352.9659 | 1175944.9841
78 | 2613301.0725 | 1175884.1323
79 | 2613292.1098 | 1175864.2834
80 | 2613343.1041 | 1175925.1633
81 | 2613355.2152 | 1175933.6833
82 | 2613354.4106 | 1175918.1401
83 | 2613367.0676 | 1175910.1138
84 | 2613396.2847 | 1175891.5864
85 | 2613377.7581 | 1175863.5977
86 | 2613379.7747 | 1175902.0559
87 | 2613410.8935 | 1175881.9438
88 | 2613251.6972 | 1175880.4315
89 | 2613264.2791 | 1175893.551
90 | 2613365.4513 | 1175870.2205
91 | 2613383.769 | 1175859.5798
92 | 2613345.399 | 1175803.4954
93 | 2613352.6304 | 1175803.2113
94 | 2613352.5011 | 1175820.1752
95 | 2613248.6254 | 1175684.6324
96 | 2613228.0778 | 1175668.257
97 | 2613167.5574 | 1175716.2378
98 | 2613129.0861 | 1175695.6546
99 | 2613128.2896 | 1175695.1311
100 | 2613124.3191 | 1175692.5219
101 | 2613110.7491 | 1175681.5853
102 | 2613061.0208 | 1175825.975
103 | 2613042.9511 | 1175836.3946
104 | 2613007.1408 | 1175798.4102
105 | 2612969.5157 | 1175888.138
106 | 2612974.7833 | 1175767.0123
107 | 2612968.2055 | 1175889.1677
108 | 2612954.6252 | 1175899.9986
109 | 2612965.0705 | 1175891.6316
110 | 2613090.141 | 1175660.8189
111 | 2613077.7146 | 1175673.9107
112 | 2613053.9698 | 1175698.4951
113 | 2612998.6505 | 1175744.4451
114 | 2612987.4367 | 1175753.8889
115 | 2613310.5043 | 1175970.5809

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1