## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-29_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-29_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-29_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-29_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-29_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_942-29_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_942-29_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_942-29_0_4_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_942-29_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_942-29_0_4_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_942-29_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_942-29_0_4_node_107 | 0.4 | n |  | TRUE
12 | bus_LV_942-29_0_4_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_942-29_0_4_node_108 | 0.4 | n |  | TRUE
14 | bus_LV_942-29_0_4_node_105 | 0.4 | n |  | TRUE
15 | bus_LV_942-29_0_4_node_96 | 0.4 | n |  | TRUE
16 | bus_LV_942-29_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_942-29_0_4_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_942-29_0_4_node_39 | 0.4 | n |  | TRUE
19 | bus_LV_942-29_0_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_942-29_0_4_node_112 | 0.4 | n |  | TRUE
21 | bus_LV_942-29_0_4_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_942-29_0_4_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_942-29_0_4_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_942-29_0_4_node_106 | 0.4 | n |  | TRUE
25 | bus_LV_942-29_0_4_node_104 | 0.4 | n |  | TRUE
26 | bus_LV_942-29_0_4_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_942-29_0_4_node_98 | 0.4 | n |  | TRUE
28 | bus_LV_942-29_0_4_node_97 | 0.4 | n |  | TRUE
29 | bus_LV_942-29_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_942-29_0_4_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_942-29_0_4_node_103 | 0.4 | n |  | TRUE
32 | bus_LV_942-29_0_4_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_942-29_0_4_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_942-29_0_4_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_942-29_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_942-29_0_4_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_942-29_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_942-29_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_942-29_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_942-29_0_4_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_942-29_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_942-29_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_942-29_0_4_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_942-29_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_942-29_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_942-29_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_942-29_0_4_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_942-29_0_4_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_942-29_0_4_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_942-29_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_942-29_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_942-29_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_942-29_0_4_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_942-29_0_4_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_942-29_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_942-29_0_4_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_942-29_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_942-29_0_4_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_942-29_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_942-29_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_942-29_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_942-29_0_4_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_942-29_0_4_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_942-29_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_942-29_0_4_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_942-29_0_4_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_942-29_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_942-29_0_4_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_942-29_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_942-29_0_4_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_942-29_0_4_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_942-29_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_942-29_0_4_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_942-29_0_4_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_942-29_0_4_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_942-29_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_942-29_0_4_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_942-29_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_942-29_0_4_node_110 | 0.4 | n |  | TRUE
80 | bus_LV_942-29_0_4_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_942-29_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_942-29_0_4_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_942-29_0_4_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_942-29_0_4_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_942-29_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_942-29_0_4_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_942-29_0_4_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_942-29_0_4_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_942-29_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_942-29_0_4_node_109 | 0.4 | n |  | TRUE
91 | bus_LV_942-29_0_4_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_942-29_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_942-29_0_4_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_942-29_0_4_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_942-29_0_4_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_942-29_0_4_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_942-29_0_4_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_942-29_0_4_node_85 | 0.4 | n |  | TRUE
99 | bus_LV_942-29_0_4_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_942-29_0_4_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_942-29_0_4_node_91 | 0.4 | n |  | TRUE
102 | bus_LV_942-29_0_4_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_942-29_0_4_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_942-29_0_4_node_102 | 0.4 | n |  | TRUE
105 | bus_MV_123_1_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-29_0_4_load_0 | 0 | 0.0064186 | 0.0016087 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-29_0_4_load_45 | 7 | 0.0074058 | 0.0018561 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-29_0_4_load_107 | 11 | 0.0051168 | 0.0012824 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-29_0_4_load_59 | 12 | 0.0022044 | 0.00055248 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-29_0_4_load_108 | 13 | 0.0011783 | 0.0002953 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-29_0_4_load_96 | 15 | 0.0038543 | 0.00096599 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-29_0_4_load_12 | 16 | 0.0034879 | 0.00087416 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-29_0_4_load_41 | 17 | 0.051283 | 0.012853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-29_0_4_load_44 | 19 | 0.0090215 | 0.002261 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-29_0_4_load_112 | 20 | 0.0062356 | 0.0015628 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-29_0_4_load_60 | 22 | 0.0035106 | 0.00087983 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-29_0_4_load_106 | 24 | 0.0058147 | 0.0014573 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-29_0_4_load_104 | 25 | 0.0024463 | 0.0006131 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-29_0_4_load_99 | 26 | 0.0014792 | 0.00037072 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-29_0_4_load_98 | 27 | 0.0020701 | 0.00051883 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-29_0_4_load_97 | 28 | 0.0010159 | 0.0002546 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-29_0_4_load_14 | 29 | 0.00081536 | 0.00020435 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-29_0_4_load_13 | 30 | 0.00068358 | 0.00017132 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-29_0_4_load_103 | 31 | 0.0022237 | 0.00055732 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-29_0_4_load_15 | 33 | 0.005838 | 0.0014631 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-29_0_4_load_16 | 34 | 0.0058927 | 0.0014768 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-29_0_4_load_17 | 35 | 0.0091013 | 0.002281 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-29_0_4_load_19 | 37 | 0.0091014 | 0.002281 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-29_0_4_load_20 | 38 | 0.010254 | 0.0025698 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-29_0_4_load_22 | 40 | 0.027394 | 0.0068656 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-29_0_4_load_28 | 42 | 0.0027357 | 0.00068563 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-29_0_4_load_23 | 43 | 0.0031547 | 0.00079065 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-29_0_4_load_32 | 44 | 0.010692 | 0.0026797 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-29_0_4_load_29 | 45 | 0.0077838 | 0.0019508 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-29_0_4_load_24 | 47 | 0.0023844 | 0.00059758 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-29_0_4_load_25 | 48 | 0.0030296 | 0.00075928 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-29_0_4_load_72 | 49 | 0.01256 | 0.0031477 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-29_0_4_load_35 | 50 | 0.0025119 | 0.00062955 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-29_0_4_load_30 | 51 | 0.0075205 | 0.0018848 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-29_0_4_load_31 | 52 | 0.0058186 | 0.0014583 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-29_0_4_load_56 | 54 | 0.0056767 | 0.0014227 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-29_0_4_load_53 | 55 | 0.010883 | 0.0027276 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-29_0_4_load_49 | 56 | 0.0020382 | 0.00051082 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-29_0_4_load_57 | 57 | 0.02201 | 0.0055161 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-29_0_4_load_68 | 58 | 0.0079033 | 0.0019808 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-29_0_4_load_51 | 59 | 0.011755 | 0.002946 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-29_0_4_load_50 | 60 | 0.010174 | 0.0025499 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-29_0_4_load_48 | 61 | 0.0024845 | 0.00062267 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-29_0_4_load_37 | 62 | 0.0091318 | 0.0022887 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-29_0_4_load_38 | 63 | 0.024472 | 0.0061334 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-29_0_4_load_42 | 64 | 0.0079653 | 0.0019963 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-29_0_4_load_46 | 65 | 0.012679 | 0.0031775 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-29_0_4_load_47 | 66 | 0.0045042 | 0.0011289 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-29_0_4_load_66 | 67 | 0.0019634 | 0.00049208 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-29_0_4_load_65 | 68 | 0.0020328 | 0.00050946 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-29_0_4_load_52 | 69 | 0.010066 | 0.0025228 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-29_0_4_load_54 | 70 | 0.0052129 | 0.0013065 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-29_0_4_load_55 | 71 | 0.003142 | 0.00078746 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-29_0_4_load_58 | 72 | 0.0031405 | 0.00078707 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-29_0_4_load_100 | 73 | 0.0025075 | 0.00062843 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-29_0_4_load_69 | 74 | 0.0083395 | 0.0020901 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-29_0_4_load_101 | 75 | 0.0031421 | 0.00078748 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-29_0_4_load_75 | 78 | 0.0024226 | 0.00060717 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-29_0_4_load_110 | 79 | 0.0034395 | 0.00086203 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-29_0_4_load_73 | 80 | 0.0033479 | 0.00083907 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-29_0_4_load_67 | 82 | 0.010704 | 0.0026828 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-29_0_4_load_70 | 83 | 0.0035086 | 0.00087933 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-29_0_4_load_88 | 86 | 0.007529 | 0.001887 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-29_0_4_load_90 | 87 | 0.0080028 | 0.0020057 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-29_0_4_load_86 | 89 | 0.0065241 | 0.0016351 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-29_0_4_load_78 | 91 | 0.0035818 | 0.00089769 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_942-29_0_4_load_80 | 92 | 0.0053498 | 0.0013408 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_942-29_0_4_load_81 | 93 | 0.0035588 | 0.00089193 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_942-29_0_4_load_83 | 94 | 0.0019536 | 0.00048963 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_942-29_0_4_load_95 | 95 | 0.007402 | 0.0018551 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_942-29_0_4_load_84 | 97 | 0.0033086 | 0.00082921 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_942-29_0_4_load_85 | 98 | 0.0036715 | 0.00092016 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_942-29_0_4_load_87 | 99 | 0.0026283 | 0.00065872 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_942-29_0_4_load_89 | 100 | 0.0036408 | 0.00091246 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_942-29_0_4_load_91 | 101 | 0.0057165 | 0.0014327 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_942-29_0_4_load_92 | 102 | 0.0056458 | 0.001415 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_942-29_0_4_load_102 | 104 | 0.0046623 | 0.0011685 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-29_0_4_line_0 |  | 0 | 1 | 0.037688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-29_0_4_line_1 |  | 0 | 2 | 0.022954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-29_0_4_line_2 |  | 1 | 3 | 0.029259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_942-29_0_4_line_3 |  | 1 | 4 | 0.023294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_942-29_0_4_line_4 |  | 2 | 5 | 0.092908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-29_0_4_line_5 |  | 2 | 6 | 0.041128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-29_0_4_line_6 |  | 3 | 7 | 0.032653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_942-29_0_4_line_7 |  | 4 | 13 | 0.024684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-29_0_4_line_8 |  | 4 | 14 | 0.02417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_942-29_0_4_line_9 |  | 5 | 15 | 0.013269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-29_0_4_line_10 |  | 6 | 16 | 0.023095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-29_0_4_line_11 |  | 7 | 19 | 0.015536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_942-29_0_4_line_12 |  | 8 | 9 | 0.062856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-29_0_4_line_13 |  | 8 | 10 | 0.033986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_942-29_0_4_line_14 |  | 8 | 11 | 0.018272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_942-29_0_4_line_15 |  | 9 | 20 | 0.0051958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-29_0_4_line_16 |  | 10 | 12 | 0.016209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-29_0_4_line_17 |  | 11 | 24 | 0.0047169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_942-29_0_4_line_18 |  | 12 | 21 | 0.012719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-29_0_4_line_19 |  | 14 | 24 | 0.022848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_942-29_0_4_line_20 |  | 14 | 25 | 0.0060464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-29_0_4_line_21 |  | 15 | 28 | 0.011136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-29_0_4_line_22 |  | 16 | 30 | 0.0064839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-29_0_4_line_23 |  | 17 | 18 | 0.021667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-29_0_4_line_24 |  | 18 | 23 | 0.004479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-29_0_4_line_25 |  | 18 | 62 | 0.018085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-29_0_4_line_26 |  | 19 | 65 | 0.0042397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_942-29_0_4_line_27 |  | 21 | 22 | 0.058559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-29_0_4_line_28 |  | 21 | 23 | 0.036265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-29_0_4_line_29 |  | 23 | 64 | 0.029592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-29_0_4_line_30 |  | 26 | 27 | 0.021841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-29_0_4_line_31 |  | 27 | 28 | 0.022263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-29_0_4_line_32 |  | 29 | 30 | 0.0051754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-29_0_4_line_33 |  | 31 | 32 | 0.034787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-29_0_4_line_34 |  | 32 | 57 | 0.021082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_942-29_0_4_line_35 |  | 32 | 46 | 0.035197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_942-29_0_4_line_36 |  | 33 | 34 | 0.028647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-29_0_4_line_37 |  | 33 | 35 | 0.026503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-29_0_4_line_38 |  | 34 | 36 | 0.024675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-29_0_4_line_39 |  | 35 | 37 | 0.0065396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-29_0_4_line_40 |  | 36 | 38 | 0.020565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_942-29_0_4_line_41 |  | 36 | 39 | 0.020874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-29_0_4_line_42 |  | 37 | 40 | 0.058197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-29_0_4_line_43 |  | 39 | 41 | 0.043038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_942-29_0_4_line_44 |  | 39 | 42 | 0.0043992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_942-29_0_4_line_45 |  | 40 | 43 | 0.0097634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-29_0_4_line_46 |  | 41 | 44 | 0.021906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_942-29_0_4_line_47 |  | 41 | 45 | 0.017718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_942-29_0_4_line_48 |  | 42 | 46 | 0.00596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_942-29_0_4_line_49 |  | 43 | 47 | 0.0065112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-29_0_4_line_50 |  | 44 | 50 | 0.010185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_942-29_0_4_line_51 |  | 45 | 51 | 0.027603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_942-29_0_4_line_52 |  | 47 | 48 | 0.0063694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-29_0_4_line_53 |  | 48 | 49 | 0.0025502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-29_0_4_line_54 |  | 50 | 56 | 0.0070009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_942-29_0_4_line_55 |  | 51 | 52 | 0.03719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_942-29_0_4_line_56 |  | 52 | 53 | 0.012209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_942-29_0_4_line_57 |  | 53 | 54 | 0.0085561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-29_0_4_line_58 |  | 53 | 55 | 0.013384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-29_0_4_line_59 |  | 54 | 58 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-29_0_4_line_60 |  | 55 | 59 | 0.048043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-29_0_4_line_61 |  | 56 | 60 | 0.010575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_942-29_0_4_line_62 |  | 57 | 61 | 0.0039222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_942-29_0_4_line_63 |  | 58 | 74 | 0.025922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-29_0_4_line_64 |  | 59 | 69 | 0.021543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-29_0_4_line_65 |  | 60 | 67 | 0.0089394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_942-29_0_4_line_66 |  | 61 | 66 | 0.012427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_942-29_0_4_line_67 |  | 62 | 63 | 0.019744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-29_0_4_line_68 |  | 65 | 66 | 0.012364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_942-29_0_4_line_69 |  | 67 | 68 | 0.0058046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_942-29_0_4_line_70 |  | 68 | 82 | 0.0014587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_942-29_0_4_line_71 |  | 69 | 70 | 0.0060979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-29_0_4_line_72 |  | 70 | 71 | 0.014731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-29_0_4_line_73 |  | 71 | 72 | 0.001403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-29_0_4_line_74 |  | 72 | 73 | 0.0067315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_942-29_0_4_line_75 |  | 73 | 75 | 0.0014056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_942-29_0_4_line_76 |  | 74 | 83 | 0.0065559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_942-29_0_4_line_77 |  | 75 | 104 | 8.1555e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_942-29_0_4_line_78 |  | 76 | 77 | 0.038223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_942-29_0_4_line_79 |  | 76 | 78 | 0.012167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_942-29_0_4_line_80 |  | 77 | 79 | 0.038142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_942-29_0_4_line_81 |  | 78 | 81 | 0.017887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_942-29_0_4_line_82 |  | 79 | 90 | 0.04964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_942-29_0_4_line_83 |  | 80 | 81 | 0.017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_942-29_0_4_line_84 |  | 83 | 84 | 0.0098881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_942-29_0_4_line_85 |  | 84 | 85 | 0.037009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_942-29_0_4_line_86 |  | 84 | 86 | 0.026536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_942-29_0_4_line_87 |  | 85 | 87 | 0.019673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_942-29_0_4_line_88 |  | 85 | 88 | 0.15408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_942-29_0_4_line_89 |  | 86 | 89 | 0.0078283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_942-29_0_4_line_90 |  | 87 | 90 | 0.028542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_942-29_0_4_line_91 |  | 88 | 93 | 0.024136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_942-29_0_4_line_92 |  | 88 | 91 | 0.020828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_942-29_0_4_line_93 |  | 89 | 97 | 0.020773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_942-29_0_4_line_94 |  | 91 | 92 | 0.020131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_942-29_0_4_line_95 |  | 93 | 94 | 0.019666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_942-29_0_4_line_96 |  | 94 | 95 | 0.012185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_942-29_0_4_line_97 |  | 95 | 96 | 0.037571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_942-29_0_4_line_98 |  | 96 | 103 | 0.23878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_942-29_0_4_line_99 |  | 97 | 98 | 0.020382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_942-29_0_4_line_100 |  | 98 | 99 | 0.012805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_942-29_0_4_line_101 |  | 99 | 100 | 0.0062828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_942-29_0_4_line_102 |  | 101 | 102 | 0.019821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_942-29_0_4_line_103 |  | 102 | 103 | 0.12073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-29_0_4_trafo_67 | 0.63 MVA 20/0.4 kV | 105 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2614714.8625 | 1178770.5301 | 2614685.944 | 1178746.3615
1 | 2614670.1856 | 1178729.6891 | 2614684.6326 | 1178745.2656 | 2614685.944 | 1178746.3615
2 | 2614714.8625 | 1178770.5301 | 2614717.7546 | 1178768.7473 | 2614721.0342 | 1178767.8771 | 2614724.4336 | 1178767.9855 | 2614727.6626 | 1178769.0717 | 2614730.431 | 1178771.0351 | 2614736.3246 | 1178760.2773
3 | 2614703.3357 | 1178788.6668 | 2614711.1961 | 1178782.7385 | 2614710.7076 | 1178779.4245 | 2614711.197 | 1178776.1129 | 2614712.6025 | 1178773.0703 | 2614714.8625 | 1178770.5301
4 | 2614670.1856 | 1178729.6891 | 2614661.9983 | 1178725.5115 | 2614701.7593 | 1178686.5218 | 2614712.3912 | 1178690.7388 | 2614717.9286 | 1178678.8573 | 2614718.5711 | 1178675.4349
5 | 2614638.5839 | 1178746.8654 | 2614645.898 | 1178742.5588 | 2614661.9983 | 1178725.5115 | 2614670.1856 | 1178729.6891
6 | 2614736.3246 | 1178760.2773 | 2614749.8508 | 1178739.9889 | 2614755.5428 | 1178733.9905
7 | 2614703.3357 | 1178788.6668 | 2614701.0128 | 1178782.5691 | 2614705.1592 | 1178780.2669 | 2614707.1395 | 1178776.4587 | 2614701.7378 | 1178770.3646 | 2614700.9951 | 1178771.0409
8 | 2614703.3357 | 1178788.6668 | 2614683.1876 | 1178802.1023
9 | 2614718.5711 | 1178675.4349 | 2614731.0633 | 1178679.9078
10 | 2614638.5839 | 1178746.8654 | 2614652.4078 | 1178765.3659
11 | 2614755.5428 | 1178733.9905 | 2614766.2369 | 1178722.7206
12 | 2614725.0461 | 1178820.525 | 2614724.7444 | 1178822.0806 | 2614724.342 | 1178824.1807 | 2614764.7721 | 1178836.2192 | 2614767.401 | 1178838.9715 | 2614769.036 | 1178842.0437 | 2614766.7516 | 1178851.4318
13 | 2614725.0461 | 1178820.525 | 2614725.5128 | 1178817.1244 | 2614740.0011 | 1178818.8163 | 2614746.5236 | 1178819.5659 | 2614755.7264 | 1178817.6431
14 | 2614725.0461 | 1178820.525 | 2614707.7722 | 1178814.5686
15 | 2614766.7516 | 1178851.4318 | 2614764.9783 | 1178848.6816 | 2614763.2581 | 1178847.8211
16 | 2614755.7264 | 1178817.6431 | 2614764.1891 | 1178818.4976 | 2614771.3402 | 1178821.3624
17 | 2614707.7722 | 1178814.5686 | 2614703.5652 | 1178812.4353
18 | 2614783.1473 | 1178826.0924 | 2614771.3402 | 1178821.3624
19 | 2614683.1876 | 1178802.1023 | 2614703.5652 | 1178812.4353
20 | 2614683.1876 | 1178802.1023 | 2614678.3213 | 1178805.6909
21 | 2614731.0633 | 1178679.9078 | 2614741.5471 | 1178683.6616
22 | 2614652.4078 | 1178765.3659 | 2614654.0042 | 1178767.5024 | 2614655.3678 | 1178769.0843 | 2614656.5575 | 1178770.338
23 | 2614786.2375 | 1178790.3706 | 2614771.5056 | 1178785.1762 | 2614765.9218 | 1178782.8575
24 | 2614786.2375 | 1178790.3706 | 2614790.4739 | 1178791.8596
25 | 2614786.2375 | 1178790.3706 | 2614796.0994 | 1178775.2111
26 | 2614769.1552 | 1178719.6451 | 2614766.2369 | 1178722.7206
27 | 2614783.1473 | 1178826.0924 | 2614787.719 | 1178827.9268 | 2614817.9051 | 1178830.28 | 2614839.5788 | 1178838.9815
28 | 2614790.4739 | 1178791.8596 | 2614792.7045 | 1178801.2254 | 2614783.1473 | 1178826.0924
29 | 2614818.0993 | 1178791.7163 | 2614814.6086 | 1178794.5647 | 2614809.5397 | 1178796.1086 | 2614803.473 | 1178796.4494 | 2614790.4739 | 1178791.8596
30 | 2614759.9929 | 1178660.4286 | 2614753.0734 | 1178665.7477 | 2614755.9432 | 1178669.9903 | 2614755.2282 | 1178677.9493
31 | 2614755.2282 | 1178677.9493 | 2614754.4274 | 1178686.8619 | 2614746.3939 | 1178685.397 | 2614741.5471 | 1178683.6616
32 | 2614656.5575 | 1178770.338 | 2614656.7319 | 1178770.5217 | 2614659.6788 | 1178774.4642
33 | 2614799.9153 | 1178680.4924 | 2614782.86 | 1178666.2544 | 2614779.5944 | 1178654.1165
34 | 2614799.9153 | 1178680.4924 | 2614786.9959 | 1178697.1526
35 | 2614822.6714 | 1178653.7903 | 2614817.2487 | 1178662.4369 | 2614799.9153 | 1178680.4924
36 | 2614875.5041 | 1178644.8714 | 2614862.2663 | 1178636.2345 | 2614851.0424 | 1178629.9973
37 | 2614875.5041 | 1178644.8714 | 2614894.592 | 1178657.3251 | 2614897.8069 | 1178659.1802
38 | 2614827.6575 | 1178623.8984 | 2614842.5137 | 1178625.2579 | 2614851.0424 | 1178629.9973
39 | 2614897.8069 | 1178659.1802 | 2614903.4711 | 1178662.4488
40 | 2614827.6575 | 1178623.8984 | 2614824.2456 | 1178610.2163 | 2614821.7838 | 1178604.2398
41 | 2614827.2705 | 1178644.508 | 2614829.0991 | 1178634.1516 | 2614827.6575 | 1178623.8984
42 | 2614953.7379 | 1178666.9027 | 2614944.771 | 1178675.6477 | 2614938.7831 | 1178678.023 | 2614929.6097 | 1178677.2109 | 2614915.7395 | 1178669.5282 | 2614903.4711 | 1178662.4488
43 | 2614866.5797 | 1178662.2807 | 2614832.9711 | 1178647.1011 | 2614827.2705 | 1178644.508
44 | 2614827.2705 | 1178644.508 | 2614825.3174 | 1178648.4499
45 | 2614960.7276 | 1178660.086 | 2614953.7379 | 1178666.9027
46 | 2614866.5797 | 1178662.2807 | 2614857.85 | 1178682.3717
47 | 2614866.5797 | 1178662.2807 | 2614882.5363 | 1178669.982
48 | 2614822.6714 | 1178653.7903 | 2614825.3174 | 1178648.4499
49 | 2614960.7276 | 1178660.086 | 2614965.389 | 1178655.54
50 | 2614853.7911 | 1178691.7131 | 2614857.85 | 1178682.3717
51 | 2614906.1505 | 1178684.1846 | 2614889.7085 | 1178673.4435 | 2614882.5363 | 1178669.982
52 | 2614969.9489 | 1178651.0929 | 2614965.389 | 1178655.54
53 | 2614971.7746 | 1178649.3124 | 2614969.9489 | 1178651.0929
54 | 2614851.0012 | 1178698.1341 | 2614853.7911 | 1178691.7131
55 | 2614906.1505 | 1178684.1846 | 2614910.89 | 1178687.2808 | 2614934.7181 | 1178707.9269
56 | 2614943.9452 | 1178715.9218 | 2614934.7181 | 1178707.9269
57 | 2614943.9452 | 1178715.9218 | 2614949.994 | 1178721.9732
58 | 2614943.9452 | 1178715.9218 | 2614939.5344 | 1178728.5582
59 | 2614963.4992 | 1178735.4843 | 2614949.994 | 1178721.9732
60 | 2614917.8863 | 1178771.1116 | 2614921.1268 | 1178767.6361 | 2614935.4351 | 1178740.3021 | 2614939.5344 | 1178728.5582
61 | 2614851.0012 | 1178698.1341 | 2614846.787 | 1178707.8329 | 2614846.787 | 1178707.8329
62 | 2614786.9959 | 1178697.1526 | 2614784.5924 | 1178700.252
63 | 2614963.4992 | 1178735.4843 | 2614981.8248 | 1178753.8178
64 | 2614917.8863 | 1178771.1116 | 2614903.1946 | 1178786.8682 | 2614903.1946 | 1178786.8682
65 | 2614846.787 | 1178707.8329 | 2614853.1024 | 1178714.1597
66 | 2614776.8937 | 1178710.0065 | 2614783.2229 | 1178702.018 | 2614784.5924 | 1178700.252
67 | 2614806.8663 | 1178758.6606 | 2614796.0994 | 1178775.2111
68 | 2614769.1552 | 1178719.6451 | 2614769.7734 | 1178718.9937 | 2614776.8937 | 1178710.0065
69 | 2614857.2032 | 1178718.2679 | 2614853.1024 | 1178714.1597
70 | 2614858.2337 | 1178719.3003 | 2614857.2032 | 1178718.2679
71 | 2614903.1946 | 1178786.8682 | 2614899.8025 | 1178791.9356
72 | 2614891.6081 | 1178804.1771 | 2614899.8025 | 1178791.9356
73 | 2614890.8277 | 1178805.3429 | 2614891.6081 | 1178804.1771
74 | 2614890.8277 | 1178805.3429 | 2614887.0832 | 1178810.9368
75 | 2614887.0832 | 1178810.9368 | 2614886.3013 | 1178812.1048
76 | 2614986.4595 | 1178758.4545 | 2614981.8248 | 1178753.8178
77 | 2614886.3013 | 1178812.1048 | 2614886.2559 | 1178812.1726
78 | 2614984.8365 | 1178901.863 | 2614967.7585 | 1178891.015 | 2614952.1199 | 1178881.9604
79 | 2614952.1199 | 1178881.9604 | 2614941.5887 | 1178875.8676
80 | 2614984.8365 | 1178901.863 | 2615005.5383 | 1178869.8275
81 | 2614926.1062 | 1178866.9104 | 2614941.5887 | 1178875.8676
82 | 2615040.1325 | 1178834.2329 | 2615005.6505 | 1178869.6539 | 2615005.5383 | 1178869.8275
83 | 2614926.1062 | 1178866.9104 | 2614911.1996 | 1178857.42
84 | 2614993.4499 | 1178765.448 | 2614986.4595 | 1178758.4545
85 | 2614993.4499 | 1178765.448 | 2615007.085 | 1178778.4553 | 2615020.9521 | 1178790.2737
86 | 2614993.4499 | 1178765.448 | 2614977.1823 | 1178786.4122
87 | 2615020.9521 | 1178790.2737 | 2615030.6471 | 1178807.3917
88 | 2615020.9521 | 1178790.2737 | 2615027.8461 | 1178782.976 | 2615032.523 | 1178773.2049 | 2615037.2999 | 1178760.1657 | 2615048.9905 | 1178744.1645 | 2615067.2261 | 1178726.0675 | 2615075.0848 | 1178717.972 | 2615054.4568 | 1178712.084 | 2615042.6872 | 1178707.6968 | 2615030.6663 | 1178684.6216 | 2615029.5105 | 1178682.4065
89 | 2614972.3831 | 1178792.5969 | 2614977.1823 | 1178786.4122
90 | 2615040.1325 | 1178834.2329 | 2615032.6732 | 1178810.9691 | 2615030.6471 | 1178807.3917
91 | 2615029.5105 | 1178682.4065 | 2615021.3446 | 1178666.6892 | 2615022.7837 | 1178660.4282
92 | 2615029.5105 | 1178682.4065 | 2615014.6222 | 1178696.9711
93 | 2614959.6482 | 1178809.0084 | 2614972.3831 | 1178792.5969
94 | 2615000.2321 | 1178711.0482 | 2615014.6222 | 1178696.9711
95 | 2615022.7837 | 1178660.4282 | 2615027.1891 | 1178641.2624
96 | 2615027.1891 | 1178641.2624 | 2615029.9188 | 1178629.3869
97 | 2615038.337 | 1178592.7716 | 2615034.6295 | 1178608.8928 | 2615029.9188 | 1178629.3869
98 | 2614906.2618 | 1178476.8839 | 2614918.1869 | 1178492.7549 | 2614941.8809 | 1178513.4465 | 2614951.6483 | 1178521.2858 | 2614965.2903 | 1178525.6331 | 2614973.7834 | 1178526.6547 | 2614983.8992 | 1178526.502 | 2615008.3883 | 1178516.2133 | 2615032.0208 | 1178509.3354 | 2615034.1022 | 1178514.1319 | 2615034.9406 | 1178521.0598 | 2615023.4112 | 1178564.1419 | 2615025.3514 | 1178573.4849 | 2615029.1123 | 1178578.7636 | 2615039.0553 | 1178589.6384 | 2615038.337 | 1178592.7716
99 | 2614959.6482 | 1178809.0084 | 2614947.1531 | 1178825.1109
100 | 2614947.1531 | 1178825.1109 | 2614939.3032 | 1178835.2272
101 | 2614935.4515 | 1178840.1909 | 2614939.3032 | 1178835.2272
102 | 2614922.1336 | 1178592.1775 | 2614938.6186 | 1178581.173
103 | 2614906.2618 | 1178476.8839 | 2614905.4751 | 1178501.4724 | 2614908.1384 | 1178530.4938 | 2614910.3437 | 1178543.895 | 2614921.7786 | 1178547.892 | 2614933.7041 | 1178557.3486 | 2614941.1356 | 1178570.5183 | 2614938.6186 | 1178581.173

## bus_geodata
| x | y | coords
0 | 2614685.944 | 1178746.3615
1 | 2614714.8625 | 1178770.5301
2 | 2614670.1856 | 1178729.6891
3 | 2614736.3246 | 1178760.2773
4 | 2614703.3357 | 1178788.6668
5 | 2614718.5711 | 1178675.4349
6 | 2614638.5839 | 1178746.8654
7 | 2614755.5428 | 1178733.9905
8 | 2614725.0461 | 1178820.525
9 | 2614766.7516 | 1178851.4318
10 | 2614755.7264 | 1178817.6431
11 | 2614707.7722 | 1178814.5686
12 | 2614771.3402 | 1178821.3624
13 | 2614700.9951 | 1178771.0409
14 | 2614683.1876 | 1178802.1023
15 | 2614731.0633 | 1178679.9078
16 | 2614652.4078 | 1178765.3659
17 | 2614765.9218 | 1178782.8575
18 | 2614786.2375 | 1178790.3706
19 | 2614766.2369 | 1178722.7206
20 | 2614763.2581 | 1178847.8211
21 | 2614783.1473 | 1178826.0924
22 | 2614839.5788 | 1178838.9815
23 | 2614790.4738 | 1178791.8596
24 | 2614703.5652 | 1178812.4353
25 | 2614678.3213 | 1178805.6909
26 | 2614759.9929 | 1178660.4287
27 | 2614755.2282 | 1178677.9493
28 | 2614741.5471 | 1178683.6616
29 | 2614659.6788 | 1178774.4642
30 | 2614656.5575 | 1178770.338
31 | 2614779.5944 | 1178654.1165
32 | 2614799.9153 | 1178680.4924
33 | 2614875.5041 | 1178644.8714
34 | 2614851.0424 | 1178629.9973
35 | 2614897.8069 | 1178659.1802
36 | 2614827.6575 | 1178623.8984
37 | 2614903.4711 | 1178662.4488
38 | 2614821.7838 | 1178604.2398
39 | 2614827.2705 | 1178644.508
40 | 2614953.7379 | 1178666.9027
41 | 2614866.5797 | 1178662.2807
42 | 2614825.3174 | 1178648.4499
43 | 2614960.7276 | 1178660.086
44 | 2614857.85 | 1178682.3717
45 | 2614882.5363 | 1178669.982
46 | 2614822.6714 | 1178653.7903
47 | 2614965.389 | 1178655.54
48 | 2614969.9489 | 1178651.0929
49 | 2614971.7746 | 1178649.3124
50 | 2614853.7911 | 1178691.7131
51 | 2614906.1505 | 1178684.1846
52 | 2614934.7181 | 1178707.9269
53 | 2614943.9452 | 1178715.9218
54 | 2614949.994 | 1178721.9732
55 | 2614939.5344 | 1178728.5582
56 | 2614851.0012 | 1178698.1341
57 | 2614786.9959 | 1178697.1526
58 | 2614963.4992 | 1178735.4843
59 | 2614917.8863 | 1178771.1116
60 | 2614846.787 | 1178707.8329
61 | 2614784.5924 | 1178700.252
62 | 2614796.0994 | 1178775.2111
63 | 2614806.8663 | 1178758.6606
64 | 2614818.0993 | 1178791.7163
65 | 2614769.1552 | 1178719.6451
66 | 2614776.8937 | 1178710.0065
67 | 2614853.1024 | 1178714.1597
68 | 2614857.2032 | 1178718.2679
69 | 2614903.1946 | 1178786.8682
70 | 2614899.8025 | 1178791.9356
71 | 2614891.6081 | 1178804.1771
72 | 2614890.8277 | 1178805.3429
73 | 2614887.0832 | 1178810.9368
74 | 2614981.8248 | 1178753.8178
75 | 2614886.3013 | 1178812.1048
76 | 2614952.1199 | 1178881.9604
77 | 2614984.8365 | 1178901.863
78 | 2614941.5887 | 1178875.8676
79 | 2615005.5383 | 1178869.8275
80 | 2614911.1996 | 1178857.42
81 | 2614926.1062 | 1178866.9104
82 | 2614858.2337 | 1178719.3003
83 | 2614986.4595 | 1178758.4545
84 | 2614993.4499 | 1178765.448
85 | 2615020.9521 | 1178790.2737
86 | 2614977.1823 | 1178786.4122
87 | 2615030.6471 | 1178807.3917
88 | 2615029.5105 | 1178682.4065
89 | 2614972.3831 | 1178792.5969
90 | 2615040.1325 | 1178834.2329
91 | 2615014.6222 | 1178696.9711
92 | 2615000.2321 | 1178711.0482
93 | 2615022.7837 | 1178660.4282
94 | 2615027.1891 | 1178641.2624
95 | 2615029.9188 | 1178629.3869
96 | 2615038.337 | 1178592.7716
97 | 2614959.6482 | 1178809.0084
98 | 2614947.1531 | 1178825.1109
99 | 2614939.3032 | 1178835.2272
100 | 2614935.4515 | 1178840.1909
101 | 2614922.1336 | 1178592.1775
102 | 2614938.6186 | 1178581.173
103 | 2614906.2618 | 1178476.8839
104 | 2614886.2559 | 1178812.1726
105 | 2614866.5797 | 1178662.2807

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1