## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-42_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-42_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-42_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-42_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-42_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_942-42_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_942-42_0_2_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_942-42_0_2_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_942-42_0_2_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_942-42_0_2_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_942-42_0_2_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_942-42_0_2_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_942-42_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_942-42_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_942-42_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_942-42_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_942-42_0_2_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_942-42_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_942-42_0_2_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_942-42_0_2_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_942-42_0_2_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_942-42_0_2_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_942-42_0_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_942-42_0_2_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_942-42_0_2_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_942-42_0_2_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_942-42_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_942-42_0_2_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_942-42_0_2_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_942-42_0_2_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_942-42_0_2_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_942-42_0_2_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_942-42_0_2_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_942-42_0_2_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_942-42_0_2_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_942-42_0_2_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_942-42_0_2_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_942-42_0_2_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_942-42_0_2_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_942-42_0_2_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_942-42_0_2_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_942-42_0_2_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_942-42_0_2_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_942-42_0_2_node_69 | 0.4 | n |  | TRUE
44 | bus_LV_942-42_0_2_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_942-42_0_2_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_942-42_0_2_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_942-42_0_2_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_942-42_0_2_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_942-42_0_2_node_71 | 0.4 | n |  | TRUE
50 | bus_LV_942-42_0_2_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_942-42_0_2_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_942-42_0_2_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_942-42_0_2_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_942-42_0_2_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_942-42_0_2_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_942-42_0_2_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_942-42_0_2_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_942-42_0_2_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_942-42_0_2_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_942-42_0_2_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_942-42_0_2_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_942-42_0_2_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_942-42_0_2_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_942-42_0_2_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_942-42_0_2_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_942-42_0_2_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_942-42_0_2_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_942-42_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_942-42_0_2_node_66 | 0.4 | n |  | TRUE
70 | bus_MV_107_1_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-42_0_2_load_0 | 0 | 0.0038216 | 0.00095778 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-42_0_2_load_1 | 1 | 0.0073443 | 0.0018406 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-42_0_2_load_3 | 3 | 0.0055267 | 0.0013851 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-42_0_2_load_5 | 5 | 0.001143 | 0.00028646 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-42_0_2_load_35 | 6 | 0.0021636 | 0.00054224 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-42_0_2_load_33 | 7 | 0.0032743 | 0.00082063 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-42_0_2_load_41 | 8 | 0.00044575 | 0.00011172 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-42_0_2_load_72 | 9 | 0.00068271 | 0.0001711 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-42_0_2_load_34 | 10 | 0.0021448 | 0.00053754 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-42_0_2_load_6 | 12 | 0.0025398 | 0.00063653 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-42_0_2_load_7 | 13 | 0.0037756 | 0.00094626 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-42_0_2_load_8 | 14 | 0.003709 | 0.00092957 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-42_0_2_load_52 | 16 | 0.0051683 | 0.0012953 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-42_0_2_load_10 | 17 | 0.0040058 | 0.0010039 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-42_0_2_load_28 | 18 | 0.0030021 | 0.00075241 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-42_0_2_load_53 | 19 | 0.0013631 | 0.00034163 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-42_0_2_load_11 | 23 | 0.0039236 | 0.00098335 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-42_0_2_load_12 | 24 | 0.0050822 | 0.0012737 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-42_0_2_load_13 | 25 | 0.002202 | 0.00055187 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-42_0_2_load_14 | 26 | 0.0061236 | 0.0015347 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-42_0_2_load_40 | 28 | 0.0074175 | 0.001859 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-42_0_2_load_56 | 29 | 0.0017491 | 0.00043837 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-42_0_2_load_16 | 30 | 0.0010117 | 0.00025355 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-42_0_2_load_17 | 31 | 0.0022352 | 0.00056019 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-42_0_2_load_58 | 33 | 0.00093151 | 0.00023346 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-42_0_2_load_59 | 35 | 0.0010652 | 0.00026695 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-42_0_2_load_37 | 36 | 0.00094429 | 0.00023666 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-42_0_2_load_20 | 37 | 0.0071884 | 0.0018016 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-42_0_2_load_21 | 38 | 0.003512 | 0.00088018 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-42_0_2_load_22 | 39 | 0.0027896 | 0.00069914 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-42_0_2_load_23 | 40 | 0.0055002 | 0.0013785 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-42_0_2_load_24 | 41 | 0.010326 | 0.0025879 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-42_0_2_load_69 | 43 | 0.0012975 | 0.00032517 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-42_0_2_load_62 | 44 | 0.00041367 | 0.00010368 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-42_0_2_load_29 | 45 | 0.0062707 | 0.0015716 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-42_0_2_load_30 | 46 | 0.0021612 | 0.00054166 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-42_0_2_load_31 | 47 | 0.0063835 | 0.0015999 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-42_0_2_load_32 | 48 | 0.0021651 | 0.00054262 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-42_0_2_load_71 | 49 | 0.00067586 | 0.00016939 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-42_0_2_load_36 | 50 | 0.0019787 | 0.0004959 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-42_0_2_load_42 | 51 | 0.0014052 | 0.00035218 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-42_0_2_load_43 | 52 | 0.0017769 | 0.00044532 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-42_0_2_load_46 | 54 | 0.002256 | 0.00056542 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-42_0_2_load_55 | 57 | 0.00050718 | 0.00012711 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-42_0_2_load_49 | 58 | 0.0022478 | 0.00056335 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-42_0_2_load_67 | 59 | 0.0030306 | 0.00075954 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-42_0_2_load_50 | 60 | 0.0014921 | 0.00037396 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-42_0_2_load_51 | 61 | 0.0012689 | 0.00031801 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-42_0_2_load_57 | 62 | 0.0026685 | 0.00066878 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-42_0_2_load_68 | 63 | 0.0018921 | 0.0004742 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-42_0_2_load_70 | 64 | 0.00075934 | 0.00019031 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-42_0_2_load_60 | 65 | 0.00083732 | 0.00020985 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-42_0_2_load_61 | 66 | 0.00064575 | 0.00016184 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-42_0_2_load_63 | 67 | 0.00077015 | 0.00019302 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-42_0_2_load_65 | 68 | 0.0015496 | 0.00038836 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-42_0_2_load_66 | 69 | 0.0012445 | 0.00031189 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-42_0_2_line_0 |  | 0 | 1 | 0.025376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-42_0_2_line_1 |  | 0 | 2 | 0.015587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-42_0_2_line_2 |  | 1 | 3 | 0.033307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-42_0_2_line_3 |  | 2 | 4 | 0.025234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-42_0_2_line_4 |  | 2 | 5 | 0.0098687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-42_0_2_line_5 |  | 4 | 6 | 0.012955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-42_0_2_line_6 |  | 4 | 7 | 0.017403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-42_0_2_line_7 |  | 5 | 8 | 0.010485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-42_0_2_line_8 |  | 6 | 9 | 0.01249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-42_0_2_line_9 |  | 7 | 10 | 0.010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-42_0_2_line_10 |  | 8 | 11 | 0.018554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-42_0_2_line_11 |  | 9 | 49 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-42_0_2_line_12 |  | 10 | 48 | 0.010935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-42_0_2_line_13 |  | 11 | 27 | 0.009433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-42_0_2_line_14 |  | 11 | 25 | 0.030142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-42_0_2_line_15 |  | 12 | 13 | 0.038604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-42_0_2_line_16 |  | 12 | 14 | 0.0061977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-42_0_2_line_17 |  | 13 | 15 | 0.040524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_942-42_0_2_line_18 |  | 13 | 16 | 0.24722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-42_0_2_line_19 |  | 14 | 17 | 0.026218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_942-42_0_2_line_20 |  | 15 | 18 | 0.07086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-42_0_2_line_21 |  | 16 | 19 | 0.0025119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-42_0_2_line_22 |  | 17 | 20 | 0.022852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-42_0_2_line_23 |  | 20 | 21 | 0.021241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-42_0_2_line_24 |  | 20 | 22 | 0.006799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-42_0_2_line_25 |  | 21 | 28 | 0.019026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-42_0_2_line_26 |  | 21 | 26 | 0.045793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-42_0_2_line_27 |  | 22 | 42 | 0.096653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-42_0_2_line_28 |  | 22 | 43 | 0.009037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-42_0_2_line_29 |  | 23 | 24 | 0.024533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-42_0_2_line_30 |  | 23 | 25 | 0.019386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-42_0_2_line_31 |  | 24 | 26 | 0.025392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-42_0_2_line_32 |  | 27 | 29 | 0.0085122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-42_0_2_line_33 |  | 28 | 41 | 0.0061822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-42_0_2_line_34 |  | 29 | 55 | 0.041661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_942-42_0_2_line_35 |  | 30 | 31 | 0.018075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-42_0_2_line_36 |  | 31 | 32 | 0.027673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-42_0_2_line_37 |  | 32 | 33 | 0.074316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-42_0_2_line_38 |  | 32 | 34 | 0.047129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-42_0_2_line_39 |  | 33 | 35 | 0.019563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-42_0_2_line_40 |  | 34 | 36 | 0.059127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_942-42_0_2_line_41 |  | 35 | 65 | 0.00099443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-42_0_2_line_42 |  | 36 | 50 | 0.031381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-42_0_2_line_43 |  | 37 | 38 | 0.032911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_942-42_0_2_line_44 |  | 37 | 39 | 0.026982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-42_0_2_line_45 |  | 38 | 40 | 0.027515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-42_0_2_line_46 |  | 39 | 41 | 0.020281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_942-42_0_2_line_47 |  | 42 | 44 | 0.044067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-42_0_2_line_48 |  | 44 | 67 | 0.012382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_942-42_0_2_line_49 |  | 45 | 46 | 0.00016912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-42_0_2_line_50 |  | 45 | 47 | 0.03724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_942-42_0_2_line_51 |  | 46 | 48 | 0.014443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-42_0_2_line_52 |  | 49 | 64 | 0.014455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-42_0_2_line_53 |  | 51 | 52 | 0.022888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-42_0_2_line_54 |  | 51 | 53 | 0.041241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-42_0_2_line_55 |  | 52 | 54 | 0.23858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-42_0_2_line_56 |  | 53 | 55 | 0.043064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-42_0_2_line_57 |  | 54 | 56 | 0.010258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-42_0_2_line_58 |  | 55 | 62 | 0.028202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-42_0_2_line_59 |  | 56 | 57 | 0.024829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-42_0_2_line_60 |  | 57 | 61 | 0.0089467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-42_0_2_line_61 |  | 58 | 59 | 0.17672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-42_0_2_line_62 |  | 58 | 60 | 0.17997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-42_0_2_line_63 |  | 59 | 63 | 0.39136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-42_0_2_line_64 |  | 60 | 61 | 0.0039545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-42_0_2_line_65 |  | 63 | 66 | 0.0063505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-42_0_2_line_66 |  | 65 | 66 | 0.026448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-42_0_2_line_67 |  | 67 | 68 | 0.02841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-42_0_2_line_68 |  | 68 | 69 | 0.0069932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-42_0_2_trafo_14 | 0.63 MVA 20/0.4 kV | 70 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2616603.4982 | 1178609.0987 | 2616613.7106 | 1178609.4658 | 2616620.9528 | 1178606.8734 | 2616623.8586 | 1178599.9977
1 | 2616587.9207 | 1178608.5387 | 2616603.4982 | 1178609.0987
2 | 2616646.6488 | 1178580.9978 | 2616638.0393 | 1178580.6961 | 2616631.7866 | 1178584.6364 | 2616625.3593 | 1178596.4469 | 2616623.8586 | 1178599.9977
3 | 2616585.5834 | 1178583.4194 | 2616587.2704 | 1178600.5772 | 2616587.9207 | 1178608.5387
4 | 2616587.9207 | 1178608.5387 | 2616583.2451 | 1178617.2294
5 | 2616585.5834 | 1178583.4194 | 2616573.2096 | 1178579.5833 | 2616573.2096 | 1178579.5833
6 | 2616585.5834 | 1178583.4194 | 2616590.9546 | 1178580.5327 | 2616591.704 | 1178577.511 | 2616592.3926 | 1178569.3484
7 | 2616583.2451 | 1178617.2294 | 2616578.2776 | 1178626.4627
8 | 2616560.8493 | 1178581.381 | 2616573.2096 | 1178579.5833
9 | 2616592.3926 | 1178569.3484 | 2616592.9519 | 1178562.718 | 2616594.2408 | 1178558.7534
10 | 2616570.3679 | 1178643.2303 | 2616575.081 | 1178632.4044 | 2616578.2776 | 1178626.4627
11 | 2616549.0633 | 1178584.3256 | 2616557.0063 | 1178581.9399 | 2616560.8493 | 1178581.381
12 | 2616594.2408 | 1178558.7534 | 2616595.8261 | 1178553.8769 | 2616598.5577 | 1178548.7523
13 | 2616570.3679 | 1178643.2303 | 2616560.9186 | 1178642.7707
14 | 2616570.3679 | 1178643.2303 | 2616590.118 | 1178645.6526 | 2616600.2448 | 1178647.1941
15 | 2616760.4136 | 1178626.3954 | 2616762.3313 | 1178622.8292 | 2616769.8759 | 1178610.4438 | 2616773.3035 | 1178603.1941 | 2616776.202 | 1178591.5146
16 | 2616760.4136 | 1178626.3954 | 2616757.4784 | 1178631.854
17 | 2616780.0187 | 1178551.2529 | 2616778.9403 | 1178559.9099 | 2616778.2047 | 1178571.6138 | 2616777.4528 | 1178586.4749 | 2616776.202 | 1178591.5146
18 | 2616776.202 | 1178591.5146 | 2617016.231 | 1178650.7084
19 | 2616744.7767 | 1178654.7879 | 2616751.5874 | 1178642.8095 | 2616757.4784 | 1178631.854
20 | 2616780.0187 | 1178551.2529 | 2616780.038 | 1178544.3494 | 2616779.0205 | 1178531.1287 | 2616778.6955 | 1178521.6452 | 2616779.5303 | 1178515.4443 | 2616782.7806 | 1178508.8055 | 2616790.5097 | 1178498.7886 | 2616801.0292 | 1178488.1903
21 | 2617016.231 | 1178650.7084 | 2617018.1285 | 1178649.0625
22 | 2616733.1789 | 1178674.4745 | 2616738.9657 | 1178665.008 | 2616744.7767 | 1178654.7879
23 | 2616733.1789 | 1178674.4745 | 2616724.8402 | 1178670.2492 | 2616715.5373 | 1178666.6437 | 2616713.7057 | 1178665.9271
24 | 2616737.6568 | 1178679.6007 | 2616733.1789 | 1178674.4745
25 | 2616713.7057 | 1178665.9271 | 2616713.1067 | 1178646.9103
26 | 2616713.7057 | 1178665.9271 | 2616709.2259 | 1178664.1916 | 2616668.7482 | 1178657.7409
27 | 2616737.6568 | 1178679.6007 | 2616746.6613 | 1178694.3778 | 2616750.2155 | 1178704.7596 | 2616751.836 | 1178715.4141 | 2616753.6042 | 1178738.8754 | 2616755.6693 | 1178762.7267 | 2616756.6955 | 1178772.8014
28 | 2616737.6568 | 1178679.6007 | 2616741.8764 | 1178678.7453 | 2616744.7582 | 1178682.4981
29 | 2616619.4101 | 1178650.1113 | 2616643.6641 | 1178653.8031
30 | 2616600.2448 | 1178647.1941 | 2616619.4101 | 1178650.1113
31 | 2616668.7482 | 1178657.7409 | 2616652.0056 | 1178655.0728 | 2616643.6641 | 1178653.8031
32 | 2616560.9186 | 1178642.7707 | 2616552.4274 | 1178642.1738
33 | 2616713.1067 | 1178646.9103 | 2616712.912 | 1178640.7312
34 | 2616511.4283 | 1178647.993 | 2616531.8637 | 1178642.9132 | 2616548.5749 | 1178641.903 | 2616552.4274 | 1178642.1738
35 | 2616793.5339 | 1178969.9607 | 2616792.611 | 1178972.1704 | 2616792.6043 | 1178974.5605 | 2616793.4219 | 1178977.2308 | 2616793.9712 | 1178980.2561 | 2616793.7974 | 1178985.0247 | 2616794.0422 | 1178987.664
36 | 2616817.351 | 1178957.3096 | 2616813.5711 | 1178959.4446 | 2616810.9861 | 1178960.449 | 2616801.2073 | 1178963.2787 | 2616797.7876 | 1178965.0145 | 2616795.4817 | 1178967.3092 | 2616793.5339 | 1178969.9607 | 2616793.5339 | 1178969.9607
37 | 2616817.351 | 1178957.3096 | 2616811.9646 | 1178957.4947 | 2616804.5478 | 1178957.096 | 2616800.6999 | 1178956.2181 | 2616797.4108 | 1178954.9638 | 2616787.3786 | 1178950.0444 | 2616782.3584 | 1178947.6848 | 2616774.2142 | 1178945.1163 | 2616749.4063 | 1178937.7546 | 2616746.8308 | 1178936.4327
38 | 2616817.351 | 1178957.3096 | 2616821.2573 | 1178956.3867 | 2616824.409 | 1178954.8725 | 2616828.2578 | 1178952.7044 | 2616835.7754 | 1178947.1226 | 2616844.5897 | 1178939.5322 | 2616846.4284 | 1178937.692 | 2616847.9014 | 1178935.4728 | 2616849.8605 | 1178931.5207 | 2616854.1498 | 1178932.9779
39 | 2616729.426 | 1178927.4995 | 2616746.8308 | 1178936.4327
40 | 2616854.1498 | 1178932.9779 | 2616864.6356 | 1178915.0758 | 2616871.6525 | 1178897.3864 | 2616873.2143 | 1178885.3069 | 2616872.6767 | 1178878.1572
41 | 2616728.5413 | 1178927.0454 | 2616729.426 | 1178927.4995
42 | 2616855.6056 | 1178852.3517 | 2616860.9768 | 1178857.6473 | 2616866.009 | 1178863.9424 | 2616870.1529 | 1178870.9353 | 2616872.6767 | 1178878.1572 | 2616872.6767 | 1178878.1572
43 | 2616692.5822 | 1178574.6292 | 2616688.5891 | 1178607.2967
44 | 2616705.0694 | 1178623.0812 | 2616705.0694 | 1178623.0812 | 2616689.4163 | 1178617.157 | 2616687.8219 | 1178613.5729 | 2616688.5891 | 1178607.2967
45 | 2616695.9207 | 1178547.317 | 2616692.5822 | 1178574.6292
46 | 2616705.0694 | 1178623.0812 | 2616709.244 | 1178627.4284 | 2616712.6737 | 1178633.163 | 2616712.912 | 1178640.7312
47 | 2616756.6955 | 1178772.8014 | 2616750.4035 | 1178771.6722 | 2616739.7845 | 1178755.1009 | 2616727.3212 | 1178742.1233
48 | 2616727.3212 | 1178742.1233 | 2616722.2714 | 1178736.8651 | 2616717.6716 | 1178734.6815
49 | 2616604.8022 | 1178535.5476 | 2616604.7323 | 1178535.7016
50 | 2616625.2501 | 1178506.0336 | 2616617.0247 | 1178510.4798 | 2616613.1598 | 1178518.4399 | 2616605.8609 | 1178533.2162 | 2616604.8022 | 1178535.5476
51 | 2616598.5577 | 1178548.7523 | 2616600.2342 | 1178545.607 | 2616604.7323 | 1178535.7016
52 | 2616535.2188 | 1178588.4837 | 2616549.0633 | 1178584.3256
53 | 2616465.0768 | 1178696.4598 | 2616463.3016 | 1178707.7473 | 2616458.8242 | 1178718.2982
54 | 2616469.6701 | 1178655.8493 | 2616465.6999 | 1178668.9007 | 2616465.5875 | 1178693.2128 | 2616465.0768 | 1178696.4598
55 | 2616458.8242 | 1178718.2982 | 2616375.8145 | 1178941.9723
56 | 2616511.4283 | 1178647.993 | 2616509.3636 | 1178648.6988 | 2616494.0772 | 1178653.8929 | 2616481.3482 | 1178657.0485 | 2616469.6701 | 1178655.8493
57 | 2616373.7323 | 1178952.0171 | 2616375.8145 | 1178941.9723
58 | 2616511.4283 | 1178647.993 | 2616506.524 | 1178636.6626 | 2616506.8964 | 1178620.8108
59 | 2616373.7323 | 1178952.0171 | 2616370.8496 | 1178955.7556 | 2616364.9349 | 1178962.0427 | 2616360.3276 | 1178967.911 | 2616358.6705 | 1178971.5682
60 | 2616354.9781 | 1178979.7174 | 2616358.6705 | 1178971.5682
61 | 2616238.2492 | 1179121.6758 | 2616407.4382 | 1179172.7276
62 | 2616353.3461 | 1178983.3194 | 2616238.2492 | 1179121.6758
63 | 2616699.3623 | 1178912.069 | 2616407.4382 | 1179172.7276
64 | 2616353.3461 | 1178983.3194 | 2616354.9781 | 1178979.7174
65 | 2616699.3623 | 1178912.069 | 2616705.0121 | 1178914.9688
66 | 2616728.5413 | 1178927.0454 | 2616705.0121 | 1178914.9688
67 | 2616717.6716 | 1178734.6815 | 2616711.2236 | 1178731.6206 | 2616690.1301 | 1178728.868
68 | 2616683.1909 | 1178729.6974 | 2616689.9851 | 1178728.8491 | 2616690.1301 | 1178728.868

## bus_geodata
| x | y | coords
0 | 2616603.4982 | 1178609.0987
1 | 2616623.8586 | 1178599.9977
2 | 2616587.9207 | 1178608.5387
3 | 2616646.6487 | 1178580.9978
4 | 2616585.5834 | 1178583.4194
5 | 2616583.2451 | 1178617.2294
6 | 2616573.2096 | 1178579.5833
7 | 2616592.3926 | 1178569.3484
8 | 2616578.2776 | 1178626.4627
9 | 2616560.8493 | 1178581.381
10 | 2616594.2408 | 1178558.7534
11 | 2616570.3679 | 1178643.2303
12 | 2616760.4136 | 1178626.3954
13 | 2616776.202 | 1178591.5146
14 | 2616757.4784 | 1178631.854
15 | 2616780.0187 | 1178551.2529
16 | 2617016.231 | 1178650.7084
17 | 2616744.7767 | 1178654.7879
18 | 2616801.0292 | 1178488.1903
19 | 2617018.1285 | 1178649.0625
20 | 2616733.1789 | 1178674.4745
21 | 2616713.7057 | 1178665.9271
22 | 2616737.6568 | 1178679.6007
23 | 2616619.4101 | 1178650.1113
24 | 2616643.6641 | 1178653.8031
25 | 2616600.2448 | 1178647.1941
26 | 2616668.7482 | 1178657.7409
27 | 2616560.9186 | 1178642.7707
28 | 2616713.1067 | 1178646.9103
29 | 2616552.4274 | 1178642.1738
30 | 2616794.0422 | 1178987.664
31 | 2616793.5339 | 1178969.9607
32 | 2616817.351 | 1178957.3096
33 | 2616746.8308 | 1178936.4327
34 | 2616854.1498 | 1178932.9779
35 | 2616729.426 | 1178927.4995
36 | 2616872.6767 | 1178878.1572
37 | 2616688.5891 | 1178607.2967
38 | 2616692.5822 | 1178574.6292
39 | 2616705.0694 | 1178623.0812
40 | 2616695.9207 | 1178547.317
41 | 2616712.912 | 1178640.7312
42 | 2616756.6955 | 1178772.8014
43 | 2616744.7582 | 1178682.4981
44 | 2616727.3212 | 1178742.1233
45 | 2616604.8022 | 1178535.5476
46 | 2616604.7323 | 1178535.7016
47 | 2616625.2501 | 1178506.0336
48 | 2616598.5577 | 1178548.7523
49 | 2616549.0633 | 1178584.3256
50 | 2616855.6056 | 1178852.3517
51 | 2616465.0768 | 1178696.4598
52 | 2616458.8242 | 1178718.2982
53 | 2616469.6701 | 1178655.8493
54 | 2616375.8145 | 1178941.9723
55 | 2616511.4283 | 1178647.993
56 | 2616373.7323 | 1178952.0171
57 | 2616358.6705 | 1178971.5682
58 | 2616238.2492 | 1179121.6758
59 | 2616407.4382 | 1179172.7276
60 | 2616353.3461 | 1178983.3194
61 | 2616354.9781 | 1178979.7174
62 | 2616506.8964 | 1178620.8108
63 | 2616699.3623 | 1178912.069
64 | 2616535.2188 | 1178588.4837
65 | 2616728.5413 | 1178927.0454
66 | 2616705.0121 | 1178914.9688
67 | 2616717.6716 | 1178734.6815
68 | 2616690.1301 | 1178728.868
69 | 2616683.1909 | 1178729.6974
70 | 2616668.7482 | 1178657.7409

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1