## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-53_1_4_node_109 | 0.4 | n |  | TRUE
1 | bus_LV_942-53_1_4_node_117 | 0.4 | n |  | TRUE
2 | bus_LV_942-53_1_4_node_108 | 0.4 | n |  | TRUE
3 | bus_LV_942-53_1_4_node_107 | 0.4 | n |  | TRUE
4 | bus_LV_942-53_1_4_node_105 | 0.4 | n |  | TRUE
5 | bus_LV_942-53_1_4_node_111 | 0.4 | n |  | TRUE
6 | bus_LV_942-53_1_4_node_112 | 0.4 | n |  | TRUE
7 | bus_LV_942-53_1_4_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_942-53_1_4_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_942-53_1_4_node_77 | 0.4 | n |  | TRUE
10 | bus_LV_942-53_1_4_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_942-53_1_4_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_942-53_1_4_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_942-53_1_4_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_942-53_1_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_942-53_1_4_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_942-53_1_4_node_44 | 0.4 | n |  | TRUE
17 | bus_LV_942-53_1_4_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_942-53_1_4_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_942-53_1_4_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_942-53_1_4_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_942-53_1_4_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_942-53_1_4_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_942-53_1_4_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_942-53_1_4_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_942-53_1_4_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_942-53_1_4_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_942-53_1_4_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_942-53_1_4_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_942-53_1_4_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_942-53_1_4_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_942-53_1_4_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_942-53_1_4_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_942-53_1_4_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_942-53_1_4_node_68 | 0.4 | n |  | TRUE
35 | bus_LV_942-53_1_4_node_86 | 0.4 | n |  | TRUE
36 | bus_LV_942-53_1_4_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_942-53_1_4_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_942-53_1_4_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_942-53_1_4_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_942-53_1_4_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_942-53_1_4_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_942-53_1_4_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_942-53_1_4_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_942-53_1_4_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_942-53_1_4_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_942-53_1_4_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_942-53_1_4_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_942-53_1_4_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_942-53_1_4_node_118 | 0.4 | n |  | TRUE
50 | bus_LV_942-53_1_4_node_104 | 0.4 | n |  | TRUE
51 | bus_LV_942-53_1_4_node_102 | 0.4 | n |  | TRUE
52 | bus_LV_942-53_1_4_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_942-53_1_4_node_80 | 0.4 | n |  | TRUE
54 | bus_LV_942-53_1_4_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_942-53_1_4_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_942-53_1_4_node_90 | 0.4 | n |  | TRUE
57 | bus_LV_942-53_1_4_node_88 | 0.4 | n |  | TRUE
58 | bus_LV_942-53_1_4_node_89 | 0.4 | n |  | TRUE
59 | bus_LV_942-53_1_4_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_942-53_1_4_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_942-53_1_4_node_114 | 0.4 | n |  | TRUE
62 | bus_LV_942-53_1_4_node_113 | 0.4 | n |  | TRUE
63 | bus_LV_942-53_1_4_node_93 | 0.4 | n |  | TRUE
64 | bus_LV_942-53_1_4_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_942-53_1_4_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_942-53_1_4_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_942-53_1_4_node_97 | 0.4 | n |  | TRUE
68 | bus_LV_942-53_1_4_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_942-53_1_4_node_99 | 0.4 | n |  | TRUE
70 | bus_LV_942-53_1_4_node_100 | 0.4 | n |  | TRUE
71 | bus_LV_942-53_1_4_node_101 | 0.4 | n |  | TRUE
72 | bus_LV_942-53_1_4_node_103 | 0.4 | n |  | TRUE
73 | bus_LV_942-53_1_4_node_106 | 0.4 | n |  | TRUE
74 | bus_LV_942-53_1_4_node_116 | 0.4 | n |  | TRUE
75 | bus_LV_942-53_1_4_node_115 | 0.4 | n |  | TRUE
76 | bus_MV_208_1_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-53_1_4_load_117 | 1 | 0.0047515 | 0.0011908 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-53_1_4_load_108 | 2 | 0.009034 | 0.0022641 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-53_1_4_load_105 | 4 | 0.0021091 | 0.00052859 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-53_1_4_load_111 | 5 | 0.0077266 | 0.0019365 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-53_1_4_load_112 | 6 | 0.0020799 | 0.00052126 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-53_1_4_load_79 | 8 | 0.0136 | 0.0034084 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-53_1_4_load_77 | 9 | 0.0078696 | 0.0019723 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-53_1_4_load_38 | 10 | 0.001601 | 0.00040124 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-53_1_4_load_39 | 11 | 0.0014649 | 0.00036715 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-53_1_4_load_40 | 12 | 0.0019732 | 0.00049453 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-53_1_4_load_41 | 13 | 0.0016189 | 0.00040574 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-53_1_4_load_42 | 14 | 0.0018252 | 0.00045744 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-53_1_4_load_44 | 16 | 0.0028067 | 0.00070344 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-53_1_4_load_49 | 17 | 0.0029823 | 0.00074744 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-53_1_4_load_51 | 18 | 0.0028364 | 0.00071088 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-53_1_4_load_64 | 19 | 0.0024033 | 0.00060232 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-53_1_4_load_52 | 20 | 0.0056334 | 0.0014119 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-53_1_4_load_45 | 22 | 0.0016413 | 0.00041134 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-53_1_4_load_46 | 23 | 0.0018344 | 0.00045975 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-53_1_4_load_48 | 24 | 0.0016578 | 0.00041548 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-53_1_4_load_61 | 25 | 0.0016199 | 0.000406 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-53_1_4_load_53 | 26 | 0.0017377 | 0.0004355 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-53_1_4_load_54 | 27 | 0.0030517 | 0.00076482 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-53_1_4_load_58 | 28 | 0.0028703 | 0.00071937 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-53_1_4_load_56 | 29 | 0.0025964 | 0.00065072 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-53_1_4_load_55 | 30 | 0.0095769 | 0.0024002 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-53_1_4_load_57 | 31 | 0.001271 | 0.00031853 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-53_1_4_load_59 | 32 | 0.00462 | 0.0011579 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-53_1_4_load_60 | 33 | 0.0068387 | 0.0017139 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-53_1_4_load_68 | 34 | 0.0066161 | 0.0016582 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-53_1_4_load_86 | 35 | 0.0022662 | 0.00056796 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-53_1_4_load_62 | 36 | 0.011467 | 0.0028739 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-53_1_4_load_63 | 37 | 0.0057195 | 0.0014334 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-53_1_4_load_65 | 38 | 0.0042095 | 0.001055 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-53_1_4_load_85 | 39 | 0.0089061 | 0.0022321 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-53_1_4_load_69 | 40 | 0.0030968 | 0.00077612 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-53_1_4_load_70 | 41 | 0.0041797 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-53_1_4_load_71 | 42 | 0.0043614 | 0.0010931 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-53_1_4_load_72 | 43 | 0.00618 | 0.0015488 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-53_1_4_load_74 | 45 | 0.0021962 | 0.00055042 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-53_1_4_load_76 | 47 | 0.0034342 | 0.00086069 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-53_1_4_load_87 | 48 | 0.0066419 | 0.0016646 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-53_1_4_load_118 | 49 | 0.0086365 | 0.0021645 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-53_1_4_load_104 | 50 | 0.0027524 | 0.00068981 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-53_1_4_load_102 | 51 | 0.0097019 | 0.0024315 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-53_1_4_load_81 | 52 | 0.016061 | 0.0040252 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-53_1_4_load_80 | 53 | 0.021675 | 0.0054322 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-53_1_4_load_83 | 54 | 0.011539 | 0.002892 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-53_1_4_load_84 | 55 | 0.004316 | 0.0010817 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-53_1_4_load_90 | 56 | 0.01182 | 0.0029623 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-53_1_4_load_88 | 57 | 0.018091 | 0.0045341 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-53_1_4_load_89 | 58 | 0.0067846 | 0.0017004 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-53_1_4_load_91 | 59 | 0.0038133 | 0.00095571 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-53_1_4_load_92 | 60 | 0.0097018 | 0.0024315 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-53_1_4_load_114 | 61 | 0.0073165 | 0.0018337 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-53_1_4_load_113 | 62 | 0.0043936 | 0.0011011 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-53_1_4_load_93 | 63 | 0.0027844 | 0.00069782 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-53_1_4_load_94 | 64 | 0.0041962 | 0.0010517 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-53_1_4_load_96 | 66 | 0.0020195 | 0.00050614 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-53_1_4_load_97 | 67 | 0.0046068 | 0.0011546 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-53_1_4_load_99 | 69 | 0.0040623 | 0.0010181 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-53_1_4_load_100 | 70 | 0.0074178 | 0.0018591 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-53_1_4_load_101 | 71 | 0.0022867 | 0.00057309 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-53_1_4_load_103 | 72 | 0.0040263 | 0.0010091 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-53_1_4_load_106 | 73 | 0.0039885 | 0.00099962 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-53_1_4_load_115 | 75 | 0.0018646 | 0.0004673 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-53_1_4_line_0 |  | 0 | 1 | 0.0095444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-53_1_4_line_1 |  | 0 | 2 | 0.010274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-53_1_4_line_2 |  | 1 | 74 | 0.0064863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-53_1_4_line_3 |  | 2 | 3 | 0.040117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-53_1_4_line_4 |  | 3 | 4 | 0.060902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-53_1_4_line_5 |  | 4 | 73 | 0.0128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-53_1_4_line_6 |  | 5 | 6 | 0.023192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-53_1_4_line_7 |  | 6 | 75 | 0.018871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-53_1_4_line_8 |  | 7 | 8 | 0.017019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-53_1_4_line_9 |  | 7 | 9 | 0.020283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-53_1_4_line_10 |  | 8 | 52 | 0.021103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-53_1_4_line_11 |  | 9 | 38 | 0.028197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-53_1_4_line_12 |  | 10 | 11 | 0.010234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-53_1_4_line_13 |  | 10 | 12 | 0.0087434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-53_1_4_line_14 |  | 11 | 13 | 0.0075084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-53_1_4_line_15 |  | 12 | 14 | 0.0096233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-53_1_4_line_16 |  | 13 | 15 | 0.025592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-53_1_4_line_17 |  | 14 | 16 | 0.01588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_942-53_1_4_line_18 |  | 15 | 17 | 0.027827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-53_1_4_line_19 |  | 15 | 18 | 0.011808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_942-53_1_4_line_20 |  | 16 | 19 | 0.0026811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-53_1_4_line_21 |  | 18 | 20 | 0.00039357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-53_1_4_line_22 |  | 19 | 21 | 0.030051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-53_1_4_line_23 |  | 20 | 26 | 0.022025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-53_1_4_line_24 |  | 21 | 25 | 0.011391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-53_1_4_line_25 |  | 21 | 24 | 0.00057673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-53_1_4_line_26 |  | 22 | 23 | 0.0010578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-53_1_4_line_27 |  | 23 | 24 | 0.017374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-53_1_4_line_28 |  | 26 | 27 | 0.0048493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-53_1_4_line_29 |  | 27 | 28 | 0.0080938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-53_1_4_line_30 |  | 28 | 29 | 0.0037665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-53_1_4_line_31 |  | 29 | 30 | 0.0082555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-53_1_4_line_32 |  | 30 | 31 | 0.024263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-53_1_4_line_33 |  | 31 | 32 | 0.0044782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-53_1_4_line_34 |  | 32 | 33 | 0.0055701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_942-53_1_4_line_35 |  | 33 | 34 | 0.013228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-53_1_4_line_36 |  | 34 | 35 | 0.0041374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-53_1_4_line_37 |  | 35 | 39 | 0.013706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-53_1_4_line_38 |  | 36 | 37 | 0.0021669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-53_1_4_line_39 |  | 37 | 38 | 0.0027027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-53_1_4_line_40 |  | 39 | 48 | 0.034817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_942-53_1_4_line_41 |  | 39 | 55 | 0.016949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-53_1_4_line_42 |  | 40 | 41 | 0.018321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_942-53_1_4_line_43 |  | 40 | 42 | 0.0082812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_942-53_1_4_line_44 |  | 41 | 43 | 0.0082994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_942-53_1_4_line_45 |  | 42 | 44 | 0.011375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_942-53_1_4_line_46 |  | 43 | 45 | 0.010416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_942-53_1_4_line_47 |  | 44 | 46 | 0.030714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-53_1_4_line_48 |  | 44 | 47 | 0.030752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_942-53_1_4_line_49 |  | 45 | 48 | 0.015766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_942-53_1_4_line_50 |  | 46 | 49 | 0.026959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_942-53_1_4_line_51 |  | 47 | 50 | 0.014947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_942-53_1_4_line_52 |  | 50 | 51 | 0.011826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_942-53_1_4_line_53 |  | 51 | 72 | 0.010568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_942-53_1_4_line_54 |  | 52 | 55 | 0.011937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-53_1_4_line_55 |  | 53 | 54 | 0.041696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-53_1_4_line_56 |  | 54 | 56 | 0.0096486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-53_1_4_line_57 |  | 56 | 57 | 0.02368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-53_1_4_line_58 |  | 57 | 58 | 0.0029297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-53_1_4_line_59 |  | 58 | 59 | 0.020931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-53_1_4_line_60 |  | 59 | 60 | 0.0022746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-53_1_4_line_61 |  | 60 | 61 | 0.00013816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-53_1_4_line_62 |  | 61 | 62 | 0.021357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-53_1_4_line_63 |  | 62 | 70 | 0.00026296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-53_1_4_line_64 |  | 63 | 64 | 0.0020654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_942-53_1_4_line_65 |  | 63 | 65 | 0.048599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_942-53_1_4_line_66 |  | 64 | 66 | 0.0029056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_942-53_1_4_line_67 |  | 65 | 67 | 0.025903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_942-53_1_4_line_68 |  | 65 | 68 | 0.02799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-53_1_4_line_69 |  | 66 | 69 | 0.018405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_942-53_1_4_line_70 |  | 67 | 70 | 0.028047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_942-53_1_4_line_71 |  | 68 | 71 | 0.0069205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-53_1_4_line_72 |  | 69 | 72 | 0.01191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_942-53_1_4_line_73 |  | 71 | 73 | 0.021068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-53_1_4_line_74 |  | 74 | 75 | 0.020512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-53_1_4_trafo_85 | 0.63 MVA 20/0.4 kV | 76 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2614441.337 | 1176508.8918 | 2614441.933 | 1176518.4175
1 | 2614441.337 | 1176508.8918 | 2614440.7586 | 1176498.6345
2 | 2614442.338 | 1176524.8912 | 2614441.933 | 1176518.4175
3 | 2614438.4999 | 1176458.5816 | 2614440.7586 | 1176498.6345
4 | 2614438.4999 | 1176458.5816 | 2614430.6649 | 1176459.0964 | 2614378.5519 | 1176469.0211
5 | 2614378.5519 | 1176469.0211 | 2614365.9777 | 1176471.4157
6 | 2614445.5797 | 1176587.3821 | 2614444.3782 | 1176564.2208
7 | 2614443.4006 | 1176545.3754 | 2614444.3782 | 1176564.2208
8 | 2614410.5176 | 1176683.1956 | 2614394.9076 | 1176676.4143
9 | 2614410.5176 | 1176683.1956 | 2614404.4805 | 1176702.5592
10 | 2614394.9076 | 1176676.4143 | 2614389.2633 | 1176673.9623 | 2614375.5709 | 1176667.9623
11 | 2614404.4805 | 1176702.5592 | 2614396.0877 | 1176729.4783
12 | 2614320.9177 | 1176747.7889 | 2614311.6729 | 1176743.3992
13 | 2614320.9177 | 1176747.7889 | 2614328.8159 | 1176751.5392
14 | 2614311.6729 | 1176743.3992 | 2614304.8902 | 1176740.1786
15 | 2614328.8159 | 1176751.5392 | 2614337.509 | 1176755.667
16 | 2614281.7719 | 1176729.2014 | 2614304.8902 | 1176740.1786
17 | 2614351.8537 | 1176762.4782 | 2614337.509 | 1176755.667
18 | 2614281.7719 | 1176729.2014 | 2614276.3732 | 1176743.4847 | 2614275.1537 | 1176748.5289 | 2614275.1457 | 1176751.8972 | 2614275.612 | 1176755.8695
19 | 2614281.7719 | 1176729.2014 | 2614285.9515 | 1176718.1577
20 | 2614354.2756 | 1176763.6282 | 2614351.8537 | 1176762.4782
21 | 2614285.9515 | 1176718.1577 | 2614286.0908 | 1176717.7896
22 | 2614381.4218 | 1176776.5181 | 2614354.2756 | 1176763.6282
23 | 2614293.8868 | 1176697.1903 | 2614286.0908 | 1176717.7896
24 | 2614381.4218 | 1176776.5181 | 2614384.8122 | 1176765.6436
25 | 2614381.245 | 1176777.067 | 2614381.4218 | 1176776.5181
26 | 2614375.5952 | 1176794.6112 | 2614375.9194 | 1176793.6043
27 | 2614381.245 | 1176777.067 | 2614375.9194 | 1176793.6043
28 | 2614295.6033 | 1176692.655 | 2614293.8868 | 1176697.1903
29 | 2614295.6033 | 1176692.655 | 2614298.4682 | 1176685.0852 | 2614298.4682 | 1176685.0852
30 | 2614300.89 | 1176682.2006 | 2614300.89 | 1176682.2006 | 2614298.4682 | 1176685.0852
31 | 2614308.5524 | 1176680.2289 | 2614304.5099 | 1176680.0525 | 2614300.89 | 1176682.2006
32 | 2614308.5524 | 1176680.2289 | 2614313.3093 | 1176682.03 | 2614330.6072 | 1176690.3086
33 | 2614334.9332 | 1176690.1188 | 2614334.9332 | 1176690.1188 | 2614333.0364 | 1176690.7702 | 2614330.6072 | 1176690.3086
34 | 2614337.3887 | 1176685.1428 | 2614336.1299 | 1176688.2318 | 2614334.9332 | 1176690.1188
35 | 2614337.3887 | 1176685.1428 | 2614342.3803 | 1176672.8933
36 | 2614343.9416 | 1176669.0618 | 2614342.3803 | 1176672.8933
37 | 2614349.1138 | 1176656.3687 | 2614343.9416 | 1176669.0618
38 | 2614394.6383 | 1176734.1271 | 2614395.2833 | 1176732.0585
39 | 2614396.0877 | 1176729.4783 | 2614395.2833 | 1176732.0585
40 | 2614349.1138 | 1176656.3687 | 2614317.0397 | 1176642.8236
41 | 2614349.1138 | 1176656.3687 | 2614364.638 | 1176663.1715
42 | 2614267.6225 | 1176624.2262 | 2614284.776 | 1176630.6607
43 | 2614267.6225 | 1176624.2262 | 2614259.8688 | 1176621.3177
44 | 2614284.776 | 1176630.6607 | 2614292.5467 | 1176633.5755
45 | 2614249.1821 | 1176617.4228 | 2614255.184 | 1176619.5604 | 2614259.8688 | 1176621.3177
46 | 2614302.2993 | 1176637.2338 | 2614292.5467 | 1176633.5755
47 | 2614249.1821 | 1176617.4228 | 2614220.1573 | 1176607.1379
48 | 2614249.1821 | 1176617.4228 | 2614249.875 | 1176608.809 | 2614253.0849 | 1176586.9326
49 | 2614302.2993 | 1176637.2338 | 2614315.7576 | 1176642.2822 | 2614317.0397 | 1176642.8236
50 | 2614213.7141 | 1176633.3138 | 2614220.1573 | 1176607.1379
51 | 2614253.0849 | 1176586.9326 | 2614253.821 | 1176581.9157 | 2614254.7102 | 1176577.5601 | 2614256.9448 | 1176573.0742 | 2614257.1491 | 1176572.7084
52 | 2614262.9147 | 1176562.3836 | 2614257.1491 | 1176572.7084
53 | 2614262.9147 | 1176562.3836 | 2614268.0674 | 1176553.1565
54 | 2614375.5709 | 1176667.9623 | 2614364.638 | 1176663.1715
55 | 2614401.7693 | 1176633.3366 | 2614380.3374 | 1176597.5706
56 | 2614375.378 | 1176589.2941 | 2614380.3374 | 1176597.5706
57 | 2614363.2065 | 1176568.9819 | 2614375.378 | 1176589.2941
58 | 2614363.2065 | 1176568.9819 | 2614361.7006 | 1176566.4689
59 | 2614350.9419 | 1176548.5145 | 2614361.7006 | 1176566.4689
60 | 2614350.9419 | 1176548.5145 | 2614349.7728 | 1176546.5634
61 | 2614349.7728 | 1176546.5634 | 2614349.7017 | 1176546.4449
62 | 2614349.7017 | 1176546.4449 | 2614338.7243 | 1176528.1255
63 | 2614338.7243 | 1176528.1255 | 2614338.5892 | 1176527.8999
64 | 2614285.2714 | 1176522.3485 | 2614284.2644 | 1176524.1518
65 | 2614310.8585 | 1176481.6221 | 2614307.8278 | 1176483.3825 | 2614305.6745 | 1176485.8119 | 2614285.2714 | 1176522.3485
66 | 2614284.2644 | 1176524.1518 | 2614282.8477 | 1176526.6887
67 | 2614310.8585 | 1176481.6221 | 2614324.1729 | 1176503.8416
68 | 2614338.4832 | 1176476.6519 | 2614310.8585 | 1176481.6221
69 | 2614273.8743 | 1176542.7578 | 2614282.8477 | 1176526.6887
70 | 2614324.1729 | 1176503.8416 | 2614338.5892 | 1176527.8999
71 | 2614338.4832 | 1176476.6519 | 2614345.2815 | 1176475.3572
72 | 2614268.0674 | 1176553.1565 | 2614273.8743 | 1176542.7578
73 | 2614365.9777 | 1176471.4157 | 2614345.2815 | 1176475.3572
74 | 2614442.338 | 1176524.8912 | 2614443.4006 | 1176545.3754

## bus_geodata
| x | y | coords
0 | 2614441.337 | 1176508.8918
1 | 2614441.933 | 1176518.4175
2 | 2614440.7586 | 1176498.6345
3 | 2614438.4999 | 1176458.5816
4 | 2614378.5519 | 1176469.0211
5 | 2614445.5797 | 1176587.3821
6 | 2614444.3782 | 1176564.2208
7 | 2614410.5176 | 1176683.1956
8 | 2614394.9076 | 1176676.4143
9 | 2614404.4805 | 1176702.5592
10 | 2614320.9177 | 1176747.7889
11 | 2614311.6729 | 1176743.3992
12 | 2614328.8159 | 1176751.5392
13 | 2614304.8902 | 1176740.1786
14 | 2614337.509 | 1176755.667
15 | 2614281.7719 | 1176729.2014
16 | 2614351.8537 | 1176762.4782
17 | 2614275.612 | 1176755.8695
18 | 2614285.9515 | 1176718.1577
19 | 2614354.2756 | 1176763.6282
20 | 2614286.0908 | 1176717.7896
21 | 2614381.4218 | 1176776.5181
22 | 2614375.5952 | 1176794.6112
23 | 2614375.9194 | 1176793.6043
24 | 2614381.245 | 1176777.067
25 | 2614384.8122 | 1176765.6436
26 | 2614293.8868 | 1176697.1903
27 | 2614295.6033 | 1176692.655
28 | 2614298.4682 | 1176685.0852
29 | 2614300.89 | 1176682.2006
30 | 2614308.5524 | 1176680.2289
31 | 2614330.6072 | 1176690.3086
32 | 2614334.9332 | 1176690.1188
33 | 2614337.3887 | 1176685.1428
34 | 2614342.3803 | 1176672.8933
35 | 2614343.9416 | 1176669.0618
36 | 2614394.6383 | 1176734.1271
37 | 2614395.2833 | 1176732.0585
38 | 2614396.0877 | 1176729.4783
39 | 2614349.1138 | 1176656.3687
40 | 2614267.6225 | 1176624.2262
41 | 2614284.776 | 1176630.6607
42 | 2614259.8688 | 1176621.3177
43 | 2614292.5467 | 1176633.5755
44 | 2614249.1821 | 1176617.4228
45 | 2614302.2993 | 1176637.2338
46 | 2614220.1573 | 1176607.1379
47 | 2614253.0849 | 1176586.9326
48 | 2614317.0397 | 1176642.8236
49 | 2614213.7141 | 1176633.3138
50 | 2614257.1491 | 1176572.7084
51 | 2614262.9147 | 1176562.3836
52 | 2614375.5709 | 1176667.9623
53 | 2614401.7693 | 1176633.3366
54 | 2614380.3374 | 1176597.5706
55 | 2614364.638 | 1176663.1715
56 | 2614375.378 | 1176589.2941
57 | 2614363.2065 | 1176568.9819
58 | 2614361.7006 | 1176566.4689
59 | 2614350.9419 | 1176548.5145
60 | 2614349.7728 | 1176546.5634
61 | 2614349.7017 | 1176546.4449
62 | 2614338.7243 | 1176528.1255
63 | 2614285.2714 | 1176522.3485
64 | 2614284.2644 | 1176524.1518
65 | 2614310.8585 | 1176481.6221
66 | 2614282.8477 | 1176526.6887
67 | 2614324.1729 | 1176503.8416
68 | 2614338.4832 | 1176476.6519
69 | 2614273.8743 | 1176542.7578
70 | 2614338.5892 | 1176527.8999
71 | 2614345.2815 | 1176475.3572
72 | 2614268.0674 | 1176553.1565
73 | 2614365.9777 | 1176471.4157
74 | 2614442.338 | 1176524.8912
75 | 2614443.4006 | 1176545.3754
76 | 2614410.5176 | 1176683.1956

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1