## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-57_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-57_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-57_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-57_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-57_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_942-57_0_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_942-57_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_942-57_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_942-57_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_942-57_0_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_942-57_0_4_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_942-57_0_4_node_89 | 0.4 | n |  | TRUE
12 | bus_LV_942-57_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_942-57_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_942-57_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_942-57_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_942-57_0_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_942-57_0_4_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_942-57_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_942-57_0_4_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_942-57_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_942-57_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_942-57_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_942-57_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_942-57_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_942-57_0_4_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_942-57_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_942-57_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_942-57_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_942-57_0_4_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_942-57_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_942-57_0_4_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_942-57_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_942-57_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_942-57_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_942-57_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_942-57_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_942-57_0_4_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_942-57_0_4_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_942-57_0_4_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_942-57_0_4_node_84 | 0.4 | n |  | TRUE
41 | bus_LV_942-57_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_942-57_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_942-57_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_942-57_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_942-57_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_942-57_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_942-57_0_4_node_95 | 0.4 | n |  | TRUE
48 | bus_LV_942-57_0_4_node_93 | 0.4 | n |  | TRUE
49 | bus_LV_942-57_0_4_node_94 | 0.4 | n |  | TRUE
50 | bus_LV_942-57_0_4_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_942-57_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_942-57_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_942-57_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_942-57_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_942-57_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_942-57_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_942-57_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_942-57_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_942-57_0_4_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_942-57_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_942-57_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_942-57_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_942-57_0_4_node_92 | 0.4 | n |  | TRUE
64 | bus_LV_942-57_0_4_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_942-57_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_942-57_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_942-57_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_942-57_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_942-57_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_942-57_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_942-57_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_942-57_0_4_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_942-57_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_942-57_0_4_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_942-57_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_942-57_0_4_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_942-57_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_942-57_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_942-57_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_942-57_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_942-57_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_942-57_0_4_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_942-57_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_942-57_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_942-57_0_4_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_942-57_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_942-57_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_MV_123_1_node_164 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-57_0_4_load_0 | 0 | 0.033902 | 0.0084966 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-57_0_4_load_1 | 1 | 0.058583 | 0.014682 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-57_0_4_load_3 | 3 | 0.011283 | 0.0028277 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-57_0_4_load_6 | 6 | 0.0060362 | 0.0015128 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-57_0_4_load_45 | 9 | 0.0020906 | 0.00052395 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-57_0_4_load_89 | 11 | 0.0033023 | 0.00082762 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-57_0_4_load_9 | 13 | 0.0021142 | 0.00052987 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-57_0_4_load_12 | 15 | 0.0014518 | 0.00036386 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-57_0_4_load_27 | 16 | 0.0021499 | 0.00053881 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-57_0_4_load_26 | 17 | 0.0034244 | 0.00085825 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-57_0_4_load_25 | 18 | 0.0046942 | 0.0011765 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-57_0_4_load_28 | 19 | 0.0020625 | 0.00051691 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-57_0_4_load_13 | 20 | 0.0028685 | 0.00071892 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-57_0_4_load_14 | 21 | 0.0035209 | 0.00088242 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-57_0_4_load_15 | 22 | 0.0026627 | 0.00066733 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-57_0_4_load_58 | 25 | 0.0021839 | 0.00054734 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-57_0_4_load_30 | 26 | 0.0021583 | 0.00054092 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-57_0_4_load_20 | 27 | 0.0013641 | 0.00034188 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-57_0_4_load_18 | 28 | 0.0021697 | 0.00054378 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-57_0_4_load_65 | 29 | 0.0030901 | 0.00077445 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-57_0_4_load_29 | 30 | 0.0035929 | 0.00090047 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-57_0_4_load_66 | 31 | 0.0055063 | 0.00138 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-57_0_4_load_21 | 33 | 0.0021376 | 0.00053573 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-57_0_4_load_24 | 35 | 0.0048958 | 0.001227 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-57_0_4_load_88 | 37 | 0.0020464 | 0.00051289 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-57_0_4_load_77 | 38 | 0.0031595 | 0.00079185 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-57_0_4_load_67 | 39 | 0.0016667 | 0.00041771 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-57_0_4_load_84 | 40 | 0.0019474 | 0.00048806 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-57_0_4_load_31 | 44 | 0.0033323 | 0.00083515 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-57_0_4_load_38 | 45 | 0.003192 | 0.00079998 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-57_0_4_load_36 | 46 | 0.0031658 | 0.00079342 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-57_0_4_load_95 | 47 | 0.0058424 | 0.0014642 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-57_0_4_load_94 | 49 | 0.0024069 | 0.00060323 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-57_0_4_load_91 | 50 | 0.054421 | 0.013639 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-57_0_4_load_35 | 51 | 0.0041968 | 0.0010518 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-57_0_4_load_37 | 52 | 0.0034128 | 0.00085533 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-57_0_4_load_39 | 53 | 0.0023248 | 0.00058265 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-57_0_4_load_52 | 54 | 0.0026302 | 0.00065918 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-57_0_4_load_50 | 55 | 0.0025788 | 0.00064632 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-57_0_4_load_40 | 56 | 0.0031524 | 0.00079007 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-57_0_4_load_41 | 57 | 0.00080141 | 0.00020085 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-57_0_4_load_42 | 58 | 0.0022317 | 0.00055932 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-57_0_4_load_43 | 59 | 0.0022854 | 0.00057278 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-57_0_4_load_44 | 60 | 0.0023015 | 0.0005768 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-57_0_4_load_49 | 61 | 0.0024256 | 0.0006079 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-57_0_4_load_54 | 62 | 0.0017374 | 0.00043542 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-57_0_4_load_92 | 63 | 0.017755 | 0.0044498 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-57_0_4_load_51 | 64 | 0.0043637 | 0.0010937 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-57_0_4_load_53 | 65 | 0.0046151 | 0.0011566 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-57_0_4_load_56 | 66 | 0.0073972 | 0.0018539 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-57_0_4_load_64 | 67 | 0.0024696 | 0.00061894 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-57_0_4_load_59 | 68 | 0.0079444 | 0.0019911 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-57_0_4_load_60 | 69 | 0.0041344 | 0.0010362 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-57_0_4_load_61 | 70 | 0.0034024 | 0.00085273 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-57_0_4_load_62 | 71 | 0.002522 | 0.00063207 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-57_0_4_load_63 | 72 | 0.0020713 | 0.00051912 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-57_0_4_load_72 | 73 | 0.002522 | 0.00063207 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-57_0_4_load_70 | 74 | 0.0025226 | 0.00063222 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-57_0_4_load_73 | 75 | 0.0052236 | 0.0013092 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-57_0_4_load_74 | 76 | 0.0023747 | 0.00059515 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-57_0_4_load_68 | 77 | 0.0025206 | 0.00063172 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-57_0_4_load_69 | 78 | 0.0051927 | 0.0013014 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-57_0_4_load_71 | 79 | 0.0080571 | 0.0020193 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-57_0_4_load_75 | 80 | 0.0024143 | 0.00060507 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-57_0_4_load_79 | 81 | 0.0008416 | 0.00021093 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-57_0_4_load_80 | 82 | 0.0049862 | 0.0012497 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_942-57_0_4_load_82 | 84 | 0.0014566 | 0.00036506 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_942-57_0_4_load_86 | 86 | 0.0026254 | 0.00065799 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_942-57_0_4_load_87 | 87 | 0.0055006 | 0.0013786 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-57_0_4_line_0 |  | 0 | 1 | 0.0044027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-57_0_4_line_1 |  | 0 | 2 | 0.023913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-57_0_4_line_2 |  | 2 | 3 | 0.039187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-57_0_4_line_3 |  | 2 | 4 | 0.059492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-57_0_4_line_4 |  | 3 | 5 | 0.021032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-57_0_4_line_5 |  | 4 | 6 | 0.024004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-57_0_4_line_6 |  | 5 | 10 | 0.075264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-57_0_4_line_7 |  | 5 | 9 | 0.082541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-57_0_4_line_8 |  | 6 | 12 | 0.011365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-57_0_4_line_9 |  | 7 | 8 | 0.071896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-57_0_4_line_10 |  | 7 | 9 | 0.099319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-57_0_4_line_11 |  | 8 | 11 | 0.026001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-57_0_4_line_12 |  | 10 | 62 | 0.016803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-57_0_4_line_13 |  | 12 | 13 | 0.036042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-57_0_4_line_14 |  | 13 | 14 | 0.012498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_942-57_0_4_line_15 |  | 14 | 15 | 0.034714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_942-57_0_4_line_16 |  | 15 | 16 | 0.011672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_942-57_0_4_line_17 |  | 16 | 19 | 0.010488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_942-57_0_4_line_18 |  | 17 | 18 | 0.024278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-57_0_4_line_19 |  | 18 | 35 | 0.010396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_942-57_0_4_line_20 |  | 19 | 41 | 0.042299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_942-57_0_4_line_21 |  | 20 | 21 | 0.00063991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-57_0_4_line_22 |  | 20 | 22 | 0.023892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-57_0_4_line_23 |  | 21 | 23 | 0.021959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-57_0_4_line_24 |  | 22 | 24 | 0.016013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-57_0_4_line_25 |  | 23 | 25 | 0.029357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-57_0_4_line_26 |  | 23 | 26 | 0.013139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-57_0_4_line_27 |  | 24 | 27 | 0.026975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-57_0_4_line_28 |  | 24 | 28 | 0.0063589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-57_0_4_line_29 |  | 25 | 29 | 0.017249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-57_0_4_line_30 |  | 26 | 30 | 0.0045285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-57_0_4_line_31 |  | 27 | 31 | 0.041685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-57_0_4_line_32 |  | 28 | 32 | 0.0097702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-57_0_4_line_33 |  | 29 | 67 | 0.0077876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-57_0_4_line_34 |  | 30 | 44 | 0.02539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_942-57_0_4_line_35 |  | 31 | 39 | 0.012018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-57_0_4_line_36 |  | 32 | 33 | 0.0040522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-57_0_4_line_37 |  | 32 | 34 | 0.063884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-57_0_4_line_38 |  | 33 | 35 | 0.025656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-57_0_4_line_39 |  | 34 | 38 | 0.0025822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-57_0_4_line_40 |  | 34 | 36 | 0.019676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_942-57_0_4_line_41 |  | 36 | 37 | 0.010543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-57_0_4_line_42 |  | 37 | 40 | 0.0097013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-57_0_4_line_43 |  | 39 | 75 | 0.01231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_942-57_0_4_line_44 |  | 40 | 83 | 0.012742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-57_0_4_line_45 |  | 41 | 42 | 0.01637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-57_0_4_line_46 |  | 41 | 43 | 0.033276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_942-57_0_4_line_47 |  | 42 | 47 | 0.006839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-57_0_4_line_48 |  | 42 | 48 | 0.021999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_942-57_0_4_line_49 |  | 43 | 45 | 0.020227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-57_0_4_line_50 |  | 43 | 44 | 0.016435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_942-57_0_4_line_51 |  | 45 | 46 | 0.022291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-57_0_4_line_52 |  | 46 | 51 | 0.010716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-57_0_4_line_53 |  | 48 | 49 | 0.015176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-57_0_4_line_54 |  | 48 | 50 | 0.0092292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-57_0_4_line_55 |  | 50 | 63 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-57_0_4_line_56 |  | 51 | 52 | 0.020061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-57_0_4_line_57 |  | 52 | 53 | 0.014982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-57_0_4_line_58 |  | 53 | 54 | 0.013804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-57_0_4_line_59 |  | 54 | 55 | 0.021796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-57_0_4_line_60 |  | 55 | 64 | 0.0078643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-57_0_4_line_61 |  | 56 | 57 | 0.01405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-57_0_4_line_62 |  | 56 | 58 | 0.013331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-57_0_4_line_63 |  | 57 | 59 | 0.026329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-57_0_4_line_64 |  | 58 | 60 | 1.2766e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-57_0_4_line_65 |  | 59 | 61 | 0.0099004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-57_0_4_line_66 |  | 60 | 62 | 0.020687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-57_0_4_line_67 |  | 64 | 65 | 0.031005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-57_0_4_line_68 |  | 65 | 66 | 0.0013065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-57_0_4_line_69 |  | 67 | 72 | 0.010928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-57_0_4_line_70 |  | 68 | 69 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_942-57_0_4_line_71 |  | 68 | 70 | 0.0092555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-57_0_4_line_72 |  | 69 | 71 | 0.00033451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-57_0_4_line_73 |  | 70 | 72 | 0.011439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-57_0_4_line_74 |  | 71 | 73 | 0.0073592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_942-57_0_4_line_75 |  | 73 | 74 | 0.0073607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_942-57_0_4_line_76 |  | 74 | 77 | 0.0073613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_942-57_0_4_line_77 |  | 75 | 76 | 0.017897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_942-57_0_4_line_78 |  | 76 | 80 | 0.029305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_942-57_0_4_line_79 |  | 77 | 78 | 0.0084151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_942-57_0_4_line_80 |  | 78 | 79 | 0.041096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_942-57_0_4_line_81 |  | 81 | 82 | 0.0025628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_942-57_0_4_line_82 |  | 81 | 83 | 0.024446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_942-57_0_4_line_83 |  | 82 | 84 | 0.025708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_942-57_0_4_line_84 |  | 83 | 85 | 0.017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_942-57_0_4_line_85 |  | 85 | 86 | 0.014558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_942-57_0_4_line_86 |  | 86 | 87 | 0.02605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-57_0_4_trafo_32 | 0.63 MVA 20/0.4 kV | 88 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2614873.003 | 1177187.1486 | 2614869.9713 | 1177190.3412
1 | 2614889.4697 | 1177169.8083 | 2614873.003 | 1177187.1486
2 | 2614889.4697 | 1177169.8083 | 2614880.4956 | 1177161.6264 | 2614871.9354 | 1177152.9119 | 2614862.0249 | 1177141.8828
3 | 2614935.7014 | 1177207.1752 | 2614930.6514 | 1177203.6164 | 2614926.5935 | 1177200.6048 | 2614918.5236 | 1177194.515 | 2614906.0388 | 1177184.5346 | 2614891.6734 | 1177171.7592 | 2614889.4697 | 1177169.8083
4 | 2614847.9678 | 1177126.2392 | 2614862.0249 | 1177141.8828
5 | 2614935.7014 | 1177207.1752 | 2614932.9461 | 1177211.9819 | 2614925.3456 | 1177228.8082
6 | 2614801.1841 | 1177067.3496 | 2614812.3226 | 1177081.184 | 2614820.7468 | 1177092.4438 | 2614836.9248 | 1177114.0614 | 2614847.9678 | 1177126.2392
7 | 2614847.9678 | 1177126.2392 | 2614857.2701 | 1177116.057 | 2614863.1264 | 1177105.6772 | 2614870.0654 | 1177096.3118 | 2614879.0415 | 1177088.2854 | 2614885.8088 | 1177083.4775 | 2614898.7108 | 1177073.193 | 2614904.5667 | 1177067.2636
8 | 2614920.6673 | 1177239.1653 | 2614925.3456 | 1177228.8082
9 | 2614975.1653 | 1177095.7274 | 2614981.8313 | 1177100.9578 | 2614984.9291 | 1177102.8998 | 2614992.4113 | 1177108.6769 | 2615006.0006 | 1177117.0261 | 2615038.3732 | 1177128.5572
10 | 2614975.1653 | 1177095.7274 | 2614967.2374 | 1177087.8482 | 2614935.1144 | 1177049.4933 | 2614931.3597 | 1177047.4274 | 2614927.2301 | 1177048.64 | 2614915.8181 | 1177055.871 | 2614904.5667 | 1177067.2636
11 | 2615038.3732 | 1177128.5572 | 2615044.2307 | 1177126.9933 | 2615053.4306 | 1177124.2926 | 2615057.5648 | 1177121.2681 | 2615061.1993 | 1177117.5103
12 | 2614801.1841 | 1177067.3496 | 2614813.8287 | 1177056.2833
13 | 2614920.6673 | 1177239.1653 | 2614915.9208 | 1177248.8363 | 2614912.5148 | 1177257.1988 | 2614906.3973 | 1177272.2419
14 | 2614901.6895 | 1177283.8189 | 2614906.3973 | 1177272.2419
15 | 2614901.6895 | 1177283.8189 | 2614879.704 | 1177274.7711 | 2614869.7437 | 1177270.2475
16 | 2614869.7437 | 1177270.2475 | 2614859.1163 | 1177265.421
17 | 2614849.7475 | 1177260.7273 | 2614853.8126 | 1177263.0123 | 2614859.1163 | 1177265.421
18 | 2614833.2851 | 1177339.1437 | 2614831.6096 | 1177339.0741 | 2614812.3832 | 1177342.284 | 2614809.3781 | 1177343.0804
19 | 2614799.3286 | 1177345.7434 | 2614809.3781 | 1177343.0804
20 | 2614812.7029 | 1177240.3106 | 2614839.9469 | 1177255.2186 | 2614849.7475 | 1177260.7273
21 | 2614762.7437 | 1177302.1735 | 2614762.6529 | 1177302.807
22 | 2614760.2232 | 1177326.5611 | 2614761.2345 | 1177312.6989 | 2614762.6529 | 1177302.807
23 | 2614766.4867 | 1177280.5398 | 2614763.6757 | 1177295.674 | 2614762.7437 | 1177302.1735
24 | 2614760.6189 | 1177342.4904 | 2614759.7015 | 1177336.4072 | 2614759.993 | 1177329.7157 | 2614760.2232 | 1177326.5611
25 | 2614766.4867 | 1177280.5398 | 2614757.3149 | 1177278.1717 | 2614750.7579 | 1177275.2764 | 2614744.5245 | 1177271.2702 | 2614740.2513 | 1177268.1226
26 | 2614766.4867 | 1177280.5398 | 2614769.4597 | 1177271.0312 | 2614770.3813 | 1177267.9909
27 | 2614760.6189 | 1177342.4904 | 2614748.0491 | 1177345.4055 | 2614738.696 | 1177345.3159 | 2614734.0627 | 1177344.4242
28 | 2614760.6189 | 1177342.4904 | 2614764.781 | 1177347.2979
29 | 2614740.2513 | 1177268.1226 | 2614737.3771 | 1177266.0056 | 2614727.3391 | 1177258.5216 | 2614726.4774 | 1177257.7467
30 | 2614771.6949 | 1177263.6572 | 2614770.3813 | 1177267.9909
31 | 2614734.0627 | 1177344.4242 | 2614730.2714 | 1177343.6945 | 2614721.644 | 1177340.6051 | 2614712.507 | 1177333.4236 | 2614700.1206 | 1177321.7236
32 | 2614771.41 | 1177354.4563 | 2614769.3666 | 1177352.5948 | 2614764.781 | 1177347.2979
33 | 2614720.6874 | 1177252.5388 | 2614726.4774 | 1177257.7467
34 | 2614771.6949 | 1177263.6572 | 2614779.0601 | 1177239.3594
35 | 2614691.3838 | 1177313.4709 | 2614700.1206 | 1177321.7236
36 | 2614771.41 | 1177354.4563 | 2614772.2114 | 1177354.8251 | 2614773.5332 | 1177354.9061 | 2614775.3751 | 1177354.7884
37 | 2614740.2724 | 1177403.7162 | 2614742.7424 | 1177399.8425 | 2614739.5989 | 1177397.9005 | 2614740.4614 | 1177395.1679 | 2614741.9817 | 1177389.0685 | 2614742.4335 | 1177385.59 | 2614752.2419 | 1177374.4528 | 2614756.2647 | 1177369.9493 | 2614757.3467 | 1177368.0732 | 2614761.8541 | 1177365.4162 | 2614767.0173 | 1177360.1817 | 2614768.6602 | 1177357.1064 | 2614771.41 | 1177354.4563
38 | 2614775.3751 | 1177354.7884 | 2614779.1995 | 1177353.3192 | 2614792.6399 | 1177347.5159 | 2614799.3286 | 1177345.7434
39 | 2614740.2724 | 1177403.7162 | 2614742.3123 | 1177405.2995
40 | 2614740.2724 | 1177403.7162 | 2614730.5313 | 1177399.8793 | 2614721.5195 | 1177397.7562
41 | 2614721.5195 | 1177397.7562 | 2614711.1296 | 1177395.9685
42 | 2614701.5687 | 1177394.3235 | 2614711.1296 | 1177395.9685
43 | 2614682.4346 | 1177305.0177 | 2614691.3838 | 1177313.4709
44 | 2614689.0111 | 1177392.1629 | 2614701.5687 | 1177394.3235
45 | 2614812.7029 | 1177240.3106 | 2614823.9731 | 1177228.41
46 | 2614783.8277 | 1177223.6311 | 2614812.7029 | 1177240.3106
47 | 2614818.9027 | 1177223.8063 | 2614821.4646 | 1177226.136 | 2614823.9731 | 1177228.41
48 | 2614838.7541 | 1177212.0825 | 2614823.9731 | 1177228.41
49 | 2614783.8277 | 1177223.6311 | 2614770.6075 | 1177214.3495 | 2614767.3404 | 1177211.9152
50 | 2614783.8277 | 1177223.6311 | 2614779.0601 | 1177239.3594
51 | 2614767.3404 | 1177211.9152 | 2614757.0605 | 1177204.2556 | 2614749.8931 | 1177198.0636
52 | 2614741.7841 | 1177191.0581 | 2614749.8931 | 1177198.0636
53 | 2614838.7541 | 1177212.0825 | 2614850.3453 | 1177221.9161
54 | 2614838.7541 | 1177212.0825 | 2614831.7292 | 1177206.0968
55 | 2614831.7292 | 1177206.0968 | 2614817.9043 | 1177194.3172
56 | 2614741.7841 | 1177191.0581 | 2614733.5356 | 1177183.9321 | 2614726.8985 | 1177177.6186
57 | 2614716.0435 | 1177167.2926 | 2614726.8985 | 1177177.6186
58 | 2614716.0435 | 1177167.2926 | 2614710.9227 | 1177162.4214 | 2614706.2103 | 1177157.6075
59 | 2614690.9634 | 1177142.0322 | 2614706.2103 | 1177157.6075
60 | 2614690.9634 | 1177142.0322 | 2614685.462 | 1177136.4124
61 | 2614834.2245 | 1177032.6353 | 2614839.5143 | 1177027.6681 | 2614840.8412 | 1177025.726 | 2614841.3049 | 1177023.6038 | 2614840.9131 | 1177021.3684 | 2614840.9131 | 1177021.3684
62 | 2614834.2245 | 1177032.6353 | 2614824.5067 | 1177041.7606
63 | 2614840.9131 | 1177021.3684 | 2614839.6112 | 1177019.3641 | 2614823.2335 | 1177001.9038
64 | 2614824.5067 | 1177041.7606 | 2614824.5057 | 1177041.7615
65 | 2614823.2335 | 1177001.9038 | 2614816.4603 | 1176994.6828
66 | 2614813.8287 | 1177056.2833 | 2614814.8008 | 1177055.4326 | 2614812.8052 | 1177052.7485 | 2614824.5057 | 1177041.7615
67 | 2614663.5393 | 1177114.4908 | 2614672.2523 | 1177122.9181 | 2614685.462 | 1177136.4124
68 | 2614663.5393 | 1177114.4908 | 2614662.6002 | 1177113.5825
69 | 2614720.6874 | 1177252.5388 | 2614712.5625 | 1177245.231
70 | 2614697.1763 | 1177231.392 | 2614680.4142 | 1177216.3153
71 | 2614697.1763 | 1177231.392 | 2614704.0578 | 1177237.5814
72 | 2614680.1655 | 1177216.0916 | 2614680.4142 | 1177216.3153
73 | 2614704.0578 | 1177237.5814 | 2614712.5625 | 1177245.231
74 | 2614680.1655 | 1177216.0916 | 2614674.6939 | 1177211.1703
75 | 2614674.6939 | 1177211.1703 | 2614669.2212 | 1177206.2479
76 | 2614663.7481 | 1177201.3251 | 2614669.2212 | 1177206.2479
77 | 2614682.4346 | 1177305.0177 | 2614669.4239 | 1177292.728
78 | 2614669.4239 | 1177292.728 | 2614648.1204 | 1177272.605
79 | 2614663.7481 | 1177201.3251 | 2614657.4914 | 1177195.6976
80 | 2614657.4914 | 1177195.6976 | 2614652.1493 | 1177190.8927 | 2614648.1918 | 1177190.5496 | 2614634.6583 | 1177177.9658 | 2614634.1606 | 1177175.1965 | 2614627.643 | 1177169.5168
81 | 2614692.0727 | 1177416.416 | 2614692.3937 | 1177418.9586
82 | 2614689.0111 | 1177392.1629 | 2614692.0727 | 1177416.416
83 | 2614695.6134 | 1177444.4645 | 2614692.3937 | 1177418.9586
84 | 2614689.0111 | 1177392.1629 | 2614672.1382 | 1177389.2425
85 | 2614672.1382 | 1177389.2425 | 2614674.5456 | 1177374.885
86 | 2614678.8533 | 1177349.194 | 2614674.5456 | 1177374.885

## bus_geodata
| x | y | coords
0 | 2614873.003 | 1177187.1486
1 | 2614869.9713 | 1177190.3412
2 | 2614889.4697 | 1177169.8083
3 | 2614862.0249 | 1177141.8828
4 | 2614935.7014 | 1177207.1752
5 | 2614847.9678 | 1177126.2392
6 | 2614925.3456 | 1177228.8082
7 | 2614975.1653 | 1177095.7274
8 | 2615038.3732 | 1177128.5572
9 | 2614904.5667 | 1177067.2636
10 | 2614801.1841 | 1177067.3496
11 | 2615061.1993 | 1177117.5103
12 | 2614920.6673 | 1177239.1653
13 | 2614906.3973 | 1177272.2419
14 | 2614901.6895 | 1177283.8189
15 | 2614869.7437 | 1177270.2475
16 | 2614859.1163 | 1177265.421
17 | 2614833.2851 | 1177339.1437
18 | 2614809.3781 | 1177343.0804
19 | 2614849.7475 | 1177260.7273
20 | 2614762.6529 | 1177302.807
21 | 2614762.7437 | 1177302.1735
22 | 2614760.2232 | 1177326.5611
23 | 2614766.4867 | 1177280.5398
24 | 2614760.6189 | 1177342.4904
25 | 2614740.2513 | 1177268.1226
26 | 2614770.3813 | 1177267.9909
27 | 2614734.0627 | 1177344.4242
28 | 2614764.781 | 1177347.2979
29 | 2614726.4774 | 1177257.7467
30 | 2614771.6949 | 1177263.6572
31 | 2614700.1206 | 1177321.7236
32 | 2614771.41 | 1177354.4563
33 | 2614775.3751 | 1177354.7884
34 | 2614740.2724 | 1177403.7162
35 | 2614799.3286 | 1177345.7434
36 | 2614721.5195 | 1177397.7562
37 | 2614711.1296 | 1177395.9685
38 | 2614742.3123 | 1177405.2995
39 | 2614691.3838 | 1177313.4709
40 | 2614701.5687 | 1177394.3235
41 | 2614812.7029 | 1177240.3106
42 | 2614823.9731 | 1177228.41
43 | 2614783.8277 | 1177223.6311
44 | 2614779.0601 | 1177239.3594
45 | 2614767.3404 | 1177211.9152
46 | 2614749.8931 | 1177198.0636
47 | 2614818.9027 | 1177223.8063
48 | 2614838.7541 | 1177212.0825
49 | 2614850.3453 | 1177221.9161
50 | 2614831.7292 | 1177206.0968
51 | 2614741.7841 | 1177191.0581
52 | 2614726.8985 | 1177177.6186
53 | 2614716.0435 | 1177167.2926
54 | 2614706.2103 | 1177157.6075
55 | 2614690.9634 | 1177142.0322
56 | 2614834.2245 | 1177032.6353
57 | 2614840.9131 | 1177021.3684
58 | 2614824.5067 | 1177041.7606
59 | 2614823.2335 | 1177001.9038
60 | 2614824.5057 | 1177041.7615
61 | 2614816.4603 | 1176994.6828
62 | 2614813.8287 | 1177056.2833
63 | 2614817.9043 | 1177194.3172
64 | 2614685.462 | 1177136.4124
65 | 2614663.5393 | 1177114.4908
66 | 2614662.6002 | 1177113.5825
67 | 2614720.6874 | 1177252.5388
68 | 2614697.1763 | 1177231.392
69 | 2614680.4142 | 1177216.3153
70 | 2614704.0578 | 1177237.5814
71 | 2614680.1655 | 1177216.0916
72 | 2614712.5625 | 1177245.231
73 | 2614674.6939 | 1177211.1703
74 | 2614669.2212 | 1177206.2479
75 | 2614682.4346 | 1177305.0177
76 | 2614669.4239 | 1177292.728
77 | 2614663.7481 | 1177201.3251
78 | 2614657.4914 | 1177195.6976
79 | 2614627.643 | 1177169.5168
80 | 2614648.1204 | 1177272.605
81 | 2614692.0727 | 1177416.416
82 | 2614692.3937 | 1177418.9586
83 | 2614689.0111 | 1177392.1629
84 | 2614695.6134 | 1177444.4645
85 | 2614672.1382 | 1177389.2425
86 | 2614674.5456 | 1177374.885
87 | 2614678.8533 | 1177349.194
88 | 2614812.7029 | 1177240.3106

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1