## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-63_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-63_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-63_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-63_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-63_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_942-63_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_942-63_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_942-63_0_3_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_942-63_0_3_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_942-63_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_942-63_0_3_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_942-63_0_3_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_942-63_0_3_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_942-63_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_942-63_0_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_942-63_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_942-63_0_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_942-63_0_3_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_942-63_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_942-63_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_942-63_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_942-63_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_942-63_0_3_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_942-63_0_3_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_942-63_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_942-63_0_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_942-63_0_3_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_942-63_0_3_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_942-63_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_942-63_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_942-63_0_3_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_942-63_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_942-63_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_942-63_0_3_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_942-63_0_3_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_942-63_0_3_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_942-63_0_3_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_942-63_0_3_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_942-63_0_3_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_942-63_0_3_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_942-63_0_3_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_942-63_0_3_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_942-63_0_3_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_942-63_0_3_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_942-63_0_3_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_942-63_0_3_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_942-63_0_3_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_942-63_0_3_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_942-63_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_942-63_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_942-63_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_942-63_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_942-63_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_942-63_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_942-63_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_942-63_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_942-63_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_942-63_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_942-63_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_942-63_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_942-63_0_3_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_942-63_0_3_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_942-63_0_3_node_64 | 0.4 | n |  | TRUE
63 | bus_LV_942-63_0_3_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_942-63_0_3_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_942-63_0_3_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_942-63_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_942-63_0_3_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_942-63_0_3_node_67 | 0.4 | n |  | TRUE
69 | bus_MV_93_0_node_197 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-63_0_3_load_0 | 0 | 0.013112 | 0.0032862 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-63_0_3_load_4 | 4 | 0.0046132 | 0.0011562 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-63_0_3_load_5 | 5 | 0.012378 | 0.0031022 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-63_0_3_load_27 | 7 | 0.0026163 | 0.0006557 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-63_0_3_load_33 | 10 | 0.0026515 | 0.00066452 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-63_0_3_load_25 | 12 | 0.0023982 | 0.00060105 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-63_0_3_load_30 | 14 | 0.0031279 | 0.00078394 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-63_0_3_load_41 | 16 | 0.012337 | 0.0030919 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-63_0_3_load_38 | 17 | 0.0026791 | 0.00067144 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-63_0_3_load_7 | 18 | 0.0029174 | 0.00073116 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-63_0_3_load_58 | 22 | 0.010098 | 0.0025309 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-63_0_3_load_49 | 25 | 0.019671 | 0.0049301 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-63_0_3_load_53 | 27 | 0.0084008 | 0.0021054 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-63_0_3_load_51 | 30 | 0.012899 | 0.0032327 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-63_0_3_load_34 | 31 | 0.0020838 | 0.00052225 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-63_0_3_load_60 | 33 | 0.011445 | 0.0028685 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-63_0_3_load_57 | 35 | 0.011696 | 0.0029312 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-63_0_3_load_55 | 37 | 0.011516 | 0.0028861 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-63_0_3_load_18 | 38 | 0.0027662 | 0.00069327 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-63_0_3_load_16 | 39 | 0.0028327 | 0.00070995 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-63_0_3_load_17 | 40 | 0.0042207 | 0.0010578 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-63_0_3_load_19 | 41 | 0.0029509 | 0.00073957 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-63_0_3_load_21 | 42 | 0.0026096 | 0.00065403 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-63_0_3_load_61 | 45 | 0.0021151 | 0.0005301 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-63_0_3_load_24 | 46 | 0.0039195 | 0.00098233 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-63_0_3_load_26 | 47 | 0.0015711 | 0.00039375 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-63_0_3_load_35 | 50 | 0.001954 | 0.00048972 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-63_0_3_load_29 | 51 | 0.0026988 | 0.00067639 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-63_0_3_load_42 | 53 | 0.0103 | 0.0025815 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-63_0_3_load_46 | 55 | 0.010018 | 0.0025108 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-63_0_3_load_44 | 56 | 0.0026639 | 0.00066764 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-63_0_3_load_48 | 59 | 0.012088 | 0.0030294 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-63_0_3_load_62 | 60 | 0.0055892 | 0.0014008 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-63_0_3_load_66 | 61 | 0.012745 | 0.0031941 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-63_0_3_load_70 | 63 | 0.0083377 | 0.0020896 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-63_0_3_load_65 | 65 | 0.010802 | 0.0027072 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-63_0_3_load_63 | 66 | 0.01153 | 0.0028896 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-63_0_3_load_69 | 67 | 0.0075459 | 0.0018912 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-63_0_3_load_67 | 68 | 0.0082201 | 0.0020602 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-63_0_3_line_0 |  | 0 | 1 | 0.021113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-63_0_3_line_1 |  | 0 | 2 | 0.012684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-63_0_3_line_2 |  | 1 | 3 | 0.009953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-63_0_3_line_3 |  | 1 | 4 | 0.0096824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-63_0_3_line_4 |  | 2 | 5 | 0.015391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-63_0_3_line_5 |  | 2 | 6 | 0.009799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-63_0_3_line_6 |  | 3 | 7 | 0.0045477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-63_0_3_line_7 |  | 4 | 8 | 0.015568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-63_0_3_line_8 |  | 5 | 9 | 0.020125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-63_0_3_line_9 |  | 6 | 10 | 0.010146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-63_0_3_line_10 |  | 6 | 11 | 0.008561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-63_0_3_line_11 |  | 7 | 12 | 0.0025526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-63_0_3_line_12 |  | 8 | 13 | 0.018093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-63_0_3_line_13 |  | 8 | 14 | 0.012882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-63_0_3_line_14 |  | 9 | 15 | 0.045772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_942-63_0_3_line_15 |  | 11 | 16 | 0.016964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-63_0_3_line_16 |  | 11 | 17 | 0.0090229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-63_0_3_line_17 |  | 12 | 46 | 0.020416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_942-63_0_3_line_18 |  | 13 | 31 | 0.028258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-63_0_3_line_19 |  | 14 | 51 | 0.018667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_942-63_0_3_line_20 |  | 15 | 26 | 0.004406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-63_0_3_line_21 |  | 15 | 27 | 0.013673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-63_0_3_line_22 |  | 15 | 28 | 0.029728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-63_0_3_line_23 |  | 15 | 24 | 0.094453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-63_0_3_line_24 |  | 17 | 52 | 0.0039051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-63_0_3_line_25 |  | 18 | 19 | 0.027334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-63_0_3_line_26 |  | 19 | 20 | 0.047465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-63_0_3_line_27 |  | 20 | 32 | 0.004546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-63_0_3_line_28 |  | 20 | 31 | 0.024235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-63_0_3_line_29 |  | 21 | 22 | 0.00496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-63_0_3_line_30 |  | 21 | 23 | 0.024637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-63_0_3_line_31 |  | 21 | 24 | 0.038553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-63_0_3_line_32 |  | 23 | 33 | 0.005049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-63_0_3_line_33 |  | 24 | 25 | 0.006641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-63_0_3_line_34 |  | 26 | 34 | 0.013641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_942-63_0_3_line_35 |  | 26 | 35 | 0.00531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-63_0_3_line_36 |  | 28 | 29 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-63_0_3_line_37 |  | 28 | 30 | 0.013794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-63_0_3_line_38 |  | 29 | 36 | 0.006326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-63_0_3_line_39 |  | 29 | 37 | 0.00516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-63_0_3_line_40 |  | 32 | 38 | 0.096529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_942-63_0_3_line_41 |  | 34 | 63 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-63_0_3_line_42 |  | 34 | 64 | 0.009929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-63_0_3_line_43 |  | 36 | 61 | 0.01379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_942-63_0_3_line_44 |  | 36 | 62 | 0.016393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-63_0_3_line_45 |  | 38 | 39 | 0.011601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-63_0_3_line_46 |  | 39 | 40 | 0.011483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_942-63_0_3_line_47 |  | 40 | 41 | 0.0098364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-63_0_3_line_48 |  | 41 | 42 | 0.021838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_942-63_0_3_line_49 |  | 42 | 43 | 0.040929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-63_0_3_line_50 |  | 43 | 44 | 0.027603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_942-63_0_3_line_51 |  | 44 | 45 | 0.039523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-63_0_3_line_52 |  | 46 | 47 | 0.012044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-63_0_3_line_53 |  | 47 | 48 | 0.037593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-63_0_3_line_54 |  | 48 | 49 | 0.006884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-63_0_3_line_55 |  | 49 | 50 | 0.036891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-63_0_3_line_56 |  | 52 | 53 | 0.002713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-63_0_3_line_57 |  | 52 | 54 | 0.004572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-63_0_3_line_58 |  | 54 | 55 | 0.016772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-63_0_3_line_59 |  | 54 | 56 | 0.0090337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-63_0_3_line_60 |  | 56 | 57 | 0.008763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-63_0_3_line_61 |  | 57 | 58 | 0.001095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-63_0_3_line_62 |  | 57 | 59 | 0.016596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-63_0_3_line_63 |  | 58 | 60 | 0.002855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-63_0_3_line_64 |  | 62 | 65 | 0.019038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-63_0_3_line_65 |  | 62 | 66 | 0.005143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-63_0_3_line_66 |  | 64 | 67 | 0.021695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-63_0_3_line_67 |  | 64 | 68 | 0.005306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-63_0_3_trafo_8 | 0.63 MVA 20/0.4 kV | 69 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2612313.8477 | 1179636.6427 | 2612328.5187 | 1179651.8261
1 | 2612337.3324 | 1179660.9476 | 2612328.5187 | 1179651.8261
2 | 2612306.4475 | 1179643.3199 | 2612313.8477 | 1179636.6427
3 | 2612313.8477 | 1179636.6427 | 2612320.7508 | 1179629.8533
4 | 2612337.3324 | 1179660.9476 | 2612347.8753 | 1179672.16
5 | 2612337.3324 | 1179660.9476 | 2612330.2147 | 1179667.7031
6 | 2612306.4475 | 1179643.3199 | 2612303.1523 | 1179646.4541
7 | 2612331.8499 | 1179618.9371 | 2612320.7508 | 1179629.8533
8 | 2612361.6616 | 1179686.8218 | 2612347.8753 | 1179672.16
9 | 2612330.2147 | 1179667.7031 | 2612323.1326 | 1179660.4375
10 | 2612323.9849 | 1179673.5934 | 2612330.2147 | 1179667.7031
11 | 2612303.1523 | 1179646.4541 | 2612301.3027 | 1179648.2134
12 | 2612344.8995 | 1179606.3685 | 2612331.8499 | 1179618.9371
13 | 2612331.8499 | 1179618.9371 | 2612322.9169 | 1179609.6549
14 | 2612361.6616 | 1179686.8218 | 2612363.1175 | 1179688.3255 | 2612383.1931 | 1179709.8666 | 2612393.6243 | 1179700.1831
15 | 2612335.3022 | 1179686.2564 | 2612323.9849 | 1179673.5934
16 | 2612323.9849 | 1179673.5934 | 2612317.4308 | 1179679.7948
17 | 2612286.5101 | 1179662.2836 | 2612301.3027 | 1179648.2134
18 | 2612344.8995 | 1179606.3685 | 2612365.4787 | 1179587.0036
19 | 2612309.9727 | 1179596.2048 | 2612322.9169 | 1179609.6549
20 | 2612396.854 | 1179697.1771 | 2612393.6243 | 1179700.1831
21 | 2612403.0068 | 1179710.152 | 2612393.6243 | 1179700.1831
22 | 2612371.8436 | 1179720.4154 | 2612383.1931 | 1179709.8666 | 2612393.6243 | 1179700.1831
23 | 2612393.6243 | 1179700.1831 | 2612383.1931 | 1179709.8666 | 2612426.3241 | 1179756.0902 | 2612427.3267 | 1179755.1584 | 2612438.7377 | 1179744.4765
24 | 2612314.5942 | 1179682.4787 | 2612317.4308 | 1179679.7948
25 | 2612398.1192 | 1179613.1701 | 2612401.0028 | 1179614.9992 | 2612403.3735 | 1179617.4053 | 2612405.4222 | 1179620.3666 | 2612406.624 | 1179622.837 | 2612407.0294 | 1179626.2951 | 2612406.778 | 1179629.6519 | 2612405.8074 | 1179633.6186 | 2612404.4974 | 1179636.6054
26 | 2612383.1285 | 1179570.3952 | 2612384.7433 | 1179576.3348 | 2612382.7459 | 1179578.1539 | 2612389.5871 | 1179590.7633 | 2612391.8444 | 1179596.2819 | 2612393.1452 | 1179602.6434 | 2612394.7688 | 1179608.0161 | 2612396.3131 | 1179611.0875 | 2612398.1192 | 1179613.1701
27 | 2612383.1285 | 1179570.3952 | 2612386.4043 | 1179567.2336
28 | 2612383.1285 | 1179570.3952 | 2612365.4787 | 1179587.0036
29 | 2612407.2128 | 1179767.1787 | 2612410.5891 | 1179770.8209
30 | 2612392.6041 | 1179787.6591 | 2612395.6118 | 1179784.8417 | 2612410.5891 | 1179770.8209
31 | 2612410.5891 | 1179770.8209 | 2612411.6759 | 1179769.8003 | 2612426.3241 | 1179756.0902 | 2612427.3267 | 1179755.1584 | 2612438.7377 | 1179744.4765
32 | 2612389.2051 | 1179783.9169 | 2612392.6041 | 1179787.6591
33 | 2612443.5898 | 1179739.9286 | 2612438.7377 | 1179744.4765
34 | 2612396.854 | 1179697.1771 | 2612406.8643 | 1179687.8819
35 | 2612393.2031 | 1179693.3121 | 2612396.854 | 1179697.1771
36 | 2612360.8002 | 1179730.6758 | 2612371.8436 | 1179720.4154
37 | 2612381.5854 | 1179730.2071 | 2612371.8436 | 1179720.4154
38 | 2612360.8002 | 1179730.6758 | 2612356.1624 | 1179734.9907
39 | 2612357.3095 | 1179726.8667 | 2612360.8002 | 1179730.6758
40 | 2612386.4043 | 1179567.2336 | 2612452.2377 | 1179637.8291
41 | 2612416.1704 | 1179697.8728 | 2612406.8643 | 1179687.8819
42 | 2612414.1502 | 1179681.1156 | 2612406.8643 | 1179687.8819
43 | 2612365.6211 | 1179745.0486 | 2612356.1624 | 1179734.9907
44 | 2612344.1318 | 1179746.1606 | 2612356.1624 | 1179734.9907
45 | 2612460.1494 | 1179646.3131 | 2612452.2377 | 1179637.8291
46 | 2612460.1494 | 1179646.3131 | 2612467.9812 | 1179654.7114
47 | 2612474.6896 | 1179661.9051 | 2612467.9812 | 1179654.7114
48 | 2612474.6896 | 1179661.9051 | 2612489.5836 | 1179677.8765
49 | 2612517.4977 | 1179707.8097 | 2612489.5836 | 1179677.8765
50 | 2612497.4224 | 1179726.8111 | 2612517.4977 | 1179707.8097
51 | 2612497.4224 | 1179726.8111 | 2612487.4193 | 1179736.2952 | 2612469.6833 | 1179717.5711
52 | 2612286.5101 | 1179662.2836 | 2612277.7831 | 1179670.5844
53 | 2612250.5394 | 1179696.4887 | 2612265.5936 | 1179682.1787 | 2612277.7831 | 1179670.5844
54 | 2612250.5394 | 1179696.4887 | 2612245.8444 | 1179691.4433
55 | 2612245.8444 | 1179691.4433 | 2612220.314 | 1179664.8139
56 | 2612314.5942 | 1179682.4787 | 2612312.7498 | 1179680.4851
57 | 2612311.2726 | 1179685.6291 | 2612314.5942 | 1179682.4787
58 | 2612322.338 | 1179698.2582 | 2612311.2726 | 1179685.6291
59 | 2612311.2726 | 1179685.6291 | 2612304.7072 | 1179691.8342
60 | 2612298.3386 | 1179697.8534 | 2612304.7072 | 1179691.8342
61 | 2612298.3386 | 1179697.8534 | 2612297.5426 | 1179698.6077
62 | 2612309.5268 | 1179710.1381 | 2612298.3386 | 1179697.8534
63 | 2612297.5426 | 1179698.6077 | 2612295.5608 | 1179696.5471
64 | 2612344.1318 | 1179746.1606 | 2612340.29 | 1179749.7324 | 2612349.7869 | 1179759.7681
65 | 2612340.6182 | 1179742.396 | 2612344.1318 | 1179746.1606
66 | 2612414.1502 | 1179681.1156 | 2612420.0814 | 1179675.6028 | 2612429.112 | 1179685.8044
67 | 2612410.6523 | 1179677.1175 | 2612414.1502 | 1179681.1156

## bus_geodata
| x | y | coords
0 | 2612328.5187 | 1179651.8261
1 | 2612313.8477 | 1179636.6427
2 | 2612337.3324 | 1179660.9476
3 | 2612306.4475 | 1179643.3199
4 | 2612320.7508 | 1179629.8533
5 | 2612347.8754 | 1179672.16
6 | 2612330.2147 | 1179667.7031
7 | 2612303.1523 | 1179646.4541
8 | 2612331.8499 | 1179618.9371
9 | 2612361.6616 | 1179686.8218
10 | 2612323.1326 | 1179660.4375
11 | 2612323.9849 | 1179673.5934
12 | 2612301.3027 | 1179648.2134
13 | 2612344.8995 | 1179606.3685
14 | 2612322.9169 | 1179609.6549
15 | 2612393.6243 | 1179700.1831
16 | 2612335.3022 | 1179686.2564
17 | 2612317.4308 | 1179679.7948
18 | 2612404.4974 | 1179636.6054
19 | 2612398.1192 | 1179613.1701
20 | 2612383.1285 | 1179570.3952
21 | 2612410.5891 | 1179770.8209
22 | 2612407.2128 | 1179767.1787
23 | 2612392.6041 | 1179787.6591
24 | 2612438.7377 | 1179744.4765
25 | 2612443.5898 | 1179739.9286
26 | 2612396.854 | 1179697.1771
27 | 2612403.0068 | 1179710.152
28 | 2612371.8436 | 1179720.4154
29 | 2612360.8002 | 1179730.6758
30 | 2612381.5854 | 1179730.2071
31 | 2612365.4787 | 1179587.0036
32 | 2612386.4043 | 1179567.2336
33 | 2612389.2051 | 1179783.9169
34 | 2612406.8643 | 1179687.8819
35 | 2612393.2031 | 1179693.3121
36 | 2612356.1624 | 1179734.9907
37 | 2612357.3095 | 1179726.8667
38 | 2612452.2377 | 1179637.8291
39 | 2612460.1494 | 1179646.3131
40 | 2612467.9812 | 1179654.7114
41 | 2612474.6896 | 1179661.9051
42 | 2612489.5836 | 1179677.8765
43 | 2612517.4977 | 1179707.8097
44 | 2612497.4224 | 1179726.8111
45 | 2612469.6833 | 1179717.5711
46 | 2612286.5101 | 1179662.2836
47 | 2612277.7831 | 1179670.5844
48 | 2612250.5394 | 1179696.4887
49 | 2612245.8444 | 1179691.4433
50 | 2612220.314 | 1179664.8139
51 | 2612309.9727 | 1179596.2048
52 | 2612314.5942 | 1179682.4787
53 | 2612312.7498 | 1179680.4851
54 | 2612311.2726 | 1179685.6291
55 | 2612322.338 | 1179698.2582
56 | 2612304.7072 | 1179691.8342
57 | 2612298.3386 | 1179697.8534
58 | 2612297.5426 | 1179698.6077
59 | 2612309.5268 | 1179710.1381
60 | 2612295.5608 | 1179696.5471
61 | 2612365.6211 | 1179745.0486
62 | 2612344.1318 | 1179746.1606
63 | 2612416.1704 | 1179697.8728
64 | 2612414.1502 | 1179681.1156
65 | 2612349.7869 | 1179759.7681
66 | 2612340.6182 | 1179742.396
67 | 2612429.112 | 1179685.8044
68 | 2612410.6523 | 1179677.1175
69 | 2612383.1931 | 1179709.8666

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1