## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-65_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-65_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-65_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-65_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-65_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_942-65_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_942-65_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_942-65_0_6_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_942-65_0_6_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_942-65_0_6_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_942-65_0_6_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_942-65_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_942-65_0_6_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_942-65_0_6_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_942-65_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_942-65_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_942-65_0_6_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_942-65_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_942-65_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_942-65_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_942-65_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_942-65_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_942-65_0_6_node_87 | 0.4 | n |  | TRUE
23 | bus_LV_942-65_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_942-65_0_6_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_942-65_0_6_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_942-65_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_942-65_0_6_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_942-65_0_6_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_942-65_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_942-65_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_942-65_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_942-65_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_942-65_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_942-65_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_942-65_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_942-65_0_6_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_942-65_0_6_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_942-65_0_6_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_942-65_0_6_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_942-65_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_942-65_0_6_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_942-65_0_6_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_942-65_0_6_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_942-65_0_6_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_942-65_0_6_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_942-65_0_6_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_942-65_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_942-65_0_6_node_82 | 0.4 | n |  | TRUE
49 | bus_LV_942-65_0_6_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_942-65_0_6_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_942-65_0_6_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_942-65_0_6_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_942-65_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_942-65_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_942-65_0_6_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_942-65_0_6_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_942-65_0_6_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_942-65_0_6_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_942-65_0_6_node_105 | 0.4 | n |  | TRUE
60 | bus_LV_942-65_0_6_node_104 | 0.4 | n |  | TRUE
61 | bus_LV_942-65_0_6_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_942-65_0_6_node_93 | 0.4 | n |  | TRUE
63 | bus_LV_942-65_0_6_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_942-65_0_6_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_942-65_0_6_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_942-65_0_6_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_942-65_0_6_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_942-65_0_6_node_80 | 0.4 | n |  | TRUE
69 | bus_LV_942-65_0_6_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_942-65_0_6_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_942-65_0_6_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_942-65_0_6_node_41 | 0.4 | n |  | TRUE
73 | bus_LV_942-65_0_6_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_942-65_0_6_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_942-65_0_6_node_44 | 0.4 | n |  | TRUE
76 | bus_LV_942-65_0_6_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_942-65_0_6_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_942-65_0_6_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_942-65_0_6_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_942-65_0_6_node_50 | 0.4 | n |  | TRUE
81 | bus_LV_942-65_0_6_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_942-65_0_6_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_942-65_0_6_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_942-65_0_6_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_942-65_0_6_node_53 | 0.4 | n |  | TRUE
86 | bus_LV_942-65_0_6_node_54 | 0.4 | n |  | TRUE
87 | bus_LV_942-65_0_6_node_55 | 0.4 | n |  | TRUE
88 | bus_LV_942-65_0_6_node_59 | 0.4 | n |  | TRUE
89 | bus_LV_942-65_0_6_node_60 | 0.4 | n |  | TRUE
90 | bus_LV_942-65_0_6_node_61 | 0.4 | n |  | TRUE
91 | bus_LV_942-65_0_6_node_62 | 0.4 | n |  | TRUE
92 | bus_LV_942-65_0_6_node_63 | 0.4 | n |  | TRUE
93 | bus_LV_942-65_0_6_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_942-65_0_6_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_942-65_0_6_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_942-65_0_6_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_942-65_0_6_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_942-65_0_6_node_102 | 0.4 | n |  | TRUE
99 | bus_LV_942-65_0_6_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_942-65_0_6_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_942-65_0_6_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_942-65_0_6_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_942-65_0_6_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_942-65_0_6_node_101 | 0.4 | n |  | TRUE
105 | bus_MV_93_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-65_0_6_load_0 | 0 | 0.010565 | 0.002648 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-65_0_6_load_3 | 3 | 0.00063644 | 0.00015951 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-65_0_6_load_4 | 4 | 0.0071097 | 0.0017819 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-65_0_6_load_6 | 6 | 0.0029418 | 0.00073728 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-65_0_6_load_52 | 7 | 0.00032287 | 8.092e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-65_0_6_load_10 | 8 | 0.00056245 | 0.00014096 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-65_0_6_load_51 | 10 | 0.00031947 | 8.0067e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-65_0_6_load_9 | 11 | 0.0016032 | 0.00040181 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-65_0_6_load_47 | 12 | 0.0091609 | 0.0022959 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-65_0_6_load_48 | 13 | 0.0031724 | 0.00079509 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-65_0_6_load_7 | 14 | 0.0012039 | 0.00030172 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-65_0_6_load_8 | 15 | 0.0016048 | 0.00040221 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-65_0_6_load_85 | 16 | 0.001186 | 0.00029724 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-65_0_6_load_11 | 17 | 0.013129 | 0.0032904 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-65_0_6_load_12 | 18 | 0.0025424 | 0.00063719 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-65_0_6_load_13 | 19 | 0.0033086 | 0.00082921 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-65_0_6_load_15 | 21 | 0.0070894 | 0.0017768 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-65_0_6_load_87 | 22 | 0.020133 | 0.0050459 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-65_0_6_load_19 | 23 | 0.0071591 | 0.0017942 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-65_0_6_load_32 | 24 | 0.010925 | 0.0027381 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-65_0_6_load_57 | 25 | 0.002193 | 0.00054962 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-65_0_6_load_33 | 27 | 0.0071207 | 0.0017846 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-65_0_6_load_16 | 28 | 0.036517 | 0.009152 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-65_0_6_load_18 | 29 | 0.011959 | 0.0029971 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-65_0_6_load_20 | 30 | 0.0093698 | 0.0023483 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-65_0_6_load_21 | 31 | 0.0037845 | 0.00094849 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-65_0_6_load_22 | 32 | 0.0064993 | 0.0016289 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-65_0_6_load_26 | 35 | 0.0078036 | 0.0019558 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-65_0_6_load_65 | 36 | 0.0035207 | 0.00088238 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-65_0_6_load_84 | 37 | 0.00062196 | 0.00015588 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-65_0_6_load_40 | 39 | 0.0065116 | 0.001632 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-65_0_6_load_35 | 40 | 0.0065072 | 0.0016309 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-65_0_6_load_81 | 41 | 0.0018757 | 0.00047009 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-65_0_6_load_83 | 42 | 0.0017652 | 0.00044239 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-65_0_6_load_74 | 44 | 0.0017435 | 0.00043697 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-65_0_6_load_71 | 45 | 0.001749 | 0.00043833 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-65_0_6_load_82 | 48 | 0.0051657 | 0.0012947 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-65_0_6_load_27 | 49 | 0.031687 | 0.0079415 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-65_0_6_load_28 | 50 | 0.0019863 | 0.00049781 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-65_0_6_load_29 | 51 | 0.003694 | 0.00092579 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-65_0_6_load_30 | 52 | 0.0013217 | 0.00033124 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-65_0_6_load_58 | 53 | 0.0013506 | 0.0003385 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-65_0_6_load_67 | 55 | 0.0017387 | 0.00043577 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-65_0_6_load_66 | 56 | 0.015204 | 0.0038106 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-65_0_6_load_56 | 57 | 0.0026019 | 0.0006521 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-65_0_6_load_73 | 58 | 0.0017012 | 0.00042635 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-65_0_6_load_105 | 59 | 0.0042493 | 0.001065 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-65_0_6_load_104 | 60 | 0.052857 | 0.013247 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-65_0_6_load_34 | 61 | 0.0071975 | 0.0018039 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-65_0_6_load_93 | 62 | 0.009495 | 0.0023797 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-65_0_6_load_77 | 65 | 0.0015932 | 0.00039928 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-65_0_6_load_68 | 66 | 0.0017361 | 0.0004351 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-65_0_6_load_69 | 67 | 0.0016713 | 0.00041888 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-65_0_6_load_78 | 69 | 0.0061947 | 0.0015525 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-65_0_6_load_70 | 70 | 0.0017235 | 0.00043196 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-65_0_6_load_72 | 71 | 0.0017366 | 0.00043523 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-65_0_6_load_41 | 72 | 0.0029402 | 0.00073688 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-65_0_6_load_42 | 73 | 0.0029304 | 0.00073443 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-65_0_6_load_43 | 74 | 0.0075429 | 0.0018904 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-65_0_6_load_44 | 75 | 0.0086725 | 0.0021735 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-65_0_6_load_45 | 76 | 0.01272 | 0.0031879 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-65_0_6_load_75 | 77 | 0.0084008 | 0.0021054 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-65_0_6_load_49 | 78 | 0.0028867 | 0.00072349 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-65_0_6_load_50 | 80 | 0.0023967 | 0.00060067 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-65_0_6_load_90 | 83 | 0.0023916 | 0.0005994 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-65_0_6_load_89 | 84 | 0.0050332 | 0.0012615 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_942-65_0_6_load_53 | 85 | 0.00047419 | 0.00011884 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_942-65_0_6_load_54 | 86 | 0.0028772 | 0.0007211 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_942-65_0_6_load_55 | 87 | 0.0019322 | 0.00048427 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_942-65_0_6_load_59 | 88 | 0.0055613 | 0.0013938 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_942-65_0_6_load_60 | 89 | 0.0069358 | 0.0017383 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_942-65_0_6_load_61 | 90 | 0.012398 | 0.0031073 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_942-65_0_6_load_62 | 91 | 0.0037206 | 0.00093248 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_942-65_0_6_load_88 | 93 | 0.0025822 | 0.00064715 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_942-65_0_6_load_91 | 94 | 0.0093444 | 0.0023419 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_942-65_0_6_load_103 | 95 | 0.0059085 | 0.0014808 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_942-65_0_6_load_95 | 96 | 0.00983 | 0.0024636 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_942-65_0_6_load_94 | 97 | 0.0096378 | 0.0024154 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_942-65_0_6_load_102 | 98 | 0.0030994 | 0.00077677 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_942-65_0_6_load_96 | 99 | 0.007921 | 0.0019852 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_942-65_0_6_load_97 | 100 | 0.0089295 | 0.0022379 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_942-65_0_6_load_99 | 102 | 0.015033 | 0.0037675 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_942-65_0_6_load_101 | 104 | 0.0078675 | 0.0019718 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-65_0_6_line_0 |  | 0 | 1 | 0.01548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-65_0_6_line_1 |  | 0 | 2 | 0.018112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-65_0_6_line_2 |  | 1 | 3 | 0.017567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-65_0_6_line_3 |  | 1 | 4 | 0.026366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-65_0_6_line_4 |  | 2 | 5 | 0.031186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-65_0_6_line_5 |  | 2 | 6 | 0.03699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_942-65_0_6_line_6 |  | 3 | 7 | 0.015673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-65_0_6_line_7 |  | 5 | 8 | 0.052026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-65_0_6_line_8 |  | 6 | 9 | 0.022204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_942-65_0_6_line_9 |  | 7 | 10 | 0.016503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-65_0_6_line_10 |  | 8 | 11 | 0.011148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-65_0_6_line_11 |  | 9 | 12 | 0.021773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_942-65_0_6_line_12 |  | 9 | 13 | 0.018879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_942-65_0_6_line_13 |  | 10 | 85 | 0.0085805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-65_0_6_line_14 |  | 11 | 14 | 0.010222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-65_0_6_line_15 |  | 12 | 68 | 0.02306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_942-65_0_6_line_16 |  | 13 | 81 | 0.011878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_942-65_0_6_line_17 |  | 14 | 15 | 0.026002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_942-65_0_6_line_18 |  | 15 | 16 | 0.032507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-65_0_6_line_19 |  | 17 | 18 | 0.0088258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_942-65_0_6_line_20 |  | 17 | 19 | 0.0046454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_942-65_0_6_line_21 |  | 18 | 20 | 0.013553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_942-65_0_6_line_22 |  | 19 | 21 | 0.014231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_942-65_0_6_line_23 |  | 20 | 22 | 0.020588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_942-65_0_6_line_24 |  | 20 | 23 | 0.044478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_942-65_0_6_line_25 |  | 21 | 24 | 0.027906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_942-65_0_6_line_26 |  | 22 | 25 | 0.015063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_942-65_0_6_line_27 |  | 23 | 26 | 0.030934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_942-65_0_6_line_28 |  | 24 | 27 | 0.0039313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_942-65_0_6_line_29 |  | 25 | 87 | 0.0064871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_942-65_0_6_line_30 |  | 26 | 29 | 0.038908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_942-65_0_6_line_31 |  | 26 | 28 | 0.069966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_942-65_0_6_line_32 |  | 27 | 61 | 0.0032215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_942-65_0_6_line_33 |  | 29 | 30 | 0.022143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-65_0_6_line_34 |  | 31 | 32 | 0.011768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_942-65_0_6_line_35 |  | 31 | 33 | 0.00492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_942-65_0_6_line_36 |  | 32 | 34 | 0.022191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-65_0_6_line_37 |  | 33 | 35 | 0.016729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_942-65_0_6_line_38 |  | 34 | 36 | 0.0057682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-65_0_6_line_39 |  | 34 | 37 | 0.021112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-65_0_6_line_40 |  | 35 | 41 | 0.0022305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_942-65_0_6_line_41 |  | 37 | 42 | 0.013348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-65_0_6_line_42 |  | 38 | 39 | 0.016585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_942-65_0_6_line_43 |  | 38 | 40 | 0.01683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_942-65_0_6_line_44 |  | 39 | 46 | 0.022882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_942-65_0_6_line_45 |  | 40 | 47 | 0.014515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_942-65_0_6_line_46 |  | 41 | 48 | 0.0095449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_942-65_0_6_line_47 |  | 43 | 44 | 0.0046106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_942-65_0_6_line_48 |  | 43 | 45 | 0.0013843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_942-65_0_6_line_49 |  | 44 | 70 | 0.013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_942-65_0_6_line_50 |  | 45 | 71 | 0.013536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_942-65_0_6_line_51 |  | 46 | 56 | 0.025401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_942-65_0_6_line_52 |  | 47 | 64 | 0.012408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_942-65_0_6_line_53 |  | 48 | 68 | 0.01218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_942-65_0_6_line_54 |  | 49 | 50 | 0.0024347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_942-65_0_6_line_55 |  | 49 | 51 | 0.022805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-65_0_6_line_56 |  | 50 | 52 | 0.00026313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_942-65_0_6_line_57 |  | 52 | 53 | 0.00013379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_942-65_0_6_line_58 |  | 53 | 57 | 0.0012441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_942-65_0_6_line_59 |  | 54 | 55 | 0.013402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_942-65_0_6_line_60 |  | 54 | 56 | 0.003676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_942-65_0_6_line_61 |  | 55 | 58 | 0.0059082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_942-65_0_6_line_62 |  | 56 | 59 | 0.058481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_942-65_0_6_line_63 |  | 57 | 86 | 0.0006926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_942-65_0_6_line_64 |  | 58 | 71 | 0.0059061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_942-65_0_6_line_65 |  | 59 | 60 | 0.033815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_942-65_0_6_line_66 |  | 61 | 62 | 0.022689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_942-65_0_6_line_67 |  | 62 | 63 | 0.011986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_942-65_0_6_line_68 |  | 63 | 96 | 0.021907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-65_0_6_line_69 |  | 63 | 79 | 0.014137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_942-65_0_6_line_70 |  | 64 | 65 | 0.002186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_942-65_0_6_line_71 |  | 65 | 69 | 0.023169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_942-65_0_6_line_72 |  | 66 | 67 | 0.0058801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-65_0_6_line_73 |  | 67 | 70 | 0.0058604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_942-65_0_6_line_74 |  | 69 | 81 | 0.016563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_942-65_0_6_line_75 |  | 72 | 73 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_942-65_0_6_line_76 |  | 72 | 74 | 0.0060286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_942-65_0_6_line_77 |  | 73 | 75 | 0.012523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_942-65_0_6_line_78 |  | 74 | 76 | 0.015387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_942-65_0_6_line_79 |  | 75 | 77 | 0.026401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_942-65_0_6_line_80 |  | 76 | 78 | 0.0024187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_942-65_0_6_line_81 |  | 77 | 79 | 0.03479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_942-65_0_6_line_82 |  | 78 | 80 | 0.010934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_942-65_0_6_line_83 |  | 80 | 83 | 5.1601e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_942-65_0_6_line_84 |  | 81 | 82 | 0.02624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_942-65_0_6_line_85 |  | 82 | 95 | 0.017661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_942-65_0_6_line_86 |  | 82 | 92 | 0.001679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_942-65_0_6_line_87 |  | 83 | 84 | 0.0059071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_942-65_0_6_line_88 |  | 84 | 93 | 0.0036906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_942-65_0_6_line_89 |  | 86 | 87 | 0.017107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_942-65_0_6_line_90 |  | 88 | 89 | 0.014929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_942-65_0_6_line_91 |  | 88 | 90 | 0.019544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_942-65_0_6_line_92 |  | 89 | 91 | 0.015773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_942-65_0_6_line_93 |  | 90 | 92 | 0.017842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_942-65_0_6_line_94 |  | 91 | 93 | 0.0042799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_942-65_0_6_line_95 |  | 92 | 94 | 0.016072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_942-65_0_6_line_96 |  | 95 | 98 | 0.024038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_942-65_0_6_line_97 |  | 96 | 97 | 0.018109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_942-65_0_6_line_98 |  | 98 | 104 | 0.0052564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_942-65_0_6_line_99 |  | 99 | 100 | 0.00063613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_942-65_0_6_line_100 |  | 99 | 101 | 0.0073543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_942-65_0_6_line_101 |  | 100 | 102 | 0.018761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_942-65_0_6_line_102 |  | 101 | 103 | 0.038519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_942-65_0_6_line_103 |  | 103 | 104 | 0.036717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-65_0_6_trafo_27 | 0.63 MVA 20/0.4 kV | 105 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2612397.4022 | 1179274.8734 | 2612386.5019 | 1179285.8653
1 | 2612373.7485 | 1179298.7259 | 2612386.5019 | 1179285.8653
2 | 2612397.4022 | 1179274.8734 | 2612400.5593 | 1179273.8571 | 2612410.7834 | 1179263.9309
3 | 2612378.8933 | 1179256.0479 | 2612397.4022 | 1179274.8734
4 | 2612373.7485 | 1179298.7259 | 2612384.2455 | 1179309.4307 | 2612395.5961 | 1179321.0377
5 | 2612373.7485 | 1179298.7259 | 2612347.8345 | 1179272.3306
6 | 2612422.0284 | 1179253.0137 | 2612410.7834 | 1179263.9309
7 | 2612395.5961 | 1179321.0377 | 2612432.2356 | 1179284.1016
8 | 2612332.2787 | 1179256.4859 | 2612347.8345 | 1179272.3306
9 | 2612433.869 | 1179241.5181 | 2612422.0284 | 1179253.0137
10 | 2612440.0869 | 1179276.1867 | 2612432.2356 | 1179284.1016
11 | 2612332.2787 | 1179256.4859 | 2612347.8322 | 1179241.2499
12 | 2612332.2787 | 1179256.4859 | 2612319.0505 | 1179243.0164
13 | 2612440.0254 | 1179235.5411 | 2612433.869 | 1179241.5181
14 | 2612447.2859 | 1179268.9294 | 2612440.0869 | 1179276.1867
15 | 2612364.305 | 1179225.1133 | 2612347.8322 | 1179241.2499
16 | 2612310.7278 | 1179234.5418 | 2612319.0505 | 1179243.0164
17 | 2612447.2859 | 1179268.9294 | 2612465.5981 | 1179250.469
18 | 2612465.5981 | 1179250.469 | 2612498.0984 | 1179251.1341
19 | 2612273.9808 | 1179041.036 | 2612277.3198 | 1179040.6635 | 2612282.7074 | 1179039.7406 | 2612282.7074 | 1179039.7406
20 | 2612273.9808 | 1179041.036 | 2612269.3641 | 1179041.5511
21 | 2612295.2541 | 1179034.6303 | 2612286.9581 | 1179038.2041 | 2612282.7074 | 1179039.7406
22 | 2612255.2208 | 1179043.129 | 2612269.3641 | 1179041.5511
23 | 2612295.2541 | 1179034.6303 | 2612309.2974 | 1179049.6849
24 | 2612295.2541 | 1179034.6303 | 2612264.8543 | 1179002.1629
25 | 2612255.2208 | 1179043.129 | 2612227.4869 | 1179046.2232
26 | 2612309.2974 | 1179049.6849 | 2612319.5723 | 1179060.6997
27 | 2612261.3338 | 1178971.5512 | 2612261.55 | 1178974.1418 | 2612261.7024 | 1178978.0886 | 2612263.4948 | 1178998.2803 | 2612264.8543 | 1179002.1629
28 | 2612223.5799 | 1179046.6591 | 2612227.4869 | 1179046.2232
29 | 2612323.9973 | 1179065.4433 | 2612319.5723 | 1179060.6997
30 | 2612261.3338 | 1178971.5512 | 2612245.0119 | 1178973.5079 | 2612228.0982 | 1178973.4735 | 2612222.5821 | 1178974.1328
31 | 2612261.3338 | 1178971.5512 | 2612330.8025 | 1178963.2261
32 | 2612220.3782 | 1179047.0163 | 2612223.5799 | 1179046.6591
33 | 2612222.5821 | 1178974.1328 | 2612200.5958 | 1178976.7605
34 | 2612405.2852 | 1179184.9606 | 2612396.877 | 1179193.194
35 | 2612393.3617 | 1179196.6362 | 2612396.877 | 1179193.194
36 | 2612421.1403 | 1179169.435 | 2612405.2852 | 1179184.9606
37 | 2612393.3617 | 1179196.6362 | 2612381.414 | 1179208.3456
38 | 2612421.1403 | 1179169.435 | 2612417.1854 | 1179165.236
39 | 2612421.1403 | 1179169.435 | 2612435.6161 | 1179184.8027
40 | 2612381.414 | 1179208.3456 | 2612379.821 | 1179209.9068
41 | 2612444.7688 | 1179194.5191 | 2612435.6161 | 1179184.8027
42 | 2612372.5962 | 1179175.3938 | 2612384.5331 | 1179163.8794
43 | 2612372.5962 | 1179175.3938 | 2612360.4845 | 1179187.0801
44 | 2612401.0017 | 1179147.9937 | 2612384.5331 | 1179163.8794
45 | 2612350.0389 | 1179197.1586 | 2612360.4845 | 1179187.0801
46 | 2612379.821 | 1179209.9068 | 2612373.0041 | 1179216.5877
47 | 2612352.25 | 1179154.5636 | 2612348.9291 | 1179157.7619
48 | 2612352.25 | 1179154.5636 | 2612353.2473 | 1179153.6037
49 | 2612348.9291 | 1179157.7619 | 2612339.1391 | 1179167.1907
50 | 2612353.2473 | 1179153.6037 | 2612363 | 1179144.2171
51 | 2612401.0017 | 1179147.9937 | 2612383.6756 | 1179129.4191
52 | 2612340.695 | 1179205.2325 | 2612348.4102 | 1179197.9224 | 2612350.0389 | 1179197.1586
53 | 2612364.305 | 1179225.1133 | 2612373.0041 | 1179216.5877
54 | 2612338.9193 | 1179081.4398 | 2612337.2585 | 1179079.6594
55 | 2612354.4748 | 1179098.1154 | 2612338.9193 | 1179081.4398
56 | 2612337.079 | 1179079.467 | 2612337.2585 | 1179079.6594
57 | 2612336.9878 | 1179079.3692 | 2612337.079 | 1179079.467
58 | 2612336.9878 | 1179079.3692 | 2612336.1391 | 1179078.4594
59 | 2612381.1681 | 1179126.731 | 2612371.5122 | 1179136.0244
60 | 2612381.1681 | 1179126.731 | 2612383.6756 | 1179129.4191
61 | 2612371.5122 | 1179136.0244 | 2612367.2553 | 1179140.1215
62 | 2612383.6756 | 1179129.4191 | 2612432.4656 | 1179097.177
63 | 2612335.6667 | 1179077.953 | 2612336.1391 | 1179078.4594
64 | 2612363 | 1179144.2171 | 2612367.2553 | 1179140.1215
65 | 2612432.4656 | 1179097.177 | 2612428.2449 | 1179063.6268
66 | 2612220.3782 | 1179047.0163 | 2612197.8291 | 1179049.532
67 | 2612185.9171 | 1179050.861 | 2612197.8291 | 1179049.532
68 | 2612185.9171 | 1179050.861 | 2612185.5575 | 1179047.3696 | 2612181.5088 | 1179047.2836 | 2612178.7308 | 1179045.9328 | 2612177.9402 | 1179044.0303 | 2612176.9769 | 1179034.8828
69 | 2612171.827 | 1179052.4333 | 2612185.9171 | 1179050.861
70 | 2612340.695 | 1179205.2325 | 2612339.1322 | 1179206.761
71 | 2612339.1322 | 1179206.761 | 2612322.5686 | 1179222.9609
72 | 2612330.6827 | 1179175.3351 | 2612334.918 | 1179171.2561
73 | 2612339.1391 | 1179167.1907 | 2612334.918 | 1179171.2561
74 | 2612310.7278 | 1179234.5418 | 2612322.5686 | 1179222.9609
75 | 2612197.7049 | 1179119.112 | 2612209.4402 | 1179131.1461
76 | 2612213.6504 | 1179135.4609 | 2612210.9535 | 1179132.6979 | 2612209.4402 | 1179131.1461
77 | 2612189.1224 | 1179110.0009 | 2612190.9344 | 1179112.1691 | 2612197.7049 | 1179119.112
78 | 2612224.398 | 1179146.4717 | 2612213.6504 | 1179135.4609
79 | 2612189.1224 | 1179110.0009 | 2612185.1273 | 1179105.2205 | 2612182.523 | 1179101.0798 | 2612180.2179 | 1179096.3505 | 2612177.9553 | 1179089.4424 | 2612177.4221 | 1179086.7461
80 | 2612224.398 | 1179146.4717 | 2612226.0875 | 1179148.2026
81 | 2612171.827 | 1179052.4333 | 2612174.0366 | 1179062.8653 | 2612176.6093 | 1179082.6362 | 2612177.4221 | 1179086.7461
82 | 2612226.0875 | 1179148.2026 | 2612233.7251 | 1179156.0273
83 | 2612233.7611 | 1179156.0642 | 2612233.7251 | 1179156.0273
84 | 2612310.7278 | 1179234.5418 | 2612298.8355 | 1179222.4335 | 2612292.1951 | 1179215.9167
85 | 2612292.1951 | 1179215.9167 | 2612279.4243 | 1179228.1156
86 | 2612291.0211 | 1179214.7137 | 2612292.1951 | 1179215.9167
87 | 2612237.8875 | 1179160.2911 | 2612235.2645 | 1179157.6044 | 2612233.7611 | 1179156.0642
88 | 2612240.4657 | 1179162.9318 | 2612237.8875 | 1179160.2911
89 | 2612335.6667 | 1179077.953 | 2612323.9973 | 1179065.4433
90 | 2612264.9036 | 1179187.9625 | 2612254.4746 | 1179177.2806
91 | 2612264.9036 | 1179187.9625 | 2612278.5569 | 1179201.947
92 | 2612243.4556 | 1179165.9942 | 2612254.4746 | 1179177.2806
93 | 2612291.0211 | 1179214.7137 | 2612278.5569 | 1179201.947
94 | 2612243.4556 | 1179165.9942 | 2612240.4657 | 1179162.9318
95 | 2612291.0211 | 1179214.7137 | 2612302.5212 | 1179203.4856
96 | 2612279.4243 | 1179228.1156 | 2612262.042 | 1179244.7195
97 | 2612174.0271 | 1179017.0541 | 2612174.9706 | 1179020.2899 | 2612176.1488 | 1179027.0179 | 2612176.9769 | 1179034.8828
98 | 2612258.241 | 1179248.3503 | 2612262.042 | 1179244.7195
99 | 2612198.5753 | 1179240.9913 | 2612199.0132 | 1179241.4527
100 | 2612204.0762 | 1179246.7867 | 2612199.0132 | 1179241.4527
101 | 2612185.6594 | 1179227.384 | 2612198.5753 | 1179240.9913
102 | 2612204.0762 | 1179246.7867 | 2612226.1471 | 1179268.6315 | 2612231.6904 | 1179273.712
103 | 2612231.6904 | 1179273.712 | 2612258.241 | 1179248.3503

## bus_geodata
| x | y | coords
0 | 2612386.5019 | 1179285.8653
1 | 2612397.4022 | 1179274.8734
2 | 2612373.7485 | 1179298.7259
3 | 2612410.7834 | 1179263.9309
4 | 2612378.8933 | 1179256.0479
5 | 2612395.5961 | 1179321.0377
6 | 2612347.8345 | 1179272.3306
7 | 2612422.0284 | 1179253.0137
8 | 2612432.2356 | 1179284.1016
9 | 2612332.2787 | 1179256.4859
10 | 2612433.869 | 1179241.5181
11 | 2612440.0869 | 1179276.1867
12 | 2612347.8322 | 1179241.2499
13 | 2612319.0505 | 1179243.0164
14 | 2612447.2859 | 1179268.9294
15 | 2612465.5981 | 1179250.469
16 | 2612498.0984 | 1179251.1341
17 | 2612273.9808 | 1179041.036
18 | 2612282.7074 | 1179039.7406
19 | 2612269.3641 | 1179041.5511
20 | 2612295.2541 | 1179034.6303
21 | 2612255.2208 | 1179043.129
22 | 2612309.2974 | 1179049.6849
23 | 2612264.8543 | 1179002.1629
24 | 2612227.4869 | 1179046.2232
25 | 2612319.5723 | 1179060.6997
26 | 2612261.3338 | 1178971.5512
27 | 2612223.5799 | 1179046.6591
28 | 2612330.8025 | 1178963.2261
29 | 2612222.5821 | 1178974.1328
30 | 2612200.5958 | 1178976.7605
31 | 2612396.877 | 1179193.194
32 | 2612405.2852 | 1179184.9606
33 | 2612393.3617 | 1179196.6362
34 | 2612421.1403 | 1179169.435
35 | 2612381.414 | 1179208.3456
36 | 2612417.1854 | 1179165.236
37 | 2612435.6161 | 1179184.8027
38 | 2612372.5962 | 1179175.3938
39 | 2612384.5331 | 1179163.8794
40 | 2612360.4845 | 1179187.0801
41 | 2612379.821 | 1179209.9068
42 | 2612444.7688 | 1179194.5191
43 | 2612352.25 | 1179154.5636
44 | 2612348.9291 | 1179157.7619
45 | 2612353.2473 | 1179153.6037
46 | 2612401.0017 | 1179147.9937
47 | 2612350.0389 | 1179197.1586
48 | 2612373.0041 | 1179216.5877
49 | 2612338.9193 | 1179081.4398
50 | 2612337.2585 | 1179079.6594
51 | 2612354.4748 | 1179098.1154
52 | 2612337.079 | 1179079.467
53 | 2612336.9878 | 1179079.3692
54 | 2612381.1681 | 1179126.731
55 | 2612371.5122 | 1179136.0244
56 | 2612383.6756 | 1179129.4191
57 | 2612336.1391 | 1179078.4594
58 | 2612367.2553 | 1179140.1215
59 | 2612432.4656 | 1179097.177
60 | 2612428.2449 | 1179063.6268
61 | 2612220.3782 | 1179047.0163
62 | 2612197.8291 | 1179049.532
63 | 2612185.9171 | 1179050.861
64 | 2612340.695 | 1179205.2325
65 | 2612339.1322 | 1179206.761
66 | 2612330.6827 | 1179175.3351
67 | 2612334.918 | 1179171.2561
68 | 2612364.305 | 1179225.1133
69 | 2612322.5686 | 1179222.9609
70 | 2612339.1391 | 1179167.1907
71 | 2612363 | 1179144.2171
72 | 2612209.4402 | 1179131.1461
73 | 2612197.7049 | 1179119.112
74 | 2612213.6504 | 1179135.4609
75 | 2612189.1224 | 1179110.0009
76 | 2612224.398 | 1179146.4717
77 | 2612177.4221 | 1179086.7461
78 | 2612226.0875 | 1179148.2026
79 | 2612171.827 | 1179052.4333
80 | 2612233.7251 | 1179156.0273
81 | 2612310.7278 | 1179234.5418
82 | 2612292.1951 | 1179215.9167
83 | 2612233.7611 | 1179156.0642
84 | 2612237.8875 | 1179160.2911
85 | 2612440.0254 | 1179235.5411
86 | 2612335.6667 | 1179077.953
87 | 2612323.9973 | 1179065.4433
88 | 2612264.9036 | 1179187.9625
89 | 2612254.4746 | 1179177.2806
90 | 2612278.5569 | 1179201.947
91 | 2612243.4556 | 1179165.9942
92 | 2612291.0211 | 1179214.7137
93 | 2612240.4657 | 1179162.9318
94 | 2612302.5212 | 1179203.4856
95 | 2612279.4243 | 1179228.1156
96 | 2612176.9769 | 1179034.8828
97 | 2612174.0271 | 1179017.0541
98 | 2612262.042 | 1179244.7195
99 | 2612199.0132 | 1179241.4527
100 | 2612198.5753 | 1179240.9913
101 | 2612204.0762 | 1179246.7867
102 | 2612185.6594 | 1179227.384
103 | 2612231.6904 | 1179273.712
104 | 2612258.241 | 1179248.3503
105 | 2612381.1681 | 1179126.731

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1