## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-67_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-67_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-67_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_942-67_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_942-67_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_942-67_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_942-67_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_942-67_0_4_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_942-67_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_942-67_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_942-67_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_942-67_0_4_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_942-67_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_942-67_0_4_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_942-67_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_942-67_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_942-67_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_942-67_0_4_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_942-67_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_942-67_0_4_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_942-67_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_942-67_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_942-67_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_942-67_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_942-67_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_942-67_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_942-67_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_942-67_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_942-67_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_942-67_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_942-67_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_942-67_0_4_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_942-67_0_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_942-67_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_942-67_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_942-67_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_942-67_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_942-67_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_942-67_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_942-67_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_942-67_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_942-67_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_942-67_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_942-67_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_942-67_0_4_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_942-67_0_4_node_81 | 0.4 | n |  | TRUE
46 | bus_LV_942-67_0_4_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_942-67_0_4_node_76 | 0.4 | n |  | TRUE
48 | bus_LV_942-67_0_4_node_75 | 0.4 | n |  | TRUE
49 | bus_LV_942-67_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_942-67_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_942-67_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_942-67_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_942-67_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_942-67_0_4_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_942-67_0_4_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_942-67_0_4_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_942-67_0_4_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_942-67_0_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_942-67_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_942-67_0_4_node_94 | 0.4 | n |  | TRUE
61 | bus_LV_942-67_0_4_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_942-67_0_4_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_942-67_0_4_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_942-67_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_942-67_0_4_node_88 | 0.4 | n |  | TRUE
66 | bus_LV_942-67_0_4_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_942-67_0_4_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_942-67_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_942-67_0_4_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_942-67_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_942-67_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_942-67_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_942-67_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_942-67_0_4_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_942-67_0_4_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_942-67_0_4_node_92 | 0.4 | n |  | TRUE
77 | bus_LV_942-67_0_4_node_90 | 0.4 | n |  | TRUE
78 | bus_LV_942-67_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_942-67_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_942-67_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_942-67_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_942-67_0_4_node_93 | 0.4 | n |  | TRUE
83 | bus_LV_942-67_0_4_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_942-67_0_4_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_942-67_0_4_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_942-67_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_942-67_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_942-67_0_4_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_942-67_0_4_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_942-67_0_4_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_942-67_0_4_node_91 | 0.4 | n |  | TRUE
92 | bus_MV_208_1_node_141 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-67_0_4_load_0 | 0 | 0.0065541 | 0.0016426 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-67_0_4_load_29 | 5 | 0.0036573 | 0.00091661 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-67_0_4_load_27 | 6 | 0.0078772 | 0.0019742 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-67_0_4_load_25 | 7 | 0.002861 | 0.00071704 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-67_0_4_load_4 | 9 | 0.0087962 | 0.0022045 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-67_0_4_load_21 | 10 | 0.0022842 | 0.00057247 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-67_0_4_load_26 | 11 | 0.0036777 | 0.00092172 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-67_0_4_load_5 | 12 | 0.0043714 | 0.0010956 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-67_0_4_load_41 | 13 | 0.018416 | 0.0046156 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-67_0_4_load_8 | 14 | 0.0023547 | 0.00059013 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-67_0_4_load_9 | 15 | 0.0030307 | 0.00075958 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-67_0_4_load_24 | 17 | 0.0062165 | 0.001558 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-67_0_4_load_16 | 18 | 0.0024371 | 0.00061079 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-67_0_4_load_42 | 19 | 0.0033468 | 0.00083878 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-67_0_4_load_14 | 20 | 0.0029852 | 0.00074817 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-67_0_4_load_13 | 21 | 0.0039892 | 0.00099978 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-67_0_4_load_15 | 22 | 0.0032214 | 0.00080735 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-67_0_4_load_28 | 24 | 0.0033952 | 0.00085091 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-67_0_4_load_44 | 25 | 0.0028525 | 0.00071491 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-67_0_4_load_18 | 26 | 0.0024531 | 0.0006148 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-67_0_4_load_19 | 27 | 0.0022809 | 0.00057164 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-67_0_4_load_20 | 28 | 0.0037595 | 0.00094221 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-67_0_4_load_23 | 30 | 0.0045788 | 0.0011476 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-67_0_4_load_43 | 31 | 0.0047286 | 0.0011851 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-67_0_4_load_45 | 32 | 0.0027522 | 0.00068976 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-67_0_4_load_30 | 33 | 0.0011924 | 0.00029884 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-67_0_4_load_33 | 35 | 0.063686 | 0.015961 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-67_0_4_load_37 | 36 | 0.016783 | 0.0042062 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-67_0_4_load_40 | 37 | 0.022324 | 0.005595 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-67_0_4_load_35 | 38 | 0.014113 | 0.003537 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-67_0_4_load_34 | 39 | 0.0039943 | 0.0010011 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-67_0_4_load_39 | 42 | 0.0082357 | 0.0020641 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-67_0_4_load_51 | 44 | 0.010707 | 0.0026834 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-67_0_4_load_81 | 45 | 0.010601 | 0.0026569 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-67_0_4_load_76 | 47 | 0.0090491 | 0.0022679 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-67_0_4_load_75 | 48 | 0.0081636 | 0.002046 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-67_0_4_load_46 | 49 | 0.0025641 | 0.00064262 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-67_0_4_load_47 | 50 | 0.0053673 | 0.0013452 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-67_0_4_load_48 | 51 | 0.0024821 | 0.00062207 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-67_0_4_load_49 | 52 | 0.0028676 | 0.00071869 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-67_0_4_load_79 | 55 | 0.0023874 | 0.00059834 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-67_0_4_load_95 | 56 | 0.0013568 | 0.00034006 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-67_0_4_load_55 | 59 | 0.0027706 | 0.00069438 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-67_0_4_load_94 | 60 | 0.0027689 | 0.00069395 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-67_0_4_load_63 | 62 | 0.0025469 | 0.00063831 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-67_0_4_load_65 | 63 | 0.0025453 | 0.00063791 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-67_0_4_load_61 | 64 | 0.002411 | 0.00060426 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-67_0_4_load_89 | 66 | 0.015718 | 0.0039392 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-67_0_4_load_87 | 67 | 0.010247 | 0.0025682 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-67_0_4_load_59 | 68 | 0.0027689 | 0.00069395 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-67_0_4_load_56 | 70 | 0.0028648 | 0.00071799 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-67_0_4_load_57 | 71 | 0.0027706 | 0.00069438 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-67_0_4_load_58 | 72 | 0.0028648 | 0.00071799 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-67_0_4_load_86 | 74 | 0.0028705 | 0.00071942 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-67_0_4_load_90 | 77 | 0.016166 | 0.0040516 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-67_0_4_load_62 | 78 | 0.0024101 | 0.00060404 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-67_0_4_load_64 | 79 | 0.0024101 | 0.00060404 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-67_0_4_load_71 | 80 | 0.002411 | 0.00060427 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-67_0_4_load_93 | 82 | 0.0025456 | 0.00063798 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-67_0_4_load_66 | 83 | 0.0027373 | 0.00068603 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-67_0_4_load_67 | 84 | 0.0027373 | 0.00068603 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-67_0_4_load_69 | 85 | 0.0027394 | 0.00068656 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-67_0_4_load_82 | 88 | 0.012359 | 0.0030974 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-67_0_4_load_85 | 89 | 0.0028705 | 0.00071942 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-67_0_4_load_77 | 90 | 0.0091202 | 0.0022857 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-67_0_4_load_91 | 91 | 0.0018606 | 0.00046631 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-67_0_4_line_0 |  | 0 | 1 | 0.053715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-67_0_4_line_1 |  | 1 | 2 | 0.017296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-67_0_4_line_2 |  | 2 | 6 | 0.034433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-67_0_4_line_3 |  | 2 | 7 | 0.0052142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-67_0_4_line_4 |  | 2 | 3 | 0.047765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-67_0_4_line_5 |  | 3 | 4 | 0.015854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-67_0_4_line_6 |  | 3 | 5 | 0.028675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-67_0_4_line_7 |  | 4 | 8 | 0.06496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-67_0_4_line_8 |  | 4 | 9 | 0.011253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-67_0_4_line_9 |  | 5 | 10 | 0.021922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-67_0_4_line_10 |  | 7 | 11 | 0.011219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-67_0_4_line_11 |  | 8 | 13 | 0.029262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-67_0_4_line_12 |  | 9 | 12 | 0.0052504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-67_0_4_line_13 |  | 10 | 27 | 0.0081986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-67_0_4_line_14 |  | 11 | 23 | 0.018477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-67_0_4_line_15 |  | 14 | 15 | 0.0095658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-67_0_4_line_16 |  | 15 | 16 | 0.007067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-67_0_4_line_17 |  | 16 | 17 | 0.014594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_942-67_0_4_line_18 |  | 16 | 18 | 0.0080463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_942-67_0_4_line_19 |  | 17 | 19 | 0.00089866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_942-67_0_4_line_20 |  | 18 | 20 | 0.0098422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_942-67_0_4_line_21 |  | 19 | 31 | 0.016694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_942-67_0_4_line_22 |  | 20 | 21 | 0.012402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-67_0_4_line_23 |  | 21 | 22 | 0.0093912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-67_0_4_line_24 |  | 22 | 23 | 0.004219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-67_0_4_line_25 |  | 23 | 24 | 0.0083268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-67_0_4_line_26 |  | 24 | 25 | 0.030823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-67_0_4_line_27 |  | 25 | 32 | 0.02423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-67_0_4_line_28 |  | 26 | 27 | 0.012724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-67_0_4_line_29 |  | 26 | 28 | 0.019192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-67_0_4_line_30 |  | 28 | 29 | 0.0072285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-67_0_4_line_31 |  | 29 | 30 | 0.0083307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-67_0_4_line_32 |  | 31 | 47 | 0.022185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_942-67_0_4_line_33 |  | 32 | 49 | 0.0016223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-67_0_4_line_34 |  | 33 | 34 | 0.01762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_942-67_0_4_line_35 |  | 34 | 35 | 0.019901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-67_0_4_line_36 |  | 35 | 37 | 0.020356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-67_0_4_line_37 |  | 36 | 37 | 0.06171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-67_0_4_line_38 |  | 36 | 38 | 0.013262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-67_0_4_line_39 |  | 38 | 39 | 0.061881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_942-67_0_4_line_40 |  | 39 | 40 | 0.011347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_942-67_0_4_line_41 |  | 40 | 41 | 0.021117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_942-67_0_4_line_42 |  | 40 | 42 | 0.028168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-67_0_4_line_43 |  | 41 | 43 | 0.00917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_942-67_0_4_line_44 |  | 41 | 44 | 0.0060433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_942-67_0_4_line_45 |  | 43 | 45 | 0.016942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-67_0_4_line_46 |  | 44 | 46 | 0.015076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_942-67_0_4_line_47 |  | 45 | 57 | 0.014939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-67_0_4_line_48 |  | 46 | 58 | 0.011589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_942-67_0_4_line_49 |  | 46 | 59 | 0.012067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-67_0_4_line_50 |  | 47 | 48 | 0.001091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_942-67_0_4_line_51 |  | 48 | 90 | 0.016522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_942-67_0_4_line_52 |  | 50 | 51 | 0.0061247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-67_0_4_line_53 |  | 50 | 52 | 0.0074435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-67_0_4_line_54 |  | 52 | 53 | 0.03342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-67_0_4_line_55 |  | 53 | 54 | 0.048797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-67_0_4_line_56 |  | 53 | 55 | 0.047814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-67_0_4_line_57 |  | 54 | 56 | 0.009997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-67_0_4_line_58 |  | 55 | 57 | 0.0158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-67_0_4_line_59 |  | 58 | 60 | 0.00098946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_942-67_0_4_line_60 |  | 59 | 61 | 0.018787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-67_0_4_line_61 |  | 60 | 68 | 0.0061057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_942-67_0_4_line_62 |  | 61 | 69 | 0.005293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-67_0_4_line_63 |  | 62 | 63 | 0.0070883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-67_0_4_line_64 |  | 62 | 64 | 0.011631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-67_0_4_line_65 |  | 63 | 69 | 0.017347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-67_0_4_line_66 |  | 64 | 78 | 0.0060672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-67_0_4_line_67 |  | 65 | 66 | 0.017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-67_0_4_line_68 |  | 65 | 67 | 0.015518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-67_0_4_line_69 |  | 66 | 76 | 0.018404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-67_0_4_line_70 |  | 68 | 71 | 0.0061063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_942-67_0_4_line_71 |  | 69 | 82 | 0.011614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-67_0_4_line_72 |  | 70 | 71 | 0.011959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_942-67_0_4_line_73 |  | 70 | 72 | 0.006122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_942-67_0_4_line_74 |  | 72 | 73 | 0.0050982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_942-67_0_4_line_75 |  | 73 | 74 | 0.0010021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_942-67_0_4_line_76 |  | 74 | 75 | 0.01355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_942-67_0_4_line_77 |  | 75 | 88 | 0.015048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_942-67_0_4_line_78 |  | 75 | 89 | 0.012026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_942-67_0_4_line_79 |  | 76 | 77 | 0.017951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_942-67_0_4_line_80 |  | 77 | 91 | 0.015676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_942-67_0_4_line_81 |  | 78 | 79 | 0.0060632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_942-67_0_4_line_82 |  | 79 | 80 | 0.0060672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_942-67_0_4_line_83 |  | 80 | 81 | 0.002219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_942-67_0_4_line_84 |  | 81 | 83 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_942-67_0_4_line_85 |  | 83 | 84 | 0.0066075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_942-67_0_4_line_86 |  | 84 | 85 | 0.00661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_942-67_0_4_line_87 |  | 86 | 87 | 0.011045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_942-67_0_4_line_88 |  | 86 | 88 | 0.012899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_942-67_0_4_line_89 |  | 87 | 91 | 0.02047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_942-67_0_4_line_90 |  | 87 | 90 | 0.014406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-67_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 92 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2613654.67 | 1176430.7848 | 2613678.2931 | 1176393.9863 | 2613687.076 | 1176398.7403
1 | 2613654.67 | 1176430.7848 | 2613647.3135 | 1176442.7742 | 2613644.2049 | 1176441.9
2 | 2613644.2049 | 1176441.9 | 2613646.2722 | 1176436.8688 | 2613662.2006 | 1176412.6425
3 | 2613644.2049 | 1176441.9 | 2613639.1567 | 1176440.5952
4 | 2613644.2049 | 1176441.9 | 2613647.3135 | 1176442.7742 | 2613690.4311 | 1176453.9221
5 | 2613690.4311 | 1176453.9221 | 2613705.7835 | 1176458.048
6 | 2613690.4311 | 1176453.9221 | 2613688.3169 | 1176459.4201 | 2613686.4445 | 1176462.7509 | 2613683.9838 | 1176466.0358 | 2613672.9054 | 1176475.9385
7 | 2613768.5373 | 1176474.8329 | 2613766.3987 | 1176474.2499 | 2613759.1043 | 1176472.3323 | 2613746.0586 | 1176468.8563 | 2613705.7835 | 1176458.048
8 | 2613705.7835 | 1176458.048 | 2613707.8586 | 1176449.6151 | 2613707.9179 | 1176447.0472 | 2613707.9179 | 1176447.0472
9 | 2613656.5611 | 1176490.5484 | 2613672.9054 | 1176475.9385
10 | 2613628.2946 | 1176437.7875 | 2613639.1567 | 1176440.5952
11 | 2613768.5373 | 1176474.8329 | 2613771.3354 | 1176464.3895 | 2613775.7375 | 1176446.472
12 | 2613707.9179 | 1176447.0472 | 2613707.2259 | 1176445.5116 | 2613706.1585 | 1176444.3863 | 2613704.3415 | 1176443.5151
13 | 2613656.5611 | 1176490.5484 | 2613650.4486 | 1176496.0123
14 | 2613610.4058 | 1176433.1636 | 2613628.2946 | 1176437.7875
15 | 2613551.8328 | 1176417.8825 | 2613561.0816 | 1176420.3247
16 | 2613567.9143 | 1176422.1289 | 2613561.0816 | 1176420.3247
17 | 2613567.9143 | 1176422.1289 | 2613574.9126 | 1176409.3227
18 | 2613567.9143 | 1176422.1289 | 2613575.7023 | 1176424.1514
19 | 2613574.9126 | 1176409.3227 | 2613575.3436 | 1176408.5341
20 | 2613575.7023 | 1176424.1514 | 2613585.2285 | 1176426.6252
21 | 2613583.3492 | 1176393.8847 | 2613575.3436 | 1176408.5341
22 | 2613597.2326 | 1176429.7426 | 2613585.2285 | 1176426.6252
23 | 2613606.3223 | 1176432.1032 | 2613597.2326 | 1176429.7426
24 | 2613610.4058 | 1176433.1636 | 2613606.3223 | 1176432.1032
25 | 2613610.4058 | 1176433.1636 | 2613614.9565 | 1176426.1903
26 | 2613631.8017 | 1176400.3772 | 2613614.9565 | 1176426.1903
27 | 2613631.8017 | 1176400.3772 | 2613645.0435 | 1176380.086
28 | 2613640.9619 | 1176504.4922 | 2613650.4486 | 1176496.0123
29 | 2613640.9619 | 1176504.4922 | 2613626.653 | 1176517.2827
30 | 2613621.2637 | 1176522.1001 | 2613626.653 | 1176517.2827
31 | 2613621.2637 | 1176522.1001 | 2613615.1306 | 1176527.738
32 | 2613583.3492 | 1176393.8847 | 2613593.9877 | 1176374.4172
33 | 2613645.9301 | 1176378.7274 | 2613645.0435 | 1176380.086
34 | 2613808.6356 | 1176335.9318 | 2613817.5532 | 1176320.7347
35 | 2613808.6356 | 1176335.9318 | 2613791.3809 | 1176326.0169
36 | 2613773.7309 | 1176315.875 | 2613791.3809 | 1176326.0169
37 | 2613712.6672 | 1176324.7847 | 2613773.7309 | 1176315.875
38 | 2613712.6672 | 1176324.7847 | 2613701.2257 | 1176318.0784
39 | 2613700.5454 | 1176277.8444 | 2613700.5454 | 1176277.8444 | 2613698.0374 | 1176281.7073 | 2613677.9767 | 1176304.4511 | 2613701.2257 | 1176318.0784
40 | 2613692.2311 | 1176270.6107 | 2613695.3815 | 1176273.297 | 2613699.6781 | 1176276.086 | 2613700.4711 | 1176276.8993 | 2613700.5454 | 1176277.8444
41 | 2613675.0473 | 1176258.2766 | 2613678.183 | 1176260.7182 | 2613692.2311 | 1176270.6107
42 | 2613712.1412 | 1176257.0269 | 2613708.6976 | 1176255.5738 | 2613706.4137 | 1176254.9795 | 2613704.1587 | 1176255.1188 | 2613701.4646 | 1176256.8025 | 2613698.7906 | 1176259.709 | 2613692.2311 | 1176270.6107
43 | 2613675.0473 | 1176258.2766 | 2613681.0246 | 1176251.3088
44 | 2613675.0473 | 1176258.2766 | 2613670.9453 | 1176262.7144
45 | 2613681.0246 | 1176251.3088 | 2613692.0404 | 1176238.4375
46 | 2613660.7122 | 1176273.7853 | 2613670.9453 | 1176262.7144
47 | 2613701.7538 | 1176227.088 | 2613692.0404 | 1176238.4375
48 | 2613660.7122 | 1176273.7853 | 2613652.6453 | 1176282.1268
49 | 2613660.7122 | 1176273.7853 | 2613651.8977 | 1176265.5434
50 | 2613594.5109 | 1176373.4598 | 2613593.9877 | 1176374.4172
51 | 2613594.5109 | 1176373.4598 | 2613602.434 | 1176358.9613
52 | 2613714.9569 | 1176153.8862 | 2613714.181 | 1176153.3232 | 2613709.6006 | 1176150.9338
53 | 2613714.9569 | 1176153.8862 | 2613718.5609 | 1176156.5015 | 2613720.4506 | 1176158.8193
54 | 2613745.2944 | 1176180.7636 | 2613740.5629 | 1176177.6512 | 2613733.7253 | 1176172.9888 | 2613727.6232 | 1176167.6166 | 2613720.4506 | 1176158.8193
55 | 2613745.2944 | 1176180.7636 | 2613748.1631 | 1176182.9824 | 2613749.8619 | 1176185.4319 | 2613750.7667 | 1176187.5128 | 2613751.4028 | 1176190.0934 | 2613752.8271 | 1176192.2866 | 2613757.8178 | 1176195.7109 | 2613781.9498 | 1176211.0516
56 | 2613745.2944 | 1176180.7636 | 2613721.7613 | 1176204.3887 | 2613718.406 | 1176207.7605 | 2613712.067 | 1176215.1179
57 | 2613781.9498 | 1176211.0516 | 2613780.4466 | 1176213.3382 | 2613777.4222 | 1176219.0564 | 2613776.985 | 1176219.7224
58 | 2613701.7538 | 1176227.088 | 2613712.067 | 1176215.1179
59 | 2613651.9789 | 1176282.8582 | 2613652.6453 | 1176282.1268
60 | 2613638.1752 | 1176252.7124 | 2613651.8977 | 1176265.5434
61 | 2613647.8667 | 1176287.3713 | 2613651.9789 | 1176282.8582
62 | 2613638.1752 | 1176252.7124 | 2613641.7075 | 1176248.7628
63 | 2613658.0053 | 1176230.5571 | 2613653.2775 | 1176235.8384
64 | 2613658.0053 | 1176230.5571 | 2613665.778 | 1176221.9043
65 | 2613641.7075 | 1176248.7628 | 2613653.2775 | 1176235.8384
66 | 2613665.778 | 1176221.9043 | 2613669.8324 | 1176217.3907
67 | 2613674.9011 | 1176302.4654 | 2613663.0725 | 1176315.6026
68 | 2613674.9011 | 1176302.4654 | 2613685.368 | 1176291.0093
69 | 2613650.7577 | 1176329.2798 | 2613663.0725 | 1176315.6026
70 | 2613643.754 | 1176291.8849 | 2613647.8667 | 1176287.3713
71 | 2613641.7075 | 1176248.7628 | 2613633.7685 | 1176240.2854
72 | 2613635.6995 | 1176300.7247 | 2613643.754 | 1176291.8849
73 | 2613635.6995 | 1176300.7247 | 2613631.5762 | 1176305.2499
74 | 2613628.1425 | 1176309.0183 | 2613631.5762 | 1176305.2499
75 | 2613628.1425 | 1176309.0183 | 2613627.4688 | 1176309.7601
76 | 2613618.3583 | 1176319.7906 | 2613627.4688 | 1176309.7601
77 | 2613618.3583 | 1176319.7906 | 2613608.3492 | 1176331.0273
78 | 2613618.3583 | 1176319.7906 | 2613609.4666 | 1176311.693
79 | 2613650.7577 | 1176329.2798 | 2613638.704 | 1176342.5813
80 | 2613638.704 | 1176342.5813 | 2613628.1779 | 1176354.197 | 2613628.1779 | 1176354.197
81 | 2613673.8842 | 1176212.8801 | 2613669.8324 | 1176217.3907
82 | 2613677.9386 | 1176208.3666 | 2613673.8842 | 1176212.8801
83 | 2613679.4215 | 1176206.7158 | 2613677.9386 | 1176208.3666
84 | 2613679.4215 | 1176206.7158 | 2613686.3952 | 1176199.04
85 | 2613686.3952 | 1176199.04 | 2613690.8383 | 1176194.1495
86 | 2613695.2832 | 1176189.2571 | 2613690.8383 | 1176194.1495
87 | 2613599.7696 | 1176340.6592 | 2613609.2951 | 1176346.2947
88 | 2613599.7696 | 1176340.6592 | 2613608.3492 | 1176331.0273
89 | 2613609.2951 | 1176346.2947 | 2613628.1779 | 1176354.197
90 | 2613609.2951 | 1176346.2947 | 2613608.4277 | 1176347.9936 | 2613602.434 | 1176358.9613

## bus_geodata
| x | y | coords
0 | 2613687.076 | 1176398.7403
1 | 2613654.67 | 1176430.7848
2 | 2613644.2049 | 1176441.9
3 | 2613690.4311 | 1176453.9221
4 | 2613705.7835 | 1176458.048
5 | 2613672.9054 | 1176475.9385
6 | 2613662.2006 | 1176412.6425
7 | 2613639.1567 | 1176440.5952
8 | 2613768.5373 | 1176474.8329
9 | 2613707.9179 | 1176447.0472
10 | 2613656.5611 | 1176490.5484
11 | 2613628.2946 | 1176437.7875
12 | 2613704.3415 | 1176443.5151
13 | 2613775.7375 | 1176446.472
14 | 2613551.8328 | 1176417.8825
15 | 2613561.0816 | 1176420.3247
16 | 2613567.9143 | 1176422.1289
17 | 2613574.9126 | 1176409.3227
18 | 2613575.7023 | 1176424.1514
19 | 2613575.3436 | 1176408.5341
20 | 2613585.2285 | 1176426.6252
21 | 2613597.2326 | 1176429.7426
22 | 2613606.3223 | 1176432.1032
23 | 2613610.4058 | 1176433.1636
24 | 2613614.9565 | 1176426.1903
25 | 2613631.8017 | 1176400.3772
26 | 2613640.9619 | 1176504.4922
27 | 2613650.4486 | 1176496.0123
28 | 2613626.653 | 1176517.2827
29 | 2613621.2637 | 1176522.1001
30 | 2613615.1306 | 1176527.738
31 | 2613583.3492 | 1176393.8847
32 | 2613645.0435 | 1176380.086
33 | 2613817.5532 | 1176320.7347
34 | 2613808.6356 | 1176335.9318
35 | 2613791.3809 | 1176326.0169
36 | 2613712.6672 | 1176324.7847
37 | 2613773.7309 | 1176315.875
38 | 2613701.2257 | 1176318.0784
39 | 2613700.5454 | 1176277.8444
40 | 2613692.2311 | 1176270.6107
41 | 2613675.0473 | 1176258.2766
42 | 2613712.1412 | 1176257.0269
43 | 2613681.0246 | 1176251.3088
44 | 2613670.9453 | 1176262.7144
45 | 2613692.0404 | 1176238.4375
46 | 2613660.7122 | 1176273.7853
47 | 2613593.9877 | 1176374.4172
48 | 2613594.5109 | 1176373.4598
49 | 2613645.9301 | 1176378.7274
50 | 2613714.9569 | 1176153.8862
51 | 2613709.6006 | 1176150.9338
52 | 2613720.4506 | 1176158.8193
53 | 2613745.2944 | 1176180.7636
54 | 2613781.9498 | 1176211.0516
55 | 2613712.067 | 1176215.1179
56 | 2613776.985 | 1176219.7224
57 | 2613701.7538 | 1176227.088
58 | 2613652.6453 | 1176282.1268
59 | 2613651.8977 | 1176265.5434
60 | 2613651.9789 | 1176282.8582
61 | 2613638.1752 | 1176252.7124
62 | 2613658.0053 | 1176230.5571
63 | 2613653.2775 | 1176235.8384
64 | 2613665.778 | 1176221.9043
65 | 2613674.9011 | 1176302.4654
66 | 2613663.0725 | 1176315.6026
67 | 2613685.368 | 1176291.0093
68 | 2613647.8667 | 1176287.3713
69 | 2613641.7075 | 1176248.7628
70 | 2613635.6995 | 1176300.7247
71 | 2613643.754 | 1176291.8849
72 | 2613631.5762 | 1176305.2499
73 | 2613628.1425 | 1176309.0183
74 | 2613627.4688 | 1176309.7601
75 | 2613618.3583 | 1176319.7906
76 | 2613650.7577 | 1176329.2798
77 | 2613638.704 | 1176342.5813
78 | 2613669.8324 | 1176217.3907
79 | 2613673.8842 | 1176212.8801
80 | 2613677.9386 | 1176208.3666
81 | 2613679.4215 | 1176206.7158
82 | 2613633.7685 | 1176240.2854
83 | 2613686.3952 | 1176199.04
84 | 2613690.8383 | 1176194.1495
85 | 2613695.2832 | 1176189.2571
86 | 2613599.7696 | 1176340.6592
87 | 2613609.2951 | 1176346.2947
88 | 2613608.3492 | 1176331.0273
89 | 2613609.4666 | 1176311.693
90 | 2613602.434 | 1176358.9613
91 | 2613628.1779 | 1176354.197
92 | 2613712.6672 | 1176324.7847

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1