## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-71_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-71_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_942-71_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_942-71_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-71_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_942-71_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_942-71_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_942-71_0_4_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_942-71_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_942-71_0_4_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_942-71_0_4_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_942-71_0_4_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_942-71_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_942-71_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_942-71_0_4_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_942-71_0_4_node_66 | 0.4 | n |  | TRUE
16 | bus_LV_942-71_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_942-71_0_4_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_942-71_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_942-71_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_942-71_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_942-71_0_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_942-71_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_942-71_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_942-71_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_942-71_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_942-71_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_942-71_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_942-71_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_942-71_0_4_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_942-71_0_4_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_942-71_0_4_node_98 | 0.4 | n |  | TRUE
32 | bus_LV_942-71_0_4_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_942-71_0_4_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_942-71_0_4_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_942-71_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_942-71_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_942-71_0_4_node_85 | 0.4 | n |  | TRUE
38 | bus_LV_942-71_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_942-71_0_4_node_86 | 0.4 | n |  | TRUE
40 | bus_LV_942-71_0_4_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_942-71_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_942-71_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_942-71_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_942-71_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_942-71_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_942-71_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_942-71_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_942-71_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_942-71_0_4_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_942-71_0_4_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_942-71_0_4_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_942-71_0_4_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_942-71_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_942-71_0_4_node_100 | 0.4 | n |  | TRUE
55 | bus_LV_942-71_0_4_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_942-71_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_942-71_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_942-71_0_4_node_103 | 0.4 | n |  | TRUE
59 | bus_LV_942-71_0_4_node_105 | 0.4 | n |  | TRUE
60 | bus_LV_942-71_0_4_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_942-71_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_942-71_0_4_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_942-71_0_4_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_942-71_0_4_node_107 | 0.4 | n |  | TRUE
65 | bus_LV_942-71_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_942-71_0_4_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_942-71_0_4_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_942-71_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_942-71_0_4_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_942-71_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_942-71_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_942-71_0_4_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_942-71_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_942-71_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_942-71_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_942-71_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_942-71_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_942-71_0_4_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_942-71_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_942-71_0_4_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_942-71_0_4_node_64 | 0.4 | n |  | TRUE
82 | bus_LV_942-71_0_4_node_65 | 0.4 | n |  | TRUE
83 | bus_LV_942-71_0_4_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_942-71_0_4_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_942-71_0_4_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_942-71_0_4_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_942-71_0_4_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_942-71_0_4_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_942-71_0_4_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_942-71_0_4_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_942-71_0_4_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_942-71_0_4_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_942-71_0_4_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_942-71_0_4_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_942-71_0_4_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_942-71_0_4_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_942-71_0_4_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_942-71_0_4_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_942-71_0_4_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_942-71_0_4_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_942-71_0_4_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_942-71_0_4_node_102 | 0.4 | n |  | TRUE
103 | bus_MV_284_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-71_0_4_load_0 | 0 | 0.010847 | 0.0027186 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-71_0_4_load_5 | 5 | 0.021923 | 0.0054944 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-71_0_4_load_32 | 6 | 0.0020147 | 0.00050493 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-71_0_4_load_70 | 7 | 0.0054627 | 0.0013691 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-71_0_4_load_27 | 9 | 0.0021289 | 0.00053355 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-71_0_4_load_71 | 11 | 0.010073 | 0.0025246 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-71_0_4_load_30 | 13 | 0.0037612 | 0.00094265 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-71_0_4_load_66 | 15 | 0.0052695 | 0.0013207 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-71_0_4_load_9 | 16 | 0.0010812 | 0.00027096 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-71_0_4_load_10 | 18 | 0.0010804 | 0.00027076 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-71_0_4_load_12 | 19 | 0.0010812 | 0.00027096 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-71_0_4_load_13 | 20 | 0.026922 | 0.0067473 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-71_0_4_load_29 | 21 | 0.0013991 | 0.00035064 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-71_0_4_load_14 | 22 | 0.0047094 | 0.0011803 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-71_0_4_load_15 | 23 | 0.0088841 | 0.0022266 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-71_0_4_load_17 | 25 | 0.0052505 | 0.0013159 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-71_0_4_load_19 | 27 | 0.0064659 | 0.0016205 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-71_0_4_load_20 | 28 | 0.0077976 | 0.0019543 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-71_0_4_load_92 | 29 | 0.020496 | 0.0051368 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-71_0_4_load_89 | 30 | 0.0045593 | 0.0011427 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-71_0_4_load_98 | 31 | 0.0063203 | 0.001584 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-71_0_4_load_90 | 33 | 0.0043811 | 0.001098 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-71_0_4_load_22 | 35 | 0.005603 | 0.0014042 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-71_0_4_load_23 | 36 | 0.010607 | 0.0026583 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-71_0_4_load_85 | 37 | 0.0043957 | 0.0011017 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-71_0_4_load_25 | 38 | 0.0076711 | 0.0019226 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-71_0_4_load_86 | 39 | 0.0060481 | 0.0015158 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-71_0_4_load_101 | 40 | 0.0045543 | 0.0011414 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-71_0_4_load_34 | 42 | 0.0015059 | 0.00037741 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-71_0_4_load_31 | 43 | 0.003138 | 0.00078645 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-71_0_4_load_33 | 44 | 0.0035084 | 0.0008793 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-71_0_4_load_49 | 45 | 0.0036816 | 0.00092271 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-71_0_4_load_48 | 46 | 0.0033148 | 0.00083078 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-71_0_4_load_35 | 47 | 0.0081323 | 0.0020381 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-71_0_4_load_37 | 48 | 0.0036846 | 0.00092344 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-71_0_4_load_52 | 49 | 0.0015306 | 0.00038361 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-71_0_4_load_96 | 51 | 0.0039885 | 0.00099962 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-71_0_4_load_80 | 52 | 0.019589 | 0.0049094 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-71_0_4_load_100 | 54 | 0.0012918 | 0.00032375 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-71_0_4_load_105 | 59 | 0.0028076 | 0.00070364 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-71_0_4_load_106 | 60 | 0.0012284 | 0.00030787 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-71_0_4_load_79 | 62 | 0.0014663 | 0.00036749 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-71_0_4_load_104 | 63 | 0.017822 | 0.0044667 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-71_0_4_load_107 | 64 | 0.00091482 | 0.00022927 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-71_0_4_load_44 | 65 | 0.0045628 | 0.0011435 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-71_0_4_load_45 | 66 | 0.0043708 | 0.0010954 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-71_0_4_load_46 | 67 | 0.0056387 | 0.0014132 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-71_0_4_load_54 | 69 | 0.0041351 | 0.0010364 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-71_0_4_load_55 | 70 | 0.0038973 | 0.00097675 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-71_0_4_load_56 | 71 | 0.0037151 | 0.00093109 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-71_0_4_load_50 | 72 | 0.0032053 | 0.00080332 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-71_0_4_load_51 | 73 | 0.0032586 | 0.00081668 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-71_0_4_load_58 | 74 | 0.0035779 | 0.0008967 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-71_0_4_load_57 | 75 | 0.0032099 | 0.00080447 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-71_0_4_load_59 | 76 | 0.020855 | 0.0052266 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-71_0_4_load_60 | 77 | 0.0027024 | 0.00067728 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-71_0_4_load_61 | 78 | 0.0039732 | 0.00099579 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-71_0_4_load_62 | 79 | 0.0087196 | 0.0021853 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-71_0_4_load_63 | 80 | 0.0094437 | 0.0023668 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-71_0_4_load_64 | 81 | 0.0046357 | 0.0011618 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-71_0_4_load_65 | 82 | 0.0050074 | 0.001255 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-71_0_4_load_75 | 83 | 0.0039673 | 0.00099429 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-71_0_4_load_77 | 84 | 0.006466 | 0.0016205 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-71_0_4_load_73 | 85 | 0.0061928 | 0.0015521 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-71_0_4_load_69 | 86 | 0.0025477 | 0.00063852 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-71_0_4_load_67 | 87 | 0.0051652 | 0.0012945 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_942-71_0_4_load_72 | 88 | 0.0053373 | 0.0013376 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_942-71_0_4_load_74 | 89 | 0.010821 | 0.002712 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_942-71_0_4_load_76 | 90 | 0.0043189 | 0.0010824 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_942-71_0_4_load_78 | 91 | 0.003209 | 0.00080424 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_942-71_0_4_load_81 | 92 | 0.0040719 | 0.0010205 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_942-71_0_4_load_82 | 93 | 0.0026971 | 0.00067595 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_942-71_0_4_load_83 | 94 | 0.011991 | 0.0030053 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_942-71_0_4_load_84 | 95 | 0.0023878 | 0.00059844 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_942-71_0_4_load_87 | 96 | 0.0025964 | 0.00065071 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_942-71_0_4_load_88 | 97 | 0.0010472 | 0.00026246 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_942-71_0_4_load_93 | 98 | 0.0025356 | 0.00063549 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_942-71_0_4_load_94 | 99 | 0.0023153 | 0.00058027 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_942-71_0_4_load_91 | 100 | 0.011235 | 0.0028157 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_942-71_0_4_load_95 | 101 | 0.004365 | 0.001094 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_942-71_0_4_load_102 | 102 | 0.0071493 | 0.0017918 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 83 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-71_0_4_line_0 |  | 0 | 1 | 0.023063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-71_0_4_line_1 |  | 1 | 2 | 0.12124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-71_0_4_line_2 |  | 2 | 6 | 0.010786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_942-71_0_4_line_3 |  | 2 | 7 | 0.035031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_942-71_0_4_line_4 |  | 3 | 4 | 0.009642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-71_0_4_line_5 |  | 3 | 5 | 0.02133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-71_0_4_line_6 |  | 4 | 8 | 0.015908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-71_0_4_line_7 |  | 4 | 9 | 0.029813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-71_0_4_line_8 |  | 6 | 13 | 0.0040325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_942-71_0_4_line_9 |  | 7 | 14 | 0.030215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_942-71_0_4_line_10 |  | 8 | 16 | 0.018161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-71_0_4_line_11 |  | 9 | 17 | 0.015378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-71_0_4_line_12 |  | 10 | 11 | 0.015845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_942-71_0_4_line_13 |  | 10 | 12 | 0.009425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_942-71_0_4_line_14 |  | 11 | 14 | 0.029387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_942-71_0_4_line_15 |  | 12 | 38 | 0.07668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-71_0_4_line_16 |  | 12 | 35 | 0.032434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_942-71_0_4_line_17 |  | 13 | 43 | 0.019736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_942-71_0_4_line_18 |  | 14 | 15 | 0.014679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_942-71_0_4_line_19 |  | 15 | 87 | 0.0018025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_942-71_0_4_line_20 |  | 16 | 18 | 0.006725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-71_0_4_line_21 |  | 17 | 21 | 0.0040605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-71_0_4_line_22 |  | 17 | 20 | 0.015547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-71_0_4_line_23 |  | 18 | 19 | 0.006725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-71_0_4_line_24 |  | 21 | 41 | 0.028179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-71_0_4_line_25 |  | 22 | 23 | 0.0017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_942-71_0_4_line_26 |  | 22 | 24 | 0.016559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_942-71_0_4_line_27 |  | 23 | 25 | 0.019023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_942-71_0_4_line_28 |  | 24 | 26 | 0.028379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_942-71_0_4_line_29 |  | 24 | 27 | 0.0195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_942-71_0_4_line_30 |  | 25 | 28 | 0.017265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_942-71_0_4_line_31 |  | 26 | 29 | 0.033027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-71_0_4_line_32 |  | 26 | 30 | 0.011486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_942-71_0_4_line_33 |  | 27 | 31 | 0.015737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_942-71_0_4_line_34 |  | 28 | 32 | 0.011256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_942-71_0_4_line_35 |  | 30 | 33 | 0.0045665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_942-71_0_4_line_36 |  | 31 | 34 | 0.016466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_942-71_0_4_line_37 |  | 32 | 35 | 0.0041681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_942-71_0_4_line_38 |  | 32 | 36 | 0.015045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_942-71_0_4_line_39 |  | 33 | 100 | 0.0034543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_942-71_0_4_line_40 |  | 34 | 40 | 0.035282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_942-71_0_4_line_41 |  | 36 | 37 | 0.020329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-71_0_4_line_42 |  | 37 | 39 | 0.0018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-71_0_4_line_43 |  | 40 | 102 | 0.025381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_942-71_0_4_line_44 |  | 41 | 42 | 0.019028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-71_0_4_line_45 |  | 42 | 47 | 0.013537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-71_0_4_line_46 |  | 43 | 44 | 0.0032887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_942-71_0_4_line_47 |  | 44 | 45 | 0.019375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_942-71_0_4_line_48 |  | 45 | 46 | 0.0043766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_942-71_0_4_line_49 |  | 46 | 72 | 0.014407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_942-71_0_4_line_50 |  | 47 | 48 | 0.024922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_942-71_0_4_line_51 |  | 48 | 49 | 0.0083909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-71_0_4_line_52 |  | 49 | 61 | 0.012479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_942-71_0_4_line_53 |  | 50 | 51 | 0.038384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-71_0_4_line_54 |  | 50 | 52 | 0.023276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-71_0_4_line_55 |  | 51 | 53 | 0.0090274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-71_0_4_line_56 |  | 52 | 62 | 0.018741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-71_0_4_line_57 |  | 53 | 54 | 0.01069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-71_0_4_line_58 |  | 54 | 55 | 0.023912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-71_0_4_line_59 |  | 55 | 56 | 0.028342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-71_0_4_line_60 |  | 56 | 58 | 0.006741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-71_0_4_line_61 |  | 56 | 60 | 0.01854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-71_0_4_line_62 |  | 57 | 58 | 0.023802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-71_0_4_line_63 |  | 57 | 59 | 0.0014143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-71_0_4_line_64 |  | 59 | 63 | 0.039674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-71_0_4_line_65 |  | 60 | 64 | 0.00344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-71_0_4_line_66 |  | 61 | 76 | 0.037393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_942-71_0_4_line_67 |  | 61 | 70 | 0.019166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_942-71_0_4_line_68 |  | 62 | 91 | 0.013038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-71_0_4_line_69 |  | 64 | 97 | 0.0027147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-71_0_4_line_70 |  | 65 | 66 | 0.025509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_942-71_0_4_line_71 |  | 65 | 67 | 0.0036923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-71_0_4_line_72 |  | 66 | 68 | 0.012186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_942-71_0_4_line_73 |  | 68 | 69 | 0.012723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_942-71_0_4_line_74 |  | 68 | 70 | 0.0062125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_942-71_0_4_line_75 |  | 69 | 71 | 0.0028509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_942-71_0_4_line_76 |  | 71 | 75 | 0.017103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_942-71_0_4_line_77 |  | 72 | 73 | 0.0040271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_942-71_0_4_line_78 |  | 73 | 74 | 0.014343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_942-71_0_4_line_79 |  | 74 | 75 | 0.0061206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_942-71_0_4_line_80 |  | 77 | 78 | 0.017196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_942-71_0_4_line_81 |  | 77 | 79 | 0.0046705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_942-71_0_4_line_82 |  | 78 | 80 | 0.0060923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_942-71_0_4_line_83 |  | 79 | 81 | 0.014651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_942-71_0_4_line_84 |  | 80 | 82 | 0.010603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_942-71_0_4_line_85 |  | 81 | 83 | 0.011096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_942-71_0_4_line_86 |  | 82 | 84 | 0.012759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_942-71_0_4_line_87 |  | 83 | 85 | 0.0057428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_942-71_0_4_line_88 |  | 84 | 86 | 0.0058662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_942-71_0_4_line_89 |  | 85 | 88 | 0.0105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_942-71_0_4_line_90 |  | 86 | 87 | 0.020977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_942-71_0_4_line_91 |  | 88 | 89 | 0.0090038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_942-71_0_4_line_92 |  | 89 | 90 | 0.013934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_942-71_0_4_line_93 |  | 90 | 91 | 0.0092598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_942-71_0_4_line_94 |  | 92 | 93 | 0.0052687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_942-71_0_4_line_95 |  | 92 | 94 | 0.011015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_942-71_0_4_line_96 |  | 93 | 95 | 0.011018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_942-71_0_4_line_97 |  | 95 | 96 | 0.0089258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_942-71_0_4_line_98 |  | 95 | 97 | 0.032675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_942-71_0_4_line_99 |  | 96 | 98 | 0.003293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_942-71_0_4_line_100 |  | 98 | 99 | 0.0078465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_942-71_0_4_line_101 |  | 99 | 101 | 0.0041752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-71_0_4_trafo_75 | 0.63 MVA 20/0.4 kV | 103 | 83 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2613653.4863 | 1178115.863 | 2613661.3903 | 1178094.1969
1 | 2613653.4863 | 1178115.863 | 2613642.5381 | 1178145.898 | 2613649.2584 | 1178164.2336 | 2613667.9588 | 1178175.9153 | 2613709.7533 | 1178198.8887
2 | 2613709.7533 | 1178198.8887 | 2613713.8386 | 1178188.9059
3 | 2613709.7533 | 1178198.8887 | 2613739.7191 | 1178217.0338
4 | 2613783.633 | 1177950.0302 | 2613790.5554 | 1177956.7606
5 | 2613783.633 | 1177950.0302 | 2613770.673 | 1177937.2385 | 2613768.3749 | 1177935.1277
6 | 2613804.487 | 1177949.0108 | 2613790.5554 | 1177956.7606
7 | 2613790.5554 | 1177956.7606 | 2613812.9464 | 1177976.4447
8 | 2613713.8386 | 1178188.9059 | 2613715.3659 | 1178185.1738
9 | 2613764.4466 | 1178234.3537 | 2613753.8069 | 1178226.1697 | 2613741.3945 | 1178218.0483 | 2613739.7191 | 1178217.0338
10 | 2613804.487 | 1177949.0108 | 2613806.1854 | 1177948.0586 | 2613820.4629 | 1177940.3747
11 | 2613824.4959 | 1177986.5981 | 2613812.9464 | 1177976.4447
12 | 2613799.098 | 1178263.4256 | 2613786.9593 | 1178253.2415
13 | 2613799.098 | 1178263.4256 | 2613805.0196 | 1178266.5852 | 2613807.5923 | 1178267.5138
14 | 2613764.4466 | 1178234.3537 | 2613786.9593 | 1178253.2415
15 | 2613848.7623 | 1178202.7641 | 2613807.5923 | 1178267.5138
16 | 2613807.5923 | 1178267.5138 | 2613812.1498 | 1178269.1696 | 2613819.504 | 1178270.665 | 2613826.3557 | 1178271.4366 | 2613839.5388 | 1178271.7034
17 | 2613724.0906 | 1178167.4896 | 2613717.2982 | 1178180.452 | 2613715.3659 | 1178185.1738
18 | 2613764.4466 | 1178234.3537 | 2613773.5928 | 1178222.873
19 | 2613773.5928 | 1178222.873 | 2613774.7159 | 1178221.4632
20 | 2613820.4629 | 1177940.3747 | 2613826.3848 | 1177937.1876
21 | 2613824.4959 | 1177986.5981 | 2613827.5104 | 1177989.3185
22 | 2613824.4959 | 1177986.5981 | 2613834.1664 | 1177974.4252
23 | 2613832.3067 | 1177934.0006 | 2613826.3848 | 1177937.1876
24 | 2613848.4304 | 1178008.1974 | 2613827.5104 | 1177989.3185
25 | 2613892.9808 | 1178273.4825 | 2613891.222 | 1178273.422
26 | 2613909.5301 | 1178274.0517 | 2613892.9808 | 1178273.4825
27 | 2613872.2102 | 1178272.7681 | 2613891.222 | 1178273.422
28 | 2613911.0243 | 1178245.7184 | 2613909.5301 | 1178274.0517
29 | 2613909.5301 | 1178274.0517 | 2613929.0057 | 1178275.0207
30 | 2613854.9557 | 1178272.1747 | 2613872.2102 | 1178272.7681
31 | 2613886.7656 | 1178232.6891 | 2613907.5827 | 1178233.9822 | 2613911.0243 | 1178245.7184
32 | 2613911.0243 | 1178245.7184 | 2613916.5165 | 1178242.9408 | 2613918.8427 | 1178238.1437
33 | 2613929.0057 | 1178275.0207 | 2613944.7228 | 1178275.8028
34 | 2613843.7061 | 1178271.7878 | 2613854.9557 | 1178272.1747
35 | 2613918.8427 | 1178238.1437 | 2613917.1181 | 1178233.9153
36 | 2613961.1732 | 1178276.5168 | 2613947.9567 | 1178275.9637 | 2613944.7228 | 1178275.8028
37 | 2613843.7061 | 1178271.7878 | 2613839.5388 | 1178271.7034
38 | 2613843.7061 | 1178271.7878 | 2613844.838 | 1178256.7854
39 | 2613914.1347 | 1178232.1742 | 2613917.1181 | 1178233.9153
40 | 2613961.1732 | 1178276.5168 | 2613961.724 | 1178263.0334 | 2613962.9502 | 1178241.2804
41 | 2613844.838 | 1178256.7854 | 2613845.5107 | 1178247.8686 | 2613856.8732 | 1178248.6159
42 | 2613858.7021 | 1178248.7362 | 2613856.8732 | 1178248.6159
43 | 2613964.3787 | 1178215.9395 | 2613962.9502 | 1178241.2804
44 | 2613848.4304 | 1178008.1974 | 2613835.9925 | 1178022.5975
45 | 2613827.1437 | 1178032.8421 | 2613835.9925 | 1178022.5975
46 | 2613725.617 | 1178164.5766 | 2613724.0906 | 1178167.4896
47 | 2613725.617 | 1178164.5766 | 2613727.2359 | 1178161.4872 | 2613733.2332 | 1178151.6291 | 2613735.6886 | 1178148.041
48 | 2613738.1603 | 1178144.4291 | 2613735.6886 | 1178148.041
49 | 2613738.1603 | 1178144.4291 | 2613739.826 | 1178141.9948 | 2613746.897 | 1178132.9797
50 | 2613811.1336 | 1178051.9369 | 2613818.3685 | 1178043.0017 | 2613827.1437 | 1178032.8421
51 | 2613811.1336 | 1178051.9369 | 2613808.4764 | 1178055.2186 | 2613805.9129 | 1178058.5056
52 | 2613798.2385 | 1178068.3463 | 2613805.9129 | 1178058.5056
53 | 2613903.9521 | 1178059.2402 | 2613932.2105 | 1178085.2168
54 | 2613903.9521 | 1178059.2402 | 2613889.4485 | 1178077.4457
55 | 2613938.8566 | 1178091.3261 | 2613932.2105 | 1178085.2168
56 | 2613877.7708 | 1178092.1041 | 2613889.4485 | 1178077.4457
57 | 2613938.8566 | 1178091.3261 | 2613946.9803 | 1178098.2746
58 | 2613966.2455 | 1178112.1669 | 2613962.0094 | 1178110.2783 | 2613958.4311 | 1178108.0689 | 2613946.9803 | 1178098.2746
59 | 2613966.2455 | 1178112.1669 | 2613965.3383 | 1178114.5993 | 2613965.2864 | 1178117.2005 | 2613966.1059 | 1178119.6704 | 2613967.7057 | 1178121.7196 | 2613969.8952 | 1178123.1254 | 2613968.9713 | 1178132.7726 | 2613968.813 | 1178138.4196
60 | 2613968.3695 | 1178145.1442 | 2613968.813 | 1178138.4196
61 | 2613968.813 | 1178138.4196 | 2613961.4926 | 1178138.7361 | 2613951.0402 | 1178142.7957
62 | 2613968.3695 | 1178145.1442 | 2613973.4897 | 1178141.4097 | 2613979.2412 | 1178138.8995 | 2613983.628 | 1178138.3872 | 2613990.4422 | 1178138.8811
63 | 2613990.4422 | 1178138.8811 | 2613991.4641 | 1178139.8588
64 | 2614020.041 | 1178167.3784 | 2614007.8773 | 1178155.5635 | 2613991.4641 | 1178139.8588
65 | 2613951.0402 | 1178142.7957 | 2613947.8336 | 1178144.0412
66 | 2613798.2385 | 1178068.3463 | 2613769.4576 | 1178044.3793
67 | 2613798.2385 | 1178068.3463 | 2613786.1101 | 1178083.1869
68 | 2613877.7708 | 1178092.1041 | 2613869.6468 | 1178102.3018
69 | 2613947.8336 | 1178144.0412 | 2613945.3031 | 1178145.024 | 2613945.3031 | 1178145.024
70 | 2613753.3825 | 1178063.6719 | 2613772.8693 | 1178080.1332
71 | 2613750.5619 | 1178061.2892 | 2613753.3825 | 1178063.6719
72 | 2613782.1788 | 1178087.9973 | 2613772.8693 | 1178080.1332
73 | 2613782.1788 | 1178087.9973 | 2613774.3265 | 1178098.0085
74 | 2613782.1788 | 1178087.9973 | 2613786.1101 | 1178083.1869
75 | 2613774.3265 | 1178098.0085 | 2613772.5671 | 1178100.2517
76 | 2613762.0116 | 1178113.7093 | 2613772.5671 | 1178100.2517
77 | 2613749.3824 | 1178129.811 | 2613746.897 | 1178132.9797
78 | 2613749.3824 | 1178129.811 | 2613758.2342 | 1178118.5253
79 | 2613762.0116 | 1178113.7093 | 2613758.2342 | 1178118.5253
80 | 2613820.5098 | 1178163.9807 | 2613809.7951 | 1178177.4302
81 | 2613820.5098 | 1178163.9807 | 2613823.42 | 1178160.3277
82 | 2613809.7951 | 1178177.4302 | 2613805.999 | 1178182.1953
83 | 2613832.5493 | 1178148.8682 | 2613823.42 | 1178160.3277
84 | 2613799.3921 | 1178190.4885 | 2613805.999 | 1178182.1953
85 | 2613832.5493 | 1178148.8682 | 2613839.4634 | 1178140.1893
86 | 2613799.3921 | 1178190.4885 | 2613791.4421 | 1178200.4677
87 | 2613843.0417 | 1178135.6977 | 2613839.4634 | 1178140.1893
88 | 2613787.7869 | 1178205.0559 | 2613791.4421 | 1178200.4677
89 | 2613849.5845 | 1178127.4848 | 2613843.0417 | 1178135.6977
90 | 2613787.7869 | 1178205.0559 | 2613774.7159 | 1178221.4632
91 | 2613849.5845 | 1178127.4848 | 2613855.1947 | 1178120.4426
92 | 2613863.877 | 1178109.5442 | 2613855.1947 | 1178120.4426
93 | 2613863.877 | 1178109.5442 | 2613869.6468 | 1178102.3018
94 | 2613908.5285 | 1178153.0541 | 2613912.2488 | 1178156.7848
95 | 2613900.7507 | 1178145.2545 | 2613908.5285 | 1178153.0541
96 | 2613920.0289 | 1178164.5867 | 2613912.2488 | 1178156.7848
97 | 2613920.0289 | 1178164.5867 | 2613926.724 | 1178170.4897
98 | 2613920.0289 | 1178164.5867 | 2613931.0226 | 1178151.7833 | 2613945.3031 | 1178145.024
99 | 2613929.1941 | 1178172.6675 | 2613929.1941 | 1178172.6675 | 2613926.724 | 1178170.4897
100 | 2613929.1941 | 1178172.6675 | 2613936.9459 | 1178173.8827
101 | 2613941.0707 | 1178174.5293 | 2613936.9459 | 1178173.8827

## bus_geodata
| x | y | coords
0 | 2613661.3903 | 1178094.1969
1 | 2613653.4863 | 1178115.863
2 | 2613709.7533 | 1178198.8887
3 | 2613783.633 | 1177950.0302
4 | 2613790.5554 | 1177956.7606
5 | 2613768.3749 | 1177935.1277
6 | 2613713.8386 | 1178188.9059
7 | 2613739.7191 | 1178217.0338
8 | 2613804.487 | 1177949.0108
9 | 2613812.9464 | 1177976.4447
10 | 2613799.098 | 1178263.4256
11 | 2613786.9593 | 1178253.2415
12 | 2613807.5923 | 1178267.5138
13 | 2613715.3659 | 1178185.1738
14 | 2613764.4466 | 1178234.3537
15 | 2613773.5928 | 1178222.873
16 | 2613820.4629 | 1177940.3747
17 | 2613824.4959 | 1177986.5981
18 | 2613826.3848 | 1177937.1876
19 | 2613832.3067 | 1177934.0006
20 | 2613834.1664 | 1177974.4252
21 | 2613827.5104 | 1177989.3185
22 | 2613892.9808 | 1178273.4825
23 | 2613891.222 | 1178273.422
24 | 2613909.5301 | 1178274.0517
25 | 2613872.2102 | 1178272.7681
26 | 2613911.0243 | 1178245.7184
27 | 2613929.0057 | 1178275.0207
28 | 2613854.9557 | 1178272.1747
29 | 2613886.7656 | 1178232.6891
30 | 2613918.8427 | 1178238.1437
31 | 2613944.7228 | 1178275.8028
32 | 2613843.7061 | 1178271.7878
33 | 2613917.1181 | 1178233.9153
34 | 2613961.1732 | 1178276.5168
35 | 2613839.5388 | 1178271.7034
36 | 2613844.838 | 1178256.7854
37 | 2613856.8732 | 1178248.6159
38 | 2613848.7623 | 1178202.7641
39 | 2613858.7021 | 1178248.7362
40 | 2613962.9502 | 1178241.2804
41 | 2613848.4304 | 1178008.1974
42 | 2613835.9925 | 1178022.5975
43 | 2613724.0906 | 1178167.4896
44 | 2613725.617 | 1178164.5766
45 | 2613735.6886 | 1178148.041
46 | 2613738.1603 | 1178144.4291
47 | 2613827.1437 | 1178032.8421
48 | 2613811.1336 | 1178051.9369
49 | 2613805.9129 | 1178058.5056
50 | 2613903.9521 | 1178059.2402
51 | 2613932.2105 | 1178085.2168
52 | 2613889.4485 | 1178077.4457
53 | 2613938.8566 | 1178091.3261
54 | 2613946.9803 | 1178098.2746
55 | 2613966.2455 | 1178112.1669
56 | 2613968.813 | 1178138.4196
57 | 2613990.4422 | 1178138.8811
58 | 2613968.3695 | 1178145.1442
59 | 2613991.4641 | 1178139.8588
60 | 2613951.0402 | 1178142.7957
61 | 2613798.2385 | 1178068.3463
62 | 2613877.7708 | 1178092.1041
63 | 2614020.041 | 1178167.3784
64 | 2613947.8336 | 1178144.0412
65 | 2613753.3825 | 1178063.6719
66 | 2613772.8693 | 1178080.1332
67 | 2613750.5619 | 1178061.2892
68 | 2613782.1788 | 1178087.9973
69 | 2613774.3265 | 1178098.0085
70 | 2613786.1101 | 1178083.1869
71 | 2613772.5671 | 1178100.2517
72 | 2613746.897 | 1178132.9797
73 | 2613749.3824 | 1178129.811
74 | 2613758.2342 | 1178118.5253
75 | 2613762.0116 | 1178113.7093
76 | 2613769.4576 | 1178044.3793
77 | 2613820.5098 | 1178163.9807
78 | 2613809.7951 | 1178177.4302
79 | 2613823.42 | 1178160.3277
80 | 2613805.999 | 1178182.1953
81 | 2613832.5493 | 1178148.8682
82 | 2613799.3921 | 1178190.4885
83 | 2613839.4634 | 1178140.1893
84 | 2613791.4421 | 1178200.4677
85 | 2613843.0417 | 1178135.6977
86 | 2613787.7869 | 1178205.0559
87 | 2613774.7159 | 1178221.4632
88 | 2613849.5845 | 1178127.4848
89 | 2613855.1947 | 1178120.4426
90 | 2613863.877 | 1178109.5442
91 | 2613869.6468 | 1178102.3018
92 | 2613908.5285 | 1178153.0541
93 | 2613912.2488 | 1178156.7848
94 | 2613900.7507 | 1178145.2545
95 | 2613920.0289 | 1178164.5867
96 | 2613926.724 | 1178170.4897
97 | 2613945.3031 | 1178145.024
98 | 2613929.1941 | 1178172.6675
99 | 2613936.9459 | 1178173.8827
100 | 2613914.1347 | 1178232.1742
101 | 2613941.0707 | 1178174.5293
102 | 2613964.3787 | 1178215.9395
103 | 2613903.9521 | 1178059.2402

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1