## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-85_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-85_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-85_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-85_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-85_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_942-85_0_5_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_942-85_0_5_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_942-85_0_5_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_942-85_0_5_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_942-85_0_5_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_942-85_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_942-85_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_942-85_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_942-85_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_942-85_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_942-85_0_5_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_942-85_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_942-85_0_5_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_942-85_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_942-85_0_5_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_942-85_0_5_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_942-85_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_942-85_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_942-85_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_942-85_0_5_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_942-85_0_5_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_942-85_0_5_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_942-85_0_5_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_942-85_0_5_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_942-85_0_5_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_942-85_0_5_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_942-85_0_5_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_942-85_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_942-85_0_5_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_942-85_0_5_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_942-85_0_5_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_942-85_0_5_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_942-85_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_942-85_0_5_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_942-85_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_942-85_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_942-85_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_942-85_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_942-85_0_5_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_942-85_0_5_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_942-85_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_942-85_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_942-85_0_5_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_942-85_0_5_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_942-85_0_5_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_942-85_0_5_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_942-85_0_5_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_942-85_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_942-85_0_5_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_942-85_0_5_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_942-85_0_5_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_942-85_0_5_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_942-85_0_5_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_942-85_0_5_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_942-85_0_5_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_942-85_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_942-85_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_942-85_0_5_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_942-85_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_942-85_0_5_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_942-85_0_5_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_942-85_0_5_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_942-85_0_5_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_942-85_0_5_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_942-85_0_5_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_942-85_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_942-85_0_5_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_942-85_0_5_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_942-85_0_5_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_942-85_0_5_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_942-85_0_5_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_942-85_0_5_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_942-85_0_5_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_942-85_0_5_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_942-85_0_5_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_942-85_0_5_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_942-85_0_5_node_82 | 0.4 | n |  | TRUE
82 | bus_MV_123_1_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-85_0_5_load_0 | 0 | 0.016714 | 0.0041889 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-85_0_5_load_1 | 1 | 0.0064864 | 0.0016257 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-85_0_5_load_2 | 2 | 0.01674 | 0.0041954 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-85_0_5_load_3 | 3 | 0.0035753 | 0.00089605 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-85_0_5_load_4 | 4 | 0.0097391 | 0.0024409 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-85_0_5_load_37 | 5 | 0.0045835 | 0.0011487 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-85_0_5_load_17 | 8 | 0.0052315 | 0.0013111 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-85_0_5_load_12 | 9 | 0.011642 | 0.0029177 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-85_0_5_load_5 | 10 | 0.0016126 | 0.00040415 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-85_0_5_load_6 | 11 | 0.0043562 | 0.0010918 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-85_0_5_load_7 | 12 | 0.0043205 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-85_0_5_load_8 | 13 | 0.0040162 | 0.0010066 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-85_0_5_load_9 | 14 | 0.0030579 | 0.00076637 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-85_0_5_load_18 | 15 | 0.0049214 | 0.0012334 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-85_0_5_load_10 | 16 | 0.0060648 | 0.00152 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-85_0_5_load_11 | 18 | 0.0072248 | 0.0018107 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-85_0_5_load_31 | 19 | 0.0061739 | 0.0015473 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-85_0_5_load_32 | 20 | 0.0051486 | 0.0012904 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-85_0_5_load_16 | 23 | 0.0074385 | 0.0018643 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-85_0_5_load_52 | 24 | 0.025697 | 0.0064402 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-85_0_5_load_49 | 25 | 0.011606 | 0.0029087 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-85_0_5_load_66 | 26 | 0.0061543 | 0.0015424 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-85_0_5_load_58 | 27 | 0.009679 | 0.0024258 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-85_0_5_load_50 | 29 | 0.015996 | 0.0040089 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-85_0_5_load_67 | 30 | 0.0061582 | 0.0015434 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-85_0_5_load_20 | 32 | 0.0048373 | 0.0012123 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-85_0_5_load_28 | 33 | 0.0068605 | 0.0017194 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-85_0_5_load_63 | 35 | 0.0035399 | 0.00088717 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-85_0_5_load_38 | 36 | 0.0030347 | 0.00076057 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-85_0_5_load_29 | 37 | 0.0065857 | 0.0016505 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-85_0_5_load_22 | 39 | 0.0055334 | 0.0013868 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-85_0_5_load_23 | 40 | 0.0061974 | 0.0015532 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-85_0_5_load_25 | 42 | 0.010937 | 0.002741 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-85_0_5_load_30 | 44 | 0.0082312 | 0.0020629 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-85_0_5_load_26 | 45 | 0.0060728 | 0.001522 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-85_0_5_load_39 | 46 | 0.0096597 | 0.0024209 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-85_0_5_load_77 | 48 | 0.017469 | 0.0043781 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-85_0_5_load_40 | 49 | 0.0052061 | 0.0013048 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-85_0_5_load_33 | 50 | 0.0053297 | 0.0013357 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-85_0_5_load_34 | 51 | 0.0043934 | 0.0011011 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-85_0_5_load_36 | 52 | 0.0055077 | 0.0013804 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-85_0_5_load_41 | 53 | 0.0084979 | 0.0021298 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-85_0_5_load_81 | 54 | 0.0063504 | 0.0015916 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-85_0_5_load_78 | 57 | 0.032591 | 0.0081681 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-85_0_5_load_44 | 58 | 0.024711 | 0.0061932 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-85_0_5_load_46 | 59 | 0.01583 | 0.0039673 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-85_0_5_load_47 | 60 | 0.017645 | 0.0044223 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-85_0_5_load_85 | 62 | 0.015822 | 0.0039654 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-85_0_5_load_53 | 63 | 0.009003 | 0.0022564 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-85_0_5_load_54 | 64 | 0.013678 | 0.0034281 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-85_0_5_load_59 | 65 | 0.0047497 | 0.0011904 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-85_0_5_load_84 | 66 | 0.0057592 | 0.0014434 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-85_0_5_load_61 | 67 | 0.0061168 | 0.001533 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-85_0_5_load_60 | 68 | 0.0047765 | 0.0011971 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-85_0_5_load_83 | 69 | 0.003725 | 0.00093357 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-85_0_5_load_64 | 70 | 0.0040468 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-85_0_5_load_68 | 71 | 0.0093925 | 0.002354 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-85_0_5_load_71 | 72 | 0.0073142 | 0.0018331 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-85_0_5_load_69 | 73 | 0.0053228 | 0.001334 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-85_0_5_load_70 | 74 | 0.0083606 | 0.0020954 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-85_0_5_load_74 | 76 | 0.0026731 | 0.00066995 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-85_0_5_load_73 | 77 | 0.0062447 | 0.0015651 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-85_0_5_load_75 | 78 | 0.0024838 | 0.00062249 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-85_0_5_load_76 | 79 | 0.0093575 | 0.0023452 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-85_0_5_load_79 | 80 | 0.0096235 | 0.0024119 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-85_0_5_load_82 | 81 | 0.0054089 | 0.0013556 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-85_0_5_line_0 |  | 0 | 1 | 0.0026656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_942-85_0_5_line_1 |  | 0 | 2 | 0.023241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_942-85_0_5_line_2 |  | 1 | 3 | 0.029297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_942-85_0_5_line_3 |  | 2 | 4 | 0.0050581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_942-85_0_5_line_4 |  | 3 | 5 | 0.022158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_942-85_0_5_line_5 |  | 4 | 6 | 0.026208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_942-85_0_5_line_6 |  | 5 | 7 | 0.012868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_942-85_0_5_line_7 |  | 6 | 8 | 0.021448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-85_0_5_line_8 |  | 6 | 9 | 0.037372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_942-85_0_5_line_9 |  | 7 | 36 | 0.058585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-85_0_5_line_10 |  | 7 | 50 | 0.016498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_942-85_0_5_line_11 |  | 8 | 27 | 0.0021808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-85_0_5_line_12 |  | 9 | 21 | 0.010777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_942-85_0_5_line_13 |  | 10 | 11 | 0.009522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_942-85_0_5_line_14 |  | 10 | 12 | 0.011512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_942-85_0_5_line_15 |  | 11 | 13 | 0.017572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_942-85_0_5_line_16 |  | 12 | 14 | 0.018908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_942-85_0_5_line_17 |  | 13 | 15 | 0.024866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_942-85_0_5_line_18 |  | 14 | 16 | 0.018276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-85_0_5_line_19 |  | 15 | 17 | 0.1184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_942-85_0_5_line_20 |  | 16 | 18 | 0.020641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-85_0_5_line_21 |  | 17 | 32 | 0.091067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_942-85_0_5_line_22 |  | 18 | 19 | 0.020528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-85_0_5_line_23 |  | 19 | 20 | 0.019854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-85_0_5_line_24 |  | 20 | 45 | 0.020152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-85_0_5_line_25 |  | 21 | 22 | 0.016205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_942-85_0_5_line_26 |  | 21 | 23 | 0.023943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-85_0_5_line_27 |  | 22 | 24 | 0.022595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-85_0_5_line_28 |  | 22 | 25 | 0.018121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_942-85_0_5_line_29 |  | 23 | 26 | 0.030692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-85_0_5_line_30 |  | 24 | 28 | 0.022959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-85_0_5_line_31 |  | 25 | 29 | 0.0046659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_942-85_0_5_line_32 |  | 26 | 30 | 0.0029141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-85_0_5_line_33 |  | 27 | 31 | 0.015166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-85_0_5_line_34 |  | 28 | 56 | 0.022278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_942-85_0_5_line_35 |  | 28 | 47 | 0.017032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-85_0_5_line_36 |  | 29 | 61 | 0.0054522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_942-85_0_5_line_37 |  | 30 | 71 | 0.019462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-85_0_5_line_38 |  | 31 | 65 | 0.026984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-85_0_5_line_39 |  | 31 | 64 | 0.015146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-85_0_5_line_40 |  | 32 | 33 | 0.018613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_942-85_0_5_line_41 |  | 33 | 37 | 0.019021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_942-85_0_5_line_42 |  | 34 | 35 | 0.038204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-85_0_5_line_43 |  | 34 | 36 | 0.031424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_942-85_0_5_line_44 |  | 35 | 38 | 0.0068353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-85_0_5_line_45 |  | 37 | 44 | 0.018641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_942-85_0_5_line_46 |  | 38 | 70 | 0.016313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_942-85_0_5_line_47 |  | 38 | 68 | 0.020186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-85_0_5_line_48 |  | 39 | 40 | 0.02107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_942-85_0_5_line_49 |  | 39 | 41 | 0.083385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_942-85_0_5_line_50 |  | 40 | 42 | 0.02185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_942-85_0_5_line_51 |  | 41 | 43 | 0.089798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_942-85_0_5_line_52 |  | 42 | 44 | 0.019493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_942-85_0_5_line_53 |  | 43 | 46 | 0.070176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_942-85_0_5_line_54 |  | 46 | 49 | 0.018409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_942-85_0_5_line_55 |  | 47 | 48 | 0.023914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-85_0_5_line_56 |  | 48 | 57 | 0.017906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-85_0_5_line_57 |  | 49 | 53 | 0.026575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_942-85_0_5_line_58 |  | 50 | 51 | 0.024869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_942-85_0_5_line_59 |  | 51 | 52 | 0.019408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_942-85_0_5_line_60 |  | 52 | 53 | 0.026521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_942-85_0_5_line_61 |  | 54 | 55 | 0.063772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-85_0_5_line_62 |  | 55 | 80 | 0.041677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-85_0_5_line_63 |  | 56 | 60 | 0.005713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-85_0_5_line_64 |  | 56 | 58 | 0.0071648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-85_0_5_line_65 |  | 58 | 59 | 0.019667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-85_0_5_line_66 |  | 61 | 62 | 0.018048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-85_0_5_line_67 |  | 63 | 64 | 0.016561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-85_0_5_line_68 |  | 65 | 66 | 0.00085652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-85_0_5_line_69 |  | 66 | 69 | 0.015861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-85_0_5_line_70 |  | 67 | 68 | 0.022385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_942-85_0_5_line_71 |  | 69 | 81 | 0.0058258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-85_0_5_line_72 |  | 71 | 72 | 0.010809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-85_0_5_line_73 |  | 72 | 73 | 0.013735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-85_0_5_line_74 |  | 73 | 74 | 0.011295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_942-85_0_5_line_75 |  | 74 | 75 | 0.019188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_942-85_0_5_line_76 |  | 75 | 76 | 0.032657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_942-85_0_5_line_77 |  | 76 | 77 | 0.014613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_942-85_0_5_line_78 |  | 77 | 78 | 0.01298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_942-85_0_5_line_79 |  | 78 | 79 | 0.019802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_942-85_0_5_line_80 |  | 79 | 80 | 0.027396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-85_0_5_trafo_51 | 0.63 MVA 20/0.4 kV | 82 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2614316.9982 | 1177910.4573 | 2614314.9435 | 1177912.1553
1 | 2614316.9982 | 1177910.4573 | 2614334.9137 | 1177895.652
2 | 2614314.9435 | 1177912.1553 | 2614309.2894 | 1177916.8278 | 2614302.1916 | 1177919.8458 | 2614290.5764 | 1177928.0993
3 | 2614338.8127 | 1177892.4299 | 2614334.9137 | 1177895.652
4 | 2614272.5144 | 1177940.9338 | 2614290.5764 | 1177928.0993
5 | 2614361.6632 | 1177880.067 | 2614352.7605 | 1177883.7143 | 2614345.1036 | 1177887.2312 | 2614338.8127 | 1177892.4299
6 | 2614262.0251 | 1177948.3873 | 2614272.5144 | 1177940.9338
7 | 2614361.6632 | 1177880.067 | 2614359.3441 | 1177872.0796 | 2614357.3624 | 1177863.6039 | 2614356.6517 | 1177859.2346
8 | 2614361.6632 | 1177880.067 | 2614364.9353 | 1177888.8904 | 2614368.6055 | 1177897.4257 | 2614372.8952 | 1177905.6957 | 2614377.7504 | 1177913.6907
9 | 2614262.0251 | 1177948.3873 | 2614252.82 | 1177937.8491 | 2614224.3445 | 1177903.5317
10 | 2614262.0251 | 1177948.3873 | 2614272.9026 | 1177960.7909
11 | 2614356.3016 | 1177857.0821 | 2614356.6517 | 1177859.2346
12 | 2614383.8806 | 1177922.5528 | 2614378.0401 | 1177914.1679 | 2614377.7504 | 1177913.6907
13 | 2614254.8639 | 1177945.9138 | 2614248.6646 | 1177938.6862
14 | 2614254.8639 | 1177945.9138 | 2614262.3588 | 1177954.6519
15 | 2614237.2883 | 1177925.2935 | 2614242.1084 | 1177931.0425 | 2614248.6646 | 1177938.6862
16 | 2614274.669 | 1177969.004 | 2614262.3588 | 1177954.6519
17 | 2614237.2883 | 1177925.2935 | 2614221.3123 | 1177906.2388
18 | 2614286.5675 | 1177982.8762 | 2614274.669 | 1177969.004
19 | 2614130.3133 | 1177945.2309 | 2614131.7687 | 1177943.6557 | 2614172.6579 | 1177909.7345 | 2614198.4991 | 1177890.341 | 2614200.3274 | 1177889.4115 | 2614202.8045 | 1177888.817 | 2614205.3327 | 1177889.1676 | 2614207.5466 | 1177890.0177 | 2614210.1539 | 1177892.514 | 2614215.9588 | 1177899.8537 | 2614221.3123 | 1177906.2388
20 | 2614286.5675 | 1177982.8762 | 2614300.0059 | 1177998.5437
21 | 2614130.3133 | 1177945.2309 | 2614129.9873 | 1177947.3757 | 2614130.08 | 1177950.2107 | 2614130.6485 | 1177952.1797 | 2614132.4449 | 1177955.052 | 2614137.742 | 1177960.7229 | 2614158.6527 | 1177981.0491 | 2614186.0471 | 1178005.9929 | 2614191.3744 | 1178009.9775
22 | 2614313.676 | 1178013.8563 | 2614304.0412 | 1178003.2483 | 2614300.0059 | 1177998.5437
23 | 2614313.676 | 1178013.8563 | 2614327.0245 | 1178028.553
24 | 2614327.0245 | 1178028.553 | 2614327.8102 | 1178029.4182 | 2614340.3537 | 1178043.6662
25 | 2614383.8806 | 1177922.5528 | 2614394.0585 | 1177935.1835
26 | 2614383.8806 | 1177922.5528 | 2614403.8197 | 1177909.2981
27 | 2614394.0585 | 1177935.1835 | 2614408.2398 | 1177952.774
28 | 2614394.0585 | 1177935.1835 | 2614384.2891 | 1177943.4422 | 2614380.222 | 1177946.885
29 | 2614429.3795 | 1177892.3071 | 2614403.8197 | 1177909.2981
30 | 2614422.6494 | 1177970.6478 | 2614408.2398 | 1177952.774
31 | 2614380.222 | 1177946.885 | 2614376.6607 | 1177949.8995
32 | 2614429.3795 | 1177892.3071 | 2614431.8063 | 1177890.6938
33 | 2614354.3804 | 1177842.0413 | 2614355.7434 | 1177853.6505 | 2614356.3016 | 1177857.0821
34 | 2614422.6494 | 1177970.6478 | 2614404.9286 | 1177984.2123
35 | 2614422.6494 | 1177970.6478 | 2614427.9059 | 1177977.1748 | 2614433.1308 | 1177984.0909
36 | 2614372.5061 | 1177953.4303 | 2614376.4185 | 1177950.1046 | 2614376.6607 | 1177949.8995
37 | 2614448.0136 | 1177879.92 | 2614431.8063 | 1177890.6938
38 | 2614354.3804 | 1177842.0413 | 2614375.8837 | 1177825.7403
39 | 2614354.3804 | 1177842.0413 | 2614352.3918 | 1177827.0269
40 | 2614191.3744 | 1178009.9775 | 2614202.2245 | 1178018.0928 | 2614206.1385 | 1178021.3051
41 | 2614220.8418 | 1178033.3727 | 2614206.1385 | 1178021.3051
42 | 2614204.2785 | 1177879.349 | 2614233.8384 | 1177855.1469
43 | 2614204.2785 | 1177879.349 | 2614224.3445 | 1177903.5317
44 | 2614239.1272 | 1177850.8167 | 2614233.8384 | 1177855.1469
45 | 2614235.2507 | 1178045.1986 | 2614220.8418 | 1178033.3727
46 | 2614239.1272 | 1177850.8167 | 2614227.5171 | 1177839.3567
47 | 2614239.1272 | 1177850.8167 | 2614254.9177 | 1177838.2416
48 | 2614265.9895 | 1178072.8057 | 2614271.3605 | 1178077.9978 | 2614280.39 | 1178088.1679
49 | 2614324.3259 | 1178154.7405 | 2614323.7751 | 1178155.0283 | 2614321.4357 | 1178155.6119 | 2614318.4121 | 1178154.782 | 2614316.0165 | 1178153.2756 | 2614314.3254 | 1178151.1594 | 2614307.8981 | 1178138.9823 | 2614296.5713 | 1178114.7208 | 2614287.2357 | 1178098.1346 | 2614281.1525 | 1178089.0267 | 2614280.39 | 1178088.1679
50 | 2614250.1965 | 1178057.7124 | 2614251.5555 | 1178058.8523 | 2614265.9895 | 1178072.8057
51 | 2614324.3259 | 1178154.7405 | 2614327.6255 | 1178158.4392 | 2614336.8964 | 1178150.7462 | 2614371.2883 | 1178121.113 | 2614392.1589 | 1178103.3649
52 | 2614250.1965 | 1178057.7124 | 2614236.5104 | 1178046.2325 | 2614235.2507 | 1178045.1986
53 | 2614392.1589 | 1178103.3649 | 2614367.5806 | 1178070.734 | 2614348.9908 | 1178048.0555
54 | 2614348.9908 | 1178048.0555 | 2614342.6911 | 1178040.3703 | 2614337.105 | 1178034.0005
55 | 2614433.1308 | 1177984.0909 | 2614440.7992 | 1177978.94 | 2614452.9867 | 1177970.7631
56 | 2614463.9654 | 1177960.0748 | 2614465.5645 | 1177962.3242 | 2614452.9867 | 1177970.7631
57 | 2614319.583 | 1178014.0203 | 2614337.105 | 1178034.0005
58 | 2614272.9026 | 1177960.7909 | 2614289.2999 | 1177979.4886
59 | 2614289.2999 | 1177979.4886 | 2614302.0966 | 1177994.0806
60 | 2614319.583 | 1178014.0203 | 2614302.0966 | 1177994.0806
61 | 2614549.2224 | 1177987.9166 | 2614496.1431 | 1178023.264
62 | 2614549.2224 | 1177987.9166 | 2614533.7442 | 1177949.2204
63 | 2614404.9286 | 1177984.2123 | 2614401.3022 | 1177979.7903
64 | 2614404.9286 | 1177984.2123 | 2614399.239 | 1177988.5668
65 | 2614384.4442 | 1177993.6571 | 2614387.5524 | 1177997.5109 | 2614399.239 | 1177988.5668
66 | 2614372.5061 | 1177953.4303 | 2614360.0877 | 1177963.9838 | 2614358.9525 | 1177962.6138
67 | 2614350.1595 | 1177810.618 | 2614350.4774 | 1177812.5725 | 2614352.3918 | 1177827.0269
68 | 2614375.8837 | 1177825.7403 | 2614376.5663 | 1177825.2229
69 | 2614376.5663 | 1177825.2229 | 2614389.2063 | 1177815.6409
70 | 2614254.9177 | 1177838.2416 | 2614272.428 | 1177824.2969
71 | 2614393.8489 | 1177812.1215 | 2614389.2063 | 1177815.6409
72 | 2614448.0136 | 1177879.92 | 2614457.0154 | 1177873.9359
73 | 2614468.4537 | 1177866.3322 | 2614457.0154 | 1177873.9359
74 | 2614468.4537 | 1177866.3322 | 2614477.8602 | 1177860.0792
75 | 2614493.8396 | 1177849.4568 | 2614477.8602 | 1177860.0792
76 | 2614493.8396 | 1177849.4568 | 2614505.9677 | 1177879.7778
77 | 2614511.3949 | 1177893.3459 | 2614505.9677 | 1177879.7778
78 | 2614511.3949 | 1177893.3459 | 2614516.2155 | 1177905.3977
79 | 2614523.5698 | 1177923.7838 | 2614516.2155 | 1177905.3977
80 | 2614533.7442 | 1177949.2204 | 2614523.5698 | 1177923.7838

## bus_geodata
| x | y | coords
0 | 2614316.9982 | 1177910.4573
1 | 2614314.9435 | 1177912.1553
2 | 2614334.9137 | 1177895.652
3 | 2614290.5764 | 1177928.0993
4 | 2614338.8127 | 1177892.4299
5 | 2614272.5144 | 1177940.9338
6 | 2614361.6632 | 1177880.067
7 | 2614262.0251 | 1177948.3873
8 | 2614356.6517 | 1177859.2346
9 | 2614377.7504 | 1177913.6907
10 | 2614254.8639 | 1177945.9138
11 | 2614248.6646 | 1177938.6862
12 | 2614262.3588 | 1177954.6519
13 | 2614237.2883 | 1177925.2935
14 | 2614274.669 | 1177969.004
15 | 2614221.3123 | 1177906.2388
16 | 2614286.5675 | 1177982.8762
17 | 2614130.3133 | 1177945.2309
18 | 2614300.0059 | 1177998.5437
19 | 2614313.676 | 1178013.8563
20 | 2614327.0245 | 1178028.553
21 | 2614383.8806 | 1177922.5528
22 | 2614394.0585 | 1177935.1835
23 | 2614403.8197 | 1177909.2981
24 | 2614408.2398 | 1177952.774
25 | 2614380.222 | 1177946.885
26 | 2614429.3795 | 1177892.3071
27 | 2614356.3016 | 1177857.0821
28 | 2614422.6494 | 1177970.6478
29 | 2614376.6607 | 1177949.8995
30 | 2614431.8063 | 1177890.6938
31 | 2614354.3804 | 1177842.0413
32 | 2614191.3744 | 1178009.9775
33 | 2614206.1385 | 1178021.3051
34 | 2614204.2786 | 1177879.349
35 | 2614233.8384 | 1177855.1469
36 | 2614224.3445 | 1177903.5317
37 | 2614220.8418 | 1178033.3727
38 | 2614239.1272 | 1177850.8167
39 | 2614280.39 | 1178088.1679
40 | 2614265.9895 | 1178072.8057
41 | 2614324.3259 | 1178154.7405
42 | 2614250.1965 | 1178057.7124
43 | 2614392.1589 | 1178103.3649
44 | 2614235.2507 | 1178045.1986
45 | 2614340.3537 | 1178043.6662
46 | 2614348.9908 | 1178048.0555
47 | 2614433.1308 | 1177984.0909
48 | 2614452.9867 | 1177970.7631
49 | 2614337.105 | 1178034.0005
50 | 2614272.9026 | 1177960.7909
51 | 2614289.2999 | 1177979.4886
52 | 2614302.0966 | 1177994.0806
53 | 2614319.583 | 1178014.0203
54 | 2614496.1431 | 1178023.264
55 | 2614549.2224 | 1177987.9166
56 | 2614404.9286 | 1177984.2123
57 | 2614463.9654 | 1177960.0748
58 | 2614399.239 | 1177988.5668
59 | 2614384.4442 | 1177993.6571
60 | 2614401.3022 | 1177979.7903
61 | 2614372.5061 | 1177953.4303
62 | 2614358.9525 | 1177962.6138
63 | 2614350.1595 | 1177810.618
64 | 2614352.3918 | 1177827.0269
65 | 2614375.8837 | 1177825.7403
66 | 2614376.5663 | 1177825.2229
67 | 2614272.428 | 1177824.2969
68 | 2614254.9177 | 1177838.2416
69 | 2614389.2063 | 1177815.6409
70 | 2614227.5171 | 1177839.3567
71 | 2614448.0136 | 1177879.92
72 | 2614457.0154 | 1177873.9359
73 | 2614468.4537 | 1177866.3322
74 | 2614477.8602 | 1177860.0792
75 | 2614493.8396 | 1177849.4568
76 | 2614505.9677 | 1177879.7778
77 | 2614511.3949 | 1177893.3459
78 | 2614516.2155 | 1177905.3977
79 | 2614523.5698 | 1177923.7838
80 | 2614533.7442 | 1177949.2204
81 | 2614393.8489 | 1177812.1215
82 | 2614371.5539 | 1177952.2496

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1