## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-93_1_3_node_34 | 0.4 | n |  | TRUE
1 | bus_LV_942-93_1_3_node_35 | 0.4 | n |  | TRUE
2 | bus_LV_942-93_1_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_942-93_1_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_942-93_1_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_942-93_1_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_942-93_1_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_942-93_1_3_node_103 | 0.4 | n |  | TRUE
8 | bus_LV_942-93_1_3_node_101 | 0.4 | n |  | TRUE
9 | bus_LV_942-93_1_3_node_102 | 0.4 | n |  | TRUE
10 | bus_LV_942-93_1_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_942-93_1_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_942-93_1_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_942-93_1_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_942-93_1_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_942-93_1_3_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_942-93_1_3_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_942-93_1_3_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_942-93_1_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_942-93_1_3_node_96 | 0.4 | n |  | TRUE
20 | bus_LV_942-93_1_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_942-93_1_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_942-93_1_3_node_99 | 0.4 | n |  | TRUE
23 | bus_LV_942-93_1_3_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_942-93_1_3_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_942-93_1_3_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_942-93_1_3_node_51 | 0.4 | n |  | TRUE
27 | bus_LV_942-93_1_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_942-93_1_3_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_942-93_1_3_node_97 | 0.4 | n |  | TRUE
30 | bus_LV_942-93_1_3_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_942-93_1_3_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_942-93_1_3_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_942-93_1_3_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_942-93_1_3_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_942-93_1_3_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_942-93_1_3_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_942-93_1_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_942-93_1_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_942-93_1_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_942-93_1_3_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_942-93_1_3_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_942-93_1_3_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_942-93_1_3_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_942-93_1_3_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_942-93_1_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_942-93_1_3_node_92 | 0.4 | n |  | TRUE
47 | bus_LV_942-93_1_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_942-93_1_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_942-93_1_3_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_942-93_1_3_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_942-93_1_3_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_942-93_1_3_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_942-93_1_3_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_942-93_1_3_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_942-93_1_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_942-93_1_3_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_942-93_1_3_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_942-93_1_3_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_942-93_1_3_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_942-93_1_3_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_942-93_1_3_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_942-93_1_3_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_942-93_1_3_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_942-93_1_3_node_93 | 0.4 | n |  | TRUE
65 | bus_LV_942-93_1_3_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_942-93_1_3_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_942-93_1_3_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_942-93_1_3_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_942-93_1_3_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_942-93_1_3_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_942-93_1_3_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_942-93_1_3_node_91 | 0.4 | n |  | TRUE
73 | bus_LV_942-93_1_3_node_90 | 0.4 | n |  | TRUE
74 | bus_LV_942-93_1_3_node_86 | 0.4 | n |  | TRUE
75 | bus_LV_942-93_1_3_node_87 | 0.4 | n |  | TRUE
76 | bus_MV_284_0_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-93_1_3_load_34 | 0 | 0.0021362 | 0.00053539 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-93_1_3_load_7 | 2 | 0.0040158 | 0.0010065 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-93_1_3_load_9 | 4 | 0.0081561 | 0.0020441 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-93_1_3_load_10 | 5 | 0.0022382 | 0.00056094 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-93_1_3_load_103 | 7 | 0.0022331 | 0.00055967 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-93_1_3_load_102 | 9 | 0.002251 | 0.00056414 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-93_1_3_load_15 | 10 | 0.0022384 | 0.00056099 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-93_1_3_load_16 | 11 | 0.0080731 | 0.0020233 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-93_1_3_load_17 | 12 | 0.0018511 | 0.00046392 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-93_1_3_load_19 | 14 | 0.0018074 | 0.00045298 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-93_1_3_load_32 | 15 | 0.0080909 | 0.0020278 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-93_1_3_load_31 | 16 | 0.0088124 | 0.0022086 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-93_1_3_load_40 | 17 | 0.0029196 | 0.00073173 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-93_1_3_load_96 | 19 | 0.0030181 | 0.00075642 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-93_1_3_load_99 | 22 | 0.010913 | 0.0027351 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-93_1_3_load_44 | 24 | 0.029939 | 0.0075034 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-93_1_3_load_50 | 25 | 0.064535 | 0.016174 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-93_1_3_load_37 | 27 | 0.0019204 | 0.0004813 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-93_1_3_load_98 | 28 | 0.0019164 | 0.00048029 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-93_1_3_load_97 | 29 | 0.00304 | 0.0007619 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-93_1_3_load_83 | 33 | 0.0020407 | 0.00051144 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-93_1_3_load_73 | 34 | 0.0051704 | 0.0012958 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-93_1_3_load_56 | 36 | 0.014682 | 0.0036795 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-93_1_3_load_41 | 37 | 0.017844 | 0.0044721 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-93_1_3_load_43 | 39 | 0.01776 | 0.004451 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-93_1_3_load_48 | 40 | 0.0092924 | 0.0023289 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-93_1_3_load_49 | 41 | 0.024592 | 0.0061634 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-93_1_3_load_94 | 43 | 0.0023757 | 0.00059541 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-93_1_3_load_95 | 44 | 0.0062435 | 0.0015648 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-93_1_3_load_92 | 46 | 0.0023708 | 0.00059419 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-93_1_3_load_60 | 47 | 0.0017515 | 0.00043896 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-93_1_3_load_61 | 48 | 0.0018797 | 0.0004711 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-93_1_3_load_53 | 49 | 0.0093016 | 0.0023312 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-93_1_3_load_54 | 50 | 0.011494 | 0.0028807 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-93_1_3_load_85 | 51 | 0.0020788 | 0.000521 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-93_1_3_load_82 | 52 | 0.0017445 | 0.00043721 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-93_1_3_load_62 | 54 | 0.0013108 | 0.00032852 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-93_1_3_load_69 | 55 | 0.0017421 | 0.00043661 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-93_1_3_load_75 | 56 | 0.0020366 | 0.00051041 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-93_1_3_load_74 | 57 | 0.0023307 | 0.00058413 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-93_1_3_load_77 | 59 | 0.0016835 | 0.00042192 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-93_1_3_load_64 | 60 | 0.0062391 | 0.0015637 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-93_1_3_load_65 | 61 | 0.0051436 | 0.0012891 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-93_1_3_load_80 | 63 | 0.0013029 | 0.00032655 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-93_1_3_load_93 | 64 | 0.0015706 | 0.00039362 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-93_1_3_load_70 | 65 | 0.0051008 | 0.0012784 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-93_1_3_load_78 | 66 | 0.0013204 | 0.00033093 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-93_1_3_load_71 | 67 | 0.0051612 | 0.0012935 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-93_1_3_load_81 | 69 | 0.0013143 | 0.0003294 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-93_1_3_load_79 | 70 | 0.0015776 | 0.00039538 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-93_1_3_load_89 | 71 | 0.0013178 | 0.00033026 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-93_1_3_load_91 | 72 | 0.0015147 | 0.00037962 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-93_1_3_load_90 | 73 | 0.0016851 | 0.00042234 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-93_1_3_load_86 | 74 | 0.0022117 | 0.00055431 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-93_1_3_load_87 | 75 | 0.0019034 | 0.00047704 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-93_1_3_line_0 |  | 0 | 1 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-93_1_3_line_1 |  | 1 | 27 | 0.038472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-93_1_3_line_2 |  | 2 | 3 | 0.0048078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-93_1_3_line_3 |  | 2 | 4 | 0.0024309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-93_1_3_line_4 |  | 3 | 5 | 0.002445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-93_1_3_line_5 |  | 3 | 6 | 0.004797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-93_1_3_line_6 |  | 6 | 7 | 0.00246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-93_1_3_line_7 |  | 6 | 8 | 0.004808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-93_1_3_line_8 |  | 8 | 9 | 0.002482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-93_1_3_line_9 |  | 9 | 22 | 0.03884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-93_1_3_line_10 |  | 10 | 11 | 0.0050732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_942-93_1_3_line_11 |  | 10 | 12 | 0.016742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-93_1_3_line_12 |  | 11 | 13 | 0.025097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-93_1_3_line_13 |  | 12 | 14 | 0.005064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-93_1_3_line_14 |  | 13 | 15 | 0.037616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-93_1_3_line_15 |  | 13 | 16 | 0.031731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_942-93_1_3_line_16 |  | 14 | 17 | 0.0049811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_942-93_1_3_line_17 |  | 16 | 18 | 0.021987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_942-93_1_3_line_18 |  | 17 | 19 | 0.0049797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-93_1_3_line_19 |  | 18 | 20 | 0.036305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_942-93_1_3_line_20 |  | 18 | 21 | 0.049231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-93_1_3_line_21 |  | 19 | 29 | 0.0049645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-93_1_3_line_22 |  | 20 | 23 | 0.005735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-93_1_3_line_23 |  | 21 | 22 | 0.003838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-93_1_3_line_24 |  | 23 | 24 | 0.023426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-93_1_3_line_25 |  | 24 | 38 | 0.031455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-93_1_3_line_26 |  | 25 | 26 | 0.027123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-93_1_3_line_27 |  | 26 | 49 | 0.036277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-93_1_3_line_28 |  | 27 | 28 | 0.0049605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-93_1_3_line_29 |  | 28 | 29 | 0.0049697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-93_1_3_line_30 |  | 30 | 31 | 0.058107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-93_1_3_line_31 |  | 30 | 32 | 0.090279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-93_1_3_line_32 |  | 30 | 33 | 0.074287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-93_1_3_line_33 |  | 31 | 51 | 0.058715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-93_1_3_line_34 |  | 32 | 34 | 0.0060867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_942-93_1_3_line_35 |  | 32 | 35 | 0.033654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-93_1_3_line_36 |  | 33 | 52 | 0.014483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-93_1_3_line_37 |  | 34 | 53 | 0.036187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-93_1_3_line_38 |  | 35 | 36 | 0.0094875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-93_1_3_line_39 |  | 35 | 49 | 0.015298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-93_1_3_line_40 |  | 37 | 38 | 0.0028622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_942-93_1_3_line_41 |  | 37 | 39 | 0.032266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-93_1_3_line_42 |  | 39 | 40 | 0.031726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_942-93_1_3_line_43 |  | 39 | 41 | 0.028046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_942-93_1_3_line_44 |  | 40 | 45 | 0.0044909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_942-93_1_3_line_45 |  | 42 | 43 | 0.0066209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-93_1_3_line_46 |  | 42 | 44 | 0.018108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_942-93_1_3_line_47 |  | 43 | 46 | 0.0065018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-93_1_3_line_48 |  | 45 | 49 | 0.028834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_942-93_1_3_line_49 |  | 45 | 50 | 0.024131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-93_1_3_line_50 |  | 46 | 64 | 0.020347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_942-93_1_3_line_51 |  | 47 | 48 | 0.019314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-93_1_3_line_52 |  | 48 | 54 | 0.008424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-93_1_3_line_53 |  | 51 | 74 | 0.017078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_942-93_1_3_line_54 |  | 52 | 55 | 0.0073896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_942-93_1_3_line_55 |  | 53 | 65 | 0.015486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_942-93_1_3_line_56 |  | 54 | 55 | 0.0082486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_942-93_1_3_line_57 |  | 56 | 57 | 0.0019814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_942-93_1_3_line_58 |  | 57 | 58 | 0.010369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_942-93_1_3_line_59 |  | 58 | 59 | 0.006862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_942-93_1_3_line_60 |  | 59 | 72 | 0.0040203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_942-93_1_3_line_61 |  | 60 | 61 | 9.4083e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_942-93_1_3_line_62 |  | 61 | 62 | 0.018549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_942-93_1_3_line_63 |  | 62 | 63 | 0.0062426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-93_1_3_line_64 |  | 62 | 64 | 0.0087376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-93_1_3_line_65 |  | 63 | 66 | 0.0064733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-93_1_3_line_66 |  | 65 | 67 | 3.3725e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-93_1_3_line_67 |  | 66 | 70 | 0.020325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-93_1_3_line_68 |  | 67 | 68 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-93_1_3_line_69 |  | 68 | 69 | 0.0061395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-93_1_3_line_70 |  | 68 | 70 | 0.0089237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_942-93_1_3_line_71 |  | 69 | 71 | 0.0065028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-93_1_3_line_72 |  | 72 | 73 | 0.0031995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-93_1_3_line_73 |  | 73 | 75 | 0.016702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-93_1_3_line_74 |  | 74 | 75 | 6.7653e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-93_1_3_trafo_49 | 0.63 MVA 20/0.4 kV | 76 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2614441.6291 | 1177429.0725 | 2614433.1531 | 1177444.1374
1 | 2614441.6291 | 1177429.0725 | 2614404.3557 | 1177419.5434
2 | 2614377.8319 | 1177470.1742 | 2614378.9435 | 1177465.4966
3 | 2614376.5837 | 1177464.9129 | 2614378.9435 | 1177465.4966
4 | 2614377.8319 | 1177470.1742 | 2614375.426 | 1177469.7015
5 | 2614376.7204 | 1177474.8406 | 2614377.8319 | 1177470.1742
6 | 2614376.7204 | 1177474.8406 | 2614374.2993 | 1177474.3679
7 | 2614375.6089 | 1177479.5181 | 2614376.7204 | 1177474.8406
8 | 2614375.6089 | 1177479.5181 | 2614373.1648 | 1177479.0453
9 | 2614334.3438 | 1177480.2646 | 2614373.1648 | 1177479.0453
10 | 2614354.2327 | 1177406.7294 | 2614359.1478 | 1177407.986
11 | 2614375.3685 | 1177412.1328 | 2614359.1478 | 1177407.986
12 | 2614329.9182 | 1177400.5134 | 2614354.2327 | 1177406.7294
13 | 2614375.3685 | 1177412.1328 | 2614380.2747 | 1177413.3871
14 | 2614329.9182 | 1177400.5134 | 2614338.5926 | 1177363.9115
15 | 2614329.9182 | 1177400.5134 | 2614322.7536 | 1177431.4251
16 | 2614385.1006 | 1177414.6209 | 2614380.2747 | 1177413.3871
17 | 2614317.789 | 1177452.8445 | 2614322.7536 | 1177431.4251
18 | 2614389.9251 | 1177415.8542 | 2614385.1006 | 1177414.6209
19 | 2614317.789 | 1177452.8445 | 2614282.453 | 1177444.0895
20 | 2614317.789 | 1177452.8445 | 2614311.9571 | 1177479.1886 | 2614333.67 | 1177484.0427
21 | 2614389.9251 | 1177415.8542 | 2614394.7349 | 1177417.0839
22 | 2614282.453 | 1177444.0895 | 2614280.7131 | 1177449.5549
23 | 2614334.3438 | 1177480.2646 | 2614333.67 | 1177484.0427
24 | 2614280.7131 | 1177449.5549 | 2614257.9563 | 1177443.9966
25 | 2614227.3992 | 1177436.5332 | 2614257.9563 | 1177443.9966
26 | 2614302.7966 | 1177353.0914 | 2614296.879 | 1177379.5613
27 | 2614267.4057 | 1177344.681 | 2614302.7966 | 1177353.0914
28 | 2614404.3557 | 1177419.5434 | 2614399.5497 | 1177418.3148
29 | 2614399.5497 | 1177418.3148 | 2614394.7349 | 1177417.0839
30 | 2614138.9859 | 1177268.1837 | 2614163.6066 | 1177271.7211 | 2614178.6313 | 1177274.4245 | 2614196.374 | 1177278.157
31 | 2614196.374 | 1177278.157 | 2614255.2189 | 1177292.4477 | 2614243.455 | 1177319.7449
32 | 2614196.374 | 1177278.157 | 2614166.6629 | 1177346.2437
33 | 2614138.9859 | 1177268.1837 | 2614114.3457 | 1177321.4786
34 | 2614243.455 | 1177319.7449 | 2614242.5279 | 1177324.0116 | 2614242.463 | 1177325.7308
35 | 2614243.455 | 1177319.7449 | 2614251.3481 | 1177323.2654 | 2614252.1774 | 1177321.5665 | 2614273.5217 | 1177330.655
36 | 2614166.6629 | 1177346.2437 | 2614160.8705 | 1177359.5178
37 | 2614229.9351 | 1177359.3776 | 2614241.7589 | 1177332.5363 | 2614242.3323 | 1177329.1915 | 2614242.463 | 1177325.7308
38 | 2614273.5217 | 1177330.655 | 2614277.3098 | 1177321.9565
39 | 2614273.5217 | 1177330.655 | 2614267.4057 | 1177344.681
40 | 2614227.3992 | 1177436.5332 | 2614228.5423 | 1177433.9092
41 | 2614241.4286 | 1177404.3277 | 2614228.5423 | 1177433.9092
42 | 2614241.4286 | 1177404.3277 | 2614254.0955 | 1177375.2401
43 | 2614241.4286 | 1177404.3277 | 2614268.7698 | 1177410.5779
44 | 2614255.8885 | 1177371.1227 | 2614254.0955 | 1177375.2401
45 | 2614165.8864 | 1177423.2926 | 2614168.4121 | 1177417.1724
46 | 2614165.8864 | 1177423.2926 | 2614182.7154 | 1177429.9767
47 | 2614170.8923 | 1177411.1623 | 2614168.4121 | 1177417.1724
48 | 2614255.8885 | 1177371.1227 | 2614267.4057 | 1177344.681
49 | 2614255.8885 | 1177371.1227 | 2614264.3186 | 1177373.6773 | 2614279.3016 | 1177376.8829
50 | 2614170.8923 | 1177411.1623 | 2614178.6539 | 1177392.3542
51 | 2614143.5223 | 1177399.2733 | 2614151.2468 | 1177381.5717
52 | 2614151.2468 | 1177381.5717 | 2614154.6159 | 1177373.8508
53 | 2614114.3457 | 1177321.4786 | 2614107.1786 | 1177336.9803
54 | 2614160.8705 | 1177359.5178 | 2614157.915 | 1177366.2907
55 | 2614229.9351 | 1177359.3776 | 2614215.7357 | 1177353.1983
56 | 2614154.6159 | 1177373.8508 | 2614157.915 | 1177366.2907
57 | 2614089.8816 | 1177374.3958 | 2614089.0503 | 1177376.1944
58 | 2614094.2316 | 1177364.9837 | 2614089.8816 | 1177374.3958
59 | 2614094.2316 | 1177364.9837 | 2614097.1113 | 1177358.7552
60 | 2614098.7984 | 1177355.106 | 2614097.1113 | 1177358.7552
61 | 2614199.0559 | 1177391.7765 | 2614198.9697 | 1177391.7387
62 | 2614181.9871 | 1177384.2773 | 2614198.9697 | 1177391.7387
63 | 2614181.9871 | 1177384.2773 | 2614184.4775 | 1177378.553
64 | 2614181.9871 | 1177384.2773 | 2614178.6539 | 1177392.3542
65 | 2614187.0601 | 1177372.6171 | 2614184.4775 | 1177378.553
66 | 2614215.7357 | 1177353.1983 | 2614215.7048 | 1177353.1848
67 | 2614187.0601 | 1177372.6171 | 2614195.1685 | 1177353.9799
68 | 2614198.7286 | 1177345.7971 | 2614215.7048 | 1177353.1848
69 | 2614198.7286 | 1177345.7971 | 2614201.2517 | 1177340.2
70 | 2614198.7286 | 1177345.7971 | 2614195.1685 | 1177353.9799
71 | 2614203.924 | 1177334.2717 | 2614201.2517 | 1177340.2
72 | 2614100.1411 | 1177352.2019 | 2614098.7984 | 1177355.106
73 | 2614100.1411 | 1177352.2019 | 2614107.1503 | 1177337.0417
74 | 2614107.1503 | 1177337.0417 | 2614107.1786 | 1177336.9803

## bus_geodata
| x | y | coords
0 | 2614433.1531 | 1177444.1374
1 | 2614441.6291 | 1177429.0725
2 | 2614378.9435 | 1177465.4966
3 | 2614377.8319 | 1177470.1742
4 | 2614376.5837 | 1177464.9129
5 | 2614375.426 | 1177469.7015
6 | 2614376.7204 | 1177474.8406
7 | 2614374.2993 | 1177474.3679
8 | 2614375.6089 | 1177479.5181
9 | 2614373.1648 | 1177479.0453
10 | 2614359.1478 | 1177407.986
11 | 2614354.2327 | 1177406.7294
12 | 2614375.3685 | 1177412.1328
13 | 2614329.9182 | 1177400.5134
14 | 2614380.2747 | 1177413.3871
15 | 2614338.5926 | 1177363.9115
16 | 2614322.7536 | 1177431.4251
17 | 2614385.1006 | 1177414.6209
18 | 2614317.789 | 1177452.8445
19 | 2614389.9251 | 1177415.8542
20 | 2614282.453 | 1177444.0895
21 | 2614333.67 | 1177484.0427
22 | 2614334.3438 | 1177480.2646
23 | 2614280.7131 | 1177449.5549
24 | 2614257.9563 | 1177443.9966
25 | 2614296.879 | 1177379.5613
26 | 2614302.7966 | 1177353.0914
27 | 2614404.3557 | 1177419.5434
28 | 2614399.5497 | 1177418.3148
29 | 2614394.7349 | 1177417.0839
30 | 2614196.374 | 1177278.157
31 | 2614138.9859 | 1177268.1837
32 | 2614243.455 | 1177319.7449
33 | 2614166.6629 | 1177346.2437
34 | 2614242.463 | 1177325.7308
35 | 2614273.5217 | 1177330.655
36 | 2614277.3098 | 1177321.9565
37 | 2614228.5423 | 1177433.9092
38 | 2614227.3992 | 1177436.5332
39 | 2614241.4286 | 1177404.3277
40 | 2614254.0955 | 1177375.2401
41 | 2614268.7698 | 1177410.5779
42 | 2614165.8864 | 1177423.2926
43 | 2614168.4121 | 1177417.1724
44 | 2614182.7154 | 1177429.9767
45 | 2614255.8885 | 1177371.1227
46 | 2614170.8923 | 1177411.1623
47 | 2614143.5223 | 1177399.2733
48 | 2614151.2468 | 1177381.5717
49 | 2614267.4057 | 1177344.681
50 | 2614279.3016 | 1177376.8829
51 | 2614114.3457 | 1177321.4786
52 | 2614160.8705 | 1177359.5178
53 | 2614229.9351 | 1177359.3776
54 | 2614154.6159 | 1177373.8508
55 | 2614157.915 | 1177366.2907
56 | 2614089.0503 | 1177376.1944
57 | 2614089.8816 | 1177374.3958
58 | 2614094.2316 | 1177364.9837
59 | 2614097.1113 | 1177358.7552
60 | 2614199.0559 | 1177391.7765
61 | 2614198.9697 | 1177391.7387
62 | 2614181.9871 | 1177384.2773
63 | 2614184.4775 | 1177378.553
64 | 2614178.6539 | 1177392.3542
65 | 2614215.7357 | 1177353.1983
66 | 2614187.0601 | 1177372.6171
67 | 2614215.7048 | 1177353.1848
68 | 2614198.7286 | 1177345.7971
69 | 2614201.2517 | 1177340.2
70 | 2614195.1685 | 1177353.9799
71 | 2614203.924 | 1177334.2717
72 | 2614098.7984 | 1177355.106
73 | 2614100.1411 | 1177352.2019
74 | 2614107.1786 | 1177336.9803
75 | 2614107.1503 | 1177337.0417
76 | 2614278.6758 | 1177412.8424

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1