## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_942-99_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_942-99_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_942-99_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_942-99_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_942-99_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_942-99_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_942-99_0_6_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_942-99_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_942-99_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_942-99_0_6_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_942-99_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_942-99_0_6_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_942-99_0_6_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_942-99_0_6_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_942-99_0_6_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_942-99_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_942-99_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_942-99_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_942-99_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_942-99_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_942-99_0_6_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_942-99_0_6_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_942-99_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_942-99_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_942-99_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_942-99_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_942-99_0_6_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_942-99_0_6_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_942-99_0_6_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_942-99_0_6_node_90 | 0.4 | n |  | TRUE
30 | bus_LV_942-99_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_942-99_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_942-99_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_942-99_0_6_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_942-99_0_6_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_942-99_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_942-99_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_942-99_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_942-99_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_942-99_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_942-99_0_6_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_942-99_0_6_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_942-99_0_6_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_942-99_0_6_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_942-99_0_6_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_942-99_0_6_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_942-99_0_6_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_942-99_0_6_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_942-99_0_6_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_942-99_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_942-99_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_942-99_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_942-99_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_942-99_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_942-99_0_6_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_942-99_0_6_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_942-99_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_942-99_0_6_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_942-99_0_6_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_942-99_0_6_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_942-99_0_6_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_942-99_0_6_node_87 | 0.4 | n |  | TRUE
62 | bus_LV_942-99_0_6_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_942-99_0_6_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_942-99_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_942-99_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_942-99_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_942-99_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_942-99_0_6_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_942-99_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_942-99_0_6_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_942-99_0_6_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_942-99_0_6_node_107 | 0.4 | n |  | TRUE
73 | bus_LV_942-99_0_6_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_942-99_0_6_node_108 | 0.4 | n |  | TRUE
75 | bus_LV_942-99_0_6_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_942-99_0_6_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_942-99_0_6_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_942-99_0_6_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_942-99_0_6_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_942-99_0_6_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_942-99_0_6_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_942-99_0_6_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_942-99_0_6_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_942-99_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_942-99_0_6_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_942-99_0_6_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_942-99_0_6_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_942-99_0_6_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_942-99_0_6_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_942-99_0_6_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_942-99_0_6_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_942-99_0_6_node_103 | 0.4 | n |  | TRUE
93 | bus_LV_942-99_0_6_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_942-99_0_6_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_942-99_0_6_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_942-99_0_6_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_942-99_0_6_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_942-99_0_6_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_942-99_0_6_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_942-99_0_6_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_942-99_0_6_node_106 | 0.4 | n |  | TRUE
102 | bus_LV_942-99_0_6_node_104 | 0.4 | n |  | TRUE
103 | bus_LV_942-99_0_6_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_942-99_0_6_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_942-99_0_6_node_101 | 0.4 | n |  | TRUE
106 | bus_LV_942-99_0_6_node_109 | 0.4 | n |  | TRUE
107 | bus_MV_208_1_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_942-99_0_6_load_0 | 0 | 0.022118 | 0.0055433 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_942-99_0_6_load_1 | 1 | 0.011746 | 0.0029437 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_942-99_0_6_load_2 | 2 | 0.0044663 | 0.0011194 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_942-99_0_6_load_3 | 3 | 0.012697 | 0.0031822 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_942-99_0_6_load_5 | 5 | 0.0037974 | 0.00095172 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_942-99_0_6_load_10 | 6 | 0.033785 | 0.0084674 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_942-99_0_6_load_8 | 7 | 0.0062906 | 0.0015766 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_942-99_0_6_load_6 | 8 | 0.011729 | 0.0029397 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_942-99_0_6_load_53 | 9 | 0.018354 | 0.0046 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_942-99_0_6_load_7 | 10 | 0.0056496 | 0.0014159 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_942-99_0_6_load_61 | 11 | 0.0026809 | 0.0006719 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_942-99_0_6_load_16 | 12 | 0.0056053 | 0.0014048 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_942-99_0_6_load_68 | 13 | 0.0025118 | 0.00062951 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_942-99_0_6_load_11 | 15 | 0.0015651 | 0.00039225 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_942-99_0_6_load_12 | 16 | 0.0010004 | 0.00025073 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_942-99_0_6_load_13 | 17 | 0.0050938 | 0.0012766 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_942-99_0_6_load_14 | 18 | 0.0010021 | 0.00025114 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_942-99_0_6_load_15 | 19 | 0.0010919 | 0.00027366 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_942-99_0_6_load_26 | 20 | 0.00099886 | 0.00025034 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_942-99_0_6_load_17 | 22 | 0.0099638 | 0.0024972 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_942-99_0_6_load_19 | 24 | 0.0010078 | 0.00025257 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_942-99_0_6_load_20 | 25 | 0.0039361 | 0.00098648 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_942-99_0_6_load_27 | 26 | 0.0074928 | 0.0018779 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_942-99_0_6_load_92 | 27 | 0.0020629 | 0.00051701 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_942-99_0_6_load_24 | 28 | 0.00098413 | 0.00024665 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_942-99_0_6_load_21 | 30 | 0.00099794 | 0.00025011 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_942-99_0_6_load_22 | 31 | 0.0010152 | 0.00025442 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_942-99_0_6_load_23 | 32 | 0.0020314 | 0.00050913 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_942-99_0_6_load_84 | 33 | 0.007198 | 0.001804 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_942-99_0_6_load_28 | 34 | 0.0043422 | 0.0010883 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_942-99_0_6_load_29 | 35 | 0.004359 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_942-99_0_6_load_30 | 36 | 0.017637 | 0.0044203 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_942-99_0_6_load_31 | 37 | 0.0044302 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_942-99_0_6_load_32 | 38 | 0.0044025 | 0.0011034 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_942-99_0_6_load_33 | 39 | 0.0044856 | 0.0011242 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_942-99_0_6_load_48 | 40 | 0.0059889 | 0.001501 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_942-99_0_6_load_36 | 41 | 0.011571 | 0.0029 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_942-99_0_6_load_49 | 42 | 0.0026405 | 0.00066177 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_942-99_0_6_load_34 | 43 | 0.012368 | 0.0030997 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_942-99_0_6_load_35 | 44 | 0.006851 | 0.001717 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_942-99_0_6_load_37 | 45 | 0.0059762 | 0.0014978 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_942-99_0_6_load_38 | 46 | 0.01014 | 0.0025414 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_942-99_0_6_load_51 | 47 | 0.012796 | 0.0032069 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_942-99_0_6_load_50 | 48 | 0.045449 | 0.011391 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_942-99_0_6_load_39 | 49 | 0.022346 | 0.0056004 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_942-99_0_6_load_40 | 50 | 0.0054936 | 0.0013768 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_942-99_0_6_load_41 | 51 | 0.0052077 | 0.0013052 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_942-99_0_6_load_42 | 52 | 0.01866 | 0.0046766 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_942-99_0_6_load_43 | 53 | 0.0051731 | 0.0012965 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_942-99_0_6_load_44 | 54 | 0.022152 | 0.0055517 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_942-99_0_6_load_75 | 55 | 0.0078677 | 0.0019718 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_942-99_0_6_load_74 | 57 | 0.0036956 | 0.0009262 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_942-99_0_6_load_46 | 59 | 0.004302 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_942-99_0_6_load_86 | 60 | 0.0015972 | 0.0004003 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_942-99_0_6_load_87 | 61 | 0.0053424 | 0.0013389 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_942-99_0_6_load_60 | 62 | 0.0046027 | 0.0011535 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_942-99_0_6_load_78 | 63 | 0.0069848 | 0.0017505 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_942-99_0_6_load_54 | 64 | 0.0020018 | 0.00050171 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_942-99_0_6_load_55 | 65 | 0.0014412 | 0.00036121 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_942-99_0_6_load_57 | 67 | 0.0055283 | 0.0013855 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_942-99_0_6_load_58 | 68 | 0.003297 | 0.00082631 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_942-99_0_6_load_59 | 69 | 0.0019349 | 0.00048494 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_942-99_0_6_load_67 | 70 | 0.0034016 | 0.00085253 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_942-99_0_6_load_71 | 71 | 0.0015611 | 0.00039126 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_942-99_0_6_load_107 | 72 | 0.0012624 | 0.00031639 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_942-99_0_6_load_72 | 73 | 0.0021071 | 0.00052809 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_942-99_0_6_load_108 | 74 | 0.0015356 | 0.00038487 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_942-99_0_6_load_79 | 75 | 0.0015301 | 0.00038348 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_942-99_0_6_load_69 | 76 | 0.0045316 | 0.0011357 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_942-99_0_6_load_62 | 77 | 0.0015928 | 0.0003992 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_942-99_0_6_load_63 | 78 | 0.0021705 | 0.00054398 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_942-99_0_6_load_64 | 79 | 0.0013211 | 0.0003311 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_942-99_0_6_load_65 | 80 | 0.0034701 | 0.00086969 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_942-99_0_6_load_66 | 81 | 0.0027341 | 0.00068523 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_942-99_0_6_load_93 | 83 | 0.0016686 | 0.00041819 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_942-99_0_6_load_83 | 85 | 0.0058172 | 0.0014579 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_942-99_0_6_load_80 | 86 | 0.0022996 | 0.00057632 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_942-99_0_6_load_73 | 87 | 0.0021235 | 0.0005322 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_942-99_0_6_load_85 | 88 | 0.0015798 | 0.00039593 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_942-99_0_6_load_76 | 89 | 0.0016059 | 0.00040247 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_942-99_0_6_load_77 | 90 | 0.0017571 | 0.00044038 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_942-99_0_6_load_88 | 91 | 0.0011649 | 0.00029196 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_942-99_0_6_load_103 | 92 | 0.0065267 | 0.0016358 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_942-99_0_6_load_96 | 93 | 0.0017237 | 0.000432 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_942-99_0_6_load_89 | 94 | 0.0012594 | 0.00031563 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_942-99_0_6_load_94 | 95 | 0.0039699 | 0.00099495 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_942-99_0_6_load_91 | 96 | 0.0023156 | 0.00058033 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_942-99_0_6_load_102 | 97 | 0.0023643 | 0.00059256 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_942-99_0_6_load_100 | 98 | 0.0038815 | 0.0009728 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_942-99_0_6_load_95 | 99 | 0.0057741 | 0.0014471 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_942-99_0_6_load_97 | 100 | 0.0049853 | 0.0012494 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_942-99_0_6_load_104 | 102 | 0.0054924 | 0.0013765 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_942-99_0_6_load_98 | 103 | 0.0034438 | 0.00086311 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_942-99_0_6_load_99 | 104 | 0.0022511 | 0.00056417 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_942-99_0_6_load_101 | 105 | 0.0031649 | 0.0007932 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_942-99_0_6_load_109 | 106 | 0.0020278 | 0.00050821 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_942-99_0_6_line_0 |  | 0 | 1 | 0.016283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_942-99_0_6_line_1 |  | 0 | 2 | 0.00019199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_942-99_0_6_line_2 |  | 1 | 3 | 0.0032654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_942-99_0_6_line_3 |  | 2 | 4 | 0.030115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_942-99_0_6_line_4 |  | 3 | 5 | 0.007706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_942-99_0_6_line_5 |  | 4 | 6 | 0.030934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_942-99_0_6_line_6 |  | 4 | 7 | 0.030518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_942-99_0_6_line_7 |  | 5 | 8 | 0.015142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_942-99_0_6_line_8 |  | 6 | 9 | 0.035062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_942-99_0_6_line_9 |  | 8 | 10 | 0.00014203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_942-99_0_6_line_10 |  | 9 | 14 | 0.02154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_942-99_0_6_line_11 |  | 10 | 11 | 0.029637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_942-99_0_6_line_12 |  | 10 | 12 | 0.059407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_942-99_0_6_line_13 |  | 11 | 13 | 0.010053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_942-99_0_6_line_14 |  | 13 | 76 | 0.052155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_942-99_0_6_line_15 |  | 14 | 48 | 0.028449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_942-99_0_6_line_16 |  | 14 | 58 | 0.03724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_942-99_0_6_line_17 |  | 15 | 16 | 0.016208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_942-99_0_6_line_18 |  | 15 | 17 | 0.00087234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_942-99_0_6_line_19 |  | 16 | 18 | 0.00013695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_942-99_0_6_line_20 |  | 17 | 19 | 0.0094549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_942-99_0_6_line_21 |  | 18 | 20 | 0.024313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_942-99_0_6_line_22 |  | 20 | 21 | 0.024162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_942-99_0_6_line_23 |  | 21 | 33 | 0.026741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_942-99_0_6_line_24 |  | 21 | 32 | 0.0050047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_942-99_0_6_line_25 |  | 22 | 23 | 0.023013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_942-99_0_6_line_26 |  | 23 | 24 | 0.041401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_942-99_0_6_line_27 |  | 23 | 25 | 0.042568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_942-99_0_6_line_28 |  | 24 | 26 | 8.3271e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_942-99_0_6_line_29 |  | 25 | 27 | 0.029895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_942-99_0_6_line_30 |  | 26 | 28 | 0.00067876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_942-99_0_6_line_31 |  | 27 | 29 | 0.024959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_942-99_0_6_line_32 |  | 28 | 31 | 0.00084885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_942-99_0_6_line_33 |  | 29 | 96 | 0.040128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_942-99_0_6_line_34 |  | 29 | 83 | 0.0095557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_942-99_0_6_line_35 |  | 29 | 94 | 0.014616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_942-99_0_6_line_36 |  | 30 | 31 | 0.016659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_942-99_0_6_line_37 |  | 30 | 32 | 0.019496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_942-99_0_6_line_38 |  | 34 | 35 | 0.010453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_942-99_0_6_line_39 |  | 34 | 36 | 0.0042508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_942-99_0_6_line_40 |  | 35 | 37 | 0.010562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_942-99_0_6_line_41 |  | 36 | 38 | 0.0004247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_942-99_0_6_line_42 |  | 37 | 39 | 0.010442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_942-99_0_6_line_43 |  | 38 | 40 | 0.0034105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_942-99_0_6_line_44 |  | 39 | 41 | 0.0019127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_942-99_0_6_line_45 |  | 40 | 42 | 0.014365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_942-99_0_6_line_46 |  | 41 | 43 | 0.012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_942-99_0_6_line_47 |  | 42 | 62 | 0.0069575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_942-99_0_6_line_48 |  | 43 | 44 | 0.022749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_942-99_0_6_line_49 |  | 44 | 45 | 0.0034573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_942-99_0_6_line_50 |  | 45 | 46 | 0.017754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_942-99_0_6_line_51 |  | 46 | 47 | 0.012483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_942-99_0_6_line_52 |  | 47 | 48 | 0.023812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_942-99_0_6_line_53 |  | 49 | 50 | 0.010103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_942-99_0_6_line_54 |  | 49 | 51 | 0.0063084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_942-99_0_6_line_55 |  | 50 | 52 | 0.032667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_942-99_0_6_line_56 |  | 51 | 53 | 0.017647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_942-99_0_6_line_57 |  | 52 | 54 | 0.0055635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_942-99_0_6_line_58 |  | 53 | 55 | 0.010664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_942-99_0_6_line_59 |  | 54 | 56 | 0.031859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_942-99_0_6_line_60 |  | 55 | 57 | 0.0075361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_942-99_0_6_line_61 |  | 56 | 58 | 0.025841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_942-99_0_6_line_62 |  | 57 | 89 | 0.006753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_942-99_0_6_line_63 |  | 59 | 60 | 0.020557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_942-99_0_6_line_64 |  | 60 | 61 | 8.4297e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_942-99_0_6_line_65 |  | 61 | 94 | 0.040745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_942-99_0_6_line_66 |  | 62 | 63 | 0.0024528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_942-99_0_6_line_67 |  | 63 | 75 | 6.7329e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_942-99_0_6_line_68 |  | 64 | 65 | 0.009508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_942-99_0_6_line_69 |  | 64 | 66 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_942-99_0_6_line_70 |  | 65 | 67 | 0.011877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_942-99_0_6_line_71 |  | 66 | 68 | 0.0099968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_942-99_0_6_line_72 |  | 66 | 69 | 0.012263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_942-99_0_6_line_73 |  | 67 | 70 | 0.00035766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_942-99_0_6_line_74 |  | 68 | 71 | 0.0012493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_942-99_0_6_line_75 |  | 69 | 72 | 0.00029358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_942-99_0_6_line_76 |  | 71 | 73 | 0.017748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_942-99_0_6_line_77 |  | 72 | 74 | 0.017835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_942-99_0_6_line_78 |  | 73 | 87 | 0.0029109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_942-99_0_6_line_79 |  | 74 | 106 | 0.008413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_942-99_0_6_line_80 |  | 75 | 86 | 0.0043805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_942-99_0_6_line_81 |  | 77 | 78 | 0.0070086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_942-99_0_6_line_82 |  | 77 | 79 | 0.018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_942-99_0_6_line_83 |  | 78 | 80 | 0.016513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_942-99_0_6_line_84 |  | 79 | 81 | 0.0085254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_942-99_0_6_line_85 |  | 80 | 82 | 0.0036016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_942-99_0_6_line_86 |  | 81 | 83 | 0.014541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_942-99_0_6_line_87 |  | 82 | 84 | 0.022314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_942-99_0_6_line_88 |  | 82 | 85 | 0.020109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_942-99_0_6_line_89 |  | 84 | 91 | 0.01643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_942-99_0_6_line_90 |  | 84 | 88 | 0.014669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_942-99_0_6_line_91 |  | 84 | 90 | 0.017182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_942-99_0_6_line_92 |  | 85 | 92 | 0.002169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_942-99_0_6_line_93 |  | 87 | 88 | 0.0083588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_942-99_0_6_line_94 |  | 89 | 90 | 0.013826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_942-99_0_6_line_95 |  | 91 | 93 | 0.015599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_942-99_0_6_line_96 |  | 93 | 95 | 0.022034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_942-99_0_6_line_97 |  | 95 | 99 | 0.017934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_942-99_0_6_line_98 |  | 96 | 97 | 0.0014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_942-99_0_6_line_99 |  | 97 | 98 | 0.0099775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_942-99_0_6_line_100 |  | 98 | 103 | 0.011846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_942-99_0_6_line_101 |  | 99 | 100 | 0.0042677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_942-99_0_6_line_102 |  | 100 | 101 | 0.006997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_942-99_0_6_line_103 |  | 101 | 102 | 0.019605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_942-99_0_6_line_104 |  | 103 | 104 | 0.0035743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_942-99_0_6_line_105 |  | 104 | 105 | 0.008046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_942-99_0_6_trafo_42 | 0.63 MVA 20/0.4 kV | 107 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2614180.8357 | 1176560.7451 | 2614186.0756 | 1176545.3277
1 | 2614180.8357 | 1176560.7451 | 2614180.7739 | 1176560.9268
2 | 2614187.1264 | 1176542.236 | 2614186.0756 | 1176545.3277
3 | 2614171.203 | 1176589.4803 | 2614175.883 | 1176575.3174 | 2614180.7739 | 1176560.9268
4 | 2614189.6062 | 1176534.9399 | 2614187.1264 | 1176542.236
5 | 2614171.203 | 1176589.4803 | 2614152.0334 | 1176583.899 | 2614141.6811 | 1176580.2751
6 | 2614171.203 | 1176589.4803 | 2614185.9344 | 1176594.1395 | 2614200.0198 | 1176599.4894
7 | 2614189.6062 | 1176534.9399 | 2614194.4789 | 1176520.603
8 | 2614108.5594 | 1176568.7752 | 2614114.3715 | 1176570.7151 | 2614141.6811 | 1176580.2751
9 | 2614194.5246 | 1176520.4685 | 2614194.4789 | 1176520.603
10 | 2614088.0091 | 1176562.3269 | 2614102.0614 | 1176566.6064 | 2614108.5594 | 1176568.7752
11 | 2614202.3582 | 1176492.063 | 2614201.3081 | 1176501.4174 | 2614196.6696 | 1176514.1574 | 2614194.5246 | 1176520.4685
12 | 2614194.5246 | 1176520.4685 | 2614253.8588 | 1176523.4057
13 | 2614202.9129 | 1176482.0427 | 2614202.9475 | 1176486.8139 | 2614202.3582 | 1176492.063
14 | 2614202.9129 | 1176482.0427 | 2614202.8321 | 1176470.9055 | 2614195.8786 | 1176430.4815
15 | 2614088.0091 | 1176562.3269 | 2614099.1619 | 1176536.1554
16 | 2614088.0091 | 1176562.3269 | 2614080.3258 | 1176560.1412 | 2614052.0901 | 1176552.1268
17 | 2613938.4721 | 1176586.4735 | 2613944.6795 | 1176571.5014
18 | 2613938.138 | 1176587.2793 | 2613938.4721 | 1176586.4735
19 | 2613944.6795 | 1176571.5014 | 2613944.7319 | 1176571.3749
20 | 2613934.5169 | 1176596.0133 | 2613938.138 | 1176587.2793
21 | 2613954.0434 | 1176548.9157 | 2613944.7319 | 1176571.3749
22 | 2613963.297 | 1176526.5962 | 2613954.0434 | 1176548.9157
23 | 2613963.297 | 1176526.5962 | 2613968.5664 | 1176528.3427 | 2613973.0249 | 1176530.3763 | 2613975.7359 | 1176531.283 | 2613988.7073 | 1176534.7644
24 | 2613963.297 | 1176526.5962 | 2613958.4685 | 1176525.2798
25 | 2613882.3155 | 1176503.7308 | 2613869.6394 | 1176522.9376
26 | 2613882.3155 | 1176503.7308 | 2613892.2352 | 1176507.2222 | 2613922.0323 | 1176515.3459
27 | 2613882.3155 | 1176503.7308 | 2613904.5608 | 1176467.4383
28 | 2613922.1126 | 1176515.3679 | 2613922.0323 | 1176515.3459
29 | 2613904.5608 | 1176467.4383 | 2613910.5466 | 1176457.6725 | 2613925.3543 | 1176446.6819
30 | 2613922.7675 | 1176515.5464 | 2613922.1126 | 1176515.3679
31 | 2613945.3959 | 1176431.8066 | 2613925.3543 | 1176446.6819
32 | 2613923.5864 | 1176515.7697 | 2613922.7675 | 1176515.5464
33 | 2613945.3959 | 1176431.8066 | 2613909.0949 | 1176414.7034
34 | 2613945.3959 | 1176431.8066 | 2613952.962 | 1176425.9699
35 | 2613945.3959 | 1176431.8066 | 2613955.6349 | 1176442.2363
36 | 2613939.6587 | 1176520.1516 | 2613923.5864 | 1176515.7697
37 | 2613958.4685 | 1176525.2798 | 2613939.6587 | 1176520.1516
38 | 2614148.4239 | 1176420.5552 | 2614144.3261 | 1176430.1712
39 | 2614148.4239 | 1176420.5552 | 2614150.0903 | 1176416.6447
40 | 2614144.3261 | 1176430.1712 | 2614140.1856 | 1176439.8876
41 | 2614150.2568 | 1176416.254 | 2614150.2568 | 1176416.254 | 2614150.0903 | 1176416.6447
42 | 2614140.1856 | 1176439.8876 | 2614136.092 | 1176449.4937
43 | 2614150.2568 | 1176416.254 | 2614152.3644 | 1176413.5726
44 | 2614136.092 | 1176449.4937 | 2614135.3422 | 1176451.2532
45 | 2614152.3644 | 1176413.5726 | 2614161.2415 | 1176402.2785
46 | 2614130.6247 | 1176462.3236 | 2614135.3422 | 1176451.2532
47 | 2614165.541 | 1176396.8084 | 2614161.2415 | 1176402.2785
48 | 2614130.6247 | 1176462.3236 | 2614121.7065 | 1176483.2514
49 | 2614121.7065 | 1176483.2514 | 2614120.3511 | 1176486.432
50 | 2614113.3908 | 1176502.7652 | 2614120.3511 | 1176486.432
51 | 2614113.3908 | 1176502.7652 | 2614108.4969 | 1176514.2494
52 | 2614099.1619 | 1176536.1554 | 2614108.4969 | 1176514.2494
53 | 2614043.2716 | 1176447.8721 | 2614045.5688 | 1176457.7104
54 | 2614043.2716 | 1176447.8721 | 2614041.8372 | 1176441.729
55 | 2614052.9967 | 1176489.5219 | 2614045.5688 | 1176457.7104
56 | 2614041.8372 | 1176441.729 | 2614037.8247 | 1176424.5444
57 | 2614054.2617 | 1176494.9396 | 2614052.9967 | 1176489.5219
58 | 2614035.3999 | 1176414.1596 | 2614037.8247 | 1176424.5444
59 | 2614055.2681 | 1176526.4878 | 2614056.3185 | 1176518.4639 | 2614056.7363 | 1176509.7382 | 2614055.8607 | 1176501.7877 | 2614054.2617 | 1176494.9396
60 | 2614033.6863 | 1176406.8209 | 2614035.3999 | 1176414.1596
61 | 2614052.0901 | 1176552.1268 | 2614053.206 | 1176542.2688 | 2614054.2249 | 1176534.6562 | 2614055.2681 | 1176526.4878
62 | 2614033.6863 | 1176406.8209 | 2614032.1508 | 1176400.2448
63 | 2613999.2159 | 1176485.4614 | 2613991.8705 | 1176478.149 | 2613984.5346 | 1176471.073
64 | 2613984.5346 | 1176471.073 | 2613984.4739 | 1176471.0144
65 | 2613984.4739 | 1176471.0144 | 2613973.409 | 1176460.3415 | 2613955.6349 | 1176442.2363
66 | 2614165.541 | 1176396.8084 | 2614167.0567 | 1176394.88
67 | 2614167.0983 | 1176394.8271 | 2614167.0983 | 1176394.8271 | 2614167.0567 | 1176394.88
68 | 2614070.3119 | 1176319.7044 | 2614076.6804 | 1176312.6445
69 | 2614061.774 | 1176329.1692 | 2614070.3119 | 1176319.7044
70 | 2614084.6355 | 1176303.8257 | 2614076.6804 | 1176312.6445
71 | 2614061.774 | 1176329.1692 | 2614055.1082 | 1176336.6193
72 | 2614061.774 | 1176329.1692 | 2614052.5403 | 1176321.0995
73 | 2614084.8751 | 1176303.5602 | 2614084.6355 | 1176303.8257
74 | 2614054.2752 | 1176337.5503 | 2614055.1082 | 1176336.6193
75 | 2614052.5403 | 1176321.0995 | 2614052.3193 | 1176320.9063
76 | 2614054.2752 | 1176337.5503 | 2614042.4408 | 1176350.7771
77 | 2614038.8901 | 1176309.17 | 2614052.3193 | 1176320.9063
78 | 2614042.4408 | 1176350.7771 | 2614040.4998 | 1176352.9465
79 | 2614038.8901 | 1176309.17 | 2614032.5554 | 1176303.6338
80 | 2614170.4014 | 1176391.9499 | 2614167.0983 | 1176394.8271
81 | 2613986.0597 | 1176400.4377 | 2613991.609 | 1176396.1568
82 | 2613986.0597 | 1176400.4377 | 2613971.2256 | 1176411.881
83 | 2614004.6839 | 1176386.0706 | 2613991.609 | 1176396.1568
84 | 2613964.4753 | 1176417.0883 | 2613971.2256 | 1176411.881
85 | 2614007.5356 | 1176383.8707 | 2614004.6839 | 1176386.0706
86 | 2613952.962 | 1176425.9699 | 2613964.4753 | 1176417.0883
87 | 2614025.1002 | 1176370.049 | 2614015.9654 | 1176377.3648 | 2614007.5356 | 1176383.8707
88 | 2614007.5356 | 1176383.8707 | 2613989.742 | 1176374.5024
89 | 2614025.1002 | 1176370.049 | 2614021.433 | 1176366.2052 | 2614016.2527 | 1176362.28 | 2614012.1961 | 1176360.0725
90 | 2614025.1002 | 1176370.049 | 2614029.2773 | 1176365.0117 | 2614033.1382 | 1176361.1743 | 2614034.9263 | 1176359.1758
91 | 2614025.1002 | 1176370.049 | 2614029.007 | 1176386.7808
92 | 2613990.3659 | 1176372.425 | 2613989.742 | 1176374.5024
93 | 2614040.4998 | 1176352.9465 | 2614034.9263 | 1176359.1758
94 | 2614029.007 | 1176386.7808 | 2614032.1508 | 1176400.2448
95 | 2614012.1961 | 1176360.0725 | 2613998.4943 | 1176352.6165
96 | 2613979.1402 | 1176342.0846 | 2613998.4943 | 1176352.6165
97 | 2613979.1402 | 1176342.0846 | 2613963.3874 | 1176333.5124
98 | 2613907.7459 | 1176414.0678 | 2613909.0949 | 1176414.7034
99 | 2613907.7459 | 1176414.0678 | 2613898.7201 | 1176409.8153
100 | 2613888.004 | 1176404.7665 | 2613898.7201 | 1176409.8153
101 | 2613963.3874 | 1176333.5124 | 2613959.6387 | 1176331.4725
102 | 2613953.4928 | 1176328.1281 | 2613959.6387 | 1176331.4725
103 | 2613953.4928 | 1176328.1281 | 2613936.4257 | 1176318.4811
104 | 2613888.004 | 1176404.7665 | 2613884.7707 | 1176403.2431
105 | 2613877.4921 | 1176399.8138 | 2613884.7707 | 1176403.2431

## bus_geodata
| x | y | coords
0 | 2614180.8357 | 1176560.7451
1 | 2614186.0756 | 1176545.3277
2 | 2614180.7739 | 1176560.9268
3 | 2614187.1264 | 1176542.236
4 | 2614171.203 | 1176589.4803
5 | 2614189.6062 | 1176534.9399
6 | 2614141.6811 | 1176580.2751
7 | 2614200.0198 | 1176599.4894
8 | 2614194.4789 | 1176520.603
9 | 2614108.5594 | 1176568.7752
10 | 2614194.5246 | 1176520.4685
11 | 2614202.3582 | 1176492.063
12 | 2614253.8588 | 1176523.4057
13 | 2614202.9129 | 1176482.0427
14 | 2614088.0091 | 1176562.3269
15 | 2613938.4721 | 1176586.4735
16 | 2613944.6795 | 1176571.5014
17 | 2613938.138 | 1176587.2793
18 | 2613944.7319 | 1176571.3749
19 | 2613934.5169 | 1176596.0133
20 | 2613954.0434 | 1176548.9157
21 | 2613963.297 | 1176526.5962
22 | 2613869.6394 | 1176522.9376
23 | 2613882.3155 | 1176503.7308
24 | 2613922.0323 | 1176515.3459
25 | 2613904.5608 | 1176467.4383
26 | 2613922.1126 | 1176515.3679
27 | 2613925.3543 | 1176446.6819
28 | 2613922.7675 | 1176515.5464
29 | 2613945.3959 | 1176431.8066
30 | 2613939.6587 | 1176520.1516
31 | 2613923.5864 | 1176515.7697
32 | 2613958.4685 | 1176525.2798
33 | 2613988.7073 | 1176534.7644
34 | 2614148.4239 | 1176420.5552
35 | 2614144.3261 | 1176430.1712
36 | 2614150.0903 | 1176416.6447
37 | 2614140.1856 | 1176439.8876
38 | 2614150.2568 | 1176416.254
39 | 2614136.092 | 1176449.4937
40 | 2614152.3644 | 1176413.5726
41 | 2614135.3422 | 1176451.2532
42 | 2614161.2415 | 1176402.2785
43 | 2614130.6247 | 1176462.3236
44 | 2614121.7065 | 1176483.2514
45 | 2614120.3511 | 1176486.432
46 | 2614113.3908 | 1176502.7652
47 | 2614108.4969 | 1176514.2494
48 | 2614099.1619 | 1176536.1554
49 | 2614043.2716 | 1176447.8721
50 | 2614045.5688 | 1176457.7104
51 | 2614041.8372 | 1176441.729
52 | 2614052.9967 | 1176489.5219
53 | 2614037.8247 | 1176424.5444
54 | 2614054.2617 | 1176494.9396
55 | 2614035.3999 | 1176414.1596
56 | 2614055.2681 | 1176526.4878
57 | 2614033.6863 | 1176406.8209
58 | 2614052.0901 | 1176552.1268
59 | 2613999.2159 | 1176485.4614
60 | 2613984.5346 | 1176471.073
61 | 2613984.4739 | 1176471.0144
62 | 2614165.541 | 1176396.8084
63 | 2614167.0567 | 1176394.88
64 | 2614070.3119 | 1176319.7044
65 | 2614076.6804 | 1176312.6445
66 | 2614061.774 | 1176329.1692
67 | 2614084.6355 | 1176303.8257
68 | 2614055.1082 | 1176336.6193
69 | 2614052.5403 | 1176321.0995
70 | 2614084.8751 | 1176303.5602
71 | 2614054.2752 | 1176337.5503
72 | 2614052.3193 | 1176320.9063
73 | 2614042.4408 | 1176350.7772
74 | 2614038.8901 | 1176309.17
75 | 2614167.0983 | 1176394.8271
76 | 2614195.8786 | 1176430.4815
77 | 2613986.0597 | 1176400.4377
78 | 2613991.609 | 1176396.1568
79 | 2613971.2256 | 1176411.881
80 | 2614004.6839 | 1176386.0706
81 | 2613964.4753 | 1176417.0883
82 | 2614007.5356 | 1176383.8707
83 | 2613952.962 | 1176425.9699
84 | 2614025.1002 | 1176370.049
85 | 2613989.742 | 1176374.5024
86 | 2614170.4014 | 1176391.9499
87 | 2614040.4998 | 1176352.9465
88 | 2614034.9263 | 1176359.1758
89 | 2614032.1508 | 1176400.2448
90 | 2614029.007 | 1176386.7808
91 | 2614012.1961 | 1176360.0725
92 | 2613990.3659 | 1176372.425
93 | 2613998.4943 | 1176352.6165
94 | 2613955.6349 | 1176442.2363
95 | 2613979.1402 | 1176342.0846
96 | 2613909.0949 | 1176414.7034
97 | 2613907.7459 | 1176414.0678
98 | 2613898.7201 | 1176409.8153
99 | 2613963.3874 | 1176333.5124
100 | 2613959.6387 | 1176331.4725
101 | 2613953.4928 | 1176328.1281
102 | 2613936.4257 | 1176318.4811
103 | 2613888.004 | 1176404.7665
104 | 2613884.7707 | 1176403.2431
105 | 2613877.4921 | 1176399.8138
106 | 2614032.5554 | 1176303.6338
107 | 2614055.2681 | 1176526.4878

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1