## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2613-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2613-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2613-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2613-5_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2613-5_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2613-5_0_6_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_2613-5_0_6_node_40 | 0.4 | n |  | TRUE
7 | bus_LV_2613-5_0_6_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_2613-5_0_6_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_2613-5_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2613-5_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_2613-5_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2613-5_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_2613-5_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2613-5_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2613-5_0_6_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_2613-5_0_6_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_2613-5_0_6_node_71 | 0.4 | n |  | TRUE
18 | bus_LV_2613-5_0_6_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_2613-5_0_6_node_53 | 0.4 | n |  | TRUE
20 | bus_LV_2613-5_0_6_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_2613-5_0_6_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_2613-5_0_6_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_2613-5_0_6_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_2613-5_0_6_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_2613-5_0_6_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_2613-5_0_6_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_2613-5_0_6_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_2613-5_0_6_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_2613-5_0_6_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_2613-5_0_6_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_2613-5_0_6_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_2613-5_0_6_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_2613-5_0_6_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_2613-5_0_6_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_2613-5_0_6_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2613-5_0_6_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_2613-5_0_6_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_2613-5_0_6_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_2613-5_0_6_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_2613-5_0_6_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_2613-5_0_6_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_2613-5_0_6_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_2613-5_0_6_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_2613-5_0_6_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_2613-5_0_6_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_2613-5_0_6_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_2613-5_0_6_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_2613-5_0_6_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_2613-5_0_6_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_2613-5_0_6_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_2613-5_0_6_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_2613-5_0_6_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_2613-5_0_6_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_2613-5_0_6_node_30 | 0.4 | n |  | TRUE
55 | bus_LV_2613-5_0_6_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_2613-5_0_6_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_2613-5_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_2613-5_0_6_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_2613-5_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_2613-5_0_6_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_2613-5_0_6_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_2613-5_0_6_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_2613-5_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_2613-5_0_6_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_2613-5_0_6_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_2613-5_0_6_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_2613-5_0_6_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_2613-5_0_6_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_2613-5_0_6_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_2613-5_0_6_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_2613-5_0_6_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_2613-5_0_6_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_2613-5_0_6_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_2613-5_0_6_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_2613-5_0_6_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_2613-5_0_6_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_2613-5_0_6_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_2613-5_0_6_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_2613-5_0_6_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_2613-5_0_6_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_2613-5_0_6_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_2613-5_0_6_node_81 | 0.4 | n |  | TRUE
83 | bus_MV_294_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2613-5_0_6_load_0 | 0 | 0.0025564 | 0.00064068 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2613-5_0_6_load_1 | 1 | 0.00030969 | 7.7617e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2613-5_0_6_load_2 | 2 | 0.0022533 | 0.00056474 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2613-5_0_6_load_3 | 3 | 0.036426 | 0.0091291 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2613-5_0_6_load_4 | 4 | 0.00091184 | 0.00022853 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2613-5_0_6_load_11 | 5 | 0.032169 | 0.0080623 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2613-5_0_6_load_40 | 6 | 0.0060477 | 0.0015157 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2613-5_0_6_load_12 | 7 | 0.031569 | 0.0079118 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2613-5_0_6_load_39 | 8 | 0.0041504 | 0.0010402 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2613-5_0_6_load_5 | 9 | 0.0089853 | 0.0022519 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2613-5_0_6_load_6 | 10 | 0.016882 | 0.0042311 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2613-5_0_6_load_9 | 13 | 0.0017698 | 0.00044357 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2613-5_0_6_load_27 | 15 | 0.015692 | 0.0039329 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2613-5_0_6_load_25 | 16 | 0.0034159 | 0.0008561 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2613-5_0_6_load_46 | 18 | 0.0019806 | 0.00049637 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2613-5_0_6_load_53 | 19 | 0.0041732 | 0.0010459 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2613-5_0_6_load_75 | 20 | 0.029985 | 0.0075148 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2613-5_0_6_load_26 | 21 | 0.0012664 | 0.00031739 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2613-5_0_6_load_72 | 22 | 0.0067039 | 0.0016801 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2613-5_0_6_load_70 | 23 | 0.0018007 | 0.00045129 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2613-5_0_6_load_51 | 25 | 0.0015588 | 0.00039066 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2613-5_0_6_load_48 | 27 | 0.0020523 | 0.00051436 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2613-5_0_6_load_29 | 28 | 0.014643 | 0.0036699 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2613-5_0_6_load_13 | 29 | 0.01764 | 0.004421 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2613-5_0_6_load_14 | 30 | 0.026036 | 0.0065252 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2613-5_0_6_load_15 | 31 | 0.015002 | 0.0037599 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2613-5_0_6_load_41 | 33 | 0.026192 | 0.0065645 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2613-5_0_6_load_47 | 34 | 0.0073413 | 0.0018399 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2613-5_0_6_load_32 | 35 | 0.0058071 | 0.0014554 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2613-5_0_6_load_34 | 36 | 0.0018215 | 0.00045652 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2613-5_0_6_load_17 | 37 | 0.0046154 | 0.0011567 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2613-5_0_6_load_18 | 38 | 0.00088264 | 0.00022121 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2613-5_0_6_load_19 | 39 | 0.010765 | 0.0026979 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2613-5_0_6_load_79 | 40 | 0.011352 | 0.002845 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2613-5_0_6_load_33 | 41 | 0.050561 | 0.012672 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2613-5_0_6_load_20 | 42 | 0.00045923 | 0.00011509 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2613-5_0_6_load_21 | 43 | 0.00047538 | 0.00011914 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2613-5_0_6_load_22 | 44 | 0.00047757 | 0.00011969 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2613-5_0_6_load_24 | 46 | 0.0015048 | 0.00037715 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2613-5_0_6_load_58 | 49 | 0.00049189 | 0.00012328 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2613-5_0_6_load_85 | 50 | 0.0018256 | 0.00045755 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2613-5_0_6_load_82 | 51 | 0.00053294 | 0.00013357 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2613-5_0_6_load_76 | 52 | 0.022884 | 0.0057352 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2613-5_0_6_load_28 | 53 | 0.048103 | 0.012056 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2613-5_0_6_load_63 | 55 | 0.0016807 | 0.00042123 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2613-5_0_6_load_36 | 56 | 0.00015003 | 3.76e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2613-5_0_6_load_37 | 57 | 0.00013638 | 3.418e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2613-5_0_6_load_38 | 58 | 0.0070054 | 0.0017557 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2613-5_0_6_load_42 | 59 | 0.002129 | 0.00053357 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2613-5_0_6_load_43 | 60 | 0.0039493 | 0.00098978 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2613-5_0_6_load_64 | 61 | 0.018397 | 0.0046107 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2613-5_0_6_load_49 | 62 | 0.0025607 | 0.00064177 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2613-5_0_6_load_50 | 63 | 0.0014274 | 0.00035774 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2613-5_0_6_load_52 | 64 | 0.0010114 | 0.00025349 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2613-5_0_6_load_83 | 65 | 0.0067422 | 0.0016897 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2613-5_0_6_load_62 | 66 | 0.0054224 | 0.001359 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2613-5_0_6_load_54 | 67 | 0.0039736 | 0.00099589 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2613-5_0_6_load_59 | 70 | 0.0013609 | 0.00034106 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2613-5_0_6_load_61 | 72 | 0.0010653 | 0.00026699 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2613-5_0_6_load_73 | 73 | 0.033932 | 0.0085043 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2613-5_0_6_load_74 | 74 | 0.0029109 | 0.00072955 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2613-5_0_6_load_65 | 75 | 0.0014757 | 0.00036983 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2613-5_0_6_load_66 | 76 | 0.0017945 | 0.00044973 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2613-5_0_6_load_67 | 77 | 0.0011088 | 0.0002779 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2613-5_0_6_load_68 | 78 | 0.0038889 | 0.00097465 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2613-5_0_6_load_69 | 79 | 0.0019376 | 0.00048561 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2613-5_0_6_load_77 | 80 | 0.0017598 | 0.00044104 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2613-5_0_6_load_80 | 81 | 0.00049688 | 0.00012453 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2613-5_0_6_load_81 | 82 | 0.00049905 | 0.00012507 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2613-5_0_6_line_0 |  | 0 | 1 | 0.003254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2613-5_0_6_line_1 |  | 0 | 2 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2613-5_0_6_line_2 |  | 1 | 3 | 0.086607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2613-5_0_6_line_3 |  | 2 | 4 | 0.017092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2613-5_0_6_line_4 |  | 3 | 5 | 0.028156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2613-5_0_6_line_5 |  | 4 | 6 | 0.01341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2613-5_0_6_line_6 |  | 5 | 7 | 0.00080878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2613-5_0_6_line_7 |  | 6 | 8 | 0.039591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2613-5_0_6_line_8 |  | 7 | 26 | 0.028748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2613-5_0_6_line_9 |  | 8 | 58 | 0.10059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2613-5_0_6_line_10 |  | 9 | 10 | 0.0045069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2613-5_0_6_line_11 |  | 9 | 11 | 0.034526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2613-5_0_6_line_12 |  | 10 | 12 | 0.075465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2613-5_0_6_line_13 |  | 11 | 13 | 0.025161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2613-5_0_6_line_14 |  | 11 | 14 | 0.032984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2613-5_0_6_line_15 |  | 12 | 15 | 0.0076266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2613-5_0_6_line_16 |  | 12 | 16 | 0.014986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2613-5_0_6_line_17 |  | 13 | 17 | 0.057549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2613-5_0_6_line_18 |  | 14 | 18 | 0.010304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2613-5_0_6_line_19 |  | 14 | 19 | 0.023856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2613-5_0_6_line_20 |  | 15 | 20 | 0.0020128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2613-5_0_6_line_21 |  | 16 | 21 | 0.011868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2613-5_0_6_line_22 |  | 17 | 22 | 0.037499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2613-5_0_6_line_23 |  | 17 | 23 | 0.016668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2613-5_0_6_line_24 |  | 18 | 24 | 0.013908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2613-5_0_6_line_25 |  | 19 | 25 | 0.001068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_2613-5_0_6_line_26 |  | 20 | 52 | 0.0020669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2613-5_0_6_line_27 |  | 22 | 69 | 0.052056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2613-5_0_6_line_28 |  | 23 | 79 | 0.0009412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2613-5_0_6_line_29 |  | 24 | 59 | 0.014439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2613-5_0_6_line_30 |  | 25 | 62 | 0.017706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_2613-5_0_6_line_31 |  | 26 | 27 | 0.0021023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_2613-5_0_6_line_32 |  | 26 | 28 | 0.045465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_2613-5_0_6_line_33 |  | 27 | 55 | 0.0068849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_2613-5_0_6_line_34 |  | 28 | 53 | 0.041667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_2613-5_0_6_line_35 |  | 29 | 30 | 0.018781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2613-5_0_6_line_36 |  | 29 | 31 | 0.025857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2613-5_0_6_line_37 |  | 30 | 32 | 0.02944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2613-5_0_6_line_38 |  | 32 | 33 | 0.072861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2613-5_0_6_line_39 |  | 32 | 34 | 0.019043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2613-5_0_6_line_40 |  | 33 | 35 | 0.0018641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2613-5_0_6_line_41 |  | 34 | 36 | 0.053506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2613-5_0_6_line_42 |  | 35 | 54 | 0.0019097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2613-5_0_6_line_43 |  | 36 | 45 | 0.027763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2613-5_0_6_line_44 |  | 37 | 38 | 0.031369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2613-5_0_6_line_45 |  | 38 | 39 | 0.068856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2613-5_0_6_line_46 |  | 39 | 40 | 0.00081827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2613-5_0_6_line_47 |  | 40 | 41 | 0.0076465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2613-5_0_6_line_48 |  | 41 | 54 | 0.052393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2613-5_0_6_line_49 |  | 42 | 43 | 0.0084017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2613-5_0_6_line_50 |  | 42 | 44 | 0.0075978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2613-5_0_6_line_51 |  | 43 | 45 | 0.048481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2613-5_0_6_line_52 |  | 44 | 46 | 0.014008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2613-5_0_6_line_53 |  | 45 | 47 | 0.052487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2613-5_0_6_line_54 |  | 46 | 48 | 0.012132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2613-5_0_6_line_55 |  | 47 | 49 | 0.062393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2613-5_0_6_line_56 |  | 48 | 50 | 0.01905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2613-5_0_6_line_57 |  | 48 | 51 | 0.0017742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2613-5_0_6_line_58 |  | 51 | 82 | 0.010011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2613-5_0_6_line_59 |  | 52 | 80 | 0.032958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2613-5_0_6_line_60 |  | 53 | 54 | 0.02729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_2613-5_0_6_line_61 |  | 55 | 61 | 0.0005483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_2613-5_0_6_line_62 |  | 56 | 57 | 0.0277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2613-5_0_6_line_63 |  | 56 | 58 | 0.10085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2613-5_0_6_line_64 |  | 59 | 60 | 0.017326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2613-5_0_6_line_65 |  | 61 | 74 | 0.0089897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_2613-5_0_6_line_66 |  | 62 | 63 | 0.0044662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_2613-5_0_6_line_67 |  | 63 | 64 | 0.011212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_2613-5_0_6_line_68 |  | 64 | 65 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_2613-5_0_6_line_69 |  | 65 | 66 | 0.0069185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_2613-5_0_6_line_70 |  | 66 | 71 | 0.031486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_2613-5_0_6_line_71 |  | 67 | 68 | 0.0045389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2613-5_0_6_line_72 |  | 68 | 69 | 0.068346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_2613-5_0_6_line_73 |  | 70 | 71 | 0.059173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2613-5_0_6_line_74 |  | 71 | 72 | 0.050269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_2613-5_0_6_line_75 |  | 72 | 73 | 0.0048314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_2613-5_0_6_line_76 |  | 73 | 74 | 0.0082781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_2613-5_0_6_line_77 |  | 75 | 76 | 0.028727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2613-5_0_6_line_78 |  | 75 | 77 | 0.00049441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2613-5_0_6_line_79 |  | 76 | 78 | 0.0029696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2613-5_0_6_line_80 |  | 77 | 79 | 0.0277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2613-5_0_6_line_81 |  | 81 | 82 | 0.0088651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2613-5_0_6_trafo_29 | 0.63 MVA 20/0.4 kV | 83 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2607791.9906 | 1250508.109 | 2607792.0423 | 1250504.8553
1 | 2607791.9906 | 1250508.109 | 2607791.7067 | 1250525.9598
2 | 2607792.0423 | 1250504.8553 | 2607792.7121 | 1250462.7378 | 2607792.8436 | 1250460.3476 | 2607793.5794 | 1250457.5134 | 2607794.5867 | 1250454.9686 | 2607795.661 | 1250453.1021 | 2607798.0736 | 1250449.4251 | 2607802.4434 | 1250444.1718 | 2607808.3939 | 1250436.5413 | 2607813.8894 | 1250430.489 | 2607816.1264 | 1250428.4351 | 2607818.0363 | 1250427.443
3 | 2607791.1279 | 1250543.0323 | 2607791.1279 | 1250543.0323 | 2607791.4952 | 1250539.2636 | 2607791.7067 | 1250525.9598
4 | 2607818.0363 | 1250427.443 | 2607818.838 | 1250427.0266 | 2607824.4184 | 1250425.3662 | 2607845.3573 | 1250420.8047
5 | 2607779.5427 | 1250547.9203 | 2607779.5427 | 1250547.9203 | 2607785.3028 | 1250547.2274 | 2607787.9455 | 1250546.5748 | 2607789.7436 | 1250545.3875 | 2607791.1279 | 1250543.0323
6 | 2607845.3573 | 1250420.8047 | 2607846.1475 | 1250420.6325
7 | 2607779.5427 | 1250547.9203 | 2607769.0954 | 1250548.4182 | 2607758.6557 | 1250548.9161 | 2607739.9966 | 1250549.7965
8 | 2607874.2364 | 1250414.5134 | 2607846.1475 | 1250420.6325
9 | 2607707.568 | 1250472.5313 | 2607708.6351 | 1250501.4762 | 2607711.594 | 1250536.4916 | 2607713.4135 | 1250542.0753 | 2607715.3639 | 1250545.569 | 2607716.6447 | 1250547.4719 | 2607718.4917 | 1250549.2421 | 2607720.6116 | 1250550.1231 | 2607722.6489 | 1250550.615 | 2607739.9966 | 1250549.7965
10 | 2607998.2173 | 1250389.1218 | 2607997.4955 | 1250384.6731
11 | 2608003.7461 | 1250423.2022 | 2607998.2173 | 1250389.1218
12 | 2607985.4115 | 1250310.1823 | 2607986.5944 | 1250317.4774 | 2607997.4955 | 1250384.6731
13 | 2608003.7461 | 1250423.2022 | 2608026.5111 | 1250412.4853
14 | 2608006.6015 | 1250455.3824 | 2608008.6166 | 1250450.015 | 2608003.7461 | 1250423.2022
15 | 2607985.4115 | 1250310.1823 | 2607984.148 | 1250302.661
16 | 2607985.4115 | 1250310.1823 | 2607997.8532 | 1250308.7535 | 2608000.213 | 1250308.0493
17 | 2608078.9511 | 1250388.7811 | 2608032.2892 | 1250409.7651 | 2608026.5111 | 1250412.4853
18 | 2608006.6015 | 1250455.3824 | 2608013.4072 | 1250463.1188
19 | 2608006.6015 | 1250455.3824 | 2608002.8011 | 1250458.1347 | 2607984.6243 | 1250464.2067
20 | 2607984.148 | 1250302.661 | 2607983.8145 | 1250300.676
21 | 2608011.5859 | 1250304.6554 | 2608000.213 | 1250308.0493
22 | 2608078.9511 | 1250388.7811 | 2608113.3663 | 1250373.8882
23 | 2608078.9511 | 1250388.7811 | 2608085.3094 | 1250404.1885
24 | 2608015.457 | 1250476.8749 | 2608013.4072 | 1250463.1188
25 | 2607983.6113 | 1250464.5451 | 2607984.6243 | 1250464.2067
26 | 2607983.4721 | 1250298.6377 | 2607983.8145 | 1250300.676
27 | 2608161.1408 | 1250353.2142 | 2608113.3663 | 1250373.8882
28 | 2608085.6684 | 1250405.0586 | 2608085.3094 | 1250404.1885
29 | 2608015.457 | 1250476.8749 | 2608022.5736 | 1250477.9296 | 2608029.1669 | 1250480.9312
30 | 2607966.8173 | 1250470.1552 | 2607983.6113 | 1250464.5451
31 | 2607874.2364 | 1250414.5134 | 2607875.1008 | 1250416.4298
32 | 2607874.2364 | 1250414.5134 | 2607866.9332 | 1250394.6131 | 2607861.2422 | 1250377.0498 | 2607859.4279 | 1250371.5358
33 | 2607875.1008 | 1250416.4298 | 2607877.9317 | 1250422.7058
34 | 2607859.4279 | 1250371.5358 | 2607855.2802 | 1250358.9303 | 2607854.3648 | 1250354.7486 | 2607849.2008 | 1250331.192
35 | 2607879.4224 | 1250219.1642 | 2607861.0335 | 1250222.984
36 | 2607904.7392 | 1250213.9054 | 2607879.4224 | 1250219.1642
37 | 2607832.2091 | 1250228.9714 | 2607861.0335 | 1250222.984
38 | 2607832.2091 | 1250228.9714 | 2607832.6542 | 1250246.4166 | 2607833.1361 | 1250253.1216 | 2607833.7558 | 1250258.2924 | 2607835.6278 | 1250269.8801 | 2607840.8561 | 1250295.0144 | 2607842.3984 | 1250300.885
39 | 2607832.2091 | 1250228.9714 | 2607833.9641 | 1250210.009
40 | 2607842.872 | 1250302.6879 | 2607842.3984 | 1250300.885
41 | 2607837.4894 | 1250156.72 | 2607837.9209 | 1250161.8354 | 2607837.431 | 1250178.5122 | 2607834.5828 | 1250203.3246 | 2607833.9641 | 1250210.009
42 | 2607843.3572 | 1250304.5349 | 2607842.872 | 1250302.6879
43 | 2607835.1558 | 1250129.055 | 2607837.4894 | 1250156.72
44 | 2607763.6796 | 1250213.9754 | 2607758.9618 | 1250202.8256 | 2607750.1955 | 1250185.6737
45 | 2607763.6796 | 1250213.9754 | 2607769.8586 | 1250228.5787 | 2607795.2675 | 1250275.09
46 | 2607795.6598 | 1250275.8081 | 2607795.2675 | 1250275.09
47 | 2607799.3257 | 1250282.5186 | 2607795.6598 | 1250275.8081
48 | 2607843.3572 | 1250304.5349 | 2607833.2044 | 1250304.6773 | 2607817.8939 | 1250300.6101 | 2607806.8072 | 1250293.2798 | 2607799.3257 | 1250282.5186
49 | 2607779.1787 | 1250139.1628 | 2607787.4467 | 1250137.6699
50 | 2607771.7018 | 1250140.513 | 2607771.7018 | 1250140.513 | 2607779.1787 | 1250139.1628
51 | 2607835.1558 | 1250129.055 | 2607787.4467 | 1250137.6699
52 | 2607770.3702 | 1250153.5248 | 2607769.3457 | 1250147.0475 | 2607769.5099 | 1250142.6893 | 2607771.7018 | 1250140.513
53 | 2607829.4419 | 1250076.8805 | 2607830.6063 | 1250086.9107 | 2607835.1558 | 1250129.055
54 | 2607772.2656 | 1250165.5076 | 2607770.3702 | 1250153.5248
55 | 2607829.4419 | 1250076.8805 | 2607767.8269 | 1250086.704
56 | 2607791.0512 | 1250162.0298 | 2607772.2656 | 1250165.5076
57 | 2607772.2656 | 1250165.5076 | 2607770.521 | 1250165.8301
58 | 2607760.6771 | 1250167.6498 | 2607770.521 | 1250165.8301
59 | 2607983.4721 | 1250298.6377 | 2607978.0118 | 1250266.1351
60 | 2607843.3572 | 1250304.5349 | 2607849.2008 | 1250331.192
61 | 2607877.9317 | 1250422.7058 | 2607878.1572 | 1250423.2056
62 | 2607693.749 | 1250372.9156 | 2607688.1832 | 1250345.7801
63 | 2607693.749 | 1250372.9156 | 2607695.6998 | 1250382.4268 | 2607704.8185 | 1250429.0021 | 2607706.2493 | 1250437.5205 | 2607706.799 | 1250444.359 | 2607706.8427 | 1250451.4748 | 2607707.1983 | 1250462.5046 | 2607707.568 | 1250472.5313
64 | 2608029.1669 | 1250480.9312 | 2608033.2779 | 1250482.8027 | 2608042.2508 | 1250491.9439
65 | 2607881.8536 | 1250431.4002 | 2607878.1572 | 1250423.2056
66 | 2607966.8173 | 1250470.1552 | 2607962.5812 | 1250471.5703
67 | 2607962.5812 | 1250471.5703 | 2607951.947 | 1250475.1226
68 | 2607951.947 | 1250475.1226 | 2607939.3623 | 1250479.3266
69 | 2607932.8003 | 1250481.5187 | 2607939.3623 | 1250479.3266
70 | 2607902.8037 | 1250490.934 | 2607914.1071 | 1250488.136 | 2607918.0344 | 1250486.4512 | 2607932.8003 | 1250481.5187
71 | 2608181.0167 | 1250418.6171 | 2608182.1301 | 1250423.0173
72 | 2608181.0167 | 1250418.6171 | 2608161.1408 | 1250353.2142
73 | 2607902.8037 | 1250490.934 | 2607903.927 | 1250509.1139 | 2607903.7743 | 1250510.459 | 2607902.2236 | 1250524.3549 | 2607896.3218 | 1250549.2883
74 | 2607902.8037 | 1250490.934 | 2607899.805 | 1250475.4089 | 2607892.3822 | 1250454.7412 | 2607887.2439 | 1250443.3501
75 | 2607885.2573 | 1250438.946 | 2607887.2439 | 1250443.3501
76 | 2607885.2573 | 1250438.946 | 2607881.8536 | 1250431.4002
77 | 2608096.4239 | 1250431.1213 | 2608107.3822 | 1250457.6757
78 | 2608096.4239 | 1250431.1213 | 2608096.2353 | 1250430.6643
79 | 2608107.3822 | 1250457.6757 | 2608108.515 | 1250460.4207
80 | 2608085.6684 | 1250405.0586 | 2608096.2353 | 1250430.6643
81 | 2607751.9596 | 1250169.2612 | 2607760.6771 | 1250167.6498

## bus_geodata
| x | y | coords
0 | 2607791.9906 | 1250508.109
1 | 2607792.0423 | 1250504.8553
2 | 2607791.7067 | 1250525.9598
3 | 2607818.0363 | 1250427.443
4 | 2607791.1279 | 1250543.0323
5 | 2607845.3573 | 1250420.8047
6 | 2607779.5427 | 1250547.9203
7 | 2607846.1475 | 1250420.6325
8 | 2607739.9966 | 1250549.7965
9 | 2607998.2173 | 1250389.1218
10 | 2607997.4955 | 1250384.6731
11 | 2608003.7461 | 1250423.2022
12 | 2607985.4115 | 1250310.1823
13 | 2608026.5111 | 1250412.4853
14 | 2608006.6015 | 1250455.3824
15 | 2607984.148 | 1250302.661
16 | 2608000.213 | 1250308.0493
17 | 2608078.9511 | 1250388.7811
18 | 2608013.4072 | 1250463.1188
19 | 2607984.6243 | 1250464.2067
20 | 2607983.8145 | 1250300.676
21 | 2608011.5859 | 1250304.6554
22 | 2608113.3663 | 1250373.8882
23 | 2608085.3094 | 1250404.1885
24 | 2608015.457 | 1250476.8749
25 | 2607983.6113 | 1250464.5451
26 | 2607874.2364 | 1250414.5134
27 | 2607875.1008 | 1250416.4298
28 | 2607859.4279 | 1250371.5358
29 | 2607879.4224 | 1250219.1642
30 | 2607861.0335 | 1250222.984
31 | 2607904.7392 | 1250213.9054
32 | 2607832.2091 | 1250228.9714
33 | 2607842.3984 | 1250300.885
34 | 2607833.9641 | 1250210.009
35 | 2607842.872 | 1250302.6879
36 | 2607837.4894 | 1250156.72
37 | 2607750.1955 | 1250185.6737
38 | 2607763.6796 | 1250213.9754
39 | 2607795.2675 | 1250275.09
40 | 2607795.6598 | 1250275.8082
41 | 2607799.3257 | 1250282.5186
42 | 2607779.1787 | 1250139.1628
43 | 2607787.4467 | 1250137.6699
44 | 2607771.7018 | 1250140.513
45 | 2607835.1558 | 1250129.055
46 | 2607770.3702 | 1250153.5248
47 | 2607829.4419 | 1250076.8805
48 | 2607772.2656 | 1250165.5076
49 | 2607767.8269 | 1250086.704
50 | 2607791.0512 | 1250162.0298
51 | 2607770.521 | 1250165.8301
52 | 2607983.4721 | 1250298.6377
53 | 2607849.2008 | 1250331.192
54 | 2607843.3572 | 1250304.5349
55 | 2607877.9317 | 1250422.7058
56 | 2607693.749 | 1250372.9156
57 | 2607688.1832 | 1250345.7801
58 | 2607707.568 | 1250472.5313
59 | 2608029.1669 | 1250480.9312
60 | 2608042.2508 | 1250491.9439
61 | 2607878.1572 | 1250423.2056
62 | 2607966.8173 | 1250470.1552
63 | 2607962.5812 | 1250471.5703
64 | 2607951.947 | 1250475.1226
65 | 2607939.3623 | 1250479.3266
66 | 2607932.8003 | 1250481.5187
67 | 2608182.1301 | 1250423.0173
68 | 2608181.0167 | 1250418.6171
69 | 2608161.1408 | 1250353.2142
70 | 2607896.3218 | 1250549.2883
71 | 2607902.8037 | 1250490.934
72 | 2607887.2439 | 1250443.3501
73 | 2607885.2573 | 1250438.946
74 | 2607881.8536 | 1250431.4002
75 | 2608096.4239 | 1250431.1213
76 | 2608107.3822 | 1250457.6757
77 | 2608096.2353 | 1250430.6643
78 | 2608108.515 | 1250460.4207
79 | 2608085.6684 | 1250405.0586
80 | 2607978.0118 | 1250266.1351
81 | 2607751.9596 | 1250169.2612
82 | 2607760.6771 | 1250167.6498
83 | 2607855.7954 | 1250360.4962

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98842 | -0.22231 | 0.0025564 | 0.00064068
1 | 0.98849 | -0.22096 | 0.00030969 | 7.7617e-05
2 | 0.98808 | -0.22889 | 0.0022533 | 0.00056474
3 | 0.99036 | -0.18467 | 0.036426 | 0.0091291
4 | 0.98779 | -0.23451 | 0.00091184 | 0.00022853
5 | 0.9919 | -0.15472 | 0.032169 | 0.0080623
6 | 0.98757 | -0.2387 | 0.0060477 | 0.0015157
7 | 0.99197 | -0.1534 | 0.031569 | 0.0079118
8 | 0.98716 | -0.24681 | 0.0041504 | 0.0010402
9 | 0.97643 | -0.45253 | 0.0089853 | 0.0022519
10 | 0.97604 | -0.4601 | 0.016882 | 0.0042311
11 | 0.97968 | -0.38907 | 0 | 0
12 | 0.97075 | -0.56422 | 0 | 0
13 | 0.97911 | -0.40025 | 0.0017698 | 0.00044357
14 | 0.98354 | -0.31428 | 0 | 0
15 | 0.97025 | -0.57415 | 0.015692 | 0.0039329
16 | 0.97069 | -0.56552 | 0.0034159 | 0.0008561
17 | 0.9779 | -0.42402 | 0 | 0
18 | 0.98346 | -0.31578 | 0.0019806 | 0.00049637
19 | 0.9865 | -0.25712 | 0.0041732 | 0.0010459
20 | 0.97015 | -0.57618 | 0.029985 | 0.0075148
21 | 0.97067 | -0.5658 | 0.0012664 | 0.00031739
22 | 0.97753 | -0.43133 | 0.0067039 | 0.0016801
23 | 0.97771 | -0.42767 | 0.0018007 | 0.00045129
24 | 0.98338 | -0.3173 | 0 | 0
25 | 0.98657 | -0.2558 | 0.0015588 | 0.00039066
26 | 0.99523 | -0.090616 | 0 | 0
27 | 0.99509 | -0.093301 | 0.0020523 | 0.00051436
28 | 1 | 0 | -0.5827 | -0.14824
29 | 0.98723 | -0.24585 | 0.01764 | 0.004421
30 | 0.98779 | -0.23489 | 0.026036 | 0.0065252
31 | 0.98687 | -0.25279 | 0.015002 | 0.0037599
32 | 0.98938 | -0.20408 | 0 | 0
33 | 0.99437 | -0.10776 | 0.026192 | 0.0065645
34 | 0.9891 | -0.20949 | 0.0073413 | 0.0018399
35 | 0.99454 | -0.10445 | 0.0058071 | 0.0014554
36 | 0.98868 | -0.21768 | 0.0018215 | 0.00045652
37 | 0.9903 | -0.18657 | 0.0046154 | 0.0011567
38 | 0.99043 | -0.184 | 0.00088264 | 0.00022121
39 | 0.99078 | -0.17727 | 0.010765 | 0.0026979
40 | 0.99079 | -0.17704 | 0.011352 | 0.002845
41 | 0.99098 | -0.17329 | 0.050561 | 0.012672
42 | 0.98819 | -0.22734 | 0.00045923 | 0.00011509
43 | 0.98823 | -0.22647 | 0.00047538 | 0.00011914
44 | 0.98815 | -0.22806 | 0.00047757 | 0.00011969
45 | 0.98851 | -0.22104 | 0 | 0
46 | 0.98809 | -0.22927 | 0.0015048 | 0.00037715
47 | 0.98849 | -0.2215 | 0 | 0
48 | 0.98805 | -0.23 | 0 | 0
49 | 0.98846 | -0.22205 | 0.00049189 | 0.00012328
50 | 0.98802 | -0.23062 | 0.0018256 | 0.00045755
51 | 0.98805 | -0.23005 | 0.00053294 | 0.00013357
52 | 0.9701 | -0.57713 | 0.022884 | 0.0057352
53 | 0.99704 | -0.056549 | 0.048103 | 0.012056
54 | 0.99473 | -0.10086 | 0 | 0
55 | 0.99463 | -0.10202 | 0.0016807 | 0.00042123
56 | 0.98646 | -0.26047 | 0.00015003 | 3.76e-05
57 | 0.98645 | -0.26053 | 0.00013638 | 3.418e-05
58 | 0.98648 | -0.25995 | 0.0070054 | 0.0017557
59 | 0.9833 | -0.31889 | 0.002129 | 0.00053357
60 | 0.98324 | -0.32012 | 0.0039493 | 0.00098978
61 | 0.99459 | -0.10271 | 0.018397 | 0.0046107
62 | 0.98772 | -0.23377 | 0.0025607 | 0.00064177
63 | 0.98792 | -0.23 | 0.0014274 | 0.00035774
64 | 0.98842 | -0.22045 | 0.0010114 | 0.00025349
65 | 0.98901 | -0.20909 | 0.0067422 | 0.0016897
66 | 0.98933 | -0.20289 | 0.0054224 | 0.001359
67 | 0.97707 | -0.44039 | 0.0039736 | 0.00099589
68 | 0.97708 | -0.44006 | 0 | 0
69 | 0.97734 | -0.4351 | 0 | 0
70 | 0.99079 | -0.17515 | 0.0013609 | 0.00034106
71 | 0.99086 | -0.17372 | 0 | 0
72 | 0.99332 | -0.12694 | 0.0010653 | 0.00026699
73 | 0.99356 | -0.12242 | 0.033932 | 0.0085043
74 | 0.99405 | -0.11304 | 0.0029109 | 0.00072955
75 | 0.97749 | -0.43209 | 0.0014757 | 0.00036983
76 | 0.97734 | -0.43507 | 0.0017945 | 0.00044973
77 | 0.97749 | -0.43203 | 0.0011088 | 0.0002779
78 | 0.97733 | -0.43528 | 0.0038889 | 0.00097465
79 | 0.9777 | -0.42785 | 0.0019376 | 0.00048561
80 | 0.97005 | -0.5782 | 0.0017598 | 0.00044104
81 | 0.98803 | -0.23031 | 0.00049688 | 0.00012453
82 | 0.98804 | -0.23023 | 0.00049905 | 0.00012507
83 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023235 | -0.0058286 | 0.023237 | 0.0058295 | 1.4933e-06 | 9.1397e-07 | 0.034982 | 0.034982 | 0.034982 | 0.98842 | -0.22231 | 0.98849 | -0.22096 | 9.6104
1 | 0.020679 | 0.0051879 | -0.020673 | -0.005184 | 6.4892e-06 | 3.9244e-06 | 0.031133 | 0.031133 | 0.031133 | 0.98842 | -0.22231 | 0.98808 | -0.22889 | 8.5531
2 | -0.023547 | -0.0059071 | 0.023587 | 0.0059321 | 4.0809e-05 | 2.5006e-05 | 0.035448 | 0.035447 | 0.035448 | 0.98849 | -0.22096 | 0.99036 | -0.18467 | 9.7384
3 | 0.018419 | 0.0046193 | -0.018414 | -0.0046163 | 4.9321e-06 | 2.9377e-06 | 0.02774 | 0.02774 | 0.02774 | 0.98808 | -0.22889 | 0.98779 | -0.23451 | 7.6209
4 | -0.060013 | -0.015061 | 0.060099 | 0.015116 | 8.5859e-05 | 5.4587e-05 | 0.090177 | 0.090177 | 0.090177 | 0.99036 | -0.18467 | 0.9919 | -0.15472 | 24.7739
5 | 0.017502 | 0.0043878 | -0.017499 | -0.0043857 | 3.496e-06 | 2.0658e-06 | 0.026366 | 0.026366 | 0.026366 | 0.98779 | -0.23451 | 0.98757 | -0.2387 | 7.2435
6 | -0.092268 | -0.023178 | 0.092274 | 0.023182 | 5.8124e-06 | 3.7095e-06 | 0.13844 | 0.13844 | 0.13844 | 0.9919 | -0.15472 | 0.99197 | -0.1534 | 38.0317
7 | 0.011451 | 0.00287 | -0.011447 | -0.0028677 | 4.4199e-06 | 2.3224e-06 | 0.017254 | 0.017254 | 0.017254 | 0.98757 | -0.2387 | 0.98716 | -0.24681 | 4.7402
8 | -0.12384 | -0.031094 | 0.12421 | 0.031331 | 0.00037212 | 0.00023778 | 0.18579 | 0.18579 | 0.18579 | 0.99197 | -0.1534 | 0.99523 | -0.090616 | 51.0412
9 | 0.0072964 | 0.0018275 | -0.0072919 | -0.0018259 | 4.5628e-06 | 1.6351e-06 | 0.010998 | 0.010998 | 0.010998 | 0.98716 | -0.24681 | 0.98648 | -0.25995 | 3.0216
10 | 0.092333 | 0.023313 | -0.092299 | -0.023292 | 3.3492e-05 | 2.1378e-05 | 0.14077 | 0.14077 | 0.14077 | 0.97643 | -0.45253 | 0.97604 | -0.4601 | 38.6736
11 | -0.10132 | -0.025565 | 0.10163 | 0.025763 | 0.00030891 | 0.00019727 | 0.15446 | 0.15446 | 0.15446 | 0.97643 | -0.45253 | 0.97968 | -0.38907 | 42.4354
12 | 0.075417 | 0.019061 | -0.075043 | -0.018822 | 0.00037448 | 0.00023873 | 0.11503 | 0.11503 | 0.11503 | 0.97604 | -0.4601 | 0.97075 | -0.56422 | 31.6029
13 | 0.024502 | 0.0061559 | -0.024489 | -0.0061478 | 1.3072e-05 | 8.0497e-06 | 0.037222 | 0.037222 | 0.037222 | 0.97968 | -0.38907 | 0.97911 | -0.40025 | 10.2257
14 | -0.12613 | -0.031918 | 0.12658 | 0.032209 | 0.00045448 | 0.00029045 | 0.19169 | 0.19169 | 0.19169 | 0.97968 | -0.38907 | 0.98354 | -0.31428 | 52.661
15 | 0.07036 | 0.017649 | -0.070327 | -0.017628 | 3.3271e-05 | 2.1199e-05 | 0.10786 | 0.10786 | 0.10786 | 0.97075 | -0.56422 | 0.97025 | -0.57415 | 29.6311
16 | 0.0046826 | 0.0011734 | -0.0046823 | -0.0011734 | 2.8952e-07 | 3.3254e-11 | 0.0071776 | 0.0071777 | 0.0071777 | 0.97075 | -0.56422 | 0.97069 | -0.56552 | 1.9719
17 | 0.022719 | 0.0057043 | -0.022694 | -0.0056885 | 2.5735e-05 | 1.5747e-05 | 0.034532 | 0.034532 | 0.034532 | 0.97911 | -0.40025 | 0.9779 | -0.42402 | 9.4868
18 | 0.0080605 | 0.0020201 | -0.0080599 | -0.0020199 | 5.7463e-07 | 2.3701e-07 | 0.012195 | 0.012195 | 0.012195 | 0.98354 | -0.31428 | 0.98346 | -0.31578 | 3.3503
19 | -0.13464 | -0.034229 | 0.13502 | 0.034467 | 0.00037187 | 0.00023769 | 0.20388 | 0.20388 | 0.20388 | 0.98354 | -0.31428 | 0.9865 | -0.25712 | 56.0112
20 | 0.054635 | 0.013695 | -0.054629 | -0.013691 | 5.2994e-06 | 3.3667e-06 | 0.083791 | 0.083791 | 0.083791 | 0.97025 | -0.57415 | 0.97015 | -0.57618 | 23.0194
21 | 0.0012664 | 0.00031726 | -0.0012664 | -0.00031739 | 1.6774e-08 | -1.3597e-07 | 0.0019413 | 0.0019414 | 0.0019414 | 0.97069 | -0.56552 | 0.97067 | -0.5658 | 0.53334
22 | 0.010683 | 0.0026775 | -0.010679 | -0.0026756 | 3.7159e-06 | 1.9079e-06 | 0.016256 | 0.016256 | 0.016256 | 0.9779 | -0.42402 | 0.97753 | -0.43133 | 4.4659
23 | 0.012011 | 0.003011 | -0.012009 | -0.0030099 | 2.0878e-06 | 1.1271e-06 | 0.018276 | 0.018277 | 0.018277 | 0.9779 | -0.42402 | 0.97771 | -0.42767 | 5.021
24 | 0.0060794 | 0.0015235 | -0.0060789 | -0.0015234 | 4.4128e-07 | 1.0596e-07 | 0.0091983 | 0.0091984 | 0.0091984 | 0.98346 | -0.31578 | 0.98338 | -0.3173 | 2.527
25 | -0.13919 | -0.035513 | 0.1392 | 0.035518 | 8.8461e-06 | 5.6342e-06 | 0.21018 | 0.21018 | 0.21018 | 0.9865 | -0.25712 | 0.98657 | -0.2558 | 28.8702
26 | 0.024645 | 0.0061766 | -0.024644 | -0.0061759 | 1.1075e-06 | 6.8326e-07 | 0.0378 | 0.0378 | 0.0378 | 0.97015 | -0.57618 | 0.9701 | -0.57713 | 10.3847
27 | 0.0039754 | 0.00099542 | -0.0039746 | -0.00099562 | 7.1479e-07 | -1.9499e-07 | 0.0060511 | 0.0060513 | 0.0060513 | 0.97753 | -0.43133 | 0.97734 | -0.4351 | 1.6624
28 | 0.010208 | 0.0025586 | -0.010208 | -0.0025586 | 8.5191e-08 | 4.2719e-08 | 0.015536 | 0.015536 | 0.015536 | 0.97771 | -0.42767 | 0.9777 | -0.42785 | 4.2682
29 | 0.0060789 | 0.0015234 | -0.0060785 | -0.0015233 | 4.5812e-07 | 1.1003e-07 | 0.0091984 | 0.0091984 | 0.0091984 | 0.98338 | -0.3173 | 0.9833 | -0.31889 | 2.527
30 | -0.14076 | -0.035909 | 0.14091 | 0.036004 | 0.00014995 | 9.5517e-05 | 0.21253 | 0.21253 | 0.21253 | 0.98657 | -0.2558 | 0.98772 | -0.23377 | 29.1932
31 | 0.22063 | 0.056429 | -0.2206 | -0.05641 | 2.8665e-05 | 1.8264e-05 | 0.33028 | 0.33028 | 0.33028 | 0.99523 | -0.090616 | 0.99509 | -0.093301 | 30.245
32 | -0.34484 | -0.08776 | 0.34636 | 0.088727 | 0.0015136 | 0.00096689 | 0.51607 | 0.51606 | 0.51607 | 0.99523 | -0.090616 | 1 | 0 | 47.2587
33 | 0.21855 | 0.055896 | -0.21845 | -0.055837 | 9.2142e-05 | 5.8702e-05 | 0.32721 | 0.32721 | 0.32721 | 0.99509 | -0.093301 | 0.99463 | -0.10202 | 29.964
34 | 0.23469 | 0.059512 | -0.23405 | -0.059107 | 0.00063609 | 0.00040546 | 0.34947 | 0.34947 | 0.34947 | 1 | 0 | 0.99704 | -0.056549 | 32.0026
35 | -0.032647 | -0.0081838 | 0.032664 | 0.0081945 | 1.7055e-05 | 1.0675e-05 | 0.049209 | 0.049208 | 0.049209 | 0.98723 | -0.24585 | 0.98779 | -0.23489 | 13.5188
36 | 0.015007 | 0.0037628 | -0.015002 | -0.0037599 | 4.9615e-06 | 2.8449e-06 | 0.02262 | 0.02262 | 0.02262 | 0.98723 | -0.24585 | 0.98687 | -0.25279 | 6.2144
37 | -0.0587 | -0.01472 | 0.058786 | 0.014774 | 8.6328e-05 | 5.4872e-05 | 0.088429 | 0.088429 | 0.088429 | 0.98779 | -0.23489 | 0.98938 | -0.20408 | 24.2936
38 | -0.074724 | -0.018769 | 0.075069 | 0.018989 | 0.00034518 | 0.00021997 | 0.1124 | 0.1124 | 0.1124 | 0.98938 | -0.20408 | 0.99437 | -0.10776 | 30.8786
39 | 0.015937 | 0.0039942 | -0.015933 | -0.0039918 | 4.103e-06 | 2.3814e-06 | 0.02397 | 0.02397 | 0.02397 | 0.98938 | -0.20408 | 0.9891 | -0.20949 | 6.5851
40 | -0.10126 | -0.025553 | 0.10128 | 0.025563 | 1.6064e-05 | 1.0257e-05 | 0.15159 | 0.15159 | 0.15159 | 0.99437 | -0.10776 | 0.99454 | -0.10445 | 41.6465
41 | 0.0085919 | 0.0021519 | -0.0085886 | -0.0021504 | 3.3521e-06 | 1.4589e-06 | 0.012925 | 0.012926 | 0.012926 | 0.9891 | -0.20949 | 0.98868 | -0.21768 | 3.551
42 | -0.10708 | -0.027019 | 0.1071 | 0.02703 | 1.8398e-05 | 1.175e-05 | 0.16028 | 0.16028 | 0.16028 | 0.99454 | -0.10445 | 0.99473 | -0.10086 | 44.0334
43 | 0.006767 | 0.0016939 | -0.0067659 | -0.0016936 | 1.0798e-06 | 3.351e-07 | 0.010184 | 0.010184 | 0.010184 | 0.98868 | -0.21768 | 0.98851 | -0.22104 | 2.7978
44 | -0.0046154 | -0.0011567 | 0.0046159 | 0.0011567 | 5.6574e-07 | -4.1573e-08 | 0.006935 | 0.0069349 | 0.006935 | 0.9903 | -0.18657 | 0.99043 | -0.184 | 1.9052
45 | -0.0054986 | -0.0013779 | 0.0055003 | 0.0013781 | 1.762e-06 | 2.4126e-07 | 0.0082609 | 0.0082606 | 0.0082609 | 0.99043 | -0.184 | 0.99078 | -0.17727 | 2.2695
46 | -0.016265 | -0.004076 | 0.016265 | 0.0040761 | 1.831e-07 | 1.0665e-07 | 0.024428 | 0.024428 | 0.024428 | 0.99078 | -0.17727 | 0.99079 | -0.17704 | 6.7109
47 | -0.027617 | -0.0069211 | 0.027622 | 0.0069242 | 4.9328e-06 | 3.0585e-06 | 0.041476 | 0.041476 | 0.041476 | 0.99079 | -0.17704 | 0.99098 | -0.17329 | 11.3946
48 | -0.078183 | -0.019596 | 0.078454 | 0.019769 | 0.00027078 | 0.00017262 | 0.1174 | 0.1174 | 0.1174 | 0.99098 | -0.17329 | 0.99473 | -0.10086 | 32.2519
49 | -0.0057968 | -0.0014521 | 0.005797 | 0.0014522 | 2.4004e-07 | 4.5987e-08 | 0.0087286 | 0.0087286 | 0.0087286 | 0.98819 | -0.22734 | 0.98823 | -0.22647 | 2.398
50 | 0.0053376 | 0.001337 | -0.0053374 | -0.001337 | 1.8404e-07 | 2.0455e-08 | 0.0080371 | 0.0080371 | 0.0080371 | 0.98819 | -0.22734 | 0.98815 | -0.22806 | 2.208
51 | -0.0062724 | -0.0015713 | 0.006274 | 0.0015717 | 1.6216e-06 | 4.1648e-07 | 0.0094444 | 0.0094441 | 0.0094444 | 0.98823 | -0.22647 | 0.98851 | -0.22104 | 2.5946
52 | 0.0048598 | 0.0012173 | -0.0048595 | -0.0012173 | 2.8131e-07 | 6.0826e-10 | 0.007318 | 0.007318 | 0.007318 | 0.98815 | -0.22806 | 0.98809 | -0.22927 | 2.0104
53 | 0.00049191 | 0.00012182 | -0.0004919 | -0.00012249 | 1.0781e-08 | -6.6594e-07 | 0.00073997 | 0.0007402 | 0.0007402 | 0.98851 | -0.22104 | 0.98849 | -0.2215 | 0.20335
54 | 0.0033547 | 0.00084017 | -0.0033546 | -0.00084025 | 1.1611e-07 | -8.1077e-08 | 0.0050518 | 0.0050519 | 0.0050519 | 0.98809 | -0.22927 | 0.98805 | -0.23 | 1.3879
55 | 0.0004919 | 0.00012249 | -0.00049189 | -0.00012328 | 1.2824e-08 | -7.9158e-07 | 0.0007402 | 0.00074049 | 0.00074049 | 0.98849 | -0.2215 | 0.98846 | -0.22205 | 0.20343
56 | 0.0018257 | 0.00045734 | -0.0018256 | -0.00045755 | 5.4005e-08 | -2.0941e-07 | 0.0027495 | 0.0027495 | 0.0027495 | 0.98805 | -0.23 | 0.98802 | -0.23062 | 0.75537
57 | 0.0015289 | 0.00038291 | -0.0015289 | -0.00038293 | 3.527e-09 | -2.0466e-08 | 0.0023024 | 0.0023024 | 0.0023024 | 0.98805 | -0.23 | 0.98805 | -0.23005 | 0.63254
58 | 0.00099594 | 0.00024937 | -0.00099593 | -0.00024949 | 8.4447e-09 | -1.2281e-07 | 0.0014998 | 0.0014999 | 0.0014999 | 0.98805 | -0.23005 | 0.98804 | -0.23023 | 0.41205
59 | 0.0017599 | 0.00044069 | -0.0017598 | -0.00044104 | 9.0057e-08 | -3.4926e-07 | 0.0026993 | 0.0026994 | 0.0026994 | 0.9701 | -0.57713 | 0.97005 | -0.5782 | 0.7416
60 | 0.18595 | 0.047051 | -0.18556 | -0.046799 | 0.00039454 | 0.00025179 | 0.27768 | 0.27768 | 0.27768 | 0.99704 | -0.056549 | 0.99473 | -0.10086 | 38.1426
61 | 0.21677 | 0.055416 | -0.21677 | -0.055411 | 7.2256e-06 | 4.6031e-06 | 0.32469 | 0.32469 | 0.32469 | 0.99463 | -0.10202 | 0.99459 | -0.10271 | 29.7338
62 | 0.00013638 | 3.3827e-05 | -0.00013638 | -3.418e-05 | 4.3937e-10 | -3.5335e-07 | 0.0002056 | 0.00020572 | 0.00020572 | 0.98646 | -0.26047 | 0.98645 | -0.26053 | 0.056518
63 | -0.00028641 | -7.1427e-05 | 0.00028642 | 7.0144e-05 | 7.0475e-09 | -1.283e-06 | 0.00043191 | 0.00043145 | 0.00043191 | 0.98646 | -0.26047 | 0.98648 | -0.25995 | 0.11866
64 | 0.0039495 | 0.00098971 | -0.0039493 | -0.00098978 | 2.3209e-07 | -7.1225e-08 | 0.0059767 | 0.0059768 | 0.0059768 | 0.9833 | -0.31889 | 0.98324 | -0.32012 | 1.642
65 | 0.19837 | 0.050801 | -0.19827 | -0.050738 | 9.9234e-05 | 6.316e-05 | 0.29717 | 0.29717 | 0.29717 | 0.99459 | -0.10271 | 0.99405 | -0.11304 | 27.2133
66 | -0.14347 | -0.036646 | 0.14349 | 0.036663 | 2.614e-05 | 1.6558e-05 | 0.21638 | 0.21638 | 0.21638 | 0.98772 | -0.23377 | 0.98792 | -0.23 | 19.8154
67 | -0.14492 | -0.037021 | 0.14499 | 0.037063 | 6.693e-05 | 4.2404e-05 | 0.21853 | 0.21853 | 0.21853 | 0.98792 | -0.23 | 0.98842 | -0.22045 | 20.0122
68 | -0.146 | -0.037316 | 0.14608 | 0.037367 | 8.0314e-05 | 5.0891e-05 | 0.22006 | 0.22006 | 0.22006 | 0.98842 | -0.22045 | 0.98901 | -0.20909 | 20.1517
69 | -0.15282 | -0.039057 | 0.15287 | 0.039086 | 4.5828e-05 | 2.9064e-05 | 0.2302 | 0.2302 | 0.2302 | 0.98901 | -0.20909 | 0.98933 | -0.20289 | 21.0806
70 | -0.15829 | -0.040445 | 0.15851 | 0.040587 | 0.0002236 | 0.00014189 | 0.23836 | 0.23835 | 0.23836 | 0.98933 | -0.20289 | 0.99086 | -0.17372 | 21.8274
71 | -0.0039736 | -0.00099589 | 0.0039737 | 0.00099587 | 6.2334e-08 | -1.6955e-08 | 0.0060516 | 0.0060516 | 0.0060516 | 0.97707 | -0.44039 | 0.97708 | -0.44006 | 1.6625
72 | -0.0039737 | -0.00099587 | 0.0039746 | 0.00099562 | 9.3856e-07 | -2.5557e-07 | 0.0060516 | 0.0060513 | 0.0060516 | 0.97708 | -0.44006 | 0.97734 | -0.4351 | 1.6625
73 | -0.0013609 | -0.00034106 | 0.001361 | 0.00034036 | 9.2679e-08 | -7.0281e-07 | 0.0020438 | 0.0020436 | 0.0020438 | 0.99079 | -0.17515 | 0.99086 | -0.17372 | 0.56149
74 | -0.15987 | -0.040927 | 0.16024 | 0.041158 | 0.00036314 | 0.00023046 | 0.2404 | 0.2404 | 0.2404 | 0.99086 | -0.17372 | 0.99332 | -0.12694 | 22.0145
75 | -0.1613 | -0.041425 | 0.16134 | 0.041447 | 3.5366e-05 | 2.2447e-05 | 0.24199 | 0.24199 | 0.24199 | 0.99332 | -0.12694 | 0.99356 | -0.12242 | 22.1606
76 | -0.19527 | -0.049951 | 0.19536 | 0.050008 | 8.8719e-05 | 5.6458e-05 | 0.29281 | 0.29281 | 0.29281 | 0.99356 | -0.12242 | 0.99405 | -0.11304 | 26.8143
77 | 0.0056842 | 0.0014245 | -0.0056834 | -0.0014244 | 8.0659e-07 | 1.5618e-07 | 0.008653 | 0.0086531 | 0.0086531 | 0.97749 | -0.43209 | 0.97734 | -0.43507 | 2.3772
78 | -0.0071599 | -0.0017944 | 0.0071599 | 0.0017944 | 2.2025e-08 | 7.8983e-09 | 0.010899 | 0.010899 | 0.010899 | 0.97749 | -0.43209 | 0.97749 | -0.43203 | 2.9943
79 | 0.003889 | 0.00097464 | -0.0038889 | -0.00097465 | 3.9041e-08 | -1.2227e-08 | 0.005921 | 0.005921 | 0.005921 | 0.97734 | -0.43507 | 0.97733 | -0.43528 | 1.6267
80 | -0.0082687 | -0.0020723 | 0.0082704 | 0.002073 | 1.6458e-06 | 7.06e-07 | 0.012587 | 0.012587 | 0.012587 | 0.97749 | -0.43203 | 0.9777 | -0.42785 | 3.458
81 | -0.00049688 | -0.00012453 | 0.00049688 | 0.00012442 | 1.8615e-09 | -1.1235e-07 | 0.00074832 | 0.00074828 | 0.00074832 | 0.98803 | -0.23031 | 0.98804 | -0.23023 | 0.20558

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.59734 | 0.15191

## res_load
| p_mw | q_mvar
0 | 0.0025564 | 0.00064068
1 | 0.00030969 | 7.7617e-05
2 | 0.0022533 | 0.00056474
3 | 0.036426 | 0.0091291
4 | 0.00091184 | 0.00022853
5 | 0.032169 | 0.0080623
6 | 0.0060477 | 0.0015157
7 | 0.031569 | 0.0079118
8 | 0.0041504 | 0.0010402
9 | 0.0089853 | 0.0022519
10 | 0.016882 | 0.0042311
11 | 0.0017698 | 0.00044357
12 | 0.015692 | 0.0039329
13 | 0.0034159 | 0.0008561
14 | 0.0019806 | 0.00049637
15 | 0.0041732 | 0.0010459
16 | 0.029985 | 0.0075148
17 | 0.0012664 | 0.00031739
18 | 0.0067039 | 0.0016801
19 | 0.0018007 | 0.00045129
20 | 0.0015588 | 0.00039066
21 | 0.0020523 | 0.00051436
22 | 0.014643 | 0.0036699
23 | 0.01764 | 0.004421
24 | 0.026036 | 0.0065252
25 | 0.015002 | 0.0037599
26 | 0.026192 | 0.0065645
27 | 0.0073413 | 0.0018399
28 | 0.0058071 | 0.0014554
29 | 0.0018215 | 0.00045652
30 | 0.0046154 | 0.0011567
31 | 0.00088264 | 0.00022121
32 | 0.010765 | 0.0026979
33 | 0.011352 | 0.002845
34 | 0.050561 | 0.012672
35 | 0.00045923 | 0.00011509
36 | 0.00047538 | 0.00011914
37 | 0.00047757 | 0.00011969
38 | 0.0015048 | 0.00037715
39 | 0.00049189 | 0.00012328
40 | 0.0018256 | 0.00045755
41 | 0.00053294 | 0.00013357
42 | 0.022884 | 0.0057352
43 | 0.048103 | 0.012056
44 | 0.0016807 | 0.00042123
45 | 0.00015003 | 3.76e-05
46 | 0.00013638 | 3.418e-05
47 | 0.0070054 | 0.0017557
48 | 0.002129 | 0.00053357
49 | 0.0039493 | 0.00098978
50 | 0.018397 | 0.0046107
51 | 0.0025607 | 0.00064177
52 | 0.0014274 | 0.00035774
53 | 0.0010114 | 0.00025349
54 | 0.0067422 | 0.0016897
55 | 0.0054224 | 0.001359
56 | 0.0039736 | 0.00099589
57 | 0.0013609 | 0.00034106
58 | 0.0010653 | 0.00026699
59 | 0.033932 | 0.0085043
60 | 0.0029109 | 0.00072955
61 | 0.0014757 | 0.00036983
62 | 0.0017945 | 0.00044973
63 | 0.0011088 | 0.0002779
64 | 0.0038889 | 0.00097465
65 | 0.0019376 | 0.00048561
66 | 0.0017598 | 0.00044104
67 | 0.00049688 | 0.00012453
68 | 0.00049905 | 0.00012507

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1