## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2787-15_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2787-15_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2787-15_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2787-15_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2787-15_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_2787-15_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_2787-15_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_2787-15_0_4_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_2787-15_0_4_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_2787-15_0_4_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_2787-15_0_4_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_2787-15_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_2787-15_0_4_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_2787-15_0_4_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_2787-15_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2787-15_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_2787-15_0_4_node_4 | 0.4 | n |  | TRUE
17 | bus_LV_2787-15_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_2787-15_0_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_2787-15_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_2787-15_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_2787-15_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2787-15_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_2787-15_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_2787-15_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_2787-15_0_4_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_2787-15_0_4_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_2787-15_0_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_2787-15_0_4_node_66 | 0.4 | n |  | TRUE
29 | bus_LV_2787-15_0_4_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_2787-15_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_2787-15_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_2787-15_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_2787-15_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_2787-15_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_2787-15_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_2787-15_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_2787-15_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_2787-15_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_2787-15_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2787-15_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_2787-15_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2787-15_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2787-15_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_2787-15_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_2787-15_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_2787-15_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_2787-15_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_2787-15_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_2787-15_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_2787-15_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_2787-15_0_4_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_2787-15_0_4_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_2787-15_0_4_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_2787-15_0_4_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_2787-15_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_2787-15_0_4_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_2787-15_0_4_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_2787-15_0_4_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_2787-15_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_2787-15_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_2787-15_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_2787-15_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_2787-15_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_2787-15_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_2787-15_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_2787-15_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_2787-15_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_2787-15_0_4_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_2787-15_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_2787-15_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_2787-15_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_2787-15_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_2787-15_0_4_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_2787-15_0_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_2787-15_0_4_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_2787-15_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_2787-15_0_4_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_2787-15_0_4_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_2787-15_0_4_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_2787-15_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_2787-15_0_4_node_81 | 0.4 | n |  | TRUE
82 | bus_MV_288_1_node_168 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2787-15_0_4_load_0 | 0 | 0.0036005 | 0.00090238 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2787-15_0_4_load_2 | 2 | 0.0032554 | 0.00081588 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2787-15_0_4_load_5 | 6 | 0.0024745 | 0.00062017 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2787-15_0_4_load_21 | 9 | 0.0012223 | 0.00030633 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2787-15_0_4_load_17 | 10 | 0.0017075 | 0.00042794 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2787-15_0_4_load_13 | 11 | 0.001929 | 0.00048346 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2787-15_0_4_load_36 | 13 | 0.0031757 | 0.0007959 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2787-15_0_4_load_12 | 14 | 0.001042 | 0.00026116 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2787-15_0_4_load_9 | 15 | 0.0031649 | 0.00079319 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2787-15_0_4_load_4 | 16 | 0.0047385 | 0.0011876 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2787-15_0_4_load_6 | 17 | 0.0025856 | 0.00064801 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2787-15_0_4_load_40 | 18 | 0.00033916 | 8.5001e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2787-15_0_4_load_10 | 19 | 0.0016091 | 0.00040327 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2787-15_0_4_load_11 | 20 | 0.0057295 | 0.001436 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2787-15_0_4_load_15 | 22 | 0.0043827 | 0.0010984 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2787-15_0_4_load_41 | 24 | 0.0039105 | 0.00098005 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2787-15_0_4_load_61 | 26 | 0.0032733 | 0.00082036 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2787-15_0_4_load_39 | 27 | 0.00029684 | 7.4396e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2787-15_0_4_load_66 | 28 | 0.020203 | 0.0050634 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2787-15_0_4_load_63 | 29 | 0.013098 | 0.0032827 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2787-15_0_4_load_26 | 30 | 0.0052081 | 0.0013053 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2787-15_0_4_load_24 | 32 | 0.0016831 | 0.00042182 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2787-15_0_4_load_22 | 34 | 0.010942 | 0.0027422 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2787-15_0_4_load_23 | 35 | 0.00092631 | 0.00023216 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2787-15_0_4_load_25 | 36 | 0.0021962 | 0.00055041 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2787-15_0_4_load_34 | 37 | 0.0042934 | 0.001076 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2787-15_0_4_load_35 | 38 | 0.0033001 | 0.00082709 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2787-15_0_4_load_29 | 39 | 0.00097505 | 0.00024437 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2787-15_0_4_load_31 | 41 | 0.0010312 | 0.00025845 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2787-15_0_4_load_32 | 42 | 0.001099 | 0.00027544 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2787-15_0_4_load_33 | 43 | 0.00085632 | 0.00021461 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2787-15_0_4_load_38 | 44 | 0.00046764 | 0.0001172 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2787-15_0_4_load_42 | 45 | 0.0013739 | 0.00034434 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2787-15_0_4_load_45 | 48 | 0.0018692 | 0.00046847 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2787-15_0_4_load_47 | 50 | 0.0053492 | 0.0013406 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2787-15_0_4_load_54 | 51 | 0.0030622 | 0.00076745 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2787-15_0_4_load_75 | 53 | 0.002014 | 0.00050475 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2787-15_0_4_load_57 | 54 | 0.0024039 | 0.00060247 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2787-15_0_4_load_55 | 55 | 0.0030034 | 0.00075272 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2787-15_0_4_load_80 | 56 | 0.0063971 | 0.0016033 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2787-15_0_4_load_79 | 57 | 0.0040684 | 0.0010196 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2787-15_0_4_load_76 | 58 | 0.0023103 | 0.00057902 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2787-15_0_4_load_58 | 59 | 0.0047061 | 0.0011795 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2787-15_0_4_load_48 | 60 | 0.0046655 | 0.0011693 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2787-15_0_4_load_49 | 61 | 0.0072346 | 0.0018132 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2787-15_0_4_load_50 | 62 | 0.0025619 | 0.00064206 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2787-15_0_4_load_52 | 64 | 0.0023015 | 0.0005768 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2787-15_0_4_load_53 | 65 | 0.0040206 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2787-15_0_4_load_56 | 66 | 0.0016204 | 0.0004061 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2787-15_0_4_load_59 | 67 | 0.0069207 | 0.0017345 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2787-15_0_4_load_60 | 68 | 0.0046642 | 0.001169 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2787-15_0_4_load_64 | 69 | 0.0051399 | 0.0012882 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2787-15_0_4_load_65 | 70 | 0.0036083 | 0.00090432 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2787-15_0_4_load_69 | 73 | 0.0080673 | 0.0020218 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2787-15_0_4_load_82 | 74 | 0.040178 | 0.010069 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2787-15_0_4_load_71 | 76 | 0.090398 | 0.022656 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2787-15_0_4_load_72 | 77 | 0.0027358 | 0.00068566 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2787-15_0_4_load_73 | 78 | 0.0011198 | 0.00028064 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2787-15_0_4_load_74 | 79 | 0.042014 | 0.01053 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 71 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2787-15_0_4_line_0 |  | 0 | 1 | 0.079999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2787-15_0_4_line_1 |  | 0 | 2 | 0.0073906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2787-15_0_4_line_2 |  | 1 | 3 | 0.075156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2787-15_0_4_line_3 |  | 3 | 4 | 0.083878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2787-15_0_4_line_4 |  | 3 | 5 | 0.053956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2787-15_0_4_line_5 |  | 3 | 6 | 0.022246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2787-15_0_4_line_6 |  | 4 | 12 | 0.094954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2787-15_0_4_line_7 |  | 4 | 13 | 0.052587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2787-15_0_4_line_8 |  | 5 | 14 | 0.032112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2787-15_0_4_line_9 |  | 5 | 15 | 0.019112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2787-15_0_4_line_10 |  | 6 | 16 | 0.023419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2787-15_0_4_line_11 |  | 7 | 8 | 0.068753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2787-15_0_4_line_12 |  | 7 | 9 | 0.034188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2787-15_0_4_line_13 |  | 7 | 10 | 0.0064714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2787-15_0_4_line_14 |  | 7 | 11 | 0.049904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2787-15_0_4_line_15 |  | 8 | 30 | 0.038046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2787-15_0_4_line_16 |  | 8 | 26 | 0.027097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2787-15_0_4_line_17 |  | 9 | 31 | 0.026157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2787-15_0_4_line_18 |  | 11 | 14 | 0.0030924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2787-15_0_4_line_19 |  | 12 | 18 | 0.056816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2787-15_0_4_line_20 |  | 15 | 19 | 0.00022129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2787-15_0_4_line_21 |  | 16 | 17 | 0.008262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2787-15_0_4_line_22 |  | 18 | 27 | 0.1102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2787-15_0_4_line_23 |  | 19 | 20 | 0.007542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2787-15_0_4_line_24 |  | 21 | 22 | 0.028403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2787-15_0_4_line_25 |  | 21 | 23 | 0.008801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2787-15_0_4_line_26 |  | 22 | 24 | 0.082318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2787-15_0_4_line_27 |  | 23 | 25 | 0.011189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2787-15_0_4_line_28 |  | 23 | 26 | 0.037696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2787-15_0_4_line_29 |  | 25 | 28 | 0.068113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2787-15_0_4_line_30 |  | 25 | 29 | 0.017317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_2787-15_0_4_line_31 |  | 27 | 44 | 0.028678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2787-15_0_4_line_32 |  | 29 | 69 | 0.032376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2787-15_0_4_line_33 |  | 30 | 32 | 0.0095227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2787-15_0_4_line_34 |  | 31 | 33 | 0.003803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2787-15_0_4_line_35 |  | 32 | 34 | 0.0032862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2787-15_0_4_line_36 |  | 33 | 39 | 0.016188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2787-15_0_4_line_37 |  | 34 | 35 | 0.043488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2787-15_0_4_line_38 |  | 35 | 36 | 0.022905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2787-15_0_4_line_39 |  | 36 | 37 | 0.0061001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_2787-15_0_4_line_40 |  | 37 | 38 | 0.001664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_2787-15_0_4_line_41 |  | 39 | 40 | 0.017538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_2787-15_0_4_line_42 |  | 40 | 41 | 0.015108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_2787-15_0_4_line_43 |  | 41 | 42 | 0.01715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_2787-15_0_4_line_44 |  | 42 | 43 | 0.0063136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_2787-15_0_4_line_45 |  | 45 | 46 | 0.024223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2787-15_0_4_line_46 |  | 45 | 47 | 0.0037308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2787-15_0_4_line_47 |  | 46 | 48 | 0.02427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2787-15_0_4_line_48 |  | 46 | 49 | 0.023386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2787-15_0_4_line_49 |  | 47 | 50 | 0.029447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2787-15_0_4_line_50 |  | 48 | 51 | 0.026069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2787-15_0_4_line_51 |  | 49 | 52 | 0.019696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2787-15_0_4_line_52 |  | 49 | 53 | 0.054561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2787-15_0_4_line_53 |  | 50 | 54 | 0.036494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2787-15_0_4_line_54 |  | 51 | 55 | 0.026239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2787-15_0_4_line_55 |  | 52 | 56 | 0.012001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2787-15_0_4_line_56 |  | 52 | 57 | 0.018812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2787-15_0_4_line_57 |  | 53 | 58 | 0.015936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2787-15_0_4_line_58 |  | 54 | 59 | 0.0024635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2787-15_0_4_line_59 |  | 55 | 66 | 0.021303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2787-15_0_4_line_60 |  | 56 | 81 | 0.038626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2787-15_0_4_line_61 |  | 57 | 65 | 0.0026704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2787-15_0_4_line_62 |  | 59 | 67 | 0.033585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2787-15_0_4_line_63 |  | 60 | 61 | 0.024811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2787-15_0_4_line_64 |  | 60 | 62 | 0.010064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2787-15_0_4_line_65 |  | 61 | 63 | 0.0095971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2787-15_0_4_line_66 |  | 62 | 64 | 0.0067455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2787-15_0_4_line_67 |  | 63 | 65 | 0.018265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2787-15_0_4_line_68 |  | 67 | 68 | 0.0030742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2787-15_0_4_line_69 |  | 69 | 70 | 0.0012332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_2787-15_0_4_line_70 |  | 70 | 71 | 0.029458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_2787-15_0_4_line_71 |  | 71 | 72 | 0.040058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_2787-15_0_4_line_72 |  | 71 | 73 | 0.00030237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_2787-15_0_4_line_73 |  | 72 | 74 | 0.036258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_2787-15_0_4_line_74 |  | 73 | 75 | 0.019861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_2787-15_0_4_line_75 |  | 75 | 76 | 0.022141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2787-15_0_4_line_76 |  | 75 | 77 | 0.0081705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_2787-15_0_4_line_77 |  | 77 | 78 | 0.050922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2787-15_0_4_line_78 |  | 78 | 79 | 0.015989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2787-15_0_4_line_79 |  | 79 | 80 | 0.032846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2787-15_0_4_line_80 |  | 80 | 81 | 0.004731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2787-15_0_4_trafo_67 | 0.63 MVA 20/0.4 kV | 82 | 71 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2604065.0528 | 1252037.1298 | 2604062.9753 | 1252063.0008 | 2604063.1934 | 1252064.0906 | 2604063.9622 | 1252065.4475 | 2604065.1388 | 1252066.3155 | 2604067.2968 | 1252066.6839 | 2604114.8569 | 1252070.6153
1 | 2604122.2224 | 1252071.2242 | 2604114.8569 | 1252070.6153
2 | 2604065.0528 | 1252037.1298 | 2604087.4866 | 1252038.8016 | 2604140.1485 | 1252043.6185
3 | 2604120.2862 | 1252011.4617 | 2604127.4356 | 1252017.8485 | 2604135.5434 | 1252024.3027 | 2604143.0938 | 1252029.2667 | 2604151.8512 | 1252034.7763 | 2604159.9901 | 1252039.763 | 2604163.4369 | 1252042.5116 | 2604166.4306 | 1252045.5156 | 2604164.2122 | 1252045.3362 | 2604140.1485 | 1252043.6185
4 | 2604140.1485 | 1252043.6185 | 2604164.2122 | 1252045.3362 | 2604166.4306 | 1252045.5156 | 2604193.9197 | 1252048.0474
5 | 2604140.1485 | 1252043.6185 | 2604138.8704 | 1252065.8278
6 | 2604051.2133 | 1251946.984 | 2604073.5172 | 1251962.7648 | 2604084.2195 | 1251971.5 | 2604090.8034 | 1251977.3972 | 2604096.8514 | 1251983.483 | 2604100.584 | 1251987.5994 | 2604103.8258 | 1251992.1267 | 2604108.7943 | 1251998.7456 | 2604114.7135 | 1252005.5207 | 2604120.2862 | 1252011.4617
7 | 2604120.2862 | 1252011.4617 | 2604172.7823 | 1252008.3801
8 | 2604193.9197 | 1252048.0474 | 2604197.7758 | 1252048.0612 | 2604203.1415 | 1252047.6203 | 2604211.1792 | 1252046.2361 | 2604225.443 | 1252042.617
9 | 2604193.9197 | 1252048.0474 | 2604194.5075 | 1252067.1504
10 | 2604152.1827 | 1252076.3026 | 2604138.3231 | 1252075.3379 | 2604138.8704 | 1252065.8278
11 | 2604272.1689 | 1252065.903 | 2604277.8448 | 1252021.7337 | 2604280.185 | 1252009.8721 | 2604282.7139 | 1251998.0106
12 | 2604272.1689 | 1252065.903 | 2604283.9789 | 1252065.5778 | 2604306.3311 | 1252064.6133
13 | 2604272.1689 | 1252065.903 | 2604271.39 | 1252072.3273
14 | 2604272.1689 | 1252065.903 | 2604228.4405 | 1252041.8564
15 | 2604282.7139 | 1251998.0106 | 2604312.7558 | 1251997.7652 | 2604314.5591 | 1251998.1223 | 2604316.347 | 1251998.9464 | 2604317.7877 | 1251999.9147 | 2604319.4616 | 1252001.7171
16 | 2604282.7139 | 1251998.0106 | 2604287.4533 | 1251976.3666 | 2604289.2152 | 1251971.7514
17 | 2604332.4647 | 1252063.5 | 2604314.142 | 1252064.2763 | 2604306.3311 | 1252064.6133
18 | 2604225.443 | 1252042.617 | 2604228.4405 | 1252041.8564 | 2604228.4405 | 1252041.8564
19 | 2604051.2133 | 1251946.984 | 2604063.9852 | 1251891.6218
20 | 2604194.5143 | 1252067.3715 | 2604194.5075 | 1252067.1504
21 | 2604160.4248 | 1252076.8763 | 2604152.1827 | 1252076.3026
22 | 2604063.9852 | 1251891.6218 | 2604090.2297 | 1251784.5877
23 | 2604194.7462 | 1252074.91 | 2604194.5143 | 1252067.3715
24 | 2604294.3113 | 1251936.2675 | 2604299.7311 | 1251908.3861
25 | 2604302.9506 | 1251938.0749 | 2604294.3113 | 1251936.2675
26 | 2604318.3631 | 1251828.2469 | 2604315.444 | 1251837.6184 | 2604309.4867 | 1251862.9973 | 2604304.0745 | 1251886.0418 | 2604299.7311 | 1251908.3861
27 | 2604313.9096 | 1251935.7145 | 2604308.0076 | 1251936.7332 | 2604302.9506 | 1251938.0749
28 | 2604302.9506 | 1251938.0749 | 2604303.0274 | 1251946.7806 | 2604302.2629 | 1251949.971 | 2604301.0836 | 1251952.9388 | 2604298.7193 | 1251956.1614 | 2604294.2107 | 1251961.0169 | 2604291.9215 | 1251964.6621 | 2604289.2152 | 1251971.7514
29 | 2604313.9096 | 1251935.7145 | 2604313.8533 | 1251908.9415 | 2604314.8691 | 1251902.6826 | 2604319.9359 | 1251887.7543 | 2604323.2913 | 1251870.501 | 2604323.8464 | 1251868.9384
30 | 2604313.9096 | 1251935.7145 | 2604331.2265 | 1251935.8013
31 | 2604099.9011 | 1251757.5899 | 2604090.2297 | 1251784.5877
32 | 2604331.2265 | 1251935.8013 | 2604363.6021 | 1251935.9636
33 | 2604319.4616 | 1252001.7171 | 2604319.4616 | 1252001.7171 | 2604321.8287 | 1252005.1766 | 2604324.3666 | 1252009.8646
34 | 2604332.4647 | 1252063.5 | 2604336.2756 | 1252063.336
35 | 2604325.9311 | 1252012.7545 | 2604324.3666 | 1252009.8646
36 | 2604336.2756 | 1252063.336 | 2604352.449 | 1252062.6379
37 | 2604325.9311 | 1252012.7545 | 2604328.958 | 1252018.3458 | 2604329.6968 | 1252019.3359 | 2604330.4811 | 1252020.0258 | 2604331.9147 | 1252020.3715 | 2604365.281 | 1252019.5956
38 | 2604388.1793 | 1252019.0632 | 2604365.281 | 1252019.5956
39 | 2604388.1793 | 1252019.0632 | 2604394.2778 | 1252018.9214
40 | 2604394.2778 | 1252018.9214 | 2604395.9414 | 1252018.8827
41 | 2604369.9704 | 1252061.8816 | 2604352.449 | 1252062.6379
42 | 2604369.9704 | 1252061.8816 | 2604369.0921 | 1252046.7988
43 | 2604356.3468 | 1252040.7322 | 2604365.0205 | 1252040.642 | 2604366.9294 | 1252040.988 | 2604368.1436 | 1252042.0229 | 2604368.9195 | 1252043.8358 | 2604369.0921 | 1252046.7988
44 | 2604350.0335 | 1252040.7979 | 2604356.3468 | 1252040.7322
45 | 2604531.6975 | 1251975.8563 | 2604533.5257 | 1251993.1356 | 2604533.7209 | 1251999.9801
46 | 2604533.8272 | 1252003.7093 | 2604533.7209 | 1251999.9801
47 | 2604531.6975 | 1251975.8563 | 2604507.4297 | 1251976.1881
48 | 2604528.9077 | 1251952.639 | 2604531.6975 | 1251975.8563
49 | 2604533.8272 | 1252003.7093 | 2604504.3967 | 1252004.7059
50 | 2604507.4297 | 1251976.1881 | 2604481.3627 | 1251976.5445
51 | 2604528.9077 | 1251952.639 | 2604527.7532 | 1251942.4982 | 2604526.2133 | 1251933.1354
52 | 2604528.9077 | 1251952.639 | 2604474.3622 | 1251953.9579
53 | 2604467.9235 | 1252005.941 | 2604504.3967 | 1252004.7059
54 | 2604481.3627 | 1251976.5445 | 2604455.1257 | 1251976.9032
55 | 2604526.2133 | 1251933.1354 | 2604524.2167 | 1251921.3012
56 | 2604526.2133 | 1251933.1354 | 2604544.8556 | 1251930.6115
57 | 2604458.4312 | 1251954.3431 | 2604474.3622 | 1251953.9579
58 | 2604467.9235 | 1252005.941 | 2604465.4614 | 1252006.0243
59 | 2604455.1257 | 1251976.9032 | 2604433.8247 | 1251977.1944
60 | 2604514.5077 | 1251884.3837 | 2604518.0655 | 1251889.8566 | 2604519.0447 | 1251892.3924 | 2604519.8423 | 1251895.3727 | 2604524.2167 | 1251921.3012
61 | 2604544.8556 | 1251930.6115 | 2604547.5019 | 1251930.2532
62 | 2604465.4614 | 1252006.0243 | 2604431.8959 | 1252007.1609
63 | 2604573.0733 | 1251962.2007 | 2604571.5188 | 1251956.685 | 2604568.8704 | 1251946.354 | 2604567.135 | 1251938.1195
64 | 2604573.0733 | 1251962.2007 | 2604574.8002 | 1251968.3284 | 2604575.8549 | 1251971.872
65 | 2604565.1559 | 1251928.7286 | 2604567.135 | 1251938.1195
66 | 2604577.7793 | 1251978.3371 | 2604575.8549 | 1251971.872
67 | 2604565.1559 | 1251928.7286 | 2604555.0203 | 1251929.7883 | 2604554.9603 | 1251929.2435 | 2604547.5019 | 1251930.2532
68 | 2604428.8235 | 1252007.2649 | 2604431.8959 | 1252007.1609
69 | 2604364.8353 | 1251935.9697 | 2604363.6021 | 1251935.9636
70 | 2604394.2931 | 1251936.1174 | 2604364.8353 | 1251935.9697
71 | 2604394.2931 | 1251936.1174 | 2604394.9125 | 1251914.6483 | 2604396.9409 | 1251896.1822
72 | 2604394.2931 | 1251936.1174 | 2604394.5948 | 1251936.0968
73 | 2604396.9409 | 1251896.1822 | 2604390.8051 | 1251897.0449 | 2604373.0776 | 1251898.3996 | 2604369.5459 | 1251898.2858 | 2604365.5543 | 1251897.6603 | 2604360.9766 | 1251896.5576
74 | 2604414.3227 | 1251933.9751 | 2604405.7415 | 1251935.3363 | 2604394.5948 | 1251936.0968
75 | 2604414.3227 | 1251933.9751 | 2604415.0936 | 1251911.8501
76 | 2604414.3227 | 1251933.9751 | 2604422.316 | 1251932.2824
77 | 2604422.316 | 1251932.2824 | 2604426.6705 | 1251931.3602 | 2604437.7134 | 1251927.8883 | 2604448.6137 | 1251923.3378 | 2604462.7986 | 1251916.2659 | 2604469.2182 | 1251912.9326
78 | 2604469.2182 | 1251912.9326 | 2604476.6969 | 1251909.0493 | 2604483.0554 | 1251904.9559
79 | 2604510.6268 | 1251887.1048 | 2604506.6781 | 1251889.748 | 2604483.0554 | 1251904.9559
80 | 2604510.6268 | 1251887.1048 | 2604514.5077 | 1251884.3837

## bus_geodata
| x | y | coords
0 | 2604114.8569 | 1252070.6153
1 | 2604065.0528 | 1252037.1298
2 | 2604122.2224 | 1252071.2242
3 | 2604140.1485 | 1252043.6185
4 | 2604120.2862 | 1252011.4617
5 | 2604193.9197 | 1252048.0474
6 | 2604138.8704 | 1252065.8278
7 | 2604272.1689 | 1252065.903
8 | 2604282.7139 | 1251998.0106
9 | 2604306.3311 | 1252064.6133
10 | 2604271.39 | 1252072.3273
11 | 2604228.4405 | 1252041.8564
12 | 2604051.2133 | 1251946.984
13 | 2604172.7823 | 1252008.3801
14 | 2604225.443 | 1252042.617
15 | 2604194.5075 | 1252067.1504
16 | 2604152.1827 | 1252076.3026
17 | 2604160.4248 | 1252076.8763
18 | 2604063.9852 | 1251891.6218
19 | 2604194.5143 | 1252067.3715
20 | 2604194.7462 | 1252074.91
21 | 2604294.3113 | 1251936.2675
22 | 2604299.7311 | 1251908.3861
23 | 2604302.9506 | 1251938.0749
24 | 2604318.3631 | 1251828.2469
25 | 2604313.9096 | 1251935.7145
26 | 2604289.2152 | 1251971.7514
27 | 2604090.2297 | 1251784.5877
28 | 2604323.8464 | 1251868.9384
29 | 2604331.2265 | 1251935.8013
30 | 2604319.4616 | 1252001.7171
31 | 2604332.4647 | 1252063.5
32 | 2604324.3666 | 1252009.8646
33 | 2604336.2756 | 1252063.336
34 | 2604325.9311 | 1252012.7545
35 | 2604365.281 | 1252019.5956
36 | 2604388.1793 | 1252019.0632
37 | 2604394.2778 | 1252018.9214
38 | 2604395.9414 | 1252018.8827
39 | 2604352.449 | 1252062.6379
40 | 2604369.9704 | 1252061.8816
41 | 2604369.0921 | 1252046.7988
42 | 2604356.3468 | 1252040.7322
43 | 2604350.0335 | 1252040.7979
44 | 2604099.9011 | 1251757.5899
45 | 2604533.7209 | 1251999.9801
46 | 2604531.6975 | 1251975.8563
47 | 2604533.8272 | 1252003.7093
48 | 2604507.4297 | 1251976.1881
49 | 2604528.9077 | 1251952.639
50 | 2604504.3967 | 1252004.7059
51 | 2604481.3627 | 1251976.5445
52 | 2604526.2133 | 1251933.1354
53 | 2604474.3622 | 1251953.9579
54 | 2604467.9235 | 1252005.941
55 | 2604455.1257 | 1251976.9032
56 | 2604524.2167 | 1251921.3012
57 | 2604544.8556 | 1251930.6115
58 | 2604458.4312 | 1251954.3431
59 | 2604465.4614 | 1252006.0243
60 | 2604573.0733 | 1251962.2007
61 | 2604567.135 | 1251938.1195
62 | 2604575.8549 | 1251971.872
63 | 2604565.1559 | 1251928.7286
64 | 2604577.7793 | 1251978.3371
65 | 2604547.5019 | 1251930.2532
66 | 2604433.8247 | 1251977.1944
67 | 2604431.8959 | 1252007.1609
68 | 2604428.8235 | 1252007.2649
69 | 2604363.6021 | 1251935.9636
70 | 2604364.8353 | 1251935.9697
71 | 2604394.2931 | 1251936.1174
72 | 2604396.9409 | 1251896.1822
73 | 2604394.5948 | 1251936.0968
74 | 2604360.9766 | 1251896.5576
75 | 2604414.3227 | 1251933.9751
76 | 2604415.0936 | 1251911.8501
77 | 2604422.316 | 1251932.2824
78 | 2604469.2182 | 1251912.9326
79 | 2604483.0554 | 1251904.9559
80 | 2604510.6268 | 1251887.1048
81 | 2604514.5077 | 1251884.3837
82 | 2604414.3227 | 1251933.9751

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1