## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2832-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2832-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2832-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2832-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2832-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2832-2_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_2832-2_0_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_2832-2_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_2832-2_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_2832-2_0_4_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_2832-2_0_4_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_2832-2_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_2832-2_0_4_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_2832-2_0_4_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_2832-2_0_4_node_110 | 0.4 | n |  | TRUE
15 | bus_LV_2832-2_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_2832-2_0_4_node_109 | 0.4 | n |  | TRUE
17 | bus_LV_2832-2_0_4_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_2832-2_0_4_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_2832-2_0_4_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_2832-2_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_2832-2_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_2832-2_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2832-2_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_2832-2_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_2832-2_0_4_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_2832-2_0_4_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_2832-2_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2832-2_0_4_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_2832-2_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_2832-2_0_4_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_2832-2_0_4_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_2832-2_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_2832-2_0_4_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_2832-2_0_4_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_2832-2_0_4_node_68 | 0.4 | n |  | TRUE
36 | bus_LV_2832-2_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_2832-2_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_2832-2_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_2832-2_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_2832-2_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_2832-2_0_4_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_2832-2_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_2832-2_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_2832-2_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_2832-2_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_2832-2_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_2832-2_0_4_node_64 | 0.4 | n |  | TRUE
48 | bus_LV_2832-2_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_2832-2_0_4_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_2832-2_0_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_2832-2_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_2832-2_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_2832-2_0_4_node_33 | 0.4 | n |  | TRUE
54 | bus_LV_2832-2_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_2832-2_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_2832-2_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_2832-2_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_2832-2_0_4_node_100 | 0.4 | n |  | TRUE
59 | bus_LV_2832-2_0_4_node_142 | 0.4 | n |  | TRUE
60 | bus_LV_2832-2_0_4_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_2832-2_0_4_node_103 | 0.4 | n |  | TRUE
62 | bus_LV_2832-2_0_4_node_101 | 0.4 | n |  | TRUE
63 | bus_LV_2832-2_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_2832-2_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_2832-2_0_4_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_2832-2_0_4_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_2832-2_0_4_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_2832-2_0_4_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_2832-2_0_4_node_116 | 0.4 | n |  | TRUE
70 | bus_LV_2832-2_0_4_node_112 | 0.4 | n |  | TRUE
71 | bus_LV_2832-2_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_2832-2_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_2832-2_0_4_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_2832-2_0_4_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_2832-2_0_4_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_2832-2_0_4_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_2832-2_0_4_node_57 | 0.4 | n |  | TRUE
78 | bus_LV_2832-2_0_4_node_58 | 0.4 | n |  | TRUE
79 | bus_LV_2832-2_0_4_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_2832-2_0_4_node_131 | 0.4 | n |  | TRUE
81 | bus_LV_2832-2_0_4_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_2832-2_0_4_node_125 | 0.4 | n |  | TRUE
83 | bus_LV_2832-2_0_4_node_132 | 0.4 | n |  | TRUE
84 | bus_LV_2832-2_0_4_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_2832-2_0_4_node_130 | 0.4 | n |  | TRUE
86 | bus_LV_2832-2_0_4_node_123 | 0.4 | n |  | TRUE
87 | bus_LV_2832-2_0_4_node_133 | 0.4 | n |  | TRUE
88 | bus_LV_2832-2_0_4_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_2832-2_0_4_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_2832-2_0_4_node_107 | 0.4 | n |  | TRUE
91 | bus_LV_2832-2_0_4_node_141 | 0.4 | n |  | TRUE
92 | bus_LV_2832-2_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_2832-2_0_4_node_97 | 0.4 | n |  | TRUE
94 | bus_LV_2832-2_0_4_node_81 | 0.4 | n |  | TRUE
95 | bus_LV_2832-2_0_4_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_2832-2_0_4_node_69 | 0.4 | n |  | TRUE
97 | bus_LV_2832-2_0_4_node_70 | 0.4 | n |  | TRUE
98 | bus_LV_2832-2_0_4_node_71 | 0.4 | n |  | TRUE
99 | bus_LV_2832-2_0_4_node_72 | 0.4 | n |  | TRUE
100 | bus_LV_2832-2_0_4_node_73 | 0.4 | n |  | TRUE
101 | bus_LV_2832-2_0_4_node_76 | 0.4 | n |  | TRUE
102 | bus_LV_2832-2_0_4_node_82 | 0.4 | n |  | TRUE
103 | bus_LV_2832-2_0_4_node_128 | 0.4 | n |  | TRUE
104 | bus_LV_2832-2_0_4_node_83 | 0.4 | n |  | TRUE
105 | bus_LV_2832-2_0_4_node_108 | 0.4 | n |  | TRUE
106 | bus_LV_2832-2_0_4_node_129 | 0.4 | n |  | TRUE
107 | bus_LV_2832-2_0_4_node_117 | 0.4 | n |  | TRUE
108 | bus_LV_2832-2_0_4_node_99 | 0.4 | n |  | TRUE
109 | bus_LV_2832-2_0_4_node_115 | 0.4 | n |  | TRUE
110 | bus_LV_2832-2_0_4_node_114 | 0.4 | n |  | TRUE
111 | bus_LV_2832-2_0_4_node_139 | 0.4 | n |  | TRUE
112 | bus_LV_2832-2_0_4_node_96 | 0.4 | n |  | TRUE
113 | bus_LV_2832-2_0_4_node_85 | 0.4 | n |  | TRUE
114 | bus_LV_2832-2_0_4_node_147 | 0.4 | n |  | TRUE
115 | bus_LV_2832-2_0_4_node_106 | 0.4 | n |  | TRUE
116 | bus_LV_2832-2_0_4_node_105 | 0.4 | n |  | TRUE
117 | bus_LV_2832-2_0_4_node_111 | 0.4 | n |  | TRUE
118 | bus_LV_2832-2_0_4_node_88 | 0.4 | n |  | TRUE
119 | bus_LV_2832-2_0_4_node_89 | 0.4 | n |  | TRUE
120 | bus_LV_2832-2_0_4_node_91 | 0.4 | n |  | TRUE
121 | bus_LV_2832-2_0_4_node_92 | 0.4 | n |  | TRUE
122 | bus_LV_2832-2_0_4_node_93 | 0.4 | n |  | TRUE
123 | bus_LV_2832-2_0_4_node_94 | 0.4 | n |  | TRUE
124 | bus_LV_2832-2_0_4_node_95 | 0.4 | n |  | TRUE
125 | bus_LV_2832-2_0_4_node_104 | 0.4 | n |  | TRUE
126 | bus_LV_2832-2_0_4_node_140 | 0.4 | n |  | TRUE
127 | bus_LV_2832-2_0_4_node_143 | 0.4 | n |  | TRUE
128 | bus_LV_2832-2_0_4_node_144 | 0.4 | n |  | TRUE
129 | bus_LV_2832-2_0_4_node_113 | 0.4 | n |  | TRUE
130 | bus_LV_2832-2_0_4_node_118 | 0.4 | n |  | TRUE
131 | bus_LV_2832-2_0_4_node_119 | 0.4 | n |  | TRUE
132 | bus_LV_2832-2_0_4_node_120 | 0.4 | n |  | TRUE
133 | bus_LV_2832-2_0_4_node_121 | 0.4 | n |  | TRUE
134 | bus_LV_2832-2_0_4_node_122 | 0.4 | n |  | TRUE
135 | bus_LV_2832-2_0_4_node_124 | 0.4 | n |  | TRUE
136 | bus_LV_2832-2_0_4_node_126 | 0.4 | n |  | TRUE
137 | bus_LV_2832-2_0_4_node_137 | 0.4 | n |  | TRUE
138 | bus_LV_2832-2_0_4_node_135 | 0.4 | n |  | TRUE
139 | bus_LV_2832-2_0_4_node_134 | 0.4 | n |  | TRUE
140 | bus_LV_2832-2_0_4_node_136 | 0.4 | n |  | TRUE
141 | bus_LV_2832-2_0_4_node_138 | 0.4 | n |  | TRUE
142 | bus_LV_2832-2_0_4_node_146 | 0.4 | n |  | TRUE
143 | bus_LV_2832-2_0_4_node_145 | 0.4 | n |  | TRUE
144 | bus_MV_285_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2832-2_0_4_load_0 | 0 | 0.0010594 | 0.00026551 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2832-2_0_4_load_1 | 1 | 0.0037542 | 0.0009409 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2832-2_0_4_load_2 | 2 | 0.0033598 | 0.00084203 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2832-2_0_4_load_4 | 4 | 0.00072299 | 0.0001812 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2832-2_0_4_load_15 | 5 | 0.0013529 | 0.00033906 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2832-2_0_4_load_17 | 6 | 0.0013505 | 0.00033847 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2832-2_0_4_load_14 | 7 | 0.0014593 | 0.00036574 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2832-2_0_4_load_6 | 8 | 0.0022225 | 0.00055702 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2832-2_0_4_load_40 | 9 | 0.0027881 | 0.00069876 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2832-2_0_4_load_52 | 10 | 0.001318 | 0.00033033 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2832-2_0_4_load_5 | 11 | 0.0015104 | 0.00037854 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2832-2_0_4_load_39 | 12 | 0.0022148 | 0.00055509 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2832-2_0_4_load_53 | 13 | 0.0013093 | 0.00032814 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2832-2_0_4_load_110 | 14 | 0.0015596 | 0.00039087 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2832-2_0_4_load_16 | 15 | 0.0018967 | 0.00047536 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2832-2_0_4_load_109 | 16 | 0.0012348 | 0.00030948 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2832-2_0_4_load_48 | 17 | 0.0012391 | 0.00031054 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2832-2_0_4_load_47 | 18 | 0.0017363 | 0.00043516 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2832-2_0_4_load_8 | 19 | 0.0018749 | 0.00046989 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2832-2_0_4_load_9 | 20 | 0.0029222 | 0.00073236 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2832-2_0_4_load_11 | 22 | 0.0033555 | 0.00084096 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2832-2_0_4_load_12 | 23 | 0.0012728 | 0.00031899 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2832-2_0_4_load_13 | 24 | 0.0015529 | 0.00038918 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2832-2_0_4_load_51 | 25 | 0.001993 | 0.00049949 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2832-2_0_4_load_86 | 26 | 0.0012836 | 0.00032171 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2832-2_0_4_load_24 | 27 | 0.0030529 | 0.00076514 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2832-2_0_4_load_87 | 28 | 0.0042443 | 0.0010637 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2832-2_0_4_load_18 | 29 | 0.0052883 | 0.0013254 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2832-2_0_4_load_19 | 30 | 0.0023746 | 0.00059514 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2832-2_0_4_load_41 | 31 | 0.0013201 | 0.00033084 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2832-2_0_4_load_20 | 32 | 0.0038206 | 0.00095752 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2832-2_0_4_load_67 | 34 | 0.0020343 | 0.00050985 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2832-2_0_4_load_68 | 35 | 0.00364 | 0.00091226 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2832-2_0_4_load_21 | 36 | 0.0013676 | 0.00034274 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2832-2_0_4_load_22 | 37 | 0.0030274 | 0.00075873 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2832-2_0_4_load_23 | 38 | 0.0024487 | 0.00061371 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2832-2_0_4_load_25 | 39 | 0.0036999 | 0.00092728 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2832-2_0_4_load_38 | 40 | 0.0041094 | 0.0010299 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2832-2_0_4_load_78 | 41 | 0.0030523 | 0.00076497 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2832-2_0_4_load_26 | 42 | 0.0011351 | 0.00028449 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2832-2_0_4_load_27 | 43 | 0.002638 | 0.00066115 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2832-2_0_4_load_28 | 44 | 0.0021614 | 0.0005417 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2832-2_0_4_load_29 | 45 | 0.0011862 | 0.00029728 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2832-2_0_4_load_30 | 46 | 0.0016713 | 0.00041888 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2832-2_0_4_load_64 | 47 | 0.0012087 | 0.00030293 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2832-2_0_4_load_49 | 48 | 0.0023725 | 0.0005946 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2832-2_0_4_load_50 | 50 | 0.0027448 | 0.00068791 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2832-2_0_4_load_31 | 51 | 0.001818 | 0.00045564 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2832-2_0_4_load_34 | 54 | 0.0040083 | 0.0010046 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2832-2_0_4_load_35 | 55 | 0.002244 | 0.0005624 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2832-2_0_4_load_36 | 56 | 0.001457 | 0.00036516 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2832-2_0_4_load_100 | 58 | 0.0013915 | 0.00034874 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2832-2_0_4_load_142 | 59 | 0.0018448 | 0.00046236 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2832-2_0_4_load_101 | 62 | 0.0014552 | 0.00036471 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2832-2_0_4_load_45 | 63 | 0.0018781 | 0.00047068 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2832-2_0_4_load_42 | 64 | 0.0010815 | 0.00027106 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2832-2_0_4_load_43 | 65 | 0.0017527 | 0.00043926 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_2832-2_0_4_load_44 | 66 | 0.0019121 | 0.00047922 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_2832-2_0_4_load_46 | 67 | 0.0013525 | 0.00033897 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_2832-2_0_4_load_116 | 69 | 0.00091388 | 0.00022904 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_2832-2_0_4_load_112 | 70 | 0.00095889 | 0.00024032 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_2832-2_0_4_load_61 | 71 | 0.0018812 | 0.00047148 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_2832-2_0_4_load_62 | 72 | 0.0056496 | 0.0014159 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_2832-2_0_4_load_54 | 73 | 0.0030894 | 0.00077427 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_2832-2_0_4_load_63 | 74 | 0.0009162 | 0.00022962 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_2832-2_0_4_load_55 | 75 | 0.0012901 | 0.00032334 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_2832-2_0_4_load_56 | 76 | 0.00076318 | 0.00019127 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_2832-2_0_4_load_58 | 78 | 0.0016121 | 0.00040404 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_2832-2_0_4_load_60 | 79 | 0.0011509 | 0.00028845 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_2832-2_0_4_load_131 | 80 | 0.001798 | 0.00045062 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_2832-2_0_4_load_59 | 81 | 0.0031536 | 0.00079038 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_2832-2_0_4_load_77 | 84 | 0.002046 | 0.00051278 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_2832-2_0_4_load_130 | 85 | 0.00067527 | 0.00016924 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_2832-2_0_4_load_133 | 87 | 0.0026643 | 0.00066773 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_2832-2_0_4_load_74 | 88 | 0.0023716 | 0.00059439 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_2832-2_0_4_load_75 | 89 | 0.0036585 | 0.00091691 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_2832-2_0_4_load_107 | 90 | 0.0032222 | 0.00080755 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_2832-2_0_4_load_141 | 91 | 0.0035202 | 0.00088224 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_2832-2_0_4_load_97 | 93 | 0.004597 | 0.0011521 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_2832-2_0_4_load_98 | 95 | 0.0015404 | 0.00038606 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_2832-2_0_4_load_69 | 96 | 0.00092802 | 0.00023258 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_2832-2_0_4_load_70 | 97 | 0.0012541 | 0.00031432 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_2832-2_0_4_load_71 | 98 | 0.0054666 | 0.0013701 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_2832-2_0_4_load_72 | 99 | 0.0018899 | 0.00047365 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_2832-2_0_4_load_73 | 100 | 0.0027841 | 0.00069775 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_2832-2_0_4_load_76 | 101 | 0.00075625 | 0.00018954 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_2832-2_0_4_load_82 | 102 | 0.0046 | 0.0011529 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_2832-2_0_4_load_128 | 103 | 0.0017097 | 0.0004285 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_2832-2_0_4_load_83 | 104 | 0.0047181 | 0.0011825 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_2832-2_0_4_load_108 | 105 | 0.0028066 | 0.00070339 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_2832-2_0_4_load_129 | 106 | 0.00086623 | 0.0002171 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_2832-2_0_4_load_117 | 107 | 0.00097891 | 0.00024534 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_2832-2_0_4_load_99 | 108 | 0.0013921 | 0.00034889 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_2832-2_0_4_load_115 | 109 | 0.0029028 | 0.0007275 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_2832-2_0_4_load_114 | 110 | 0.0015638 | 0.00039192 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_2832-2_0_4_load_139 | 111 | 0.003153 | 0.00079022 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_2832-2_0_4_load_96 | 112 | 0.0045513 | 0.0011407 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_2832-2_0_4_load_147 | 114 | 0.0026876 | 0.00067358 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_2832-2_0_4_load_105 | 116 | 0.0020195 | 0.00050613 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_2832-2_0_4_load_111 | 117 | 0.014505 | 0.0036354 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_2832-2_0_4_load_88 | 118 | 0.0027748 | 0.00069543 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_2832-2_0_4_load_89 | 119 | 0.0042245 | 0.0010588 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_2832-2_0_4_load_91 | 120 | 0.0022504 | 0.000564 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_2832-2_0_4_load_92 | 121 | 0.010324 | 0.0025875 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_2832-2_0_4_load_94 | 123 | 0.0022814 | 0.00057177 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_2832-2_0_4_load_104 | 125 | 0.0029321 | 0.00073486 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_2832-2_0_4_load_140 | 126 | 0.004419 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_2832-2_0_4_load_143 | 127 | 0.0025556 | 0.00064051 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_2832-2_0_4_load_144 | 128 | 0.0015914 | 0.00039885 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_2832-2_0_4_load_113 | 129 | 0.0015599 | 0.00039096 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_2832-2_0_4_load_118 | 130 | 0.0017176 | 0.00043047 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_2832-2_0_4_load_119 | 131 | 0.00093459 | 0.00023423 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_2832-2_0_4_load_120 | 132 | 0.0010173 | 0.00025495 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_2832-2_0_4_load_121 | 133 | 0.0043821 | 0.0010983 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_2832-2_0_4_load_122 | 134 | 0.0024698 | 0.000619 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_2832-2_0_4_load_124 | 135 | 0.00099888 | 0.00025034 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_2832-2_0_4_load_126 | 136 | 0.0008973 | 0.00022489 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_2832-2_0_4_load_137 | 137 | 0.0035102 | 0.00087974 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_2832-2_0_4_load_135 | 138 | 0.0022272 | 0.00055819 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_2832-2_0_4_load_134 | 139 | 0.001769 | 0.00044334 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_2832-2_0_4_load_136 | 140 | 0.002877 | 0.00072104 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_2832-2_0_4_load_138 | 141 | 0.0026875 | 0.00067355 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_2832-2_0_4_load_146 | 142 | 0.0015992 | 0.0004008 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_2832-2_0_4_load_145 | 143 | 0.0034053 | 0.00085345 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2832-2_0_4_line_0 |  | 0 | 1 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_2832-2_0_4_line_1 |  | 0 | 2 | 0.0013228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_2832-2_0_4_line_2 |  | 1 | 3 | 0.013961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_2832-2_0_4_line_3 |  | 2 | 4 | 0.011086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_2832-2_0_4_line_4 |  | 3 | 8 | 0.015284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_2832-2_0_4_line_5 |  | 3 | 9 | 0.040689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_2832-2_0_4_line_6 |  | 3 | 10 | 0.015061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_2832-2_0_4_line_7 |  | 5 | 6 | 0.0059505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_2832-2_0_4_line_8 |  | 5 | 7 | 0.015853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_2832-2_0_4_line_9 |  | 6 | 14 | 0.0071999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_2832-2_0_4_line_10 |  | 7 | 15 | 0.0032807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_2832-2_0_4_line_11 |  | 8 | 11 | 0.0059116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_2832-2_0_4_line_12 |  | 9 | 12 | 0.027923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_2832-2_0_4_line_13 |  | 10 | 13 | 0.0094702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_2832-2_0_4_line_14 |  | 12 | 31 | 0.0064641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_2832-2_0_4_line_15 |  | 13 | 73 | 0.011972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_2832-2_0_4_line_16 |  | 14 | 16 | 0.0018406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_2832-2_0_4_line_17 |  | 15 | 29 | 0.02617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_2832-2_0_4_line_18 |  | 16 | 17 | 0.0071376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_2832-2_0_4_line_19 |  | 17 | 18 | 0.017629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_2832-2_0_4_line_20 |  | 18 | 23 | 0.0088778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_2832-2_0_4_line_21 |  | 19 | 20 | 0.027999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_2832-2_0_4_line_22 |  | 19 | 21 | 0.022525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_2832-2_0_4_line_23 |  | 20 | 22 | 0.0090734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_2832-2_0_4_line_24 |  | 21 | 23 | 0.02051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_2832-2_0_4_line_25 |  | 21 | 24 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_2832-2_0_4_line_26 |  | 22 | 25 | 0.0080578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_2832-2_0_4_line_27 |  | 24 | 26 | 0.00024718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_2832-2_0_4_line_28 |  | 25 | 27 | 0.0062837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_2832-2_0_4_line_29 |  | 26 | 28 | 0.027256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_2832-2_0_4_line_30 |  | 27 | 37 | 0.016952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_2832-2_0_4_line_31 |  | 28 | 117 | 0.0069726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_2832-2_0_4_line_32 |  | 29 | 30 | 0.01956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_2832-2_0_4_line_33 |  | 29 | 31 | 0.052379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_2832-2_0_4_line_34 |  | 30 | 32 | 0.013732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_2832-2_0_4_line_35 |  | 33 | 34 | 0.022373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_2832-2_0_4_line_36 |  | 33 | 35 | 0.008294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_2832-2_0_4_line_37 |  | 34 | 92 | 0.009031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_2832-2_0_4_line_38 |  | 35 | 93 | 0.0022899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_2832-2_0_4_line_39 |  | 36 | 37 | 0.017281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_2832-2_0_4_line_40 |  | 36 | 38 | 0.0039208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_2832-2_0_4_line_41 |  | 38 | 39 | 0.016895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_2832-2_0_4_line_42 |  | 39 | 40 | 0.0017475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_2832-2_0_4_line_43 |  | 40 | 41 | 0.017887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_2832-2_0_4_line_44 |  | 41 | 63 | 0.00053281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_2832-2_0_4_line_45 |  | 42 | 43 | 0.0066059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_2832-2_0_4_line_46 |  | 42 | 44 | 0.014442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_2832-2_0_4_line_47 |  | 43 | 45 | 0.016563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_2832-2_0_4_line_48 |  | 44 | 46 | 0.006539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_2832-2_0_4_line_49 |  | 45 | 47 | 0.00017847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_2832-2_0_4_line_50 |  | 46 | 48 | 0.0094772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_2832-2_0_4_line_51 |  | 47 | 49 | 0.011896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_2832-2_0_4_line_52 |  | 48 | 50 | 0.016022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_2832-2_0_4_line_53 |  | 49 | 88 | 0.013213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_2832-2_0_4_line_54 |  | 49 | 89 | 0.0067534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_2832-2_0_4_line_55 |  | 50 | 54 | 0.0059287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_2832-2_0_4_line_56 |  | 51 | 52 | 0.031689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_2832-2_0_4_line_57 |  | 51 | 53 | 0.045396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_2832-2_0_4_line_58 |  | 52 | 54 | 0.02822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_2832-2_0_4_line_59 |  | 52 | 55 | 0.019063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_2832-2_0_4_line_60 |  | 52 | 56 | 0.0098412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_2832-2_0_4_line_61 |  | 53 | 57 | 0.01496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_2832-2_0_4_line_62 |  | 55 | 58 | 0.0013205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_2832-2_0_4_line_63 |  | 57 | 59 | 0.043791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_2832-2_0_4_line_64 |  | 60 | 61 | 0.00642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_2832-2_0_4_line_65 |  | 60 | 62 | 0.020318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_2832-2_0_4_line_66 |  | 61 | 126 | 0.019212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_2832-2_0_4_line_67 |  | 61 | 124 | 0.022614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_2832-2_0_4_line_68 |  | 62 | 120 | 0.018293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_2832-2_0_4_line_69 |  | 63 | 65 | 0.018121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_2832-2_0_4_line_70 |  | 64 | 65 | 0.0020279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_2832-2_0_4_line_71 |  | 64 | 66 | 0.013978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_2832-2_0_4_line_72 |  | 66 | 67 | 0.002701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_2832-2_0_4_line_73 |  | 67 | 68 | 0.012937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_2832-2_0_4_line_74 |  | 68 | 69 | 0.0038458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_2832-2_0_4_line_75 |  | 68 | 70 | 0.0057575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_2832-2_0_4_line_76 |  | 69 | 107 | 0.018924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_2832-2_0_4_line_77 |  | 70 | 108 | 0.005921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_2832-2_0_4_line_78 |  | 71 | 72 | 0.0011679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_2832-2_0_4_line_79 |  | 71 | 73 | 0.011158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_2832-2_0_4_line_80 |  | 72 | 74 | 0.0060593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_2832-2_0_4_line_81 |  | 75 | 76 | 0.020862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_2832-2_0_4_line_82 |  | 75 | 77 | 0.017761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_2832-2_0_4_line_83 |  | 76 | 78 | 0.0092397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_2832-2_0_4_line_84 |  | 77 | 79 | 0.045481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_2832-2_0_4_line_85 |  | 78 | 80 | 0.026978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_2832-2_0_4_line_86 |  | 79 | 83 | 0.051662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_2832-2_0_4_line_87 |  | 80 | 84 | 0.025668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_2832-2_0_4_line_88 |  | 81 | 82 | 0.0050664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_2832-2_0_4_line_89 |  | 82 | 85 | 0.015628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_2832-2_0_4_line_90 |  | 82 | 86 | 0.027624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_2832-2_0_4_line_91 |  | 83 | 87 | 0.014043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_2832-2_0_4_line_92 |  | 84 | 99 | 0.043004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_2832-2_0_4_line_93 |  | 85 | 106 | 0.0049201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_2832-2_0_4_line_94 |  | 86 | 135 | 0.019389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_2832-2_0_4_line_95 |  | 86 | 134 | 0.017117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_2832-2_0_4_line_96 |  | 87 | 137 | 0.017609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_2832-2_0_4_line_97 |  | 88 | 90 | 0.015872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_2832-2_0_4_line_98 |  | 89 | 91 | 0.029098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_2832-2_0_4_line_99 |  | 90 | 105 | 0.036405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_2832-2_0_4_line_100 |  | 92 | 94 | 0.026147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_2832-2_0_4_line_101 |  | 93 | 95 | 0.020228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_2832-2_0_4_line_102 |  | 94 | 109 | 0.011464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_2832-2_0_4_line_103 |  | 95 | 108 | 0.01265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_2832-2_0_4_line_104 |  | 96 | 97 | 0.013266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_2832-2_0_4_line_105 |  | 96 | 98 | 0.011968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_2832-2_0_4_line_106 |  | 97 | 99 | 0.010447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_2832-2_0_4_line_107 |  | 98 | 100 | 0.017688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_2832-2_0_4_line_108 |  | 99 | 101 | 0.0056318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_2832-2_0_4_line_109 |  | 100 | 102 | 0.029923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_2832-2_0_4_line_110 |  | 101 | 103 | 0.027808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
111 | LV_2832-2_0_4_line_111 |  | 102 | 104 | 0.012652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_2832-2_0_4_line_112 |  | 103 | 106 | 0.01472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
113 | LV_2832-2_0_4_line_113 |  | 104 | 111 | 0.0059804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_2832-2_0_4_line_114 |  | 105 | 127 | 0.010303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_2832-2_0_4_line_115 |  | 107 | 130 | 0.00049402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_2832-2_0_4_line_116 |  | 109 | 110 | 0.023353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_2832-2_0_4_line_117 |  | 110 | 129 | 0.0042261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_2832-2_0_4_line_118 |  | 111 | 112 | 0.039738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_2832-2_0_4_line_119 |  | 112 | 122 | 0.0079063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_2832-2_0_4_line_120 |  | 113 | 114 | 0.036767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_2832-2_0_4_line_121 |  | 113 | 115 | 0.0057578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_2832-2_0_4_line_122 |  | 115 | 116 | 0.022497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_2832-2_0_4_line_123 |  | 116 | 125 | 0.017385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_2832-2_0_4_line_124 |  | 118 | 119 | 0.0052079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_2832-2_0_4_line_125 |  | 119 | 120 | 0.0079102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_2832-2_0_4_line_126 |  | 121 | 122 | 0.021394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_2832-2_0_4_line_127 |  | 121 | 123 | 0.024631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_2832-2_0_4_line_128 |  | 122 | 124 | 0.02388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_2832-2_0_4_line_129 |  | 124 | 125 | 0.022134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_2832-2_0_4_line_130 |  | 127 | 128 | 0.019753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
131 | LV_2832-2_0_4_line_131 |  | 128 | 143 | 0.0094332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
132 | LV_2832-2_0_4_line_132 |  | 130 | 131 | 0.005497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
133 | LV_2832-2_0_4_line_133 |  | 131 | 132 | 0.0083635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
134 | LV_2832-2_0_4_line_134 |  | 132 | 133 | 0.021868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
135 | LV_2832-2_0_4_line_135 |  | 133 | 134 | 0.020578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
136 | LV_2832-2_0_4_line_136 |  | 135 | 136 | 0.03789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_2832-2_0_4_line_137 |  | 137 | 138 | 0.0025077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
138 | LV_2832-2_0_4_line_138 |  | 138 | 139 | 0.029221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
139 | LV_2832-2_0_4_line_139 |  | 139 | 140 | 0.0051991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
140 | LV_2832-2_0_4_line_140 |  | 140 | 141 | 0.034999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
141 | LV_2832-2_0_4_line_141 |  | 141 | 142 | 0.0053906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
142 | LV_2832-2_0_4_line_142 |  | 142 | 143 | 0.022523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2832-2_0_4_trafo_24 | 0.63 MVA 20/0.4 kV | 144 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2624456.2839 | 1255632.5436 | 2624466.4509 | 1255625.4373 | 2624472.3928 | 1255621.0491
1 | 2624456.2839 | 1255632.5436 | 2624455.1997 | 1255633.3014
2 | 2624483.6231 | 1255612.7552 | 2624472.3928 | 1255621.0491
3 | 2624446.0221 | 1255639.5094 | 2624447.8219 | 1255638.4582 | 2624455.1997 | 1255633.3014
4 | 2624483.6231 | 1255612.7552 | 2624478.4086 | 1255611.6885 | 2624471.8145 | 1255608.6482 | 2624469.5885 | 1255607.1199
5 | 2624483.6231 | 1255612.7552 | 2624495.1296 | 1255615.1265 | 2624519.1044 | 1255624.3984 | 2624522.0578 | 1255625.72
6 | 2624483.6231 | 1255612.7552 | 2624488.0415 | 1255609.3712 | 2624492.7817 | 1255604.7654 | 2624494.4467 | 1255602.408
7 | 2624590.3903 | 1255589.3406 | 2624590.9242 | 1255591.7848 | 2624591.6336 | 1255595.1597
8 | 2624595.1428 | 1255610.6173 | 2624594.8938 | 1255609.3464 | 2624592.7066 | 1255600.2646 | 2624591.6336 | 1255595.1597
9 | 2624588.9218 | 1255582.2976 | 2624588.9407 | 1255582.7039 | 2624590.3903 | 1255589.3406
10 | 2624595.1428 | 1255610.6173 | 2624595.7735 | 1255613.8368
11 | 2624464.7149 | 1255603.7738 | 2624469.5885 | 1255607.1199
12 | 2624546.2497 | 1255639.4892 | 2624537.7477 | 1255633.4927 | 2624528.7099 | 1255628.6965 | 2624522.0578 | 1255625.72
13 | 2624494.4467 | 1255602.408 | 2624496.9237 | 1255598.9008 | 2624499.2359 | 1255594.2694
14 | 2624546.2497 | 1255639.4892 | 2624551.5321 | 1255643.2149
15 | 2624503.8403 | 1255583.2353 | 2624503.5454 | 1255584.3073 | 2624500.4523 | 1255591.8329 | 2624499.2359 | 1255594.2694
16 | 2624588.9218 | 1255582.2976 | 2624588.8366 | 1255580.459
17 | 2624595.7735 | 1255613.8368 | 2624596.8731 | 1255619.4502 | 2624599.5637 | 1255627.1666 | 2624601.7692 | 1255635.4479 | 2624603.708 | 1255638.6092
18 | 2624588.6502 | 1255573.3303 | 2624588.5668 | 1255574.6413 | 2624588.8366 | 1255580.459
19 | 2624588.6502 | 1255573.3303 | 2624589.2204 | 1255564.3594 | 2624591.6672 | 1255558.1098 | 2624592.3021 | 1255556.2886
20 | 2624594.6017 | 1255547.7536 | 2624594.1249 | 1255551.0597 | 2624592.3021 | 1255556.2886
21 | 2624638.4248 | 1255550.8555 | 2624633.6009 | 1255545.175 | 2624625.3334 | 1255538.2917 | 2624617.1124 | 1255532.978
22 | 2624596.1465 | 1255527.3299 | 2624601.445 | 1255526.3401 | 2624612.539 | 1255530.0219 | 2624617.1124 | 1255532.978
23 | 2624638.4248 | 1255550.8555 | 2624643.0574 | 1255556.3106 | 2624644.242 | 1255557.8174
24 | 2624596.1465 | 1255527.3299 | 2624595.6857 | 1255540.2367 | 2624594.6017 | 1255547.7536
25 | 2624596.1465 | 1255527.3299 | 2624590.5446 | 1255512.3745 | 2624589.8242 | 1255510.5567
26 | 2624649.2223 | 1255564.1518 | 2624644.242 | 1255557.8174
27 | 2624589.8242 | 1255510.5567 | 2624589.7331 | 1255510.3269
28 | 2624649.2223 | 1255564.1518 | 2624652.9153 | 1255568.8489 | 2624653.0762 | 1255569.1123
29 | 2624587.0744 | 1255485.9612 | 2624588.5133 | 1255491.1518 | 2624584.1406 | 1255496.2149 | 2624589.7331 | 1255510.3269
30 | 2624653.0762 | 1255569.1123 | 2624659.4698 | 1255579.5833 | 2624661.6741 | 1255583.7154
31 | 2624585.2118 | 1255479.2419 | 2624587.0744 | 1255485.9612
32 | 2624614.2454 | 1255655.0827 | 2624612.4387 | 1255652.3257 | 2624609.1105 | 1255647.4197 | 2624605.1327 | 1255640.9322 | 2624603.708 | 1255638.6092
33 | 2624603.708 | 1255638.6092 | 2624551.5321 | 1255643.2149
34 | 2624622.3204 | 1255666.1189 | 2624620.2556 | 1255664.155 | 2624616.523 | 1255658.5579 | 2624614.2454 | 1255655.0827
35 | 2624646.8732 | 1255688.8709 | 2624639.9302 | 1255695.4354 | 2624630.9382 | 1255694.1639 | 2624627.2012 | 1255694.1614
36 | 2624646.8732 | 1255688.8709 | 2624655.1566 | 1255689.2899
37 | 2624618.1702 | 1255694.1553 | 2624627.2012 | 1255694.1614
38 | 2624657.4436 | 1255689.4055 | 2624655.1566 | 1255689.2899
39 | 2624669.5549 | 1255599.0775 | 2624668.7493 | 1255596.978 | 2624661.6741 | 1255583.7154
40 | 2624670.9594 | 1255602.7381 | 2624669.5549 | 1255599.0775
41 | 2624670.9594 | 1255602.7381 | 2624675.8894 | 1255615.5868 | 2624677.2919 | 1255618.3881
42 | 2624677.2919 | 1255618.3881 | 2624678.0743 | 1255619.9506
43 | 2624685.7707 | 1255636.0878 | 2624683.9225 | 1255631.631 | 2624678.0743 | 1255619.9506
44 | 2624685.7707 | 1255636.0878 | 2624685.9748 | 1255636.58
45 | 2624752.2157 | 1255465.3923 | 2624751.3658 | 1255464.2441 | 2624748.5929 | 1255459.8719
46 | 2624740.8583 | 1255447.6762 | 2624748.5929 | 1255459.8719
47 | 2624762.0698 | 1255478.7051 | 2624752.2157 | 1255465.3923
48 | 2624740.8583 | 1255447.6762 | 2624737.6991 | 1255442.6949 | 2624737.3561 | 1255442.1541
49 | 2624762.176 | 1255478.8486 | 2624762.0698 | 1255478.7051
50 | 2624737.3561 | 1255442.1541 | 2624732.2807 | 1255434.1505
51 | 2624769.3962 | 1255488.3022 | 2624763.0803 | 1255480.0703 | 2624762.176 | 1255478.8486
52 | 2624723.7883 | 1255420.5687 | 2624724.4369 | 1255421.7812 | 2624732.2807 | 1255434.1505
53 | 2624769.3962 | 1255488.3022 | 2624778.4287 | 1255497.9457
54 | 2624769.3962 | 1255488.3022 | 2624764.0319 | 1255492.4047
55 | 2624720.9919 | 1255415.341 | 2624723.7883 | 1255420.5687
56 | 2624707.6808 | 1255390.4571 | 2624704.1237 | 1255382.5481 | 2624701.4804 | 1255377.9896 | 2624698.1072 | 1255372.9944 | 2624695.0917 | 1255369.057 | 2624691.7137 | 1255365.2293 | 2624690.5185 | 1255364.0835
57 | 2624649.6714 | 1255347.6983 | 2624652.9828 | 1255347.6009 | 2624657.3777 | 1255348.1306 | 2624661.8409 | 1255348.5384 | 2624667.0686 | 1255350.1167 | 2624673.3209 | 1255351.9661 | 2624678.3938 | 1255354.4667 | 2624682.9753 | 1255357.2765 | 2624687.7999 | 1255361.4772 | 2624690.5185 | 1255364.0835
58 | 2624707.6808 | 1255390.4571 | 2624720.9919 | 1255415.341
59 | 2624707.6808 | 1255390.4571 | 2624719.9336 | 1255380.3458 | 2624722.4817 | 1255378.4478
60 | 2624707.6808 | 1255390.4571 | 2624700.9629 | 1255397.6487
61 | 2624634.7759 | 1255349.471 | 2624642.8953 | 1255348.4707 | 2624645.5594 | 1255348.0704 | 2624649.6714 | 1255347.6983
62 | 2624723.5407 | 1255377.659 | 2624722.4817 | 1255378.4478
63 | 2624634.7759 | 1255349.471 | 2624648.4368 | 1255391.0768
64 | 2624670.0342 | 1255451.2634 | 2624672.367 | 1255445.2802
65 | 2624672.367 | 1255445.2802 | 2624663.9526 | 1255431.9919 | 2624661.4061 | 1255428.1739
66 | 2624670.0342 | 1255451.2634 | 2624687.6345 | 1255458.9668
67 | 2624670.0342 | 1255451.2634 | 2624648.3254 | 1255444.7133
68 | 2624651.0624 | 1255413.0895 | 2624654.5085 | 1255417.8321 | 2624661.4061 | 1255428.1739
69 | 2624685.9748 | 1255636.58 | 2624692.9163 | 1255653.3191
70 | 2624693.6904 | 1255655.1934 | 2624693.5248 | 1255654.7865 | 2624692.9163 | 1255653.3191
71 | 2624693.6904 | 1255655.1934 | 2624698.9585 | 1255668.1405
72 | 2624698.9585 | 1255668.1405 | 2624699.833 | 1255670.2898 | 2624699.8747 | 1255670.6681
73 | 2624701.2937 | 1255683.527 | 2624699.8747 | 1255670.6681
74 | 2624701.2937 | 1255683.527 | 2624705.1329 | 1255683.2998
75 | 2624701.2937 | 1255683.527 | 2624695.6626 | 1255684.7269
76 | 2624705.1329 | 1255683.2998 | 2624719.9037 | 1255682.4259 | 2624723.9096 | 1255683.4187
77 | 2624689.8717 | 1255685.9609 | 2624695.6626 | 1255684.7269
78 | 2624506.2334 | 1255572.3546 | 2624506.4145 | 1255571.2008
79 | 2624506.2334 | 1255572.3546 | 2624505.4367 | 1255577.4327 | 2624503.8403 | 1255583.2353
80 | 2624506.7996 | 1255565.157 | 2624506.5211 | 1255570.5214 | 2624506.4145 | 1255571.2008
81 | 2624831.5843 | 1255621.8727 | 2624825.2117 | 1255615.0315 | 2624817.0803 | 1255606.8811
82 | 2624835.612 | 1255638.3906 | 2624835.9284 | 1255633.0662 | 2624835.6525 | 1255628.7288 | 2624834.2948 | 1255625.154 | 2624831.8037 | 1255622.1082 | 2624831.5843 | 1255621.8727
83 | 2624817.0803 | 1255606.8811 | 2624810.5545 | 1255600.34
84 | 2624835.612 | 1255638.3906 | 2624849.7957 | 1255638.9504 | 2624862.3772 | 1255640.3151 | 2624880.7735 | 1255643.2616
85 | 2624791.8329 | 1255580.916 | 2624794.0313 | 1255583.1909 | 2624809.6503 | 1255599.4337 | 2624810.5545 | 1255600.34
86 | 2624931.9145 | 1255650.5471 | 2624900.1587 | 1255646.3665 | 2624880.7735 | 1255643.2616
87 | 2624770.8566 | 1255572.031 | 2624770.8566 | 1255572.031 | 2624775.9265 | 1255569.7952 | 2624780.5848 | 1255570.4039 | 2624784.7044 | 1255573.601 | 2624788.3242 | 1255577.2853 | 2624791.8329 | 1255580.916
88 | 2624780.3669 | 1255644.208 | 2624785.4324 | 1255644.3032
89 | 2624780.3669 | 1255644.208 | 2624775.0651 | 1255642.3847 | 2624771.1366 | 1255640.4114 | 2624767.211 | 1255637.7154 | 2624766.5929 | 1255637.1129
90 | 2624780.3669 | 1255644.208 | 2624785.1447 | 1255657.7259 | 2624786.9484 | 1255662.8369 | 2624787.436 | 1255670.6887
91 | 2624931.9145 | 1255650.5471 | 2624932.9362 | 1255642.5127 | 2624932.6897 | 1255636.5743
92 | 2624734.4999 | 1255594.917 | 2624738.9556 | 1255591.6778 | 2624748.714 | 1255586.415 | 2624759.8824 | 1255579.4347 | 2624770.8566 | 1255572.031
93 | 2624766.5929 | 1255637.1129 | 2624763.1099 | 1255633.7179 | 2624763.0755 | 1255633.6734
94 | 2624787.436 | 1255670.6887 | 2624806.7912 | 1255669.5518
95 | 2624787.436 | 1255670.6887 | 2624778.19 | 1255685.093 | 2624778.19 | 1255685.093
96 | 2624932.6897 | 1255636.5743 | 2624930.0441 | 1255630.826 | 2624923.8339 | 1255626.2413 | 2624920.6334 | 1255624.6784
97 | 2624789.2791 | 1255509.5301 | 2624778.4287 | 1255497.9457
98 | 2624737.3758 | 1255480.7378 | 2624764.0319 | 1255492.4047
99 | 2624789.2791 | 1255509.5301 | 2624791.2158 | 1255511.5978 | 2624810.7044 | 1255531.348 | 2624814.5337 | 1255535.7377
100 | 2624618.1702 | 1255694.1553 | 2624620.4794 | 1255706.5288 | 2624627.3087 | 1255718.2538
101 | 2624657.4436 | 1255689.4055 | 2624670.5869 | 1255690.0703 | 2624677.4995 | 1255688.5973
102 | 2624627.3087 | 1255718.2538 | 2624638.6583 | 1255719.8703
103 | 2624677.4995 | 1255688.5973 | 2624689.8717 | 1255685.9609
104 | 2624720.2341 | 1255575.9913 | 2624721.1029 | 1255577.4717 | 2624728.1372 | 1255586.6315
105 | 2624714.1761 | 1255565.6693 | 2624720.2341 | 1255575.9913
106 | 2624734.4999 | 1255594.917 | 2624728.1372 | 1255586.6315
107 | 2624714.1761 | 1255565.6693 | 2624705.2231 | 1255550.4149
108 | 2624734.4999 | 1255594.917 | 2624737.9124 | 1255599.3972
109 | 2624690.6498 | 1255524.2852 | 2624699.9998 | 1255541.5152 | 2624705.2231 | 1255550.4149
110 | 2624737.9124 | 1255599.3972 | 2624742.9532 | 1255606.0152 | 2624750.3606 | 1255616.542 | 2624754.2431 | 1255621.9004
111 | 2624690.6498 | 1255524.2852 | 2624684.6153 | 1255513.1647
112 | 2624754.2431 | 1255621.9004 | 2624758.4816 | 1255627.7501 | 2624763.0755 | 1255633.6734
113 | 2624684.6153 | 1255513.1647 | 2624681.7629 | 1255507.9084
114 | 2624821.3065 | 1255543.5017 | 2624814.5337 | 1255535.7377
115 | 2624723.9096 | 1255683.4187 | 2624724.3891 | 1255683.5376
116 | 2624661.2606 | 1255725.6554 | 2624641.863 | 1255720.3268 | 2624638.6583 | 1255719.8703
117 | 2624664.7713 | 1255728.0081 | 2624661.2606 | 1255725.6554 | 2624661.2606 | 1255725.6554
118 | 2624662.6031 | 1255473.0948 | 2624664.386 | 1255476.468 | 2624674.0277 | 1255493.8753 | 2624681.1688 | 1255506.8136 | 2624681.7629 | 1255507.9084
119 | 2624658.9084 | 1255466.1049 | 2624662.6031 | 1255473.0948
120 | 2624589.3744 | 1255454.4419 | 2624586.585 | 1255417.7836
121 | 2624586.585 | 1255417.7836 | 2624588.8789 | 1255419.3497 | 2624591.4976 | 1255420.7726
122 | 2624591.4976 | 1255420.7726 | 2624612.5303 | 1255428.7562
123 | 2624628.9216 | 1255434.5472 | 2624615.3381 | 1255429.822 | 2624612.5303 | 1255428.7562
124 | 2624643.4954 | 1255402.3756 | 2624646.4312 | 1255406.6772
125 | 2624651.0624 | 1255413.0895 | 2624646.8668 | 1255407.3155 | 2624646.4312 | 1255406.6772
126 | 2624658.9084 | 1255466.1049 | 2624640.6603 | 1255477.2724
127 | 2624631.637 | 1255496.879 | 2624631.6956 | 1255482.7586 | 2624640.6603 | 1255477.2724
128 | 2624658.9084 | 1255466.1049 | 2624651.1045 | 1255449.2723 | 2624648.3254 | 1255444.7133
129 | 2624648.3254 | 1255444.7133 | 2624645.8012 | 1255442.3234 | 2624642.9361 | 1255440.3102 | 2624630.3477 | 1255435.0433 | 2624628.9216 | 1255434.5472
130 | 2624821.3065 | 1255543.5017 | 2624830.4074 | 1255553.9345 | 2624834.541 | 1255558.1564
131 | 2624834.541 | 1255558.1564 | 2624841.1404 | 1255564.8969
132 | 2624729.7247 | 1255684.8599 | 2624724.3891 | 1255683.5376
133 | 2624737.5828 | 1255687.6947 | 2624731.1745 | 1255685.2192 | 2624729.7247 | 1255684.8599
134 | 2624737.5828 | 1255687.6947 | 2624739.7582 | 1255688.535 | 2624747.2193 | 1255691.5681 | 2624754.3919 | 1255691.4758 | 2624758.6703 | 1255690.9643
135 | 2624758.6703 | 1255690.9643 | 2624762.2995 | 1255690.5304 | 2624769.6586 | 1255689.1046 | 2624778.19 | 1255685.093
136 | 2624831.5154 | 1255694.9473 | 2624827.9231 | 1255686.1349 | 2624816.6235 | 1255672.2339 | 2624810.2327 | 1255669.3497 | 2624806.7912 | 1255669.5518
137 | 2624918.38 | 1255623.578 | 2624920.6334 | 1255624.6784
138 | 2624893.821 | 1255607.8445 | 2624912.6723 | 1255620.7908 | 2624918.38 | 1255623.578
139 | 2624889.5422 | 1255604.8911 | 2624892.2778 | 1255606.7847 | 2624893.821 | 1255607.8445
140 | 2624861.7732 | 1255583.648 | 2624875.794 | 1255595.3746 | 2624889.5422 | 1255604.8911
141 | 2624861.7732 | 1255583.648 | 2624857.6382 | 1255580.1896
142 | 2624857.6382 | 1255580.1896 | 2624849.2192 | 1255573.1483 | 2624841.1404 | 1255564.8969

## bus_geodata
| x | y | coords
0 | 2624456.2839 | 1255632.5436
1 | 2624472.3928 | 1255621.0491
2 | 2624455.1997 | 1255633.3014
3 | 2624483.6231 | 1255612.7552
4 | 2624446.0221 | 1255639.5094
5 | 2624591.6336 | 1255595.1597
6 | 2624590.3903 | 1255589.3406
7 | 2624595.1428 | 1255610.6173
8 | 2624469.5885 | 1255607.1199
9 | 2624522.0578 | 1255625.72
10 | 2624494.4467 | 1255602.408
11 | 2624464.7149 | 1255603.7738
12 | 2624546.2497 | 1255639.4892
13 | 2624499.2359 | 1255594.2694
14 | 2624588.9218 | 1255582.2976
15 | 2624595.7735 | 1255613.8368
16 | 2624588.8366 | 1255580.459
17 | 2624588.6502 | 1255573.3303
18 | 2624592.3021 | 1255556.2886
19 | 2624617.1124 | 1255532.978
20 | 2624638.4248 | 1255550.8555
21 | 2624596.1465 | 1255527.3299
22 | 2624644.242 | 1255557.8174
23 | 2624594.6017 | 1255547.7536
24 | 2624589.8242 | 1255510.5567
25 | 2624649.2223 | 1255564.1518
26 | 2624589.7331 | 1255510.3269
27 | 2624653.0762 | 1255569.1123
28 | 2624587.0744 | 1255485.9612
29 | 2624603.708 | 1255638.6092
30 | 2624614.2454 | 1255655.0827
31 | 2624551.5321 | 1255643.2149
32 | 2624622.3204 | 1255666.1189
33 | 2624646.8732 | 1255688.8709
34 | 2624627.2012 | 1255694.1614
35 | 2624655.1566 | 1255689.2899
36 | 2624669.5549 | 1255599.0775
37 | 2624661.6741 | 1255583.7154
38 | 2624670.9594 | 1255602.7381
39 | 2624677.2919 | 1255618.3881
40 | 2624678.0743 | 1255619.9506
41 | 2624685.7707 | 1255636.0878
42 | 2624748.5929 | 1255459.8719
43 | 2624752.2157 | 1255465.3923
44 | 2624740.8583 | 1255447.6762
45 | 2624762.0698 | 1255478.7051
46 | 2624737.3561 | 1255442.1541
47 | 2624762.176 | 1255478.8486
48 | 2624732.2807 | 1255434.1505
49 | 2624769.3962 | 1255488.3022
50 | 2624723.7883 | 1255420.5687
51 | 2624690.5185 | 1255364.0835
52 | 2624707.6808 | 1255390.4571
53 | 2624649.6714 | 1255347.6983
54 | 2624720.9919 | 1255415.341
55 | 2624722.4817 | 1255378.4478
56 | 2624700.9629 | 1255397.6487
57 | 2624634.7759 | 1255349.471
58 | 2624723.5407 | 1255377.659
59 | 2624648.4368 | 1255391.0768
60 | 2624672.367 | 1255445.2802
61 | 2624670.0342 | 1255451.2634
62 | 2624661.4061 | 1255428.1739
63 | 2624685.9748 | 1255636.58
64 | 2624693.6904 | 1255655.1934
65 | 2624692.9163 | 1255653.3191
66 | 2624698.9585 | 1255668.1405
67 | 2624699.8747 | 1255670.6681
68 | 2624701.2937 | 1255683.527
69 | 2624705.1329 | 1255683.2998
70 | 2624695.6626 | 1255684.7269
71 | 2624506.2334 | 1255572.3546
72 | 2624506.4145 | 1255571.2008
73 | 2624503.8403 | 1255583.2353
74 | 2624506.7996 | 1255565.157
75 | 2624831.5843 | 1255621.8727
76 | 2624817.0803 | 1255606.8811
77 | 2624835.612 | 1255638.3906
78 | 2624810.5545 | 1255600.34
79 | 2624880.7735 | 1255643.2616
80 | 2624791.8329 | 1255580.916
81 | 2624785.4324 | 1255644.3032
82 | 2624780.3669 | 1255644.208
83 | 2624931.9145 | 1255650.5471
84 | 2624770.8566 | 1255572.031
85 | 2624766.5929 | 1255637.1129
86 | 2624787.436 | 1255670.6887
87 | 2624932.6897 | 1255636.5743
88 | 2624778.4287 | 1255497.9457
89 | 2624764.0319 | 1255492.4047
90 | 2624789.2791 | 1255509.5301
91 | 2624737.3758 | 1255480.7378
92 | 2624618.1702 | 1255694.1553
93 | 2624657.4436 | 1255689.4055
94 | 2624627.3087 | 1255718.2538
95 | 2624677.4995 | 1255688.5973
96 | 2624720.2341 | 1255575.9913
97 | 2624728.1372 | 1255586.6315
98 | 2624714.1761 | 1255565.6693
99 | 2624734.4999 | 1255594.917
100 | 2624705.2231 | 1255550.4149
101 | 2624737.9124 | 1255599.3972
102 | 2624690.6498 | 1255524.2852
103 | 2624754.2431 | 1255621.9004
104 | 2624684.6153 | 1255513.1647
105 | 2624814.5337 | 1255535.7377
106 | 2624763.0755 | 1255633.6734
107 | 2624723.9096 | 1255683.4187
108 | 2624689.8717 | 1255685.9609
109 | 2624638.6583 | 1255719.8703
110 | 2624661.2606 | 1255725.6554
111 | 2624681.7629 | 1255507.9084
112 | 2624662.6031 | 1255473.0948
113 | 2624586.585 | 1255417.7836
114 | 2624589.3744 | 1255454.4419
115 | 2624591.4976 | 1255420.7726
116 | 2624612.5303 | 1255428.7562
117 | 2624585.2118 | 1255479.2419
118 | 2624643.4954 | 1255402.3756
119 | 2624646.4312 | 1255406.6772
120 | 2624651.0624 | 1255413.0895
121 | 2624640.6603 | 1255477.2724
122 | 2624658.9084 | 1255466.1049
123 | 2624631.637 | 1255496.879
124 | 2624648.3254 | 1255444.7133
125 | 2624628.9216 | 1255434.5472
126 | 2624687.6345 | 1255458.9668
127 | 2624821.3065 | 1255543.5017
128 | 2624834.541 | 1255558.1564
129 | 2624664.7713 | 1255728.0081
130 | 2624724.3891 | 1255683.5376
131 | 2624729.7247 | 1255684.8599
132 | 2624737.5828 | 1255687.6947
133 | 2624758.6703 | 1255690.9643
134 | 2624778.19 | 1255685.093
135 | 2624806.7912 | 1255669.5518
136 | 2624831.5154 | 1255694.9473
137 | 2624920.6334 | 1255624.6784
138 | 2624918.38 | 1255623.578
139 | 2624893.821 | 1255607.8445
140 | 2624889.5422 | 1255604.8911
141 | 2624861.7732 | 1255583.648
142 | 2624857.6382 | 1255580.1896
143 | 2624841.1404 | 1255564.8969
144 | 2624596.1465 | 1255527.3299

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1